## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-25_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6156-25_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6156-25_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6156-25_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6156-25_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6156-25_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6156-25_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6156-25_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6156-25_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6156-25_0_6_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_6156-25_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6156-25_0_6_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_6156-25_0_6_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_6156-25_0_6_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6156-25_0_6_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6156-25_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_6156-25_0_6_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6156-25_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6156-25_0_6_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_6156-25_0_6_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6156-25_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6156-25_0_6_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_6156-25_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6156-25_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6156-25_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6156-25_0_6_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6156-25_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6156-25_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6156-25_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6156-25_0_6_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_6156-25_0_6_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_6156-25_0_6_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_6156-25_0_6_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_6156-25_0_6_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_6156-25_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6156-25_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6156-25_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6156-25_0_6_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_6156-25_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6156-25_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6156-25_0_6_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_6156-25_0_6_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_6156-25_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6156-25_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_6156-25_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6156-25_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6156-25_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6156-25_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6156-25_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_6156-25_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6156-25_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_6156-25_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_6156-25_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_6156-25_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_6156-25_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6156-25_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6156-25_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_6156-25_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_6156-25_0_6_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6156-25_0_6_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_6156-25_0_6_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_6156-25_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6156-25_0_6_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_6156-25_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6156-25_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_6156-25_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_6156-25_0_6_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6156-25_0_6_node_68 | 0.4 | n |  | TRUE
68 | bus_MV_105_1_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-25_0_6_load_0 | 0 | 0.0017261 | 0.00043259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-25_0_6_load_1 | 1 | 0.00081235 | 0.00020359 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-25_0_6_load_3 | 3 | 0.0016436 | 0.00041193 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-25_0_6_load_5 | 5 | 0.0013195 | 0.0003307 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-25_0_6_load_8 | 6 | 0.0022055 | 0.00055275 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-25_0_6_load_6 | 7 | 0.0014658 | 0.00036736 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-25_0_6_load_7 | 8 | 0.00075875 | 0.00019016 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-25_0_6_load_9 | 10 | 0.0060261 | 0.0015103 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-25_0_6_load_62 | 11 | 0.0066188 | 0.0016588 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-25_0_6_load_61 | 12 | 0.0051992 | 0.001303 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-25_0_6_load_12 | 13 | 0.015315 | 0.0038384 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-25_0_6_load_13 | 14 | 0.01381 | 0.0034611 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-25_0_6_load_15 | 16 | 0.019113 | 0.0047901 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-25_0_6_load_53 | 18 | 0.01014 | 0.0025413 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-25_0_6_load_20 | 19 | 0.051165 | 0.012823 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-25_0_6_load_17 | 20 | 0.018734 | 0.0046951 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-25_0_6_load_54 | 21 | 0.0070263 | 0.0017609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-25_0_6_load_18 | 22 | 0.014769 | 0.0037015 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-25_0_6_load_19 | 23 | 0.045946 | 0.011515 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-25_0_6_load_22 | 26 | 0.0098721 | 0.0024742 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-25_0_6_load_23 | 27 | 0.0087026 | 0.0021811 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-25_0_6_load_25 | 28 | 0.0055989 | 0.0014032 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-25_0_6_load_65 | 30 | 0.0053499 | 0.0013408 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-25_0_6_load_50 | 32 | 0.019455 | 0.0048759 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-25_0_6_load_67 | 33 | 0.0051889 | 0.0013005 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-25_0_6_load_27 | 34 | 0.0059228 | 0.0014844 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-25_0_6_load_28 | 35 | 0.0085597 | 0.0021453 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-25_0_6_load_29 | 36 | 0.0080164 | 0.0020091 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-25_0_6_load_30 | 38 | 0.0068722 | 0.0017223 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-25_0_6_load_31 | 39 | 0.007502 | 0.0018802 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-25_0_6_load_39 | 40 | 0.019108 | 0.0047889 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-25_0_6_load_38 | 41 | 0.020882 | 0.0052335 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-25_0_6_load_32 | 42 | 0.0055782 | 0.001398 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-25_0_6_load_33 | 43 | 0.0076043 | 0.0019058 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-25_0_6_load_35 | 45 | 0.023196 | 0.0058135 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-25_0_6_load_36 | 46 | 0.012384 | 0.0031036 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-25_0_6_load_37 | 47 | 0.0082635 | 0.002071 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-25_0_6_load_44 | 48 | 0.013621 | 0.0034137 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-25_0_6_load_40 | 50 | 0.0040202 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-25_0_6_load_41 | 51 | 0.024843 | 0.0062262 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-25_0_6_load_42 | 52 | 0.0083519 | 0.0020932 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-25_0_6_load_43 | 53 | 0.012719 | 0.0031876 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-25_0_6_load_48 | 54 | 0.023518 | 0.0058942 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6156-25_0_6_load_47 | 55 | 0.0063231 | 0.0015847 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6156-25_0_6_load_51 | 58 | 0.0063915 | 0.0016019 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6156-25_0_6_load_52 | 59 | 0.01048 | 0.0026265 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6156-25_0_6_load_56 | 60 | 0.0056335 | 0.0014119 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6156-25_0_6_load_57 | 61 | 0.006008 | 0.0015057 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6156-25_0_6_load_55 | 62 | 0.004326 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6156-25_0_6_load_58 | 63 | 0.0072913 | 0.0018274 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6156-25_0_6_load_60 | 65 | 0.0048552 | 0.0012168 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6156-25_0_6_load_68 | 67 | 0.0039135 | 0.00098083 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-25_0_6_line_0 |  | 0 | 1 | 0.024501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-25_0_6_line_1 |  | 0 | 2 | 0.10316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-25_0_6_line_2 |  | 1 | 3 | 0.0097981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-25_0_6_line_3 |  | 2 | 4 | 0.12883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-25_0_6_line_4 |  | 3 | 5 | 0.053307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6156-25_0_6_line_5 |  | 4 | 6 | 0.026888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6156-25_0_6_line_6 |  | 5 | 7 | 0.077492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6156-25_0_6_line_7 |  | 7 | 8 | 0.10815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-25_0_6_line_8 |  | 8 | 9 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6156-25_0_6_line_9 |  | 9 | 10 | 0.03483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6156-25_0_6_line_10 |  | 10 | 11 | 0.087489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-25_0_6_line_11 |  | 11 | 12 | 0.012525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6156-25_0_6_line_12 |  | 12 | 37 | 0.037653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6156-25_0_6_line_13 |  | 13 | 14 | 0.0088078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6156-25_0_6_line_14 |  | 13 | 15 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6156-25_0_6_line_15 |  | 14 | 16 | 0.039137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6156-25_0_6_line_16 |  | 15 | 17 | 0.024969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6156-25_0_6_line_17 |  | 16 | 18 | 0.0051297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6156-25_0_6_line_18 |  | 17 | 19 | 0.048689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6156-25_0_6_line_19 |  | 17 | 20 | 0.026368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6156-25_0_6_line_20 |  | 18 | 21 | 0.018534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6156-25_0_6_line_21 |  | 20 | 22 | 0.022187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-25_0_6_line_22 |  | 21 | 62 | 0.00046666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6156-25_0_6_line_23 |  | 22 | 23 | 0.025404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6156-25_0_6_line_24 |  | 23 | 24 | 0.054414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6156-25_0_6_line_25 |  | 24 | 25 | 0.087823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6156-25_0_6_line_26 |  | 25 | 26 | 0.044873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6156-25_0_6_line_27 |  | 26 | 27 | 0.03667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6156-25_0_6_line_28 |  | 27 | 28 | 0.0006577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6156-25_0_6_line_29 |  | 29 | 30 | 0.086226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6156-25_0_6_line_30 |  | 29 | 31 | 0.063877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6156-25_0_6_line_31 |  | 30 | 32 | 0.064757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6156-25_0_6_line_32 |  | 31 | 33 | 0.041957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6156-25_0_6_line_33 |  | 32 | 57 | 0.018307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6156-25_0_6_line_34 |  | 33 | 67 | 0.068518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6156-25_0_6_line_35 |  | 34 | 35 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6156-25_0_6_line_36 |  | 35 | 36 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6156-25_0_6_line_37 |  | 36 | 38 | 0.037365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6156-25_0_6_line_38 |  | 37 | 66 | 0.025289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6156-25_0_6_line_39 |  | 38 | 39 | 0.048475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6156-25_0_6_line_40 |  | 39 | 40 | 0.0076579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6156-25_0_6_line_41 |  | 40 | 41 | 0.016093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6156-25_0_6_line_42 |  | 41 | 47 | 0.023694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6156-25_0_6_line_43 |  | 42 | 43 | 0.028836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6156-25_0_6_line_44 |  | 42 | 44 | 0.060614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6156-25_0_6_line_45 |  | 44 | 45 | 0.013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6156-25_0_6_line_46 |  | 44 | 46 | 0.037253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6156-25_0_6_line_47 |  | 45 | 47 | 0.032841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6156-25_0_6_line_48 |  | 46 | 48 | 0.018759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6156-25_0_6_line_49 |  | 48 | 49 | 0.013208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_6156-25_0_6_line_50 |  | 49 | 56 | 0.09417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6156-25_0_6_line_51 |  | 50 | 51 | 0.027327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6156-25_0_6_line_52 |  | 50 | 52 | 0.00019468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6156-25_0_6_line_53 |  | 51 | 53 | 0.0046407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6156-25_0_6_line_54 |  | 53 | 54 | 0.024462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6156-25_0_6_line_55 |  | 54 | 55 | 0.005289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6156-25_0_6_line_56 |  | 55 | 57 | 0.0087436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6156-25_0_6_line_57 |  | 56 | 57 | 0.077105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6156-25_0_6_line_58 |  | 56 | 58 | 0.026665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6156-25_0_6_line_59 |  | 58 | 59 | 0.033517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6156-25_0_6_line_60 |  | 59 | 60 | 0.049598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6156-25_0_6_line_61 |  | 60 | 61 | 0.0058988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6156-25_0_6_line_62 |  | 60 | 62 | 0.015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6156-25_0_6_line_63 |  | 61 | 63 | 0.015239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6156-25_0_6_line_64 |  | 63 | 64 | 0.00074851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6156-25_0_6_line_65 |  | 64 | 65 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6156-25_0_6_line_66 |  | 66 | 67 | 0.021881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-25_0_6_trafo_51 | 0.63 MVA 20/0.4 kV | 68 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2555455.0708 | 1121358.6832 | 2555460.4696 | 1121355.4174 | 2555465.4001 | 1121351.4679 | 2555467.959 | 1121347.0245 | 2555467.7891 | 1121343.8574 | 2555466.1305 | 1121340.6902
1 | 2555376.9175 | 1121425.1589 | 2555381.1052 | 1121421.9485 | 2555384.7845 | 1121418.8309 | 2555388.9691 | 1121414.1531 | 2555392.2661 | 1121409.4041 | 2555397.557 | 1121405.1628 | 2555404.3347 | 1121400.6882 | 2555409.0486 | 1121397.6963 | 2555416.4754 | 1121391.2938 | 2555421.4804 | 1121386.9879 | 2555425.2943 | 1121382.2351 | 2555431.1714 | 1121376.9557 | 2555437.8644 | 1121371.4479 | 2555450.9629 | 1121361.1682 | 2555455.0708 | 1121358.6832
2 | 2555466.1305 | 1121340.6902 | 2555466.1305 | 1121340.6902 | 2555462.4967 | 1121339.5387 | 2555456.5692 | 1121338.7024
3 | 2555504.6972 | 1121409.7639 | 2555499.1498 | 1121409.5491 | 2555487.7456 | 1121410.0445 | 2555471.2108 | 1121410.3776 | 2555457.195 | 1121411.3148 | 2555443.1808 | 1121413.5082 | 2555424.3807 | 1121418.3382 | 2555409.0167 | 1121421.5755 | 2555395.7437 | 1121423.8636 | 2555383.6122 | 1121425.1094 | 2555376.9175 | 1121425.1589
4 | 2555404.0003 | 1121341.0374 | 2555408.6214 | 1121339.8697 | 2555420.4406 | 1121337.0476 | 2555427.3195 | 1121335.8185 | 2555439.9769 | 1121336.8256 | 2555446.795 | 1121337.8091 | 2555456.0571 | 1121338.6301 | 2555456.5692 | 1121338.7024
5 | 2555504.6972 | 1121409.7639 | 2555510.8448 | 1121405.5942 | 2555516.4553 | 1121400.7615 | 2555520.8862 | 1121397.0492 | 2555527.1575 | 1121396.8395
6 | 2555404.0003 | 1121341.0374 | 2555402.6393 | 1121341.3813 | 2555399.3741 | 1121340.0047 | 2555398.455 | 1121335.6648 | 2555399.4624 | 1121332.1111 | 2555402.182 | 1121329.5897 | 2555411.4622 | 1121323.4625 | 2555415.211 | 1121320.3443 | 2555433.3151 | 1121305.8254 | 2555437.7983 | 1121301.8792 | 2555440.8816 | 1121298.4658 | 2555440.7766 | 1121294.698 | 2555438.9826 | 1121291.9876 | 2555435.2033 | 1121290.9816
7 | 2555454.9769 | 1121237.1476 | 2555452.6585 | 1121239.7264 | 2555445.7302 | 1121243.6907 | 2555433.1123 | 1121249.0977 | 2555423.8232 | 1121253.0016 | 2555418.4392 | 1121256.1318 | 2555412.0245 | 1121259.6476 | 2555406.4295 | 1121263.4576 | 2555403.2029 | 1121267.3167 | 2555401.7504 | 1121271.1627 | 2555402.3807 | 1121276.094 | 2555405.1603 | 1121281.6874 | 2555410.2153 | 1121285.1853 | 2555416.8224 | 1121287.8712 | 2555424.3941 | 1121290.6167 | 2555428.9893 | 1121291.3943 | 2555435.2033 | 1121290.9816 | 2555435.2033 | 1121290.9816
8 | 2555464.6053 | 1121225.9534 | 2555459.2687 | 1121232.3739 | 2555454.9769 | 1121237.1476
9 | 2555464.6053 | 1121225.9534 | 2555446.7914 | 1121217.1247 | 2555435.4177 | 1121211.3501 | 2555433.3474 | 1121210.629
10 | 2555433.3474 | 1121210.629 | 2555389.8681 | 1121134.7085
11 | 2555391.5983 | 1121125.2133 | 2555391.9558 | 1121125.2154 | 2555394.0439 | 1121128.0347 | 2555394.2194 | 1121130.9127 | 2555392.5263 | 1121132.4816 | 2555389.8681 | 1121134.7085
12 | 2555354.4934 | 1121130.795 | 2555367.5545 | 1121127.9192 | 2555383.5167 | 1121125.1665 | 2555391.5983 | 1121125.2133
13 | 2555342.6117 | 1120850.8045 | 2555343.4819 | 1120844.4732 | 2555343.0096 | 1120842.1028
14 | 2555340.069 | 1120827.3451 | 2555343.0096 | 1120842.1028
15 | 2555333.8888 | 1120888.9327 | 2555341.9081 | 1120855.924 | 2555342.6117 | 1120850.8045
16 | 2555340.069 | 1120827.3451 | 2555317.0303 | 1120837.1316
17 | 2555333.8888 | 1120888.9327 | 2555332.6778 | 1120893.9174
18 | 2555317.0303 | 1120837.1316 | 2555316.9953 | 1120874.0954 | 2555315.1592 | 1120877.1995 | 2555312.2635 | 1120877.8435 | 2555307.0955 | 1120877.8817
19 | 2555317.0303 | 1120837.1316 | 2555305.8263 | 1120841.8948 | 2555291.9562 | 1120844.9094
20 | 2555332.6778 | 1120893.9174 | 2555331.6672 | 1120898.077 | 2555331.9381 | 1120906.535 | 2555333.6592 | 1120912.0646
21 | 2555269.8465 | 1120845.9705 | 2555288.8289 | 1120845.5891 | 2555291.9562 | 1120844.9094
22 | 2555333.6592 | 1120912.0646 | 2555333.7978 | 1120912.5102
23 | 2555269.8465 | 1120845.9705 | 2555268.6752 | 1120845.9941 | 2555244.5784 | 1120843.4328
24 | 2555191.0086 | 1120834.2525 | 2555224.9719 | 1120841.3488 | 2555244.5784 | 1120843.4328
25 | 2555191.0086 | 1120834.2525 | 2555186.8665 | 1120854.0379 | 2555185.5702 | 1120873.7466 | 2555183.2159 | 1120888.0826 | 2555195.028 | 1120899.801 | 2555207.6672 | 1120910.7018
26 | 2555207.6672 | 1120910.7018 | 2555252.4787 | 1120913.056
27 | 2555252.4787 | 1120913.056 | 2555257.5492 | 1120913.3223 | 2555288.7493 | 1120918.2858
28 | 2555288.7493 | 1120918.2858 | 2555289.3988 | 1120918.3891
29 | 2555295.815 | 1121005.6533 | 2555300.2775 | 1121004.1084 | 2555310.1118 | 1120997.7435 | 2555320.6492 | 1120995.7089 | 2555329.7 | 1120996.0533 | 2555345.5698 | 1121001.6054 | 2555365.548 | 1121002.5916 | 2555371.777 | 1121006.2586 | 2555377.8114 | 1121007.6036
30 | 2555295.815 | 1121005.6533 | 2555283.9738 | 1121009.7431 | 2555290.7443 | 1121018.8199 | 2555293.5445 | 1121020.9225 | 2555298.9925 | 1121022.2495 | 2555315.6954 | 1121023.6377 | 2555321.3949 | 1121024.5516 | 2555325.7904 | 1121026.4534 | 2555327.334 | 1121029.6992
31 | 2555377.8114 | 1121007.6036 | 2555441.9797 | 1120998.8921
32 | 2555327.334 | 1121029.6992 | 2555344.9263 | 1121029.3356 | 2555368.7644 | 1121034.9068
33 | 2555458.2393 | 1120990.39 | 2555441.9797 | 1120998.8921
34 | 2555368.7644 | 1121034.9068 | 2555376.3027 | 1121103.0084
35 | 2555595.8592 | 1121042.9377 | 2555584.0281 | 1121038.4961
36 | 2555568.3512 | 1121032.6108 | 2555584.0281 | 1121038.4961
37 | 2555568.3512 | 1121032.6108 | 2555555.6626 | 1121027.8473 | 2555550.581 | 1121024.9499 | 2555549.3139 | 1121022.5802 | 2555550.3783 | 1121019.4263 | 2555552.4848 | 1121017.4097 | 2555561.4646 | 1121016.4586
38 | 2555354.5157 | 1121105.6374 | 2555355.6294 | 1121123.7719 | 2555354.4934 | 1121130.795
39 | 2555609.5586 | 1121010.4298 | 2555607.0037 | 1121010.861 | 2555573.4653 | 1121015.1876 | 2555561.4646 | 1121016.4586
40 | 2555617.1097 | 1121009.1554 | 2555609.5586 | 1121010.4298
41 | 2555629.3998 | 1121000.25 | 2555626.3619 | 1121005.1603 | 2555621.6725 | 1121008.3853 | 2555617.1097 | 1121009.1554
42 | 2555618.5029 | 1120981.3431 | 2555627.4759 | 1120988.7992 | 2555629.9547 | 1120994.4061 | 2555629.5332 | 1121000.0343 | 2555629.3998 | 1121000.25
43 | 2555643.4304 | 1120950.6553 | 2555672.2664 | 1120950.5044
44 | 2555582.8255 | 1120951.6971 | 2555598.9608 | 1120951.4117 | 2555641.4894 | 1120950.6655 | 2555643.4304 | 1120950.6553
45 | 2555582.8255 | 1120951.6971 | 2555593.2439 | 1120960.3543
46 | 2555582.8255 | 1120951.6971 | 2555545.5806 | 1120952.4895
47 | 2555618.5029 | 1120981.3431 | 2555593.2439 | 1120960.3543
48 | 2555545.5806 | 1120952.4895 | 2555532.4929 | 1120952.768 | 2555526.8319 | 1120952.4825
49 | 2555513.641 | 1120951.8174 | 2555526.8319 | 1120952.4825
50 | 2555437.7458 | 1120919.6047 | 2555441.1763 | 1120911.9865 | 2555447.8984 | 1120920.7971 | 2555454.1251 | 1120927.2878 | 2555460.3089 | 1120932.1447 | 2555468.134 | 1120937.8122 | 2555478.645 | 1120943.6822 | 2555490.0934 | 1120948.0111 | 2555502.6893 | 1120951.0421 | 2555513.641 | 1120951.8174
51 | 2555519.7719 | 1121023.5208 | 2555497.5041 | 1121010.4888 | 2555496.0589 | 1121009.9989
52 | 2555519.7719 | 1121023.5208 | 2555519.9399 | 1121023.6192
53 | 2555491.6638 | 1121008.5093 | 2555496.0589 | 1121009.9989
54 | 2555491.6638 | 1121008.5093 | 2555477.5373 | 1121003.7213 | 2555469.3923 | 1120998.7425
55 | 2555464.8796 | 1120995.9839 | 2555469.3923 | 1120998.7425
56 | 2555458.2393 | 1120990.39 | 2555462.0476 | 1120994.2528 | 2555464.8796 | 1120995.9839
57 | 2555437.7458 | 1120919.6047 | 2555438.0552 | 1120941.6582 | 2555437.2196 | 1120950.7246 | 2555437.5483 | 1120958.6818 | 2555440.3698 | 1120964.7086 | 2555452.2652 | 1120980.4845 | 2555458.2393 | 1120990.39
58 | 2555437.7458 | 1120919.6047 | 2555427.1312 | 1120935.2355 | 2555420.0482 | 1120938.4318
59 | 2555420.0482 | 1120938.4318 | 2555419.6429 | 1120938.6147 | 2555408.6744 | 1120936.6057 | 2555390.6671 | 1120924.1046
60 | 2555341.13 | 1120926.5578 | 2555390.6671 | 1120924.1046
61 | 2555341.13 | 1120926.5578 | 2555341.1347 | 1120926.5662 | 2555341.4944 | 1120932.4443 | 2555341.4944 | 1120932.4443
62 | 2555333.7978 | 1120912.5102 | 2555334.3718 | 1120914.3543 | 2555341.13 | 1120926.5578
63 | 2555329.5585 | 1120940.3217 | 2555334.9181 | 1120939.1964 | 2555337.9088 | 1120937.8403 | 2555341.4944 | 1120932.4443
64 | 2555329.5585 | 1120940.3217 | 2555328.8259 | 1120940.4755
65 | 2555328.8259 | 1120940.4755 | 2555318.9129 | 1120942.4609 | 2555307.1769 | 1120943.7927
66 | 2555354.5157 | 1121105.6374 | 2555376.3027 | 1121103.0084

## bus_geodata
| x | y | coords
0 | 2555455.0708 | 1121358.6832
1 | 2555466.1305 | 1121340.6902
2 | 2555376.9175 | 1121425.1589
3 | 2555456.5692 | 1121338.7024
4 | 2555504.6972 | 1121409.7639
5 | 2555404.0003 | 1121341.0374
6 | 2555527.1575 | 1121396.8395
7 | 2555435.2033 | 1121290.9816
8 | 2555454.9769 | 1121237.1476
9 | 2555464.6053 | 1121225.9534
10 | 2555433.3474 | 1121210.629
11 | 2555389.8681 | 1121134.7085
12 | 2555391.5983 | 1121125.2133
13 | 2555343.0096 | 1120842.1028
14 | 2555342.6117 | 1120850.8045
15 | 2555340.069 | 1120827.3451
16 | 2555333.8888 | 1120888.9327
17 | 2555317.0303 | 1120837.1316
18 | 2555332.6778 | 1120893.9174
19 | 2555307.0955 | 1120877.8817
20 | 2555291.9562 | 1120844.9094
21 | 2555333.6592 | 1120912.0646
22 | 2555269.8465 | 1120845.9705
23 | 2555244.5784 | 1120843.4328
24 | 2555191.0086 | 1120834.2525
25 | 2555207.6672 | 1120910.7018
26 | 2555252.4787 | 1120913.056
27 | 2555288.7493 | 1120918.2858
28 | 2555289.3988 | 1120918.3891
29 | 2555295.815 | 1121005.6533
30 | 2555377.8114 | 1121007.6036
31 | 2555327.334 | 1121029.6992
32 | 2555441.9797 | 1120998.8921
33 | 2555368.7644 | 1121034.9068
34 | 2555595.8592 | 1121042.9377
35 | 2555584.0281 | 1121038.4961
36 | 2555568.3512 | 1121032.6108
37 | 2555354.4934 | 1121130.795
38 | 2555561.4646 | 1121016.4586
39 | 2555609.5586 | 1121010.4298
40 | 2555617.1097 | 1121009.1554
41 | 2555629.3998 | 1121000.25
42 | 2555643.4304 | 1120950.6553
43 | 2555672.2664 | 1120950.5044
44 | 2555582.8255 | 1120951.6971
45 | 2555593.2439 | 1120960.3543
46 | 2555545.5806 | 1120952.4895
47 | 2555618.5029 | 1120981.3431
48 | 2555526.8319 | 1120952.4825
49 | 2555513.641 | 1120951.8174
50 | 2555519.7719 | 1121023.5208
51 | 2555496.0589 | 1121009.9989
52 | 2555519.9399 | 1121023.6192
53 | 2555491.6638 | 1121008.5093
54 | 2555469.3923 | 1120998.7425
55 | 2555464.8796 | 1120995.9839
56 | 2555437.7458 | 1120919.6047
57 | 2555458.2393 | 1120990.39
58 | 2555420.0482 | 1120938.4318
59 | 2555390.6671 | 1120924.1046
60 | 2555341.13 | 1120926.5578
61 | 2555341.4944 | 1120932.4443
62 | 2555333.7978 | 1120912.5102
63 | 2555329.5585 | 1120940.3217
64 | 2555328.8259 | 1120940.4755
65 | 2555307.1769 | 1120943.7927
66 | 2555354.5157 | 1121105.6374
67 | 2555376.3027 | 1121103.0084
68 | 2555420.0482 | 1120938.4318

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1