## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6156-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6156-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6156-2_0_3_node_74 | 0.4 | n |  | TRUE
4 | bus_LV_6156-2_0_3_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_6156-2_0_3_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_6156-2_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6156-2_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_6156-2_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_6156-2_0_3_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_6156-2_0_3_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_6156-2_0_3_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_6156-2_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6156-2_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6156-2_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_6156-2_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6156-2_0_3_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_6156-2_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6156-2_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6156-2_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6156-2_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_6156-2_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_6156-2_0_3_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_6156-2_0_3_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_6156-2_0_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_6156-2_0_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_6156-2_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_6156-2_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_6156-2_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_6156-2_0_3_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_6156-2_0_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_6156-2_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_6156-2_0_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_6156-2_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_6156-2_0_3_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_6156-2_0_3_node_14 | 0.4 | n |  | TRUE
36 | bus_LV_6156-2_0_3_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_6156-2_0_3_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_6156-2_0_3_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_6156-2_0_3_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_6156-2_0_3_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_6156-2_0_3_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_6156-2_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_6156-2_0_3_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_6156-2_0_3_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_6156-2_0_3_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_6156-2_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_6156-2_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_6156-2_0_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_6156-2_0_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_6156-2_0_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_6156-2_0_3_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_6156-2_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_6156-2_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_6156-2_0_3_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_6156-2_0_3_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_6156-2_0_3_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_6156-2_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6156-2_0_3_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_6156-2_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_6156-2_0_3_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_6156-2_0_3_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_6156-2_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_6156-2_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_6156-2_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_6156-2_0_3_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_6156-2_0_3_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_6156-2_0_3_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_6156-2_0_3_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_6156-2_0_3_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_6156-2_0_3_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_6156-2_0_3_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_6156-2_0_3_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_6156-2_0_3_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_6156-2_0_3_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_6156-2_0_3_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_6156-2_0_3_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_6156-2_0_3_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_6156-2_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_6156-2_0_3_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_6156-2_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_MV_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-2_0_3_load_0 | 0 | 0.00051426 | 0.00012889 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-2_0_3_load_1 | 1 | 0.002027 | 0.00050801 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-2_0_3_load_74 | 3 | 0.00055255 | 0.00013848 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-2_0_3_load_73 | 4 | 0.0012058 | 0.0003022 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-2_0_3_load_4 | 6 | 0.00047426 | 0.00011886 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-2_0_3_load_77 | 10 | 0.00090155 | 0.00022595 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-2_0_3_load_70 | 11 | 0.00033146 | 8.3071e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-2_0_3_load_5 | 12 | 0.00034308 | 8.5984e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-2_0_3_load_7 | 13 | 0.00049516 | 0.0001241 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-2_0_3_load_6 | 14 | 0.0013465 | 0.00033746 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-2_0_3_load_42 | 16 | 0.00044545 | 0.00011164 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-2_0_3_load_10 | 17 | 0.00070161 | 0.00017584 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-2_0_3_load_11 | 18 | 0.0010784 | 0.00027028 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-2_0_3_load_60 | 23 | 0.000313 | 7.8445e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-2_0_3_load_61 | 24 | 0.00030147 | 7.5556e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-2_0_3_load_54 | 25 | 0.0013323 | 0.0003339 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-2_0_3_load_33 | 27 | 0.00095306 | 0.00023886 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-2_0_3_load_40 | 28 | 0.00078368 | 0.00019641 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-2_0_3_load_63 | 29 | 0.00034573 | 8.6647e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-2_0_3_load_53 | 30 | 0.00073998 | 0.00018546 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-2_0_3_load_38 | 31 | 0.00047048 | 0.00011791 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-2_0_3_load_52 | 32 | 0.00040185 | 0.00010071 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-2_0_3_load_13 | 34 | 0.00057661 | 0.00014451 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-2_0_3_load_14 | 35 | 0.00094225 | 0.00023615 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-2_0_3_load_16 | 37 | 0.001046 | 0.00026216 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-2_0_3_load_17 | 38 | 0.0011228 | 0.00028141 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-2_0_3_load_18 | 39 | 0.0024096 | 0.00060391 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-2_0_3_load_19 | 40 | 0.002816 | 0.00070575 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-2_0_3_load_20 | 41 | 0.0025327 | 0.00063476 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-2_0_3_load_21 | 42 | 0.00097223 | 0.00024366 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-2_0_3_load_23 | 44 | 0.0012825 | 0.00032143 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-2_0_3_load_24 | 45 | 0.0022915 | 0.00057431 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-2_0_3_load_26 | 47 | 0.0012355 | 0.00030965 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-2_0_3_load_65 | 49 | 0.0019086 | 0.00047835 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-2_0_3_load_62 | 50 | 0.0015135 | 0.00037933 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-2_0_3_load_30 | 52 | 0.00048096 | 0.00012054 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-2_0_3_load_31 | 53 | 0.00037306 | 9.3498e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-2_0_3_load_32 | 54 | 0.00129 | 0.0003233 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-2_0_3_load_71 | 55 | 0.00050284 | 0.00012602 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-2_0_3_load_75 | 56 | 0.00088697 | 0.0002223 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-2_0_3_load_76 | 58 | 0.00060397 | 0.00015137 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-2_0_3_load_35 | 60 | 0.0034604 | 0.00086725 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-2_0_3_load_36 | 61 | 0.0014617 | 0.00036634 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6156-2_0_3_load_39 | 62 | 0.00047785 | 0.00011976 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6156-2_0_3_load_50 | 63 | 0.00039035 | 9.7832e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6156-2_0_3_load_43 | 65 | 0.0011051 | 0.00027697 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6156-2_0_3_load_44 | 66 | 0.0035974 | 0.00090159 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6156-2_0_3_load_46 | 68 | 0.0005797 | 0.00014529 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6156-2_0_3_load_47 | 69 | 0.0010541 | 0.00026417 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6156-2_0_3_load_48 | 70 | 0.0023777 | 0.00059591 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6156-2_0_3_load_80 | 71 | 0.0016571 | 0.00041531 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6156-2_0_3_load_81 | 72 | 0.0017014 | 0.00042641 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6156-2_0_3_load_57 | 73 | 0.00095117 | 0.00023839 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6156-2_0_3_load_79 | 74 | 0.0017437 | 0.00043702 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6156-2_0_3_load_78 | 76 | 0.0016286 | 0.00040817 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6156-2_0_3_load_58 | 77 | 0.00086884 | 0.00021775 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6156-2_0_3_load_67 | 78 | 0.00048878 | 0.0001225 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6156-2_0_3_load_68 | 79 | 0.00033913 | 8.4995e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6156-2_0_3_load_69 | 80 | 0.0014113 | 0.00035372 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-2_0_3_line_0 |  | 0 | 1 | 0.091669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-2_0_3_line_1 |  | 0 | 2 | 0.1939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-2_0_3_line_2 |  | 2 | 3 | 0.25818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-2_0_3_line_3 |  | 3 | 4 | 0.21916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-2_0_3_line_4 |  | 4 | 5 | 0.083572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6156-2_0_3_line_5 |  | 5 | 10 | 0.12758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6156-2_0_3_line_6 |  | 5 | 11 | 0.20682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6156-2_0_3_line_7 |  | 6 | 7 | 0.16954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-2_0_3_line_8 |  | 7 | 8 | 0.1325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6156-2_0_3_line_9 |  | 7 | 9 | 0.039631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6156-2_0_3_line_10 |  | 8 | 52 | 0.14952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-2_0_3_line_11 |  | 9 | 53 | 0.050094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6156-2_0_3_line_12 |  | 9 | 54 | 0.11727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6156-2_0_3_line_13 |  | 10 | 54 | 0.15157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6156-2_0_3_line_14 |  | 11 | 79 | 0.029014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6156-2_0_3_line_15 |  | 12 | 13 | 0.044093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6156-2_0_3_line_16 |  | 13 | 16 | 0.23901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6156-2_0_3_line_17 |  | 14 | 15 | 0.10628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6156-2_0_3_line_18 |  | 15 | 20 | 0.020319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6156-2_0_3_line_19 |  | 15 | 21 | 0.27821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6156-2_0_3_line_20 |  | 16 | 21 | 0.1113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6156-2_0_3_line_21 |  | 17 | 18 | 0.078783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-2_0_3_line_22 |  | 17 | 19 | 0.24098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6156-2_0_3_line_23 |  | 18 | 34 | 0.05777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6156-2_0_3_line_24 |  | 19 | 35 | 0.027202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6156-2_0_3_line_25 |  | 20 | 26 | 0.14905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6156-2_0_3_line_26 |  | 20 | 27 | 0.14534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6156-2_0_3_line_27 |  | 21 | 28 | 0.033438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6156-2_0_3_line_28 |  | 22 | 23 | 0.028307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6156-2_0_3_line_29 |  | 22 | 24 | 0.11703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6156-2_0_3_line_30 |  | 22 | 25 | 0.12765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6156-2_0_3_line_31 |  | 23 | 50 | 0.18292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6156-2_0_3_line_32 |  | 23 | 77 | 0.16691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6156-2_0_3_line_33 |  | 24 | 29 | 0.030088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6156-2_0_3_line_34 |  | 26 | 31 | 0.12851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6156-2_0_3_line_35 |  | 26 | 32 | 0.19515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6156-2_0_3_line_36 |  | 27 | 33 | 0.17667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6156-2_0_3_line_37 |  | 28 | 62 | 0.020947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6156-2_0_3_line_38 |  | 29 | 30 | 0.15425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6156-2_0_3_line_39 |  | 30 | 32 | 0.076246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6156-2_0_3_line_40 |  | 32 | 64 | 0.070641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6156-2_0_3_line_41 |  | 33 | 60 | 0.079559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6156-2_0_3_line_42 |  | 33 | 61 | 0.077179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6156-2_0_3_line_43 |  | 34 | 36 | 0.24106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6156-2_0_3_line_44 |  | 35 | 37 | 0.15049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6156-2_0_3_line_45 |  | 36 | 38 | 0.039805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6156-2_0_3_line_46 |  | 38 | 39 | 0.060709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6156-2_0_3_line_47 |  | 39 | 40 | 0.059118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6156-2_0_3_line_48 |  | 40 | 41 | 0.020955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6156-2_0_3_line_49 |  | 41 | 42 | 0.070451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6156-2_0_3_line_50 |  | 42 | 43 | 0.15825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6156-2_0_3_line_51 |  | 43 | 44 | 0.0054606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_6156-2_0_3_line_52 |  | 43 | 45 | 0.035247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6156-2_0_3_line_53 |  | 44 | 46 | 0.16066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6156-2_0_3_line_54 |  | 45 | 47 | 8.6244e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6156-2_0_3_line_55 |  | 46 | 48 | 0.1476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6156-2_0_3_line_56 |  | 47 | 49 | 0.044426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6156-2_0_3_line_57 |  | 48 | 50 | 0.10263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6156-2_0_3_line_58 |  | 49 | 51 | 0.1422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6156-2_0_3_line_59 |  | 51 | 78 | 0.056319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6156-2_0_3_line_60 |  | 51 | 79 | 0.047094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6156-2_0_3_line_61 |  | 53 | 57 | 0.11936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6156-2_0_3_line_62 |  | 55 | 56 | 0.28409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6156-2_0_3_line_63 |  | 56 | 58 | 0.072842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6156-2_0_3_line_64 |  | 57 | 58 | 0.020054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6156-2_0_3_line_65 |  | 57 | 59 | 0.014122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6156-2_0_3_line_66 |  | 59 | 73 | 0.07223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6156-2_0_3_line_67 |  | 63 | 64 | 0.070539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6156-2_0_3_line_68 |  | 64 | 75 | 0.026446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6156-2_0_3_line_69 |  | 65 | 66 | 0.15143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6156-2_0_3_line_70 |  | 65 | 67 | 0.11655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6156-2_0_3_line_71 |  | 66 | 68 | 0.028034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6156-2_0_3_line_72 |  | 67 | 69 | 0.21523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6156-2_0_3_line_73 |  | 67 | 70 | 0.088092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6156-2_0_3_line_74 |  | 68 | 75 | 0.056643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6156-2_0_3_line_75 |  | 71 | 72 | 0.044026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6156-2_0_3_line_76 |  | 71 | 73 | 0.097363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6156-2_0_3_line_77 |  | 72 | 74 | 0.16689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6156-2_0_3_line_78 |  | 74 | 76 | 0.060806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6156-2_0_3_line_79 |  | 78 | 80 | 0.043929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-2_0_3_trafo_61 | 0.63 MVA 20/0.4 kV | 81 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2558792.8319 | 1120614.5972 | 2558781.4337 | 1120613.8496 | 2558773.0416 | 1120612.8619 | 2558761.0694 | 1120610.6425 | 2558749.4455 | 1120607.4535 | 2558735.6438 | 1120602.8121 | 2558714.8329 | 1120595.2171 | 2558704.4751 | 1120591.9803
1 | 2558983.6237 | 1120642.3099 | 2558973.4841 | 1120639.5774 | 2558953.3204 | 1120634.0671 | 2558918.0986 | 1120625.1798 | 2558901.5042 | 1120621.602 | 2558872.4693 | 1120617.2752 | 2558851.8322 | 1120614.77 | 2558839.3826 | 1120613.8099 | 2558827.5027 | 1120613.8131 | 2558810.5197 | 1120614.3514 | 2558794.0212 | 1120614.6752 | 2558792.8319 | 1120614.5972
2 | 2558899.3268 | 1120886.3447 | 2558983.6237 | 1120642.3099
3 | 2558688.8558 | 1120852.8446 | 2558690.0564 | 1120852.4849 | 2558701.297 | 1120850.4403 | 2558712.4026 | 1120848.9525 | 2558718.327 | 1120848.9676 | 2558724.2852 | 1120849.416 | 2558738.3391 | 1120853.8111 | 2558754.3721 | 1120856.5808 | 2558767.8403 | 1120862.1806 | 2558771.9496 | 1120864.1202 | 2558776.4075 | 1120865.1458 | 2558781.6087 | 1120865.4438 | 2558800.1917 | 1120865.4726 | 2558830.1217 | 1120866.6135 | 2558849.9256 | 1120866.9565 | 2558859.0392 | 1120867.4725 | 2558868.2414 | 1120868.5326 | 2558877.0011 | 1120870.3183 | 2558882.0274 | 1120872.1183 | 2558893.0265 | 1120882.1931 | 2558899.3268 | 1120886.3447
4 | 2558610.1554 | 1120878.3118 | 2558613.386 | 1120875.8328 | 2558618.1965 | 1120873.1541 | 2558627.6398 | 1120871.1217 | 2558642.3319 | 1120869.5869 | 2558654.3049 | 1120866.3589 | 2558677.0312 | 1120856.3871 | 2558688.8558 | 1120852.8446
5 | 2558610.1554 | 1120878.3118 | 2558544.4472 | 1120768.9495
6 | 2558610.1554 | 1120878.3118 | 2558617.8881 | 1120877.6807 | 2558629.1109 | 1120879.8049 | 2558650.4002 | 1120886.407 | 2558666.5207 | 1120894.0783 | 2558676.8596 | 1120897.7984 | 2558689.6084 | 1120899.7344 | 2558702.203 | 1120900.5487 | 2558734.3929 | 1120900.562 | 2558750.1729 | 1120900.1873 | 2558763.1177 | 1120901.4551 | 2558790.6066 | 1120907.7596 | 2558809.7684 | 1120910.1079 | 2558812.2238 | 1120910.6242
7 | 2558323.4703 | 1120815.9179 | 2558344.8399 | 1120800.5515 | 2558373.0448 | 1120775.1996 | 2558395.3736 | 1120757.9369 | 2558422.583 | 1120742.5417 | 2558431.8428 | 1120736.2414 | 2558450.4151 | 1120726.8199 | 2558463.5196 | 1120722.5599
8 | 2558323.4703 | 1120815.9179 | 2558321.4263 | 1120810.3625 | 2558317.3031 | 1120807.5562 | 2558307.6252 | 1120805.7776 | 2558289.3554 | 1120807.5713 | 2558269.3085 | 1120807.8099 | 2558253.5913 | 1120816.1895 | 2558226.8891 | 1120828.9584 | 2558209.6207 | 1120842.785 | 2558205.9284 | 1120840.9429
9 | 2558305.5379 | 1120849.8035 | 2558305.7805 | 1120845.8331 | 2558308.7569 | 1120837.8418 | 2558311.1331 | 1120828.9542 | 2558323.4703 | 1120815.9179
10 | 2558205.9284 | 1120840.9429 | 2558193.6246 | 1120853.1788 | 2558183.5026 | 1120864.1211 | 2558172.9448 | 1120874.5107 | 2558160.4316 | 1120884.3468 | 2558149.4381 | 1120890.8374 | 2558132.4396 | 1120899.0372 | 2558104.5758 | 1120913.3044 | 2558084.1131 | 1120925.0487
11 | 2558305.5379 | 1120849.8035 | 2558269.76 | 1120876.4753 | 2558265.8047 | 1120880.2508
12 | 2558305.5379 | 1120849.8035 | 2558311.3677 | 1120845.0497 | 2558317.4325 | 1120837.4706 | 2558322.7918 | 1120831.6195 | 2558333.5751 | 1120825.9089 | 2558341.9013 | 1120824.0949 | 2558357.3063 | 1120823.0104 | 2558364.9495 | 1120821.6903 | 2558375.8621 | 1120817.9465 | 2558392.0781 | 1120810.2976 | 2558407.6235 | 1120803.8316 | 2558409.455 | 1120803.3917
13 | 2558544.4472 | 1120768.9495 | 2558539.8091 | 1120771.106 | 2558533.1286 | 1120776.6992 | 2558525.2386 | 1120782.523 | 2558520.0072 | 1120789.0623 | 2558515.3464 | 1120795.5754 | 2558510.8967 | 1120800.2528 | 2558506.9304 | 1120802.3034 | 2558503.1377 | 1120802.6852 | 2558498.6649 | 1120801.7488 | 2558481.1078 | 1120793.8765 | 2558475.6838 | 1120792.602 | 2558469.8645 | 1120792.1751 | 2558447.6786 | 1120797.7083 | 2558436.2311 | 1120799.966 | 2558418.0586 | 1120801.3252 | 2558409.455 | 1120803.3917
14 | 2558838.943 | 1120920.7166 | 2558836.1738 | 1120918.1653 | 2558825.4886 | 1120913.4135 | 2558812.2238 | 1120910.6242
15 | 2559001.6716 | 1121762.188 | 2559008.3919 | 1121773.3426 | 2559008.3129 | 1121781.0137 | 2559005.2331 | 1121788.594 | 2559000.1782 | 1121797.2328 | 2558997.898 | 1121801.9144
16 | 2558997.898 | 1121801.9144 | 2558761.0096 | 1121833.691
17 | 2558640.8432 | 1121556.3265 | 2558647.9063 | 1121559.4019 | 2558657.632 | 1121561.6031 | 2558669.4104 | 1121561.6892 | 2558694.4937 | 1121558.4048 | 2558728.6468 | 1121556.1257 | 2558740.7076 | 1121556.9103 | 2558745.7561 | 1121558.2172
18 | 2558628.8027 | 1121543.8803 | 2558632.684 | 1121555.3707 | 2558640.8432 | 1121556.3265
19 | 2558640.8432 | 1121556.3265 | 2558649.9521 | 1121834.3842
20 | 2558649.9521 | 1121834.3842 | 2558682.5706 | 1121832.371 | 2558716.0074 | 1121832.7314 | 2558739.1264 | 1121831.0836 | 2558749.5282 | 1121830.7013 | 2558754.2528 | 1121831.3582 | 2558761.0096 | 1121833.691
21 | 2559320.9643 | 1121356.5603 | 2559320.9643 | 1121356.5603 | 2559319.7037 | 1121354.9236 | 2559319.3784 | 1121345.5654 | 2559322.4645 | 1121338.8189 | 2559323.527 | 1121335.0988 | 2559323.6813 | 1121329.3837 | 2559322.8951 | 1121324.8867 | 2559319.4591 | 1121318.6289 | 2559309.156 | 1121299.4663 | 2559302.1547 | 1121289.5195 | 2559299.7448 | 1121285.4569
22 | 2559515.8808 | 1121468.4966 | 2559508.415 | 1121468.5689 | 2559504.5957 | 1121470.6734 | 2559501.8439 | 1121470.9364 | 2559497.4629 | 1121469.7986 | 2559496.0168 | 1121468.0852 | 2559492.5967 | 1121463.0166 | 2559486.1744 | 1121454.233 | 2559482.5579 | 1121450.9222 | 2559474.3376 | 1121446.6196 | 2559470.6941 | 1121442.731 | 2559467.137 | 1121435.6513 | 2559465.5429 | 1121429.1253 | 2559463.1188 | 1121423.0607 | 2559460.9259 | 1121416.9723 | 2559458.8255 | 1121414.3073 | 2559457.4398 | 1121410.1255 | 2559452.6408 | 1121406.467 | 2559447.8332 | 1121403.8313 | 2559400.3828 | 1121386.7969 | 2559362.3122 | 1121374.4689 | 2559342.5323 | 1121369.4217 | 2559333.6218 | 1121362.3003 | 2559328.368 | 1121359.8566 | 2559320.9643 | 1121356.5603
23 | 2559299.7448 | 1121285.4569 | 2559296.6309 | 1121280.2075 | 2559285.0496 | 1121268.2572 | 2559276.7993 | 1121262.9768 | 2559257.0665 | 1121254.6946 | 2559253.8515 | 1121252.6152
24 | 2559515.8808 | 1121468.4966 | 2559517.5502 | 1121479.3577 | 2559517.174 | 1121489.9545 | 2559517.1359 | 1121495.5639
25 | 2558628.8027 | 1121543.8803 | 2558614.1937 | 1121532.5413 | 2558602.5977 | 1121526.4399 | 2558589.9872 | 1121520.8679 | 2558580.3826 | 1121513.8524 | 2558567.8535 | 1121502.1768 | 2558554.6842 | 1121486.0034 | 2558543.1786 | 1121469.4961 | 2558534.0277 | 1121458.9424 | 2558525.9215 | 1121452.2502 | 2558518.1869 | 1121446.8783
26 | 2558628.8027 | 1121543.8803 | 2558556.4798 | 1121572.2796 | 2558534.7734 | 1121579.8325 | 2558522.9484 | 1121584.1826 | 2558511.8474 | 1121589.4949 | 2558501.6843 | 1121596.6128 | 2558496.2187 | 1121601.5158
27 | 2558649.9521 | 1121834.3842 | 2558630.861 | 1121845.3094 | 2558620.7774 | 1121850.7172
28 | 2558780.663 | 1121217.2192 | 2558807.9968 | 1121209.8601
29 | 2558780.663 | 1121217.2192 | 2558729.5925 | 1121211.6096 | 2558699.2245 | 1121209.3382 | 2558664.5198 | 1121203.4282
30 | 2558780.663 | 1121217.2192 | 2558715.2893 | 1121326.864
31 | 2558807.9968 | 1121209.8601 | 2558815.9951 | 1121207.7066 | 2558833.4546 | 1121201.5067 | 2558847.4202 | 1121197.5984 | 2558853.185 | 1121194.6242 | 2558872.1096 | 1121181.5331 | 2558888.1934 | 1121168.1278 | 2558905.4115 | 1121163.8196 | 2558929.099 | 1121173.9191 | 2558966.419 | 1121203.5854
32 | 2558807.9968 | 1121209.8601 | 2558887.3284 | 1121356.7105
33 | 2558664.5198 | 1121203.4282 | 2558646.4768 | 1121215.6357 | 2558641.804 | 1121220.359 | 2558640.7245 | 1121221.6184
34 | 2558518.1869 | 1121446.8783 | 2558541.3446 | 1121450.6546 | 2558547.7616 | 1121450.6105 | 2558558.5745 | 1121448.224 | 2558569.4577 | 1121447.0932 | 2558583.3544 | 1121446.7421 | 2558598.2491 | 1121446.8289 | 2558611.6355 | 1121445.1808 | 2558635.3711 | 1121440.9938 | 2558645.406 | 1121439.0243
35 | 2558425.6616 | 1121275.0614 | 2558518.1869 | 1121446.8783
36 | 2558359.7459 | 1121708.8918 | 2558366.8921 | 1121703.8955 | 2558386.5345 | 1121681.2041 | 2558402.6141 | 1121661.939 | 2558411.4219 | 1121652.9404 | 2558422.018 | 1121643.7738 | 2558436.2049 | 1121635.2273 | 2558448.7178 | 1121629.9941 | 2558463.5789 | 1121625.2672 | 2558475.941 | 1121618.2786 | 2558490.7071 | 1121606.46 | 2558496.2187 | 1121601.5158
37 | 2558602.2737 | 1121860.5349 | 2558612.0266 | 1121855.4103 | 2558620.7774 | 1121850.7172
38 | 2558496.2588 | 1121246.2912 | 2558518.3616 | 1121238.8373 | 2558541.4707 | 1121238.8008 | 2558575.3111 | 1121243.5266 | 2558590.924 | 1121245.9096 | 2558611.3531 | 1121243.1237 | 2558625.2054 | 1121237.3481 | 2558630.5322 | 1121233.5096 | 2558640.7245 | 1121221.6184
39 | 2558425.6616 | 1121275.0614 | 2558482.2812 | 1121251.614 | 2558491.0038 | 1121248.0633 | 2558496.2588 | 1121246.2912
40 | 2558369.2531 | 1121314.8466 | 2558388.3659 | 1121292.3367 | 2558417.5576 | 1121278.4174 | 2558425.6616 | 1121275.0614
41 | 2558359.7459 | 1121708.8918 | 2558351.0161 | 1121713.521 | 2558339.4021 | 1121718.2146 | 2558318.3491 | 1121724.2296 | 2558284.659 | 1121735.3013
42 | 2558359.7459 | 1121708.8918 | 2558359.0462 | 1121714.7996 | 2558344.3844 | 1121732.721 | 2558331.1774 | 1121746.8527 | 2558309.1187 | 1121765.2634
43 | 2559350.565 | 1121049.1817 | 2559351.205 | 1121050.3002 | 2559353.5221 | 1121054.1866 | 2559353.8733 | 1121059.3646 | 2559354.3518 | 1121062.841 | 2559354.0727 | 1121068.3679 | 2559345.0277 | 1121085.9933 | 2559341.3806 | 1121093.0771 | 2559337.6742 | 1121101.662 | 2559325.0367 | 1121117.2995 | 2559316.1053 | 1121127.7317 | 2559314.4631 | 1121135.858 | 2559310.5447 | 1121141.5984 | 2559305.8286 | 1121146.8551 | 2559304.0441 | 1121151.0359 | 2559303.4725 | 1121161.2117 | 2559302.1333 | 1121168.5133 | 2559299.2287 | 1121174.7361 | 2559293.6467 | 1121179.6873 | 2559279.7004 | 1121189.931 | 2559274.8375 | 1121195.1443 | 2559269.4511 | 1121201.6395 | 2559262.4123 | 1121213.6042 | 2559253.398 | 1121224.2927 | 2559252.4203 | 1121228.0012 | 2559253.3749 | 1121232.2969 | 2559256.7586 | 1121238.7774 | 2559257.4746 | 1121242.0187 | 2559257.1948 | 1121245.1221 | 2559253.834 | 1121250.0251 | 2559253.8515 | 1121252.6152
44 | 2559549.6333 | 1121638.8241 | 2559542.298 | 1121623.81 | 2559540.7446 | 1121619.8962 | 2559541.3525 | 1121615.0897 | 2559542.0815 | 1121604.1792 | 2559539.9145 | 1121595.0224 | 2559537.8575 | 1121575.8042 | 2559536.8343 | 1121570.4416 | 2559536.7785 | 1121562.1266 | 2559533.7541 | 1121552.7866 | 2559530.575 | 1121547.9832 | 2559526.75 | 1121538.882 | 2559526.2563 | 1121526.2232 | 2559526.7395 | 1121517.7601 | 2559522.9714 | 1121511.3932 | 2559517.1042 | 1121500.2491 | 2559517.1359 | 1121495.5639
45 | 2559350.565 | 1121049.1817 | 2559325.2151 | 1121055.6334 | 2559324.1411 | 1121056.5078 | 2559323.4049 | 1121057.1464 | 2559317.1654 | 1121053.8312 | 2559313.2895 | 1121052.1564
46 | 2559267.1229 | 1121078.5422 | 2559272.5301 | 1121078.3779 | 2559288.0182 | 1121071.3921 | 2559296.7072 | 1121068.4654 | 2559304.8689 | 1121067.4321 | 2559309.2588 | 1121066.4131 | 2559310.92 | 1121059.9542 | 2559310.4455 | 1121055.9331 | 2559310.4281 | 1121053.343 | 2559313.2895 | 1121052.1564
47 | 2559224.7366 | 1121046.4063 | 2559229.159 | 1121049.0555 | 2559234.8642 | 1121056.6209 | 2559243.5627 | 1121068.824 | 2559247.1159 | 1121076.4039 | 2559251.3568 | 1121079.5991 | 2559257.0058 | 1121078.8495 | 2559267.1229 | 1121078.5422
48 | 2559224.7366 | 1121046.4063 | 2559224.7366 | 1121046.4063 | 2559221.5137 | 1121046.6059 | 2559219.366 | 1121048.4102 | 2559217.5076 | 1121051.9134 | 2559215.8525 | 1121059.2617 | 2559214.8795 | 1121062.5437
49 | 2559214.8795 | 1121062.5437 | 2559213.2204 | 1121068.1396 | 2559208.6985 | 1121077.0191 | 2559201.3982 | 1121085.6617 | 2559196.5768 | 1121090.1744 | 2559191.9423 | 1121094.9415 | 2559185.8938 | 1121102.7752 | 2559180.6535 | 1121111.4818 | 2559176.9029 | 1121114.6421 | 2559171.7908 | 1121114.9434 | 2559171.7908 | 1121114.9434
50 | 2559069.7828 | 1121006.3006 | 2559086.1867 | 1121013.8044 | 2559090.5233 | 1121018.5885 | 2559107.0938 | 1121025.6355 | 2559117.177 | 1121030.403 | 2559126.0979 | 1121035.523 | 2559135.7596 | 1121042.9837 | 2559142.6223 | 1121049.4628 | 2559147.1599 | 1121056.5913 | 2559151.5328 | 1121065.5996 | 2559156.5492 | 1121077.3717 | 2559159.3113 | 1121087.7361 | 2559164.5445 | 1121105.332 | 2559167.9136 | 1121111.9237 | 2559171.7908 | 1121114.9434
51 | 2559069.7828 | 1121006.3006 | 2559071.3885 | 1121011.5198
52 | 2559069.7828 | 1121006.3006 | 2559062.5755 | 1120995.6662 | 2559053.9362 | 1120985.4529 | 2559046.8288 | 1120979.8937
53 | 2559108.8558 | 1121165.0393 | 2559113.6051 | 1121145.3526 | 2559099.0686 | 1121106.0309 | 2559085.5104 | 1121057.4201 | 2559071.3885 | 1121011.5198
54 | 2559046.8288 | 1120979.8937 | 2559046.7609 | 1120979.8406
55 | 2558991.8577 | 1121185.5208 | 2559031.14 | 1121179.4845 | 2559046.5382 | 1121182.0591 | 2559050.3306 | 1121177.1198 | 2559070.2513 | 1121172.0933 | 2559070.793 | 1121176.9032 | 2559086.3637 | 1121165.1139 | 2559103.753 | 1121148.4765 | 2559108.8558 | 1121165.0393
56 | 2559006.8331 | 1120960.9941 | 2559021.4133 | 1120965.8634 | 2559031.951 | 1120970.5165 | 2559043.0019 | 1120976.9004 | 2559046.7609 | 1120979.8406
57 | 2558991.8577 | 1121185.5208 | 2558998.4324 | 1121208.6547 | 2559000.85 | 1121230.7162 | 2558998.7865 | 1121236.9334 | 2558993.0413 | 1121237.1281 | 2558987.7027 | 1121232.4508 | 2558985.2909 | 1121222.6066 | 2558971.2108 | 1121207.3945 | 2558966.419 | 1121203.5854
58 | 2558868.2051 | 1120956.0443 | 2558874.4141 | 1120955.9575 | 2558884.9481 | 1120953.2511 | 2558895.1492 | 1120951.503 | 2558904.6907 | 1120951.4269 | 2558911.6815 | 1120952.8801 | 2558928.9554 | 1120957.8095 | 2558935.1495 | 1120957.8008 | 2558956.5935 | 1120952.0854 | 2558963.8231 | 1120951.2136 | 2558972.4541 | 1120951.1216 | 2558985.9189 | 1120954.0094 | 2559006.8331 | 1120960.9941
59 | 2558868.2051 | 1120956.0443 | 2558865.4358 | 1120959.4315 | 2558861.6685 | 1120960.1242 | 2558857.5009 | 1120959.808 | 2558849.2933 | 1120956.3955 | 2558843.3437 | 1120953.8014 | 2558836.2095 | 1120951.6934 | 2558823.1586 | 1120950.6707 | 2558815.1522 | 1120950.1309
60 | 2558868.2051 | 1120956.0443 | 2558862.0388 | 1120953.3405 | 2558857.2566 | 1120948.8596 | 2558854.3194 | 1120943.4658 | 2558843.4085 | 1120924.8306 | 2558838.943 | 1120920.7166
61 | 2558193.0742 | 1120973.0885 | 2558194.8557 | 1120969.6966 | 2558206.3623 | 1120960.4345 | 2558209.8065 | 1120956.542 | 2558221.0756 | 1120934.1414 | 2558230.4367 | 1120918.024 | 2558245.6053 | 1120899.5319 | 2558265.8047 | 1120880.2508
62 | 2558543.5754 | 1121023.2876 | 2558274.7418 | 1120931.4519
63 | 2558274.7418 | 1120931.4519 | 2558245.4069 | 1120939.9873 | 2558236.502 | 1120945.1182 | 2558225.2615 | 1120954.9231 | 2558214.4717 | 1120962.9797 | 2558211.2536 | 1120964.6634
64 | 2558193.0742 | 1120973.0885 | 2558203.7267 | 1120968.6014 | 2558211.2536 | 1120964.6634
65 | 2558179.8257 | 1120978.0828 | 2558193.0742 | 1120973.0885
66 | 2558179.8257 | 1120978.0828 | 2558147.1223 | 1120994.0842 | 2558133.0124 | 1121002.7642 | 2558117.8956 | 1121014.186 | 2558117.6437 | 1121014.365
67 | 2558369.2531 | 1121314.8466 | 2558362.7949 | 1121324.5962 | 2558351.6901 | 1121333.8775 | 2558332.416 | 1121351.9641 | 2558322.6851 | 1121359.1461 | 2558318.1742 | 1121362.8649
68 | 2558346.5781 | 1121328.5656 | 2558369.2531 | 1121314.8466
69 | 2558131.2695 | 1121420.8926 | 2558159.2001 | 1121405.5558 | 2558172.8477 | 1121398.1908 | 2558192.7967 | 1121392.9945 | 2558203.2166 | 1121390.6767 | 2558211.5681 | 1121385.9387 | 2558225.6636 | 1121377.5147 | 2558236.2146 | 1121374.0622 | 2558259.953 | 1121370.285 | 2558270.1179 | 1121364.681
70 | 2558045.645 | 1121457.5591 | 2558052.1746 | 1121462.6163 | 2558057.0968 | 1121469.4412 | 2558058.9918 | 1121472.4185 | 2558062.6145 | 1121475.3948 | 2558066.479 | 1121476.5464 | 2558071.5961 | 1121474.7988 | 2558074.8938 | 1121472.0634 | 2558080.1092 | 1121464.49 | 2558089.4744 | 1121450.2511 | 2558095.5924 | 1121442.6825 | 2558102.4235 | 1121436.7321 | 2558131.2695 | 1121420.8926
71 | 2558294.6686 | 1121351.1459 | 2558270.1179 | 1121364.681
72 | 2558045.645 | 1121457.5591 | 2558037.0695 | 1121456.6627 | 2558028.557 | 1121457.0665 | 2558021.8727 | 1121458.6137 | 2558000.9616 | 1121467.3636 | 2557982.2248 | 1121473.7972 | 2557969.3509 | 1121477.0107 | 2557879.8754 | 1121493.1312 | 2557853.2822 | 1121501.0875 | 2557836.7051 | 1121503.8528
73 | 2557960.457 | 1121445.9122 | 2557976.2048 | 1121444.4463 | 2558018.8461 | 1121447.0844 | 2558041.6309 | 1121452.6511 | 2558045.645 | 1121457.5591
74 | 2558346.5781 | 1121328.5656 | 2558300.8549 | 1121347.7354 | 2558294.6686 | 1121351.1459
75 | 2558031.7732 | 1121053.284 | 2558011.3958 | 1121065.6962 | 2557995.0183 | 1121077.4626
76 | 2558117.6437 | 1121014.365 | 2558087.7449 | 1121035.6172 | 2558081.4397 | 1121039.6074 | 2558071.0435 | 1121042.092 | 2558059.1331 | 1121040.9185 | 2558053.5656 | 1121041.1684 | 2558047.9353 | 1121043.4865 | 2558034.731 | 1121051.4823 | 2558031.7732 | 1121053.284
77 | 2557995.0183 | 1121077.4626 | 2557990.8337 | 1121080.469 | 2557974.5151 | 1121093.1446 | 2557964.4882 | 1121120.962 | 2557960.9736 | 1121123.5767 | 2557955.6612 | 1121123.9027 | 2557952.1295 | 1121122.949 | 2557942.2282 | 1121117.8376 | 2557917.9239 | 1121111.3702 | 2557907.4448 | 1121110.7874 | 2557857.8215 | 1121120.4828 | 2557857.0497 | 1121120.675
78 | 2557857.0497 | 1121120.675 | 2557848.6351 | 1121122.7703 | 2557806.2775 | 1121146.7117 | 2557802.9198 | 1121147.6215
79 | 2558815.1522 | 1120950.1309 | 2558804.5907 | 1120949.4189 | 2558782.5301 | 1120952.9379 | 2558771.5406 | 1120953.5047

## bus_geodata
| x | y | coords
0 | 2558792.8319 | 1120614.5972
1 | 2558704.4751 | 1120591.9803
2 | 2558983.6237 | 1120642.3099
3 | 2558899.3268 | 1120886.3447
4 | 2558688.8558 | 1120852.8446
5 | 2558610.1554 | 1120878.3118
6 | 2558463.5196 | 1120722.5599
7 | 2558323.4703 | 1120815.9179
8 | 2558205.9284 | 1120840.9429
9 | 2558305.5379 | 1120849.8035
10 | 2558544.4472 | 1120768.9495
11 | 2558812.2238 | 1120910.6242
12 | 2559001.6716 | 1121762.188
13 | 2558997.898 | 1121801.9144
14 | 2558745.7561 | 1121558.2172
15 | 2558640.8432 | 1121556.3265
16 | 2558761.0096 | 1121833.691
17 | 2559320.9643 | 1121356.5603
18 | 2559299.7448 | 1121285.4569
19 | 2559515.8808 | 1121468.4966
20 | 2558628.8027 | 1121543.8803
21 | 2558649.9521 | 1121834.3842
22 | 2558780.663 | 1121217.2192
23 | 2558807.9968 | 1121209.8601
24 | 2558664.5198 | 1121203.4282
25 | 2558715.2893 | 1121326.864
26 | 2558518.1869 | 1121446.8783
27 | 2558496.2187 | 1121601.5158
28 | 2558620.7774 | 1121850.7172
29 | 2558640.7245 | 1121221.6184
30 | 2558496.2588 | 1121246.2912
31 | 2558645.406 | 1121439.0243
32 | 2558425.6616 | 1121275.0614
33 | 2558359.7459 | 1121708.8918
34 | 2559253.8515 | 1121252.6152
35 | 2559517.1359 | 1121495.5639
36 | 2559350.565 | 1121049.1817
37 | 2559549.6333 | 1121638.8241
38 | 2559313.2895 | 1121052.1564
39 | 2559267.1229 | 1121078.5422
40 | 2559224.7366 | 1121046.4063
41 | 2559214.8795 | 1121062.5437
42 | 2559171.7908 | 1121114.9434
43 | 2559069.7828 | 1121006.3006
44 | 2559071.3885 | 1121011.5198
45 | 2559046.8288 | 1120979.8937
46 | 2559108.8558 | 1121165.0393
47 | 2559046.7609 | 1120979.8406
48 | 2558991.8577 | 1121185.5208
49 | 2559006.8331 | 1120960.9941
50 | 2558966.419 | 1121203.5854
51 | 2558868.2051 | 1120956.0443
52 | 2558084.1131 | 1120925.0487
53 | 2558265.8047 | 1120880.2508
54 | 2558409.455 | 1120803.3917
55 | 2558543.5754 | 1121023.2876
56 | 2558274.7418 | 1120931.4519
57 | 2558193.0742 | 1120973.0885
58 | 2558211.2536 | 1120964.6634
59 | 2558179.8257 | 1120978.0828
60 | 2558284.659 | 1121735.3013
61 | 2558309.1187 | 1121765.2634
62 | 2558602.2737 | 1121860.5349
63 | 2558318.1742 | 1121362.8649
64 | 2558369.2531 | 1121314.8466
65 | 2558131.2695 | 1121420.8926
66 | 2558270.1179 | 1121364.681
67 | 2558045.645 | 1121457.5591
68 | 2558294.6686 | 1121351.1459
69 | 2557836.7051 | 1121503.8528
70 | 2557960.457 | 1121445.9122
71 | 2558031.7732 | 1121053.284
72 | 2557995.0183 | 1121077.4626
73 | 2558117.6437 | 1121014.365
74 | 2557857.0497 | 1121120.675
75 | 2558346.5781 | 1121328.5656
76 | 2557802.9198 | 1121147.6215
77 | 2558887.3284 | 1121356.7105
78 | 2558815.1522 | 1120950.1309
79 | 2558838.943 | 1120920.7166
80 | 2558771.5406 | 1120953.5047
81 | 2558664.5198 | 1121203.4282

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1