## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6156-34_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6156-34_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6156-34_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6156-34_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6156-34_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6156-34_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6156-34_0_4_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_6156-34_0_4_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_6156-34_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6156-34_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6156-34_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6156-34_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_6156-34_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6156-34_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6156-34_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_6156-34_0_4_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_6156-34_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6156-34_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6156-34_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6156-34_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6156-34_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_6156-34_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_6156-34_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6156-34_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_6156-34_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6156-34_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6156-34_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6156-34_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_6156-34_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_6156-34_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6156-34_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_6156-34_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6156-34_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_6156-34_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_6156-34_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_6156-34_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6156-34_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6156-34_0_4_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_6156-34_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_6156-34_0_4_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_6156-34_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_6156-34_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_6156-34_0_4_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_6156-34_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_6156-34_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_6156-34_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6156-34_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6156-34_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_6156-34_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_6156-34_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6156-34_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6156-34_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6156-34_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6156-34_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6156-34_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6156-34_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_6156-34_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_6156-34_0_4_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_6156-34_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_6156-34_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_6156-34_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6156-34_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_6156-34_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_6156-34_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6156-34_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_6156-34_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_6156-34_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_6156-34_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_6156-34_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_6156-34_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_6156-34_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_MV_105_1_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-34_0_4_load_0 | 0 | 0.0079462 | 0.0019915 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-34_0_4_load_1 | 1 | 0.0039529 | 0.00099069 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-34_0_4_load_2 | 2 | 0.0060299 | 0.0015112 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-34_0_4_load_4 | 4 | 0.0060192 | 0.0015086 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-34_0_4_load_5 | 5 | 0.0044417 | 0.0011132 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-34_0_4_load_6 | 6 | 0.0053631 | 0.0013441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-34_0_4_load_64 | 7 | 0.006691 | 0.0016769 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-34_0_4_load_7 | 9 | 0.0054542 | 0.001367 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-34_0_4_load_8 | 10 | 0.005872 | 0.0014717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-34_0_4_load_18 | 12 | 0.0069166 | 0.0017335 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-34_0_4_load_10 | 13 | 0.0082697 | 0.0020726 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-34_0_4_load_17 | 15 | 0.0048656 | 0.0012194 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-34_0_4_load_69 | 16 | 0.0064939 | 0.0016275 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-34_0_4_load_11 | 17 | 0.0074972 | 0.001879 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-34_0_4_load_12 | 18 | 0.010713 | 0.0026849 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-34_0_4_load_19 | 21 | 0.0060893 | 0.0015261 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-34_0_4_load_24 | 22 | 0.0072127 | 0.0018077 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-34_0_4_load_20 | 23 | 0.011531 | 0.0028899 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-34_0_4_load_23 | 27 | 0.0046747 | 0.0011716 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-34_0_4_load_29 | 28 | 0.0078347 | 0.0019636 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-34_0_4_load_26 | 29 | 0.0056921 | 0.0014266 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-34_0_4_load_25 | 30 | 0.0058505 | 0.0014663 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-34_0_4_load_27 | 31 | 0.0029337 | 0.00073524 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-34_0_4_load_34 | 32 | 0.0073647 | 0.0018458 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-34_0_4_load_35 | 33 | 0.0075924 | 0.0019028 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-34_0_4_load_28 | 34 | 0.0080622 | 0.0020206 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-34_0_4_load_32 | 37 | 0.0069724 | 0.0017475 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-34_0_4_load_72 | 38 | 0.0063632 | 0.0015948 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-34_0_4_load_42 | 39 | 0.0054905 | 0.001376 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-34_0_4_load_67 | 40 | 0.006895 | 0.0017281 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-34_0_4_load_40 | 41 | 0.005173 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-34_0_4_load_66 | 43 | 0.0084537 | 0.0021187 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-34_0_4_load_36 | 44 | 0.0057132 | 0.0014319 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-34_0_4_load_37 | 45 | 0.0056512 | 0.0014163 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-34_0_4_load_38 | 46 | 0.011263 | 0.0028228 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-34_0_4_load_54 | 48 | 0.0027399 | 0.00068669 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-34_0_4_load_41 | 50 | 0.0042939 | 0.0010761 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-34_0_4_load_43 | 51 | 0.0026402 | 0.0006617 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-34_0_4_load_44 | 52 | 0.0070424 | 0.001765 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-34_0_4_load_47 | 55 | 0.010657 | 0.0026708 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-34_0_4_load_51 | 56 | 0.0043691 | 0.001095 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-34_0_4_load_48 | 57 | 0.0080341 | 0.0020135 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-34_0_4_load_63 | 58 | 0.0068501 | 0.0017168 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6156-34_0_4_load_58 | 59 | 0.0091122 | 0.0022837 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6156-34_0_4_load_49 | 60 | 0.0060621 | 0.0015193 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6156-34_0_4_load_50 | 61 | 0.0050369 | 0.0012624 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6156-34_0_4_load_52 | 62 | 0.0036524 | 0.00091539 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6156-34_0_4_load_55 | 64 | 0.0029159 | 0.0007308 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6156-34_0_4_load_57 | 65 | 0.0032482 | 0.00081408 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6156-34_0_4_load_56 | 66 | 0.0042055 | 0.001054 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6156-34_0_4_load_60 | 67 | 0.0064014 | 0.0016044 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6156-34_0_4_load_61 | 68 | 0.0042825 | 0.0010733 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6156-34_0_4_load_62 | 69 | 0.0053167 | 0.0013325 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6156-34_0_4_load_71 | 71 | 0.0046523 | 0.001166 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-34_0_4_line_0 |  | 0 | 1 | 0.021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-34_0_4_line_1 |  | 0 | 2 | 0.0058868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-34_0_4_line_2 |  | 1 | 3 | 0.044086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-34_0_4_line_3 |  | 2 | 4 | 0.039262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-34_0_4_line_4 |  | 3 | 5 | 0.046749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6156-34_0_4_line_5 |  | 3 | 6 | 0.019187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6156-34_0_4_line_6 |  | 5 | 7 | 0.0064848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6156-34_0_4_line_7 |  | 7 | 8 | 0.046634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-34_0_4_line_8 |  | 8 | 43 | 0.034825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6156-34_0_4_line_9 |  | 9 | 10 | 0.0036222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6156-34_0_4_line_10 |  | 9 | 11 | 0.03485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-34_0_4_line_11 |  | 10 | 12 | 0.031623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6156-34_0_4_line_12 |  | 11 | 13 | 0.014521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6156-34_0_4_line_13 |  | 12 | 14 | 0.042988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6156-34_0_4_line_14 |  | 12 | 15 | 0.023518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6156-34_0_4_line_15 |  | 13 | 16 | 0.028909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6156-34_0_4_line_16 |  | 14 | 21 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6156-34_0_4_line_17 |  | 14 | 19 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6156-34_0_4_line_18 |  | 17 | 18 | 0.0036923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6156-34_0_4_line_19 |  | 17 | 19 | 0.020006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6156-34_0_4_line_20 |  | 19 | 20 | 0.01481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6156-34_0_4_line_21 |  | 20 | 22 | 0.0094721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-34_0_4_line_22 |  | 20 | 23 | 0.027684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6156-34_0_4_line_23 |  | 22 | 24 | 0.011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6156-34_0_4_line_24 |  | 23 | 25 | 0.005245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6156-34_0_4_line_25 |  | 24 | 32 | 0.042041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6156-34_0_4_line_26 |  | 24 | 33 | 0.023785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6156-34_0_4_line_27 |  | 25 | 26 | 0.003593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6156-34_0_4_line_28 |  | 25 | 27 | 0.026442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6156-34_0_4_line_29 |  | 26 | 28 | 0.014509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6156-34_0_4_line_30 |  | 26 | 29 | 0.018097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6156-34_0_4_line_31 |  | 27 | 30 | 0.022819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6156-34_0_4_line_32 |  | 29 | 31 | 0.013927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6156-34_0_4_line_33 |  | 31 | 34 | 0.037828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6156-34_0_4_line_34 |  | 33 | 42 | 0.026548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6156-34_0_4_line_35 |  | 34 | 35 | 0.0066303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6156-34_0_4_line_36 |  | 35 | 36 | 0.027802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6156-34_0_4_line_37 |  | 35 | 37 | 0.022751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6156-34_0_4_line_38 |  | 36 | 38 | 0.047119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6156-34_0_4_line_39 |  | 36 | 39 | 0.0017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6156-34_0_4_line_40 |  | 37 | 40 | 0.0085205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6156-34_0_4_line_41 |  | 39 | 41 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6156-34_0_4_line_42 |  | 41 | 50 | 0.031013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6156-34_0_4_line_43 |  | 42 | 43 | 0.01749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6156-34_0_4_line_44 |  | 44 | 45 | 0.00025825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6156-34_0_4_line_45 |  | 44 | 46 | 0.011069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6156-34_0_4_line_46 |  | 45 | 47 | 0.0094362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6156-34_0_4_line_47 |  | 47 | 48 | 0.012144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6156-34_0_4_line_48 |  | 48 | 49 | 0.013139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6156-34_0_4_line_49 |  | 49 | 64 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6156-34_0_4_line_50 |  | 49 | 62 | 0.0058588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6156-34_0_4_line_51 |  | 50 | 51 | 0.012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6156-34_0_4_line_52 |  | 51 | 52 | 0.0268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6156-34_0_4_line_53 |  | 52 | 53 | 0.0027427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6156-34_0_4_line_54 |  | 53 | 54 | 0.005794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6156-34_0_4_line_55 |  | 53 | 55 | 0.023899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6156-34_0_4_line_56 |  | 54 | 56 | 0.0098482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6156-34_0_4_line_57 |  | 54 | 57 | 0.02769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6156-34_0_4_line_58 |  | 55 | 58 | 0.0054485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6156-34_0_4_line_59 |  | 56 | 59 | 0.027174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6156-34_0_4_line_60 |  | 57 | 60 | 0.021904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6156-34_0_4_line_61 |  | 59 | 63 | 0.025622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6156-34_0_4_line_62 |  | 60 | 61 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6156-34_0_4_line_63 |  | 61 | 62 | 0.034768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6156-34_0_4_line_64 |  | 63 | 67 | 0.033448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6156-34_0_4_line_65 |  | 63 | 68 | 0.0056225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6156-34_0_4_line_66 |  | 64 | 66 | 0.024301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6156-34_0_4_line_67 |  | 65 | 66 | 0.01847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6156-34_0_4_line_68 |  | 67 | 69 | 0.014431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6156-34_0_4_line_69 |  | 68 | 70 | 0.055118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6156-34_0_4_line_70 |  | 70 | 71 | 0.01424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-34_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 72 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2555154.282 | 1121152.0002 | 2555154.282 | 1121152.0002 | 2555151.0355 | 1121152.1132 | 2555146.8584 | 1121151.5773 | 2555141.3941 | 1121149.0833 | 2555140.6104 | 1121144.3088 | 2555140.7898 | 1121140.7846
1 | 2555154.282 | 1121152.0002 | 2555160.0415 | 1121150.7823
2 | 2555167.53 | 1121120.2966 | 2555164.1888 | 1121119.0985 | 2555157.6363 | 1121117.5686 | 2555152.8966 | 1121117.1036 | 2555148.9885 | 1121118.5 | 2555145.7969 | 1121120.8249 | 2555143.6382 | 1121124.087 | 2555142.3612 | 1121127.6761 | 2555141.5057 | 1121131.918 | 2555140.9806 | 1121137.0357 | 2555140.7898 | 1121140.7846
3 | 2555160.0415 | 1121150.7823 | 2555163.0001 | 1121150.1567 | 2555181.8165 | 1121163.0126 | 2555193.7037 | 1121156.7223
4 | 2555167.53 | 1121120.2966 | 2555170.0977 | 1121121.2113 | 2555175.3158 | 1121122.7512 | 2555179.0534 | 1121122.2788 | 2555182.9081 | 1121119.9156 | 2555185.6132 | 1121116.4715 | 2555186.0134 | 1121111.1547 | 2555185.2775 | 1121105.535 | 2555183.8307 | 1121098.72 | 2555181.9123 | 1121091.0066
5 | 2555158.6123 | 1121104.6214 | 2555159.9769 | 1121109.725 | 2555165.2111 | 1121113.4214 | 2555167.3966 | 1121116.8847 | 2555167.53 | 1121120.2966
6 | 2555180.2277 | 1121084.7488 | 2555180.6901 | 1121086.0924 | 2555181.9123 | 1121091.0066
7 | 2555180.1298 | 1121042.8409 | 2555176.963 | 1121045.3879 | 2555173.4396 | 1121049.783 | 2555171.2491 | 1121053.9681 | 2555171.3477 | 1121057.8916 | 2555176.283 | 1121073.2851 | 2555180.2277 | 1121084.7488
8 | 2555180.1298 | 1121042.8409 | 2555180.9963 | 1121042.1341 | 2555184.7935 | 1121040.3383 | 2555190.9389 | 1121038.9698 | 2555201.2724 | 1121038.5707 | 2555207.5705 | 1121038.0349 | 2555214.1004 | 1121037.5417
9 | 2555337.7535 | 1120966.6207 | 2555341.3434 | 1120967.1037
10 | 2555328.8259 | 1120940.4755 | 2555325.4288 | 1120956.7423 | 2555326.0324 | 1120961.1735 | 2555327.8572 | 1120963.8391 | 2555330.4083 | 1120965.6323 | 2555337.7535 | 1120966.6207
11 | 2555336.0826 | 1120998.2863 | 2555341.3434 | 1120967.1037
12 | 2555328.8259 | 1120940.4755 | 2555318.9129 | 1120942.4609 | 2555314.53 | 1120942.9583
13 | 2555295.815 | 1121005.6533 | 2555300.2775 | 1121004.1084 | 2555310.1118 | 1120997.7435 | 2555320.6492 | 1120995.7089 | 2555329.7 | 1120996.0533 | 2555336.0826 | 1120998.2863
14 | 2555359.02 | 1121002.2694 | 2555345.5698 | 1121001.6054 | 2555336.0826 | 1120998.2863
15 | 2555285.6457 | 1120941.7734 | 2555314.53 | 1120942.9583
16 | 2555307.1031 | 1120989.3614 | 2555295.815 | 1121005.6533
17 | 2555295.815 | 1121005.6533 | 2555283.9738 | 1121009.7431
18 | 2555270.3961 | 1120990.3193 | 2555272.5115 | 1120993.3456
19 | 2555283.9738 | 1121009.7431 | 2555272.5115 | 1120993.3456
20 | 2555293.5445 | 1121020.9225 | 2555290.7443 | 1121018.8199 | 2555283.9738 | 1121009.7431
21 | 2555293.5445 | 1121020.9225 | 2555291.1445 | 1121022.8634 | 2555284.8097 | 1121023.6663
22 | 2555293.5445 | 1121020.9225 | 2555298.9925 | 1121022.2495 | 2555315.6954 | 1121023.6377 | 2555320.9449 | 1121024.4795
23 | 2555273.658 | 1121023.9935 | 2555284.8097 | 1121023.6663
24 | 2555325.7904 | 1121026.4534 | 2555321.3949 | 1121024.5516 | 2555320.9449 | 1121024.4795
25 | 2555273.658 | 1121023.9935 | 2555249.3025 | 1121014.191 | 2555236.0471 | 1121005.4403
26 | 2555273.658 | 1121023.9935 | 2555265.0753 | 1121023.3122 | 2555256.7504 | 1121022.0399 | 2555250.1173 | 1121020.7712
27 | 2555325.7904 | 1121026.4534 | 2555327.334 | 1121029.6992
28 | 2555325.7904 | 1121026.4534 | 2555350.1387 | 1121025.9175 | 2555352.2104 | 1121026.1762
29 | 2555327.334 | 1121029.6992 | 2555341.8398 | 1121029.3994
30 | 2555327.334 | 1121029.6992 | 2555326.5901 | 1121033.4177 | 2555324.1129 | 1121036.3932 | 2555314.9208 | 1121039.8852 | 2555314.4737 | 1121040.2854
31 | 2555374.8532 | 1121029.0032 | 2555352.2104 | 1121026.1762
32 | 2555314.4737 | 1121040.2854 | 2555308.3843 | 1121045.7366 | 2555305.1051 | 1121050.4654
33 | 2555275.3728 | 1121072.3632 | 2555289.8398 | 1121065.4284 | 2555298.7372 | 1121059.6484 | 2555305.1051 | 1121050.4654
34 | 2555224.8738 | 1121024.6997 | 2555226.8728 | 1121022.7728 | 2555230.671 | 1121021.0993 | 2555235.5465 | 1121020.1182 | 2555245.9513 | 1121019.9744 | 2555250.1173 | 1121020.7712
35 | 2555269.394 | 1121075.2293 | 2555275.3728 | 1121072.3632
36 | 2555269.394 | 1121075.2293 | 2555258.8821 | 1121085.8904 | 2555249.3659 | 1121094.5542
37 | 2555269.394 | 1121075.2293 | 2555246.6429 | 1121075.2038
38 | 2555249.3659 | 1121094.5542 | 2555257.1898 | 1121093.8181 | 2555276.6653 | 1121088.4044 | 2555284.7655 | 1121089.5562 | 2555281.987 | 1121092.4783 | 2555275.8715 | 1121095.7919
39 | 2555249.3659 | 1121094.5542 | 2555248.0922 | 1121095.7187
40 | 2555238.1224 | 1121075.1942 | 2555246.6429 | 1121075.2038
41 | 2555238.6104 | 1121101.4237 | 2555245.8722 | 1121097.7484 | 2555248.0922 | 1121095.7187
42 | 2555238.6104 | 1121101.4237 | 2555218.2299 | 1121111.7383 | 2555216.0127 | 1121119.6032 | 2555216.0127 | 1121119.6032
43 | 2555224.8738 | 1121024.6997 | 2555222.7347 | 1121029.5736 | 2555220.4796 | 1121033.3812 | 2555217.4535 | 1121036.1829 | 2555214.1004 | 1121037.5417
44 | 2555351.4448 | 1121096.7149 | 2555351.3608 | 1121096.4707
45 | 2555346.1993 | 1121086.7225 | 2555350.5505 | 1121094.1163 | 2555351.3608 | 1121096.4707
46 | 2555354.5157 | 1121105.6374 | 2555351.4448 | 1121096.7149
47 | 2555354.5157 | 1121105.6374 | 2555355.2601 | 1121117.7585
48 | 2555354.4934 | 1121130.795 | 2555355.6294 | 1121123.7719 | 2555355.2601 | 1121117.7585
49 | 2555354.4934 | 1121130.795 | 2555367.5545 | 1121127.9192 | 2555369.2091 | 1121127.6339
50 | 2555354.4934 | 1121130.795 | 2555348.6715 | 1121131.4503
51 | 2555216.0127 | 1121119.6032 | 2555216.8583 | 1121125.4555 | 2555221.432 | 1121129.546 | 2555221.7392 | 1121129.789
52 | 2555243.3644 | 1121145.5952 | 2555230.4249 | 1121136.6608 | 2555221.7392 | 1121129.789
53 | 2555245.6213 | 1121147.1536 | 2555243.3644 | 1121145.5952
54 | 2555250.3973 | 1121150.4532 | 2555245.6213 | 1121147.1536
55 | 2555245.6213 | 1121147.1536 | 2555231.7261 | 1121160.2744 | 2555227.0545 | 1121161.323
56 | 2555250.3973 | 1121150.4532 | 2555259.2936 | 1121154.6773
57 | 2555250.3973 | 1121150.4532 | 2555265.6465 | 1121139.9571 | 2555273.7916 | 1121135.7279 | 2555273.7916 | 1121135.7279
58 | 2555221.7383 | 1121162.5163 | 2555227.0545 | 1121161.323
59 | 2555284.0876 | 1121165.7748 | 2555273.5656 | 1121161.454 | 2555259.2936 | 1121154.6773
60 | 2555273.7916 | 1121135.7279 | 2555282.7167 | 1121132.6714 | 2555293.6925 | 1121130.5001 | 2555294.9731 | 1121130.4449
61 | 2555294.0504 | 1121181.9462 | 2555297.2316 | 1121179.2546 | 2555298.0352 | 1121176.3249 | 2555297.3502 | 1121173.3952 | 2555295.5786 | 1121171.6518 | 2555287.2603 | 1121167.0777 | 2555284.0876 | 1121165.7748
62 | 2555294.9731 | 1121130.4449 | 2555303.023 | 1121130.0975 | 2555314.0902 | 1121132.8089
63 | 2555314.0902 | 1121132.8089 | 2555315.4877 | 1121133.1513 | 2555319.9647 | 1121133.574 | 2555335.9339 | 1121131.7549 | 2555345.1909 | 1121131.8421 | 2555348.6715 | 1121131.4503
64 | 2555294.0504 | 1121181.9462 | 2555270.7404 | 1121180.9627 | 2555261.4201 | 1121184.8987
65 | 2555294.0504 | 1121181.9462 | 2555289.2386 | 1121184.8549
66 | 2555369.2091 | 1121127.6339 | 2555369.3047 | 1121151.9351
67 | 2555355.1463 | 1121163.7961 | 2555369.3047 | 1121151.9351
68 | 2555248.1257 | 1121190.5129 | 2555261.4201 | 1121184.8987
69 | 2555291.6961 | 1121212.9685 | 2555274.473 | 1121207.9268 | 2555269.5159 | 1121205.1621 | 2555268.148 | 1121200.6476 | 2555270.7852 | 1121196.3703 | 2555280.105 | 1121190.376 | 2555289.2386 | 1121184.8549
70 | 2555291.6961 | 1121212.9685 | 2555305.6985 | 1121210.1635

## bus_geodata
| x | y | coords
0 | 2555154.282 | 1121152.0002
1 | 2555140.7898 | 1121140.7846
2 | 2555160.0415 | 1121150.7823
3 | 2555167.53 | 1121120.2966
4 | 2555193.7037 | 1121156.7223
5 | 2555181.9123 | 1121091.0066
6 | 2555158.6123 | 1121104.6214
7 | 2555180.2277 | 1121084.7488
8 | 2555180.1298 | 1121042.8409
9 | 2555337.7535 | 1120966.6207
10 | 2555341.3434 | 1120967.1037
11 | 2555328.8259 | 1120940.4755
12 | 2555336.0826 | 1120998.2863
13 | 2555314.53 | 1120942.9583
14 | 2555295.815 | 1121005.6533
15 | 2555359.02 | 1121002.2694
16 | 2555285.6457 | 1120941.7734
17 | 2555272.5115 | 1120993.3456
18 | 2555270.3961 | 1120990.3193
19 | 2555283.9738 | 1121009.7431
20 | 2555293.5445 | 1121020.9225
21 | 2555307.1031 | 1120989.3614
22 | 2555284.8097 | 1121023.6663
23 | 2555320.9449 | 1121024.4795
24 | 2555273.658 | 1121023.9935
25 | 2555325.7904 | 1121026.4534
26 | 2555327.334 | 1121029.6992
27 | 2555352.2104 | 1121026.1762
28 | 2555341.8398 | 1121029.3994
29 | 2555314.4737 | 1121040.2854
30 | 2555374.8532 | 1121029.0032
31 | 2555305.1051 | 1121050.4654
32 | 2555236.0471 | 1121005.4403
33 | 2555250.1173 | 1121020.7712
34 | 2555275.3728 | 1121072.3632
35 | 2555269.394 | 1121075.2293
36 | 2555249.3659 | 1121094.5542
37 | 2555246.6429 | 1121075.2038
38 | 2555275.8715 | 1121095.7919
39 | 2555248.0922 | 1121095.7187
40 | 2555238.1224 | 1121075.1942
41 | 2555238.6104 | 1121101.4237
42 | 2555224.8738 | 1121024.6997
43 | 2555214.1004 | 1121037.5417
44 | 2555351.3608 | 1121096.4707
45 | 2555351.4448 | 1121096.7149
46 | 2555346.1993 | 1121086.7225
47 | 2555354.5157 | 1121105.6374
48 | 2555355.2601 | 1121117.7585
49 | 2555354.4934 | 1121130.795
50 | 2555216.0127 | 1121119.6032
51 | 2555221.7392 | 1121129.789
52 | 2555243.3644 | 1121145.5952
53 | 2555245.6213 | 1121147.1536
54 | 2555250.3973 | 1121150.4532
55 | 2555227.0545 | 1121161.323
56 | 2555259.2936 | 1121154.6773
57 | 2555273.7916 | 1121135.7279
58 | 2555221.7383 | 1121162.5163
59 | 2555284.0876 | 1121165.7748
60 | 2555294.9731 | 1121130.4449
61 | 2555314.0902 | 1121132.8089
62 | 2555348.6715 | 1121131.4503
63 | 2555294.0504 | 1121181.9462
64 | 2555369.2091 | 1121127.6339
65 | 2555355.1463 | 1121163.7961
66 | 2555369.3047 | 1121151.9351
67 | 2555261.4201 | 1121184.8987
68 | 2555289.2386 | 1121184.8549
69 | 2555248.1257 | 1121190.5129
70 | 2555291.6961 | 1121212.9685
71 | 2555305.6985 | 1121210.1635
72 | 2555269.394 | 1121075.2293

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1