## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-36_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6156-36_0_5_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_6156-36_0_5_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_6156-36_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6156-36_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6156-36_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6156-36_0_5_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_6156-36_0_5_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_6156-36_0_5_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_6156-36_0_5_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_6156-36_0_5_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_6156-36_0_5_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_6156-36_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6156-36_0_5_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_6156-36_0_5_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_6156-36_0_5_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_6156-36_0_5_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_6156-36_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6156-36_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_6156-36_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6156-36_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6156-36_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6156-36_0_5_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_6156-36_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_6156-36_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_6156-36_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_6156-36_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6156-36_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6156-36_0_5_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_6156-36_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6156-36_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6156-36_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6156-36_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6156-36_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6156-36_0_5_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_6156-36_0_5_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_6156-36_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6156-36_0_5_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_6156-36_0_5_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_6156-36_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6156-36_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_6156-36_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_6156-36_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_6156-36_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_6156-36_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_6156-36_0_5_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6156-36_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_6156-36_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6156-36_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6156-36_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6156-36_0_5_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_6156-36_0_5_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_6156-36_0_5_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_6156-36_0_5_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_6156-36_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_6156-36_0_5_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_6156-36_0_5_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_6156-36_0_5_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_6156-36_0_5_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_6156-36_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_6156-36_0_5_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_6156-36_0_5_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_6156-36_0_5_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_6156-36_0_5_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_6156-36_0_5_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_6156-36_0_5_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_6156-36_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_6156-36_0_5_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_6156-36_0_5_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_6156-36_0_5_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_6156-36_0_5_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_6156-36_0_5_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_6156-36_0_5_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_6156-36_0_5_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_6156-36_0_5_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_6156-36_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_6156-36_0_5_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_6156-36_0_5_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_6156-36_0_5_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_6156-36_0_5_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_6156-36_0_5_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_6156-36_0_5_node_60 | 0.4 | n |  | TRUE
82 | bus_MV_105_1_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-36_0_5_load_0 | 0 | 0.0034571 | 0.00086643 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-36_0_5_load_5 | 1 | 0.0094605 | 0.002371 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-36_0_5_load_64 | 6 | 0.009747 | 0.0024428 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-36_0_5_load_55 | 8 | 0.0086598 | 0.0021704 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-36_0_5_load_50 | 9 | 0.0059747 | 0.0014974 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-36_0_5_load_36 | 10 | 0.0057133 | 0.0014319 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-36_0_5_load_53 | 11 | 0.0057535 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-36_0_5_load_7 | 12 | 0.0024789 | 0.00062126 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-36_0_5_load_65 | 13 | 0.0043983 | 0.0011023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-36_0_5_load_66 | 14 | 0.0014742 | 0.00036948 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-36_0_5_load_69 | 16 | 0.0014026 | 0.00035151 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-36_0_5_load_8 | 17 | 0.0035223 | 0.00088278 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-36_0_5_load_9 | 18 | 0.0032867 | 0.00082374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-36_0_5_load_16 | 21 | 0.0094486 | 0.0023681 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-36_0_5_load_43 | 22 | 0.0015299 | 0.00038343 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-36_0_5_load_25 | 23 | 0.0082055 | 0.0020565 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-36_0_5_load_11 | 24 | 0.0018315 | 0.00045901 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-36_0_5_load_12 | 25 | 0.026217 | 0.0065706 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-36_0_5_load_13 | 26 | 0.026234 | 0.0065749 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-36_0_5_load_14 | 27 | 0.075912 | 0.019025 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-36_0_5_load_41 | 28 | 0.003621 | 0.0009075 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-36_0_5_load_17 | 29 | 0.0050883 | 0.0012752 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-36_0_5_load_18 | 30 | 0.0038675 | 0.00096928 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-36_0_5_load_19 | 31 | 0.0039403 | 0.00098753 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-36_0_5_load_20 | 32 | 0.0027838 | 0.00069769 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-36_0_5_load_21 | 33 | 0.0042873 | 0.0010745 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-36_0_5_load_37 | 34 | 0.0030915 | 0.0007748 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-36_0_5_load_38 | 35 | 0.0026236 | 0.00065754 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-36_0_5_load_22 | 36 | 0.0046829 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-36_0_5_load_46 | 37 | 0.0030036 | 0.00075277 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-36_0_5_load_47 | 38 | 0.0031156 | 0.00078083 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-36_0_5_load_23 | 39 | 0.0033238 | 0.00083302 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-36_0_5_load_24 | 40 | 0.0076012 | 0.001905 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-36_0_5_load_26 | 41 | 0.0032744 | 0.00082063 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-36_0_5_load_27 | 42 | 0.0094017 | 0.0023563 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-36_0_5_load_28 | 43 | 0.0034476 | 0.00086404 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-36_0_5_load_29 | 44 | 0.0090477 | 0.0022676 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-36_0_5_load_30 | 45 | 0.0027235 | 0.00068258 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-36_0_5_load_31 | 46 | 0.0091392 | 0.0022905 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-36_0_5_load_32 | 48 | 0.0086606 | 0.0021705 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-36_0_5_load_44 | 49 | 0.0027971 | 0.00070101 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-36_0_5_load_79 | 51 | 0.0036203 | 0.00090734 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-36_0_5_load_77 | 52 | 0.0015893 | 0.00039833 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6156-36_0_5_load_82 | 53 | 0.001682 | 0.00042154 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6156-36_0_5_load_33 | 54 | 0.0090789 | 0.0022754 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6156-36_0_5_load_34 | 55 | 0.0090418 | 0.0022661 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6156-36_0_5_load_72 | 56 | 0.0013539 | 0.00033931 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6156-36_0_5_load_68 | 57 | 0.0013096 | 0.00032822 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6156-36_0_5_load_70 | 58 | 0.0031593 | 0.0007918 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6156-36_0_5_load_73 | 59 | 0.0012715 | 0.00031866 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6156-36_0_5_load_71 | 61 | 0.0014101 | 0.00035342 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6156-36_0_5_load_74 | 62 | 0.0012762 | 0.00031985 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6156-36_0_5_load_75 | 63 | 0.0013274 | 0.00033269 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6156-36_0_5_load_76 | 64 | 0.0013866 | 0.00034751 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6156-36_0_5_load_80 | 65 | 0.0047617 | 0.0011934 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6156-36_0_5_load_48 | 66 | 0.0033485 | 0.0008392 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6156-36_0_5_load_39 | 67 | 0.0027841 | 0.00069777 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6156-36_0_5_load_40 | 68 | 0.0027191 | 0.00068146 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6156-36_0_5_load_42 | 69 | 0.0023852 | 0.0005978 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6156-36_0_5_load_45 | 70 | 0.0057621 | 0.0014441 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6156-36_0_5_load_49 | 71 | 0.0063428 | 0.0015897 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6156-36_0_5_load_83 | 72 | 0.0061951 | 0.0015526 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6156-36_0_5_load_52 | 73 | 0.018928 | 0.0047438 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6156-36_0_5_load_54 | 74 | 0.012872 | 0.0032261 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6156-36_0_5_load_56 | 75 | 0.0087254 | 0.0021868 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6156-36_0_5_load_57 | 76 | 0.0022341 | 0.00055992 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6156-36_0_5_load_58 | 77 | 0.0045007 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6156-36_0_5_load_59 | 78 | 0.011379 | 0.0028518 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6156-36_0_5_load_62 | 79 | 0.0017509 | 0.00043882 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6156-36_0_5_load_61 | 80 | 0.0018223 | 0.00045671 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6156-36_0_5_load_60 | 81 | 0.001487 | 0.00037268 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-36_0_5_line_0 |  | 0 | 1 | 0.060397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-36_0_5_line_1 |  | 1 | 2 | 0.033142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-36_0_5_line_2 |  | 2 | 12 | 0.041396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-36_0_5_line_3 |  | 3 | 4 | 0.011823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-36_0_5_line_4 |  | 3 | 5 | 0.040053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6156-36_0_5_line_5 |  | 4 | 6 | 0.025508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6156-36_0_5_line_6 |  | 5 | 7 | 0.096097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6156-36_0_5_line_7 |  | 5 | 8 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-36_0_5_line_8 |  | 7 | 9 | 0.057148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6156-36_0_5_line_9 |  | 7 | 10 | 0.03258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6156-36_0_5_line_10 |  | 8 | 11 | 0.025411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-36_0_5_line_11 |  | 9 | 20 | 0.051667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6156-36_0_5_line_12 |  | 10 | 40 | 0.014371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6156-36_0_5_line_13 |  | 11 | 73 | 0.042311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6156-36_0_5_line_14 |  | 12 | 17 | 0.061496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6156-36_0_5_line_15 |  | 13 | 14 | 0.080957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6156-36_0_5_line_16 |  | 13 | 15 | 0.0037453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6156-36_0_5_line_17 |  | 14 | 57 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6156-36_0_5_line_18 |  | 15 | 16 | 0.092378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6156-36_0_5_line_19 |  | 16 | 59 | 0.033651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_6156-36_0_5_line_20 |  | 16 | 60 | 0.10699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6156-36_0_5_line_21 |  | 17 | 18 | 0.042664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-36_0_5_line_22 |  | 18 | 19 | 0.090432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6156-36_0_5_line_23 |  | 19 | 20 | 0.04099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6156-36_0_5_line_24 |  | 19 | 21 | 0.023415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6156-36_0_5_line_25 |  | 20 | 22 | 0.049583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6156-36_0_5_line_26 |  | 21 | 23 | 0.011628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6156-36_0_5_line_27 |  | 22 | 28 | 0.037058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_6156-36_0_5_line_28 |  | 23 | 27 | 0.031351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6156-36_0_5_line_29 |  | 24 | 25 | 0.027594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6156-36_0_5_line_30 |  | 24 | 26 | 0.064038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6156-36_0_5_line_31 |  | 25 | 27 | 0.013058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6156-36_0_5_line_32 |  | 28 | 67 | 0.029844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6156-36_0_5_line_33 |  | 29 | 30 | 0.037428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6156-36_0_5_line_34 |  | 29 | 31 | 0.011991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_6156-36_0_5_line_35 |  | 30 | 32 | 0.022412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6156-36_0_5_line_36 |  | 31 | 33 | 0.020673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6156-36_0_5_line_37 |  | 32 | 34 | 0.0076114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6156-36_0_5_line_38 |  | 32 | 35 | 0.036234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6156-36_0_5_line_39 |  | 33 | 36 | 0.014766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6156-36_0_5_line_40 |  | 34 | 37 | 0.023914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_6156-36_0_5_line_41 |  | 35 | 38 | 0.0099051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6156-36_0_5_line_42 |  | 36 | 39 | 0.034852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6156-36_0_5_line_43 |  | 37 | 49 | 0.00048671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6156-36_0_5_line_44 |  | 38 | 66 | 0.013772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6156-36_0_5_line_45 |  | 39 | 40 | 0.026818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6156-36_0_5_line_46 |  | 41 | 42 | 0.01933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6156-36_0_5_line_47 |  | 41 | 43 | 0.0034096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6156-36_0_5_line_48 |  | 42 | 44 | 0.0021135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6156-36_0_5_line_49 |  | 43 | 45 | 0.032049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6156-36_0_5_line_50 |  | 44 | 46 | 0.020145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6156-36_0_5_line_51 |  | 45 | 47 | 0.031574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6156-36_0_5_line_52 |  | 46 | 48 | 0.0026559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6156-36_0_5_line_53 |  | 47 | 49 | 0.0085117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6156-36_0_5_line_54 |  | 48 | 54 | 0.019117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_6156-36_0_5_line_55 |  | 50 | 51 | 0.064858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_6156-36_0_5_line_56 |  | 50 | 52 | 0.097714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6156-36_0_5_line_57 |  | 51 | 53 | 0.23235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6156-36_0_5_line_58 |  | 52 | 64 | 0.015107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6156-36_0_5_line_59 |  | 53 | 72 | 0.0059827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6156-36_0_5_line_60 |  | 54 | 55 | 0.0042058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6156-36_0_5_line_61 |  | 55 | 56 | 0.13245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_6156-36_0_5_line_62 |  | 56 | 61 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_6156-36_0_5_line_63 |  | 57 | 58 | 0.0081731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_6156-36_0_5_line_64 |  | 58 | 61 | 0.01121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6156-36_0_5_line_65 |  | 59 | 62 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6156-36_0_5_line_66 |  | 60 | 65 | 0.037808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6156-36_0_5_line_67 |  | 62 | 63 | 0.032624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_6156-36_0_5_line_68 |  | 63 | 64 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6156-36_0_5_line_69 |  | 66 | 71 | 0.012437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6156-36_0_5_line_70 |  | 67 | 68 | 0.00093008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6156-36_0_5_line_71 |  | 68 | 69 | 0.0029574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_6156-36_0_5_line_72 |  | 69 | 70 | 0.0090523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_6156-36_0_5_line_73 |  | 73 | 74 | 0.035719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6156-36_0_5_line_74 |  | 74 | 75 | 0.014721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6156-36_0_5_line_75 |  | 75 | 76 | 0.015937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6156-36_0_5_line_76 |  | 76 | 77 | 0.018384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6156-36_0_5_line_77 |  | 77 | 78 | 0.0044227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6156-36_0_5_line_78 |  | 78 | 79 | 0.046516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6156-36_0_5_line_79 |  | 79 | 81 | 0.012856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6156-36_0_5_line_80 |  | 80 | 81 | 0.0052596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-36_0_5_trafo_45 | 0.63 MVA 20/0.4 kV | 82 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2556605.6783 | 1121141.1782 | 2556612.5787 | 1121081.1766
1 | 2556573.5821 | 1121132.9195 | 2556605.6783 | 1121141.1782
2 | 2556573.5821 | 1121132.9195 | 2556532.9132 | 1121125.1961
3 | 2556092.4419 | 1120968.9246 | 2556096.4984 | 1120973.0417 | 2556099.3758 | 1120978.3679
4 | 2556099.3758 | 1120978.3679 | 2556098.4668 | 1120988.0795 | 2556097.3247 | 1120996.5033 | 2556095.9505 | 1121003.7726 | 2556103.026 | 1121005.1107 | 2556110.1015 | 1121006.4378
5 | 2556092.4419 | 1120968.9246 | 2556102.9192 | 1120962.8342 | 2556116.2733 | 1120961.8607
6 | 2556201.5778 | 1121036.0446 | 2556179.5573 | 1121026.7884 | 2556159.2029 | 1121019.6435 | 2556131.8193 | 1121011.1824 | 2556110.1015 | 1121006.4378
7 | 2556110.1015 | 1121006.4378 | 2556106.6399 | 1121014.1224 | 2556102.0935 | 1121018.3007
8 | 2556201.5778 | 1121036.0446 | 2556231.7339 | 1121048.1878 | 2556254.457 | 1121057.7139
9 | 2556201.5778 | 1121036.0446 | 2556196.7918 | 1121056.8344 | 2556196.2773 | 1121063.5305 | 2556196.9292 | 1121068.0137
10 | 2556102.0935 | 1121018.3007 | 2556090.8627 | 1121028.6224 | 2556088.6241 | 1121033.6968 | 2556089.4901 | 1121038.2262
11 | 2556302.649 | 1121076.3222 | 2556266.7679 | 1121062.8749 | 2556254.457 | 1121057.7139
12 | 2556207.1895 | 1121077.5428 | 2556197.146 | 1121069.5051 | 2556196.9292 | 1121068.0137
13 | 2556123.8122 | 1121061.7076 | 2556122.284 | 1121059.8434 | 2556113.7383 | 1121051.5012 | 2556108.3822 | 1121047.9383 | 2556092.149 | 1121041.0861 | 2556089.4901 | 1121038.2262 | 2556089.4901 | 1121038.2262
14 | 2556472.302 | 1121114.8225 | 2556518.254 | 1121122.4122 | 2556532.9132 | 1121125.1961
15 | 2556558.3921 | 1121365.2594 | 2556553.3561 | 1121362.1495 | 2556538.6322 | 1121356.8972 | 2556530.6202 | 1121350.7628 | 2556516.6984 | 1121342.3031 | 2556492.4083 | 1121330.4164 | 2556487.1818 | 1121327.5079
16 | 2556559.7747 | 1121368.7401 | 2556558.3921 | 1121365.2594
17 | 2556487.1818 | 1121327.5079 | 2556479.057 | 1121322.9865 | 2556470.9103 | 1121319.2817
18 | 2556559.7747 | 1121368.7401 | 2556557.0979 | 1121371.9165 | 2556552.8596 | 1121372.4695 | 2556546.1842 | 1121371.9951 | 2556510.1049 | 1121368.1861 | 2556494.538 | 1121367.987 | 2556484.3098 | 1121370.0729 | 2556473.6613 | 1121370.561 | 2556469.3524 | 1121370.4161
19 | 2556469.3524 | 1121370.4161 | 2556455.9704 | 1121369.966 | 2556442.2415 | 1121366.8634 | 2556436.4903 | 1121366.1934 | 2556436.1051 | 1121366.2845
20 | 2556469.3524 | 1121370.4161 | 2556481.9004 | 1121476.6673
21 | 2556472.302 | 1121114.8225 | 2556463.4993 | 1121113.3686 | 2556430.1785 | 1121108.0539
22 | 2556342.0577 | 1121087.9876 | 2556353.4345 | 1121091.0737 | 2556411.4882 | 1121105.0728 | 2556430.1785 | 1121108.0539
23 | 2556342.0577 | 1121087.9876 | 2556321.7364 | 1121082.1649 | 2556302.649 | 1121076.3222
24 | 2556342.0577 | 1121087.9876 | 2556338.1839 | 1121111.0798
25 | 2556302.649 | 1121076.3222 | 2556295.5561 | 1121088.5464 | 2556291.5441 | 1121091.6104 | 2556284.0048 | 1121093.3214 | 2556262.0171 | 1121092.8025 | 2556261.341 | 1121092.7653
26 | 2556338.1839 | 1121111.0798 | 2556336.2601 | 1121122.5473 | 2556336.2601 | 1121122.5473
27 | 2556236.5529 | 1121099.482 | 2556233.0994 | 1121098.2259 | 2556232.4035 | 1121095.863 | 2556234.9612 | 1121092.2315 | 2556238.7898 | 1121091.5257 | 2556261.341 | 1121092.7653
28 | 2556336.2601 | 1121122.5473 | 2556336.5828 | 1121124.5016 | 2556338.4644 | 1121126.5557 | 2556341.786 | 1121128.2881 | 2556363.5484 | 1121135.2169
29 | 2556395.7207 | 1121153.5473 | 2556395.8959 | 1121150.5754 | 2556395.3031 | 1121147.5337 | 2556392.5889 | 1121144.4628 | 2556375.9905 | 1121139.1782
30 | 2556395.7207 | 1121153.5473 | 2556395.7104 | 1121153.7228 | 2556394.2306 | 1121157.0908 | 2556392.0791 | 1121159.3186 | 2556388.6201 | 1121160.9888 | 2556380.3044 | 1121163.05 | 2556370.7968 | 1121163.4966 | 2556346.8828 | 1121161.0904 | 2556335.9153 | 1121159.226
31 | 2556375.9905 | 1121139.1782 | 2556363.5484 | 1121135.2169
32 | 2556264.2709 | 1121110.4101 | 2556259.6503 | 1121107.883 | 2556236.5529 | 1121099.482
33 | 2556184.0887 | 1121134.5723 | 2556176.367 | 1121128.1749 | 2556153.471 | 1121113.1234
34 | 2556143.3129 | 1121106.7593 | 2556147.682 | 1121109.3178 | 2556153.471 | 1121113.1234
35 | 2556201.3472 | 1121148.871 | 2556184.0887 | 1121134.5723
36 | 2556143.3129 | 1121106.7593 | 2556143.3129 | 1121106.7593 | 2556141.4812 | 1121104.1379 | 2556141.0974 | 1121101.217 | 2556142.4762 | 1121098.828 | 2556145.6263 | 1121097.1042 | 2556153.7728 | 1121096.3706
37 | 2556201.3472 | 1121148.871 | 2556207.1233 | 1121153.8278
38 | 2556201.3472 | 1121148.871 | 2556189.5822 | 1121146.4884 | 2556175.3292 | 1121142.4675 | 2556170.4661 | 1121141.9915 | 2556166.0902 | 1121143.1802
39 | 2556153.7728 | 1121096.3706 | 2556167.38 | 1121095.1453 | 2556168.4824 | 1121095.0958
40 | 2556225.2711 | 1121169.4016 | 2556207.1233 | 1121153.8278
41 | 2556166.0902 | 1121143.1802 | 2556156.5316 | 1121145.7769
42 | 2556203.2996 | 1121093.5327 | 2556168.4824 | 1121095.0958
43 | 2556225.6405 | 1121169.7186 | 2556225.2711 | 1121169.4016
44 | 2556143.0106 | 1121147.5939 | 2556149.6112 | 1121147.6569 | 2556156.5316 | 1121145.7769
45 | 2556203.2996 | 1121093.5327 | 2556204.3009 | 1121093.4877 | 2556210.4463 | 1121092.098 | 2556214.5092 | 1121088.6112 | 2556214.4827 | 1121084.954 | 2556212.0272 | 1121081.4144 | 2556207.1895 | 1121077.5428
46 | 2556297.0969 | 1121187.0447 | 2556303.3044 | 1121187.1189 | 2556316.3141 | 1121188.8308
47 | 2556297.0969 | 1121187.0447 | 2556293.6875 | 1121187.004
48 | 2556318.4095 | 1121189.1065 | 2556316.3141 | 1121188.8308
49 | 2556293.6875 | 1121187.004 | 2556265.6515 | 1121186.669 | 2556261.7495 | 1121185.7388
50 | 2556318.4095 | 1121189.1065 | 2556338.3828 | 1121191.7347
51 | 2556232.0998 | 1121175.2617 | 2556248.861 | 1121182.6663 | 2556261.7495 | 1121185.7388
52 | 2556341.016 | 1121192.0812 | 2556338.3828 | 1121191.7347
53 | 2556232.0998 | 1121175.2617 | 2556225.6405 | 1121169.7186
54 | 2556341.016 | 1121192.0812 | 2556359.9697 | 1121194.5752
55 | 2556264.0423 | 1121354.2335 | 2556233.4817 | 1121358.4237 | 2556217.6964 | 1121356.8373 | 2556200.066 | 1121351.8181
56 | 2556264.0423 | 1121354.2335 | 2556271.7243 | 1121354.1779 | 2556315.5476 | 1121363.2432 | 2556341.2327 | 1121367.493 | 2556360.4619 | 1121368.3097
57 | 2556200.066 | 1121351.8181 | 2555994.806 | 1121460.6995
58 | 2556375.5549 | 1121368.9508 | 2556360.4619 | 1121368.3097
59 | 2555994.806 | 1121460.6995 | 2555988.8847 | 1121459.8449
60 | 2556364.1396 | 1121195.1239 | 2556359.9697 | 1121194.5752
61 | 2556364.1396 | 1121195.1239 | 2556434.9016 | 1121307.0854
62 | 2556452.8179 | 1121312.3937 | 2556438.8604 | 1121307.7018 | 2556434.9016 | 1121307.0854
63 | 2556470.9103 | 1121319.2817 | 2556464.1135 | 1121316.1907 | 2556463.4438 | 1121315.9656
64 | 2556452.8179 | 1121312.3937 | 2556463.4438 | 1121315.9656
65 | 2556436.1051 | 1121366.2845 | 2556421.2533 | 1121369.7951
66 | 2556481.9004 | 1121476.6673 | 2556485.324 | 1121475.4531 | 2556498.1785 | 1121479.2736 | 2556508.9868 | 1121485.9992 | 2556514.8191 | 1121491.5268
67 | 2556421.2533 | 1121369.7951 | 2556405.9284 | 1121373.4176 | 2556389.2602 | 1121370.7732
68 | 2556389.2602 | 1121370.7732 | 2556378.5843 | 1121369.0795 | 2556375.5549 | 1121368.9508
69 | 2556130.6714 | 1121146.1936 | 2556140.3465 | 1121147.5685 | 2556143.0106 | 1121147.5939
70 | 2556265.0869 | 1121110.8564 | 2556264.2709 | 1121110.4101
71 | 2556265.0869 | 1121110.8564 | 2556267.6816 | 1121112.2755
72 | 2556274.4106 | 1121118.0369 | 2556271.6462 | 1121114.4439 | 2556267.6816 | 1121112.2755
73 | 2556123.8122 | 1121061.7076 | 2556129.8487 | 1121069.071 | 2556130.606 | 1121073.5011 | 2556128.7238 | 1121077.7392 | 2556125.1574 | 1121078.4321 | 2556115.1 | 1121075.4147 | 2556112.1679 | 1121075.4862
74 | 2556112.1679 | 1121075.4862 | 2556109.2541 | 1121075.5573 | 2556102.9085 | 1121077.0042 | 2556097.6957 | 1121077.9511
75 | 2556097.6957 | 1121077.9511 | 2556092.2623 | 1121078.9381 | 2556081.8777 | 1121079.7251
76 | 2556064.1967 | 1121074.6894 | 2556081.8777 | 1121079.7251 | 2556081.8777 | 1121079.7251
77 | 2556059.9432 | 1121073.478 | 2556064.1967 | 1121074.6894
78 | 2556059.9432 | 1121073.478 | 2556037.1263 | 1121114.0138
79 | 2556048.63 | 1121119.7524 | 2556037.1263 | 1121114.0138
80 | 2556048.63 | 1121119.7524 | 2556053.3365 | 1121122.1003

## bus_geodata
| x | y | coords
0 | 2556612.5787 | 1121081.1766
1 | 2556605.6783 | 1121141.1782
2 | 2556573.5821 | 1121132.9195
3 | 2556099.3758 | 1120978.3679
4 | 2556092.4419 | 1120968.9246
5 | 2556110.1015 | 1121006.4378
6 | 2556116.2733 | 1120961.8607
7 | 2556201.5778 | 1121036.0446
8 | 2556102.0935 | 1121018.3007
9 | 2556254.457 | 1121057.7139
10 | 2556196.9292 | 1121068.0137
11 | 2556089.4901 | 1121038.2262
12 | 2556532.9132 | 1121125.1961
13 | 2556558.3921 | 1121365.2594
14 | 2556487.1818 | 1121327.5079
15 | 2556559.7747 | 1121368.7401
16 | 2556469.3524 | 1121370.4161
17 | 2556472.302 | 1121114.8225
18 | 2556430.1785 | 1121108.0539
19 | 2556342.0577 | 1121087.9876
20 | 2556302.649 | 1121076.3222
21 | 2556338.1839 | 1121111.0798
22 | 2556261.341 | 1121092.7653
23 | 2556336.2601 | 1121122.5473
24 | 2556395.7207 | 1121153.5473
25 | 2556375.9905 | 1121139.1782
26 | 2556335.9153 | 1121159.226
27 | 2556363.5484 | 1121135.2169
28 | 2556236.5529 | 1121099.482
29 | 2556153.471 | 1121113.1234
30 | 2556184.0887 | 1121134.5723
31 | 2556143.3129 | 1121106.7593
32 | 2556201.3472 | 1121148.871
33 | 2556153.7728 | 1121096.3706
34 | 2556207.1233 | 1121153.8278
35 | 2556166.0903 | 1121143.1802
36 | 2556168.4824 | 1121095.0958
37 | 2556225.2711 | 1121169.4016
38 | 2556156.5316 | 1121145.7769
39 | 2556203.2996 | 1121093.5327
40 | 2556207.1895 | 1121077.5428
41 | 2556297.0969 | 1121187.0447
42 | 2556316.3141 | 1121188.8308
43 | 2556293.6875 | 1121187.004
44 | 2556318.4095 | 1121189.1065
45 | 2556261.7495 | 1121185.7388
46 | 2556338.3828 | 1121191.7347
47 | 2556232.0998 | 1121175.2617
48 | 2556341.016 | 1121192.0812
49 | 2556225.6405 | 1121169.7186
50 | 2556264.0423 | 1121354.2335
51 | 2556200.066 | 1121351.8181
52 | 2556360.4619 | 1121368.3097
53 | 2555994.806 | 1121460.6995
54 | 2556359.9697 | 1121194.5752
55 | 2556364.1396 | 1121195.1239
56 | 2556434.9016 | 1121307.0854
57 | 2556470.9103 | 1121319.2817
58 | 2556463.4438 | 1121315.9656
59 | 2556436.1051 | 1121366.2845
60 | 2556481.9004 | 1121476.6673
61 | 2556452.8179 | 1121312.3937
62 | 2556421.2533 | 1121369.7951
63 | 2556389.2602 | 1121370.7732
64 | 2556375.5549 | 1121368.9508
65 | 2556514.8191 | 1121491.5268
66 | 2556143.0106 | 1121147.5939
67 | 2556264.2709 | 1121110.4101
68 | 2556265.0869 | 1121110.8564
69 | 2556267.6816 | 1121112.2755
70 | 2556274.4106 | 1121118.0369
71 | 2556130.6714 | 1121146.1936
72 | 2555988.8847 | 1121459.8449
73 | 2556123.8122 | 1121061.7076
74 | 2556112.1679 | 1121075.4862
75 | 2556097.6957 | 1121077.9511
76 | 2556081.8777 | 1121079.7251
77 | 2556064.1967 | 1121074.6894
78 | 2556059.9432 | 1121073.478
79 | 2556037.1263 | 1121114.0138
80 | 2556053.3365 | 1121122.1003
81 | 2556048.63 | 1121119.7524
82 | 2556302.649 | 1121076.3222

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1