## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6156-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6156-3_0_2_node_56 | 0.4 | n |  | TRUE
3 | bus_LV_6156-3_0_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_6156-3_0_2_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_6156-3_0_2_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_6156-3_0_2_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_6156-3_0_2_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_6156-3_0_2_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_6156-3_0_2_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6156-3_0_2_node_2 | 0.4 | n |  | TRUE
11 | bus_LV_6156-3_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6156-3_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6156-3_0_2_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_6156-3_0_2_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_6156-3_0_2_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_6156-3_0_2_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_6156-3_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6156-3_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6156-3_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6156-3_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6156-3_0_2_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_6156-3_0_2_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_6156-3_0_2_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_6156-3_0_2_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_6156-3_0_2_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_6156-3_0_2_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_6156-3_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6156-3_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6156-3_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6156-3_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6156-3_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_6156-3_0_2_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_6156-3_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_6156-3_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_6156-3_0_2_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_6156-3_0_2_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_6156-3_0_2_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_6156-3_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_6156-3_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_6156-3_0_2_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_6156-3_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6156-3_0_2_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_6156-3_0_2_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_6156-3_0_2_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_6156-3_0_2_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_6156-3_0_2_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_6156-3_0_2_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_6156-3_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6156-3_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_6156-3_0_2_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_6156-3_0_2_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_6156-3_0_2_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_6156-3_0_2_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_6156-3_0_2_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_6156-3_0_2_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_6156-3_0_2_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_6156-3_0_2_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6156-3_0_2_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_6156-3_0_2_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_6156-3_0_2_node_57 | 0.4 | n |  | TRUE
61 | bus_MV_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-3_0_2_load_0 | 0 | 0.0011613 | 0.00029104 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-3_0_2_load_56 | 2 | 0.00053478 | 0.00013403 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-3_0_2_load_7 | 3 | 0.00081636 | 0.0002046 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-3_0_2_load_55 | 5 | 0.00027524 | 6.898e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-3_0_2_load_53 | 6 | 0.00078239 | 0.00019608 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-3_0_2_load_2 | 10 | 0.0017079 | 0.00042805 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-3_0_2_load_6 | 11 | 0.0010437 | 0.00026159 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-3_0_2_load_8 | 12 | 0.0024698 | 0.000619 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-3_0_2_load_5 | 13 | 0.0035289 | 0.00088443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-3_0_2_load_28 | 14 | 0.0017191 | 0.00043085 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-3_0_2_load_29 | 15 | 0.00059262 | 0.00014852 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-3_0_2_load_10 | 17 | 0.0034836 | 0.00087308 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-3_0_2_load_12 | 19 | 0.0010589 | 0.00026539 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-3_0_2_load_13 | 20 | 0.00099081 | 0.00024832 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-3_0_2_load_49 | 21 | 0.00075548 | 0.00018934 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-3_0_2_load_50 | 22 | 0.00029001 | 7.2684e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-3_0_2_load_48 | 23 | 0.001024 | 0.00025664 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-3_0_2_load_60 | 24 | 0.0010045 | 0.00025175 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-3_0_2_load_51 | 25 | 0.0009706 | 0.00024325 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-3_0_2_load_61 | 26 | 0.0027856 | 0.00069813 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-3_0_2_load_14 | 27 | 0.0020343 | 0.00050985 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-3_0_2_load_15 | 28 | 0.000458 | 0.00011479 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-3_0_2_load_41 | 31 | 0.0010562 | 0.0002647 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-3_0_2_load_39 | 32 | 0.0018488 | 0.00046334 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-3_0_2_load_30 | 33 | 0.00054911 | 0.00013762 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-3_0_2_load_40 | 35 | 0.0020929 | 0.00052453 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-3_0_2_load_19 | 36 | 0.0015261 | 0.00038249 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-3_0_2_load_21 | 38 | 0.00089205 | 0.00022357 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-3_0_2_load_38 | 39 | 0.002353 | 0.00058971 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-3_0_2_load_42 | 42 | 0.00058656 | 0.000147 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-3_0_2_load_23 | 43 | 0.0013642 | 0.00034191 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-3_0_2_load_24 | 44 | 0.0016486 | 0.00041317 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-3_0_2_load_25 | 45 | 0.0021035 | 0.0005272 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-3_0_2_load_26 | 46 | 0.0020426 | 0.00051191 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-3_0_2_load_46 | 48 | 0.0026097 | 0.00065404 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-3_0_2_load_47 | 49 | 0.00099979 | 0.00025057 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-3_0_2_load_31 | 50 | 0.0017995 | 0.00045099 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-3_0_2_load_33 | 52 | 0.00053683 | 0.00013454 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-3_0_2_load_63 | 53 | 0.0019838 | 0.00049719 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-3_0_2_load_36 | 55 | 0.0017223 | 0.00043165 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-3_0_2_load_37 | 56 | 0.0016636 | 0.00041693 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-3_0_2_load_62 | 59 | 0.0011407 | 0.00028589 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-3_0_2_load_57 | 60 | 0.0011696 | 0.00029313 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-3_0_2_line_0 |  | 0 | 1 | 0.19251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-3_0_2_line_1 |  | 0 | 2 | 0.34435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-3_0_2_line_2 |  | 1 | 3 | 0.38446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-3_0_2_line_3 |  | 2 | 4 | 0.063165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-3_0_2_line_4 |  | 2 | 5 | 0.25604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6156-3_0_2_line_5 |  | 3 | 13 | 0.11117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6156-3_0_2_line_6 |  | 4 | 58 | 0.033837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6156-3_0_2_line_7 |  | 4 | 57 | 0.1113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-3_0_2_line_8 |  | 5 | 60 | 0.033358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6156-3_0_2_line_9 |  | 6 | 7 | 0.11395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6156-3_0_2_line_10 |  | 7 | 57 | 0.13889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-3_0_2_line_11 |  | 7 | 49 | 0.13441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6156-3_0_2_line_12 |  | 8 | 9 | 0.046293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6156-3_0_2_line_13 |  | 8 | 10 | 0.035359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6156-3_0_2_line_14 |  | 9 | 11 | 0.12499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6156-3_0_2_line_15 |  | 9 | 12 | 0.084714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6156-3_0_2_line_16 |  | 11 | 13 | 0.058906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6156-3_0_2_line_17 |  | 14 | 15 | 0.0058966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6156-3_0_2_line_18 |  | 14 | 16 | 0.088769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6156-3_0_2_line_19 |  | 15 | 46 | 0.066359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6156-3_0_2_line_20 |  | 16 | 33 | 0.097995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6156-3_0_2_line_21 |  | 16 | 29 | 0.001689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-3_0_2_line_22 |  | 17 | 18 | 0.18559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6156-3_0_2_line_23 |  | 18 | 19 | 0.032793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6156-3_0_2_line_24 |  | 18 | 20 | 0.16513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6156-3_0_2_line_25 |  | 19 | 24 | 0.20704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6156-3_0_2_line_26 |  | 20 | 25 | 0.22648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6156-3_0_2_line_27 |  | 21 | 22 | 0.091224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6156-3_0_2_line_28 |  | 21 | 23 | 0.126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6156-3_0_2_line_29 |  | 22 | 25 | 0.012677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6156-3_0_2_line_30 |  | 23 | 48 | 0.1196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6156-3_0_2_line_31 |  | 24 | 26 | 0.23695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6156-3_0_2_line_32 |  | 27 | 28 | 0.11146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6156-3_0_2_line_33 |  | 28 | 29 | 0.287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6156-3_0_2_line_34 |  | 29 | 30 | 0.02774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6156-3_0_2_line_35 |  | 30 | 31 | 0.13357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6156-3_0_2_line_36 |  | 30 | 32 | 0.035632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6156-3_0_2_line_37 |  | 31 | 34 | 0.01557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6156-3_0_2_line_38 |  | 32 | 35 | 0.14791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6156-3_0_2_line_39 |  | 34 | 40 | 0.29443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6156-3_0_2_line_40 |  | 34 | 37 | 0.031984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6156-3_0_2_line_41 |  | 35 | 54 | 0.13804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6156-3_0_2_line_42 |  | 36 | 37 | 0.056284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6156-3_0_2_line_43 |  | 37 | 38 | 0.057639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6156-3_0_2_line_44 |  | 38 | 39 | 0.096642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6156-3_0_2_line_45 |  | 40 | 41 | 0.11105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6156-3_0_2_line_46 |  | 40 | 42 | 0.15668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6156-3_0_2_line_47 |  | 41 | 53 | 0.057913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6156-3_0_2_line_48 |  | 41 | 51 | 0.059853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6156-3_0_2_line_49 |  | 43 | 44 | 0.10032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6156-3_0_2_line_50 |  | 43 | 45 | 0.049047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6156-3_0_2_line_51 |  | 44 | 46 | 0.10747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6156-3_0_2_line_52 |  | 45 | 47 | 0.21763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6156-3_0_2_line_53 |  | 47 | 48 | 0.035456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6156-3_0_2_line_54 |  | 47 | 49 | 0.14105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6156-3_0_2_line_55 |  | 50 | 51 | 0.022127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6156-3_0_2_line_56 |  | 51 | 52 | 0.060739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6156-3_0_2_line_57 |  | 54 | 55 | 0.043316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6156-3_0_2_line_58 |  | 54 | 56 | 0.080691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6156-3_0_2_line_59 |  | 58 | 59 | 0.041106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-3_0_2_trafo_24 | 0.63 MVA 20/0.4 kV | 61 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2558539.556 | 1119593.9713 | 2558539.7453 | 1119594.5703 | 2558546.4239 | 1119608.7428 | 2558550.8138 | 1119617.6951 | 2558553.8078 | 1119625.623 | 2558557.3907 | 1119638.4161 | 2558565.6561 | 1119661.2156 | 2558573.3382 | 1119681.0953 | 2558578.7275 | 1119691.7971 | 2558583.5058 | 1119701.147 | 2558589.5352 | 1119710.6883 | 2558595.6838 | 1119719.6063 | 2558601.2575 | 1119727.9501 | 2558605.8097 | 1119736.9791 | 2558610.7126 | 1119747.651 | 2558614.8314 | 1119757.6056 | 2558618.6184 | 1119768.631
1 | 2558437.4729 | 1120061.4791 | 2558618.6184 | 1119768.631
2 | 2558539.556 | 1119593.9713 | 2558405.6849 | 1119233.5723
3 | 2558401.3892 | 1120110.5971 | 2558407.1721 | 1120104.5319 | 2558411.3615 | 1120096.7213 | 2558415.5347 | 1120088.8107 | 2558422.0244 | 1120076.7043 | 2558426.4901 | 1120068.6694 | 2558430.4496 | 1120063.3283 | 2558434.2412 | 1120061.6014 | 2558437.4729 | 1120061.4791 | 2558437.4729 | 1120061.4791
4 | 2558379.8077 | 1120283.6475 | 2558380.3021 | 1120281.4855 | 2558382.4201 | 1120276.5017 | 2558384.5095 | 1120271.8404 | 2558387.128 | 1120267.8314 | 2558399.8473 | 1120251.8356 | 2558410.4514 | 1120237.8777 | 2558420.5273 | 1120224.5015 | 2558428.1154 | 1120212.8433 | 2558433.9904 | 1120203.3535 | 2558439.2698 | 1120194.7461 | 2558442.6392 | 1120187.7416 | 2558444.7977 | 1120180.7787 | 2558446.6813 | 1120174.2291 | 2558449.4815 | 1120166.3391 | 2558453.4372 | 1120160.4533 | 2558457.6047 | 1120155.0663 | 2558462.323 | 1120147.8746 | 2558464.3256 | 1120141.8022 | 2558464.8963 | 1120135.0393 | 2558463.4939 | 1120129.6795 | 2558459.3342 | 1120123.8607 | 2558453.781 | 1120118.4739 | 2558446.9214 | 1120111.5953 | 2558443.0535 | 1120105.5855 | 2558441.3514 | 1120099.2829 | 2558441.1826 | 1120089.3234 | 2558441.4913 | 1120078.1377 | 2558441.1419 | 1120068.8465 | 2558439.5792 | 1120063.7435 | 2558437.4729 | 1120061.4791
5 | 2558370.8042 | 1119128.6577 | 2558372.1315 | 1119132.0746 | 2558378.131 | 1119150.5761 | 2558384.2866 | 1119171.5778 | 2558390.5474 | 1119186.5868 | 2558398.7766 | 1119203.9502 | 2558402.4731 | 1119212.9849 | 2558405.2041 | 1119224.1162 | 2558405.6849 | 1119233.5723
6 | 2558401.3892 | 1120110.5971 | 2558392.2739 | 1120116.7297 | 2558378.3226 | 1120125.2746 | 2558372.683 | 1120128.6263
7 | 2558369.4342 | 1120012.1334 | 2558376.4741 | 1120022.7681 | 2558381.7217 | 1120033.0483 | 2558386.336 | 1120042.099 | 2558387.7878 | 1120053.5059 | 2558384.6488 | 1120067.0678 | 2558384.1262 | 1120081.9235 | 2558383.5744 | 1120091.4099 | 2558384.6353 | 1120096.4497 | 2558395.232 | 1120104.8921 | 2558401.3892 | 1120110.5971
8 | 2558379.8077 | 1120283.6475 | 2558378.6471 | 1120288.7228 | 2558376.6343 | 1120297.7858 | 2558373.2142 | 1120308.6038 | 2558370.5382 | 1120315.6337
9 | 2558282.9469 | 1119939.226 | 2558280.938 | 1119929.8684 | 2558271.8484 | 1119907.3641 | 2558267.8753 | 1119897.342 | 2558265.9238 | 1119889.5848 | 2558263.2957 | 1119881.0652 | 2558257.7903 | 1119869.2528 | 2558250.6086 | 1119857.1406 | 2558249.4321 | 1119852.124 | 2558250.4623 | 1119849.371 | 2558254.6313 | 1119847.5413 | 2558258.3414 | 1119847.4156 | 2558260.7333 | 1119849.678 | 2558263.4352 | 1119854.6351
10 | 2558369.4342 | 1120012.1334 | 2558362.0081 | 1120024.9356 | 2558356.5812 | 1120017.7582 | 2558348.4562 | 1120009.7657 | 2558341.1624 | 1120002.6012 | 2558329.4469 | 1119984.117 | 2558328.1294 | 1119973.1871 | 2558309.4179 | 1119960.532 | 2558299.6056 | 1119948.4268 | 2558294.9969 | 1119940.21 | 2558285.6953 | 1119941.7194 | 2558282.9469 | 1119939.226
11 | 2558282.9469 | 1119939.226 | 2558284.0868 | 1119944.532 | 2558286.2653 | 1119957.2234 | 2558287.0782 | 1119964.3326 | 2558286.756 | 1119973.5284 | 2558285.4906 | 1119982.4417 | 2558283.2002 | 1119994.875 | 2558279.8601 | 1120007.2266 | 2558276.2372 | 1120019.9582 | 2558272.1956 | 1120026.8118 | 2558269.6384 | 1120028.5304 | 2558266.4027 | 1120028.0747 | 2558264.3896 | 1120025.9097 | 2558263.8023 | 1120023.5459 | 2558263.7813 | 1120020.5112 | 2558264.6055 | 1120015.8587 | 2558266.2756 | 1120009.6884 | 2558266.8991 | 1120003.9033 | 2558265.8105 | 1119997.0851 | 2558263.846 | 1119991.946
12 | 2558259.057 | 1118986.569 | 2558254.2215 | 1118984.7237 | 2558250.6472 | 1118984.4816 | 2558243.9994 | 1118986.1283 | 2558233.8594 | 1118989.3556 | 2558214.9883 | 1118996.4676
13 | 2558214.9883 | 1118996.4676 | 2558206.0364 | 1118996.3294 | 2558192.698 | 1118994.543 | 2558179.9416 | 1118992.3191
14 | 2558259.057 | 1118986.569 | 2558258.2897 | 1118988.3196 | 2558258.1653 | 1118990.4104 | 2558259.5869 | 1118994.0247 | 2558265.9351 | 1119001.5069 | 2558283.6825 | 1119020.483 | 2558324.3878 | 1119063.2684 | 2558339.4594 | 1119079.1949 | 2558339.6716 | 1119079.4375
15 | 2558259.057 | 1118986.569 | 2558300.7136 | 1118912.8048
16 | 2558370.8042 | 1119128.6577 | 2558367.0019 | 1119118.8698 | 2558361.4652 | 1119105.9458 | 2558354.12 | 1119095.958 | 2558339.6716 | 1119079.4375
17 | 2557768.3141 | 1119526.9568 | 2557772.9994 | 1119530.537 | 2557772.9994 | 1119530.537
18 | 2557699.3873 | 1119471.4327 | 2557712.9358 | 1119482.4102 | 2557730.1572 | 1119497.8421 | 2557742.4135 | 1119509.4178 | 2557750.2574 | 1119515.6217 | 2557755.9932 | 1119519.3724 | 2557763.3435 | 1119523.3897 | 2557768.3141 | 1119526.9568
19 | 2557814.5917 | 1119581.6814 | 2557809.4687 | 1119577.6842 | 2557803.8213 | 1119572.2209 | 2557797.5878 | 1119564.5827 | 2557792.1084 | 1119556.6613 | 2557786.6223 | 1119547.784 | 2557781.5273 | 1119539.671 | 2557776.4515 | 1119534.3037 | 2557772.9994 | 1119530.537
20 | 2557699.3873 | 1119471.4327 | 2557698.3072 | 1119472.5409 | 2557703.2246 | 1119485.0129 | 2557708.5637 | 1119501.5173 | 2557712.0726 | 1119512.2983 | 2557714.9287 | 1119520.1934 | 2557716.7639 | 1119525.55 | 2557720.9992 | 1119529.867 | 2557730.5724 | 1119538.4267 | 2557738.4219 | 1119546.5203 | 2557744.7889 | 1119554.4799
21 | 2557698.0759 | 1119470.3636 | 2557699.3873 | 1119471.4327
22 | 2557788.9136 | 1120203.2823 | 2557789.2575 | 1120209.4386 | 2557788.8092 | 1120220.3585 | 2557787.7642 | 1120228.6811 | 2557785.4373 | 1120237.9355 | 2557779.715 | 1120252.5608 | 2557774.7109 | 1120262.8788 | 2557769.591 | 1120272.086 | 2557764.8391 | 1120276.5437 | 2557760.8366 | 1120278.9507 | 2557754.2235 | 1120283.1213 | 2557750.9434 | 1120289.5365 | 2557750.0044 | 1120305.2844 | 2557746.8531 | 1120321.2814 | 2557743.8962 | 1120331.9964 | 2557735.6471 | 1120352.6203 | 2557730.4223 | 1120363.3512 | 2557726.5162 | 1120371.794
23 | 2557788.9136 | 1120203.2823 | 2557788.527 | 1120196.5482 | 2557788.9829 | 1120186.7178 | 2557788.9926 | 1120179.2805 | 2557786.0921 | 1120172.6863 | 2557785.3725 | 1120171.2964
24 | 2557846.3555 | 1120071.4802 | 2557845.0827 | 1120065.9863 | 2557842.1036 | 1120063.617 | 2557839.5373 | 1120062.9012 | 2557834.6169 | 1120066.4707 | 2557828.0064 | 1120075.4659 | 2557822.1403 | 1120086.1123 | 2557815.1587 | 1120100.5351 | 2557812.9734 | 1120106.8759 | 2557810.6647 | 1120118.7314 | 2557808.5071 | 1120127.9401 | 2557805.1753 | 1120134.7002 | 2557801.1829 | 1120141.8762 | 2557798.6186 | 1120152.4995 | 2557796.9589 | 1120162.2828 | 2557793.963 | 1120181.7804 | 2557792.9935 | 1120196.4948 | 2557791.3017 | 1120201.687 | 2557788.9136 | 1120203.2823
25 | 2557638.3987 | 1120115.3241 | 2557642.7527 | 1120121.2188 | 2557645.425 | 1120128.237 | 2557648.7693 | 1120139.7751 | 2557652.1749 | 1120152.3576 | 2557656.7012 | 1120165.2214 | 2557660.3547 | 1120171.3545 | 2557664.2221 | 1120173.8843 | 2557668.0676 | 1120174.3798 | 2557674.1831 | 1120172.9473 | 2557685.1671 | 1120168.2791 | 2557698.1722 | 1120161.3844 | 2557707.5091 | 1120155.0491 | 2557716.3809 | 1120148.417 | 2557723.2874 | 1120144.2443 | 2557730.6737 | 1120141.4022 | 2557737.4856 | 1120140.254 | 2557744.0132 | 1120140.3862 | 2557751.7829 | 1120142.7108 | 2557764.3084 | 1120149.9491 | 2557777.1319 | 1120158.9752 | 2557782.0724 | 1120164.9215 | 2557785.3725 | 1120171.2964
26 | 2558069.8813 | 1120035.0392 | 2557846.3555 | 1120071.4802
27 | 2558070.0491 | 1120022.5316 | 2558071.8715 | 1120022.7746 | 2558075.7 | 1120026.3721 | 2558081.2021 | 1120033.2375 | 2558084.8764 | 1120039.0816 | 2558088.2125 | 1120045.0949 | 2558090.8458 | 1120051.0241 | 2558093.7691 | 1120060.9312 | 2558095.0258 | 1120067.4702 | 2558094.8299 | 1120075.9315 | 2558094.1171 | 1120085.508 | 2558094.5176 | 1120093.1869 | 2558094.2924 | 1120098.5357 | 2558093.1016 | 1120101.4788 | 2558093.9066 | 1120105.1862
28 | 2558137.0797 | 1120002.0942 | 2558134.9579 | 1120009.5748 | 2558134.0533 | 1120015.9621 | 2558133.4134 | 1120023.815 | 2558136.5403 | 1120037.5115 | 2558138.2397 | 1120045.6038 | 2558138.8159 | 1120054.1487 | 2558136.1993 | 1120063.9941 | 2558132.7111 | 1120072.7338 | 2558129.1218 | 1120079.1398 | 2558124.7396 | 1120083.5724 | 2558119.5752 | 1120087.577 | 2558112.8549 | 1120091.9369 | 2558107.7815 | 1120096.8079 | 2558103.9209 | 1120101.9151 | 2558100.5743 | 1120105.4846 | 2558096.5063 | 1120106.2799 | 2558093.9066 | 1120105.1862
29 | 2558069.8813 | 1120035.0392 | 2558069.1211 | 1120025.5507 | 2558070.0491 | 1120022.5316
30 | 2558170.9718 | 1119927.1417 | 2558169.7155 | 1119929.6152 | 2558166.9848 | 1119935.2481 | 2558164.9453 | 1119940.4316 | 2558166.1667 | 1119954.1412 | 2558166.7518 | 1119963.9756 | 2558165.9403 | 1119971.574 | 2558163.8024 | 1119975.9021 | 2558160.8637 | 1119976.0003 | 2558158.6756 | 1119973.0917 | 2558156.6528 | 1119968.4367 | 2558153.1584 | 1119962.947 | 2558149.679 | 1119960.7255 | 2558146.1362 | 1119961.6172 | 2558144.2504 | 1119964.4761 | 2558144.9926 | 1119971.3745 | 2558146.2403 | 1119976.6241 | 2558145.0715 | 1119982.7576 | 2558142.0935 | 1119990.5378 | 2558138.0004 | 1119998.8482 | 2558137.0797 | 1120002.0942
31 | 2557638.3987 | 1120115.3241 | 2557429.4787 | 1120003.5242
32 | 2557402.4283 | 1119242.0903 | 2557408.9374 | 1119244.9236 | 2557415.0873 | 1119247.1481 | 2557419.4544 | 1119248.2289 | 2557424.4757 | 1119249.0607 | 2557430.6316 | 1119252.1411 | 2557437.1352 | 1119255.2858 | 2557444.9178 | 1119259.2663 | 2557453.1097 | 1119263.2996 | 2557461.2448 | 1119266.9331 | 2557471.2479 | 1119269.5862 | 2557479.1963 | 1119271.9093 | 2557497.1034 | 1119276.0743 | 2557507.0176 | 1119278.9796
33 | 2557698.0759 | 1119470.3636 | 2557699.1845 | 1119468.9106 | 2557698.6941 | 1119466.0904 | 2557696.3453 | 1119457.9249 | 2557693.6013 | 1119449.5176 | 2557690.5729 | 1119442.3573 | 2557685.783 | 1119433.7753 | 2557678.1223 | 1119419.6106 | 2557672.3528 | 1119408.8677 | 2557668.092 | 1119399.8263 | 2557663.0848 | 1119391.068 | 2557657.8415 | 1119383.8566 | 2557650.1772 | 1119374.6945 | 2557642.3426 | 1119366.5674 | 2557637.8983 | 1119361.0624 | 2557632.4695 | 1119353.819 | 2557623.3266 | 1119342.8775 | 2557617.9138 | 1119336.8124 | 2557612.7391 | 1119330.5899 | 2557606.893 | 1119324.3499 | 2557599.3144 | 1119316.4324 | 2557594.0422 | 1119311.7225 | 2557587.4228 | 1119307.4446 | 2557578.3503 | 1119302.15 | 2557571.7675 | 1119298.6944 | 2557567.6737 | 1119296.9779 | 2557562.3237 | 1119295.4702 | 2557556.692 | 1119294.5093 | 2557552.9923 | 1119293.9683 | 2557546.4196 | 1119291.9468 | 2557538.6613 | 1119289.211 | 2557532.015 | 1119286.612 | 2557514.8481 | 1119281.2744 | 2557507.0176 | 1119278.9796
34 | 2557698.0759 | 1119470.3636 | 2557686.1491 | 1119460.6977 | 2557676.5494 | 1119452.7942
35 | 2557676.5494 | 1119452.7942 | 2557660.7023 | 1119439.7319 | 2557643.4809 | 1119425.4453 | 2557622.2495 | 1119409.2859 | 2557608.8739 | 1119399.8971 | 2557597.8869 | 1119393.3375 | 2557587.9658 | 1119389.1494 | 2557575.5837 | 1119386.1014 | 2557568.6371 | 1119385.7723 | 2557564.2755 | 1119385.8029
36 | 2557676.5494 | 1119452.7942 | 2557675.3895 | 1119453.525 | 2557672.2676 | 1119452.8465 | 2557666.7313 | 1119452.2627 | 2557656.9917 | 1119453.0314 | 2557649.9134 | 1119454.793 | 2557642.5349 | 1119458.8802
37 | 2557548.8598 | 1119387.7233 | 2557552.4736 | 1119387.0198 | 2557560.644 | 1119385.8285 | 2557564.2755 | 1119385.8029
38 | 2557710.0954 | 1119579.2131 | 2557712.1761 | 1119575.5522 | 2557711.1789 | 1119571.9685 | 2557706.875 | 1119567.7631 | 2557702.5796 | 1119562.5683 | 2557693.0625 | 1119552.1185 | 2557684.2732 | 1119542.0304 | 2557676.8811 | 1119533.1443 | 2557671.5427 | 1119526.6561 | 2557665.0912 | 1119518.7751 | 2557655.8228 | 1119508.5903 | 2557648.4383 | 1119499.7042 | 2557644.4148 | 1119492.5843 | 2557640.0651 | 1119484.066 | 2557638.3734 | 1119476.0849 | 2557638.0929 | 1119469.0944 | 2557639.6843 | 1119462.78 | 2557642.5349 | 1119458.8802
39 | 2557548.8598 | 1119387.7233 | 2557542.9608 | 1119389.3212 | 2557531.6805 | 1119391.546 | 2557519.9875 | 1119393.2291 | 2557508.8262 | 1119393.719 | 2557493.3548 | 1119393.5499 | 2557477.7571 | 1119394.0711 | 2557463.5057 | 1119395.1052 | 2557455.3146 | 1119396.6415 | 2557446.4559 | 1119399.7833 | 2557438.0089 | 1119403.3335 | 2557429.1588 | 1119407.687 | 2557408.9246 | 1119418.1461 | 2557395.3786 | 1119424.0113 | 2557383.3091 | 1119429.1879 | 2557375.5372 | 1119433.2671 | 2557365.9037 | 1119440.3053 | 2557357.4671 | 1119446.4013 | 2557330.3228 | 1119468.182 | 2557299.014 | 1119492.4045 | 2557286.9462 | 1119503.2398
40 | 2557548.8598 | 1119387.7233 | 2557550.3316 | 1119385.2451 | 2557550.711 | 1119382.1519 | 2557548.4047 | 1119378.9554 | 2557543.6776 | 1119376.0426 | 2557538.4878 | 1119374.2671 | 2557531.194 | 1119370.6498 | 2557528.4782 | 1119369.5795
41 | 2557710.0954 | 1119579.2131 | 2557677.8207 | 1119713.4303
42 | 2557528.4782 | 1119369.5795 | 2557530.0821 | 1119368.3342 | 2557536.4417 | 1119368.5897 | 2557542.3414 | 1119368.1702 | 2557548.6849 | 1119367.2363 | 2557554.9527 | 1119365.4024 | 2557561.6722 | 1119364.1657 | 2557567.2768 | 1119364.5709 | 2557577.4578 | 1119366.2114 | 2557583.6984 | 1119366.7905
43 | 2557528.4782 | 1119369.5795 | 2557521.5612 | 1119366.86 | 2557513.877 | 1119364.7797 | 2557501.7501 | 1119362.9307 | 2557490.9945 | 1119361.8614 | 2557477.5897 | 1119361.5333 | 2557471.8315 | 1119361.7086
44 | 2557376.1867 | 1119372.6356 | 2557384.3765 | 1119372.718 | 2557393.8265 | 1119370.2612 | 2557404.4619 | 1119367.3959 | 2557428.0799 | 1119364.0944 | 2557453.3672 | 1119362.2709 | 2557471.8315 | 1119361.7086
45 | 2557286.9462 | 1119503.2398 | 2557292.5412 | 1119506.6798 | 2557300.4233 | 1119507.3022 | 2557316.9749 | 1119507.5187 | 2557337.4637 | 1119508.052 | 2557364.9303 | 1119508.9808 | 2557392.8488 | 1119509.4508 | 2557397.2585 | 1119510.02
46 | 2557286.9462 | 1119503.2398 | 2557282.1774 | 1119507.5313 | 2557267.4659 | 1119519.8417 | 2557257.9743 | 1119528.3576 | 2557252.4939 | 1119533.4879 | 2557247.0061 | 1119536.4728 | 2557233.7191 | 1119540.7245 | 2557222.037 | 1119543.8978 | 2557212.0843 | 1119543.9683 | 2557195.2519 | 1119541.1305 | 2557179.8952 | 1119537.493 | 2557166.8183 | 1119533.2947 | 2557156.1638 | 1119530.1464 | 2557145.3733 | 1119528.8028
47 | 2557397.2585 | 1119510.02 | 2557395.6273 | 1119512.8552 | 2557390.352 | 1119514.2598 | 2557383.5865 | 1119516.5976 | 2557370.1776 | 1119522.195 | 2557359.8865 | 1119530.0606 | 2557354.0585 | 1119535.1377 | 2557347.9947 | 1119538.5044
48 | 2557397.2585 | 1119510.02 | 2557408.6262 | 1119511.4739 | 2557426.992 | 1119514.0347 | 2557441.8684 | 1119517.4094 | 2557456.1231 | 1119521.2554
49 | 2557972.2869 | 1119715.5681 | 2557971.8265 | 1119715.0564 | 2557964.4541 | 1119707.804 | 2557955.289 | 1119702.3761 | 2557946.0249 | 1119697.1267 | 2557940.1895 | 1119692.3316 | 2557932.7167 | 1119685.0799 | 2557923.9019 | 1119675.6698 | 2557914.6137 | 1119665.8739 | 2557902.5419 | 1119654.1075 | 2557897.6423 | 1119649.4313
50 | 2557972.2869 | 1119715.5681 | 2557979.1122 | 1119723.1543 | 2557991.0788 | 1119734.2657 | 2558007.3196 | 1119749.855
51 | 2557897.6423 | 1119649.4313 | 2557889.7183 | 1119641.8684 | 2557880.0476 | 1119632.5532 | 2557870.858 | 1119624.7466 | 2557861.9562 | 1119616.1821 | 2557853.3388 | 1119608.5605 | 2557845.3133 | 1119602.8358 | 2557838.9075 | 1119598.1448 | 2557832.1236 | 1119593.4452 | 2557823.715 | 1119588.1012 | 2557817.405 | 1119583.8764 | 2557814.5917 | 1119581.6814
52 | 2558168.4435 | 1119893.0163 | 2558165.7947 | 1119892.6456 | 2558159.6013 | 1119890.6986 | 2558153.2014 | 1119886.7631 | 2558145.9233 | 1119879.6988 | 2558138.9712 | 1119871.8096 | 2558132.1813 | 1119866.1649 | 2558119.559 | 1119856.1139 | 2558107.5115 | 1119846.6259 | 2558094.9855 | 1119837.1301 | 2558082.8455 | 1119828.7767 | 2558073.7653 | 1119822.203 | 2558065.6288 | 1119814.8669 | 2558057.2939 | 1119805.6311 | 2558047.8947 | 1119794.235 | 2558036.1972 | 1119780.7537 | 2558012.7182 | 1119755.037 | 2558007.3196 | 1119749.855
53 | 2558168.4435 | 1119893.0163 | 2558168.1869 | 1119896.0641 | 2558171.1753 | 1119903.1248 | 2558173.2207 | 1119911.0481 | 2558173.5266 | 1119917.3381 | 2558172.5317 | 1119924.0706 | 2558170.9718 | 1119927.1417
54 | 2558168.4435 | 1119893.0163 | 2558172.1736 | 1119893.5463 | 2558179.3302 | 1119896.4427 | 2558185.1579 | 1119900.1932 | 2558191.1905 | 1119906.7882 | 2558197.6128 | 1119913.9474 | 2558204.8067 | 1119922.2352 | 2558212.5519 | 1119928.8183 | 2558224.8839 | 1119938.2156 | 2558239.0472 | 1119950.2461 | 2558244.6977 | 1119956.2768 | 2558249.404 | 1119962.981 | 2558253.7393 | 1119970.7217 | 2558259.5185 | 1119981.9653 | 2558263.3905 | 1119990.7542 | 2558263.846 | 1119991.946
55 | 2557456.1231 | 1119521.2554 | 2557462.9567 | 1119523.0971 | 2557473.2176 | 1119525.1593 | 2557477.752 | 1119524.4906
56 | 2557456.1231 | 1119521.2554 | 2557456.9671 | 1119523.873 | 2557461.5824 | 1119526.2529 | 2557464.2562 | 1119530.1249 | 2557464.1768 | 1119535.2837 | 2557464.7933 | 1119540.6599 | 2557468.0452 | 1119545.5617 | 2557477.2922 | 1119553.7564 | 2557484.7033 | 1119560.919 | 2557491.3708 | 1119566.9266
57 | 2557677.8207 | 1119713.4303 | 2557677.9554 | 1119716.1307 | 2557680.2225 | 1119719.2609 | 2557687.8432 | 1119729.9797 | 2557690.3732 | 1119737.5881 | 2557693.2364 | 1119745.4165 | 2557697.2539 | 1119751.4418
58 | 2557677.8207 | 1119713.4303 | 2557677.9554 | 1119716.1307 | 2557680.2225 | 1119719.2609 | 2557687.8432 | 1119729.9797 | 2557690.3732 | 1119737.5881 | 2557693.2364 | 1119745.4165 | 2557699.2715 | 1119754.4678 | 2557704.6089 | 1119761.9454 | 2557710.6157 | 1119768.0732 | 2557717.6276 | 1119772.2929 | 2557722.8019 | 1119771.9121 | 2557724.6308 | 1119770.0672
59 | 2558372.683 | 1120128.6263 | 2558370.061 | 1120133.2467 | 2558367.651 | 1120138.4104 | 2558363.7047 | 1120146.7752 | 2558360.6738 | 1120150.2868 | 2558354.4372 | 1120155.4325 | 2558349.9401 | 1120162.2336

## bus_geodata
| x | y | coords
0 | 2558618.6184 | 1119768.631
1 | 2558539.556 | 1119593.9713
2 | 2558437.4729 | 1120061.4791
3 | 2558405.6849 | 1119233.5723
4 | 2558401.3892 | 1120110.5971
5 | 2558379.8077 | 1120283.6475
6 | 2558263.4352 | 1119854.6351
7 | 2558282.9469 | 1119939.226
8 | 2558214.9883 | 1118996.4676
9 | 2558259.057 | 1118986.569
10 | 2558179.9416 | 1118992.3191
11 | 2558339.6716 | 1119079.4375
12 | 2558300.7136 | 1118912.8048
13 | 2558370.8042 | 1119128.6577
14 | 2557768.3141 | 1119526.9568
15 | 2557772.9994 | 1119530.537
16 | 2557699.3873 | 1119471.4327
17 | 2557726.5162 | 1120371.794
18 | 2557788.9136 | 1120203.2823
19 | 2557785.3725 | 1120171.2964
20 | 2557846.3555 | 1120071.4802
21 | 2558093.9066 | 1120105.1862
22 | 2558070.0491 | 1120022.5316
23 | 2558137.0797 | 1120002.0942
24 | 2557638.3987 | 1120115.3241
25 | 2558069.8813 | 1120035.0392
26 | 2557429.4787 | 1120003.5242
27 | 2557402.4283 | 1119242.0903
28 | 2557507.0176 | 1119278.9796
29 | 2557698.0759 | 1119470.3636
30 | 2557676.5494 | 1119452.7942
31 | 2557564.2755 | 1119385.8029
32 | 2557642.5349 | 1119458.8802
33 | 2557744.7889 | 1119554.4799
34 | 2557548.8598 | 1119387.7233
35 | 2557710.0954 | 1119579.2131
36 | 2557583.6984 | 1119366.7905
37 | 2557528.4782 | 1119369.5795
38 | 2557471.8315 | 1119361.7086
39 | 2557376.1867 | 1119372.6356
40 | 2557286.9462 | 1119503.2398
41 | 2557397.2585 | 1119510.02
42 | 2557145.3733 | 1119528.8028
43 | 2557972.2869 | 1119715.5681
44 | 2557897.6423 | 1119649.4313
45 | 2558007.3196 | 1119749.855
46 | 2557814.5917 | 1119581.6814
47 | 2558168.4435 | 1119893.0163
48 | 2558170.9718 | 1119927.1417
49 | 2558263.846 | 1119991.946
50 | 2557477.752 | 1119524.4906
51 | 2557456.1231 | 1119521.2554
52 | 2557491.3708 | 1119566.9266
53 | 2557347.9947 | 1119538.5044
54 | 2557677.8207 | 1119713.4303
55 | 2557697.2539 | 1119751.4418
56 | 2557724.6308 | 1119770.0672
57 | 2558369.4342 | 1120012.1334
58 | 2558372.683 | 1120128.6263
59 | 2558349.9401 | 1120162.2336
60 | 2558370.5382 | 1120315.6337
61 | 2557897.6423 | 1119649.4313

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1