## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6156-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6156-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6156-7_0_5_node_113 | 0.4 | n |  | TRUE
4 | bus_LV_6156-7_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6156-7_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6156-7_0_5_node_102 | 0.4 | n |  | TRUE
7 | bus_LV_6156-7_0_5_node_103 | 0.4 | n |  | TRUE
8 | bus_LV_6156-7_0_5_node_114 | 0.4 | n |  | TRUE
9 | bus_LV_6156-7_0_5_node_115 | 0.4 | n |  | TRUE
10 | bus_LV_6156-7_0_5_node_117 | 0.4 | n |  | TRUE
11 | bus_LV_6156-7_0_5_node_118 | 0.4 | n |  | TRUE
12 | bus_LV_6156-7_0_5_node_116 | 0.4 | n |  | TRUE
13 | bus_LV_6156-7_0_5_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_6156-7_0_5_node_130 | 0.4 | n |  | TRUE
15 | bus_LV_6156-7_0_5_node_109 | 0.4 | n |  | TRUE
16 | bus_LV_6156-7_0_5_node_129 | 0.4 | n |  | TRUE
17 | bus_LV_6156-7_0_5_node_110 | 0.4 | n |  | TRUE
18 | bus_LV_6156-7_0_5_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_6156-7_0_5_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_6156-7_0_5_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_6156-7_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_6156-7_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_6156-7_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_6156-7_0_5_node_135 | 0.4 | n |  | TRUE
25 | bus_LV_6156-7_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_6156-7_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6156-7_0_5_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_6156-7_0_5_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_6156-7_0_5_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6156-7_0_5_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_6156-7_0_5_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_6156-7_0_5_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_6156-7_0_5_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_6156-7_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_6156-7_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_6156-7_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_6156-7_0_5_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_6156-7_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_6156-7_0_5_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_6156-7_0_5_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_6156-7_0_5_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_6156-7_0_5_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_6156-7_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6156-7_0_5_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_6156-7_0_5_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_6156-7_0_5_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_6156-7_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6156-7_0_5_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_6156-7_0_5_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_6156-7_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_6156-7_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6156-7_0_5_node_24 | 0.4 | n |  | TRUE
53 | bus_LV_6156-7_0_5_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_6156-7_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_6156-7_0_5_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_6156-7_0_5_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_6156-7_0_5_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_6156-7_0_5_node_99 | 0.4 | n |  | TRUE
59 | bus_LV_6156-7_0_5_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_6156-7_0_5_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_6156-7_0_5_node_136 | 0.4 | n |  | TRUE
62 | bus_LV_6156-7_0_5_node_132 | 0.4 | n |  | TRUE
63 | bus_LV_6156-7_0_5_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_6156-7_0_5_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6156-7_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6156-7_0_5_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_6156-7_0_5_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_6156-7_0_5_node_38 | 0.4 | n |  | TRUE
69 | bus_LV_6156-7_0_5_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_6156-7_0_5_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_6156-7_0_5_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_6156-7_0_5_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_6156-7_0_5_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_6156-7_0_5_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_6156-7_0_5_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_6156-7_0_5_node_41 | 0.4 | n |  | TRUE
77 | bus_LV_6156-7_0_5_node_42 | 0.4 | n |  | TRUE
78 | bus_LV_6156-7_0_5_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_6156-7_0_5_node_49 | 0.4 | n |  | TRUE
80 | bus_LV_6156-7_0_5_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_6156-7_0_5_node_104 | 0.4 | n |  | TRUE
82 | bus_LV_6156-7_0_5_node_133 | 0.4 | n |  | TRUE
83 | bus_LV_6156-7_0_5_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_6156-7_0_5_node_112 | 0.4 | n |  | TRUE
85 | bus_LV_6156-7_0_5_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_6156-7_0_5_node_105 | 0.4 | n |  | TRUE
87 | bus_LV_6156-7_0_5_node_53 | 0.4 | n |  | TRUE
88 | bus_LV_6156-7_0_5_node_54 | 0.4 | n |  | TRUE
89 | bus_LV_6156-7_0_5_node_55 | 0.4 | n |  | TRUE
90 | bus_LV_6156-7_0_5_node_56 | 0.4 | n |  | TRUE
91 | bus_LV_6156-7_0_5_node_64 | 0.4 | n |  | TRUE
92 | bus_LV_6156-7_0_5_node_61 | 0.4 | n |  | TRUE
93 | bus_LV_6156-7_0_5_node_65 | 0.4 | n |  | TRUE
94 | bus_LV_6156-7_0_5_node_67 | 0.4 | n |  | TRUE
95 | bus_LV_6156-7_0_5_node_68 | 0.4 | n |  | TRUE
96 | bus_LV_6156-7_0_5_node_69 | 0.4 | n |  | TRUE
97 | bus_LV_6156-7_0_5_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_6156-7_0_5_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_6156-7_0_5_node_70 | 0.4 | n |  | TRUE
100 | bus_LV_6156-7_0_5_node_71 | 0.4 | n |  | TRUE
101 | bus_LV_6156-7_0_5_node_72 | 0.4 | n |  | TRUE
102 | bus_LV_6156-7_0_5_node_73 | 0.4 | n |  | TRUE
103 | bus_LV_6156-7_0_5_node_74 | 0.4 | n |  | TRUE
104 | bus_LV_6156-7_0_5_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_6156-7_0_5_node_77 | 0.4 | n |  | TRUE
106 | bus_LV_6156-7_0_5_node_89 | 0.4 | n |  | TRUE
107 | bus_LV_6156-7_0_5_node_85 | 0.4 | n |  | TRUE
108 | bus_LV_6156-7_0_5_node_78 | 0.4 | n |  | TRUE
109 | bus_LV_6156-7_0_5_node_81 | 0.4 | n |  | TRUE
110 | bus_LV_6156-7_0_5_node_80 | 0.4 | n |  | TRUE
111 | bus_LV_6156-7_0_5_node_83 | 0.4 | n |  | TRUE
112 | bus_LV_6156-7_0_5_node_90 | 0.4 | n |  | TRUE
113 | bus_LV_6156-7_0_5_node_86 | 0.4 | n |  | TRUE
114 | bus_LV_6156-7_0_5_node_84 | 0.4 | n |  | TRUE
115 | bus_LV_6156-7_0_5_node_91 | 0.4 | n |  | TRUE
116 | bus_LV_6156-7_0_5_node_95 | 0.4 | n |  | TRUE
117 | bus_LV_6156-7_0_5_node_93 | 0.4 | n |  | TRUE
118 | bus_LV_6156-7_0_5_node_134 | 0.4 | n |  | TRUE
119 | bus_LV_6156-7_0_5_node_131 | 0.4 | n |  | TRUE
120 | bus_LV_6156-7_0_5_node_100 | 0.4 | n |  | TRUE
121 | bus_LV_6156-7_0_5_node_111 | 0.4 | n |  | TRUE
122 | bus_LV_6156-7_0_5_node_107 | 0.4 | n |  | TRUE
123 | bus_LV_6156-7_0_5_node_108 | 0.4 | n |  | TRUE
124 | bus_LV_6156-7_0_5_node_123 | 0.4 | n |  | TRUE
125 | bus_LV_6156-7_0_5_node_121 | 0.4 | n |  | TRUE
126 | bus_LV_6156-7_0_5_node_120 | 0.4 | n |  | TRUE
127 | bus_LV_6156-7_0_5_node_119 | 0.4 | n |  | TRUE
128 | bus_LV_6156-7_0_5_node_122 | 0.4 | n |  | TRUE
129 | bus_LV_6156-7_0_5_node_125 | 0.4 | n |  | TRUE
130 | bus_LV_6156-7_0_5_node_124 | 0.4 | n |  | TRUE
131 | bus_LV_6156-7_0_5_node_126 | 0.4 | n |  | TRUE
132 | bus_LV_6156-7_0_5_node_127 | 0.4 | n |  | TRUE
133 | bus_LV_6156-7_0_5_node_128 | 0.4 | n |  | TRUE
134 | bus_MV_204_1_node_218 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-7_0_5_load_0 | 0 | 0.0057328 | 0.0014368 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-7_0_5_load_1 | 1 | 0.0049208 | 0.0012333 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-7_0_5_load_113 | 3 | 0.0059062 | 0.0014802 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-7_0_5_load_102 | 6 | 0.0024764 | 0.00062065 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-7_0_5_load_114 | 8 | 0.004428 | 0.0011098 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-7_0_5_load_117 | 10 | 0.0021747 | 0.00054503 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-7_0_5_load_118 | 11 | 0.0026327 | 0.00065982 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-7_0_5_load_137 | 13 | 0.0070912 | 0.0017772 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-7_0_5_load_109 | 15 | 0.0058544 | 0.0014672 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-7_0_5_load_129 | 16 | 0.0029476 | 0.00073874 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-7_0_5_load_6 | 18 | 0.011502 | 0.0028826 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-7_0_5_load_11 | 23 | 0.0071356 | 0.0017883 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-7_0_5_load_135 | 24 | 0.0079039 | 0.0019809 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-7_0_5_load_12 | 27 | 0.014565 | 0.0036502 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-7_0_5_load_25 | 29 | 0.0020231 | 0.00050704 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-7_0_5_load_45 | 30 | 0.0062062 | 0.0015554 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-7_0_5_load_52 | 31 | 0.01038 | 0.0026015 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-7_0_5_load_13 | 32 | 0.011589 | 0.0029044 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-7_0_5_load_23 | 34 | 0.0064288 | 0.0016112 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-7_0_5_load_20 | 35 | 0.0058207 | 0.0014588 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-7_0_5_load_35 | 36 | 0.0099891 | 0.0025035 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-7_0_5_load_16 | 39 | 0.012527 | 0.0031396 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-7_0_5_load_19 | 41 | 0.01148 | 0.0028771 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-7_0_5_load_34 | 43 | 0.019223 | 0.0048178 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-7_0_5_load_57 | 45 | 0.0088475 | 0.0022174 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-7_0_5_load_66 | 48 | 0.0058266 | 0.0014603 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-7_0_5_load_63 | 49 | 0.0091435 | 0.0022916 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-7_0_5_load_30 | 51 | 0.0040212 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-7_0_5_load_24 | 52 | 0.0022293 | 0.00055871 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-7_0_5_load_28 | 54 | 0.014424 | 0.003615 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-7_0_5_load_96 | 56 | 0.0042172 | 0.0010569 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-7_0_5_load_101 | 57 | 0.0060015 | 0.0015041 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-7_0_5_load_99 | 58 | 0.0046641 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-7_0_5_load_97 | 59 | 0.0043359 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-7_0_5_load_136 | 61 | 0.0024084 | 0.0006036 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-7_0_5_load_132 | 62 | 0.00265 | 0.00066415 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-7_0_5_load_62 | 64 | 0.010545 | 0.0026428 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-7_0_5_load_36 | 66 | 0.0034079 | 0.00085411 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-7_0_5_load_37 | 67 | 0.0031001 | 0.00077696 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-7_0_5_load_39 | 69 | 0.0054589 | 0.0013681 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-7_0_5_load_40 | 70 | 0.0018513 | 0.00046398 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-7_0_5_load_51 | 72 | 0.0076606 | 0.0019199 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-7_0_5_load_47 | 73 | 0.003152 | 0.00078996 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6156-7_0_5_load_48 | 74 | 0.0057756 | 0.0014475 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6156-7_0_5_load_50 | 75 | 0.0037016 | 0.00092771 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6156-7_0_5_load_41 | 76 | 0.0018113 | 0.00045395 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6156-7_0_5_load_42 | 77 | 0.0084364 | 0.0021143 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6156-7_0_5_load_106 | 80 | 0.0054999 | 0.0013784 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6156-7_0_5_load_104 | 81 | 0.0050697 | 0.0012706 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6156-7_0_5_load_133 | 82 | 0.0044527 | 0.0011159 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6156-7_0_5_load_112 | 84 | 0.0030823 | 0.0007725 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6156-7_0_5_load_53 | 87 | 0.0023654 | 0.00059281 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6156-7_0_5_load_55 | 89 | 0.01023 | 0.0025638 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6156-7_0_5_load_56 | 90 | 0.0030495 | 0.00076427 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6156-7_0_5_load_64 | 91 | 0.0086853 | 0.0021767 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6156-7_0_5_load_61 | 92 | 0.005361 | 0.0013436 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6156-7_0_5_load_65 | 93 | 0.0056917 | 0.0014265 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6156-7_0_5_load_67 | 94 | 0.0068555 | 0.0017181 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6156-7_0_5_load_68 | 95 | 0.002808 | 0.00070376 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6156-7_0_5_load_82 | 98 | 0.0029946 | 0.00075053 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6156-7_0_5_load_70 | 99 | 0.0029653 | 0.00074318 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6156-7_0_5_load_71 | 100 | 0.0040395 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6156-7_0_5_load_72 | 101 | 0.0034871 | 0.00087395 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6156-7_0_5_load_75 | 104 | 0.0038127 | 0.00095556 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6156-7_0_5_load_77 | 105 | 0.0048514 | 0.0012159 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6156-7_0_5_load_89 | 106 | 0.0015321 | 0.00038397 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6156-7_0_5_load_85 | 107 | 0.0050139 | 0.0012566 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6156-7_0_5_load_80 | 110 | 0.0038717 | 0.00097034 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6156-7_0_5_load_83 | 111 | 0.0024681 | 0.00061856 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6156-7_0_5_load_90 | 112 | 0.0085672 | 0.0021471 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6156-7_0_5_load_86 | 113 | 0.0040204 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6156-7_0_5_load_84 | 114 | 0.0032923 | 0.00082513 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6156-7_0_5_load_93 | 117 | 0.0057843 | 0.0014497 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6156-7_0_5_load_134 | 118 | 0.0074974 | 0.001879 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6156-7_0_5_load_131 | 119 | 0.0022383 | 0.00056098 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6156-7_0_5_load_100 | 120 | 0.0042886 | 0.0010748 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6156-7_0_5_load_107 | 122 | 0.0068332 | 0.0017126 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6156-7_0_5_load_108 | 123 | 0.008391 | 0.002103 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6156-7_0_5_load_123 | 124 | 0.008347 | 0.002092 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6156-7_0_5_load_121 | 125 | 0.016558 | 0.0041498 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6156-7_0_5_load_119 | 127 | 0.0087134 | 0.0021838 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6156-7_0_5_load_122 | 128 | 0.0054929 | 0.0013766 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6156-7_0_5_load_125 | 129 | 0.0072239 | 0.0018105 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6156-7_0_5_load_124 | 130 | 0.0068348 | 0.001713 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6156-7_0_5_load_126 | 131 | 0.0060366 | 0.0015129 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6156-7_0_5_load_127 | 132 | 0.0064547 | 0.0016177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-7_0_5_line_0 |  | 0 | 1 | 0.042668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-7_0_5_line_1 |  | 0 | 2 | 0.018724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-7_0_5_line_2 |  | 1 | 3 | 0.066252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-7_0_5_line_3 |  | 2 | 4 | 0.036318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-7_0_5_line_4 |  | 2 | 5 | 0.05887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6156-7_0_5_line_5 |  | 3 | 8 | 0.013749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6156-7_0_5_line_6 |  | 3 | 9 | 0.055075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6156-7_0_5_line_7 |  | 4 | 13 | 0.021227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-7_0_5_line_8 |  | 4 | 14 | 0.026077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6156-7_0_5_line_9 |  | 5 | 15 | 0.025814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6156-7_0_5_line_10 |  | 5 | 7 | 0.042746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-7_0_5_line_11 |  | 6 | 7 | 0.021861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6156-7_0_5_line_12 |  | 9 | 12 | 0.091316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6156-7_0_5_line_13 |  | 10 | 11 | 0.023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6156-7_0_5_line_14 |  | 11 | 12 | 0.067355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6156-7_0_5_line_15 |  | 14 | 16 | 0.034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6156-7_0_5_line_16 |  | 15 | 17 | 0.012235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6156-7_0_5_line_17 |  | 16 | 133 | 0.011586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6156-7_0_5_line_18 |  | 17 | 121 | 0.028571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6156-7_0_5_line_19 |  | 17 | 57 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6156-7_0_5_line_20 |  | 18 | 19 | 0.027251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6156-7_0_5_line_21 |  | 18 | 20 | 0.055828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-7_0_5_line_22 |  | 19 | 21 | 0.035086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6156-7_0_5_line_23 |  | 19 | 22 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6156-7_0_5_line_24 |  | 20 | 23 | 0.060819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6156-7_0_5_line_25 |  | 21 | 24 | 0.081214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6156-7_0_5_line_26 |  | 21 | 25 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6156-7_0_5_line_27 |  | 22 | 26 | 0.033362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6156-7_0_5_line_28 |  | 22 | 27 | 0.039173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6156-7_0_5_line_29 |  | 25 | 28 | 0.097921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6156-7_0_5_line_30 |  | 25 | 29 | 0.03054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6156-7_0_5_line_31 |  | 26 | 30 | 0.018654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6156-7_0_5_line_32 |  | 26 | 31 | 0.047695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6156-7_0_5_line_33 |  | 27 | 32 | 0.032951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6156-7_0_5_line_34 |  | 28 | 55 | 0.031086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6156-7_0_5_line_35 |  | 28 | 56 | 0.013775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6156-7_0_5_line_36 |  | 29 | 52 | 0.035317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6156-7_0_5_line_37 |  | 30 | 38 | 0.022258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6156-7_0_5_line_38 |  | 32 | 33 | 0.031547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6156-7_0_5_line_39 |  | 33 | 34 | 0.021744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6156-7_0_5_line_40 |  | 33 | 35 | 0.015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6156-7_0_5_line_41 |  | 34 | 36 | 0.071032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6156-7_0_5_line_42 |  | 35 | 37 | 0.030889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6156-7_0_5_line_43 |  | 37 | 42 | 0.076102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6156-7_0_5_line_44 |  | 37 | 40 | 0.058838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6156-7_0_5_line_45 |  | 38 | 78 | 0.053743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6156-7_0_5_line_46 |  | 38 | 76 | 0.022893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6156-7_0_5_line_47 |  | 39 | 40 | 0.018819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6156-7_0_5_line_48 |  | 40 | 41 | 0.070701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6156-7_0_5_line_49 |  | 41 | 43 | 0.02545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6156-7_0_5_line_50 |  | 42 | 44 | 0.008608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6156-7_0_5_line_51 |  | 42 | 45 | 0.023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6156-7_0_5_line_52 |  | 44 | 48 | 0.050612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6156-7_0_5_line_53 |  | 44 | 49 | 0.009362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6156-7_0_5_line_54 |  | 45 | 46 | 0.037609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6156-7_0_5_line_55 |  | 46 | 47 | 0.016689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6156-7_0_5_line_56 |  | 47 | 50 | 0.033079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6156-7_0_5_line_57 |  | 47 | 51 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6156-7_0_5_line_58 |  | 49 | 91 | 0.032395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6156-7_0_5_line_59 |  | 50 | 62 | 0.02771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6156-7_0_5_line_60 |  | 50 | 63 | 0.073585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6156-7_0_5_line_61 |  | 51 | 60 | 0.02743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6156-7_0_5_line_62 |  | 52 | 53 | 0.053351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6156-7_0_5_line_63 |  | 53 | 54 | 0.071579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6156-7_0_5_line_64 |  | 55 | 57 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6156-7_0_5_line_65 |  | 55 | 58 | 0.01955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6156-7_0_5_line_66 |  | 56 | 59 | 0.025129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6156-7_0_5_line_67 |  | 58 | 120 | 0.033027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6156-7_0_5_line_68 |  | 60 | 61 | 0.037033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6156-7_0_5_line_69 |  | 63 | 64 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6156-7_0_5_line_70 |  | 63 | 65 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6156-7_0_5_line_71 |  | 64 | 92 | 0.042333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6156-7_0_5_line_72 |  | 65 | 90 | 0.0022727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6156-7_0_5_line_73 |  | 66 | 67 | 0.01722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6156-7_0_5_line_74 |  | 66 | 68 | 0.0048007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6156-7_0_5_line_75 |  | 68 | 69 | 0.010498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6156-7_0_5_line_76 |  | 68 | 70 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6156-7_0_5_line_77 |  | 69 | 71 | 0.02157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6156-7_0_5_line_78 |  | 70 | 72 | 0.051232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6156-7_0_5_line_79 |  | 71 | 73 | 0.029874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6156-7_0_5_line_80 |  | 71 | 74 | 0.046461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6156-7_0_5_line_81 |  | 72 | 75 | 0.041726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6156-7_0_5_line_82 |  | 73 | 82 | 0.01344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6156-7_0_5_line_83 |  | 73 | 83 | 0.027726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6156-7_0_5_line_84 |  | 74 | 78 | 0.048171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6156-7_0_5_line_85 |  | 76 | 77 | 0.020128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6156-7_0_5_line_86 |  | 78 | 79 | 0.041712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6156-7_0_5_line_87 |  | 79 | 80 | 0.031715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6156-7_0_5_line_88 |  | 79 | 81 | 0.062589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6156-7_0_5_line_89 |  | 81 | 86 | 0.0288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6156-7_0_5_line_90 |  | 83 | 84 | 0.033997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6156-7_0_5_line_91 |  | 83 | 85 | 0.043746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6156-7_0_5_line_92 |  | 85 | 106 | 0.053541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6156-7_0_5_line_93 |  | 85 | 107 | 0.054085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6156-7_0_5_line_94 |  | 85 | 103 | 0.04186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6156-7_0_5_line_95 |  | 86 | 122 | 0.045899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6156-7_0_5_line_96 |  | 86 | 123 | 0.0256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6156-7_0_5_line_97 |  | 87 | 88 | 0.091145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6156-7_0_5_line_98 |  | 88 | 89 | 0.01798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6156-7_0_5_line_99 |  | 88 | 90 | 0.0058342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6156-7_0_5_line_100 |  | 91 | 93 | 0.0054728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6156-7_0_5_line_101 |  | 94 | 95 | 0.0097947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6156-7_0_5_line_102 |  | 95 | 96 | 0.039183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6156-7_0_5_line_103 |  | 96 | 97 | 0.0237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6156-7_0_5_line_104 |  | 97 | 98 | 0.031707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6156-7_0_5_line_105 |  | 98 | 109 | 0.023561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6156-7_0_5_line_106 |  | 99 | 100 | 0.022265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6156-7_0_5_line_107 |  | 99 | 101 | 0.020577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6156-7_0_5_line_108 |  | 101 | 102 | 0.018378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6156-7_0_5_line_109 |  | 102 | 103 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6156-7_0_5_line_110 |  | 102 | 104 | 0.015233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6156-7_0_5_line_111 |  | 103 | 105 | 0.017983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6156-7_0_5_line_112 |  | 105 | 108 | 0.10004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6156-7_0_5_line_113 |  | 106 | 112 | 0.015526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6156-7_0_5_line_114 |  | 107 | 113 | 0.018666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6156-7_0_5_line_115 |  | 108 | 110 | 0.020089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6156-7_0_5_line_116 |  | 108 | 109 | 0.048009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6156-7_0_5_line_117 |  | 109 | 111 | 0.013658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6156-7_0_5_line_118 |  | 111 | 114 | 0.018454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6156-7_0_5_line_119 |  | 112 | 115 | 0.0041244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6156-7_0_5_line_120 |  | 115 | 116 | 0.051812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6156-7_0_5_line_121 |  | 115 | 117 | 0.02185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6156-7_0_5_line_122 |  | 116 | 118 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6156-7_0_5_line_123 |  | 118 | 119 | 0.061189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6156-7_0_5_line_124 |  | 121 | 125 | 0.011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6156-7_0_5_line_125 |  | 123 | 124 | 0.021439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6156-7_0_5_line_126 |  | 125 | 126 | 0.0034402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6156-7_0_5_line_127 |  | 126 | 128 | 0.04115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6156-7_0_5_line_128 |  | 126 | 127 | 0.015516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6156-7_0_5_line_129 |  | 128 | 129 | 0.016958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6156-7_0_5_line_130 |  | 129 | 130 | 0.013648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6156-7_0_5_line_131 |  | 131 | 132 | 0.010921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6156-7_0_5_line_132 |  | 132 | 133 | 0.022559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-7_0_5_trafo_44 | 0.63 MVA 20/0.4 kV | 134 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2560823.3898 | 1121074.1406 | 2560824.6512 | 1121073.3854 | 2560828.3345 | 1121076.3742 | 2560833.5882 | 1121080.0531 | 2560839.0747 | 1121083.9528 | 2560845.6193 | 1121089.2353 | 2560848.7727 | 1121092.5832 | 2560852.8791 | 1121097.7703 | 2560853.2924 | 1121098.4569 | 2560853.6999 | 1121099.4437 | 2560854.5053 | 1121101.0704
1 | 2560807.3244 | 1121083.7587 | 2560823.3898 | 1121074.1406
2 | 2560854.5053 | 1121101.0704 | 2560919.5201 | 1121113.8136
3 | 2560807.3244 | 1121083.7587 | 2560811.6714 | 1121091.5455 | 2560818.2675 | 1121107.144 | 2560821.4254 | 1121117.1286
4 | 2560776.8912 | 1121033.4195 | 2560777.6583 | 1121035.1487 | 2560784.7763 | 1121047.9424 | 2560795.1583 | 1121064.4834 | 2560804.0074 | 1121077.7994 | 2560807.3244 | 1121083.7587
5 | 2560919.5201 | 1121113.8136 | 2560922.6294 | 1121112.7262 | 2560928.223 | 1121112.9346 | 2560933.0731 | 1121112.6586 | 2560933.0731 | 1121112.6586
6 | 2560907.4085 | 1121166.0074 | 2560905.4597 | 1121164.0413 | 2560905.9241 | 1121159.5248 | 2560907.2905 | 1121154.9359 | 2560909.9604 | 1121147.9484 | 2560914.1348 | 1121132.6802 | 2560918.378 | 1121116.111 | 2560919.5201 | 1121113.8136
7 | 2560821.4254 | 1121117.1286 | 2560818.0188 | 1121118.7404 | 2560814.1188 | 1121125.1579 | 2560808.743 | 1121133.5526
8 | 2560821.4254 | 1121117.1286 | 2560822.7957 | 1121121.4553 | 2560826.5278 | 1121142.6641
9 | 2560776.8912 | 1121033.4195 | 2560762.1242 | 1121036.5059 | 2560753.129 | 1121037.5315 | 2560751.491 | 1121037.8766
10 | 2560776.8912 | 1121033.4195 | 2560818.2511 | 1121022.6233
11 | 2560818.2511 | 1121022.6233 | 2560821.9868 | 1121021.7986 | 2560827.7395 | 1121020.3495 | 2560833.1798 | 1121018.302 | 2560838.9253 | 1121015.7412
12 | 2560907.4085 | 1121166.0074 | 2560908.2256 | 1121164.7237 | 2560913.2769 | 1121161.0002 | 2560919.9471 | 1121159.5119 | 2560926.6252 | 1121159.224 | 2560933.3902 | 1121160.4698 | 2560943.3157 | 1121162.5733 | 2560960.162 | 1121167.3557 | 2560977.7426 | 1121172.378 | 2560991.6954 | 1121177.0236 | 2560994.2544 | 1121177.9297
13 | 2561016.2148 | 1121091.0605 | 2561013.663 | 1121104.1223 | 2561012.1766 | 1121114.5406
14 | 2560994.2544 | 1121177.9297 | 2560995.2965 | 1121175.6663 | 2560998.2487 | 1121174.1464 | 2561000.9503 | 1121169.66 | 2561003.111 | 1121162.6425 | 2561006.2087 | 1121146.6366 | 2561010.6595 | 1121125.1747 | 2561012.1766 | 1121114.5406
15 | 2560826.5278 | 1121142.6641 | 2560821.3694 | 1121145.3434 | 2560814.2481 | 1121149.8141 | 2560809.9202 | 1121153.2884 | 2560805.826 | 1121155.9274 | 2560800.3316 | 1121157.9307 | 2560796.5501 | 1121158.4623
16 | 2560739.4856 | 1121040.2105 | 2560742.3199 | 1121039.5473 | 2560748.3916 | 1121038.5295 | 2560751.491 | 1121037.8766
17 | 2560785.3971 | 1121161.3072 | 2560788.3427 | 1121159.9763 | 2560792.3709 | 1121159.0497 | 2560796.5501 | 1121158.4623
18 | 2560739.4856 | 1121040.2105 | 2560740.6826 | 1121045.1608 | 2560740.9161 | 1121046.6822 | 2560741.6977 | 1121051.8131 | 2560743.3208 | 1121058.228 | 2560745.4242 | 1121063.795 | 2560745.9834 | 1121067.9379
19 | 2560739.4856 | 1121040.2105 | 2560736.5053 | 1121031.4809 | 2560735.7532 | 1121029.6945
20 | 2560773.0586 | 1120881.667 | 2560776.5817 | 1120880.1434 | 2560777.715 | 1120878.8576 | 2560778.27 | 1120876.4305 | 2560777.6724 | 1120872.299 | 2560776.3417 | 1120865.7598 | 2560776.3203 | 1120862.4805 | 2560778.7362 | 1120860.3304 | 2560780.5613 | 1120860.0432
21 | 2560835.4123 | 1120849.9907 | 2560828.9866 | 1120851.1663 | 2560820.1293 | 1120852.0797 | 2560804.4248 | 1120854.6051 | 2560790.8703 | 1120857.9726 | 2560783.4523 | 1120859.5883 | 2560780.5613 | 1120860.0432
22 | 2560773.0586 | 1120881.667 | 2560775.6836 | 1120889.1316 | 2560777.1666 | 1120901.3059 | 2560776.5305 | 1120916.1954
23 | 2560765.6656 | 1120866.9298 | 2560768.7016 | 1120872.3684 | 2560773.0586 | 1120881.667
24 | 2560891.1273 | 1120846.0609 | 2560890.5362 | 1120842.9298 | 2560889.0858 | 1120840.5158 | 2560887.2214 | 1120839.683 | 2560884.7907 | 1120839.5542 | 2560874.3721 | 1120841.1892 | 2560855.6753 | 1120845.0123 | 2560841.5507 | 1120848.5168 | 2560835.4123 | 1120849.9907
25 | 2560810.8074 | 1120887.1803 | 2560809.9619 | 1120873.3899 | 2560808.1765 | 1120870.4778 | 2560805.8382 | 1120869.1256 | 2560801.8959 | 1120869.0511 | 2560799.0806 | 1120870.2812 | 2560795.465 | 1120874.1844 | 2560791.6555 | 1120879.1005 | 2560789.0598 | 1120884.4534 | 2560786.617 | 1120891.9509 | 2560784.6581 | 1120901.5241 | 2560783.0008 | 1120910.0058 | 2560781.9188 | 1120914.4373 | 2560780.4084 | 1120915.859 | 2560776.5305 | 1120916.1954
26 | 2560776.5305 | 1120916.1954 | 2560776.4822 | 1120920.6313 | 2560775.6297 | 1120928.3297
27 | 2560765.6656 | 1120866.9298 | 2560754.2941 | 1120876.2306 | 2560751.0428 | 1120894.6389
28 | 2560765.6656 | 1120866.9298 | 2560759.3155 | 1120858.3778 | 2560746.54 | 1120842.764 | 2560741.224 | 1120836.3292
29 | 2560721.0859 | 1120984.0904 | 2560722.7409 | 1120976.4424 | 2560724.7663 | 1120970.0037 | 2560728.3698 | 1120963.0768 | 2560731.993 | 1120959.1734 | 2560736.9648 | 1120957.4402 | 2560742.8039 | 1120957.4022 | 2560756.0642 | 1120958.65 | 2560769.1188 | 1120960.2994 | 2560773.7168 | 1120939.0253 | 2560775.6297 | 1120928.3297
30 | 2560775.6297 | 1120928.3297 | 2560778.6732 | 1120928.988 | 2560779.4625 | 1120928.1825 | 2560781.3714 | 1120926.3581 | 2560785.1886 | 1120923.8097 | 2560790.4329 | 1120921.2633 | 2560797.5068 | 1120921.3174 | 2560803.6385 | 1120921.9518
31 | 2560751.0428 | 1120894.6389 | 2560748.3124 | 1120910.0979 | 2560746.6844 | 1120912.5651
32 | 2560751.0428 | 1120894.6389 | 2560744.5117 | 1120891.4575 | 2560737.4689 | 1120885.5114 | 2560731.427 | 1120880.4703 | 2560726.2888 | 1120875.6124 | 2560725.1669 | 1120871.5287 | 2560724.1317 | 1120866.544 | 2560721.1726 | 1120860.2585
33 | 2560741.224 | 1120836.3292 | 2560728.0508 | 1120820.3839 | 2560720.9651 | 1120810.3688
34 | 2560721.0859 | 1120984.0904 | 2560721.2551 | 1120991.1262 | 2560723.2589 | 1121000.329 | 2560728.0751 | 1121011.4478 | 2560729.0467 | 1121013.7649
35 | 2560721.0859 | 1120984.0904 | 2560708.214 | 1120979.1854
36 | 2560803.6385 | 1120921.9518 | 2560804.7857 | 1120922.0705 | 2560823.3934 | 1120923.5617 | 2560838.7912 | 1120925.3096
37 | 2560734.4256 | 1120931.1433 | 2560746.6844 | 1120912.5651
38 | 2560702.9858 | 1120784.4508 | 2560708.4624 | 1120792.6972 | 2560720.9651 | 1120810.3688
39 | 2560702.9858 | 1120784.4508 | 2560699.1972 | 1120786.6655 | 2560696.7524 | 1120792.6622 | 2560693.752 | 1120802.1977 | 2560693.4836 | 1120803.0397
40 | 2560702.9858 | 1120784.4508 | 2560693.7021 | 1120772.016
41 | 2560689.5395 | 1120872.5175 | 2560685.8694 | 1120863.9472 | 2560685.9101 | 1120860.7119 | 2560686.5734 | 1120855.9719 | 2560687.0065 | 1120841.9174 | 2560687.8015 | 1120828.9612 | 2560688.2462 | 1120822.6329 | 2560689.3591 | 1120817.0228 | 2560691.2196 | 1120810.1405 | 2560693.4836 | 1120803.0397
42 | 2560671.2323 | 1120750.8737 | 2560681.8434 | 1120759.8314 | 2560693.7021 | 1120772.016
43 | 2560632.085 | 1120755.798 | 2560629.2593 | 1120748.3348 | 2560627.5015 | 1120740.2088 | 2560626.6317 | 1120736.9461 | 2560626.6249 | 1120733.5444 | 2560627.708 | 1120729.2907 | 2560632.9918 | 1120731.613 | 2560635.7459 | 1120732.8179 | 2560646.051 | 1120737.4198 | 2560657.1393 | 1120742.6613 | 2560671.2323 | 1120750.8737
44 | 2560671.2323 | 1120750.8737 | 2560673.9499 | 1120746.4871 | 2560674.7848 | 1120743.2022 | 2560674.7607 | 1120739.5005 | 2560673.317 | 1120736.953 | 2560669.0115 | 1120734.4131 | 2560664.842 | 1120731.4499 | 2560661.1066 | 1120727.6278 | 2560657.6471 | 1120723.5149 | 2560658.4736 | 1120718.9517 | 2560661.1619 | 1120714.7987 | 2560664.144 | 1120711.9334 | 2560667.8397 | 1120708.4853 | 2560669.2417 | 1120704.6298
45 | 2560734.4256 | 1120931.1433 | 2560733.5548 | 1120932.4608 | 2560722.8667 | 1120942.4353 | 2560711.7141 | 1120946.2209 | 2560704.2707 | 1120946.2694 | 2560694.3116 | 1120942.6212 | 2560686.7992 | 1120940.3801
46 | 2560734.4256 | 1120931.1433 | 2560730.3509 | 1120930.8586 | 2560726.1549 | 1120932.0865 | 2560720.3589 | 1120932.8245 | 2560716.4566 | 1120932.95 | 2560713.6456 | 1120932.468 | 2560712.7327 | 1120930.8732
47 | 2560669.2417 | 1120704.6298 | 2560667.9389 | 1120701.2254 | 2560664.2024 | 1120698.4039 | 2560660.463 | 1120695.1488 | 2560655.7624 | 1120692.2278
48 | 2560669.2417 | 1120704.6298 | 2560671.1106 | 1120704.9511 | 2560675.2732 | 1120708.0478 | 2560681.4452 | 1120711.7206 | 2560688.1951 | 1120717.6575 | 2560695.7987 | 1120722.0213 | 2560701.2394 | 1120723.5533 | 2560712.4064 | 1120725.4817 | 2560718.276 | 1120727.7224 | 2560729.5753 | 1120734.5635 | 2560731.242 | 1120736.0024
49 | 2560750.5071 | 1120752.6326 | 2560731.242 | 1120736.0024
50 | 2560632.085 | 1120755.798 | 2560634.5995 | 1120764.0302
51 | 2560632.085 | 1120755.798 | 2560627.697 | 1120755.9822 | 2560624.0842 | 1120754.405 | 2560613.0329 | 1120744.4192
52 | 2560634.5995 | 1120764.0302 | 2560636.7612 | 1120773.7655 | 2560637.6386 | 1120784.1095 | 2560639.3879 | 1120789.7566 | 2560641.7251 | 1120795.6443 | 2560644.7559 | 1120800.2714 | 2560646.7477 | 1120805.2498 | 2560648.2356 | 1120812.2103
53 | 2560634.5995 | 1120764.0302 | 2560635.7039 | 1120765.4237 | 2560638.9072 | 1120768.082 | 2560641.422 | 1120770.4017
54 | 2560594.2502 | 1120714.8016 | 2560593.2168 | 1120718.3879 | 2560595.0688 | 1120726.7579 | 2560597.0952 | 1120729.9352 | 2560610.4891 | 1120742.1207 | 2560613.0329 | 1120744.4192
55 | 2560578.8261 | 1120708.3211 | 2560594.2502 | 1120714.8016
56 | 2560548.5982 | 1120694.7005 | 2560566.2397 | 1120702.8783 | 2560578.8261 | 1120708.3211
57 | 2560578.8261 | 1120708.3211 | 2560578.8806 | 1120703.6851 | 2560577.7568 | 1120701.6914 | 2560574.9116 | 1120698.3527 | 2560569.6255 | 1120694.5075 | 2560569.5469 | 1120694.4493
58 | 2560641.422 | 1120770.4017 | 2560644.6035 | 1120773.3364 | 2560652.1493 | 1120779.4904 | 2560658.5732 | 1120787.4971 | 2560663.8425 | 1120793.6018
59 | 2560542.2967 | 1120668.8729 | 2560543.54 | 1120673.8006 | 2560545.1911 | 1120679.7373 | 2560548.8801 | 1120687.0725 | 2560550.3218 | 1120690.4871 | 2560548.5982 | 1120694.7005
60 | 2560522.9986 | 1120716.4566 | 2560522.6495 | 1120706.7206 | 2560520.4581 | 1120696.0072 | 2560517.9729 | 1120684.0285 | 2560518.6232 | 1120682.0121 | 2560519.9257 | 1120679.4801 | 2560522.2599 | 1120676.63 | 2560532.2323 | 1120684.5911 | 2560540.7483 | 1120690.4496 | 2560548.5982 | 1120694.7005
61 | 2560553.6604 | 1120674.9017 | 2560553.2804 | 1120678.1281 | 2560553.6999 | 1120680.949 | 2560554.3244 | 1120683.2572 | 2560556.9713 | 1120685.7634 | 2560560.2165 | 1120687.7544 | 2560563.494 | 1120689.9674 | 2560569.5469 | 1120694.4493
62 | 2560888.6645 | 1120943.3598 | 2560876.7385 | 1120937.3229 | 2560861.9409 | 1120930.9711 | 2560852.3251 | 1120927.9096 | 2560841.0864 | 1120925.5702 | 2560838.7912 | 1120925.3096
63 | 2560938.2171 | 1120940.8823 | 2560935.1061 | 1120934.5658 | 2560929.4064 | 1120926.343 | 2560924.159 | 1120921.2521 | 2560919.8569 | 1120919.2122 | 2560915.1317 | 1120918.5313 | 2560910.7064 | 1120918.9157 | 2560906.0106 | 1120921.5808 | 2560901.7518 | 1120926.233 | 2560896.0888 | 1120934.396 | 2560892.1183 | 1120939.4799 | 2560890.2001 | 1120941.0598 | 2560888.6645 | 1120943.3598
64 | 2560729.0467 | 1121013.7649 | 2560735.7532 | 1121029.6945
65 | 2560729.0467 | 1121013.7649 | 2560713.3359 | 1121015.2456 | 2560709.5988 | 1121015.7363
66 | 2560708.214 | 1120979.1854 | 2560684.7321 | 1120970.2375
67 | 2560692.912 | 1120996.5912 | 2560695.6913 | 1121013.5373 | 2560696.4398 | 1121015.9559 | 2560698.8743 | 1121016.6737 | 2560702.6461 | 1121016.6492 | 2560709.5988 | 1121015.7363
68 | 2560553.6604 | 1120674.9017 | 2560575.0315 | 1120644.6579
69 | 2560522.9986 | 1120716.4566 | 2560530.1488 | 1120719.8894 | 2560537.8393 | 1120724.9609
70 | 2560522.9986 | 1120716.4566 | 2560520.2429 | 1120730.3373
71 | 2560570.5418 | 1120751.755 | 2560554.8958 | 1120737.6479 | 2560541.3826 | 1120727.2976 | 2560537.8393 | 1120724.9609
72 | 2560520.2429 | 1120730.3373 | 2560520.5777 | 1120732.5852
73 | 2560599.9781 | 1120915.1441 | 2560601.7448 | 1120910.4524 | 2560603.73 | 1120907.3379 | 2560606.308 | 1120904.0305 | 2560609.7927 | 1120901.4771
74 | 2560599.7085 | 1120919.9372 | 2560599.9781 | 1120915.1441 | 2560599.9781 | 1120915.1441
75 | 2560599.7085 | 1120919.9372 | 2560596.9229 | 1120923.346 | 2560594.9567 | 1120929.1161
76 | 2560599.7085 | 1120919.9372 | 2560603.3954 | 1120917.5231 | 2560609.9747 | 1120913.8894 | 2560614.1117 | 1120911.6105
77 | 2560595.3098 | 1120950.3703 | 2560593.9538 | 1120943.5312 | 2560593.4113 | 1120937.2427 | 2560594.569 | 1120930.2538 | 2560594.9567 | 1120929.1161
78 | 2560648.9952 | 1120880.2869 | 2560648.7373 | 1120886.7896 | 2560647.5742 | 1120891.7886 | 2560644.1042 | 1120896.7026 | 2560639.2192 | 1120899.9249 | 2560629.1335 | 1120904.0817 | 2560621.3502 | 1120907.6231 | 2560614.1117 | 1120911.6105
79 | 2560595.3098 | 1120950.3703 | 2560594.2243 | 1120950.6998 | 2560576.0879 | 1120961.1235 | 2560571.7882 | 1120967.7216
80 | 2560595.3098 | 1120950.3703 | 2560639.6524 | 1120936.7854 | 2560639.7341 | 1120936.7645
81 | 2560637.5178 | 1120841.6492 | 2560643.8909 | 1120849.8023 | 2560646.6401 | 1120856.1765 | 2560648.684 | 1120863.2446 | 2560649.3299 | 1120870.0216 | 2560649.0818 | 1120878.1051 | 2560648.9952 | 1120880.2869
82 | 2560568.3031 | 1120954.9712 | 2560568.7381 | 1120960.1599 | 2560569.4538 | 1120963.4458 | 2560571.7882 | 1120967.7216
83 | 2560571.7882 | 1120967.7216 | 2560568.3223 | 1120975.6149 | 2560561.5043 | 1120993.4685
84 | 2560686.7992 | 1120940.3801 | 2560674.0003 | 1120936.5615 | 2560661.1595 | 1120934.5885 | 2560651.2192 | 1120933.8307 | 2560639.7341 | 1120936.7645
85 | 2560719.7231 | 1120912.1737 | 2560716.1761 | 1120920.6789 | 2560714.3946 | 1120924.2812 | 2560712.7191 | 1120928.7833 | 2560712.7327 | 1120930.8732
86 | 2560686.7992 | 1120940.3801 | 2560686.2378 | 1120941.8289 | 2560682.0492 | 1120945.3691 | 2560675.2079 | 1120951.4167 | 2560668.2761 | 1120956.5979 | 2560660.052 | 1120962.3099 | 2560657.2408 | 1120966.5304 | 2560656.6198 | 1120968.2909
87 | 2560656.6198 | 1120968.2909 | 2560657.8556 | 1120968.5496 | 2560658.8936 | 1120969.2098 | 2560659.2745 | 1120970.8415 | 2560659.5962 | 1120974.0522 | 2560659.9275 | 1120978.7191 | 2560659.9457 | 1120981.5093 | 2560660.6357 | 1120984.4174 | 2560661.4464 | 1120986.8911 | 2560663.3502 | 1120990.2137 | 2560665.0765 | 1120993.5375 | 2560666.5565 | 1120996.9185
88 | 2560656.6198 | 1120968.2909 | 2560655.2182 | 1120972.202 | 2560655.0854 | 1120977.8613 | 2560657.0529 | 1120989.7656 | 2560658.1434 | 1120998.4963 | 2560659.3428 | 1121010.9171 | 2560659.6382 | 1121017.1739 | 2560659.2503 | 1121023.9465 | 2560658.2597 | 1121029.3557 | 2560657.9881 | 1121030.1966
89 | 2560655.8651 | 1121058.4306 | 2560654.9737 | 1121053.0337 | 2560654.5965 | 1121048.4115 | 2560654.9309 | 1121040.5387 | 2560654.9714 | 1121039.6602 | 2560656.3165 | 1121035.3715 | 2560657.9881 | 1121030.1966
90 | 2560561.5043 | 1120993.4685 | 2560563.6744 | 1120995.0441 | 2560564.6397 | 1120999.9291 | 2560565.1365 | 1121005.1285 | 2560566.9738 | 1121011.253 | 2560569.8767 | 1121015.1916 | 2560574.5773 | 1121019.1963 | 2560577.6296 | 1121021.1996
91 | 2560552.7127 | 1121036.27 | 2560554.7882 | 1121025.7288 | 2560555.5564 | 1121022.889 | 2560556.1401 | 1121020.1394 | 2560560.5866 | 1120995.8758 | 2560561.5043 | 1120993.4685
92 | 2560552.7127 | 1121036.27 | 2560571.8268 | 1121053.9431 | 2560594.7292 | 1121069.1805
93 | 2560552.7127 | 1121036.27 | 2560514.7705 | 1121074.8131
94 | 2560552.7127 | 1121036.27 | 2560545.3344 | 1121028.5698 | 2560537.0166 | 1121017.5741 | 2560530.9622 | 1121010.6213 | 2560526.2446 | 1121005.2049 | 2560525.4456 | 1121004.5209
95 | 2560655.8651 | 1121058.4306 | 2560657.7114 | 1121064.7663 | 2560660.94 | 1121071.3375 | 2560664.5147 | 1121078.9514 | 2560666.7973 | 1121085.9623 | 2560667.6948 | 1121092.3042 | 2560667.9945 | 1121098.0385 | 2560667.7935 | 1121102.0799
96 | 2560655.8651 | 1121058.4306 | 2560657.9047 | 1121058.9176 | 2560659.8703 | 1121061.0725 | 2560662.689 | 1121063.9334 | 2560666.6064 | 1121067.3207 | 2560671.5394 | 1121071.4796 | 2560675.7226 | 1121074.105
97 | 2560521.437 | 1120738.3558 | 2560524.0693 | 1120740.9955 | 2560528.915 | 1120745.9107 | 2560540.7316 | 1120755.1494 | 2560556.0957 | 1120766.6215 | 2560573.5994 | 1120780.8923 | 2560585.4173 | 1120791.5428 | 2560589.5514 | 1120798.2136
98 | 2560521.437 | 1120738.3558 | 2560520.0037 | 1120756.2743
99 | 2560521.437 | 1120738.3558 | 2560520.5777 | 1120732.5852
100 | 2560667.4185 | 1120797.7447 | 2560663.8425 | 1120793.6018
101 | 2560503.2022 | 1120893.5855 | 2560506.3003 | 1120890.1766 | 2560508.1199 | 1120885.3178
102 | 2560489.0917 | 1120852.6145 | 2560489.4172 | 1120856.3698 | 2560493.3888 | 1120862.1134 | 2560497.827 | 1120868.4209 | 2560503.1833 | 1120873.5774 | 2560506.0971 | 1120876.7933 | 2560507.9747 | 1120880.8164 | 2560508.1199 | 1120885.3178 | 2560508.1199 | 1120885.3178
103 | 2560475.2261 | 1120834.3625 | 2560475.4978 | 1120836.9843 | 2560476.0739 | 1120838.9705 | 2560478.8201 | 1120841.3315 | 2560481.3329 | 1120843.3827 | 2560483.8321 | 1120845.7342 | 2560486.7675 | 1120848.7166 | 2560489.0917 | 1120852.6145
104 | 2560475.2261 | 1120834.3625 | 2560501.6001 | 1120847.3522 | 2560503.6064 | 1120848.4932
105 | 2560523.5045 | 1120861.0382 | 2560516.2105 | 1120855.6609 | 2560503.6064 | 1120848.4932
106 | 2560498.08 | 1120972.2311 | 2560497.4997 | 1120962.2154 | 2560496.7063 | 1120956.4843 | 2560495.3793 | 1120954.0917 | 2560492.1354 | 1120952.2898
107 | 2560498.08 | 1120972.2311 | 2560498.1519 | 1120973.4724 | 2560498.7069 | 1120982.8291 | 2560500.6141 | 1120989.0198 | 2560502.4851 | 1120991.9568
108 | 2560514.7461 | 1121005.6025 | 2560503.6536 | 1120993.7912 | 2560502.4851 | 1120991.9568
109 | 2560525.4456 | 1121004.5209 | 2560523.291 | 1121006.5026 | 2560514.7461 | 1121005.6025
110 | 2560514.7461 | 1121005.6025 | 2560512.3606 | 1121005.3068 | 2560509.414 | 1121005.315 | 2560505.448 | 1121006.3081 | 2560500.3532 | 1121009.0669
111 | 2560525.4456 | 1121004.5209 | 2560517.9988 | 1120998.1552 | 2560512.1031 | 1120992.4765
112 | 2560540.0315 | 1120904.1188 | 2560539.8391 | 1120908.9114 | 2560539.214 | 1120914.7629 | 2560537.9819 | 1120922.1636 | 2560535.9979 | 1120930.1918 | 2560532.8573 | 1120935.9152 | 2560528.3519 | 1120941.7365 | 2560519.282 | 1120952.568 | 2560509.8843 | 1120965.1914 | 2560506.8799 | 1120972.8594 | 2560505.87 | 1120977.6685 | 2560506.0694 | 1120982.2028 | 2560509.1029 | 1120989.5868 | 2560512.1031 | 1120992.4765
113 | 2560594.7292 | 1121069.1805 | 2560602.2891 | 1121074.2102 | 2560605.1402 | 1121076.1259 | 2560607.3825 | 1121078.1345 | 2560607.3825 | 1121078.1345
114 | 2560514.7705 | 1121074.8131 | 2560525.545 | 1121081.0592 | 2560528.7697 | 1121086.3683
115 | 2560554.2656 | 1120890.2854 | 2560549.8207 | 1120895.9173 | 2560545.8059 | 1120900.079 | 2560542.2784 | 1120903.2703 | 2560540.0315 | 1120904.1188
116 | 2560523.5045 | 1120861.0382 | 2560528.1288 | 1120865.1545 | 2560532.3496 | 1120870.0627 | 2560535.4162 | 1120875.4343 | 2560537.783 | 1120883.4896 | 2560539.1755 | 1120892.3628 | 2560539.9341 | 1120899.8395 | 2560540.0315 | 1120904.1188
117 | 2560523.5045 | 1120861.0382 | 2560525.0385 | 1120857.3485 | 2560525.7673 | 1120854.3755 | 2560526.2364 | 1120850.6039 | 2560526.2919 | 1120847.8038
118 | 2560515.5323 | 1120833.3428 | 2560521.3022 | 1120839.2303 | 2560524.5097 | 1120842.5444 | 2560525.706 | 1120845.0045 | 2560526.2944 | 1120847.6798 | 2560526.2919 | 1120847.8038
119 | 2560609.0578 | 1121081.9033 | 2560607.3825 | 1121078.1345
120 | 2560609.0578 | 1121081.9033 | 2560617.398 | 1121089.2748 | 2560628.1333 | 1121107.881 | 2560631.7018 | 1121118.0852 | 2560633.7374 | 1121126.2538
121 | 2560609.0578 | 1121081.9033 | 2560611.5195 | 1121095.0606 | 2560611.5264 | 1121103.525
122 | 2560633.7374 | 1121126.2538 | 2560631.5355 | 1121128.0691 | 2560630.5237 | 1121130.2324 | 2560629.735 | 1121133.4836 | 2560628.3335 | 1121138.5731 | 2560627.4462 | 1121143.2702
123 | 2560627.4462 | 1121143.2702 | 2560567.8879 | 1121157.3021
124 | 2560745.9834 | 1121067.9379 | 2560746.194 | 1121069.4818 | 2560744.3007 | 1121077.2536 | 2560743.9056 | 1121079.1201
125 | 2560675.7226 | 1121074.105 | 2560679.9894 | 1121076.7828 | 2560685.7785 | 1121080.9362 | 2560689.3817 | 1121084.6368 | 2560691.0998 | 1121088.3722
126 | 2560743.1931 | 1121082.4857 | 2560743.9056 | 1121079.1201
127 | 2560743.1931 | 1121082.4857 | 2560740.4097 | 1121095.7105 | 2560735.1485 | 1121122.8408
128 | 2560743.1931 | 1121082.4857 | 2560734.8187 | 1121082.8737 | 2560733.5785 | 1121075.85
129 | 2560731.7903 | 1121139.4612 | 2560732.7599 | 1121135.1581 | 2560735.1485 | 1121122.8408
130 | 2560728.7901 | 1121152.7756 | 2560731.7903 | 1121139.4612
131 | 2560775.9547 | 1121131.664 | 2560773.6076 | 1121139.4282 | 2560773.9574 | 1121142.2162
132 | 2560785.3971 | 1121161.3072 | 2560781.507 | 1121153.7953 | 2560777.9265 | 1121146.4482 | 2560776.6003 | 1121144.1556 | 2560773.9574 | 1121142.2162

## bus_geodata
| x | y | coords
0 | 2560823.3898 | 1121074.1406
1 | 2560854.5053 | 1121101.0704
2 | 2560807.3244 | 1121083.7587
3 | 2560919.5201 | 1121113.8136
4 | 2560821.4254 | 1121117.1286
5 | 2560776.8912 | 1121033.4195
6 | 2560838.9253 | 1121015.7412
7 | 2560818.2511 | 1121022.6233
8 | 2560933.0731 | 1121112.6586
9 | 2560907.4085 | 1121166.0074
10 | 2561016.2148 | 1121091.0605
11 | 2561012.1767 | 1121114.5406
12 | 2560994.2544 | 1121177.9297
13 | 2560808.743 | 1121133.5526
14 | 2560826.5278 | 1121142.6641
15 | 2560751.491 | 1121037.8766
16 | 2560796.5501 | 1121158.4623
17 | 2560739.4856 | 1121040.2105
18 | 2560780.5613 | 1120860.0432
19 | 2560773.0586 | 1120881.667
20 | 2560835.4123 | 1120849.9907
21 | 2560776.5305 | 1120916.1954
22 | 2560765.6656 | 1120866.9298
23 | 2560891.1273 | 1120846.0609
24 | 2560810.8074 | 1120887.1803
25 | 2560775.6297 | 1120928.3297
26 | 2560751.0428 | 1120894.6389
27 | 2560741.224 | 1120836.3292
28 | 2560721.0859 | 1120984.0904
29 | 2560803.6385 | 1120921.9518
30 | 2560746.6844 | 1120912.5651
31 | 2560721.1726 | 1120860.2585
32 | 2560720.9651 | 1120810.3688
33 | 2560702.9858 | 1120784.4508
34 | 2560693.4836 | 1120803.0397
35 | 2560693.7021 | 1120772.016
36 | 2560689.5395 | 1120872.5175
37 | 2560671.2323 | 1120750.8737
38 | 2560734.4256 | 1120931.1433
39 | 2560655.7624 | 1120692.2278
40 | 2560669.2417 | 1120704.6298
41 | 2560731.242 | 1120736.0024
42 | 2560632.085 | 1120755.798
43 | 2560750.5071 | 1120752.6326
44 | 2560634.5995 | 1120764.0302
45 | 2560613.0329 | 1120744.4192
46 | 2560594.2502 | 1120714.8016
47 | 2560578.8261 | 1120708.3211
48 | 2560648.2356 | 1120812.2103
49 | 2560641.422 | 1120770.4017
50 | 2560548.5982 | 1120694.7005
51 | 2560569.5469 | 1120694.4493
52 | 2560838.7912 | 1120925.3096
53 | 2560888.6645 | 1120943.3598
54 | 2560938.2171 | 1120940.8823
55 | 2560729.0467 | 1121013.7649
56 | 2560708.214 | 1120979.1854
57 | 2560735.7532 | 1121029.6945
58 | 2560709.5988 | 1121015.7363
59 | 2560684.7321 | 1120970.2375
60 | 2560553.6604 | 1120674.9017
61 | 2560575.0315 | 1120644.6579
62 | 2560542.2967 | 1120668.8729
63 | 2560522.9986 | 1120716.4566
64 | 2560537.8393 | 1120724.9609
65 | 2560520.2429 | 1120730.3373
66 | 2560599.9781 | 1120915.1441
67 | 2560609.7927 | 1120901.4771
68 | 2560599.7085 | 1120919.9372
69 | 2560594.9567 | 1120929.1161
70 | 2560614.1117 | 1120911.6105
71 | 2560595.3098 | 1120950.3703
72 | 2560648.9952 | 1120880.2869
73 | 2560571.7882 | 1120967.7216
74 | 2560639.7341 | 1120936.7645
75 | 2560637.5178 | 1120841.6492
76 | 2560712.7327 | 1120930.8732
77 | 2560719.7231 | 1120912.1737
78 | 2560686.7992 | 1120940.3801
79 | 2560656.6198 | 1120968.2909
80 | 2560666.5565 | 1120996.9185
81 | 2560657.9881 | 1121030.1966
82 | 2560568.3031 | 1120954.9712
83 | 2560561.5043 | 1120993.4685
84 | 2560577.6296 | 1121021.1996
85 | 2560552.7127 | 1121036.27
86 | 2560655.8651 | 1121058.4306
87 | 2560589.5514 | 1120798.2136
88 | 2560521.437 | 1120738.3558
89 | 2560520.0037 | 1120756.2743
90 | 2560520.5777 | 1120732.5852
91 | 2560663.8425 | 1120793.6018
92 | 2560570.5418 | 1120751.755
93 | 2560667.4185 | 1120797.7447
94 | 2560503.2022 | 1120893.5855
95 | 2560508.1199 | 1120885.3178
96 | 2560489.0917 | 1120852.6145
97 | 2560475.2261 | 1120834.3625
98 | 2560503.6064 | 1120848.4932
99 | 2560498.08 | 1120972.2311
100 | 2560492.1354 | 1120952.2898
101 | 2560502.4851 | 1120991.9568
102 | 2560514.7461 | 1121005.6025
103 | 2560525.4456 | 1121004.5209
104 | 2560500.3532 | 1121009.0669
105 | 2560512.1031 | 1120992.4765
106 | 2560594.7292 | 1121069.1805
107 | 2560514.7705 | 1121074.8131
108 | 2560540.0315 | 1120904.1188
109 | 2560523.5045 | 1120861.0382
110 | 2560554.2656 | 1120890.2854
111 | 2560526.2919 | 1120847.8038
112 | 2560607.3825 | 1121078.1345
113 | 2560528.7697 | 1121086.3683
114 | 2560515.5323 | 1120833.3428
115 | 2560609.0578 | 1121081.9033
116 | 2560633.7374 | 1121126.2538
117 | 2560611.5264 | 1121103.525
118 | 2560627.4462 | 1121143.2702
119 | 2560567.8879 | 1121157.3021
120 | 2560692.912 | 1120996.5912
121 | 2560745.9834 | 1121067.9379
122 | 2560667.7935 | 1121102.0799
123 | 2560675.7226 | 1121074.105
124 | 2560691.0998 | 1121088.3722
125 | 2560743.9056 | 1121079.1201
126 | 2560743.1931 | 1121082.4857
127 | 2560733.5785 | 1121075.85
128 | 2560735.1485 | 1121122.8408
129 | 2560731.7903 | 1121139.4612
130 | 2560728.7901 | 1121152.7756
131 | 2560775.9547 | 1121131.664
132 | 2560773.9574 | 1121142.2162
133 | 2560785.3971 | 1121161.3072
134 | 2560656.6198 | 1120968.2909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1