## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6248-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6248-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6248-10_0_4_node_23 | 0.4 | n |  | TRUE
3 | bus_LV_6248-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6248-10_0_4_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_6248-10_0_4_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_6248-10_0_4_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_6248-10_0_4_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_6248-10_0_4_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_6248-10_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6248-10_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_6248-10_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_6248-10_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6248-10_0_4_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_6248-10_0_4_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_6248-10_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6248-10_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_6248-10_0_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6248-10_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6248-10_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6248-10_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_6248-10_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_6248-10_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_6248-10_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6248-10_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6248-10_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_6248-10_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6248-10_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_6248-10_0_4_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_6248-10_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_6248-10_0_4_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_6248-10_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_6248-10_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_6248-10_0_4_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_6248-10_0_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_6248-10_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_6248-10_0_4_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_6248-10_0_4_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_6248-10_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_6248-10_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_6248-10_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6248-10_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_6248-10_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6248-10_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6248-10_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6248-10_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6248-10_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_6248-10_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6248-10_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6248-10_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6248-10_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_6248-10_0_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_6248-10_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_6248-10_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_6248-10_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_6248-10_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_6248-10_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_MV_115_0_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6248-10_0_4_load_0 | 0 | 0.040598 | 0.010175 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6248-10_0_4_load_23 | 2 | 0.018836 | 0.0047207 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6248-10_0_4_load_43 | 6 | 0.007554 | 0.0018932 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6248-10_0_4_load_60 | 8 | 0.0039857 | 0.00099892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6248-10_0_4_load_29 | 11 | 0.046633 | 0.011687 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6248-10_0_4_load_48 | 13 | 0.010879 | 0.0027266 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6248-10_0_4_load_28 | 16 | 0.032802 | 0.0082209 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6248-10_0_4_load_26 | 17 | 0.053608 | 0.013436 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6248-10_0_4_load_20 | 19 | 0.0095702 | 0.0023985 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6248-10_0_4_load_30 | 20 | 0.0056529 | 0.0014167 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6248-10_0_4_load_31 | 21 | 0.011517 | 0.0028865 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6248-10_0_4_load_15 | 24 | 0.012571 | 0.0031507 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6248-10_0_4_load_22 | 26 | 0.0023801 | 0.0005965 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6248-10_0_4_load_21 | 27 | 0.0038071 | 0.00095416 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6248-10_0_4_load_27 | 29 | 0.0082233 | 0.0020609 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6248-10_0_4_load_58 | 30 | 0.0049825 | 0.0012487 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6248-10_0_4_load_42 | 31 | 0.003654 | 0.00091578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6248-10_0_4_load_46 | 32 | 0.011198 | 0.0028064 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6248-10_0_4_load_52 | 33 | 0.013712 | 0.0034365 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6248-10_0_4_load_49 | 34 | 0.0063058 | 0.0015804 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6248-10_0_4_load_32 | 35 | 0.011723 | 0.002938 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6248-10_0_4_load_16 | 36 | 0.0049026 | 0.0012287 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6248-10_0_4_load_17 | 37 | 0.0063089 | 0.0015812 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6248-10_0_4_load_19 | 38 | 0.0042939 | 0.0010761 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6248-10_0_4_load_34 | 40 | 0.0052644 | 0.0013194 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6248-10_0_4_load_35 | 41 | 0.0098416 | 0.0024665 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6248-10_0_4_load_37 | 42 | 0.0063746 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6248-10_0_4_load_36 | 43 | 0.0092575 | 0.0023202 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6248-10_0_4_load_38 | 44 | 0.003079 | 0.00077168 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6248-10_0_4_load_39 | 45 | 0.0083224 | 0.0020858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6248-10_0_4_load_45 | 47 | 0.0017748 | 0.0004448 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6248-10_0_4_load_47 | 48 | 0.0036018 | 0.0009027 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6248-10_0_4_load_44 | 49 | 0.0040931 | 0.0010258 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6248-10_0_4_load_59 | 51 | 0.0047176 | 0.0011823 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6248-10_0_4_load_57 | 54 | 0.0027362 | 0.00068577 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6248-10_0_4_load_53 | 55 | 0.0097828 | 0.0024518 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6248-10_0_4_load_55 | 56 | 0.0051485 | 0.0012903 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6248-10_0_4_line_0 |  | 0 | 1 | 0.038995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6248-10_0_4_line_1 |  | 0 | 2 | 0.1372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6248-10_0_4_line_2 |  | 1 | 3 | 0.28017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6248-10_0_4_line_3 |  | 2 | 4 | 0.085794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6248-10_0_4_line_4 |  | 3 | 8 | 0.053297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6248-10_0_4_line_5 |  | 4 | 26 | 0.15193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6248-10_0_4_line_6 |  | 5 | 6 | 0.021562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6248-10_0_4_line_7 |  | 5 | 7 | 0.026841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6248-10_0_4_line_8 |  | 6 | 30 | 0.0056846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6248-10_0_4_line_9 |  | 7 | 31 | 0.016018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6248-10_0_4_line_10 |  | 9 | 10 | 0.0073893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6248-10_0_4_line_11 |  | 9 | 11 | 0.0089501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6248-10_0_4_line_12 |  | 10 | 29 | 0.0033876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6248-10_0_4_line_13 |  | 10 | 17 | 0.040124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6248-10_0_4_line_14 |  | 12 | 13 | 0.016925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6248-10_0_4_line_15 |  | 12 | 14 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6248-10_0_4_line_16 |  | 13 | 32 | 0.034754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6248-10_0_4_line_17 |  | 14 | 33 | 0.024628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6248-10_0_4_line_18 |  | 14 | 34 | 0.039675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6248-10_0_4_line_19 |  | 15 | 16 | 0.00685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6248-10_0_4_line_20 |  | 15 | 17 | 0.034184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6248-10_0_4_line_21 |  | 18 | 19 | 0.0086622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6248-10_0_4_line_22 |  | 18 | 20 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6248-10_0_4_line_23 |  | 18 | 21 | 0.0096541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6248-10_0_4_line_24 |  | 20 | 28 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6248-10_0_4_line_25 |  | 21 | 35 | 0.014109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6248-10_0_4_line_26 |  | 22 | 23 | 0.024501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6248-10_0_4_line_27 |  | 22 | 24 | 0.011284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6248-10_0_4_line_28 |  | 23 | 27 | 0.034138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6248-10_0_4_line_29 |  | 24 | 36 | 0.029331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6248-10_0_4_line_30 |  | 25 | 26 | 0.070964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6248-10_0_4_line_31 |  | 25 | 27 | 0.042984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6248-10_0_4_line_32 |  | 28 | 29 | 0.027559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6248-10_0_4_line_33 |  | 30 | 51 | 0.0091966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6248-10_0_4_line_34 |  | 31 | 49 | 0.024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6248-10_0_4_line_35 |  | 32 | 46 | 0.0088343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6248-10_0_4_line_36 |  | 34 | 53 | 0.013671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6248-10_0_4_line_37 |  | 35 | 39 | 0.0023086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6248-10_0_4_line_38 |  | 36 | 37 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6248-10_0_4_line_39 |  | 37 | 38 | 0.017521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6248-10_0_4_line_40 |  | 38 | 39 | 0.0083525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6248-10_0_4_line_41 |  | 39 | 40 | 0.006406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6248-10_0_4_line_42 |  | 40 | 41 | 0.0014399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6248-10_0_4_line_43 |  | 41 | 42 | 0.011638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6248-10_0_4_line_44 |  | 42 | 43 | 0.0010351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6248-10_0_4_line_45 |  | 43 | 44 | 0.012322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6248-10_0_4_line_46 |  | 44 | 45 | 0.0035574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6248-10_0_4_line_47 |  | 45 | 46 | 0.038172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6248-10_0_4_line_48 |  | 46 | 47 | 0.043559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6248-10_0_4_line_49 |  | 47 | 48 | 0.0037795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6248-10_0_4_line_50 |  | 49 | 50 | 0.012045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6248-10_0_4_line_51 |  | 50 | 52 | 0.008668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6248-10_0_4_line_52 |  | 50 | 53 | 0.04434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6248-10_0_4_line_53 |  | 52 | 54 | 0.014503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6248-10_0_4_line_54 |  | 53 | 55 | 0.01971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6248-10_0_4_line_55 |  | 55 | 56 | 0.00095767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6248-10_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 57 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2605426.5304 | 1125440.5664 | 2605397.2921 | 1125414.7643
1 | 2605397.2921 | 1125414.7643 | 2605495.8541 | 1125319.3172
2 | 2605426.5304 | 1125440.5664 | 2605488.0314 | 1125499.3388 | 2605501.9816 | 1125517.1711 | 2605500.4001 | 1125518.7149 | 2605483.1031 | 1125537.1973 | 2605480.6437 | 1125538.0177 | 2605498.6755 | 1125593.8389 | 2605501.729 | 1125601.0006 | 2605499.5237 | 1125602.0881 | 2605500.907 | 1125606.5582 | 2605501.4828 | 1125609.1155 | 2605501.6576 | 1125611.817 | 2605501.5086 | 1125614.696 | 2605501.2443 | 1125617.1192 | 2605500.6405 | 1125620.0534 | 2605499.8826 | 1125622.9319 | 2605498.9319 | 1125625.888 | 2605494.4109 | 1125639.4462 | 2605491.4203 | 1125648.1477 | 2605483.7835 | 1125672.5194
3 | 2605430.2709 | 1125264.0726 | 2605457.3379 | 1125285.118 | 2605494.7299 | 1125318.3232 | 2605495.8541 | 1125319.3172
4 | 2605483.7835 | 1125672.5194 | 2605432.7555 | 1125657.135
5 | 2605311.15 | 1125358.3789 | 2605430.2709 | 1125264.0726
6 | 2605382.4824 | 1125447.4976 | 2605386.88 | 1125468.606
7 | 2605359.5103 | 1125433.5262 | 2605369.7096 | 1125440.0495 | 2605381.2652 | 1125446.8963 | 2605382.4824 | 1125447.4976
8 | 2605386.88 | 1125468.606 | 2605388.0393 | 1125474.1711 | 2605388.0393 | 1125474.1711
9 | 2605359.5103 | 1125433.5262 | 2605354.6285 | 1125436.7346 | 2605345.6185 | 1125441.4655
10 | 2605134.6688 | 1125497.7762 | 2605137.6622 | 1125494.3882 | 2605139.5677 | 1125492.2443
11 | 2605134.6688 | 1125497.7762 | 2605127.9664 | 1125491.8446
12 | 2605139.5677 | 1125492.2443 | 2605136.9845 | 1125490.0528
13 | 2605139.5677 | 1125492.2443 | 2605152.8313 | 1125502.994 | 2605159.9307 | 1125502.144 | 2605172.4139 | 1125511.9941
14 | 2605274.3478 | 1125549.8646 | 2605261.0757 | 1125539.3625
15 | 2605274.3478 | 1125549.8646 | 2605287.7445 | 1125530.9003
16 | 2605261.0757 | 1125539.3625 | 2605237.6692 | 1125520.8413 | 2605234.0868 | 1125517.4896
17 | 2605287.7445 | 1125530.9003 | 2605269.4874 | 1125519.5123 | 2605271.1252 | 1125516.8686
18 | 2605287.7445 | 1125530.9003 | 2605300.8503 | 1125509.7791 | 2605303.4818 | 1125506.0351 | 2605306.6143 | 1125502.336 | 2605311.2798 | 1125499.6276
19 | 2605195.503 | 1125536.6464 | 2605200.7426 | 1125541.0587
20 | 2605195.503 | 1125536.6464 | 2605186.2193 | 1125522.8874 | 2605172.4139 | 1125511.9941
21 | 2605150.596 | 1125448.0208 | 2605152.3398 | 1125445.8101 | 2605156.037 | 1125441.2811
22 | 2605150.596 | 1125448.0208 | 2605148.482 | 1125450.4981 | 2605144.2235 | 1125455.1412 | 2605140.2271 | 1125459.6956
23 | 2605150.596 | 1125448.0208 | 2605158.5404 | 1125453.5061
24 | 2605133.1297 | 1125467.1822 | 2605136.231 | 1125463.861 | 2605140.2271 | 1125459.6956
25 | 2605170.1751 | 1125461.4869 | 2605161.7349 | 1125455.7117 | 2605158.5404 | 1125453.5061
26 | 2605211.8778 | 1125377.994 | 2605200.5273 | 1125392.5693 | 2605199.7629 | 1125394.0583 | 2605199.5064 | 1125396.6037 | 2605200.754 | 1125397.8943
27 | 2605200.754 | 1125397.8943 | 2605203.2277 | 1125398.4411 | 2605205.4384 | 1125400.0994 | 2605206.6393 | 1125401.9568 | 2605207.2536 | 1125404.6253 | 2605207.1739 | 1125405.6595
28 | 2605211.8778 | 1125377.994 | 2605223.1049 | 1125363.5855 | 2605225.3423 | 1125361.1306 | 2605227.9725 | 1125358.8651 | 2605230.6552 | 1125358.5117 | 2605237.0145 | 1125358.0947
29 | 2605207.1739 | 1125405.6595 | 2605206.9419 | 1125408.6715 | 2605205.8113 | 1125414.8513 | 2605203.5113 | 1125418.4733 | 2605201.4895 | 1125421.2396 | 2605198.311 | 1125424.7498 | 2605193.2445 | 1125430.3814
30 | 2605251.4992 | 1125320.0774 | 2605280.6898 | 1125336.8773 | 2605311.15 | 1125358.3789
31 | 2605251.4992 | 1125320.0774 | 2605236.4271 | 1125341.9529 | 2605235.3979 | 1125346.6988 | 2605235.5784 | 1125351.8682 | 2605237.0145 | 1125358.0947
32 | 2605133.1297 | 1125467.1822 | 2605130.414 | 1125470.3037 | 2605129.2562 | 1125472.3482 | 2605128.5526 | 1125474.9377 | 2605128.3957 | 1125478.217 | 2605128.9714 | 1125481.0744 | 2605129.7869 | 1125482.8537 | 2605131.8117 | 1125485.5678 | 2605134.2687 | 1125487.7487 | 2605136.9845 | 1125490.0528
33 | 2605384.3477 | 1125482.5942 | 2605388.0393 | 1125474.1711
34 | 2605322.8947 | 1125450.0309 | 2605333.3931 | 1125446.3653 | 2605343.4472 | 1125442.6055 | 2605345.6185 | 1125441.4655
35 | 2605228.3207 | 1125510.8395 | 2605231.485 | 1125515.0554 | 2605234.0868 | 1125517.4896
36 | 2605323.8858 | 1125494.9362 | 2605323.253 | 1125495.8584 | 2605311.2798 | 1125499.6276
37 | 2605172.0803 | 1125462.7906 | 2605170.1751 | 1125461.4869
38 | 2605185.1469 | 1125440.6436 | 2605189.5467 | 1125434.4915 | 2605193.2445 | 1125430.3814
39 | 2605185.1469 | 1125440.6436 | 2605184.1835 | 1125441.9907 | 2605180.1004 | 1125448.835 | 2605177.8137 | 1125454.9916 | 2605177.0276 | 1125456.0609
40 | 2605172.0803 | 1125462.7906 | 2605177.0276 | 1125456.0609
41 | 2605172.0803 | 1125462.7906 | 2605177.2799 | 1125466.5323
42 | 2605178.4313 | 1125467.3961 | 2605178.0347 | 1125467.0755 | 2605177.2799 | 1125466.5323
43 | 2605178.4313 | 1125467.3961 | 2605186.8848 | 1125474.2309 | 2605187.5452 | 1125474.6212
44 | 2605188.4364 | 1125475.1478 | 2605187.5452 | 1125474.6212
45 | 2605188.4364 | 1125475.1478 | 2605199.0446 | 1125481.4164
46 | 2605199.0446 | 1125481.4164 | 2605201.2215 | 1125482.7027 | 2605202.0232 | 1125483.3477
47 | 2605228.3207 | 1125510.8395 | 2605225.3565 | 1125507.0796 | 2605210.1563 | 1125489.8916 | 2605202.0232 | 1125483.3477
48 | 2605228.3207 | 1125510.8395 | 2605231.0051 | 1125508.3739 | 2605235.1879 | 1125502.2301 | 2605248.8729 | 1125479.6085 | 2605252.1099 | 1125474.5064
49 | 2605254.1346 | 1125471.315 | 2605252.1099 | 1125474.5064
50 | 2605311.2892 | 1125453.2494 | 2605322.468 | 1125450.1798 | 2605322.8947 | 1125450.0309
51 | 2605302.6557 | 1125454.2647 | 2605311.2892 | 1125453.2494
52 | 2605311.2892 | 1125453.2494 | 2605324.5369 | 1125490.7681 | 2605324.9971 | 1125493.3253 | 2605323.8858 | 1125494.9362
53 | 2605302.6557 | 1125454.2647 | 2605302.7544 | 1125455.9767 | 2605302.2289 | 1125457.5993 | 2605296.8174 | 1125467.2771
54 | 2605323.8858 | 1125494.9362 | 2605325.8032 | 1125497.0723 | 2605327.7289 | 1125498.4079 | 2605330.9039 | 1125499.1222 | 2605333.7944 | 1125498.9246 | 2605336.4773 | 1125498.171 | 2605341.6534 | 1125496.1462
55 | 2605341.6534 | 1125496.1462 | 2605342.5453 | 1125495.7973

## bus_geodata
| x | y | coords
0 | 2605397.2921 | 1125414.7642
1 | 2605426.5304 | 1125440.5664
2 | 2605495.8541 | 1125319.3172
3 | 2605483.7835 | 1125672.5194
4 | 2605430.2709 | 1125264.0726
5 | 2605382.4824 | 1125447.4976
6 | 2605386.88 | 1125468.606
7 | 2605359.5103 | 1125433.5262
8 | 2605432.7555 | 1125657.135
9 | 2605134.6688 | 1125497.7762
10 | 2605139.5677 | 1125492.2443
11 | 2605127.9664 | 1125491.8446
12 | 2605274.3478 | 1125549.8646
13 | 2605261.0757 | 1125539.3625
14 | 2605287.7445 | 1125530.9003
15 | 2605195.503 | 1125536.6464
16 | 2605200.7426 | 1125541.0587
17 | 2605172.4139 | 1125511.9941
18 | 2605150.596 | 1125448.0208
19 | 2605156.037 | 1125441.2811
20 | 2605140.2271 | 1125459.6956
21 | 2605158.5404 | 1125453.5061
22 | 2605200.754 | 1125397.8943
23 | 2605211.8778 | 1125377.994
24 | 2605207.1739 | 1125405.6595
25 | 2605251.4992 | 1125320.0774
26 | 2605311.15 | 1125358.3789
27 | 2605237.0145 | 1125358.0947
28 | 2605133.1297 | 1125467.1822
29 | 2605136.9845 | 1125490.0528
30 | 2605388.0393 | 1125474.1711
31 | 2605345.6185 | 1125441.4655
32 | 2605234.0868 | 1125517.4896
33 | 2605271.1252 | 1125516.8686
34 | 2605311.2798 | 1125499.6276
35 | 2605170.1751 | 1125461.4869
36 | 2605193.2445 | 1125430.3814
37 | 2605185.1469 | 1125440.6436
38 | 2605177.0276 | 1125456.0609
39 | 2605172.0803 | 1125462.7906
40 | 2605177.2799 | 1125466.5323
41 | 2605178.4313 | 1125467.3961
42 | 2605187.5452 | 1125474.6212
43 | 2605188.4364 | 1125475.1478
44 | 2605199.0446 | 1125481.4164
45 | 2605202.0232 | 1125483.3477
46 | 2605228.3207 | 1125510.8395
47 | 2605252.1098 | 1125474.5064
48 | 2605254.1346 | 1125471.315
49 | 2605322.8947 | 1125450.0309
50 | 2605311.2892 | 1125453.2494
51 | 2605384.3477 | 1125482.5942
52 | 2605302.6557 | 1125454.2647
53 | 2605323.8858 | 1125494.9362
54 | 2605296.8174 | 1125467.2771
55 | 2605341.6534 | 1125496.1462
56 | 2605342.5453 | 1125495.7973
57 | 2605228.3207 | 1125510.8395

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1