## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6248-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6248-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6248-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6248-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6248-17_0_4_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_6248-17_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_6248-17_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6248-17_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6248-17_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6248-17_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6248-17_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6248-17_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6248-17_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6248-17_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6248-17_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6248-17_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_6248-17_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_6248-17_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6248-17_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6248-17_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6248-17_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_6248-17_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_6248-17_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6248-17_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6248-17_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6248-17_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6248-17_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6248-17_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6248-17_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_6248-17_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_6248-17_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_6248-17_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6248-17_0_4_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_6248-17_0_4_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_6248-17_0_4_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_6248-17_0_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_6248-17_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6248-17_0_4_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_6248-17_0_4_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_6248-17_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_6248-17_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_6248-17_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6248-17_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6248-17_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_6248-17_0_4_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_6248-17_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6248-17_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_6248-17_0_4_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_6248-17_0_4_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_6248-17_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6248-17_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_6248-17_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6248-17_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6248-17_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_6248-17_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6248-17_0_4_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_6248-17_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6248-17_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6248-17_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_6248-17_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_6248-17_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_6248-17_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6248-17_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_6248-17_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_6248-17_0_4_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_6248-17_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6248-17_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_6248-17_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_6248-17_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_6248-17_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6248-17_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6248-17_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_6248-17_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_6248-17_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_6248-17_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_6248-17_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_6248-17_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_6248-17_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6248-17_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_6248-17_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_6248-17_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_6248-17_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_6248-17_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_6248-17_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_6248-17_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_6248-17_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_MV_113_1_node_235 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6248-17_0_4_load_0 | 0 | 0.0054874 | 0.0013753 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6248-17_0_4_load_1 | 1 | 0.0017007 | 0.00042625 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6248-17_0_4_load_3 | 3 | 0.0063092 | 0.0015812 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6248-17_0_4_load_33 | 4 | 0.0059321 | 0.0014867 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6248-17_0_4_load_32 | 5 | 0.00090402 | 0.00022657 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6248-17_0_4_load_4 | 7 | 0.0057009 | 0.0014288 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6248-17_0_4_load_5 | 8 | 0.0089164 | 0.0022347 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6248-17_0_4_load_7 | 9 | 0.0055031 | 0.0013792 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6248-17_0_4_load_8 | 10 | 0.0088579 | 0.00222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6248-17_0_4_load_9 | 11 | 0.001079 | 0.00027043 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6248-17_0_4_load_10 | 12 | 0.0013891 | 0.00034815 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6248-17_0_4_load_11 | 13 | 0.0016904 | 0.00042365 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6248-17_0_4_load_12 | 14 | 0.0014171 | 0.00035515 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6248-17_0_4_load_21 | 15 | 0.0061966 | 0.001553 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6248-17_0_4_load_13 | 17 | 0.0010427 | 0.00026132 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6248-17_0_4_load_14 | 18 | 0.0068313 | 0.0017121 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6248-17_0_4_load_31 | 20 | 0.00046591 | 0.00011677 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6248-17_0_4_load_20 | 21 | 0.00080244 | 0.00020111 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6248-17_0_4_load_18 | 22 | 0.0052522 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6248-17_0_4_load_16 | 23 | 0.0073439 | 0.0018406 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6248-17_0_4_load_17 | 24 | 0.0079987 | 0.0020047 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6248-17_0_4_load_23 | 27 | 0.0092367 | 0.0023149 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6248-17_0_4_load_30 | 29 | 0.0056766 | 0.0014227 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6248-17_0_4_load_26 | 30 | 0.0070933 | 0.0017777 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6248-17_0_4_load_68 | 32 | 0.0094625 | 0.0023715 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6248-17_0_4_load_69 | 33 | 0.0061162 | 0.0015329 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6248-17_0_4_load_67 | 34 | 0.0063476 | 0.0015908 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6248-17_0_4_load_48 | 37 | 0.0069131 | 0.0017326 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6248-17_0_4_load_27 | 39 | 0.010813 | 0.0027101 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6248-17_0_4_load_28 | 40 | 0.0041965 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6248-17_0_4_load_36 | 41 | 0.001073 | 0.00026891 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6248-17_0_4_load_35 | 42 | 0.0040607 | 0.0010177 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6248-17_0_4_load_70 | 43 | 0.0075985 | 0.0019044 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6248-17_0_4_load_85 | 44 | 0.0027762 | 0.00069579 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6248-17_0_4_load_49 | 46 | 0.0046273 | 0.0011597 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6248-17_0_4_load_73 | 47 | 0.0037999 | 0.00095234 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6248-17_0_4_load_74 | 48 | 0.0040308 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6248-17_0_4_load_34 | 49 | 0.004262 | 0.0010682 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6248-17_0_4_load_37 | 50 | 0.0041382 | 0.0010371 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6248-17_0_4_load_38 | 51 | 0.0024692 | 0.00061884 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6248-17_0_4_load_43 | 54 | 0.0036378 | 0.00091171 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6248-17_0_4_load_84 | 55 | 0.0027224 | 0.00068229 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6248-17_0_4_load_45 | 56 | 0.0032552 | 0.00081584 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6248-17_0_4_load_44 | 57 | 0.0012726 | 0.00031893 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6248-17_0_4_load_46 | 58 | 0.0055357 | 0.0013874 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6248-17_0_4_load_47 | 59 | 0.0022795 | 0.00057129 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6248-17_0_4_load_52 | 60 | 0.0024526 | 0.00061469 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6248-17_0_4_load_50 | 61 | 0.0058366 | 0.0014628 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6248-17_0_4_load_53 | 62 | 0.0043085 | 0.0010798 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6248-17_0_4_load_54 | 63 | 0.0047409 | 0.0011882 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6248-17_0_4_load_71 | 64 | 0.012304 | 0.0030837 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6248-17_0_4_load_60 | 66 | 0.0076501 | 0.0019173 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6248-17_0_4_load_55 | 68 | 0.0052458 | 0.0013147 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6248-17_0_4_load_56 | 69 | 0.0073491 | 0.0018419 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6248-17_0_4_load_57 | 70 | 0.0095896 | 0.0024034 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6248-17_0_4_load_61 | 71 | 0.0061983 | 0.0015534 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6248-17_0_4_load_62 | 72 | 0.0077664 | 0.0019464 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6248-17_0_4_load_63 | 73 | 0.0067648 | 0.0016954 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6248-17_0_4_load_64 | 74 | 0.0069537 | 0.0017428 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6248-17_0_4_load_65 | 75 | 0.0052043 | 0.0013043 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6248-17_0_4_load_66 | 76 | 0.0072075 | 0.0018064 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6248-17_0_4_load_75 | 77 | 0.0049202 | 0.0012331 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6248-17_0_4_load_76 | 78 | 0.0040716 | 0.0010204 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6248-17_0_4_load_77 | 79 | 0.005098 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6248-17_0_4_load_78 | 80 | 0.0052121 | 0.0013063 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6248-17_0_4_load_79 | 81 | 0.0037642 | 0.0009434 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6248-17_0_4_load_80 | 82 | 0.0047949 | 0.0012017 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6248-17_0_4_load_81 | 83 | 0.0056191 | 0.0014083 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6248-17_0_4_load_82 | 84 | 0.0038117 | 0.0009553 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6248-17_0_4_load_83 | 85 | 0.0060357 | 0.0015127 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6248-17_0_4_line_0 |  | 0 | 1 | 0.0017794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6248-17_0_4_line_1 |  | 0 | 2 | 0.07162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6248-17_0_4_line_2 |  | 2 | 3 | 0.049898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6248-17_0_4_line_3 |  | 3 | 6 | 0.045445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6248-17_0_4_line_4 |  | 4 | 5 | 0.013602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6248-17_0_4_line_5 |  | 5 | 49 | 0.0029212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6248-17_0_4_line_6 |  | 6 | 7 | 0.034057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6248-17_0_4_line_7 |  | 7 | 8 | 0.019082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6248-17_0_4_line_8 |  | 8 | 9 | 0.019911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6248-17_0_4_line_9 |  | 9 | 10 | 0.01819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6248-17_0_4_line_10 |  | 10 | 11 | 0.018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6248-17_0_4_line_11 |  | 11 | 12 | 0.037314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6248-17_0_4_line_12 |  | 12 | 13 | 0.0090828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6248-17_0_4_line_13 |  | 13 | 14 | 0.025573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6248-17_0_4_line_14 |  | 14 | 15 | 0.035368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6248-17_0_4_line_15 |  | 15 | 16 | 0.023032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6248-17_0_4_line_16 |  | 16 | 31 | 0.019827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6248-17_0_4_line_17 |  | 16 | 27 | 0.047643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6248-17_0_4_line_18 |  | 17 | 18 | 0.00043113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6248-17_0_4_line_19 |  | 18 | 19 | 0.02357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6248-17_0_4_line_20 |  | 19 | 20 | 0.013424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6248-17_0_4_line_21 |  | 19 | 21 | 0.005327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6248-17_0_4_line_22 |  | 21 | 22 | 0.024582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6248-17_0_4_line_23 |  | 22 | 23 | 0.0095424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6248-17_0_4_line_24 |  | 23 | 24 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6248-17_0_4_line_25 |  | 24 | 25 | 0.021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6248-17_0_4_line_26 |  | 25 | 26 | 0.054355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6248-17_0_4_line_27 |  | 25 | 27 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6248-17_0_4_line_28 |  | 26 | 28 | 0.012231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6248-17_0_4_line_29 |  | 26 | 29 | 0.048538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6248-17_0_4_line_30 |  | 26 | 30 | 0.017924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6248-17_0_4_line_31 |  | 28 | 36 | 0.053831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6248-17_0_4_line_32 |  | 28 | 37 | 0.014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6248-17_0_4_line_33 |  | 29 | 38 | 0.017147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6248-17_0_4_line_34 |  | 30 | 39 | 0.0060663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6248-17_0_4_line_35 |  | 31 | 32 | 0.018588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6248-17_0_4_line_36 |  | 31 | 33 | 0.034156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6248-17_0_4_line_37 |  | 32 | 34 | 0.025227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6248-17_0_4_line_38 |  | 33 | 35 | 0.019875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6248-17_0_4_line_39 |  | 35 | 43 | 0.018651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6248-17_0_4_line_40 |  | 36 | 44 | 0.017834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6248-17_0_4_line_41 |  | 36 | 45 | 0.00663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6248-17_0_4_line_42 |  | 37 | 46 | 0.016659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6248-17_0_4_line_43 |  | 38 | 47 | 0.028173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6248-17_0_4_line_44 |  | 38 | 48 | 0.01372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6248-17_0_4_line_45 |  | 39 | 40 | 0.022773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6248-17_0_4_line_46 |  | 40 | 41 | 0.0025915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6248-17_0_4_line_47 |  | 41 | 42 | 0.015522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6248-17_0_4_line_48 |  | 42 | 49 | 0.018532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6248-17_0_4_line_49 |  | 43 | 64 | 0.008762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6248-17_0_4_line_50 |  | 45 | 54 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6248-17_0_4_line_51 |  | 45 | 51 | 0.051965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6248-17_0_4_line_52 |  | 46 | 61 | 0.025148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6248-17_0_4_line_53 |  | 47 | 77 | 0.0022436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6248-17_0_4_line_54 |  | 50 | 51 | 0.025589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6248-17_0_4_line_55 |  | 50 | 52 | 0.04239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6248-17_0_4_line_56 |  | 52 | 53 | 0.035162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6248-17_0_4_line_57 |  | 53 | 55 | 0.02522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6248-17_0_4_line_58 |  | 54 | 56 | 0.017816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6248-17_0_4_line_59 |  | 56 | 57 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6248-17_0_4_line_60 |  | 57 | 58 | 0.00029645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6248-17_0_4_line_61 |  | 58 | 59 | 0.0040256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6248-17_0_4_line_62 |  | 59 | 60 | 0.0025511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6248-17_0_4_line_63 |  | 61 | 62 | 0.0053121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6248-17_0_4_line_64 |  | 62 | 63 | 0.029391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6248-17_0_4_line_65 |  | 63 | 65 | 0.014977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6248-17_0_4_line_66 |  | 65 | 66 | 0.034853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6248-17_0_4_line_67 |  | 65 | 67 | 0.005075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6248-17_0_4_line_68 |  | 66 | 71 | 0.012283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6248-17_0_4_line_69 |  | 67 | 69 | 0.033534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6248-17_0_4_line_70 |  | 68 | 69 | 0.021068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6248-17_0_4_line_71 |  | 68 | 70 | 0.0075171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6248-17_0_4_line_72 |  | 71 | 72 | 0.0011179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6248-17_0_4_line_73 |  | 72 | 73 | 0.024523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6248-17_0_4_line_74 |  | 73 | 74 | 0.00011613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6248-17_0_4_line_75 |  | 74 | 75 | 0.024002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6248-17_0_4_line_76 |  | 75 | 76 | 0.0081437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6248-17_0_4_line_77 |  | 77 | 78 | 0.013529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6248-17_0_4_line_78 |  | 78 | 79 | 0.0048909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6248-17_0_4_line_79 |  | 79 | 80 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6248-17_0_4_line_80 |  | 80 | 81 | 0.0033753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6248-17_0_4_line_81 |  | 81 | 82 | 0.014996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6248-17_0_4_line_82 |  | 82 | 83 | 0.0032133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6248-17_0_4_line_83 |  | 83 | 84 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6248-17_0_4_line_84 |  | 84 | 85 | 0.0018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6248-17_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 86 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2602248.2043 | 1123135.723 | 2602247.6674 | 1123137.4195
1 | 2602293.1124 | 1123108.5434 | 2602289.1439 | 1123122.8267 | 2602254.6955 | 1123115.2105 | 2602248.2043 | 1123135.723
2 | 2602293.1124 | 1123108.5434 | 2602340.9627 | 1123122.6912
3 | 2602364.8325 | 1123161.3627 | 2602340.9627 | 1123122.6912
4 | 2602208.2182 | 1123250.0012 | 2602210.8847 | 1123242.4569 | 2602212.9764 | 1123237.2618
5 | 2602208.2182 | 1123250.0012 | 2602207.2447 | 1123252.7555
6 | 2602364.8325 | 1123161.3627 | 2602355.0459 | 1123193.9836
7 | 2602355.0459 | 1123193.9836 | 2602349.5627 | 1123212.2604
8 | 2602343.8412 | 1123231.3314 | 2602349.5627 | 1123212.2604
9 | 2602343.8412 | 1123231.3314 | 2602338.6143 | 1123248.7537
10 | 2602338.6143 | 1123248.7537 | 2602333.4348 | 1123266.0182
11 | 2602333.4348 | 1123266.0182 | 2602332.4693 | 1123269.2364 | 2602322.3463 | 1123301.6458
12 | 2602319.3364 | 1123310.2108 | 2602321.1754 | 1123305.3943 | 2602322.3463 | 1123301.6458
13 | 2602319.3364 | 1123310.2108 | 2602310.2145 | 1123334.1013
14 | 2602295.728 | 1123366.3462 | 2602307.1366 | 1123342.1626 | 2602310.2145 | 1123334.1013
15 | 2602285.9011 | 1123387.1768 | 2602295.728 | 1123366.3462
16 | 2602273.346 | 1123394.787 | 2602280.3766 | 1123397.9578 | 2602281.8272 | 1123395.1125 | 2602284.304 | 1123390.2555 | 2602285.9011 | 1123387.1768
17 | 2602285.9011 | 1123387.1768 | 2602243.8639 | 1123364.7551
18 | 2602274.5031 | 1123293.3016 | 2602274.1018 | 1123293.1442
19 | 2602252.1593 | 1123284.5366 | 2602274.1018 | 1123293.1442
20 | 2602252.1593 | 1123284.5366 | 2602256.2967 | 1123271.7652
21 | 2602252.1593 | 1123284.5366 | 2602250.3527 | 1123289.5479
22 | 2602250.3527 | 1123289.5479 | 2602242.0159 | 1123312.673
23 | 2602238.7797 | 1123321.6499 | 2602242.0159 | 1123312.673
24 | 2602238.7797 | 1123321.6499 | 2602233.7499 | 1123335.6019
25 | 2602226.5661 | 1123355.5288 | 2602233.7499 | 1123335.6019
26 | 2602177.9994 | 1123330.8441 | 2602226.5661 | 1123355.5288
27 | 2602226.5661 | 1123355.5288 | 2602243.8639 | 1123364.7551
28 | 2602172.1512 | 1123341.5917 | 2602173.1079 | 1123339.8356 | 2602176.5181 | 1123333.556 | 2602177.9994 | 1123330.8441
29 | 2602177.9994 | 1123330.8441 | 2602154.025 | 1123316.7622 | 2602135.155 | 1123308.1705
30 | 2602177.9994 | 1123330.8441 | 2602184.7969 | 1123314.259
31 | 2602172.1512 | 1123341.5917 | 2602124.5328 | 1123316.2297
32 | 2602172.1512 | 1123341.5917 | 2602169.2954 | 1123350.0838 | 2602168.3892 | 1123355.753
33 | 2602119.5493 | 1123301.065 | 2602135.155 | 1123308.1705
34 | 2602184.7969 | 1123314.259 | 2602187.0974 | 1123308.6458
35 | 2602273.346 | 1123394.787 | 2602265.7177 | 1123411.738
36 | 2602273.346 | 1123394.787 | 2602243.3951 | 1123378.3671
37 | 2602272.1028 | 1123432.4583 | 2602265.9319 | 1123428.234 | 2602263.0118 | 1123422.6302 | 2602263.2373 | 1123417.2499 | 2602265.7177 | 1123411.738
38 | 2602225.9677 | 1123368.8128 | 2602243.3951 | 1123378.3671
39 | 2602225.9677 | 1123368.8128 | 2602217.5369 | 1123385.4491
40 | 2602118.0505 | 1123332.8245 | 2602120.5975 | 1123325.1216 | 2602124.5328 | 1123316.2297
41 | 2602118.6277 | 1123313.1817 | 2602124.5328 | 1123316.2297
42 | 2602168.3892 | 1123355.753 | 2602165.7595 | 1123372.2028
43 | 2602119.5493 | 1123301.065 | 2602129.1108 | 1123274.5637
44 | 2602119.5493 | 1123301.065 | 2602107.4069 | 1123294.6773
45 | 2602187.0974 | 1123308.6458 | 2602189.9531 | 1123301.6785 | 2602195.0328 | 1123287.3063
46 | 2602195.8964 | 1123284.8629 | 2602195.0328 | 1123287.3063
47 | 2602195.8964 | 1123284.8629 | 2602201.0691 | 1123270.2279
48 | 2602201.0691 | 1123270.2279 | 2602207.2447 | 1123252.7555
49 | 2602213.5762 | 1123393.2648 | 2602217.5369 | 1123385.4491
50 | 2602118.6277 | 1123313.1817 | 2602113.1243 | 1123327.2395
51 | 2602118.6277 | 1123313.1817 | 2602072.3731 | 1123289.4999
52 | 2602161.2558 | 1123396.9381 | 2602163.6856 | 1123385.1767 | 2602165.7595 | 1123372.2028
53 | 2602129.1108 | 1123274.5637 | 2602129.8722 | 1123272.4533
54 | 2602049.5959 | 1123277.8383 | 2602072.3731 | 1123289.4999
55 | 2602011.8638 | 1123258.5199 | 2602049.5959 | 1123277.8383
56 | 2602011.8638 | 1123258.5199 | 2602012.6352 | 1123257.1305 | 2602013.399 | 1123255.7412 | 2602015.6132 | 1123251.7511 | 2602018.3283 | 1123248.5504 | 2602020.7725 | 1123248.629 | 2602038.966 | 1123258.6731
57 | 2602038.966 | 1123258.6731 | 2602041.7435 | 1123253.4048 | 2602043.0867 | 1123248.5584 | 2602043.6444 | 1123240.9883 | 2602039.9451 | 1123235.4621
58 | 2602113.1243 | 1123327.2395 | 2602112.4618 | 1123328.9318 | 2602108.0849 | 1123344.3197
59 | 2602103.7664 | 1123359.5021 | 2602108.0849 | 1123344.3197
60 | 2602103.7664 | 1123359.5021 | 2602103.6853 | 1123359.7872
61 | 2602102.584 | 1123363.6592 | 2602103.6853 | 1123359.7872
62 | 2602101.886 | 1123366.113 | 2602102.584 | 1123363.6592
63 | 2602161.2558 | 1123396.9381 | 2602160.1811 | 1123402.1403
64 | 2602154.235 | 1123430.9232 | 2602160.1811 | 1123402.1403
65 | 2602151.2049 | 1123445.5908 | 2602154.235 | 1123430.9232
66 | 2602151.2049 | 1123445.5908 | 2602168.1569 | 1123453.7339 | 2602176.9281 | 1123440.2971
67 | 2602150.2317 | 1123450.5707 | 2602151.2049 | 1123445.5908
68 | 2602176.9281 | 1123440.2971 | 2602176.9281 | 1123440.2971 | 2602187.8535 | 1123445.9106
69 | 2602150.2317 | 1123450.5707 | 2602120.4854 | 1123435.0899
70 | 2602101.7967 | 1123425.3638 | 2602120.4854 | 1123435.0899
71 | 2602095.1285 | 1123421.8935 | 2602101.7967 | 1123425.3638
72 | 2602187.8535 | 1123445.9106 | 2602188.8478 | 1123446.4215
73 | 2602188.8478 | 1123446.4215 | 2602210.6603 | 1123457.6287
74 | 2602210.7636 | 1123457.6818 | 2602210.6603 | 1123457.6287
75 | 2602210.7636 | 1123457.6818 | 2602232.1123 | 1123468.6508
76 | 2602239.3558 | 1123472.3725 | 2602232.1123 | 1123468.6508
77 | 2602134.4638 | 1123259.7269 | 2602129.8722 | 1123272.4533
78 | 2602134.4638 | 1123259.7269 | 2602136.1236 | 1123255.1262
79 | 2602140.5439 | 1123242.8747 | 2602136.1236 | 1123255.1262
80 | 2602140.5439 | 1123242.8747 | 2602141.6894 | 1123239.6997
81 | 2602146.7787 | 1123225.5936 | 2602141.6894 | 1123239.6997
82 | 2602146.7787 | 1123225.5936 | 2602147.8693 | 1123222.5709
83 | 2602152.6761 | 1123209.2479 | 2602147.8693 | 1123222.5709
84 | 2602153.2915 | 1123207.542 | 2602152.6761 | 1123209.2479

## bus_geodata
| x | y | coords
0 | 2602248.2043 | 1123135.723
1 | 2602247.6674 | 1123137.4195
2 | 2602293.1124 | 1123108.5434
3 | 2602340.9627 | 1123122.6912
4 | 2602212.9764 | 1123237.2618
5 | 2602208.2182 | 1123250.0012
6 | 2602364.8325 | 1123161.3627
7 | 2602355.0459 | 1123193.9836
8 | 2602349.5627 | 1123212.2604
9 | 2602343.8412 | 1123231.3314
10 | 2602338.6143 | 1123248.7537
11 | 2602333.4348 | 1123266.0182
12 | 2602322.3463 | 1123301.6458
13 | 2602319.3364 | 1123310.2108
14 | 2602310.2145 | 1123334.1013
15 | 2602295.728 | 1123366.3462
16 | 2602285.9011 | 1123387.1768
17 | 2602274.5031 | 1123293.3016
18 | 2602274.1018 | 1123293.1442
19 | 2602252.1593 | 1123284.5366
20 | 2602256.2967 | 1123271.7652
21 | 2602250.3527 | 1123289.5479
22 | 2602242.0159 | 1123312.673
23 | 2602238.7797 | 1123321.6499
24 | 2602233.7499 | 1123335.6019
25 | 2602226.5661 | 1123355.5288
26 | 2602177.9994 | 1123330.8441
27 | 2602243.8639 | 1123364.7551
28 | 2602172.1512 | 1123341.5917
29 | 2602135.155 | 1123308.1705
30 | 2602184.7969 | 1123314.259
31 | 2602273.346 | 1123394.787
32 | 2602265.7177 | 1123411.738
33 | 2602243.3951 | 1123378.3671
34 | 2602272.1028 | 1123432.4583
35 | 2602225.9677 | 1123368.8128
36 | 2602124.5328 | 1123316.2297
37 | 2602168.3892 | 1123355.753
38 | 2602119.5494 | 1123301.065
39 | 2602187.0975 | 1123308.6458
40 | 2602195.0328 | 1123287.3063
41 | 2602195.8964 | 1123284.8629
42 | 2602201.0691 | 1123270.2279
43 | 2602217.5369 | 1123385.4491
44 | 2602118.0505 | 1123332.8245
45 | 2602118.6277 | 1123313.1817
46 | 2602165.7595 | 1123372.2028
47 | 2602129.1108 | 1123274.5637
48 | 2602107.4069 | 1123294.6773
49 | 2602207.2447 | 1123252.7555
50 | 2602049.5959 | 1123277.8383
51 | 2602072.3731 | 1123289.4999
52 | 2602011.8638 | 1123258.5199
53 | 2602038.966 | 1123258.6731
54 | 2602113.1243 | 1123327.2395
55 | 2602039.9451 | 1123235.4621
56 | 2602108.0849 | 1123344.3197
57 | 2602103.7664 | 1123359.5021
58 | 2602103.6853 | 1123359.7872
59 | 2602102.584 | 1123363.6592
60 | 2602101.886 | 1123366.113
61 | 2602161.2558 | 1123396.9381
62 | 2602160.1811 | 1123402.1403
63 | 2602154.235 | 1123430.9232
64 | 2602213.5762 | 1123393.2648
65 | 2602151.2049 | 1123445.5908
66 | 2602176.9281 | 1123440.2971
67 | 2602150.2317 | 1123450.5707
68 | 2602101.7967 | 1123425.3638
69 | 2602120.4854 | 1123435.0899
70 | 2602095.1285 | 1123421.8935
71 | 2602187.8535 | 1123445.9106
72 | 2602188.8478 | 1123446.4215
73 | 2602210.6603 | 1123457.6287
74 | 2602210.7636 | 1123457.6818
75 | 2602232.1123 | 1123468.6508
76 | 2602239.3558 | 1123472.3725
77 | 2602129.8722 | 1123272.4533
78 | 2602134.4638 | 1123259.7269
79 | 2602136.1236 | 1123255.1262
80 | 2602140.5439 | 1123242.8747
81 | 2602141.6894 | 1123239.6997
82 | 2602146.7787 | 1123225.5936
83 | 2602147.8693 | 1123222.5709
84 | 2602152.6761 | 1123209.2479
85 | 2602153.2915 | 1123207.542
86 | 2602172.1512 | 1123341.5917

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1