## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6248-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6248-18_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6248-18_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6248-18_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6248-18_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6248-18_0_3_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_6248-18_0_3_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_6248-18_0_3_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_6248-18_0_3_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_6248-18_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6248-18_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6248-18_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6248-18_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6248-18_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_6248-18_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6248-18_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6248-18_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_6248-18_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6248-18_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6248-18_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_6248-18_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6248-18_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6248-18_0_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_6248-18_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_6248-18_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6248-18_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6248-18_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_6248-18_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6248-18_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6248-18_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6248-18_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_6248-18_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_6248-18_0_3_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_6248-18_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_6248-18_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_6248-18_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_6248-18_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_6248-18_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6248-18_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_6248-18_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6248-18_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6248-18_0_3_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_6248-18_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_6248-18_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6248-18_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_6248-18_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_6248-18_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_6248-18_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_6248-18_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_6248-18_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_6248-18_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6248-18_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6248-18_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6248-18_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_6248-18_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6248-18_0_3_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_6248-18_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6248-18_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_6248-18_0_3_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_6248-18_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6248-18_0_3_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_6248-18_0_3_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_6248-18_0_3_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_6248-18_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6248-18_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_6248-18_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6248-18_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_6248-18_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_6248-18_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_6248-18_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_6248-18_0_3_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_6248-18_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_6248-18_0_3_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_6248-18_0_3_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_6248-18_0_3_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_6248-18_0_3_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_6248-18_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_6248-18_0_3_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_6248-18_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_6248-18_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6248-18_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_6248-18_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_6248-18_0_3_node_72 | 0.4 | n |  | TRUE
83 | bus_MV_113_1_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6248-18_0_3_load_0 | 0 | 0.025157 | 0.006305 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6248-18_0_3_load_2 | 2 | 0.0067124 | 0.0016823 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6248-18_0_3_load_73 | 5 | 0.003828 | 0.00095939 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6248-18_0_3_load_68 | 6 | 0.0041065 | 0.0010292 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6248-18_0_3_load_65 | 7 | 0.0067168 | 0.0016834 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6248-18_0_3_load_5 | 9 | 0.0071122 | 0.0017825 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6248-18_0_3_load_19 | 13 | 0.0017837 | 0.00044705 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6248-18_0_3_load_13 | 15 | 0.0027462 | 0.00068825 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6248-18_0_3_load_15 | 18 | 0.0051593 | 0.001293 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6248-18_0_3_load_29 | 19 | 0.008629 | 0.0021626 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6248-18_0_3_load_27 | 21 | 0.0065124 | 0.0016322 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6248-18_0_3_load_37 | 22 | 0.004235 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6248-18_0_3_load_34 | 23 | 0.0048157 | 0.0012069 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6248-18_0_3_load_14 | 26 | 0.0032824 | 0.00082266 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6248-18_0_3_load_24 | 27 | 0.0048683 | 0.0012201 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6248-18_0_3_load_22 | 28 | 0.0051029 | 0.0012789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6248-18_0_3_load_16 | 29 | 0.0033698 | 0.00084456 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6248-18_0_3_load_77 | 32 | 0.012161 | 0.0030479 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6248-18_0_3_load_28 | 33 | 0.0018463 | 0.00046272 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6248-18_0_3_load_38 | 34 | 0.0041934 | 0.001051 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6248-18_0_3_load_35 | 35 | 0.0043941 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6248-18_0_3_load_17 | 36 | 0.003748 | 0.00093933 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6248-18_0_3_load_23 | 37 | 0.0050111 | 0.0012559 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6248-18_0_3_load_26 | 38 | 0.0048199 | 0.001208 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6248-18_0_3_load_25 | 39 | 0.0055176 | 0.0013828 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6248-18_0_3_load_40 | 40 | 0.01029 | 0.0025788 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6248-18_0_3_load_76 | 41 | 0.0035776 | 0.00089662 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6248-18_0_3_load_31 | 42 | 0.007924 | 0.0019859 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6248-18_0_3_load_55 | 46 | 0.01217 | 0.0030501 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6248-18_0_3_load_52 | 47 | 0.0071551 | 0.0017932 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6248-18_0_3_load_36 | 49 | 0.0058638 | 0.0014696 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6248-18_0_3_load_45 | 50 | 0.004324 | 0.0010837 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6248-18_0_3_load_42 | 51 | 0.0040666 | 0.0010192 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6248-18_0_3_load_41 | 52 | 0.003572 | 0.00089523 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6248-18_0_3_load_64 | 55 | 0.008174 | 0.0020486 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6248-18_0_3_load_84 | 58 | 0.0048044 | 0.0012041 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6248-18_0_3_load_83 | 60 | 0.012603 | 0.0031587 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6248-18_0_3_load_79 | 61 | 0.005849 | 0.0014659 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6248-18_0_3_load_85 | 62 | 0.0054931 | 0.0013767 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6248-18_0_3_load_63 | 63 | 0.016171 | 0.0040527 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6248-18_0_3_load_59 | 65 | 0.0064678 | 0.001621 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6248-18_0_3_load_56 | 68 | 0.0096603 | 0.0024211 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6248-18_0_3_load_81 | 70 | 0.003845 | 0.00096364 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6248-18_0_3_load_71 | 71 | 0.0037816 | 0.00094775 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6248-18_0_3_load_78 | 72 | 0.007954 | 0.0019935 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6248-18_0_3_load_80 | 73 | 0.0054936 | 0.0013768 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6248-18_0_3_load_54 | 74 | 0.0081705 | 0.0020477 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6248-18_0_3_load_82 | 75 | 0.0061568 | 0.001543 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6248-18_0_3_load_66 | 77 | 0.005412 | 0.0013564 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6248-18_0_3_load_67 | 78 | 0.003681 | 0.00092253 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6248-18_0_3_load_74 | 79 | 0.0044331 | 0.001111 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6248-18_0_3_load_75 | 80 | 0.0037499 | 0.00093982 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6248-18_0_3_load_69 | 81 | 0.006789 | 0.0017015 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6248-18_0_3_load_72 | 82 | 0.0050771 | 0.0012724 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6248-18_0_3_line_0 |  | 0 | 1 | 0.043638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6248-18_0_3_line_1 |  | 1 | 2 | 0.017336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6248-18_0_3_line_2 |  | 1 | 3 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6248-18_0_3_line_3 |  | 3 | 6 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6248-18_0_3_line_4 |  | 3 | 7 | 0.0026601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6248-18_0_3_line_5 |  | 4 | 5 | 0.0032315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6248-18_0_3_line_6 |  | 4 | 6 | 0.0080743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6248-18_0_3_line_7 |  | 5 | 8 | 0.02392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6248-18_0_3_line_8 |  | 8 | 66 | 0.033887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6248-18_0_3_line_9 |  | 9 | 10 | 0.015774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6248-18_0_3_line_10 |  | 10 | 11 | 0.024083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6248-18_0_3_line_11 |  | 11 | 14 | 0.10853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6248-18_0_3_line_12 |  | 11 | 15 | 0.040881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6248-18_0_3_line_13 |  | 11 | 12 | 0.03661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6248-18_0_3_line_14 |  | 12 | 13 | 0.0044176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6248-18_0_3_line_15 |  | 13 | 24 | 0.14213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6248-18_0_3_line_16 |  | 14 | 16 | 0.053361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6248-18_0_3_line_17 |  | 14 | 17 | 0.11435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6248-18_0_3_line_18 |  | 14 | 18 | 0.021145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6248-18_0_3_line_19 |  | 15 | 26 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6248-18_0_3_line_20 |  | 16 | 27 | 0.056828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6248-18_0_3_line_21 |  | 16 | 28 | 0.013481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6248-18_0_3_line_22 |  | 17 | 19 | 0.054177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6248-18_0_3_line_23 |  | 17 | 20 | 0.094366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6248-18_0_3_line_24 |  | 17 | 21 | 0.012677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6248-18_0_3_line_25 |  | 18 | 29 | 0.012824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6248-18_0_3_line_26 |  | 20 | 22 | 0.03127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6248-18_0_3_line_27 |  | 20 | 23 | 0.029392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6248-18_0_3_line_28 |  | 21 | 33 | 0.016966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6248-18_0_3_line_29 |  | 22 | 34 | 0.025187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6248-18_0_3_line_30 |  | 23 | 35 | 0.024234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6248-18_0_3_line_31 |  | 24 | 25 | 0.023617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6248-18_0_3_line_32 |  | 25 | 38 | 0.018453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6248-18_0_3_line_33 |  | 25 | 39 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6248-18_0_3_line_34 |  | 28 | 37 | 0.0075977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6248-18_0_3_line_35 |  | 29 | 36 | 0.0046577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6248-18_0_3_line_36 |  | 30 | 31 | 0.002079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6248-18_0_3_line_37 |  | 30 | 32 | 0.021893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6248-18_0_3_line_38 |  | 31 | 40 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6248-18_0_3_line_39 |  | 31 | 34 | 0.0069887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6248-18_0_3_line_40 |  | 32 | 41 | 0.0064089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6248-18_0_3_line_41 |  | 35 | 49 | 0.0021697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6248-18_0_3_line_42 |  | 40 | 51 | 0.019421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6248-18_0_3_line_43 |  | 41 | 80 | 0.0095758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6248-18_0_3_line_44 |  | 42 | 43 | 0.010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6248-18_0_3_line_45 |  | 43 | 44 | 0.010222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6248-18_0_3_line_46 |  | 44 | 45 | 0.0397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6248-18_0_3_line_47 |  | 44 | 46 | 0.028533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6248-18_0_3_line_48 |  | 45 | 47 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6248-18_0_3_line_49 |  | 45 | 48 | 0.023694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6248-18_0_3_line_50 |  | 48 | 50 | 0.0096092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6248-18_0_3_line_51 |  | 50 | 62 | 0.020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6248-18_0_3_line_52 |  | 51 | 54 | 0.0063814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6248-18_0_3_line_53 |  | 52 | 53 | 0.0052026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6248-18_0_3_line_54 |  | 53 | 55 | 0.011553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6248-18_0_3_line_55 |  | 53 | 54 | 0.002486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6248-18_0_3_line_56 |  | 54 | 56 | 0.016255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6248-18_0_3_line_57 |  | 55 | 73 | 0.0081565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6248-18_0_3_line_58 |  | 56 | 62 | 0.0035491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6248-18_0_3_line_59 |  | 56 | 57 | 0.019117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6248-18_0_3_line_60 |  | 57 | 58 | 0.0074534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6248-18_0_3_line_61 |  | 57 | 59 | 0.026139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6248-18_0_3_line_62 |  | 57 | 60 | 0.012915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6248-18_0_3_line_63 |  | 59 | 61 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6248-18_0_3_line_64 |  | 60 | 65 | 0.013776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6248-18_0_3_line_65 |  | 61 | 72 | 0.00030929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6248-18_0_3_line_66 |  | 63 | 64 | 0.016449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6248-18_0_3_line_67 |  | 64 | 68 | 0.011696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6248-18_0_3_line_68 |  | 64 | 74 | 0.010263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6248-18_0_3_line_69 |  | 65 | 67 | 0.011426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6248-18_0_3_line_70 |  | 66 | 71 | 0.018443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6248-18_0_3_line_71 |  | 66 | 69 | 0.005205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6248-18_0_3_line_72 |  | 67 | 68 | 0.010685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6248-18_0_3_line_73 |  | 69 | 70 | 0.016528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6248-18_0_3_line_74 |  | 70 | 75 | 0.0076199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6248-18_0_3_line_75 |  | 71 | 76 | 0.0093477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6248-18_0_3_line_76 |  | 72 | 82 | 0.015907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6248-18_0_3_line_77 |  | 76 | 82 | 0.0088967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6248-18_0_3_line_78 |  | 76 | 81 | 0.016575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6248-18_0_3_line_79 |  | 77 | 78 | 0.011261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6248-18_0_3_line_80 |  | 78 | 79 | 0.005398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6248-18_0_3_line_81 |  | 79 | 80 | 0.0035538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6248-18_0_3_trafo_40 | 0.63 MVA 20/0.4 kV | 83 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2601984.3047 | 1123069.1965 | 2601985.4145 | 1123071.1089 | 2601986.7086 | 1123074.9778 | 2601987.4173 | 1123077.068 | 2601989.5603 | 1123079.203 | 2601992.3047 | 1123081.1048 | 2601996.7069 | 1123082.8849 | 2601999.6829 | 1123084.0753 | 2602001.9492 | 1123085.9769 | 2602003.2593 | 1123088.1117 | 2602002.8805 | 1123103.4659
1 | 2602001.6311 | 1123067.9013 | 2601992.3318 | 1123068.343 | 2601986.1322 | 1123069.1303 | 2601984.3047 | 1123069.1965
2 | 2601974.3929 | 1123055.809 | 2601975.1402 | 1123057.9548 | 2601976.4735 | 1123059.9784 | 2601978.5547 | 1123062.2357 | 2601981.9767 | 1123067.1392 | 2601984.3047 | 1123069.1965
3 | 2601974.3929 | 1123055.809 | 2601966.2662 | 1123054.5725 | 2601959.9052 | 1123053.4589 | 2601955.8349 | 1123053.3919
4 | 2601974.3929 | 1123055.809 | 2601977.0503 | 1123055.9311
5 | 2601947.7915 | 1123053.9109 | 2601944.5794 | 1123054.2645
6 | 2601947.7915 | 1123053.9109 | 2601953.0195 | 1123053.3456 | 2601955.8349 | 1123053.3919
7 | 2601922.4897 | 1123063.1076 | 2601933.3635 | 1123057.6194 | 2601938.9853 | 1123055.4867 | 2601944.468 | 1123054.2767 | 2601944.5794 | 1123054.2645
8 | 2601914.3846 | 1123041.5724 | 2601914.2828 | 1123046.7638 | 2601914.1654 | 1123052.3776 | 2601913.1994 | 1123059.3363 | 2601912.6887 | 1123065.2946 | 2601917.6161 | 1123064.6068 | 2601922.4897 | 1123063.1076
9 | 2602222.8992 | 1122869.8238 | 2602221.9343 | 1122872.6248 | 2602219.2402 | 1122881.0502 | 2602217.8975 | 1122884.7819
10 | 2602201.9574 | 1122866.3702 | 2602207.1309 | 1122867.9284 | 2602207.6941 | 1122867.0392 | 2602208.2267 | 1122865.4942 | 2602208.4043 | 1122864.8495 | 2602215.6672 | 1122867.3422 | 2602222.8992 | 1122869.8238
11 | 2602201.9574 | 1122866.3702 | 2602199.8512 | 1122869.4821 | 2602190.0628 | 1122878.4497 | 2602179.7808 | 1122887.7729 | 2602172.3914 | 1122894.4736 | 2602149.9616 | 1122913.0638 | 2602144.6857 | 1122917.7309 | 2602120.6808 | 1122897.3906
12 | 2602201.9574 | 1122866.3702 | 2602202.583 | 1122863.4468 | 2602201.674 | 1122861.0008 | 2602186.7175 | 1122852.9027 | 2602185.1763 | 1122849.9452 | 2602179.525 | 1122847.4865 | 2602177.0653 | 1122847.2744 | 2602174.3968 | 1122848.7075 | 2602173.0005 | 1122850.2745 | 2602172.3487 | 1122851.2569
13 | 2602201.9574 | 1122866.3702 | 2602207.1309 | 1122867.9284 | 2602207.6941 | 1122867.0392 | 2602208.2267 | 1122865.4942 | 2602208.4043 | 1122864.8495 | 2602209.3076 | 1122861.6261 | 2602209.5707 | 1122859.036 | 2602209.6409 | 1122856.8349 | 2602209.441 | 1122855.134 | 2602208.8867 | 1122852.7327 | 2602208.1626 | 1122850.5758 | 2602207.2071 | 1122848.5967 | 2602206.0896 | 1122846.9622 | 2602204.4093 | 1122845.0607 | 2602202.6363 | 1122843.5149 | 2602199.9381 | 1122841.7464 | 2602199.09 | 1122841.3125
14 | 2602199.09 | 1122841.3125 | 2602197.5018 | 1122840.5005 | 2602195.0484 | 1122839.5426
15 | 2602063.7262 | 1122785.2057 | 2602075.777 | 1122790.1232 | 2602098.2902 | 1122799.5242 | 2602128.3975 | 1122812.5518 | 2602174.1098 | 1122831.2433 | 2602194.3099 | 1122839.2543 | 2602195.0484 | 1122839.5426
16 | 2602120.6808 | 1122897.3906 | 2602090.7164 | 1122873.3577 | 2602082.3133 | 1122867.8411 | 2602077.6642 | 1122866.0164
17 | 2602074.1617 | 1122917.7405 | 2602076.2048 | 1122918.5527 | 2602079.0037 | 1122918.9983 | 2602084.5477 | 1122919.5226 | 2602093.7006 | 1122919.4812 | 2602103.0311 | 1122918.4838 | 2602106.2155 | 1122919.2186 | 2602108.1581 | 1122920.82 | 2602109.2677 | 1122922.9548 | 2602109.391 | 1122923.355 | 2602110.2074 | 1122926.0677 | 2602119.0595 | 1122926.0707 | 2602127.3639 | 1122926.7961 | 2602133.5091 | 1122928.0322 | 2602139.0759 | 1122929.5459 | 2602142.1857 | 1122922.7103 | 2602144.6857 | 1122917.7309 | 2602120.6808 | 1122897.3906
18 | 2602120.6808 | 1122897.3906 | 2602123.7284 | 1122892.3559 | 2602127.8409 | 1122884.6757 | 2602130.5484 | 1122878.714
19 | 2602165.841 | 1122861.0661 | 2602172.3487 | 1122851.2569
20 | 2602021.0364 | 1122860.9399 | 2602033.5584 | 1122862.7226 | 2602047.0213 | 1122864.3833 | 2602070.0846 | 1122864.9134 | 2602076.2995 | 1122865.4713 | 2602077.6642 | 1122866.0164
21 | 2602077.6642 | 1122866.0164 | 2602081.2156 | 1122853.0113
22 | 2602074.1617 | 1122917.7405 | 2602073.514 | 1122917.4846 | 2602070.9778 | 1122915.4383 | 2602069.1283 | 1122912.1361 | 2602065.8018 | 1122898.2949 | 2602064.542 | 1122883.7207 | 2602062.538 | 1122881.041 | 2602048.6673 | 1122877.8756
23 | 2602054.4008 | 1122934.62 | 2602060.8792 | 1122930.8536 | 2602070.9658 | 1122928.5447 | 2602080.9673 | 1122927.0251 | 2602090.7452 | 1122925.6832 | 2602100.7467 | 1122924.4638 | 2602104.4558 | 1122923.987 | 2602109.391 | 1122923.355 | 2602109.2677 | 1122922.9548 | 2602108.1581 | 1122920.82 | 2602106.2155 | 1122919.2186 | 2602103.0311 | 1122918.4838 | 2602093.7006 | 1122919.4812 | 2602084.5477 | 1122919.5226 | 2602079.0037 | 1122918.9983 | 2602076.2048 | 1122918.5527 | 2602074.1617 | 1122917.7405
24 | 2602074.1617 | 1122917.7405 | 2602074.7175 | 1122915.8509 | 2602075.2964 | 1122914.1836 | 2602076.2844 | 1122911.0046 | 2602076.8097 | 1122908.2923 | 2602076.9253 | 1122905.4443
25 | 2602130.5484 | 1122878.714 | 2602134.6857 | 1122869.604 | 2602135.1666 | 1122866.8271
26 | 2602054.4008 | 1122934.62 | 2602049.0484 | 1122937.7198 | 2602046.9121 | 1122938.853 | 2602042.8477 | 1122941.2862 | 2602039.5313 | 1122943.4639 | 2602035.3819 | 1122946.2862 | 2602031.1012 | 1122949.9421 | 2602028.7715 | 1122952.2995
27 | 2602054.4008 | 1122934.62 | 2602052.2805 | 1122933.8745 | 2602043.3043 | 1122935.9948 | 2602032.7548 | 1122939.0818 | 2602026.0546 | 1122940.8479
28 | 2602076.9253 | 1122905.4443 | 2602076.9807 | 1122904.0792 | 2602076.9292 | 1122896.6867 | 2602077.5084 | 1122894.0856 | 2602078.8428 | 1122892.8744 | 2602080.7554 | 1122892.0079 | 2602082.3931 | 1122892.1013
29 | 2602013.7575 | 1122972.4669 | 2602015.8583 | 1122969.091 | 2602018.3887 | 1122965.3011 | 2602020.703 | 1122962.2114 | 2602024.5909 | 1122957.0324 | 2602027.7844 | 1122953.2983 | 2602028.7715 | 1122952.2995
30 | 2602026.0546 | 1122940.8479 | 2602015.99 | 1122943.5008 | 2602003.8826 | 1122947.4989 | 2602002.8628 | 1122947.8383
31 | 2602080.7938 | 1122799.4628 | 2602080.1697 | 1122797.9062 | 2602079.2372 | 1122796.4274 | 2602077.9884 | 1122795.2598 | 2602065.4445 | 1122789.1971 | 2602064.3499 | 1122788.1073 | 2602063.6487 | 1122786.4063 | 2602063.7262 | 1122785.2057
32 | 2602080.7938 | 1122799.4628 | 2602081.0244 | 1122801.7084 | 2602081.0236 | 1122804.1985 | 2602078.982 | 1122817.751
33 | 2602080.7938 | 1122799.4628 | 2602084.2249 | 1122800.4755 | 2602085.705 | 1122801.7878 | 2602086.4062 | 1122803.4221 | 2602086.8682 | 1122805.2899 | 2602085.3775 | 1122816.1706
34 | 2602087.4779 | 1122849.9563 | 2602084.5246 | 1122849.9553 | 2602082.3805 | 1122851.1663 | 2602081.2156 | 1122853.0113
35 | 2602134.7422 | 1122862.2116 | 2602135.2651 | 1122866.2582 | 2602135.1666 | 1122866.8271
36 | 2602013.7737 | 1122977.6612 | 2602012.4854 | 1122979.2949
37 | 2602013.7737 | 1122977.6612 | 2602014.8986 | 1122980.1517 | 2602014.9208 | 1122983.0753 | 2602008.1094 | 1122997.8143
38 | 2602012.4854 | 1122979.2949 | 2602011.5829 | 1122980.4507 | 2602005.543 | 1122987.619 | 2602004.2826 | 1122988.7354
39 | 2602012.4854 | 1122979.2949 | 2602013.4513 | 1122972.9588 | 2602013.7575 | 1122972.4669
40 | 2602008.1094 | 1122997.8143 | 2602006.1784 | 1123001.9928 | 2602005.893 | 1123003.7759
41 | 2602000.8042 | 1122948.5237 | 2602002.8628 | 1122947.8383
42 | 2602004.2826 | 1122988.7354 | 2602002.5195 | 1122990.2971 | 2602000.4989 | 1122991.586 | 2601998.1775 | 1122992.7969 | 2601995.355 | 1122993.9299 | 2601992.7177 | 1122994.5849 | 2601986.7877 | 1122995.6169 | 2601986.5166 | 1122995.6428
43 | 2602004.3796 | 1123013.2313 | 2602005.893 | 1123003.7759
44 | 2601952.0879 | 1122900.1261 | 2601952.3515 | 1122890.0704
45 | 2601951.8226 | 1122910.3421 | 2601952.0879 | 1122900.1261
46 | 2601950.777 | 1122950.0278 | 2601951.0975 | 1122935.9099 | 2601951.1911 | 1122932.575 | 2601951.8226 | 1122910.3421
47 | 2601951.8226 | 1122910.3421 | 2601923.4306 | 1122907.5071
48 | 2601950.777 | 1122950.0278 | 2601934.8089 | 1122952.1599
49 | 2601950.777 | 1122950.0278 | 2601951.2155 | 1122953.085 | 2601953.2497 | 1122958.0658 | 2601960.0724 | 1122962.5813 | 2601966.3808 | 1122959.4484
50 | 2601966.3808 | 1122959.4484 | 2601966.2718 | 1122962.9723 | 2601965.7549 | 1122963.8392 | 2601965.3688 | 1122965.6177 | 2601965.6233 | 1122968.8621
51 | 2601967.2494 | 1122989.5936 | 2601965.6233 | 1122968.8621
52 | 2601980.164 | 1122996.2484 | 2601986.5166 | 1122995.6428
53 | 2601980.3405 | 1122998.7275 | 2601982.5227 | 1122998.5281 | 2601985.5167 | 1122998.2058
54 | 2601980.3405 | 1122998.7275 | 2601980.4001 | 1123010.2808
55 | 2601980.164 | 1122996.2484 | 2601980.3405 | 1122998.7275
56 | 2601980.164 | 1122996.2484 | 2601967.8881 | 1122997.0672 | 2601967.6114 | 1122994.1879 | 2601967.5269 | 1122993.1318
57 | 2601980.4001 | 1123010.2808 | 2601980.4422 | 1123018.4371
58 | 2601967.5269 | 1122993.1318 | 2601967.2494 | 1122989.5936
59 | 2601948.5345 | 1122995.3048 | 2601956.315 | 1122994.3289 | 2601963.9104 | 1122993.5198 | 2601967.5269 | 1122993.1318
60 | 2601948.5345 | 1122995.3048 | 2601947.7766 | 1122987.8899
61 | 2601941.7938 | 1122999.9605 | 2601956.6301 | 1122997.5862 | 2601956.315 | 1122994.3289 | 2601948.5345 | 1122995.3048
62 | 2601948.5345 | 1122995.3048 | 2601935.7079 | 1122996.8109
63 | 2601941.7938 | 1122999.9605 | 2601942.7609 | 1123010.0297
64 | 2601935.7079 | 1122996.8109 | 2601931.1614 | 1122997.3448 | 2601926.4884 | 1122997.9548 | 2601922.2935 | 1122998.8206 | 2601922.1002 | 1122998.8796
65 | 2601942.7609 | 1123010.0297 | 2601942.7905 | 1123010.3376
66 | 2601908.1949 | 1122983.998 | 2601909.8917 | 1122982.5756 | 2601923.5035 | 1122978.4109
67 | 2601908.1949 | 1122983.998 | 2601908.0169 | 1122986.1323 | 2601909.7494 | 1122995.5286
68 | 2601908.1949 | 1122983.998 | 2601907.5866 | 1122981.2298 | 2601906.9197 | 1122973.8312
69 | 2601913.586 | 1123005.2544 | 2601914.6124 | 1123002.3422 | 2601916.2244 | 1123001.131 | 2601918.1447 | 1123000.0866 | 2601922.1002 | 1122998.8796
70 | 2601914.3846 | 1123041.5724 | 2601917.4612 | 1123041.4733 | 2601919.6204 | 1123040.8625 | 2601921.6795 | 1123039.9627 | 2601924.0471 | 1123038.4627 | 2601926.2065 | 1123037.1072 | 2601928.628 | 1123036.3631 | 2601931.5961 | 1123036.0166
71 | 2601914.4864 | 1123036.3699 | 2601914.3846 | 1123041.5724
72 | 2601913.586 | 1123005.2544 | 2601911.6128 | 1123002.8638 | 2601910.4418 | 1122999.2839 | 2601909.7494 | 1122995.5286
73 | 2601914.4864 | 1123036.3699 | 2601918.4266 | 1123036.5267 | 2601918.7378 | 1123023.9457
74 | 2601918.9262 | 1123016.3281 | 2601918.7378 | 1123023.9457
75 | 2601940.8808 | 1123034.9328 | 2601931.5961 | 1123036.0166
76 | 2601942.7905 | 1123010.3376 | 2601943.4232 | 1123016.9248 | 2601942.1245 | 1123026.1235
77 | 2601940.8808 | 1123034.9328 | 2601942.1245 | 1123026.1235
78 | 2601940.8808 | 1123034.9328 | 2601941.6197 | 1123039.1907 | 2601943.7706 | 1123040.7032 | 2601953.2989 | 1123039.3468
79 | 2602000.9957 | 1123033.1584 | 2602002.8407 | 1123022.8464 | 2602002.9649 | 1123022.0706
80 | 2602002.9649 | 1123022.0706 | 2602003.818 | 1123016.7404
81 | 2602004.3796 | 1123013.2313 | 2602003.818 | 1123016.7404

## bus_geodata
| x | y | coords
0 | 2602002.8805 | 1123103.4659
1 | 2601984.3047 | 1123069.1965
2 | 2602001.6311 | 1123067.9013
3 | 2601974.3929 | 1123055.809
4 | 2601947.7915 | 1123053.9109
5 | 2601944.5794 | 1123054.2645
6 | 2601955.8349 | 1123053.3919
7 | 2601977.0503 | 1123055.9311
8 | 2601922.4897 | 1123063.1076
9 | 2602217.8975 | 1122884.7819
10 | 2602222.8992 | 1122869.8238
11 | 2602201.9574 | 1122866.3702
12 | 2602199.09 | 1122841.3125
13 | 2602195.0484 | 1122839.5426
14 | 2602120.6808 | 1122897.3906
15 | 2602172.3487 | 1122851.2569
16 | 2602077.6642 | 1122866.0164
17 | 2602074.1617 | 1122917.7405
18 | 2602130.5484 | 1122878.714
19 | 2602048.6673 | 1122877.8756
20 | 2602054.4008 | 1122934.62
21 | 2602076.9253 | 1122905.4443
22 | 2602028.7715 | 1122952.2995
23 | 2602026.0546 | 1122940.8479
24 | 2602063.7262 | 1122785.2057
25 | 2602080.7938 | 1122799.4628
26 | 2602165.841 | 1122861.0661
27 | 2602021.0364 | 1122860.9399
28 | 2602081.2156 | 1122853.0113
29 | 2602135.1666 | 1122866.8271
30 | 2602013.7737 | 1122977.6612
31 | 2602012.4854 | 1122979.2949
32 | 2602008.1094 | 1122997.8143
33 | 2602082.3931 | 1122892.1013
34 | 2602013.7575 | 1122972.4669
35 | 2602002.8628 | 1122947.8383
36 | 2602134.7422 | 1122862.2116
37 | 2602087.4779 | 1122849.9563
38 | 2602078.982 | 1122817.751
39 | 2602085.3775 | 1122816.1706
40 | 2602004.2826 | 1122988.7354
41 | 2602005.893 | 1123003.7759
42 | 2601952.3515 | 1122890.0704
43 | 2601952.0879 | 1122900.1261
44 | 2601951.8226 | 1122910.3421
45 | 2601950.777 | 1122950.0278
46 | 2601923.4306 | 1122907.5071
47 | 2601934.8089 | 1122952.1599
48 | 2601966.3808 | 1122959.4484
49 | 2602000.8042 | 1122948.5237
50 | 2601965.6233 | 1122968.8621
51 | 2601986.5166 | 1122995.6428
52 | 2601985.5167 | 1122998.2058
53 | 2601980.3405 | 1122998.7275
54 | 2601980.164 | 1122996.2484
55 | 2601980.4001 | 1123010.2808
56 | 2601967.5269 | 1122993.1318
57 | 2601948.5345 | 1122995.3048
58 | 2601947.7766 | 1122987.8899
59 | 2601941.7938 | 1122999.9605
60 | 2601935.7079 | 1122996.8109
61 | 2601942.7609 | 1123010.0297
62 | 2601967.2494 | 1122989.5936
63 | 2601923.5035 | 1122978.4109
64 | 2601908.1949 | 1122983.998
65 | 2601922.1002 | 1122998.8796
66 | 2601914.3846 | 1123041.5724
67 | 2601913.586 | 1123005.2544
68 | 2601909.7494 | 1122995.5286
69 | 2601914.4864 | 1123036.3699
70 | 2601918.7378 | 1123023.9457
71 | 2601931.5961 | 1123036.0166
72 | 2601942.7905 | 1123010.3376
73 | 2601980.4422 | 1123018.4371
74 | 2601906.9197 | 1122973.8312
75 | 2601918.9262 | 1123016.3281
76 | 2601940.8808 | 1123034.9328
77 | 2602000.9957 | 1123033.1584
78 | 2602002.9649 | 1123022.0706
79 | 2602003.818 | 1123016.7404
80 | 2602004.3796 | 1123013.2313
81 | 2601953.2989 | 1123039.3468
82 | 2601942.1245 | 1123026.1235
83 | 2602012.4854 | 1122979.2949

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1