## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6248-57_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6248-57_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6248-57_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6248-57_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6248-57_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6248-57_0_4_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_6248-57_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6248-57_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_6248-57_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6248-57_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6248-57_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_6248-57_0_4_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_6248-57_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6248-57_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_6248-57_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_6248-57_0_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_6248-57_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6248-57_0_4_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_6248-57_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6248-57_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6248-57_0_4_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_6248-57_0_4_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_6248-57_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_6248-57_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6248-57_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6248-57_0_4_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_6248-57_0_4_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_6248-57_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6248-57_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_6248-57_0_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_6248-57_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_6248-57_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_6248-57_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6248-57_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_6248-57_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6248-57_0_4_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_6248-57_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6248-57_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_6248-57_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_6248-57_0_4_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_6248-57_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_6248-57_0_4_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_6248-57_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_6248-57_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_6248-57_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_6248-57_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_6248-57_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6248-57_0_4_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_6248-57_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_6248-57_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6248-57_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_6248-57_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6248-57_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_6248-57_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_6248-57_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_6248-57_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_MV_273_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6248-57_0_4_load_0 | 0 | 0.059707 | 0.014964 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6248-57_0_4_load_2 | 2 | 0.017646 | 0.0044225 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6248-57_0_4_load_40 | 5 | 0.0070709 | 0.0017721 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6248-57_0_4_load_4 | 6 | 0.017074 | 0.0042792 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6248-57_0_4_load_47 | 7 | 0.0079049 | 0.0019812 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6248-57_0_4_load_52 | 10 | 0.0045818 | 0.0011483 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6248-57_0_4_load_51 | 11 | 0.0063278 | 0.0015859 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6248-57_0_4_load_54 | 13 | 0.016537 | 0.0041447 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6248-57_0_4_load_53 | 15 | 0.0088493 | 0.0022178 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6248-57_0_4_load_50 | 17 | 0.0093994 | 0.0023557 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6248-57_0_4_load_44 | 20 | 0.0045818 | 0.0011483 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6248-57_0_4_load_56 | 21 | 0.0060573 | 0.0015181 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6248-57_0_4_load_45 | 25 | 0.010396 | 0.0026054 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6248-57_0_4_load_19 | 27 | 0.040444 | 0.010136 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6248-57_0_4_load_38 | 28 | 0.025179 | 0.0063105 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6248-57_0_4_load_48 | 30 | 0.0077936 | 0.0019533 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6248-57_0_4_load_33 | 31 | 0.075303 | 0.018873 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6248-57_0_4_load_34 | 32 | 0.018013 | 0.0045145 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6248-57_0_4_load_35 | 33 | 0.019126 | 0.0047934 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6248-57_0_4_load_59 | 35 | 0.0053445 | 0.0013395 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6248-57_0_4_load_42 | 37 | 0.0042334 | 0.001061 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6248-57_0_4_load_20 | 38 | 0.03428 | 0.0085914 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6248-57_0_4_load_57 | 39 | 0.0031515 | 0.00078984 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6248-57_0_4_load_39 | 40 | 0.0040025 | 0.0010031 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6248-57_0_4_load_55 | 41 | 0.0083146 | 0.0020838 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6248-57_0_4_load_25 | 42 | 0.0059269 | 0.0014854 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6248-57_0_4_load_21 | 43 | 0.0040607 | 0.0010177 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6248-57_0_4_load_22 | 44 | 0.017095 | 0.0042845 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6248-57_0_4_load_23 | 47 | 0.0071399 | 0.0017894 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6248-57_0_4_load_58 | 48 | 0.027417 | 0.0068713 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6248-57_0_4_load_37 | 49 | 0.0094151 | 0.0023597 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6248-57_0_4_load_29 | 50 | 0.042363 | 0.010617 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6248-57_0_4_load_30 | 51 | 0.021685 | 0.0054349 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6248-57_0_4_load_31 | 52 | 0.0027444 | 0.00068782 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6248-57_0_4_load_32 | 53 | 0.0052701 | 0.0013208 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6248-57_0_4_load_36 | 54 | 0.029736 | 0.0074525 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6248-57_0_4_load_43 | 55 | 0.0036415 | 0.00091265 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6248-57_0_4_line_0 |  | 0 | 1 | 0.03848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6248-57_0_4_line_1 |  | 1 | 2 | 0.012253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6248-57_0_4_line_2 |  | 1 | 3 | 0.002364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6248-57_0_4_line_3 |  | 2 | 4 | 0.020775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6248-57_0_4_line_4 |  | 3 | 5 | 0.031706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6248-57_0_4_line_5 |  | 4 | 8 | 0.008087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6248-57_0_4_line_6 |  | 5 | 29 | 0.021622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6248-57_0_4_line_7 |  | 6 | 7 | 0.017808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6248-57_0_4_line_8 |  | 7 | 30 | 0.016806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6248-57_0_4_line_9 |  | 8 | 31 | 0.040125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6248-57_0_4_line_10 |  | 8 | 26 | 0.004089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6248-57_0_4_line_11 |  | 9 | 10 | 0.018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6248-57_0_4_line_12 |  | 9 | 11 | 0.014132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6248-57_0_4_line_13 |  | 10 | 19 | 0.01655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6248-57_0_4_line_14 |  | 12 | 13 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6248-57_0_4_line_15 |  | 12 | 14 | 0.028558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6248-57_0_4_line_16 |  | 12 | 15 | 0.018349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6248-57_0_4_line_17 |  | 14 | 28 | 0.048523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6248-57_0_4_line_18 |  | 14 | 23 | 0.010552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6248-57_0_4_line_19 |  | 15 | 16 | 0.011863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6248-57_0_4_line_20 |  | 16 | 17 | 0.036064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6248-57_0_4_line_21 |  | 17 | 22 | 0.0020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6248-57_0_4_line_22 |  | 18 | 19 | 0.027992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6248-57_0_4_line_23 |  | 18 | 20 | 0.0086892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6248-57_0_4_line_24 |  | 19 | 21 | 0.044942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6248-57_0_4_line_25 |  | 19 | 22 | 0.003111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6248-57_0_4_line_26 |  | 21 | 39 | 0.001968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6248-57_0_4_line_27 |  | 22 | 30 | 0.036869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6248-57_0_4_line_28 |  | 23 | 24 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6248-57_0_4_line_29 |  | 24 | 25 | 0.012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6248-57_0_4_line_30 |  | 26 | 27 | 0.031377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6248-57_0_4_line_31 |  | 27 | 38 | 0.030599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6248-57_0_4_line_32 |  | 28 | 40 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6248-57_0_4_line_33 |  | 29 | 55 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6248-57_0_4_line_34 |  | 29 | 37 | 0.0069753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6248-57_0_4_line_35 |  | 32 | 33 | 0.011673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6248-57_0_4_line_36 |  | 33 | 54 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6248-57_0_4_line_37 |  | 34 | 35 | 0.028445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6248-57_0_4_line_38 |  | 34 | 36 | 0.003705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6248-57_0_4_line_39 |  | 35 | 46 | 0.025323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6248-57_0_4_line_40 |  | 36 | 42 | 0.039457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6248-57_0_4_line_41 |  | 36 | 47 | 0.014609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6248-57_0_4_line_42 |  | 38 | 43 | 0.021782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6248-57_0_4_line_43 |  | 39 | 55 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6248-57_0_4_line_44 |  | 40 | 53 | 0.019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6248-57_0_4_line_45 |  | 41 | 42 | 0.019719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6248-57_0_4_line_46 |  | 43 | 44 | 0.0064845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6248-57_0_4_line_47 |  | 44 | 45 | 0.032202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6248-57_0_4_line_48 |  | 45 | 46 | 0.019504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6248-57_0_4_line_49 |  | 46 | 48 | 0.035992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6248-57_0_4_line_50 |  | 48 | 49 | 0.0011304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6248-57_0_4_line_51 |  | 49 | 54 | 0.021126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6248-57_0_4_line_52 |  | 50 | 51 | 0.019535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6248-57_0_4_line_53 |  | 50 | 52 | 0.011857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6248-57_0_4_line_54 |  | 51 | 53 | 0.023624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6248-57_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 56 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2606602.0152 | 1126825.553 | 2606587.0089 | 1126835.3527 | 2606585.6214 | 1126835.7291 | 2606584.0882 | 1126835.494 | 2606582.7024 | 1126834.3475 | 2606573.7863 | 1126821.3405
1 | 2606602.0152 | 1126825.553 | 2606608.9546 | 1126835.6521
2 | 2606602.0152 | 1126825.553 | 2606603.9817 | 1126824.2322
3 | 2606608.2033 | 1126853.8179 | 2606613.0435 | 1126845.8859 | 2606613.2453 | 1126844.5744 | 2606613.201 | 1126842.7846 | 2606612.6712 | 1126841.0609 | 2606608.9546 | 1126835.6521
4 | 2606603.9817 | 1126824.2322 | 2606594.5569 | 1126810.3264 | 2606586.435 | 1126797.8257
5 | 2606608.2033 | 1126853.8179 | 2606607.717 | 1126854.6066 | 2606604.8852 | 1126858.0386 | 2606603.0183 | 1126860.0153
6 | 2606574.7471 | 1126779.6345 | 2606582.494 | 1126791.7599 | 2606586.435 | 1126797.8257
7 | 2606562.4216 | 1126763.6647 | 2606564.996 | 1126768.1184 | 2606569.1266 | 1126775.0818 | 2606571.5218 | 1126778.9704
8 | 2606562.4216 | 1126763.6647 | 2606560.0194 | 1126759.5089 | 2606556.6049 | 1126753.0465 | 2606554.3795 | 1126748.9103
9 | 2606603.0183 | 1126860.0153 | 2606598.9613 | 1126856.2313 | 2606578.0664 | 1126838.7002 | 2606571.5351 | 1126835.4348
10 | 2606606.0128 | 1126862.8088 | 2606603.0183 | 1126860.0153
11 | 2606574.2626 | 1126714.2465 | 2606568.684 | 1126713.7069 | 2606563.5531 | 1126712.423 | 2606561.4888 | 1126711.6427 | 2606556.2748 | 1126710.7061
12 | 2606574.2626 | 1126714.2465 | 2606570.1523 | 1126727.7675
13 | 2606543.6304 | 1126714.7806 | 2606545.6032 | 1126714.7494 | 2606545.8729 | 1126714.7496 | 2606545.7362 | 1126712.8375 | 2606546.663 | 1126710.9153 | 2606547.8742 | 1126709.7049 | 2606549.1614 | 1126709.4284 | 2606556.2748 | 1126710.7061
14 | 2606480.1237 | 1126715.5689 | 2606484.7474 | 1126731.0967
15 | 2606457.7156 | 1126729.1184 | 2606457.4016 | 1126727.1838 | 2606458.1591 | 1126725.0725 | 2606459.4711 | 1126723.2063 | 2606461.2757 | 1126721.8409 | 2606464.6524 | 1126720.5327 | 2606480.1237 | 1126715.5689
16 | 2606480.1237 | 1126715.5689 | 2606497.5968 | 1126709.9677
17 | 2606457.7156 | 1126729.1184 | 2606458.3378 | 1126730.9755 | 2606475.15 | 1126762.342 | 2606479.8287 | 1126772.2709
18 | 2606447.9478 | 1126733.1101 | 2606451.2782 | 1126731.7574 | 2606454.0613 | 1126730.6153 | 2606456.4975 | 1126729.6174 | 2606457.7156 | 1126729.1184
19 | 2606508.9695 | 1126706.5951 | 2606499.2722 | 1126709.4306 | 2606497.5968 | 1126709.9677
20 | 2606508.9695 | 1126706.5951 | 2606515.0284 | 1126704.7563 | 2606519.5223 | 1126703.5605 | 2606523.5149 | 1126702.7755 | 2606526.3662 | 1126702.7785 | 2606528.9318 | 1126703.2815 | 2606531.6358 | 1126704.0625 | 2606535.202 | 1126705.6338 | 2606537.3349 | 1126707.1924 | 2606538.4042 | 1126708.9722 | 2606539.2569 | 1126711.4632 | 2606539.7803 | 1126712.8528
21 | 2606540.5094 | 1126714.7884 | 2606539.7803 | 1126712.8528
22 | 2606543.6304 | 1126714.7806 | 2606543.1628 | 1126712.479 | 2606542.597 | 1126708.3097 | 2606543.2353 | 1126702.3297 | 2606551.0316 | 1126704.4946 | 2606553.235 | 1126704.9972 | 2606554.766 | 1126700.1632
23 | 2606554.766 | 1126700.1632 | 2606550.9753 | 1126699.4365 | 2606546.3813 | 1126697.9466
24 | 2606543.6304 | 1126714.7806 | 2606544.3675 | 1126717.2715 | 2606547.5266 | 1126724.823 | 2606551.3531 | 1126735.1988 | 2606554.0663 | 1126741.7383 | 2606561.6525 | 1126755.8474
25 | 2606540.5094 | 1126714.7884 | 2606541.3263 | 1126714.7892 | 2606543.6304 | 1126714.7806
26 | 2606561.6525 | 1126755.8474 | 2606562.5845 | 1126757.5807
27 | 2606540.5094 | 1126714.7884 | 2606543.0221 | 1126721.4832 | 2606545.3658 | 1126727.7443 | 2606547.0025 | 1126732.0704 | 2606548.4931 | 1126736.1962 | 2606550.1993 | 1126740.389 | 2606553.0441 | 1126746.4283 | 2606554.3795 | 1126748.9103
28 | 2606450.7322 | 1126716.1047 | 2606449.7439 | 1126717.8823 | 2606446.5547 | 1126724.1598 | 2606446.222 | 1126725.4712 | 2606445.9976 | 1126726.338 | 2606446.057 | 1126728.3947 | 2606447.9478 | 1126733.1101
29 | 2606450.7322 | 1126716.1047 | 2606451.8131 | 1126714.1493 | 2606453.809 | 1126714.0959 | 2606457.3623 | 1126713.4104 | 2606461.7331 | 1126712.0477 | 2606462.2741 | 1126711.874
30 | 2606606.0128 | 1126862.8088 | 2606602.1719 | 1126865.9284 | 2606598.6164 | 1126868.7926 | 2606587.4963 | 1126876.4176 | 2606580.3347 | 1126880.7694
31 | 2606580.3347 | 1126880.7694 | 2606577.5801 | 1126882.4432 | 2606570.3401 | 1126886.3262 | 2606562.846 | 1126890.0422 | 2606552.9354 | 1126894.3224
32 | 2606486.6962 | 1126790.6233 | 2606485.4813 | 1126786.4202 | 2606483.4916 | 1126780.6375 | 2606480.632 | 1126773.9757 | 2606479.8287 | 1126772.2709
33 | 2606574.7471 | 1126779.6345 | 2606568.7247 | 1126769.0006 | 2606567.6171 | 1126766.9406
34 | 2606574.7471 | 1126779.6345 | 2606580.2764 | 1126775.3824
35 | 2606561.8337 | 1126886.2453 | 2606551.1844 | 1126891.0264
36 | 2606537.1235 | 1126896.3042 | 2606538.5353 | 1126896.0302 | 2606540.6628 | 1126895.4099 | 2606543.9236 | 1126894.2128 | 2606548.0636 | 1126892.4275 | 2606551.1844 | 1126891.0264
37 | 2606489.3878 | 1126852.1342 | 2606488.7052 | 1126863.5946 | 2606487.1484 | 1126878.289 | 2606486.9837 | 1126880.4708
38 | 2606489.3878 | 1126852.1342 | 2606485.6737 | 1126852.0302
39 | 2606485.0772 | 1126905.7224 | 2606486.9837 | 1126880.4708
40 | 2606485.6737 | 1126852.0302 | 2606485.9324 | 1126840.6249 | 2606485.8179 | 1126832.2985 | 2606484.9489 | 1126823.4043 | 2606483.7101 | 1126814.3764 | 2606483.389 | 1126812.7353
41 | 2606485.6737 | 1126852.0302 | 2606471.0706 | 1126851.627
42 | 2606552.9354 | 1126894.3224 | 2606550.7268 | 1126895.2762 | 2606542.4702 | 1126898.6023 | 2606533.8828 | 1126901.5056 | 2606532.5413 | 1126901.9386
43 | 2606567.6171 | 1126766.9406 | 2606562.5845 | 1126757.5807
44 | 2606486.6962 | 1126790.6233 | 2606487.1013 | 1126792.0247 | 2606489.5792 | 1126802.5324 | 2606490.8873 | 1126809.776
45 | 2606478.8717 | 1126793.5537 | 2606479.5532 | 1126795.7184 | 2606481.909 | 1126805.17 | 2606483.389 | 1126812.7353
46 | 2606532.5413 | 1126901.9386 | 2606526.3702 | 1126903.9301
47 | 2606495.626 | 1126913.504 | 2606502.1009 | 1126911.5655 | 2606514.8968 | 1126907.6328 | 2606526.3702 | 1126903.9301
48 | 2606495.626 | 1126913.504 | 2606488.033 | 1126916.075 | 2606487.4702 | 1126916.2856 | 2606486.395 | 1126912.9162 | 2606485.4735 | 1126909.8915 | 2606485.0772 | 1126905.7224
49 | 2606485.0772 | 1126905.7224 | 2606490.2471 | 1126906.4282 | 2606490.639 | 1126907.4625 | 2606491.593 | 1126908.942 | 2606492.3163 | 1126909.921 | 2606493.4407 | 1126910.4891 | 2606494.8202 | 1126910.3461 | 2606496.3928 | 1126909.7586 | 2606497.372 | 1126909.2594 | 2606499.254 | 1126907.5494 | 2606505.7179 | 1126901.5423 | 2606507.1678 | 1126900.4544 | 2606507.8462 | 1126900.1328 | 2606508.5247 | 1126899.8 | 2606509.5499 | 1126899.4676 | 2606510.8678 | 1126899.2911 | 2606515.0178 | 1126898.855
50 | 2606516.142 | 1126898.7369 | 2606515.0178 | 1126898.855
51 | 2606537.1235 | 1126896.3042 | 2606536.4851 | 1126896.4282 | 2606531.4987 | 1126897.1232 | 2606516.142 | 1126898.7369
52 | 2606493.4011 | 1126833.2576 | 2606493.6341 | 1126837.3092 | 2606493.7885 | 1126844.2795 | 2606493.7841 | 1126848.4259 | 2606493.5997 | 1126852.78
53 | 2606492.6727 | 1126864.5882 | 2606493.2239 | 1126860.7758 | 2606493.5628 | 1126853.6505 | 2606493.5997 | 1126852.78
54 | 2606490.8873 | 1126809.776 | 2606491.0731 | 1126810.8047 | 2606491.998 | 1126817.8424 | 2606492.7152 | 1126824.5687 | 2606493.3088 | 1126831.6506 | 2606493.4011 | 1126833.2576

## bus_geodata
| x | y | coords
0 | 2606573.7863 | 1126821.3405
1 | 2606602.0152 | 1126825.553
2 | 2606608.9546 | 1126835.6521
3 | 2606603.9817 | 1126824.2322
4 | 2606608.2033 | 1126853.8179
5 | 2606586.435 | 1126797.8257
6 | 2606571.5218 | 1126778.9704
7 | 2606562.4216 | 1126763.6647
8 | 2606603.0183 | 1126860.0153
9 | 2606574.2626 | 1126714.2465
10 | 2606556.2748 | 1126710.7061
11 | 2606570.1523 | 1126727.7675
12 | 2606480.1237 | 1126715.5689
13 | 2606484.7474 | 1126731.0967
14 | 2606457.7156 | 1126729.1184
15 | 2606497.5968 | 1126709.9677
16 | 2606508.9695 | 1126706.5951
17 | 2606539.7803 | 1126712.8528
18 | 2606554.766 | 1126700.1632
19 | 2606543.6304 | 1126714.7806
20 | 2606546.3813 | 1126697.9466
21 | 2606561.6525 | 1126755.8474
22 | 2606540.5094 | 1126714.7884
23 | 2606447.9478 | 1126733.1101
24 | 2606450.7322 | 1126716.1047
25 | 2606462.2741 | 1126711.874
26 | 2606606.0128 | 1126862.8088
27 | 2606580.3347 | 1126880.7694
28 | 2606479.8287 | 1126772.2709
29 | 2606574.7471 | 1126779.6345
30 | 2606554.3795 | 1126748.9103
31 | 2606571.5351 | 1126835.4348
32 | 2606561.8337 | 1126886.2453
33 | 2606551.1844 | 1126891.0264
34 | 2606489.3878 | 1126852.1342
35 | 2606486.9837 | 1126880.4708
36 | 2606485.6737 | 1126852.0302
37 | 2606580.2764 | 1126775.3824
38 | 2606552.9354 | 1126894.3224
39 | 2606562.5845 | 1126757.5807
40 | 2606486.6962 | 1126790.6233
41 | 2606478.8717 | 1126793.5537
42 | 2606483.389 | 1126812.7353
43 | 2606532.5413 | 1126901.9386
44 | 2606526.3702 | 1126903.9301
45 | 2606495.626 | 1126913.504
46 | 2606485.0772 | 1126905.7224
47 | 2606471.0706 | 1126851.627
48 | 2606515.0178 | 1126898.855
49 | 2606516.142 | 1126898.7369
50 | 2606493.5997 | 1126852.78
51 | 2606493.4011 | 1126833.2576
52 | 2606492.6727 | 1126864.5882
53 | 2606490.8873 | 1126809.776
54 | 2606537.1235 | 1126896.3042
55 | 2606567.6171 | 1126766.9406
56 | 2606554.4912 | 1126826.9136

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1