## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6248-75_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6248-75_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6248-75_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6248-75_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6248-75_0_7_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_6248-75_0_7_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_6248-75_0_7_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_6248-75_0_7_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6248-75_0_7_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_6248-75_0_7_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6248-75_0_7_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6248-75_0_7_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_6248-75_0_7_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6248-75_0_7_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6248-75_0_7_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_6248-75_0_7_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_6248-75_0_7_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_6248-75_0_7_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6248-75_0_7_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_6248-75_0_7_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_6248-75_0_7_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6248-75_0_7_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_6248-75_0_7_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6248-75_0_7_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6248-75_0_7_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_6248-75_0_7_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_6248-75_0_7_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6248-75_0_7_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_6248-75_0_7_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_6248-75_0_7_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_6248-75_0_7_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6248-75_0_7_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6248-75_0_7_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_6248-75_0_7_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_6248-75_0_7_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_6248-75_0_7_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_6248-75_0_7_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_6248-75_0_7_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6248-75_0_7_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_6248-75_0_7_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_6248-75_0_7_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_6248-75_0_7_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_6248-75_0_7_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_6248-75_0_7_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_6248-75_0_7_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_6248-75_0_7_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_6248-75_0_7_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6248-75_0_7_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_6248-75_0_7_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_6248-75_0_7_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_6248-75_0_7_node_40 | 0.4 | n |  | TRUE
51 | bus_MV_115_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6248-75_0_7_load_0 | 0 | 0.072668 | 0.018212 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6248-75_0_7_load_17 | 6 | 0.041967 | 0.010518 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6248-75_0_7_load_44 | 8 | 0.020704 | 0.005189 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6248-75_0_7_load_49 | 11 | 0.022063 | 0.0055294 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6248-75_0_7_load_46 | 14 | 0.017837 | 0.0044703 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6248-75_0_7_load_43 | 15 | 0.0062644 | 0.00157 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6248-75_0_7_load_51 | 16 | 0.0083524 | 0.0020933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6248-75_0_7_load_26 | 17 | 0.0095409 | 0.0023912 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6248-75_0_7_load_39 | 19 | 0.0029166 | 0.00073096 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6248-75_0_7_load_48 | 21 | 0.0064686 | 0.0016212 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6248-75_0_7_load_50 | 24 | 0.0093766 | 0.00235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6248-75_0_7_load_47 | 26 | 0.013415 | 0.0033622 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6248-75_0_7_load_36 | 27 | 0.010351 | 0.0025942 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6248-75_0_7_load_33 | 28 | 0.017443 | 0.0043716 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6248-75_0_7_load_35 | 31 | 0.021214 | 0.0053168 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6248-75_0_7_load_37 | 32 | 0.0057385 | 0.0014382 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6248-75_0_7_load_42 | 33 | 0.010675 | 0.0026754 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6248-75_0_7_load_45 | 35 | 0.0053326 | 0.0013365 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6248-75_0_7_load_38 | 36 | 0.0062998 | 0.0015789 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6248-75_0_7_load_34 | 37 | 0.0087607 | 0.0021957 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6248-75_0_7_load_18 | 38 | 0.0072941 | 0.0018281 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6248-75_0_7_load_20 | 40 | 0.013592 | 0.0034064 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6248-75_0_7_load_23 | 42 | 0.023987 | 0.0060118 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6248-75_0_7_load_31 | 43 | 0.0063677 | 0.0015959 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6248-75_0_7_load_29 | 44 | 0.0076071 | 0.0019065 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6248-75_0_7_load_24 | 45 | 0.0068539 | 0.0017177 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6248-75_0_7_load_25 | 47 | 0.02357 | 0.0059072 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6248-75_0_7_load_27 | 48 | 0.019565 | 0.0049035 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6248-75_0_7_load_30 | 49 | 0.012132 | 0.0030405 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6248-75_0_7_load_40 | 50 | 0.0059082 | 0.0014807 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6248-75_0_7_line_0 |  | 0 | 1 | 0.025708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6248-75_0_7_line_1 |  | 1 | 2 | 0.042906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6248-75_0_7_line_2 |  | 1 | 3 | 0.068909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6248-75_0_7_line_3 |  | 1 | 4 | 0.10002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6248-75_0_7_line_4 |  | 2 | 5 | 0.057775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6248-75_0_7_line_5 |  | 2 | 6 | 0.035293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6248-75_0_7_line_6 |  | 3 | 11 | 0.027482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6248-75_0_7_line_7 |  | 3 | 12 | 0.016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6248-75_0_7_line_8 |  | 4 | 18 | 0.037766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6248-75_0_7_line_9 |  | 4 | 19 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6248-75_0_7_line_10 |  | 5 | 17 | 0.081042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6248-75_0_7_line_11 |  | 7 | 8 | 0.014344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6248-75_0_7_line_12 |  | 7 | 9 | 0.017281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6248-75_0_7_line_13 |  | 7 | 10 | 0.031673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6248-75_0_7_line_14 |  | 9 | 15 | 0.029423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6248-75_0_7_line_15 |  | 9 | 13 | 0.006509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6248-75_0_7_line_16 |  | 10 | 32 | 0.02337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6248-75_0_7_line_17 |  | 10 | 25 | 0.024298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6248-75_0_7_line_18 |  | 12 | 13 | 0.027389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6248-75_0_7_line_19 |  | 12 | 14 | 0.017929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6248-75_0_7_line_20 |  | 13 | 16 | 0.017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6248-75_0_7_line_21 |  | 17 | 34 | 0.014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6248-75_0_7_line_22 |  | 18 | 35 | 0.011409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6248-75_0_7_line_23 |  | 19 | 36 | 0.034662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6248-75_0_7_line_24 |  | 20 | 21 | 0.018063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6248-75_0_7_line_25 |  | 20 | 22 | 0.026966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6248-75_0_7_line_26 |  | 20 | 23 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6248-75_0_7_line_27 |  | 22 | 24 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6248-75_0_7_line_28 |  | 22 | 25 | 0.025361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6248-75_0_7_line_29 |  | 23 | 26 | 0.017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6248-75_0_7_line_30 |  | 25 | 27 | 0.00656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6248-75_0_7_line_31 |  | 25 | 28 | 0.025422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6248-75_0_7_line_32 |  | 28 | 37 | 0.019688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6248-75_0_7_line_33 |  | 29 | 30 | 0.02396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6248-75_0_7_line_34 |  | 29 | 31 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6248-75_0_7_line_35 |  | 30 | 33 | 0.047714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6248-75_0_7_line_36 |  | 31 | 37 | 0.020738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6248-75_0_7_line_37 |  | 34 | 45 | 0.05104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6248-75_0_7_line_38 |  | 34 | 40 | 0.026131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6248-75_0_7_line_39 |  | 36 | 50 | 0.024784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6248-75_0_7_line_40 |  | 38 | 39 | 0.021617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_6248-75_0_7_line_41 |  | 38 | 40 | 0.024451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6248-75_0_7_line_42 |  | 39 | 41 | 0.034476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6248-75_0_7_line_43 |  | 40 | 42 | 0.033342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6248-75_0_7_line_44 |  | 41 | 43 | 0.00816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6248-75_0_7_line_45 |  | 41 | 44 | 0.01009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6248-75_0_7_line_46 |  | 44 | 46 | 0.004423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6248-75_0_7_line_47 |  | 45 | 47 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6248-75_0_7_line_48 |  | 46 | 49 | 0.025162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6248-75_0_7_line_49 |  | 46 | 48 | 0.037426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6248-75_0_7_trafo_21 | 0.63 MVA 20/0.4 kV | 51 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2604935.0612 | 1125300.4605 | 2604937.7346 | 1125302.019 | 2604940.8852 | 1125304.3783 | 2604956.2231 | 1125315.0366
1 | 2604935.0612 | 1125300.4605 | 2604947.4193 | 1125259.3727
2 | 2604935.0612 | 1125300.4605 | 2604927.7415 | 1125325.8004 | 2604926.6601 | 1125328.5897 | 2604928.8552 | 1125330.6703 | 2604930.5422 | 1125331.9389 | 2604930.9813 | 1125332.2617 | 2604935.0256 | 1125335.1441 | 2604941.196 | 1125339.529 | 2604950.4937 | 1125346.5732 | 2604954.4839 | 1125349.6335 | 2604955.6702 | 1125350.546 | 2604958.0734 | 1125352.5601
3 | 2604897.1076 | 1125387.3614 | 2604901.4769 | 1125378.9386 | 2604906.095 | 1125367.9147 | 2604911.3307 | 1125355.6017 | 2604914.7148 | 1125345.5662 | 2604918.4078 | 1125334.7417 | 2604920.1995 | 1125330.4077 | 2604921.8146 | 1125325.1842 | 2604923.7698 | 1125318.8493 | 2604929.9677 | 1125298.7667 | 2604935.0612 | 1125300.4605
4 | 2604947.4193 | 1125259.3727 | 2604942.6262 | 1125257.768 | 2604946.4207 | 1125245.4984 | 2604949.7358 | 1125235.1072 | 2604952.1188 | 1125224.0037 | 2604953.0286 | 1125214.2552 | 2604953.8442 | 1125206.4743
5 | 2604947.4193 | 1125259.3727 | 2604948.0435 | 1125259.5733 | 2604964.532 | 1125267.4794 | 2604978.4401 | 1125276.0772
6 | 2604958.0734 | 1125352.5601 | 2604973.5383 | 1125329.817
7 | 2604958.0734 | 1125352.5601 | 2604955.4501 | 1125355.8262 | 2604959.0318 | 1125358.7861 | 2604961.5813 | 1125361.0226 | 2604958.4414 | 1125364.4662
8 | 2604897.1076 | 1125387.3614 | 2604883.4745 | 1125413.8968 | 2604881.0205 | 1125417.5967 | 2604878.3826 | 1125419.9179
9 | 2604897.1076 | 1125387.3614 | 2604900.4821 | 1125389.165 | 2604909.6507 | 1125396.0435
10 | 2604953.8442 | 1125206.4743 | 2604956.7421 | 1125206.8879 | 2604961.0034 | 1125208.2921 | 2604965.6576 | 1125210.1745 | 2605024.8208 | 1125244.9131
11 | 2604996.6928 | 1125386.3746 | 2605000.9449 | 1125380.0305 | 2605002.0418 | 1125377.1188 | 2605002.5226 | 1125373.5508
12 | 2604983.7663 | 1125387.0755 | 2604986.9524 | 1125383.5764 | 2604994.679 | 1125388.8519 | 2604996.6928 | 1125386.3746
13 | 2604996.6928 | 1125386.3746 | 2605003.5556 | 1125392.2497 | 2605001.7271 | 1125394.4493 | 2605007.5194 | 1125399.2341 | 2605012.8642 | 1125404.5855 | 2605010.1557 | 1125408.4296
14 | 2604976.3918 | 1125413.3156 | 2604982.6264 | 1125404.9833 | 2604983.8846 | 1125402.761 | 2604984.3798 | 1125400.3602 | 2604984.5437 | 1125397.8592 | 2604984.1602 | 1125395.5688 | 2604983.1295 | 1125392.9 | 2604982.4143 | 1125390.9429 | 2604982.4154 | 1125389.5756 | 2604982.9639 | 1125388.0531 | 2604983.7663 | 1125387.0755
15 | 2604978.9216 | 1125382.7139 | 2604983.7663 | 1125387.0755
16 | 2605010.1557 | 1125408.4296 | 2604996.2211 | 1125427.1906
17 | 2605010.1557 | 1125408.4296 | 2605012.8642 | 1125404.5855 | 2605019.8976 | 1125409.1602 | 2605025.9529 | 1125412.8336 | 2605028.0215 | 1125409.2669
18 | 2604958.4414 | 1125364.4662 | 2604958.8034 | 1125364.7777 | 2604971.0654 | 1125375.6485 | 2604978.9216 | 1125382.7139
19 | 2604947.716 | 1125378.8534 | 2604958.4414 | 1125364.4662
20 | 2604964.4646 | 1125388.8162 | 2604969.2424 | 1125390.0985 | 2604973.8448 | 1125389.0462 | 2604978.9216 | 1125382.7139
21 | 2605036.327 | 1125253.9424 | 2605033.4005 | 1125250.983 | 2605028.8096 | 1125247.2552 | 2605024.8208 | 1125244.9131
22 | 2604887.1946 | 1125427.0062 | 2604880.2537 | 1125422.3539 | 2604878.3826 | 1125419.9179
23 | 2604938.9178 | 1125414.5987 | 2604932.7603 | 1125410.7792 | 2604911.6517 | 1125397.5447 | 2604909.6507 | 1125396.0435
24 | 2605061.287 | 1125438.6864 | 2605051.2314 | 1125453.7076
25 | 2605061.287 | 1125438.6864 | 2605055.3549 | 1125435.1686 | 2605045.0159 | 1125429.424 | 2605038.5059 | 1125425.7391 | 2605037.7971 | 1125425.3272
26 | 2605061.287 | 1125438.6864 | 2605066.6256 | 1125442.1258 | 2605072.0331 | 1125446.0433 | 2605076.6163 | 1125449.5266
27 | 2605028.2645 | 1125441.9052 | 2605037.7971 | 1125425.3272
28 | 2605028.0215 | 1125409.2669 | 2605025.9529 | 1125412.8336 | 2605026.7772 | 1125413.3345 | 2605040.1053 | 1125421.0159 | 2605037.7971 | 1125425.3272
29 | 2605066.6536 | 1125464.1921 | 2605076.6163 | 1125449.5266
30 | 2605031.3713 | 1125403.6224 | 2605028.0215 | 1125409.2669
31 | 2605028.0215 | 1125409.2669 | 2605030.0708 | 1125410.5025 | 2605037.2895 | 1125414.6549 | 2605044.2463 | 1125418.607 | 2605050.0969 | 1125421.8727
32 | 2605050.0969 | 1125421.8727 | 2605050.6485 | 1125422.1807 | 2605054.9704 | 1125424.7855 | 2605059.1768 | 1125427.2124 | 2605063.4139 | 1125429.8505 | 2605066.8805 | 1125432.1545 | 2605066.8805 | 1125432.1545
33 | 2605098.9081 | 1125457.4156 | 2605097.5192 | 1125459.2153 | 2605096.0918 | 1125461.0039 | 2605093.9854 | 1125463.659 | 2605106.34 | 1125473.8409
34 | 2605098.9081 | 1125457.4156 | 2605093.7557 | 1125452.5311 | 2605090.9674 | 1125450.2499 | 2605083.5026 | 1125444.553
35 | 2605106.34 | 1125473.8409 | 2605104.698 | 1125474.2175 | 2605103.5731 | 1125473.6607 | 2605094.5913 | 1125467.2501 | 2605091.5334 | 1125464.813 | 2605089.6613 | 1125463.8221 | 2605088.043 | 1125463.3872 | 2605086.5474 | 1125463.7528 | 2605085.3599 | 1125464.3744 | 2605071.3117 | 1125482.7808
36 | 2605083.5026 | 1125444.553 | 2605079.7829 | 1125441.7143 | 2605069.6382 | 1125434.1021 | 2605066.8805 | 1125432.1545
37 | 2605036.327 | 1125253.9424 | 2605040.8896 | 1125254.5464 | 2605045.236 | 1125255.6172 | 2605049.8112 | 1125259.7007 | 2605060.128 | 1125283.4097 | 2605065.0847 | 1125292.0624 | 2605065.0847 | 1125292.0624
38 | 2605036.327 | 1125253.9424 | 2605035.2681 | 1125257.521 | 2605033.6854 | 1125260.7213 | 2605025.1235 | 1125277.5002
39 | 2604957.7946 | 1125430.3644 | 2604950.5249 | 1125422.5103 | 2604947.5826 | 1125419.9734 | 2604938.9178 | 1125414.5987
40 | 2605005.6272 | 1125318.9712 | 2605005.6597 | 1125316.9147 | 2605006.5177 | 1125313.9361 | 2605014.0035 | 1125299.2766
41 | 2605025.1235 | 1125277.5002 | 2605014.0035 | 1125299.2766
42 | 2605005.6272 | 1125318.9712 | 2605005.611 | 1125319.8939 | 2605006.5407 | 1125323.4853 | 2605007.8719 | 1125326.2432 | 2605027.8051 | 1125344.1905
43 | 2604994.7314 | 1125267.7929 | 2605015.0643 | 1125277.9478 | 2605018.0003 | 1125278.884 | 2605020.2978 | 1125278.1411 | 2605022.0561 | 1125277.142 | 2605023.7442 | 1125276.9655 | 2605025.1235 | 1125277.5002
44 | 2605027.8051 | 1125344.1905 | 2605031.2951 | 1125336.812
45 | 2605027.8051 | 1125344.1905 | 2605035.3019 | 1125350.9438
46 | 2605038.5881 | 1125353.9041 | 2605035.3019 | 1125350.9438
47 | 2605065.0847 | 1125292.0624 | 2605072.5249 | 1125298.8719 | 2605074.0126 | 1125299.346
48 | 2605038.5881 | 1125353.9041 | 2605057.2822 | 1125370.7454
49 | 2605038.5881 | 1125353.9041 | 2605049.5045 | 1125332.6249 | 2605061.4763 | 1125338.8864

## bus_geodata
| x | y | coords
0 | 2604956.2231 | 1125315.0366
1 | 2604935.0612 | 1125300.4605
2 | 2604947.4193 | 1125259.3727
3 | 2604958.0734 | 1125352.5601
4 | 2604897.1076 | 1125387.3614
5 | 2604953.8442 | 1125206.4743
6 | 2604978.4401 | 1125276.0772
7 | 2604996.6928 | 1125386.3746
8 | 2605002.5226 | 1125373.5508
9 | 2604983.7663 | 1125387.0755
10 | 2605010.1557 | 1125408.4296
11 | 2604973.5383 | 1125329.817
12 | 2604958.4414 | 1125364.4662
13 | 2604978.9216 | 1125382.7139
14 | 2604947.716 | 1125378.8534
15 | 2604976.3918 | 1125413.3156
16 | 2604964.4646 | 1125388.8162
17 | 2605024.8208 | 1125244.9131
18 | 2604878.3826 | 1125419.9179
19 | 2604909.6507 | 1125396.0435
20 | 2605061.287 | 1125438.6864
21 | 2605051.2314 | 1125453.7076
22 | 2605037.7971 | 1125425.3272
23 | 2605076.6163 | 1125449.5265
24 | 2605028.2645 | 1125441.9052
25 | 2605028.0215 | 1125409.2669
26 | 2605066.6536 | 1125464.1921
27 | 2605031.3713 | 1125403.6224
28 | 2605050.0969 | 1125421.8727
29 | 2605098.9081 | 1125457.4156
30 | 2605106.34 | 1125473.8409
31 | 2605083.5026 | 1125444.553
32 | 2604996.2211 | 1125427.1906
33 | 2605071.3117 | 1125482.7808
34 | 2605036.327 | 1125253.9424
35 | 2604887.1946 | 1125427.0062
36 | 2604938.9178 | 1125414.5987
37 | 2605066.8805 | 1125432.1545
38 | 2605014.0035 | 1125299.2766
39 | 2605005.6272 | 1125318.9712
40 | 2605025.1235 | 1125277.5002
41 | 2605027.8051 | 1125344.1905
42 | 2604994.7314 | 1125267.7929
43 | 2605031.2951 | 1125336.812
44 | 2605035.3019 | 1125350.9438
45 | 2605065.0847 | 1125292.0624
46 | 2605038.5881 | 1125353.9041
47 | 2605074.0126 | 1125299.346
48 | 2605061.4763 | 1125338.8864
49 | 2605057.2822 | 1125370.7454
50 | 2604957.7946 | 1125430.3644
51 | 2605031.2951 | 1125336.812

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1