## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6253-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6253-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6253-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6253-3_0_2_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_6253-3_0_2_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_6253-3_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_6253-3_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_6253-3_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6253-3_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6253-3_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6253-3_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6253-3_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6253-3_0_2_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_6253-3_0_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_6253-3_0_2_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_6253-3_0_2_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_6253-3_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6253-3_0_2_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_6253-3_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_6253-3_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6253-3_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_6253-3_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6253-3_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6253-3_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_6253-3_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_6253-3_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_6253-3_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_6253-3_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_MV_274_0_node_195 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6253-3_0_2_load_0 | 0 | 0.017619 | 0.0044158 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6253-3_0_2_load_1 | 1 | 0.0011995 | 0.00030061 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6253-3_0_2_load_9 | 5 | 0.0075847 | 0.0019009 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6253-3_0_2_load_3 | 6 | 0.0015265 | 0.00038257 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6253-3_0_2_load_4 | 7 | 0.0010051 | 0.00025191 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6253-3_0_2_load_6 | 9 | 0.0014758 | 0.00036988 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6253-3_0_2_load_7 | 10 | 0.00090873 | 0.00022775 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6253-3_0_2_load_27 | 13 | 0.0038939 | 0.00097591 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6253-3_0_2_load_29 | 14 | 0.0063403 | 0.001589 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6253-3_0_2_load_31 | 15 | 0.0050982 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6253-3_0_2_load_19 | 16 | 0.0028936 | 0.00072522 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6253-3_0_2_load_21 | 17 | 0.0014057 | 0.00035231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6253-3_0_2_load_17 | 18 | 0.0018217 | 0.00045655 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6253-3_0_2_load_20 | 19 | 0.015621 | 0.0039151 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6253-3_0_2_load_18 | 20 | 0.0020699 | 0.00051877 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6253-3_0_2_load_16 | 21 | 0.0018978 | 0.00047562 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6253-3_0_2_load_15 | 22 | 0.0029449 | 0.00073807 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6253-3_0_2_load_23 | 24 | 0.0068523 | 0.0017174 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6253-3_0_2_load_25 | 25 | 0.016153 | 0.0040483 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6253-3_0_2_load_24 | 26 | 0.0023196 | 0.00058135 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6253-3_0_2_line_0 |  | 0 | 1 | 0.064437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6253-3_0_2_line_1 |  | 1 | 2 | 0.10171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6253-3_0_2_line_2 |  | 2 | 3 | 0.04187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6253-3_0_2_line_3 |  | 3 | 4 | 0.34138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6253-3_0_2_line_4 |  | 3 | 5 | 0.034178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6253-3_0_2_line_5 |  | 4 | 16 | 0.016237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6253-3_0_2_line_6 |  | 4 | 17 | 0.18026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6253-3_0_2_line_7 |  | 6 | 7 | 0.0317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6253-3_0_2_line_8 |  | 6 | 8 | 0.018262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6253-3_0_2_line_9 |  | 7 | 9 | 0.034848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6253-3_0_2_line_10 |  | 8 | 10 | 0.22486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6253-3_0_2_line_11 |  | 9 | 11 | 0.080614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6253-3_0_2_line_12 |  | 11 | 12 | 0.365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6253-3_0_2_line_13 |  | 12 | 13 | 0.020989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6253-3_0_2_line_14 |  | 13 | 14 | 0.095623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6253-3_0_2_line_15 |  | 14 | 15 | 0.25625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6253-3_0_2_line_16 |  | 15 | 23 | 0.2998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6253-3_0_2_line_17 |  | 16 | 18 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6253-3_0_2_line_18 |  | 17 | 19 | 0.09602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6253-3_0_2_line_19 |  | 18 | 22 | 0.0099562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6253-3_0_2_line_20 |  | 19 | 23 | 0.13771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6253-3_0_2_line_21 |  | 20 | 21 | 0.011695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6253-3_0_2_line_22 |  | 21 | 22 | 0.016643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6253-3_0_2_line_23 |  | 23 | 24 | 0.10843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6253-3_0_2_line_24 |  | 24 | 25 | 0.028413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6253-3_0_2_line_25 |  | 25 | 26 | 0.010697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6253-3_0_2_line_26 |  | 26 | 27 | 0.024943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6253-3_0_2_trafo_26 | 0.63 MVA 20/0.4 kV | 28 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2606893.9434 | 1131177.9024 | 2606887.1221 | 1131178.1439 | 2606870.8588 | 1131178.1478 | 2606854.9137 | 1131176.0399 | 2606839.6337 | 1131171.3094 | 2606830.8924 | 1131168.2272
1 | 2606737.9321 | 1131180.5008 | 2606740.448 | 1131175.5011 | 2606743.7807 | 1131169.9243 | 2606749.569 | 1131165.1395 | 2606759.2586 | 1131162.8602 | 2606812.236 | 1131164.1419 | 2606825.4013 | 1131166.291 | 2606830.8924 | 1131168.2272
2 | 2606705.1161 | 1131205.8103 | 2606711.4489 | 1131202.9714 | 2606720.7655 | 1131196.7342 | 2606731.9175 | 1131188.0756 | 2606737.9321 | 1131180.5008
3 | 2606705.1161 | 1131205.8103 | 2606707.6557 | 1131214.1616 | 2606712.4189 | 1131217.1683 | 2606720.6965 | 1131217.4331 | 2606740.763 | 1131210.952 | 2606759.5777 | 1131208.4716 | 2606774.6225 | 1131209.989 | 2606800.1863 | 1131225.0137 | 2606810.6887 | 1131232.718 | 2606827.4924 | 1131245.0428 | 2606836.5167 | 1131252.3009 | 2606837.0105 | 1131258.3044 | 2606834.7501 | 1131262.0481 | 2606826.4704 | 1131263.7952 | 2606808.1691 | 1131261.7738 | 2606794.3798 | 1131260.002 | 2606787.102 | 1131260.9944 | 2606775.8133 | 1131267.9853 | 2606754.4677 | 1131289.2053 | 2606739.1577 | 1131304.9405 | 2606737.6866 | 1131312.1979 | 2606740.1358 | 1131325.685 | 2606740.8791 | 1131335.9352 | 2606750.6547 | 1131339.2032 | 2606762.6862 | 1131342.7071 | 2606771.9366 | 1131347.4085
4 | 2606705.1161 | 1131205.8103 | 2606700.2394 | 1131208.006 | 2606686.9282 | 1131212.5158 | 2606672.2166 | 1131213.8922
5 | 2606771.9366 | 1131347.4085 | 2606780.1488 | 1131343.9604 | 2606785.6645 | 1131339.1321
6 | 2606771.9366 | 1131347.4085 | 2606765.6195 | 1131350.0584 | 2606742.2416 | 1131357.2026 | 2606722.7952 | 1131360.4272 | 2606716.0008 | 1131362.9432 | 2606714.4003 | 1131368.911 | 2606717.1432 | 1131374.4945 | 2606724.8862 | 1131377.46 | 2606736.6994 | 1131376.4059 | 2606747.5331 | 1131376.718 | 2606759.7652 | 1131379.8775 | 2606794.3924 | 1131393.9673 | 2606805.6786 | 1131395.8919 | 2606812.3566 | 1131394.0318 | 2606821.3066 | 1131389.0926
7 | 2606297.976 | 1131931.0955 | 2606298.6334 | 1131933.8763 | 2606302.5737 | 1131943.1182 | 2606309.5582 | 1131960.5682
8 | 2606303.9731 | 1131915.0949 | 2606301.3989 | 1131917.6157 | 2606298.0137 | 1131922.5813 | 2606297.2612 | 1131928.0721 | 2606297.976 | 1131931.0955
9 | 2606309.5582 | 1131960.5682 | 2606313.8934 | 1131971.3992 | 2606315.1375 | 1131974.5132 | 2606318.5289 | 1131978.4075 | 2606321.9751 | 1131981.4125 | 2606324.9994 | 1131982.883 | 2606328.0397 | 1131983.7643 | 2606331.4619 | 1131984.7573
10 | 2606303.9731 | 1131915.0949 | 2606310.7872 | 1131907.6206 | 2606312.7769 | 1131904.4544 | 2606313.1437 | 1131899.7303 | 2606312.0184 | 1131893.3927 | 2606308.9174 | 1131884.0627 | 2606301.5323 | 1131862.9448 | 2606295.203 | 1131848.3312 | 2606281.4927 | 1131823.4049 | 2606276.0358 | 1131813.828 | 2606272.9461 | 1131800.963 | 2606269.0542 | 1131774.5017 | 2606268.1125 | 1131754.2353 | 2606273.1546 | 1131747.8707 | 2606279.9911 | 1131748.6892 | 2606283.2646 | 1131755.0401 | 2606288.7905 | 1131764.9395 | 2606303.1922 | 1131776.5156
11 | 2606357.5521 | 1132027.4385 | 2606368.5227 | 1132028.2614 | 2606374.1761 | 1132026.2552 | 2606375.3277 | 1132022.0877 | 2606373.822 | 1132018.8068 | 2606359.0335 | 1132009.6425 | 2606353.1643 | 1132004.4783 | 2606349.006 | 1131997.6595 | 2606345.4618 | 1131992.6534 | 2606341.0157 | 1131988.6913 | 2606336.2679 | 1131986.1518 | 2606331.4619 | 1131984.7573
12 | 2606357.5521 | 1132027.4385 | 2606722.5058 | 1132021.3709
13 | 2606722.5058 | 1132021.3709 | 2606734.3564 | 1132020.15 | 2606743.4314 | 1132020.2354
14 | 2606812.4992 | 1131969.7233 | 2606804.1481 | 1131987.9228 | 2606796.6251 | 1132002.4437 | 2606790.2879 | 1132009.8959 | 2606783.4678 | 1132015.4688 | 2606774.9876 | 1132018.4386 | 2606766.7633 | 1132019.7078 | 2606754.4283 | 1132020.3389 | 2606743.4314 | 1132020.2354
15 | 2606812.4992 | 1131969.7233 | 2606973.9712 | 1131770.7528
16 | 2607006.1475 | 1131472.6894 | 2606973.9712 | 1131770.7528
17 | 2606785.6645 | 1131339.1321 | 2606790.1303 | 1131335.2228 | 2606795.2963 | 1131327.7053
18 | 2606821.3066 | 1131389.0926 | 2606838.8923 | 1131379.3876 | 2606852.8358 | 1131373.8117 | 2606866.9993 | 1131371.1374 | 2606880.1018 | 1131373.9758 | 2606908.8014 | 1131390.4592
19 | 2606795.2963 | 1131327.7053 | 2606799.0461 | 1131322.2486 | 2606801.3783 | 1131319.8643
20 | 2607006.1475 | 1131472.6894 | 2607010.4826 | 1131465.9467 | 2607009.2042 | 1131459.4532 | 2606998.758 | 1131450.3367 | 2606986.925 | 1131441.9191 | 2606950.593 | 1131424.3802 | 2606936.9728 | 1131416.5386 | 2606926.5213 | 1131405.1657 | 2606915.1069 | 1131394.0807 | 2606908.8014 | 1131390.4592
21 | 2606825.6856 | 1131306.3448 | 2606814.8216 | 1131310.6757
22 | 2606801.3783 | 1131319.8643 | 2606807.5183 | 1131313.5872 | 2606814.8216 | 1131310.6757
23 | 2607006.1475 | 1131472.6894 | 2606986.3529 | 1131464.0292 | 2606947.5203 | 1131458.4822 | 2606916.9463 | 1131455.9907 | 2606901.2383 | 1131462.2814
24 | 2606901.2383 | 1131462.2814 | 2606898.3731 | 1131463.4288 | 2606873.8954 | 1131469.9312
25 | 2606873.8954 | 1131469.9312 | 2606863.5574 | 1131472.6774
26 | 2606839.4504 | 1131479.0812 | 2606863.5574 | 1131472.6774

## bus_geodata
| x | y | coords
0 | 2606893.9434 | 1131177.9024
1 | 2606830.8924 | 1131168.2272
2 | 2606737.9321 | 1131180.5008
3 | 2606705.1161 | 1131205.8103
4 | 2606771.9366 | 1131347.4085
5 | 2606672.2166 | 1131213.8922
6 | 2606297.976 | 1131931.0955
7 | 2606309.5582 | 1131960.5682
8 | 2606303.9731 | 1131915.0949
9 | 2606331.4619 | 1131984.7573
10 | 2606303.1922 | 1131776.5156
11 | 2606357.5521 | 1132027.4385
12 | 2606722.5058 | 1132021.3709
13 | 2606743.4314 | 1132020.2354
14 | 2606812.4992 | 1131969.7233
15 | 2606973.9712 | 1131770.7528
16 | 2606785.6645 | 1131339.1321
17 | 2606821.3066 | 1131389.0926
18 | 2606795.2963 | 1131327.7053
19 | 2606908.8014 | 1131390.4592
20 | 2606825.6856 | 1131306.3448
21 | 2606814.8216 | 1131310.6757
22 | 2606801.3783 | 1131319.8643
23 | 2607006.1475 | 1131472.6894
24 | 2606901.2383 | 1131462.2814
25 | 2606873.8954 | 1131469.9312
26 | 2606863.5574 | 1131472.6774
27 | 2606839.4504 | 1131479.0812
28 | 2607006.1475 | 1131472.6894

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1