## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6253-40_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6253-40_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6253-40_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6253-40_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6253-40_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6253-40_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6253-40_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6253-40_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6253-40_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6253-40_0_4_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_6253-40_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6253-40_0_4_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_6253-40_0_4_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_6253-40_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6253-40_0_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_6253-40_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_6253-40_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6253-40_0_4_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_6253-40_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6253-40_0_4_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_6253-40_0_4_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_6253-40_0_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_6253-40_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6253-40_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6253-40_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6253-40_0_4_node_78 | 0.4 | n |  | TRUE
26 | bus_LV_6253-40_0_4_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_6253-40_0_4_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_6253-40_0_4_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_6253-40_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6253-40_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6253-40_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6253-40_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6253-40_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_6253-40_0_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_6253-40_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6253-40_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6253-40_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_6253-40_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6253-40_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_6253-40_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_6253-40_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6253-40_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6253-40_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_6253-40_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6253-40_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_6253-40_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6253-40_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6253-40_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_6253-40_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6253-40_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_6253-40_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_6253-40_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6253-40_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6253-40_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_6253-40_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_6253-40_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_6253-40_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_6253-40_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6253-40_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_6253-40_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6253-40_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_6253-40_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_6253-40_0_4_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_6253-40_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_6253-40_0_4_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_6253-40_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_6253-40_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_6253-40_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_6253-40_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6253-40_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6253-40_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_6253-40_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_6253-40_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6253-40_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_6253-40_0_4_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_6253-40_0_4_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_6253-40_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_6253-40_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_6253-40_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6253-40_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_6253-40_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_6253-40_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_6253-40_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_6253-40_0_4_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_6253-40_0_4_node_89 | 0.4 | n |  | TRUE
86 | bus_MV_113_0_node_180 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6253-40_0_4_load_0 | 0 | 0.0050778 | 0.0012726 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6253-40_0_4_load_1 | 1 | 0.0059343 | 0.0014873 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6253-40_0_4_load_3 | 3 | 0.0052657 | 0.0013197 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6253-40_0_4_load_4 | 4 | 0.017505 | 0.0043871 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6253-40_0_4_load_5 | 5 | 0.012669 | 0.0031751 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6253-40_0_4_load_6 | 6 | 0.0052292 | 0.0013106 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6253-40_0_4_load_8 | 8 | 0.005381 | 0.0013486 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6253-40_0_4_load_73 | 9 | 0.021076 | 0.0052822 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6253-40_0_4_load_9 | 10 | 0.016001 | 0.0040101 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6253-40_0_4_load_69 | 11 | 0.0069406 | 0.0017395 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6253-40_0_4_load_11 | 13 | 0.012616 | 0.0031618 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6253-40_0_4_load_41 | 14 | 0.0026105 | 0.00065424 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6253-40_0_4_load_16 | 15 | 0.013058 | 0.0032727 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6253-40_0_4_load_13 | 16 | 0.0073741 | 0.0018481 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6253-40_0_4_load_84 | 17 | 0.0051261 | 0.0012847 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6253-40_0_4_load_14 | 18 | 0.012219 | 0.0030624 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6253-40_0_4_load_87 | 19 | 0.0098463 | 0.0024677 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6253-40_0_4_load_90 | 20 | 0.0056827 | 0.0014242 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6253-40_0_4_load_43 | 21 | 0.0033058 | 0.00082852 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6253-40_0_4_load_15 | 22 | 0.0051656 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6253-40_0_4_load_17 | 23 | 0.011956 | 0.0029966 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6253-40_0_4_load_78 | 25 | 0.013743 | 0.0034444 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6253-40_0_4_load_75 | 26 | 0.0071775 | 0.0017989 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6253-40_0_4_load_80 | 27 | 0.0082966 | 0.0020793 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6253-40_0_4_load_76 | 28 | 0.010433 | 0.0026148 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6253-40_0_4_load_19 | 29 | 0.013522 | 0.0033888 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6253-40_0_4_load_20 | 30 | 0.0050203 | 0.0012582 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6253-40_0_4_load_22 | 31 | 0.009902 | 0.0024817 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6253-40_0_4_load_23 | 32 | 0.0027341 | 0.00068524 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6253-40_0_4_load_48 | 33 | 0.0084426 | 0.0021159 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6253-40_0_4_load_49 | 34 | 0.0040638 | 0.0010185 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6253-40_0_4_load_24 | 35 | 0.0053048 | 0.0013295 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6253-40_0_4_load_25 | 36 | 0.0075236 | 0.0018856 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6253-40_0_4_load_26 | 37 | 0.0070272 | 0.0017612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6253-40_0_4_load_27 | 38 | 0.0071313 | 0.0017873 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6253-40_0_4_load_34 | 39 | 0.0070178 | 0.0017588 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6253-40_0_4_load_44 | 40 | 0.0042418 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6253-40_0_4_load_28 | 41 | 0.0013989 | 0.0003506 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6253-40_0_4_load_30 | 43 | 0.0037313 | 0.00093515 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6253-40_0_4_load_31 | 44 | 0.0035986 | 0.00090189 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6253-40_0_4_load_33 | 46 | 0.0038493 | 0.00096472 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6253-40_0_4_load_39 | 47 | 0.0016115 | 0.00040388 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6253-40_0_4_load_38 | 48 | 0.0023955 | 0.00060037 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6253-40_0_4_load_36 | 51 | 0.0043776 | 0.0010971 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6253-40_0_4_load_45 | 52 | 0.0015812 | 0.00039629 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6253-40_0_4_load_46 | 53 | 0.0015801 | 0.000396 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6253-40_0_4_load_35 | 54 | 0.0036978 | 0.00092675 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6253-40_0_4_load_37 | 55 | 0.021886 | 0.0054852 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6253-40_0_4_load_47 | 56 | 0.0052247 | 0.0013094 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6253-40_0_4_load_52 | 57 | 0.01428 | 0.0035788 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6253-40_0_4_load_50 | 59 | 0.0039953 | 0.0010013 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6253-40_0_4_load_51 | 60 | 0.0057686 | 0.0014457 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6253-40_0_4_load_54 | 61 | 0.0044095 | 0.0011051 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6253-40_0_4_load_63 | 62 | 0.0038304 | 0.00095999 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6253-40_0_4_load_67 | 63 | 0.0049878 | 0.0012501 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6253-40_0_4_load_64 | 64 | 0.012866 | 0.0032246 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6253-40_0_4_load_68 | 65 | 0.0075097 | 0.0018821 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6253-40_0_4_load_66 | 67 | 0.0052712 | 0.0013211 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6253-40_0_4_load_55 | 68 | 0.00506 | 0.0012682 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6253-40_0_4_load_56 | 69 | 0.0028372 | 0.00071107 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6253-40_0_4_load_59 | 72 | 0.0062069 | 0.0015556 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6253-40_0_4_load_65 | 73 | 0.012155 | 0.0030463 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6253-40_0_4_load_85 | 75 | 0.0049172 | 0.0012324 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6253-40_0_4_load_86 | 76 | 0.006563 | 0.0016448 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6253-40_0_4_load_70 | 77 | 0.023345 | 0.0058508 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6253-40_0_4_load_72 | 78 | 0.0053219 | 0.0013338 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6253-40_0_4_load_74 | 79 | 0.0076239 | 0.0019107 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6253-40_0_4_load_77 | 80 | 0.0031489 | 0.00078919 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6253-40_0_4_load_79 | 81 | 0.0033199 | 0.00083206 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6253-40_0_4_load_81 | 82 | 0.013937 | 0.0034929 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6253-40_0_4_load_82 | 83 | 0.010121 | 0.0025366 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6253-40_0_4_load_88 | 84 | 0.0073811 | 0.0018499 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6253-40_0_4_load_89 | 85 | 0.0059893 | 0.0015011 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6253-40_0_4_line_0 |  | 0 | 1 | 0.0035521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6253-40_0_4_line_1 |  | 0 | 2 | 0.014696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6253-40_0_4_line_2 |  | 1 | 3 | 0.023469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6253-40_0_4_line_3 |  | 2 | 4 | 0.011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6253-40_0_4_line_4 |  | 2 | 5 | 0.02555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6253-40_0_4_line_5 |  | 3 | 6 | 0.0058061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6253-40_0_4_line_6 |  | 4 | 7 | 0.01344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6253-40_0_4_line_7 |  | 5 | 8 | 0.015825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6253-40_0_4_line_8 |  | 6 | 9 | 0.006373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6253-40_0_4_line_9 |  | 7 | 10 | 0.0089682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6253-40_0_4_line_10 |  | 8 | 11 | 0.006825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6253-40_0_4_line_11 |  | 9 | 12 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6253-40_0_4_line_12 |  | 10 | 13 | 0.0054782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6253-40_0_4_line_13 |  | 11 | 14 | 0.0064086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6253-40_0_4_line_14 |  | 12 | 78 | 0.025627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6253-40_0_4_line_15 |  | 12 | 77 | 0.019648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6253-40_0_4_line_16 |  | 13 | 15 | 0.00062611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6253-40_0_4_line_17 |  | 14 | 47 | 0.01164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6253-40_0_4_line_18 |  | 15 | 18 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6253-40_0_4_line_19 |  | 16 | 17 | 0.013489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6253-40_0_4_line_20 |  | 17 | 21 | 0.010182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6253-40_0_4_line_21 |  | 18 | 22 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6253-40_0_4_line_22 |  | 19 | 20 | 0.0063031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6253-40_0_4_line_23 |  | 20 | 85 | 0.010284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6253-40_0_4_line_24 |  | 21 | 50 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6253-40_0_4_line_25 |  | 22 | 23 | 0.014267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6253-40_0_4_line_26 |  | 23 | 24 | 0.018851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6253-40_0_4_line_27 |  | 24 | 25 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6253-40_0_4_line_28 |  | 24 | 26 | 0.0026997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6253-40_0_4_line_29 |  | 25 | 27 | 0.017958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6253-40_0_4_line_30 |  | 26 | 28 | 0.0053448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6253-40_0_4_line_31 |  | 27 | 83 | 0.0076774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6253-40_0_4_line_32 |  | 28 | 80 | 0.0070512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6253-40_0_4_line_33 |  | 29 | 30 | 0.0069773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6253-40_0_4_line_34 |  | 30 | 31 | 0.024482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6253-40_0_4_line_35 |  | 31 | 32 | 0.0077844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6253-40_0_4_line_36 |  | 32 | 33 | 0.0012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6253-40_0_4_line_37 |  | 33 | 34 | 0.011256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6253-40_0_4_line_38 |  | 34 | 59 | 0.0010345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6253-40_0_4_line_39 |  | 35 | 36 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6253-40_0_4_line_40 |  | 36 | 37 | 0.016534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6253-40_0_4_line_41 |  | 37 | 38 | 0.00043231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6253-40_0_4_line_42 |  | 38 | 39 | 0.020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6253-40_0_4_line_43 |  | 39 | 40 | 0.008177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6253-40_0_4_line_44 |  | 40 | 52 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6253-40_0_4_line_45 |  | 41 | 42 | 0.04314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6253-40_0_4_line_46 |  | 42 | 43 | 0.01897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6253-40_0_4_line_47 |  | 42 | 44 | 0.018408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6253-40_0_4_line_48 |  | 43 | 45 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6253-40_0_4_line_49 |  | 44 | 46 | 0.016598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6253-40_0_4_line_50 |  | 45 | 47 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6253-40_0_4_line_51 |  | 45 | 48 | 0.026347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6253-40_0_4_line_52 |  | 46 | 49 | 0.013376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6253-40_0_4_line_53 |  | 48 | 51 | 0.010362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6253-40_0_4_line_54 |  | 49 | 52 | 0.0086961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6253-40_0_4_line_55 |  | 49 | 53 | 0.022001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6253-40_0_4_line_56 |  | 49 | 50 | 0.021853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6253-40_0_4_line_57 |  | 51 | 54 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6253-40_0_4_line_58 |  | 53 | 56 | 0.0086575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6253-40_0_4_line_59 |  | 54 | 55 | 0.039323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6253-40_0_4_line_60 |  | 56 | 57 | 0.010188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6253-40_0_4_line_61 |  | 57 | 58 | 0.025132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_6253-40_0_4_line_62 |  | 58 | 63 | 0.0033984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6253-40_0_4_line_63 |  | 58 | 64 | 0.011524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6253-40_0_4_line_64 |  | 59 | 60 | 0.003764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6253-40_0_4_line_65 |  | 60 | 61 | 0.005937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6253-40_0_4_line_66 |  | 61 | 62 | 0.008291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6253-40_0_4_line_67 |  | 62 | 67 | 0.0068127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6253-40_0_4_line_68 |  | 63 | 65 | 0.004051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6253-40_0_4_line_69 |  | 64 | 66 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6253-40_0_4_line_70 |  | 65 | 74 | 0.0065514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6253-40_0_4_line_71 |  | 66 | 73 | 0.010822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6253-40_0_4_line_72 |  | 66 | 71 | 0.03354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6253-40_0_4_line_73 |  | 67 | 73 | 0.00044439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6253-40_0_4_line_74 |  | 68 | 69 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6253-40_0_4_line_75 |  | 68 | 70 | 0.085799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6253-40_0_4_line_76 |  | 69 | 71 | 0.047286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6253-40_0_4_line_77 |  | 70 | 72 | 0.067034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6253-40_0_4_line_78 |  | 74 | 75 | 0.011672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6253-40_0_4_line_79 |  | 75 | 76 | 0.00058863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6253-40_0_4_line_80 |  | 76 | 84 | 0.01337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6253-40_0_4_line_81 |  | 78 | 79 | 0.058499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6253-40_0_4_line_82 |  | 80 | 81 | 0.012168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6253-40_0_4_line_83 |  | 81 | 82 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6253-40_0_4_line_84 |  | 84 | 85 | 0.0025928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6253-40_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 86 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2602841.0542 | 1126276.1154 | 2602842.8742 | 1126273.0649
1 | 2602832.0702 | 1126287.5156 | 2602836.5727 | 1126283.6269 | 2602841.0542 | 1126276.1154
2 | 2602861.9609 | 1126261.2498 | 2602852.9816 | 1126263.7025 | 2602845.7892 | 1126268.1791 | 2602842.8742 | 1126273.0649
3 | 2602832.0702 | 1126287.5156 | 2602829.3865 | 1126298.869
4 | 2602832.0702 | 1126287.5156 | 2602829.2841 | 1126279.4326 | 2602824.0698 | 1126272.7936 | 2602816.5754 | 1126268.661
5 | 2602864.0926 | 1126255.8492 | 2602861.9609 | 1126261.2498 | 2602861.9609 | 1126261.2498
6 | 2602824.3451 | 1126311.2125 | 2602828.1632 | 1126304.0441 | 2602829.3865 | 1126298.869
7 | 2602801.7126 | 1126263.307 | 2602804.9917 | 1126264.8923 | 2602816.5038 | 1126268.6215 | 2602816.5754 | 1126268.661
8 | 2602864.0926 | 1126255.8492 | 2602866.4323 | 1126249.9212
9 | 2602824.3451 | 1126311.2125 | 2602833.238 | 1126312.3727
10 | 2602795.568 | 1126260.3364 | 2602801.7126 | 1126263.307
11 | 2602875.0065 | 1126231.9194 | 2602869.3834 | 1126242.4441 | 2602866.4323 | 1126249.9212
12 | 2602837.222 | 1126308.6126 | 2602833.238 | 1126312.3727
13 | 2602789.7983 | 1126257.5471 | 2602795.568 | 1126260.3364
14 | 2602875.0065 | 1126231.9194 | 2602883.5452 | 1126232.5903 | 2602895.4499 | 1126237.0758 | 2602899.4765 | 1126238.6958
15 | 2602875.0065 | 1126231.9194 | 2602889.9259 | 1126219.135
16 | 2602837.222 | 1126308.6126 | 2602837.6773 | 1126308.1828
17 | 2602779.3184 | 1126252.4806 | 2602789.7983 | 1126257.5471
18 | 2602850.4237 | 1126295.5612 | 2602847.7626 | 1126300.5625 | 2602844.7791 | 1126302.8956 | 2602841.1021 | 1126304.9504 | 2602837.6773 | 1126308.1828
19 | 2602771.9323 | 1126302.0055 | 2602783.9067 | 1126308.2148
20 | 2602762.8936 | 1126297.3184 | 2602771.9323 | 1126302.0055
21 | 2602850.4237 | 1126295.5612 | 2602850.4237 | 1126295.5612 | 2602863.2702 | 1126296.501 | 2602865.6598 | 1126297.0588
22 | 2602788.3241 | 1126340.5585 | 2602792.5036 | 1126340.6791 | 2602794.5988 | 1126341.0146
23 | 2602788.3241 | 1126340.5585 | 2602778.0447 | 1126340.2621
24 | 2602745.8867 | 1126288.4995 | 2602762.8936 | 1126297.3184
25 | 2602879.5535 | 1126300.3022 | 2602865.6598 | 1126297.0588
26 | 2602897.8922 | 1126304.6655 | 2602892.0898 | 1126303.2287 | 2602879.5535 | 1126300.3022
27 | 2602897.8922 | 1126304.6655 | 2602898.0595 | 1126316.7208
28 | 2602897.8922 | 1126304.6655 | 2602900.583 | 1126304.4472
29 | 2602898.0595 | 1126316.7208 | 2602898.1009 | 1126319.7062 | 2602891.9702 | 1126333.3657
30 | 2602900.583 | 1126304.4472 | 2602905.9103 | 1126304.0151
31 | 2602891.9702 | 1126333.3657 | 2602889.5609 | 1126338.7337 | 2602888.9517 | 1126340.4206
32 | 2602912.8963 | 1126303.9223 | 2602911.5179 | 1126303.5602 | 2602905.9103 | 1126304.0151
33 | 2602647.384 | 1126290.9172 | 2602641.9537 | 1126286.536
34 | 2602647.384 | 1126290.9172 | 2602666.438 | 1126306.2901
35 | 2602666.438 | 1126306.2901 | 2602672.4964 | 1126311.1781
36 | 2602673.4401 | 1126311.9394 | 2602672.4964 | 1126311.1781
37 | 2602673.4401 | 1126311.9394 | 2602682.2004 | 1126319.0072
38 | 2602682.2004 | 1126319.0072 | 2602683.0055 | 1126319.6568
39 | 2602670.5016 | 1126211.7327 | 2602680.0647 | 1126222.5178
40 | 2602691.034 | 1126234.8887 | 2602680.0647 | 1126222.5178
41 | 2602691.034 | 1126234.8887 | 2602691.3208 | 1126235.2122
42 | 2602691.3208 | 1126235.2122 | 2602704.8482 | 1126250.468
43 | 2602704.8482 | 1126250.468 | 2602710.2732 | 1126256.5862
44 | 2602710.2732 | 1126256.5862 | 2602719.3392 | 1126266.8106 | 2602721.9681 | 1126269.6934
45 | 2602734.5383 | 1126228.2207 | 2602723.1649 | 1126206.7052 | 2602717.3824 | 1126194.7524 | 2602712.9454 | 1126191.4592
46 | 2602734.5383 | 1126228.2207 | 2602751.099 | 1126237.4727
47 | 2602734.5383 | 1126228.2207 | 2602731.4585 | 1126246.3688
48 | 2602769.2483 | 1126247.6122 | 2602751.099 | 1126237.4727
49 | 2602731.4585 | 1126246.3688 | 2602730.9994 | 1126249.0738 | 2602729.3858 | 1126262.8336
50 | 2602769.2483 | 1126247.6122 | 2602779.3184 | 1126252.4806
51 | 2602769.2483 | 1126247.6122 | 2602778.0307 | 1126222.7718
52 | 2602727.8278 | 1126276.1189 | 2602729.3858 | 1126262.8336
53 | 2602781.6099 | 1126213.0565 | 2602781.1316 | 1126214.0012 | 2602778.0307 | 1126222.7718
54 | 2602727.8278 | 1126276.1189 | 2602721.9681 | 1126269.6934
55 | 2602727.8278 | 1126276.1189 | 2602726.9837 | 1126298.1032
56 | 2602745.8867 | 1126288.4995 | 2602727.8278 | 1126276.1189
57 | 2602781.6099 | 1126213.0565 | 2602781.6099 | 1126213.0565 | 2602782.0855 | 1126197.8025
58 | 2602726.9837 | 1126298.1032 | 2602726.6516 | 1126306.7543
59 | 2602784.4858 | 1126158.6201 | 2602783.0564 | 1126166.6679 | 2602782.0855 | 1126197.8025
60 | 2602726.6516 | 1126306.7543 | 2602726.5337 | 1126309.8236 | 2602726.3262 | 1126316.9371
61 | 2602735.8381 | 1126339.0419 | 2602728.1821 | 1126329.2005 | 2602726.119 | 1126324.0415 | 2602726.3262 | 1126316.9371
62 | 2602735.8381 | 1126339.0419 | 2602739.235 | 1126339.1406
63 | 2602735.8381 | 1126339.0419 | 2602724.3167 | 1126339.2703
64 | 2602683.0055 | 1126319.6568 | 2602685.9349 | 1126322.0203
65 | 2602690.5556 | 1126325.7483 | 2602685.9349 | 1126322.0203
66 | 2602690.5556 | 1126325.7483 | 2602697.0083 | 1126330.9544
67 | 2602697.0083 | 1126330.9544 | 2602697.0083 | 1126330.9544 | 2602703.2015 | 1126333.7927
68 | 2602743.2843 | 1126339.2582 | 2602739.235 | 1126339.1406
69 | 2602713.7903 | 1126337.5871 | 2602724.3167 | 1126339.2703
70 | 2602749.833 | 1126339.4483 | 2602743.2843 | 1126339.2582
71 | 2602713.7903 | 1126337.5871 | 2602706.3314 | 1126335.2272 | 2602703.6055 | 1126333.9779
72 | 2602711.3559 | 1126370.8801 | 2602712.3931 | 1126360.3754 | 2602711.7815 | 1126349.2475 | 2602713.7903 | 1126337.5871
73 | 2602703.2015 | 1126333.7927 | 2602703.6055 | 1126333.9779
74 | 2602651.6756 | 1126351.6664 | 2602667.0446 | 1126359.6058
75 | 2602569.7416 | 1126332.0676 | 2602592.3147 | 1126330.8542 | 2602627.2447 | 1126339.9399 | 2602648.9419 | 1126350.2542 | 2602651.6756 | 1126351.6664
76 | 2602711.3559 | 1126370.8801 | 2602699.3716 | 1126372.32 | 2602691.9273 | 1126371.9054 | 2602678.0816 | 1126365.3073 | 2602667.0446 | 1126359.6058
77 | 2602569.7416 | 1126332.0676 | 2602577.224 | 1126333.7382 | 2602599.7465 | 1126342.8076 | 2602623.3966 | 1126368.7262
78 | 2602749.833 | 1126339.4483 | 2602761.5001 | 1126339.7849
79 | 2602762.0885 | 1126339.8018 | 2602761.5001 | 1126339.7849
80 | 2602775.453 | 1126340.1873 | 2602762.0885 | 1126339.8018
81 | 2602955.191 | 1126255.6909 | 2602940.3657 | 1126250.7592 | 2602920.1528 | 1126247.1701 | 2602910.4982 | 1126243.1303 | 2602899.4765 | 1126238.6958
82 | 2602912.8963 | 1126303.9223 | 2602924.6647 | 1126307.0139
83 | 2602941.2771 | 1126311.3781 | 2602924.6647 | 1126307.0139
84 | 2602775.453 | 1126340.1873 | 2602778.0447 | 1126340.2621

## bus_geodata
| x | y | coords
0 | 2602841.0542 | 1126276.1154
1 | 2602842.8742 | 1126273.0649
2 | 2602832.0702 | 1126287.5156
3 | 2602861.9609 | 1126261.2498
4 | 2602829.3865 | 1126298.869
5 | 2602816.5754 | 1126268.661
6 | 2602864.0926 | 1126255.8492
7 | 2602824.3451 | 1126311.2125
8 | 2602801.7126 | 1126263.307
9 | 2602866.4323 | 1126249.9212
10 | 2602833.238 | 1126312.3727
11 | 2602795.568 | 1126260.3364
12 | 2602875.0065 | 1126231.9194
13 | 2602837.222 | 1126308.6126
14 | 2602789.7983 | 1126257.5471
15 | 2602837.6773 | 1126308.1828
16 | 2602783.9067 | 1126308.2148
17 | 2602771.9323 | 1126302.0055
18 | 2602850.4237 | 1126295.5612
19 | 2602794.5988 | 1126341.0146
20 | 2602788.3241 | 1126340.5585
21 | 2602762.8936 | 1126297.3184
22 | 2602865.6598 | 1126297.0588
23 | 2602879.5535 | 1126300.3022
24 | 2602897.8922 | 1126304.6655
25 | 2602898.0595 | 1126316.7208
26 | 2602900.583 | 1126304.4472
27 | 2602891.9702 | 1126333.3657
28 | 2602905.9103 | 1126304.0151
29 | 2602641.9537 | 1126286.536
30 | 2602647.384 | 1126290.9172
31 | 2602666.438 | 1126306.2901
32 | 2602672.4964 | 1126311.1781
33 | 2602673.4401 | 1126311.9394
34 | 2602682.2004 | 1126319.0072
35 | 2602670.5016 | 1126211.7327
36 | 2602680.0647 | 1126222.5178
37 | 2602691.034 | 1126234.8887
38 | 2602691.3208 | 1126235.2122
39 | 2602704.8482 | 1126250.468
40 | 2602710.2732 | 1126256.5862
41 | 2602712.9454 | 1126191.4592
42 | 2602734.5383 | 1126228.2207
43 | 2602751.099 | 1126237.4727
44 | 2602731.4585 | 1126246.3688
45 | 2602769.2483 | 1126247.6122
46 | 2602729.3858 | 1126262.8336
47 | 2602779.3184 | 1126252.4806
48 | 2602778.0307 | 1126222.7718
49 | 2602727.8278 | 1126276.1189
50 | 2602745.8867 | 1126288.4995
51 | 2602781.6099 | 1126213.0565
52 | 2602721.9681 | 1126269.6934
53 | 2602726.9837 | 1126298.1032
54 | 2602782.0855 | 1126197.8025
55 | 2602784.4858 | 1126158.6201
56 | 2602726.6516 | 1126306.7543
57 | 2602726.3262 | 1126316.9371
58 | 2602735.8381 | 1126339.042
59 | 2602683.0055 | 1126319.6568
60 | 2602685.9349 | 1126322.0203
61 | 2602690.5556 | 1126325.7483
62 | 2602697.0083 | 1126330.9544
63 | 2602739.235 | 1126339.1406
64 | 2602724.3167 | 1126339.2703
65 | 2602743.2843 | 1126339.2582
66 | 2602713.7903 | 1126337.5871
67 | 2602703.2015 | 1126333.7927
68 | 2602651.6756 | 1126351.6664
69 | 2602667.0446 | 1126359.6058
70 | 2602569.7416 | 1126332.0676
71 | 2602711.3559 | 1126370.8801
72 | 2602623.3966 | 1126368.7262
73 | 2602703.6055 | 1126333.9779
74 | 2602749.833 | 1126339.4483
75 | 2602761.5001 | 1126339.7849
76 | 2602762.0885 | 1126339.8018
77 | 2602889.9259 | 1126219.135
78 | 2602899.4765 | 1126238.6958
79 | 2602955.191 | 1126255.6909
80 | 2602912.8963 | 1126303.9223
81 | 2602924.6647 | 1126307.0139
82 | 2602941.2771 | 1126311.3781
83 | 2602888.9517 | 1126340.4206
84 | 2602775.453 | 1126340.1873
85 | 2602778.0447 | 1126340.2621
86 | 2602814.4793 | 1126331.2622

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1