## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6253-83_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6253-83_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6253-83_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6253-83_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6253-83_0_6_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_6253-83_0_6_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_6253-83_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6253-83_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6253-83_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6253-83_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6253-83_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6253-83_0_6_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_6253-83_0_6_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_6253-83_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6253-83_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6253-83_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6253-83_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6253-83_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6253-83_0_6_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6253-83_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6253-83_0_6_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_6253-83_0_6_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_6253-83_0_6_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_6253-83_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6253-83_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6253-83_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6253-83_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6253-83_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6253-83_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6253-83_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6253-83_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6253-83_0_6_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_6253-83_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6253-83_0_6_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_6253-83_0_6_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6253-83_0_6_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_6253-83_0_6_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_6253-83_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_6253-83_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_6253-83_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_6253-83_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_6253-83_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_6253-83_0_6_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_6253-83_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_6253-83_0_6_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_6253-83_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6253-83_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_6253-83_0_6_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_6253-83_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_6253-83_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6253-83_0_6_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_6253-83_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6253-83_0_6_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_6253-83_0_6_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_6253-83_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6253-83_0_6_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_6253-83_0_6_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6253-83_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6253-83_0_6_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_6253-83_0_6_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6253-83_0_6_node_59 | 0.4 | n |  | TRUE
61 | bus_MV_274_0_node_201 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6253-83_0_6_load_0 | 0 | 0.006793 | 0.0017025 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6253-83_0_6_load_2 | 2 | 0.0086798 | 0.0021754 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6253-83_0_6_load_3 | 3 | 0.010706 | 0.0026831 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6253-83_0_6_load_29 | 4 | 0.0077778 | 0.0019493 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6253-83_0_6_load_5 | 6 | 0.0040535 | 0.0010159 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6253-83_0_6_load_6 | 7 | 0.0033205 | 0.0008322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6253-83_0_6_load_8 | 9 | 0.0025425 | 0.00063722 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6253-83_0_6_load_61 | 11 | 0.0069493 | 0.0017417 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6253-83_0_6_load_10 | 13 | 0.0036375 | 0.00091163 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6253-83_0_6_load_11 | 14 | 0.0036271 | 0.00090903 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6253-83_0_6_load_12 | 15 | 0.011081 | 0.0027772 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6253-83_0_6_load_13 | 16 | 0.0033539 | 0.00084056 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6253-83_0_6_load_14 | 17 | 0.0017084 | 0.00042816 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6253-83_0_6_load_15 | 18 | 0.0068587 | 0.0017189 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6253-83_0_6_load_32 | 20 | 0.014544 | 0.003645 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6253-83_0_6_load_31 | 22 | 0.005053 | 0.0012664 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6253-83_0_6_load_21 | 23 | 0.0037712 | 0.00094516 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6253-83_0_6_load_17 | 24 | 0.009773 | 0.0024493 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6253-83_0_6_load_20 | 27 | 0.0046667 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6253-83_0_6_load_22 | 28 | 0.0085022 | 0.0021309 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6253-83_0_6_load_23 | 29 | 0.0046836 | 0.0011738 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6253-83_0_6_load_27 | 31 | 0.0066241 | 0.0016602 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6253-83_0_6_load_28 | 32 | 0.010513 | 0.0026348 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6253-83_0_6_load_33 | 34 | 0.0069057 | 0.0017307 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6253-83_0_6_load_34 | 35 | 0.012305 | 0.003084 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6253-83_0_6_load_62 | 36 | 0.01602 | 0.004015 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6253-83_0_6_load_35 | 37 | 0.012876 | 0.0032271 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6253-83_0_6_load_36 | 38 | 0.0037995 | 0.00095223 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6253-83_0_6_load_37 | 39 | 0.0043381 | 0.0010872 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6253-83_0_6_load_38 | 40 | 0.0071056 | 0.0017808 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6253-83_0_6_load_39 | 41 | 0.0052361 | 0.0013123 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6253-83_0_6_load_44 | 42 | 0.0032541 | 0.00081555 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6253-83_0_6_load_41 | 44 | 0.0055983 | 0.0014031 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6253-83_0_6_load_42 | 45 | 0.02007 | 0.0050301 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6253-83_0_6_load_47 | 47 | 0.013095 | 0.003282 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6253-83_0_6_load_48 | 48 | 0.0072887 | 0.0018267 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6253-83_0_6_load_45 | 49 | 0.018392 | 0.0046096 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6253-83_0_6_load_49 | 50 | 0.0333 | 0.0083457 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6253-83_0_6_load_46 | 51 | 0.019687 | 0.0049341 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6253-83_0_6_load_58 | 52 | 0.037544 | 0.0094093 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6253-83_0_6_load_56 | 53 | 0.0043438 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6253-83_0_6_load_51 | 54 | 0.010385 | 0.0026027 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6253-83_0_6_load_52 | 55 | 0.010906 | 0.0027332 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6253-83_0_6_load_53 | 56 | 0.0044896 | 0.0011252 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6253-83_0_6_load_54 | 57 | 0.0091642 | 0.0022968 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6253-83_0_6_load_57 | 59 | 0.0047937 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6253-83_0_6_load_59 | 60 | 0.0044308 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6253-83_0_6_line_0 |  | 0 | 1 | 0.051819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6253-83_0_6_line_1 |  | 1 | 2 | 0.04271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6253-83_0_6_line_2 |  | 1 | 3 | 0.024655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6253-83_0_6_line_3 |  | 2 | 4 | 0.21568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6253-83_0_6_line_4 |  | 4 | 5 | 0.079377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6253-83_0_6_line_5 |  | 5 | 21 | 0.076722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6253-83_0_6_line_6 |  | 5 | 22 | 0.023732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6253-83_0_6_line_7 |  | 5 | 23 | 0.030268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6253-83_0_6_line_8 |  | 5 | 19 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6253-83_0_6_line_9 |  | 6 | 7 | 0.011989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6253-83_0_6_line_10 |  | 6 | 8 | 0.12416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6253-83_0_6_line_11 |  | 7 | 9 | 0.018005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6253-83_0_6_line_12 |  | 8 | 10 | 0.068973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6253-83_0_6_line_13 |  | 10 | 11 | 0.12786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6253-83_0_6_line_14 |  | 11 | 12 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6253-83_0_6_line_15 |  | 12 | 33 | 0.070341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6253-83_0_6_line_16 |  | 12 | 28 | 0.060827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6253-83_0_6_line_17 |  | 13 | 14 | 0.034703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6253-83_0_6_line_18 |  | 13 | 15 | 0.046901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6253-83_0_6_line_19 |  | 14 | 16 | 0.0189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6253-83_0_6_line_20 |  | 16 | 17 | 0.014102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6253-83_0_6_line_21 |  | 16 | 18 | 0.036934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6253-83_0_6_line_22 |  | 17 | 19 | 0.053248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6253-83_0_6_line_23 |  | 19 | 20 | 0.030747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6253-83_0_6_line_24 |  | 21 | 34 | 0.025291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6253-83_0_6_line_25 |  | 21 | 35 | 0.038051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6253-83_0_6_line_26 |  | 23 | 25 | 0.031223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6253-83_0_6_line_27 |  | 24 | 25 | 0.010039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6253-83_0_6_line_28 |  | 24 | 26 | 0.010232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6253-83_0_6_line_29 |  | 25 | 27 | 0.023623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6253-83_0_6_line_30 |  | 26 | 28 | 0.066326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6253-83_0_6_line_31 |  | 26 | 29 | 0.019818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6253-83_0_6_line_32 |  | 27 | 30 | 0.014712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6253-83_0_6_line_33 |  | 30 | 31 | 0.031666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6253-83_0_6_line_34 |  | 30 | 32 | 0.077366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6253-83_0_6_line_35 |  | 33 | 36 | 0.052659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6253-83_0_6_line_36 |  | 35 | 37 | 0.021567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6253-83_0_6_line_37 |  | 36 | 60 | 0.039261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6253-83_0_6_line_38 |  | 38 | 39 | 0.010212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6253-83_0_6_line_39 |  | 38 | 40 | 0.040111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6253-83_0_6_line_40 |  | 39 | 41 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6253-83_0_6_line_41 |  | 40 | 42 | 0.1161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6253-83_0_6_line_42 |  | 41 | 43 | 0.061447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6253-83_0_6_line_43 |  | 43 | 44 | 0.028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6253-83_0_6_line_44 |  | 43 | 45 | 0.0053832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6253-83_0_6_line_45 |  | 45 | 46 | 0.077674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6253-83_0_6_line_46 |  | 46 | 47 | 0.083368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6253-83_0_6_line_47 |  | 46 | 48 | 0.11364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6253-83_0_6_line_48 |  | 46 | 49 | 0.098211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6253-83_0_6_line_49 |  | 47 | 50 | 0.0026697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6253-83_0_6_line_50 |  | 49 | 51 | 0.059902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6253-83_0_6_line_51 |  | 50 | 52 | 0.004094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6253-83_0_6_line_52 |  | 52 | 53 | 0.053254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6253-83_0_6_line_53 |  | 53 | 58 | 0.0098674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6253-83_0_6_line_54 |  | 54 | 55 | 0.011897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6253-83_0_6_line_55 |  | 55 | 56 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6253-83_0_6_line_56 |  | 56 | 57 | 0.019255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6253-83_0_6_line_57 |  | 57 | 58 | 0.020743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6253-83_0_6_line_58 |  | 58 | 59 | 0.0037756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6253-83_0_6_line_59 |  | 59 | 60 | 0.030483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6253-83_0_6_trafo_24 | 0.63 MVA 20/0.4 kV | 61 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2603956.226 | 1127907.0558 | 2603961.5946 | 1127909.327 | 2603969.8614 | 1127909.5435 | 2603982.4705 | 1127902.7484 | 2603988.8831 | 1127899.0507 | 2603992.3964 | 1127899.053 | 2603996.9415 | 1127899.8786 | 2604003.7575 | 1127903.796
1 | 2603956.226 | 1127907.0558 | 2603955.9155 | 1127910.6684 | 2603957.1464 | 1127913.5484 | 2603960.25 | 1127915.5069 | 2603971.513 | 1127917.1594 | 2603976.1582 | 1127918.0962 | 2603981.943 | 1127920.2565 | 2603990.1245 | 1127925.9803
2 | 2603956.226 | 1127907.0558 | 2603953.1245 | 1127901.7067 | 2603948.1261 | 1127883.9242
3 | 2603922.5685 | 1128130.8098 | 2603990.1245 | 1127925.9803
4 | 2603947.2186 | 1128196.3575 | 2603943.8002 | 1128192.8536 | 2603935.8121 | 1128191.1365 | 2603932.8777 | 1128189.7229 | 2603931.2622 | 1128186.0423 | 2603929.3804 | 1128176.9922 | 2603929.5618 | 1128170.4447 | 2603928.0411 | 1128162.9957 | 2603922.2852 | 1128152.2423 | 2603918.515 | 1128144.525 | 2603917.978 | 1128141.023 | 2603920.5843 | 1128137.4451 | 2603922.5685 | 1128130.8098
5 | 2603947.2186 | 1128196.3575 | 2603934.9519 | 1128198.9731 | 2603925.5972 | 1128201.8352 | 2603918.0426 | 1128196.8057 | 2603912.6549 | 1128188.5539 | 2603891.1627 | 1128160.1931
6 | 2603947.2186 | 1128196.3575 | 2603948.0811 | 1128184.9525 | 2603948.7084 | 1128179.906 | 2603949.9772 | 1128172.8094
7 | 2603947.2186 | 1128196.3575 | 2603970.9173 | 1128215.1864
8 | 2603947.2186 | 1128196.3575 | 2603959.9176 | 1128192.5082
9 | 2604174.3732 | 1128152.2342 | 2604174.0677 | 1128152.0301 | 2604164.2255 | 1128145.8496
10 | 2604256.5718 | 1128241.8638 | 2604249.9109 | 1128226.107 | 2604237.5751 | 1128205.9331 | 2604222.6022 | 1128188.8367 | 2604201.6286 | 1128170.4356 | 2604174.3732 | 1128152.2342
11 | 2604148.9774 | 1128136.2746 | 2604164.2255 | 1128145.8496
12 | 2604203.7306 | 1128284.7927 | 2604204.2166 | 1128283.8482 | 2604208.9114 | 1128279.4715 | 2604215.5045 | 1128270.6606 | 2604217.0163 | 1128268.0492 | 2604230.3189 | 1128260.2324 | 2604256.5718 | 1128241.8638
13 | 2604203.7306 | 1128284.7927 | 2604193.6404 | 1128304.2509 | 2604186.5661 | 1128318.553 | 2604183.0645 | 1128324.4091 | 2604175.3507 | 1128327.383 | 2604147.4412 | 1128335.6237 | 2604109.8167 | 1128344.3583 | 2604102.9402 | 1128346.3737
14 | 2604085.9759 | 1128351.3458 | 2604102.9402 | 1128346.3737
15 | 2604095.5468 | 1128416.8952 | 2604100.3952 | 1128401.3575 | 2604101.4426 | 1128390.2417 | 2604101.0346 | 1128378.2911 | 2604095.3189 | 1128365.7368 | 2604085.9759 | 1128351.3458
16 | 2604085.9759 | 1128351.3458 | 2604048.2721 | 1128303.6142
17 | 2604042.0005 | 1128179.9393 | 2604050.0393 | 1128183.8071 | 2604063.6477 | 1128191.2086 | 2604071.4204 | 1128192.4699 | 2604073.8009 | 1128192.0505
18 | 2604117.3072 | 1128180.0388 | 2604106.5604 | 1128179.109 | 2604096.8449 | 1128179.825 | 2604091.3418 | 1128183.4009 | 2604078.5245 | 1128191.2184 | 2604073.8009 | 1128192.0505
19 | 2604024.2984 | 1128173.7297 | 2604032.6872 | 1128175.4583 | 2604042.0005 | 1128179.9393
20 | 2604024.2984 | 1128173.7297 | 2604012.8262 | 1128174.6894 | 2604010.381 | 1128175.5432
21 | 2604024.2984 | 1128173.7297 | 2604039.9486 | 1128192.7048 | 2604032.3714 | 1128202.442
22 | 2603959.9176 | 1128192.5082 | 2603973.9651 | 1128188.2597 | 2604010.381 | 1128175.5432
23 | 2603959.9176 | 1128192.5082 | 2603964.7536 | 1128195.9241 | 2603984.7393 | 1128206.3421 | 2603987.0812 | 1128206.6104
24 | 2603891.1627 | 1128160.1931 | 2603897.096 | 1128158.6739 | 2603899.8009 | 1128157.5084 | 2603905.6425 | 1128154.644 | 2603904.296 | 1128151.953 | 2603903.8518 | 1128147.7395 | 2603903.6762 | 1128145.2382
25 | 2603891.1627 | 1128160.1931 | 2603880.4613 | 1128148.4473 | 2603874.5324 | 1128142.9742 | 2603870.7572 | 1128143.1497 | 2603861.7566 | 1128146.4568 | 2603861.0977 | 1128146.7575
26 | 2603993.8261 | 1128236.3515 | 2603977.7732 | 1128220.6334 | 2603970.9173 | 1128215.1864
27 | 2603993.8261 | 1128236.3515 | 2603999.6621 | 1128242.0692 | 2604000.8201 | 1128243.5362
28 | 2604007.1598 | 1128251.5676 | 2604000.8201 | 1128243.5362
29 | 2603993.8261 | 1128236.3515 | 2603976.4068 | 1128252.3082
30 | 2604007.1598 | 1128251.5676 | 2604048.2721 | 1128303.6142
31 | 2603990.4349 | 1128262.273 | 2604007.1598 | 1128251.5676
32 | 2603965.5584 | 1128262.2458 | 2603976.4068 | 1128252.3082
33 | 2603965.5584 | 1128262.2458 | 2603963.6755 | 1128266.9802 | 2603966.0762 | 1128271.5507 | 2603976.8923 | 1128284.2527 | 2603978.8001 | 1128288.6005
34 | 2603906.1224 | 1128272.5128 | 2603909.8744 | 1128272.3596 | 2603937.1415 | 1128244.6746 | 2603940.5089 | 1128243.4984 | 2603943.2503 | 1128245.4566 | 2603954.2075 | 1128254.4347 | 2603965.5584 | 1128262.2458
35 | 2604095.5468 | 1128416.8952 | 2604044.2817 | 1128404.8584
36 | 2603841.781 | 1128156.3158 | 2603849.7885 | 1128151.9186 | 2603861.0977 | 1128146.7575
37 | 2604044.2817 | 1128404.8584 | 2604024.8974 | 1128400.3071 | 2604013.2165 | 1128391.2618 | 2604010.1149 | 1128387.8978
38 | 2603772.2452 | 1128323.4366 | 2603776.6287 | 1128328.1814 | 2603779.8069 | 1128330.1757
39 | 2603742.5645 | 1128297.9903 | 2603749.5169 | 1128305.198 | 2603759.0757 | 1128308.3499 | 2603766.9589 | 1128317.7148 | 2603772.2452 | 1128323.4366
40 | 2603779.8069 | 1128330.1757 | 2603791.4852 | 1128337.5041
41 | 2603742.5645 | 1128297.9903 | 2603691.2668 | 1128193.838
42 | 2603846.0944 | 1128355.2042 | 2603837.8276 | 1128355.9438 | 2603831.8789 | 1128357.7632 | 2603824.7528 | 1128357.7588 | 2603812.2974 | 1128354.5606 | 2603794.5028 | 1128339.3978 | 2603791.4852 | 1128337.5041
43 | 2603846.0944 | 1128355.2042 | 2603839.7788 | 1128352.5211 | 2603835.8275 | 1128351.1625 | 2603831.7385 | 1128348.303 | 2603826.5652 | 1128342.1857 | 2603824.2716 | 1128338.6603 | 2603824.2716 | 1128338.6603
44 | 2603846.0944 | 1128355.2042 | 2603851.4567 | 1128354.7295
45 | 2603924.1968 | 1128380.1767 | 2603897.1398 | 1128369.2765 | 2603870.5454 | 1128357.4539 | 2603862.1418 | 1128355.1809 | 2603851.4567 | 1128354.7295
46 | 2603924.1968 | 1128380.1767 | 2603939.9397 | 1128386.4676 | 2603956.8694 | 1128391.9701 | 2603970.2367 | 1128402.406 | 2603977.7832 | 1128407.5689 | 2603981.7687 | 1128415.5198 | 2603985.2151 | 1128423.1591 | 2603987.4462 | 1128427.8962
47 | 2603924.1968 | 1128380.1767 | 2603921.3382 | 1128392.9367 | 2603928.3487 | 1128417.253 | 2603924.6015 | 1128458.4373 | 2603930.7883 | 1128481.5192 | 2603937.3248 | 1128489.0984
48 | 2603924.1968 | 1128380.1767 | 2603915.4214 | 1128369.0546 | 2603887.0728 | 1128341.5899 | 2603877.9199 | 1128330.1453 | 2603869.29 | 1128307.9846 | 2603866.4838 | 1128302.5273
49 | 2603990.0961 | 1128428.2203 | 2603990.0961 | 1128428.2203 | 2603987.4462 | 1128427.8962
50 | 2603834.7954 | 1128251.9135 | 2603846.527 | 1128267.0393 | 2603854.9779 | 1128280.151 | 2603866.4838 | 1128302.5273
51 | 2603991.693 | 1128424.4505 | 2603990.0961 | 1128428.2203
52 | 2603981.2995 | 1128374.7909 | 2603980.8202 | 1128381.2247 | 2603987.5014 | 1128390.1556 | 2603991.8098 | 1128399.185 | 2603992.7081 | 1128403.8323 | 2603993.4794 | 1128414.349 | 2603992.8737 | 1128421.6633 | 2603991.693 | 1128424.4505
53 | 2603984.3974 | 1128365.4527 | 2603981.3642 | 1128373.9215 | 2603981.2995 | 1128374.7909
54 | 2603922.4497 | 1128330.8211 | 2603932.8341 | 1128336.6265
55 | 2603932.8341 | 1128336.6265 | 2603949.4845 | 1128345.9348
56 | 2603966.2913 | 1128355.3306 | 2603949.4845 | 1128345.9348
57 | 2603984.3974 | 1128365.4527 | 2603966.2913 | 1128355.3306
58 | 2603984.3974 | 1128365.4527 | 2603987.4018 | 1128367.7393
59 | 2603987.4018 | 1128367.7393 | 2604001.2376 | 1128378.2699 | 2604010.1149 | 1128387.8978

## bus_geodata
| x | y | coords
0 | 2604003.7575 | 1127903.796
1 | 2603956.226 | 1127907.0558
2 | 2603990.1245 | 1127925.9803
3 | 2603948.1261 | 1127883.9242
4 | 2603922.5685 | 1128130.8098
5 | 2603947.2186 | 1128196.3575
6 | 2604174.3732 | 1128152.2342
7 | 2604164.2255 | 1128145.8497
8 | 2604256.5718 | 1128241.8638
9 | 2604148.9774 | 1128136.2746
10 | 2604203.7306 | 1128284.7927
11 | 2604102.9402 | 1128346.3737
12 | 2604085.9759 | 1128351.3458
13 | 2604073.8009 | 1128192.0505
14 | 2604042.0005 | 1128179.9393
15 | 2604117.3072 | 1128180.0388
16 | 2604024.2984 | 1128173.7297
17 | 2604010.381 | 1128175.5432
18 | 2604032.3714 | 1128202.442
19 | 2603959.9176 | 1128192.5082
20 | 2603987.0812 | 1128206.6104
21 | 2603891.1627 | 1128160.1931
22 | 2603949.9772 | 1128172.8094
23 | 2603970.9173 | 1128215.1864
24 | 2604000.8201 | 1128243.5362
25 | 2603993.8261 | 1128236.3515
26 | 2604007.1598 | 1128251.5676
27 | 2603976.4068 | 1128252.3082
28 | 2604048.2721 | 1128303.6142
29 | 2603990.4349 | 1128262.273
30 | 2603965.5583 | 1128262.2458
31 | 2603978.8001 | 1128288.6005
32 | 2603906.1224 | 1128272.5128
33 | 2604095.5468 | 1128416.8952
34 | 2603903.6762 | 1128145.2382
35 | 2603861.0977 | 1128146.7575
36 | 2604044.2817 | 1128404.8584
37 | 2603841.781 | 1128156.3158
38 | 2603772.2452 | 1128323.4366
39 | 2603779.8069 | 1128330.1757
40 | 2603742.5645 | 1128297.9903
41 | 2603791.4852 | 1128337.5041
42 | 2603691.2668 | 1128193.838
43 | 2603846.0944 | 1128355.2042
44 | 2603824.2716 | 1128338.6603
45 | 2603851.4567 | 1128354.7295
46 | 2603924.1968 | 1128380.1767
47 | 2603987.4462 | 1128427.8962
48 | 2603937.3248 | 1128489.0984
49 | 2603866.4838 | 1128302.5273
50 | 2603990.0961 | 1128428.2203
51 | 2603834.7954 | 1128251.9135
52 | 2603991.693 | 1128424.4505
53 | 2603981.2995 | 1128374.7909
54 | 2603922.4497 | 1128330.8211
55 | 2603932.8341 | 1128336.6265
56 | 2603949.4845 | 1128345.9348
57 | 2603966.2913 | 1128355.3306
58 | 2603984.3974 | 1128365.4527
59 | 2603987.4018 | 1128367.7393
60 | 2604010.1149 | 1128387.8978
61 | 2603978.8001 | 1128288.6005

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1