## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6253-98_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6253-98_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6253-98_0_4_node_87 | 0.4 | n |  | TRUE
3 | bus_LV_6253-98_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6253-98_0_4_node_86 | 0.4 | n |  | TRUE
5 | bus_LV_6253-98_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6253-98_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6253-98_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6253-98_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6253-98_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6253-98_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6253-98_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6253-98_0_4_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_6253-98_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6253-98_0_4_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_6253-98_0_4_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_6253-98_0_4_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_6253-98_0_4_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_6253-98_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_6253-98_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6253-98_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6253-98_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6253-98_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6253-98_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6253-98_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6253-98_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6253-98_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6253-98_0_4_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_6253-98_0_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_6253-98_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6253-98_0_4_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_6253-98_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6253-98_0_4_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_6253-98_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6253-98_0_4_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_6253-98_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_6253-98_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_6253-98_0_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_6253-98_0_4_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_6253-98_0_4_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_6253-98_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_6253-98_0_4_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_6253-98_0_4_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_6253-98_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_6253-98_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_6253-98_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6253-98_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6253-98_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_6253-98_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6253-98_0_4_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_6253-98_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6253-98_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6253-98_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6253-98_0_4_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_6253-98_0_4_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6253-98_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6253-98_0_4_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6253-98_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6253-98_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_6253-98_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_6253-98_0_4_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_6253-98_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_6253-98_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_6253-98_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_6253-98_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_6253-98_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_6253-98_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_6253-98_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_6253-98_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_6253-98_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_6253-98_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_6253-98_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_6253-98_0_4_node_98 | 0.4 | n |  | TRUE
73 | bus_LV_6253-98_0_4_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_6253-98_0_4_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_6253-98_0_4_node_100 | 0.4 | n |  | TRUE
76 | bus_LV_6253-98_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_6253-98_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_6253-98_0_4_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_6253-98_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_6253-98_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_6253-98_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_6253-98_0_4_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_6253-98_0_4_node_101 | 0.4 | n |  | TRUE
84 | bus_LV_6253-98_0_4_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_6253-98_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_6253-98_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_6253-98_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_6253-98_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_6253-98_0_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_6253-98_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_6253-98_0_4_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_6253-98_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_6253-98_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_6253-98_0_4_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_6253-98_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_6253-98_0_4_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_6253-98_0_4_node_97 | 0.4 | n |  | TRUE
98 | bus_MV_115_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6253-98_0_4_load_0 | 0 | 0.014692 | 0.0036822 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6253-98_0_4_load_1 | 1 | 0.014222 | 0.0035643 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6253-98_0_4_load_2 | 3 | 0.0062677 | 0.0015708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6253-98_0_4_load_86 | 4 | 0.007274 | 0.001823 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6253-98_0_4_load_3 | 5 | 0.0029016 | 0.00072721 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6253-98_0_4_load_4 | 6 | 0.0033055 | 0.00082843 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6253-98_0_4_load_5 | 7 | 0.0023049 | 0.00057767 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6253-98_0_4_load_6 | 8 | 0.0031668 | 0.00079368 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6253-98_0_4_load_7 | 9 | 0.0045868 | 0.0011496 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6253-98_0_4_load_9 | 11 | 0.003838 | 0.0009619 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6253-98_0_4_load_52 | 12 | 0.0088297 | 0.0022129 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6253-98_0_4_load_56 | 15 | 0.0040391 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6253-98_0_4_load_53 | 16 | 0.0060686 | 0.0015209 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6253-98_0_4_load_75 | 17 | 0.0065007 | 0.0016292 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6253-98_0_4_load_55 | 18 | 0.0081267 | 0.0020367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6253-98_0_4_load_11 | 19 | 0.0046256 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6253-98_0_4_load_21 | 23 | 0.0045644 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6253-98_0_4_load_64 | 27 | 0.0043057 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6253-98_0_4_load_69 | 28 | 0.003421 | 0.00085737 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6253-98_0_4_load_90 | 30 | 0.00408 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6253-98_0_4_load_70 | 32 | 0.017048 | 0.0042725 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6253-98_0_4_load_24 | 33 | 0.0076178 | 0.0019092 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6253-98_0_4_load_88 | 34 | 0.004383 | 0.0010985 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6253-98_0_4_load_51 | 36 | 0.0061708 | 0.0015466 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6253-98_0_4_load_81 | 37 | 0.0065241 | 0.0016351 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6253-98_0_4_load_63 | 38 | 0.0083972 | 0.0021045 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6253-98_0_4_load_22 | 40 | 0.0074281 | 0.0018617 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6253-98_0_4_load_80 | 42 | 0.0046232 | 0.0011587 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6253-98_0_4_load_23 | 43 | 0.005341 | 0.0013386 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6253-98_0_4_load_25 | 44 | 0.0040873 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6253-98_0_4_load_28 | 46 | 0.0072727 | 0.0018227 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6253-98_0_4_load_29 | 47 | 0.0076366 | 0.0019139 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6253-98_0_4_load_62 | 49 | 0.010166 | 0.0025478 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6253-98_0_4_load_42 | 50 | 0.0066724 | 0.0016723 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6253-98_0_4_load_38 | 51 | 0.0053776 | 0.0013477 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6253-98_0_4_load_39 | 52 | 0.0077085 | 0.0019319 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6253-98_0_4_load_30 | 53 | 0.0069026 | 0.00173 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6253-98_0_4_load_32 | 55 | 0.0053977 | 0.0013528 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6253-98_0_4_load_33 | 56 | 0.0041946 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6253-98_0_4_load_34 | 57 | 0.0073264 | 0.0018362 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6253-98_0_4_load_35 | 58 | 0.0043839 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6253-98_0_4_load_59 | 59 | 0.0073547 | 0.0018433 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6253-98_0_4_load_36 | 61 | 0.002423 | 0.00060726 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6253-98_0_4_load_58 | 62 | 0.0059685 | 0.0014958 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6253-98_0_4_load_54 | 64 | 0.0039107 | 0.00098011 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6253-98_0_4_load_43 | 65 | 0.004118 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6253-98_0_4_load_46 | 68 | 0.0025638 | 0.00064256 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6253-98_0_4_load_65 | 70 | 0.0096438 | 0.002417 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6253-98_0_4_load_47 | 71 | 0.0045839 | 0.0011488 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6253-98_0_4_load_98 | 72 | 0.0038378 | 0.00096186 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6253-98_0_4_load_100 | 75 | 0.0071073 | 0.0017813 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6253-98_0_4_load_73 | 76 | 0.0033551 | 0.00084088 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6253-98_0_4_load_60 | 77 | 0.0065387 | 0.0016387 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6253-98_0_4_load_61 | 78 | 0.0041059 | 0.001029 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6253-98_0_4_load_76 | 79 | 0.006656 | 0.0016682 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6253-98_0_4_load_77 | 80 | 0.0068267 | 0.0017109 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6253-98_0_4_load_101 | 83 | 0.0091173 | 0.002285 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6253-98_0_4_load_72 | 84 | 0.0058874 | 0.0014755 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6253-98_0_4_load_74 | 85 | 0.0057014 | 0.0014289 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6253-98_0_4_load_78 | 86 | 0.0087723 | 0.0021985 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6253-98_0_4_load_79 | 87 | 0.0099462 | 0.0024927 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6253-98_0_4_load_84 | 88 | 0.010306 | 0.0025829 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6253-98_0_4_load_82 | 89 | 0.018637 | 0.0046708 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6253-98_0_4_load_83 | 90 | 0.00415 | 0.0010401 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6253-98_0_4_load_91 | 91 | 0.0035638 | 0.00089318 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6253-98_0_4_load_92 | 92 | 0.0053506 | 0.001341 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6253-98_0_4_load_93 | 93 | 0.0021064 | 0.00052792 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6253-98_0_4_load_95 | 95 | 0.0044823 | 0.0011234 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6253-98_0_4_load_96 | 96 | 0.0041153 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6253-98_0_4_load_97 | 97 | 0.0041502 | 0.0010401 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6253-98_0_4_line_0 |  | 0 | 1 | 0.011419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6253-98_0_4_line_1 |  | 0 | 2 | 0.068595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6253-98_0_4_line_2 |  | 1 | 3 | 0.0077923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6253-98_0_4_line_3 |  | 2 | 4 | 0.025266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6253-98_0_4_line_4 |  | 3 | 5 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6253-98_0_4_line_5 |  | 5 | 6 | 0.0047178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6253-98_0_4_line_6 |  | 6 | 7 | 0.00030651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6253-98_0_4_line_7 |  | 7 | 8 | 0.005119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6253-98_0_4_line_8 |  | 8 | 9 | 0.0060496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6253-98_0_4_line_9 |  | 9 | 10 | 0.0058835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6253-98_0_4_line_10 |  | 10 | 11 | 0.0077102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6253-98_0_4_line_11 |  | 11 | 12 | 0.013423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6253-98_0_4_line_12 |  | 12 | 16 | 0.018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6253-98_0_4_line_13 |  | 13 | 14 | 0.011682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6253-98_0_4_line_14 |  | 13 | 15 | 0.0058712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6253-98_0_4_line_15 |  | 14 | 17 | 0.10999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6253-98_0_4_line_16 |  | 15 | 18 | 0.043392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6253-98_0_4_line_17 |  | 16 | 64 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6253-98_0_4_line_18 |  | 17 | 76 | 0.017313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6253-98_0_4_line_19 |  | 18 | 63 | 0.01002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6253-98_0_4_line_20 |  | 19 | 20 | 0.0076253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6253-98_0_4_line_21 |  | 19 | 21 | 0.0061272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6253-98_0_4_line_22 |  | 20 | 22 | 0.0085538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6253-98_0_4_line_23 |  | 21 | 23 | 0.008982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6253-98_0_4_line_24 |  | 22 | 28 | 0.011847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6253-98_0_4_line_25 |  | 22 | 29 | 0.006151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6253-98_0_4_line_26 |  | 24 | 25 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6253-98_0_4_line_27 |  | 24 | 26 | 0.069525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6253-98_0_4_line_28 |  | 24 | 27 | 0.013045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6253-98_0_4_line_29 |  | 25 | 30 | 0.0068499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6253-98_0_4_line_30 |  | 25 | 34 | 0.0036173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6253-98_0_4_line_31 |  | 26 | 35 | 0.003758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6253-98_0_4_line_32 |  | 26 | 36 | 0.023102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6253-98_0_4_line_33 |  | 27 | 38 | 0.0082953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6253-98_0_4_line_34 |  | 28 | 39 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6253-98_0_4_line_35 |  | 29 | 30 | 0.038377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6253-98_0_4_line_36 |  | 31 | 32 | 0.01782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6253-98_0_4_line_37 |  | 31 | 33 | 0.0097062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6253-98_0_4_line_38 |  | 33 | 40 | 0.011128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6253-98_0_4_line_39 |  | 34 | 41 | 0.068683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6253-98_0_4_line_40 |  | 35 | 37 | 0.079536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6253-98_0_4_line_41 |  | 37 | 42 | 0.020056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6253-98_0_4_line_42 |  | 38 | 49 | 0.023873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6253-98_0_4_line_43 |  | 39 | 81 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6253-98_0_4_line_44 |  | 40 | 43 | 0.025733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6253-98_0_4_line_45 |  | 41 | 91 | 0.050702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6253-98_0_4_line_46 |  | 42 | 89 | 0.08019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6253-98_0_4_line_47 |  | 43 | 44 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6253-98_0_4_line_48 |  | 44 | 45 | 0.0018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6253-98_0_4_line_49 |  | 45 | 46 | 0.0064651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6253-98_0_4_line_50 |  | 46 | 47 | 0.021758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6253-98_0_4_line_51 |  | 47 | 53 | 0.031825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6253-98_0_4_line_52 |  | 48 | 49 | 0.0041035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6253-98_0_4_line_53 |  | 48 | 50 | 0.01221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6253-98_0_4_line_54 |  | 50 | 60 | 0.0072573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6253-98_0_4_line_55 |  | 51 | 52 | 0.011154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6253-98_0_4_line_56 |  | 52 | 60 | 0.0083528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6253-98_0_4_line_57 |  | 53 | 54 | 0.022218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6253-98_0_4_line_58 |  | 54 | 55 | 0.0079043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6253-98_0_4_line_59 |  | 54 | 56 | 0.028744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6253-98_0_4_line_60 |  | 54 | 57 | 0.0092508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6253-98_0_4_line_61 |  | 55 | 58 | 0.004366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6253-98_0_4_line_62 |  | 56 | 59 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6253-98_0_4_line_63 |  | 57 | 60 | 0.013247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6253-98_0_4_line_64 |  | 58 | 61 | 0.021141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6253-98_0_4_line_65 |  | 59 | 62 | 0.021935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6253-98_0_4_line_66 |  | 61 | 63 | 0.0021464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6253-98_0_4_line_67 |  | 62 | 77 | 0.0072399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6253-98_0_4_line_68 |  | 63 | 64 | 0.0046759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6253-98_0_4_line_69 |  | 65 | 66 | 0.029448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6253-98_0_4_line_70 |  | 66 | 67 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6253-98_0_4_line_71 |  | 66 | 68 | 0.019063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6253-98_0_4_line_72 |  | 67 | 69 | 0.002459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6253-98_0_4_line_73 |  | 67 | 70 | 0.01385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6253-98_0_4_line_74 |  | 68 | 71 | 0.037662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6253-98_0_4_line_75 |  | 69 | 72 | 0.011575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6253-98_0_4_line_76 |  | 71 | 73 | 0.034316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6253-98_0_4_line_77 |  | 72 | 81 | 0.031558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6253-98_0_4_line_78 |  | 73 | 74 | 0.020757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6253-98_0_4_line_79 |  | 74 | 75 | 0.055308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6253-98_0_4_line_80 |  | 76 | 84 | 0.035525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6253-98_0_4_line_81 |  | 77 | 78 | 0.034638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6253-98_0_4_line_82 |  | 78 | 79 | 0.021003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6253-98_0_4_line_83 |  | 79 | 80 | 0.029709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6253-98_0_4_line_84 |  | 80 | 86 | 0.052003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6253-98_0_4_line_85 |  | 81 | 82 | 0.017037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6253-98_0_4_line_86 |  | 82 | 83 | 0.004342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6253-98_0_4_line_87 |  | 84 | 85 | 0.016755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6253-98_0_4_line_88 |  | 86 | 87 | 0.028182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6253-98_0_4_line_89 |  | 87 | 88 | 0.021317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6253-98_0_4_line_90 |  | 89 | 90 | 0.033919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6253-98_0_4_line_91 |  | 91 | 92 | 0.03686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6253-98_0_4_line_92 |  | 92 | 93 | 0.0052512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6253-98_0_4_line_93 |  | 93 | 94 | 0.028566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6253-98_0_4_line_94 |  | 94 | 95 | 0.027374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6253-98_0_4_line_95 |  | 95 | 96 | 0.0062163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6253-98_0_4_line_96 |  | 96 | 97 | 0.065521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6253-98_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 98 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2604871.6831 | 1125683.2576 | 2604875.3178 | 1125687.7683 | 2604878.3847 | 1125692.4854
1 | 2604871.6831 | 1125683.2576 | 2604856.4065 | 1125616.3852
2 | 2604882.2407 | 1125699.1023 | 2604881.6307 | 1125696.7888 | 2604879.6133 | 1125694.3749 | 2604878.3847 | 1125692.4854
3 | 2604856.4065 | 1125616.3852 | 2604858.0204 | 1125612.4734 | 2604860.4126 | 1125608.8402 | 2604864.794 | 1125604.4415 | 2604874.2085 | 1125599.8468
4 | 2604882.2407 | 1125699.1023 | 2604882.8679 | 1125701.481 | 2604883.1732 | 1125705.1942 | 2604886.7567 | 1125709.0093
5 | 2604886.7567 | 1125709.0093 | 2604889.9868 | 1125712.4481
6 | 2604889.9868 | 1125712.4481 | 2604890.1966 | 1125712.6715
7 | 2604893.796 | 1125716.3111 | 2604890.4043 | 1125712.8926 | 2604890.1966 | 1125712.6715
8 | 2604893.796 | 1125716.3111 | 2604898.0568 | 1125720.6057
9 | 2604902.974 | 1125723.7857 | 2604898.76 | 1125721.3144 | 2604898.0568 | 1125720.6057
10 | 2604902.974 | 1125723.7857 | 2604904.1577 | 1125727.7441 | 2604906.3107 | 1125730.6026
11 | 2604914.2697 | 1125741.4068 | 2604912.9964 | 1125739.4791 | 2604906.3107 | 1125730.6026
12 | 2604914.2697 | 1125741.4068 | 2604920.0862 | 1125750.2123 | 2604922.2953 | 1125757.7369
13 | 2604950.3063 | 1125750.5034 | 2604940.3843 | 1125744.2924
14 | 2604940.3843 | 1125744.2924 | 2604942.6112 | 1125749.7249
15 | 2604950.3063 | 1125750.5034 | 2604980.6104 | 1125770.7934 | 2604995.033 | 1125777.4528 | 2605016.1288 | 1125776.1694 | 2605037.7767 | 1125778.4104 | 2605051.1847 | 1125784.5329
16 | 2604935.2628 | 1125776.5159 | 2604938.6085 | 1125776.8735 | 2604949.5223 | 1125776.5043 | 2604951.5749 | 1125773.46 | 2604950.9687 | 1125770.1135 | 2604942.6112 | 1125749.7249
17 | 2604922.2953 | 1125757.7369 | 2604923.0992 | 1125760.4752 | 2604924.6196 | 1125770.8248
18 | 2605051.1847 | 1125784.5329 | 2605056.7757 | 1125787.0859 | 2605066.9329 | 1125791.7256
19 | 2604925.2992 | 1125775.451 | 2604935.2628 | 1125776.5159
20 | 2604919.3242 | 1125873.8275 | 2604922.1147 | 1125873.1071 | 2604926.2776 | 1125871.8654 | 2604926.6528 | 1125871.7292
21 | 2604932.3989 | 1125869.6026 | 2604930.3405 | 1125870.3902 | 2604926.6528 | 1125871.7292
22 | 2604919.3242 | 1125873.8275 | 2604920.346 | 1125877.8969 | 2604921.4139 | 1125882.1221
23 | 2604933.7007 | 1125860.9105 | 2604931.9851 | 1125866.6897 | 2604932.0686 | 1125868.1683 | 2604932.3989 | 1125869.6026
24 | 2604921.4139 | 1125882.1221 | 2604928.2809 | 1125891.7879
25 | 2604921.4139 | 1125882.1221 | 2604918.8854 | 1125882.8315 | 2604915.3705 | 1125883.2734
26 | 2604870.2864 | 1125879.958 | 2604871.8286 | 1125878.9587 | 2604873.1257 | 1125876.0917 | 2604877.5186 | 1125876.3842 | 2604877.42 | 1125874.3165 | 2604879.0401 | 1125872.2834
27 | 2604879.0401 | 1125872.2834 | 2604873.1985 | 1125871.7341 | 2604866.8561 | 1125871.0954 | 2604864.8216 | 1125870.8492 | 2604861.0533 | 1125870.2126 | 2604856.9615 | 1125869.3312 | 2604854.4726 | 1125868.6622 | 2604846.9446 | 1125866.2106 | 2604842.4606 | 1125864.3284 | 2604838.8782 | 1125862.4802 | 2604834.5716 | 1125860.2646 | 2604834.0324 | 1125859.9085 | 2604831.3825 | 1125858.15 | 2604825.2895 | 1125853.8542 | 2604819.767 | 1125849.3699 | 2604816.2934 | 1125846.3546
28 | 2604879.0401 | 1125872.2834 | 2604879.7188 | 1125871.7726 | 2604881.9004 | 1125871.1074 | 2604884.8677 | 1125871.1097 | 2604890.3934 | 1125871.481 | 2604891.799 | 1125871.5779
29 | 2604870.2864 | 1125879.958 | 2604877.1031 | 1125880.6316
30 | 2604870.2864 | 1125879.958 | 2604868.6594 | 1125881.0239 | 2604867.0616 | 1125881.5172
31 | 2604816.2934 | 1125846.3546 | 2604815.7605 | 1125847.866 | 2604814.5567 | 1125849.6548
32 | 2604816.2934 | 1125846.3546 | 2604816.5332 | 1125845.2764 | 2604816.0642 | 1125843.8643 | 2604814.879 | 1125841.6956 | 2604810.0427 | 1125836.8006 | 2604802.9035 | 1125829.9694 | 2604802.009 | 1125829.0594
33 | 2604900.0786 | 1125871.7334 | 2604896.5896 | 1125871.9084 | 2604891.799 | 1125871.5779
34 | 2604939.0544 | 1125883.4591 | 2604938.7613 | 1125883.7257 | 2604936.8177 | 1125885.5695 | 2604932.83 | 1125889.357 | 2604932.0589 | 1125889.8566 | 2604929.6376 | 1125891.4332 | 2604929.4295 | 1125891.4886 | 2604928.2809 | 1125891.7879
35 | 2604915.3705 | 1125883.2734 | 2604912.1412 | 1125883.3597 | 2604906.8158 | 1125883.0886 | 2604893.8686 | 1125882 | 2604877.8851 | 1125880.7089 | 2604877.1031 | 1125880.6316
36 | 2605045.0134 | 1125891.327 | 2605047.6321 | 1125893.3857 | 2605051.9143 | 1125897.0132 | 2605057.0742 | 1125901.6753 | 2605058.5221 | 1125902.9398
37 | 2605045.0134 | 1125891.327 | 2605045.8166 | 1125889.3044 | 2605045.3643 | 1125886.4027 | 2605043.9176 | 1125883.589 | 2605042.7762 | 1125882.7285
38 | 2605033.8902 | 1125876.0291 | 2605042.7762 | 1125882.7285
39 | 2604803.764 | 1125902.3054 | 2604804.6745 | 1125900.9498 | 2604807.8809 | 1125900.6633 | 2604813.6677 | 1125902.2353 | 2604819.6564 | 1125901.8398 | 2604824.6524 | 1125899.6538 | 2604829.9652 | 1125896.323 | 2604839.0867 | 1125891.2277 | 2604846.6116 | 1125887.8098 | 2604854.3283 | 1125885.448 | 2604867.0616 | 1125881.5172
40 | 2604814.5567 | 1125849.6548 | 2604812.3539 | 1125847.7966 | 2604788.1014 | 1125825.6002 | 2604762.4393 | 1125801.8797 | 2604756.0071 | 1125795.8277
41 | 2604741.3142 | 1125782.1771 | 2604745.334 | 1125785.8476 | 2604749.0539 | 1125789.2855 | 2604756.0071 | 1125795.8277
42 | 2604916.3237 | 1125856.0573 | 2604914.2253 | 1125860.0945 | 2604910.8143 | 1125865.6611 | 2604906.3484 | 1125869.993 | 2604904.4208 | 1125870.9586 | 2604900.7362 | 1125871.7005 | 2604900.0786 | 1125871.7334
43 | 2604956.3018 | 1125875.4692 | 2604955.477 | 1125875.6352 | 2604951.1211 | 1125877.2992 | 2604947.9753 | 1125878.8419 | 2604945.1298 | 1125880.7627 | 2604941.3816 | 1125883.8946 | 2604939.0544 | 1125883.4591
44 | 2605033.8902 | 1125876.0291 | 2605024.1379 | 1125868.6766 | 2605013.3394 | 1125860.5412
45 | 2604803.764 | 1125902.3054 | 2604803.3234 | 1125904.0058 | 2604803.6766 | 1125905.6402 | 2604825.654 | 1125919.6199 | 2604837.1662 | 1125932.135 | 2604840.787 | 1125934.3067
46 | 2604741.3142 | 1125782.1771 | 2604733.2344 | 1125774.7995 | 2604719.8335 | 1125762.0385 | 2604708.2898 | 1125749.6792 | 2604698.3029 | 1125737.221 | 2604689.7109 | 1125725.0641 | 2604688.0955 | 1125722.5618
47 | 2605013.3394 | 1125860.5412 | 2604999.0487 | 1125849.7748
48 | 2604997.5492 | 1125848.6451 | 2604999.0487 | 1125849.7748
49 | 2604997.5492 | 1125848.6451 | 2604992.103 | 1125845.1612 | 2604992.103 | 1125845.1612
50 | 2604972.5621 | 1125835.5915 | 2604992.103 | 1125845.1612
51 | 2604972.5621 | 1125835.5915 | 2604972.0261 | 1125835.329 | 2604944.2345 | 1125821.0884
52 | 2604918.2161 | 1125852.4162 | 2604916.3237 | 1125856.0573
53 | 2604918.2161 | 1125852.4162 | 2604918.7371 | 1125846.7138 | 2604920.136 | 1125840.3828
54 | 2604921.4916 | 1125833.2539 | 2604920.3924 | 1125839.2226 | 2604920.136 | 1125840.3828
55 | 2604938.5805 | 1125842.3582 | 2604933.3949 | 1125838.7217 | 2604929.4046 | 1125836.195 | 2604929.3145 | 1125836.1578
56 | 2604921.4916 | 1125833.2539 | 2604924.6893 | 1125834.2458 | 2604929.3145 | 1125836.1578
57 | 2604924.4614 | 1125810.9565 | 2604944.2345 | 1125821.0884
58 | 2604924.4614 | 1125810.9565 | 2604924.9871 | 1125803.0697
59 | 2604924.4614 | 1125810.9565 | 2604912.0947 | 1125806.7557 | 2604899.9728 | 1125804.7339 | 2604896.5838 | 1125804.5474
60 | 2604924.4614 | 1125810.9565 | 2604923.3065 | 1125820.1349
61 | 2604924.9871 | 1125803.0697 | 2604925.2774 | 1125798.7134
62 | 2604896.5838 | 1125804.5474 | 2604884.0826 | 1125803.8594
63 | 2604921.4916 | 1125833.2539 | 2604922.018 | 1125830.3751 | 2604923.3065 | 1125820.1349
64 | 2604925.2774 | 1125798.7134 | 2604925.7876 | 1125791.059 | 2604925.3663 | 1125777.5963
65 | 2604864.1477 | 1125797.1176 | 2604871.319 | 1125802.61 | 2604875.6264 | 1125803.7029 | 2604882.7556 | 1125803.7863 | 2604884.0826 | 1125803.8594
66 | 2604925.2992 | 1125775.451 | 2604925.3663 | 1125777.5963
67 | 2604864.1477 | 1125797.1176 | 2604858.4 | 1125792.7154
68 | 2604925.2992 | 1125775.451 | 2604924.6196 | 1125770.8248
69 | 2605006.177 | 1125900.9665 | 2605004.3793 | 1125903.2995 | 2605003.8076 | 1125905.0777 | 2605002.9503 | 1125907.2114 | 2604996.3822 | 1125918.7116 | 2604995.4565 | 1125919.7781 | 2604993.8143 | 1125920.4882 | 2604991.8874 | 1125920.6978 | 2604989.6065 | 1125920.2069 | 2604988.2414 | 1125919.3362
70 | 2604995.5896 | 1125888.852 | 2605006.177 | 1125900.9665
71 | 2605006.177 | 1125900.9665 | 2605015.0634 | 1125910.2672 | 2605019.2326 | 1125914.8558
72 | 2604993.8079 | 1125890.5514 | 2604995.5896 | 1125888.852
73 | 2604995.5896 | 1125888.852 | 2604994.219 | 1125887.2834 | 2604989.8912 | 1125882.8 | 2604985.995 | 1125878.8677
74 | 2605019.2326 | 1125914.8558 | 2605021.2697 | 1125917.0979 | 2605027.3987 | 1125924.2175 | 2605034.1807 | 1125933.9166 | 2605040.8624 | 1125943.7825 | 2605041.6641 | 1125945.0359
75 | 2604993.8079 | 1125890.5514 | 2604991.4979 | 1125887.9371 | 2604985.9141 | 1125882.0885
76 | 2605048.827 | 1125977.2276 | 2605049.4992 | 1125975.2605 | 2605050.2216 | 1125968.3466 | 2605049.4107 | 1125961.009 | 2605046.9739 | 1125953.3366 | 2605041.6641 | 1125945.0359
77 | 2604956.3018 | 1125875.4692 | 2604958.5449 | 1125874.993 | 2604962.7532 | 1125874.7407 | 2604967.5623 | 1125874.9669 | 2604971.2383 | 1125875.3812 | 2604974.9141 | 1125875.9956 | 2604978.813 | 1125877.0548 | 2604982.4107 | 1125879.0143 | 2604984.7214 | 1125880.8392 | 2604985.9141 | 1125882.0885
78 | 2605035.8666 | 1125992.6244 | 2605042.9766 | 1125987.6056 | 2605047.0733 | 1125982.3397 | 2605048.827 | 1125977.2276
79 | 2605035.8666 | 1125992.6244 | 2605028.9978 | 1125985.5376 | 2605021.089 | 1125977.7828 | 2605017.2746 | 1125977.1016 | 2605012.3637 | 1125978.9985 | 2604991.8509 | 1125993.8446
80 | 2605098.2437 | 1125808.3318 | 2605085.4898 | 1125800.2049 | 2605071.5989 | 1125793.857 | 2605066.9329 | 1125791.7256
81 | 2604858.4 | 1125792.7154 | 2604856.8766 | 1125791.5487 | 2604844.082 | 1125782.5787 | 2604837.954 | 1125773.7362 | 2604834.0766 | 1125768.726
82 | 2604834.0766 | 1125768.726 | 2604828.6915 | 1125761.7675 | 2604819.3749 | 1125753.8841
83 | 2604819.3749 | 1125753.8841 | 2604812.6094 | 1125748.1594 | 2604798.3935 | 1125742.9123 | 2604792.831 | 1125741.6984
84 | 2604792.831 | 1125741.6984 | 2604779.6833 | 1125738.8291 | 2604774.1202 | 1125736.8682 | 2604770.4537 | 1125733.9862 | 2604766.4796 | 1125730.3369 | 2604761.4454 | 1125722.0289 | 2604755.997 | 1125711.2417 | 2604755.5931 | 1125710.5638
85 | 2604956.3018 | 1125875.4692 | 2604957.5714 | 1125877.9492 | 2604959.8646 | 1125882.2865 | 2604962.2964 | 1125886.8684 | 2604964.2896 | 1125890.5163
86 | 2604964.2896 | 1125890.5163 | 2604966.3674 | 1125894.3309
87 | 2605098.2437 | 1125808.3318 | 2605112.3738 | 1125817.3356
88 | 2604755.5931 | 1125710.5638 | 2604750.9475 | 1125702.767 | 2604742.7618 | 1125693.445 | 2604738.9581 | 1125688.6286 | 2604738.645 | 1125688.1606
89 | 2604738.645 | 1125688.1606 | 2604736.2944 | 1125684.6468 | 2604735.2596 | 1125677.2202 | 2604733.9798 | 1125667.7145
90 | 2604688.0955 | 1125722.5618 | 2604676.9241 | 1125705.2558 | 2604669.5681 | 1125694.1502
91 | 2604840.787 | 1125934.3067 | 2604850.4546 | 1125940.105 | 2604872.8542 | 1125952.4727
92 | 2604872.8542 | 1125952.4727 | 2604877.4513 | 1125955.0109
93 | 2604904.9256 | 1125962.5814 | 2604879.4282 | 1125956.1024 | 2604877.4513 | 1125955.0109
94 | 2604904.9256 | 1125962.5814 | 2604902.0199 | 1125972.4284 | 2604899.5795 | 1125989.3609
95 | 2604898.6927 | 1125995.5136 | 2604899.5795 | 1125989.3609
96 | 2604898.6927 | 1125995.5136 | 2604898.4859 | 1125996.9486 | 2604898.2753 | 1126009.7213 | 2604916.8723 | 1126019.2075 | 2604925.6393 | 1126023.6167 | 2604935.3985 | 1126030.4612 | 2604941.4524 | 1126035.0905 | 2604942.0261 | 1126035.9879

## bus_geodata
| x | y | coords
0 | 2604871.6831 | 1125683.2576
1 | 2604878.3847 | 1125692.4854
2 | 2604856.4065 | 1125616.3852
3 | 2604882.2407 | 1125699.1023
4 | 2604874.2085 | 1125599.8468
5 | 2604886.7567 | 1125709.0093
6 | 2604889.9868 | 1125712.4481
7 | 2604890.1966 | 1125712.6715
8 | 2604893.796 | 1125716.3111
9 | 2604898.0568 | 1125720.6057
10 | 2604902.974 | 1125723.7857
11 | 2604906.3107 | 1125730.6026
12 | 2604914.2697 | 1125741.4068
13 | 2604940.3843 | 1125744.2924
14 | 2604950.3063 | 1125750.5034
15 | 2604942.6112 | 1125749.7249
16 | 2604922.2953 | 1125757.7369
17 | 2605051.1847 | 1125784.5329
18 | 2604935.2628 | 1125776.5159
19 | 2604926.6528 | 1125871.7292
20 | 2604919.3242 | 1125873.8275
21 | 2604932.3989 | 1125869.6026
22 | 2604921.4139 | 1125882.1221
23 | 2604933.7007 | 1125860.9105
24 | 2604879.0401 | 1125872.2834
25 | 2604870.2864 | 1125879.958
26 | 2604816.2934 | 1125846.3546
27 | 2604891.799 | 1125871.5779
28 | 2604928.2809 | 1125891.7879
29 | 2604915.3705 | 1125883.2734
30 | 2604877.1031 | 1125880.6316
31 | 2605045.0134 | 1125891.327
32 | 2605058.5221 | 1125902.9398
33 | 2605042.7762 | 1125882.7285
34 | 2604867.0616 | 1125881.5172
35 | 2604814.5567 | 1125849.6548
36 | 2604802.009 | 1125829.0594
37 | 2604756.0071 | 1125795.8277
38 | 2604900.0786 | 1125871.7334
39 | 2604939.0544 | 1125883.4591
40 | 2605033.8902 | 1125876.0291
41 | 2604803.764 | 1125902.3054
42 | 2604741.3142 | 1125782.1771
43 | 2605013.3394 | 1125860.5412
44 | 2604999.0487 | 1125849.7748
45 | 2604997.5492 | 1125848.6451
46 | 2604992.103 | 1125845.1612
47 | 2604972.5621 | 1125835.5915
48 | 2604918.2161 | 1125852.4162
49 | 2604916.3237 | 1125856.0573
50 | 2604920.136 | 1125840.3828
51 | 2604938.5805 | 1125842.3582
52 | 2604929.3145 | 1125836.1578
53 | 2604944.2345 | 1125821.0884
54 | 2604924.4614 | 1125810.9565
55 | 2604924.9871 | 1125803.0697
56 | 2604896.5838 | 1125804.5474
57 | 2604923.3065 | 1125820.1349
58 | 2604925.2774 | 1125798.7134
59 | 2604884.0826 | 1125803.8594
60 | 2604921.4916 | 1125833.2539
61 | 2604925.3663 | 1125777.5963
62 | 2604864.1477 | 1125797.1176
63 | 2604925.2992 | 1125775.451
64 | 2604924.6196 | 1125770.8248
65 | 2604988.2414 | 1125919.3362
66 | 2605006.177 | 1125900.9665
67 | 2604995.5896 | 1125888.852
68 | 2605019.2326 | 1125914.8558
69 | 2604993.8079 | 1125890.5514
70 | 2604985.995 | 1125878.8677
71 | 2605041.6641 | 1125945.0359
72 | 2604985.9141 | 1125882.0885
73 | 2605048.827 | 1125977.2276
74 | 2605035.8666 | 1125992.6244
75 | 2604991.8509 | 1125993.8446
76 | 2605066.9329 | 1125791.7256
77 | 2604858.4 | 1125792.7154
78 | 2604834.0766 | 1125768.726
79 | 2604819.3749 | 1125753.8841
80 | 2604792.831 | 1125741.6984
81 | 2604956.3018 | 1125875.4692
82 | 2604964.2896 | 1125890.5163
83 | 2604966.3674 | 1125894.3309
84 | 2605098.2437 | 1125808.3318
85 | 2605112.3738 | 1125817.3356
86 | 2604755.5931 | 1125710.5638
87 | 2604738.645 | 1125688.1606
88 | 2604733.9798 | 1125667.7145
89 | 2604688.0955 | 1125722.5618
90 | 2604669.5681 | 1125694.1502
91 | 2604840.787 | 1125934.3067
92 | 2604872.8542 | 1125952.4727
93 | 2604877.4513 | 1125955.0109
94 | 2604904.9256 | 1125962.5814
95 | 2604899.5795 | 1125989.3609
96 | 2604898.6927 | 1125995.5136
97 | 2604942.0261 | 1126035.9879
98 | 2604896.5838 | 1125804.5474

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1