## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6254-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6254-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6254-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6254-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6254-14_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6254-14_0_5_node_67 | 0.4 | n |  | TRUE
6 | bus_LV_6254-14_0_5_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_6254-14_0_5_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_6254-14_0_5_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_6254-14_0_5_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_6254-14_0_5_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_6254-14_0_5_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_6254-14_0_5_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_6254-14_0_5_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_6254-14_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6254-14_0_5_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_6254-14_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6254-14_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6254-14_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6254-14_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6254-14_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6254-14_0_5_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_6254-14_0_5_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_6254-14_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6254-14_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_6254-14_0_5_node_77 | 0.4 | n |  | TRUE
26 | bus_LV_6254-14_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6254-14_0_5_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_6254-14_0_5_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_6254-14_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_6254-14_0_5_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_6254-14_0_5_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_6254-14_0_5_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_6254-14_0_5_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_6254-14_0_5_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_6254-14_0_5_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_6254-14_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6254-14_0_5_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_6254-14_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_6254-14_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_6254-14_0_5_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_6254-14_0_5_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_6254-14_0_5_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_6254-14_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6254-14_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6254-14_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_6254-14_0_5_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_6254-14_0_5_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_6254-14_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_6254-14_0_5_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_6254-14_0_5_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6254-14_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6254-14_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_6254-14_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_6254-14_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_6254-14_0_5_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_6254-14_0_5_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_6254-14_0_5_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_6254-14_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_6254-14_0_5_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_6254-14_0_5_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_6254-14_0_5_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6254-14_0_5_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_6254-14_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_6254-14_0_5_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_6254-14_0_5_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_6254-14_0_5_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_6254-14_0_5_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_6254-14_0_5_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_6254-14_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_6254-14_0_5_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_6254-14_0_5_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6254-14_0_5_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_6254-14_0_5_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_6254-14_0_5_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_6254-14_0_5_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_6254-14_0_5_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_6254-14_0_5_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_6254-14_0_5_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_6254-14_0_5_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_6254-14_0_5_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_6254-14_0_5_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_6254-14_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_6254-14_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_6254-14_0_5_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_6254-14_0_5_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_6254-14_0_5_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_6254-14_0_5_node_60 | 0.4 | n |  | TRUE
88 | bus_LV_6254-14_0_5_node_61 | 0.4 | n |  | TRUE
89 | bus_LV_6254-14_0_5_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_6254-14_0_5_node_99 | 0.4 | n |  | TRUE
91 | bus_LV_6254-14_0_5_node_100 | 0.4 | n |  | TRUE
92 | bus_LV_6254-14_0_5_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_6254-14_0_5_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_6254-14_0_5_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_6254-14_0_5_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_6254-14_0_5_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_6254-14_0_5_node_93 | 0.4 | n |  | TRUE
98 | bus_MV_99_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6254-14_0_5_load_0 | 0 | 0.0028499 | 0.00071425 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6254-14_0_5_load_1 | 1 | 0.0066948 | 0.0016779 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6254-14_0_5_load_2 | 2 | 0.0084079 | 0.0021072 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6254-14_0_5_load_3 | 3 | 0.0067329 | 0.0016874 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6254-14_0_5_load_4 | 4 | 0.0056786 | 0.0014232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6254-14_0_5_load_67 | 5 | 0.0030866 | 0.00077357 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6254-14_0_5_load_68 | 6 | 0.0031641 | 0.000793 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6254-14_0_5_load_69 | 7 | 0.0084237 | 0.0021112 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6254-14_0_5_load_54 | 8 | 0.0059889 | 0.001501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6254-14_0_5_load_65 | 9 | 0.0056957 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6254-14_0_5_load_71 | 10 | 0.012011 | 0.0030103 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6254-14_0_5_load_52 | 11 | 0.0049163 | 0.0012322 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6254-14_0_5_load_64 | 12 | 0.0087727 | 0.0021986 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6254-14_0_5_load_5 | 13 | 0.0035297 | 0.00088464 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6254-14_0_5_load_8 | 16 | 0.010888 | 0.0027288 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6254-14_0_5_load_9 | 17 | 0.013009 | 0.0032604 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6254-14_0_5_load_11 | 19 | 0.0051192 | 0.001283 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6254-14_0_5_load_12 | 20 | 0.0053576 | 0.0013427 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6254-14_0_5_load_44 | 22 | 0.0076345 | 0.0019134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6254-14_0_5_load_20 | 23 | 0.0048975 | 0.0012274 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6254-14_0_5_load_32 | 24 | 0.0041428 | 0.0010383 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6254-14_0_5_load_77 | 25 | 0.0053952 | 0.0013522 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6254-14_0_5_load_28 | 27 | 0.0022381 | 0.00056093 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6254-14_0_5_load_80 | 28 | 0.0066146 | 0.0016578 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6254-14_0_5_load_18 | 29 | 0.0037071 | 0.00092908 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6254-14_0_5_load_78 | 31 | 0.0061149 | 0.0015325 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6254-14_0_5_load_13 | 32 | 0.0035023 | 0.00087776 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6254-14_0_5_load_14 | 33 | 0.0074981 | 0.0018792 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6254-14_0_5_load_15 | 34 | 0.012944 | 0.0032441 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6254-14_0_5_load_16 | 35 | 0.0035746 | 0.00089588 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6254-14_0_5_load_97 | 37 | 0.0076612 | 0.0019201 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6254-14_0_5_load_23 | 38 | 0.01263 | 0.0031653 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6254-14_0_5_load_24 | 39 | 0.0060607 | 0.001519 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6254-14_0_5_load_98 | 40 | 0.0031229 | 0.00078267 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6254-14_0_5_load_19 | 41 | 0.005817 | 0.0014579 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6254-14_0_5_load_21 | 42 | 0.0045615 | 0.0011432 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6254-14_0_5_load_27 | 43 | 0.003926 | 0.00098394 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6254-14_0_5_load_26 | 44 | 0.0054134 | 0.0013567 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6254-14_0_5_load_25 | 45 | 0.0036703 | 0.00091986 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6254-14_0_5_load_87 | 46 | 0.0062132 | 0.0015572 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6254-14_0_5_load_88 | 47 | 0.011709 | 0.0029347 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6254-14_0_5_load_29 | 48 | 0.0054285 | 0.0013605 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6254-14_0_5_load_31 | 49 | 0.0028556 | 0.00071568 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6254-14_0_5_load_45 | 50 | 0.002842 | 0.00071228 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6254-14_0_5_load_46 | 51 | 0.0055677 | 0.0013954 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6254-14_0_5_load_34 | 52 | 0.0069545 | 0.001743 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6254-14_0_5_load_35 | 53 | 0.0039495 | 0.00098985 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6254-14_0_5_load_36 | 54 | 0.0040291 | 0.0010098 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6254-14_0_5_load_37 | 55 | 0.0099865 | 0.0025029 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6254-14_0_5_load_38 | 56 | 0.0052358 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6254-14_0_5_load_43 | 58 | 0.0055648 | 0.0013947 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6254-14_0_5_load_76 | 60 | 0.0092734 | 0.0023241 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6254-14_0_5_load_55 | 61 | 0.0051791 | 0.001298 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6254-14_0_5_load_66 | 62 | 0.011895 | 0.0029812 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6254-14_0_5_load_53 | 63 | 0.0050078 | 0.0012551 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6254-14_0_5_load_86 | 64 | 0.0053527 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6254-14_0_5_load_83 | 65 | 0.0039603 | 0.00099255 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6254-14_0_5_load_40 | 66 | 0.006646 | 0.0016657 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6254-14_0_5_load_41 | 67 | 0.016844 | 0.0042214 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6254-14_0_5_load_42 | 68 | 0.0084779 | 0.0021248 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6254-14_0_5_load_50 | 69 | 0.0031818 | 0.00079743 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6254-14_0_5_load_48 | 70 | 0.0041228 | 0.0010333 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6254-14_0_5_load_70 | 71 | 0.0048697 | 0.0012205 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6254-14_0_5_load_79 | 72 | 0.0060213 | 0.0015091 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6254-14_0_5_load_47 | 73 | 0.0028694 | 0.00071914 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6254-14_0_5_load_49 | 74 | 0.0046298 | 0.0011603 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6254-14_0_5_load_51 | 75 | 0.0076877 | 0.0019267 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6254-14_0_5_load_96 | 76 | 0.008329 | 0.0020874 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6254-14_0_5_load_56 | 78 | 0.0030365 | 0.00076101 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6254-14_0_5_load_57 | 79 | 0.0037387 | 0.000937 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6254-14_0_5_load_74 | 80 | 0.0061919 | 0.0015518 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6254-14_0_5_load_58 | 81 | 0.0077274 | 0.0019367 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6254-14_0_5_load_72 | 82 | 0.0031548 | 0.00079067 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6254-14_0_5_load_73 | 83 | 0.004292 | 0.0010757 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6254-14_0_5_load_75 | 84 | 0.011016 | 0.0027609 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6254-14_0_5_load_59 | 86 | 0.0058641 | 0.0014697 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6254-14_0_5_load_60 | 87 | 0.0085986 | 0.002155 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6254-14_0_5_load_61 | 88 | 0.024314 | 0.0060936 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6254-14_0_5_load_62 | 89 | 0.005643 | 0.0014143 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6254-14_0_5_load_99 | 90 | 0.0096995 | 0.0024309 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6254-14_0_5_load_100 | 91 | 0.0097442 | 0.0024421 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6254-14_0_5_load_90 | 92 | 0.010897 | 0.0027311 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6254-14_0_5_load_89 | 93 | 0.010858 | 0.0027214 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6254-14_0_5_load_81 | 94 | 0.013136 | 0.0032923 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6254-14_0_5_load_82 | 95 | 0.0075317 | 0.0018876 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6254-14_0_5_load_94 | 96 | 0.0047017 | 0.0011784 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6254-14_0_5_load_93 | 97 | 0.004695 | 0.0011767 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 95 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6254-14_0_5_line_0 |  | 0 | 1 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6254-14_0_5_line_1 |  | 0 | 2 | 0.027299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6254-14_0_5_line_2 |  | 1 | 3 | 0.0030576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6254-14_0_5_line_3 |  | 2 | 4 | 0.011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6254-14_0_5_line_4 |  | 3 | 8 | 0.016506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6254-14_0_5_line_5 |  | 4 | 9 | 0.011996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6254-14_0_5_line_6 |  | 5 | 6 | 0.0085827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6254-14_0_5_line_7 |  | 5 | 7 | 0.056419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6254-14_0_5_line_8 |  | 6 | 71 | 0.033191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6254-14_0_5_line_9 |  | 7 | 10 | 0.025079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6254-14_0_5_line_10 |  | 8 | 11 | 0.012726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6254-14_0_5_line_11 |  | 9 | 12 | 0.022724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6254-14_0_5_line_12 |  | 10 | 92 | 0.021138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6254-14_0_5_line_13 |  | 10 | 12 | 0.069594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6254-14_0_5_line_14 |  | 11 | 63 | 0.0036819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6254-14_0_5_line_15 |  | 13 | 14 | 0.010704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6254-14_0_5_line_16 |  | 14 | 18 | 0.010271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6254-14_0_5_line_17 |  | 14 | 19 | 0.036132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6254-14_0_5_line_18 |  | 14 | 20 | 0.0093048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6254-14_0_5_line_19 |  | 15 | 16 | 0.035578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6254-14_0_5_line_20 |  | 15 | 17 | 0.023135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6254-14_0_5_line_21 |  | 17 | 21 | 0.015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6254-14_0_5_line_22 |  | 18 | 22 | 0.017838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6254-14_0_5_line_23 |  | 18 | 23 | 0.019687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6254-14_0_5_line_24 |  | 19 | 24 | 0.0088205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6254-14_0_5_line_25 |  | 20 | 25 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6254-14_0_5_line_26 |  | 21 | 26 | 0.024851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6254-14_0_5_line_27 |  | 21 | 27 | 0.01459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6254-14_0_5_line_28 |  | 22 | 28 | 0.018231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_6254-14_0_5_line_29 |  | 23 | 29 | 0.00088906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_6254-14_0_5_line_30 |  | 24 | 30 | 0.013396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6254-14_0_5_line_31 |  | 25 | 31 | 0.014614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6254-14_0_5_line_32 |  | 26 | 37 | 0.037206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6254-14_0_5_line_33 |  | 26 | 34 | 0.017445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6254-14_0_5_line_34 |  | 27 | 48 | 0.017468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6254-14_0_5_line_35 |  | 28 | 72 | 0.0065487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6254-14_0_5_line_36 |  | 29 | 41 | 0.0058971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6254-14_0_5_line_37 |  | 30 | 52 | 0.016149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6254-14_0_5_line_38 |  | 31 | 89 | 0.0016086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6254-14_0_5_line_39 |  | 32 | 33 | 0.0056745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6254-14_0_5_line_40 |  | 32 | 34 | 0.018172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6254-14_0_5_line_41 |  | 33 | 35 | 0.013469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6254-14_0_5_line_42 |  | 35 | 36 | 0.016991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6254-14_0_5_line_43 |  | 36 | 38 | 0.019671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6254-14_0_5_line_44 |  | 36 | 39 | 0.0075483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6254-14_0_5_line_45 |  | 37 | 40 | 0.024233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6254-14_0_5_line_46 |  | 38 | 45 | 0.0056122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6254-14_0_5_line_47 |  | 39 | 46 | 0.019633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6254-14_0_5_line_48 |  | 41 | 42 | 0.0059037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6254-14_0_5_line_49 |  | 42 | 43 | 2.297e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6254-14_0_5_line_50 |  | 43 | 44 | 0.021454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6254-14_0_5_line_51 |  | 44 | 45 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6254-14_0_5_line_52 |  | 46 | 47 | 0.014206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6254-14_0_5_line_53 |  | 47 | 57 | 0.012814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6254-14_0_5_line_54 |  | 48 | 49 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6254-14_0_5_line_55 |  | 49 | 50 | 0.0076242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6254-14_0_5_line_56 |  | 50 | 51 | 0.0093623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6254-14_0_5_line_57 |  | 53 | 54 | 0.0086745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_6254-14_0_5_line_58 |  | 53 | 55 | 0.014493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6254-14_0_5_line_59 |  | 54 | 56 | 0.039028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6254-14_0_5_line_60 |  | 55 | 57 | 0.007372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6254-14_0_5_line_61 |  | 56 | 58 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_6254-14_0_5_line_62 |  | 57 | 59 | 0.050263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6254-14_0_5_line_63 |  | 58 | 60 | 0.043703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_6254-14_0_5_line_64 |  | 59 | 64 | 0.017015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6254-14_0_5_line_65 |  | 59 | 65 | 0.033209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6254-14_0_5_line_66 |  | 60 | 71 | 0.018991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6254-14_0_5_line_67 |  | 61 | 62 | 0.0053789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6254-14_0_5_line_68 |  | 61 | 63 | 0.018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6254-14_0_5_line_69 |  | 64 | 96 | 0.021578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6254-14_0_5_line_70 |  | 66 | 67 | 0.0050566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6254-14_0_5_line_71 |  | 67 | 68 | 0.023166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6254-14_0_5_line_72 |  | 68 | 69 | 0.02097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6254-14_0_5_line_73 |  | 69 | 70 | 0.024839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6254-14_0_5_line_74 |  | 70 | 73 | 0.020567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6254-14_0_5_line_75 |  | 72 | 94 | 0.0012623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_6254-14_0_5_line_76 |  | 73 | 74 | 0.0048684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6254-14_0_5_line_77 |  | 74 | 75 | 0.021565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6254-14_0_5_line_78 |  | 75 | 76 | 0.028518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6254-14_0_5_line_79 |  | 76 | 77 | 0.031683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6254-14_0_5_line_80 |  | 77 | 97 | 0.0010618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6254-14_0_5_line_81 |  | 78 | 79 | 0.052352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6254-14_0_5_line_82 |  | 78 | 80 | 0.057345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6254-14_0_5_line_83 |  | 79 | 81 | 0.027139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6254-14_0_5_line_84 |  | 80 | 82 | 0.025152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6254-14_0_5_line_85 |  | 82 | 83 | 0.024403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6254-14_0_5_line_86 |  | 83 | 84 | 0.03158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6254-14_0_5_line_87 |  | 84 | 85 | 0.049851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6254-14_0_5_line_88 |  | 85 | 90 | 0.045659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6254-14_0_5_line_89 |  | 85 | 88 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6254-14_0_5_line_90 |  | 86 | 87 | 0.012714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6254-14_0_5_line_91 |  | 86 | 88 | 0.015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6254-14_0_5_line_92 |  | 87 | 89 | 0.016479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6254-14_0_5_line_93 |  | 90 | 91 | 0.045476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6254-14_0_5_line_94 |  | 92 | 93 | 0.021546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6254-14_0_5_line_95 |  | 94 | 95 | 0.0034453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_6254-14_0_5_line_96 |  | 96 | 97 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6254-14_0_5_trafo_82 | 0.63 MVA 20/0.4 kV | 98 | 95 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2608653.6406 | 1129248.513 | 2608653.1767 | 1129248.6545 | 2608638.4527 | 1129251.992
1 | 2608653.6406 | 1129248.513 | 2608679.7521 | 1129240.5479
2 | 2608638.4527 | 1129251.992 | 2608635.4707 | 1129252.6679
3 | 2608691.1091 | 1129237.0836 | 2608679.7521 | 1129240.5479
4 | 2608619.8964 | 1129257.7436 | 2608625.1524 | 1129255.0068 | 2608635.4707 | 1129252.6679
5 | 2608691.1091 | 1129237.0836 | 2608700.8396 | 1129234.1153 | 2608702.5645 | 1129233.5257
6 | 2608621.4429 | 1129181.3521 | 2608613.1021 | 1129183.375
7 | 2608621.4429 | 1129181.3521 | 2608668.2322 | 1129170.0043 | 2608676.1822 | 1129167.7142
8 | 2608613.1021 | 1129183.375 | 2608595.8227 | 1129187.5658 | 2608580.8934 | 1129191.3886
9 | 2608700.2817 | 1129160.7723 | 2608676.1822 | 1129167.7142
10 | 2608612.0659 | 1129267.7027 | 2608613.6915 | 1129265.2511 | 2608619.4249 | 1129257.989 | 2608619.8964 | 1129257.7436
11 | 2608724.0667 | 1129226.1757 | 2608702.5645 | 1129233.5257
12 | 2608720.5934 | 1129154.9214 | 2608700.2817 | 1129160.7723
13 | 2608700.2817 | 1129160.7723 | 2608724.0667 | 1129226.1757
14 | 2608612.0659 | 1129267.7027 | 2608610.0312 | 1129270.7713
15 | 2608449.3581 | 1129143.873 | 2608441.8892 | 1129151.5409
16 | 2608449.3581 | 1129143.873 | 2608452.4411 | 1129153.6709
17 | 2608449.3581 | 1129143.873 | 2608440.743 | 1129135.0345 | 2608421.424 | 1129121.1528
18 | 2608449.3581 | 1129143.873 | 2608455.8488 | 1129137.2059
19 | 2608415.4046 | 1129198.7083 | 2608384.9606 | 1129180.298
20 | 2608415.4046 | 1129198.7083 | 2608411.2499 | 1129211.8867 | 2608404.6029 | 1129218.4161
21 | 2608390.7121 | 1129224.4312 | 2608399.9036 | 1129223.0321 | 2608404.6029 | 1129218.4161
22 | 2608452.4411 | 1129153.6709 | 2608470.2088 | 1129155.2511
23 | 2608452.4411 | 1129153.6709 | 2608453.7679 | 1129157.8859 | 2608457.0039 | 1129172.8069
24 | 2608421.424 | 1129121.1528 | 2608414.2609 | 1129116.0058
25 | 2608455.8488 | 1129137.2059 | 2608457.2804 | 1129135.7355 | 2608468.5115 | 1129130.0928 | 2608468.5115 | 1129130.0928
26 | 2608390.7121 | 1129224.4312 | 2608392.9732 | 1129232.6383 | 2608398.9613 | 1129241.6176 | 2608404.4989 | 1129242.2144
27 | 2608390.7121 | 1129224.4312 | 2608388.6319 | 1129224.7507 | 2608378.2297 | 1129221.5682 | 2608376.7782 | 1129220.8779
28 | 2608487.8929 | 1129159.2209 | 2608486.4508 | 1129158.4205 | 2608474.6615 | 1129155.6472 | 2608470.2088 | 1129155.2511
29 | 2608457.0039 | 1129172.8069 | 2608457.1924 | 1129173.6758
30 | 2608404.2076 | 1129107.1704 | 2608412.5318 | 1129114.7634 | 2608414.2609 | 1129116.0058
31 | 2608468.5115 | 1129130.0928 | 2608480.9404 | 1129127.2309 | 2608482.8001 | 1129127.2199
32 | 2608404.4989 | 1129242.2144 | 2608406.8941 | 1129264.7843 | 2608406.6571 | 1129274.6332 | 2608404.224 | 1129278.6042
33 | 2608404.4989 | 1129242.2144 | 2608410.4061 | 1129242.8562 | 2608420.9293 | 1129238.2097
34 | 2608376.7782 | 1129220.8779 | 2608361.0031 | 1129213.3755
35 | 2608493.6187 | 1129162.3991 | 2608487.8929 | 1129159.2209
36 | 2608457.1924 | 1129173.6758 | 2608457.5566 | 1129175.3552 | 2608457.713 | 1129179.5309
37 | 2608404.2076 | 1129107.1704 | 2608388.4425 | 1129103.6688
38 | 2608484.4087 | 1129127.2103 | 2608482.8001 | 1129127.2199
39 | 2608438.361 | 1129233.4284 | 2608439.9986 | 1129233.1035 | 2608443.9995 | 1129232.923
40 | 2608438.361 | 1129233.4284 | 2608426.3685 | 1129235.8082 | 2608420.9293 | 1129238.2097
41 | 2608457.4544 | 1129232.3162 | 2608457.4544 | 1129232.3162 | 2608443.9995 | 1129232.923
42 | 2608472.0249 | 1129240.2181 | 2608465.901 | 1129234.7736 | 2608457.4544 | 1129232.3162
43 | 2608472.0249 | 1129240.2181 | 2608466.4726 | 1129222.5906 | 2608466.0441 | 1129221.4804
44 | 2608472.0249 | 1129240.2181 | 2608475.0628 | 1129247.128
45 | 2608381.9619 | 1129274.5992 | 2608391.6071 | 1129279.3147 | 2608396.9963 | 1129281.3342 | 2608404.1867 | 1129278.6651 | 2608404.224 | 1129278.6042
46 | 2608464.0235 | 1129216.2446 | 2608466.0441 | 1129221.4804
47 | 2608475.0628 | 1129247.128 | 2608476.5092 | 1129250.4182 | 2608481.0774 | 1129265.7931
48 | 2608457.9339 | 1129185.4305 | 2608457.713 | 1129179.5309
49 | 2608457.9339 | 1129185.4305 | 2608457.9348 | 1129185.4535
50 | 2608460.3064 | 1129206.6128 | 2608458.8664 | 1129202.8816 | 2608458.2102 | 1129192.8091 | 2608457.9348 | 1129185.4535
51 | 2608460.3064 | 1129206.6128 | 2608464.0235 | 1129216.2446
52 | 2608481.0774 | 1129265.7931 | 2608481.7994 | 1129268.2231 | 2608485.1318 | 1129279.4082
53 | 2608485.2326 | 1129291.9505 | 2608486.4149 | 1129283.7148 | 2608485.1318 | 1129279.4082
54 | 2608346.9953 | 1129206.7137 | 2608361.0031 | 1129213.3755
55 | 2608340.1101 | 1129203.4393 | 2608346.9953 | 1129206.7137
56 | 2608340.1101 | 1129203.4393 | 2608331.6552 | 1129199.4183
57 | 2608511.8362 | 1129277.0078 | 2608504.2854 | 1129281.2777
58 | 2608491.8575 | 1129288.7331 | 2608503.0014 | 1129282.0038 | 2608504.2854 | 1129281.2777
59 | 2608511.8362 | 1129277.0078 | 2608518.6891 | 1129273.1325 | 2608527.0173 | 1129266.552 | 2608533.8383 | 1129258.2687 | 2608538.2016 | 1129249.4818
60 | 2608485.2326 | 1129291.9505 | 2608490.6589 | 1129289.4569 | 2608491.8575 | 1129288.7331
61 | 2608538.2016 | 1129249.4818 | 2608543.1388 | 1129239.5392 | 2608544.1467 | 1129237.1938
62 | 2608485.2326 | 1129291.9505 | 2608481.8466 | 1129300.6612 | 2608478.9691 | 1129314.9197 | 2608474.835 | 1129340.96
63 | 2608544.1467 | 1129237.1938 | 2608556.6784 | 1129208.0318 | 2608561.7257 | 1129201.2467 | 2608564.0381 | 1129198.611
64 | 2608474.835 | 1129340.96 | 2608457.8619 | 1129339.7654
65 | 2608474.835 | 1129340.96 | 2608473.4768 | 1129353.831 | 2608474.4794 | 1129374.073
66 | 2608580.8934 | 1129191.3886 | 2608567.327 | 1129194.8625 | 2608564.0381 | 1129198.611
67 | 2608599.4679 | 1129285.6862 | 2608595.9766 | 1129289.7781
68 | 2608610.0312 | 1129270.7713 | 2608602.4908 | 1129282.1435 | 2608599.4679 | 1129285.6862
69 | 2608436.3376 | 1129338.2506 | 2608457.8619 | 1129339.7654
70 | 2608286.1066 | 1129224.0242 | 2608289.0619 | 1129226.6042 | 2608289.8664 | 1129227.4027
71 | 2608306.2362 | 1129243.7879 | 2608305.5392 | 1129242.9569 | 2608289.8664 | 1129227.4027
72 | 2608319.712 | 1129259.8544 | 2608306.2362 | 1129243.7879
73 | 2608319.712 | 1129259.8544 | 2608325.7955 | 1129267.1074 | 2608337.0153 | 1129277.6161
74 | 2608352.0262 | 1129291.6756 | 2608337.0153 | 1129277.6161
75 | 2608493.6187 | 1129162.3991 | 2608494.7223 | 1129163.0117
76 | 2608352.0262 | 1129291.6756 | 2608353.8825 | 1129293.4142 | 2608355.5361 | 1129295.0487
77 | 2608355.5361 | 1129295.0487 | 2608370.8739 | 1129310.2084
78 | 2608391.809 | 1129329.4989 | 2608389.4372 | 1129327.991 | 2608375.0902 | 1129314.3758 | 2608370.8739 | 1129310.2084
79 | 2608421.9839 | 1129337.2404 | 2608408.5285 | 1129336.2992 | 2608396.9023 | 1129332.737 | 2608391.809 | 1129329.4989
80 | 2608421.9839 | 1129337.2404 | 2608423.0431 | 1129337.315
81 | 2608655.797 | 1129046.2475 | 2608632.8877 | 1129047.3832 | 2608603.4745 | 1129047.1083
82 | 2608661.4771 | 1129103.3106 | 2608655.797 | 1129046.2475
83 | 2608603.4745 | 1129047.1083 | 2608576.3365 | 1129046.8547
84 | 2608636.5646 | 1129106.7386 | 2608652.7341 | 1129104.7393 | 2608661.4771 | 1129103.3106
85 | 2608636.5646 | 1129106.7386 | 2608622.6023 | 1129108.4651 | 2608612.3129 | 1129109.433
86 | 2608612.3129 | 1129109.433 | 2608592.5641 | 1129111.2907 | 2608580.9115 | 1129112.754
87 | 2608532.0929 | 1129113.0288 | 2608536.1774 | 1129111.656 | 2608542.0209 | 1129113.9098 | 2608552.7175 | 1129115.9925 | 2608566.4771 | 1129114.5666 | 2608580.9115 | 1129112.754
88 | 2608532.0929 | 1129113.0288 | 2608523.0337 | 1129102.3442 | 2608502.5221 | 1129101.1928 | 2608493.5549 | 1129094.6385
89 | 2608532.0929 | 1129113.0288 | 2608527.0732 | 1129122.1039
90 | 2608513.6012 | 1129127.0364 | 2608500.8876 | 1129127.1121
91 | 2608513.6012 | 1129127.0364 | 2608520.2492 | 1129126.9968 | 2608527.0732 | 1129122.1039
92 | 2608484.4087 | 1129127.2103 | 2608500.8876 | 1129127.1121
93 | 2608493.5549 | 1129094.6385 | 2608456.8408 | 1129067.8033
94 | 2608741.2976 | 1129148.9575 | 2608720.5934 | 1129154.9214
95 | 2608497.7347 | 1129164.6837 | 2608494.7223 | 1129163.0117
96 | 2608423.0431 | 1129337.315 | 2608436.3376 | 1129338.2506

## bus_geodata
| x | y | coords
0 | 2608653.6406 | 1129248.513
1 | 2608638.4527 | 1129251.992
2 | 2608679.7521 | 1129240.5479
3 | 2608635.4707 | 1129252.6679
4 | 2608691.1091 | 1129237.0836
5 | 2608621.4429 | 1129181.3521
6 | 2608613.1021 | 1129183.375
7 | 2608676.1822 | 1129167.7142
8 | 2608619.8964 | 1129257.7436
9 | 2608702.5645 | 1129233.5257
10 | 2608700.2817 | 1129160.7723
11 | 2608612.0659 | 1129267.7027
12 | 2608724.0667 | 1129226.1757
13 | 2608441.8892 | 1129151.5409
14 | 2608449.3581 | 1129143.873
15 | 2608415.4046 | 1129198.7083
16 | 2608384.9606 | 1129180.298
17 | 2608404.6029 | 1129218.4161
18 | 2608452.4411 | 1129153.6709
19 | 2608421.424 | 1129121.1528
20 | 2608455.8488 | 1129137.2059
21 | 2608390.7121 | 1129224.4312
22 | 2608470.2088 | 1129155.2511
23 | 2608457.0039 | 1129172.8069
24 | 2608414.2609 | 1129116.0058
25 | 2608468.5115 | 1129130.0928
26 | 2608404.4989 | 1129242.2144
27 | 2608376.7782 | 1129220.8779
28 | 2608487.8929 | 1129159.2209
29 | 2608457.1924 | 1129173.6758
30 | 2608404.2076 | 1129107.1704
31 | 2608482.8001 | 1129127.2199
32 | 2608438.361 | 1129233.4284
33 | 2608443.9995 | 1129232.923
34 | 2608420.9293 | 1129238.2097
35 | 2608457.4544 | 1129232.3162
36 | 2608472.0249 | 1129240.2181
37 | 2608404.224 | 1129278.6042
38 | 2608466.0441 | 1129221.4804
39 | 2608475.0628 | 1129247.128
40 | 2608381.9619 | 1129274.5992
41 | 2608457.713 | 1129179.5309
42 | 2608457.9339 | 1129185.4305
43 | 2608457.9348 | 1129185.4535
44 | 2608460.3064 | 1129206.6128
45 | 2608464.0235 | 1129216.2446
46 | 2608481.0774 | 1129265.7931
47 | 2608485.1318 | 1129279.4082
48 | 2608361.0031 | 1129213.3755
49 | 2608346.9953 | 1129206.7137
50 | 2608340.1101 | 1129203.4393
51 | 2608331.6552 | 1129199.4183
52 | 2608388.4425 | 1129103.6688
53 | 2608504.2854 | 1129281.2777
54 | 2608511.8362 | 1129277.0078
55 | 2608491.8575 | 1129288.7331
56 | 2608538.2016 | 1129249.4818
57 | 2608485.2326 | 1129291.9505
58 | 2608544.1467 | 1129237.1938
59 | 2608474.835 | 1129340.96
60 | 2608564.0381 | 1129198.611
61 | 2608599.468 | 1129285.6862
62 | 2608595.9766 | 1129289.7781
63 | 2608610.0312 | 1129270.7713
64 | 2608457.8619 | 1129339.7654
65 | 2608474.4794 | 1129374.073
66 | 2608286.1066 | 1129224.0242
67 | 2608289.8664 | 1129227.4027
68 | 2608306.2362 | 1129243.7879
69 | 2608319.712 | 1129259.8544
70 | 2608337.0153 | 1129277.6161
71 | 2608580.8934 | 1129191.3886
72 | 2608493.6187 | 1129162.3991
73 | 2608352.0262 | 1129291.6756
74 | 2608355.5361 | 1129295.0487
75 | 2608370.8739 | 1129310.2084
76 | 2608391.809 | 1129329.4989
77 | 2608421.9839 | 1129337.2404
78 | 2608655.797 | 1129046.2475
79 | 2608603.4745 | 1129047.1083
80 | 2608661.4771 | 1129103.3106
81 | 2608576.3365 | 1129046.8547
82 | 2608636.5646 | 1129106.7386
83 | 2608612.3129 | 1129109.433
84 | 2608580.9115 | 1129112.754
85 | 2608532.0929 | 1129113.0288
86 | 2608513.6012 | 1129127.0364
87 | 2608500.8876 | 1129127.1121
88 | 2608527.0732 | 1129122.1039
89 | 2608484.4087 | 1129127.2103
90 | 2608493.5549 | 1129094.6385
91 | 2608456.8408 | 1129067.8033
92 | 2608720.5934 | 1129154.9214
93 | 2608741.2976 | 1129148.9575
94 | 2608494.7223 | 1129163.0117
95 | 2608497.7347 | 1129164.6837
96 | 2608436.3376 | 1129338.2506
97 | 2608423.0431 | 1129337.315
98 | 2608452.4411 | 1129153.6709

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1