## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6254-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6254-15_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6254-15_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6254-15_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6254-15_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6254-15_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6254-15_0_5_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_6254-15_0_5_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_6254-15_0_5_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_6254-15_0_5_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_6254-15_0_5_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_6254-15_0_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_6254-15_0_5_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_6254-15_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6254-15_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6254-15_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6254-15_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6254-15_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6254-15_0_5_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_6254-15_0_5_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_6254-15_0_5_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_6254-15_0_5_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_6254-15_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6254-15_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6254-15_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6254-15_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6254-15_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6254-15_0_5_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_6254-15_0_5_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_6254-15_0_5_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_6254-15_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_6254-15_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_6254-15_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_6254-15_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_6254-15_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6254-15_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6254-15_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6254-15_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6254-15_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_6254-15_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6254-15_0_5_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6254-15_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6254-15_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_6254-15_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6254-15_0_5_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_6254-15_0_5_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_6254-15_0_5_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_6254-15_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6254-15_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6254-15_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_6254-15_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6254-15_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6254-15_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_6254-15_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6254-15_0_5_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_6254-15_0_5_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_6254-15_0_5_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_6254-15_0_5_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_6254-15_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6254-15_0_5_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_6254-15_0_5_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_6254-15_0_5_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_6254-15_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_6254-15_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_6254-15_0_5_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_6254-15_0_5_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_6254-15_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_6254-15_0_5_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6254-15_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_6254-15_0_5_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_6254-15_0_5_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_6254-15_0_5_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6254-15_0_5_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_6254-15_0_5_node_89 | 0.4 | n |  | TRUE
74 | bus_LV_6254-15_0_5_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_6254-15_0_5_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_6254-15_0_5_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_6254-15_0_5_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_6254-15_0_5_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_6254-15_0_5_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6254-15_0_5_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_6254-15_0_5_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_6254-15_0_5_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_6254-15_0_5_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_6254-15_0_5_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_6254-15_0_5_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_6254-15_0_5_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_6254-15_0_5_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_6254-15_0_5_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_6254-15_0_5_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_6254-15_0_5_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_6254-15_0_5_node_95 | 0.4 | n |  | TRUE
92 | bus_MV_99_0_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6254-15_0_5_load_0 | 0 | 0.0011997 | 0.00030067 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6254-15_0_5_load_1 | 1 | 0.0022982 | 0.00057597 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6254-15_0_5_load_3 | 3 | 0.0038813 | 0.00097273 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6254-15_0_5_load_4 | 4 | 0.0033158 | 0.00083103 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6254-15_0_5_load_5 | 5 | 0.0027761 | 0.00069576 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6254-15_0_5_load_49 | 6 | 0.0035328 | 0.0008854 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6254-15_0_5_load_38 | 7 | 0.0032018 | 0.00080244 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6254-15_0_5_load_20 | 9 | 0.0048077 | 0.0012049 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6254-15_0_5_load_39 | 10 | 0.0032157 | 0.00080592 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6254-15_0_5_load_32 | 11 | 0.0051266 | 0.0012848 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6254-15_0_5_load_28 | 12 | 0.0048441 | 0.001214 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6254-15_0_5_load_6 | 13 | 0.0032092 | 0.0008043 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6254-15_0_5_load_7 | 14 | 0.0071254 | 0.0017858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6254-15_0_5_load_8 | 15 | 0.0041448 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6254-15_0_5_load_9 | 16 | 0.0056262 | 0.0014101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6254-15_0_5_load_10 | 17 | 0.022717 | 0.0056935 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6254-15_0_5_load_66 | 18 | 0.010393 | 0.0026047 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6254-15_0_5_load_27 | 19 | 0.0064168 | 0.0016082 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6254-15_0_5_load_75 | 20 | 0.0059975 | 0.0015031 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6254-15_0_5_load_52 | 21 | 0.0093344 | 0.0023394 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6254-15_0_5_load_11 | 22 | 0.0035576 | 0.00089161 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6254-15_0_5_load_12 | 23 | 0.0078357 | 0.0019638 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6254-15_0_5_load_13 | 24 | 0.0089784 | 0.0022502 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6254-15_0_5_load_14 | 25 | 0.0086271 | 0.0021622 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6254-15_0_5_load_15 | 26 | 0.0047295 | 0.0011853 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6254-15_0_5_load_76 | 27 | 0.0074171 | 0.0018589 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6254-15_0_5_load_50 | 28 | 0.007009 | 0.0017566 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6254-15_0_5_load_77 | 29 | 0.01689 | 0.004233 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6254-15_0_5_load_16 | 31 | 0.0028295 | 0.00070914 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6254-15_0_5_load_17 | 32 | 0.005574 | 0.001397 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6254-15_0_5_load_18 | 33 | 0.0039646 | 0.00099362 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6254-15_0_5_load_21 | 34 | 0.0035604 | 0.00089231 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6254-15_0_5_load_24 | 36 | 0.0047009 | 0.0011782 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6254-15_0_5_load_25 | 37 | 0.0075991 | 0.0019045 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6254-15_0_5_load_36 | 39 | 0.0048742 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6254-15_0_5_load_33 | 40 | 0.0036714 | 0.00092013 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6254-15_0_5_load_34 | 41 | 0.0051812 | 0.0012985 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6254-15_0_5_load_51 | 42 | 0.0052395 | 0.0013131 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6254-15_0_5_load_29 | 43 | 0.0045558 | 0.0011418 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6254-15_0_5_load_37 | 44 | 0.0084151 | 0.002109 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6254-15_0_5_load_60 | 45 | 0.0093077 | 0.0023327 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6254-15_0_5_load_61 | 46 | 0.0073361 | 0.0018386 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6254-15_0_5_load_41 | 48 | 0.0022017 | 0.0005518 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6254-15_0_5_load_47 | 49 | 0.0035944 | 0.00090083 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6254-15_0_5_load_48 | 50 | 0.0027422 | 0.00068725 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6254-15_0_5_load_42 | 51 | 0.0046966 | 0.0011771 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6254-15_0_5_load_43 | 52 | 0.0055707 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6254-15_0_5_load_45 | 53 | 0.0064821 | 0.0016246 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6254-15_0_5_load_62 | 54 | 0.0078396 | 0.0019648 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6254-15_0_5_load_88 | 55 | 0.0076698 | 0.0019222 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6254-15_0_5_load_73 | 56 | 0.0027915 | 0.00069962 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6254-15_0_5_load_74 | 57 | 0.0038942 | 0.00097598 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6254-15_0_5_load_53 | 58 | 0.0068607 | 0.0017195 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6254-15_0_5_load_54 | 59 | 0.0084382 | 0.0021148 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6254-15_0_5_load_87 | 60 | 0.0089191 | 0.0022353 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6254-15_0_5_load_71 | 61 | 0.01441 | 0.0036114 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6254-15_0_5_load_55 | 62 | 0.0035072 | 0.00087898 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6254-15_0_5_load_56 | 63 | 0.0038332 | 0.0009607 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6254-15_0_5_load_59 | 66 | 0.0044192 | 0.0011076 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6254-15_0_5_load_63 | 67 | 0.0044599 | 0.0011178 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6254-15_0_5_load_64 | 68 | 0.0051964 | 0.0013023 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6254-15_0_5_load_82 | 70 | 0.0088613 | 0.0022209 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6254-15_0_5_load_70 | 71 | 0.010973 | 0.0027501 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6254-15_0_5_load_90 | 74 | 0.0079253 | 0.0019863 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6254-15_0_5_load_78 | 75 | 0.011507 | 0.002884 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6254-15_0_5_load_68 | 76 | 0.0061143 | 0.0015324 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6254-15_0_5_load_79 | 77 | 0.0066699 | 0.0016716 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6254-15_0_5_load_67 | 78 | 0.0075799 | 0.0018997 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6254-15_0_5_load_72 | 80 | 0.013286 | 0.0033297 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6254-15_0_5_load_96 | 83 | 0.010893 | 0.0027301 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6254-15_0_5_load_86 | 84 | 0.0065303 | 0.0016367 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6254-15_0_5_load_83 | 85 | 0.0050292 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6254-15_0_5_load_84 | 86 | 0.005414 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6254-15_0_5_load_85 | 87 | 0.0097228 | 0.0024368 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6254-15_0_5_load_92 | 88 | 0.0083456 | 0.0020916 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6254-15_0_5_load_94 | 90 | 0.0087116 | 0.0021833 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6254-15_0_5_load_95 | 91 | 0.0082348 | 0.0020638 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6254-15_0_5_line_0 |  | 0 | 1 | 0.056607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6254-15_0_5_line_1 |  | 0 | 2 | 0.0086688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6254-15_0_5_line_2 |  | 1 | 3 | 0.012152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6254-15_0_5_line_3 |  | 2 | 4 | 0.045255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6254-15_0_5_line_4 |  | 2 | 5 | 0.0047115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6254-15_0_5_line_5 |  | 3 | 6 | 0.01296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6254-15_0_5_line_6 |  | 4 | 7 | 0.09294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6254-15_0_5_line_7 |  | 5 | 8 | 0.045735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6254-15_0_5_line_8 |  | 6 | 9 | 0.015344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6254-15_0_5_line_9 |  | 7 | 10 | 0.0030032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6254-15_0_5_line_10 |  | 8 | 11 | 0.028289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6254-15_0_5_line_11 |  | 8 | 12 | 0.016717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6254-15_0_5_line_12 |  | 9 | 33 | 0.021751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6254-15_0_5_line_13 |  | 10 | 47 | 0.003133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6254-15_0_5_line_14 |  | 11 | 44 | 0.020254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6254-15_0_5_line_15 |  | 12 | 43 | 0.025211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6254-15_0_5_line_16 |  | 13 | 14 | 0.0035055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6254-15_0_5_line_17 |  | 13 | 15 | 0.0038944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6254-15_0_5_line_18 |  | 14 | 16 | 0.022899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6254-15_0_5_line_19 |  | 15 | 17 | 0.028382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6254-15_0_5_line_20 |  | 16 | 18 | 0.0037343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6254-15_0_5_line_21 |  | 17 | 19 | 0.012021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6254-15_0_5_line_22 |  | 18 | 20 | 0.030351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6254-15_0_5_line_23 |  | 19 | 21 | 0.021569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6254-15_0_5_line_24 |  | 20 | 77 | 0.009033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6254-15_0_5_line_25 |  | 21 | 42 | 0.0013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6254-15_0_5_line_26 |  | 22 | 23 | 0.0046574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6254-15_0_5_line_27 |  | 22 | 24 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6254-15_0_5_line_28 |  | 23 | 25 | 0.015618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6254-15_0_5_line_29 |  | 24 | 26 | 0.0010849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6254-15_0_5_line_30 |  | 25 | 27 | 0.025944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6254-15_0_5_line_31 |  | 26 | 28 | 0.026146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6254-15_0_5_line_32 |  | 27 | 29 | 0.038005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6254-15_0_5_line_33 |  | 28 | 30 | 0.040958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6254-15_0_5_line_34 |  | 29 | 75 | 0.019884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6254-15_0_5_line_35 |  | 30 | 43 | 0.036578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6254-15_0_5_line_36 |  | 31 | 32 | 0.018574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6254-15_0_5_line_37 |  | 31 | 33 | 0.031723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6254-15_0_5_line_38 |  | 34 | 35 | 0.015629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6254-15_0_5_line_39 |  | 35 | 36 | 0.01277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6254-15_0_5_line_40 |  | 35 | 37 | 0.0054035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6254-15_0_5_line_41 |  | 37 | 38 | 0.022672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6254-15_0_5_line_42 |  | 38 | 39 | 0.014193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6254-15_0_5_line_43 |  | 38 | 40 | 0.015546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6254-15_0_5_line_44 |  | 39 | 45 | 0.013803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6254-15_0_5_line_45 |  | 40 | 41 | 0.015805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6254-15_0_5_line_46 |  | 42 | 58 | 0.0055883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6254-15_0_5_line_47 |  | 45 | 46 | 0.035431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6254-15_0_5_line_48 |  | 46 | 73 | 0.012629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6254-15_0_5_line_49 |  | 47 | 48 | 0.022129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6254-15_0_5_line_50 |  | 48 | 49 | 0.015821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6254-15_0_5_line_51 |  | 49 | 50 | 0.032382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6254-15_0_5_line_52 |  | 50 | 56 | 0.012129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6254-15_0_5_line_53 |  | 51 | 52 | 0.0085243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6254-15_0_5_line_54 |  | 52 | 53 | 0.026841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6254-15_0_5_line_55 |  | 53 | 54 | 0.016113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6254-15_0_5_line_56 |  | 54 | 55 | 0.0141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6254-15_0_5_line_57 |  | 55 | 73 | 0.014052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6254-15_0_5_line_58 |  | 56 | 57 | 0.0049991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6254-15_0_5_line_59 |  | 58 | 59 | 0.014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6254-15_0_5_line_60 |  | 59 | 60 | 0.021834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6254-15_0_5_line_61 |  | 60 | 61 | 0.0084035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6254-15_0_5_line_62 |  | 61 | 79 | 0.021629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6254-15_0_5_line_63 |  | 62 | 63 | 0.042948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6254-15_0_5_line_64 |  | 62 | 64 | 0.020106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6254-15_0_5_line_65 |  | 63 | 65 | 0.012286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6254-15_0_5_line_66 |  | 64 | 66 | 0.049993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6254-15_0_5_line_67 |  | 65 | 67 | 0.024907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6254-15_0_5_line_68 |  | 65 | 68 | 0.041726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6254-15_0_5_line_69 |  | 66 | 69 | 0.013119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6254-15_0_5_line_70 |  | 67 | 70 | 0.061442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6254-15_0_5_line_71 |  | 68 | 71 | 0.020836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6254-15_0_5_line_72 |  | 69 | 72 | 0.027072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6254-15_0_5_line_73 |  | 70 | 75 | 0.0053294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6254-15_0_5_line_74 |  | 71 | 76 | 0.0052665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6254-15_0_5_line_75 |  | 72 | 84 | 0.048331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6254-15_0_5_line_76 |  | 72 | 85 | 0.06386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6254-15_0_5_line_77 |  | 73 | 74 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6254-15_0_5_line_78 |  | 74 | 88 | 0.037233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6254-15_0_5_line_79 |  | 76 | 78 | 0.025796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6254-15_0_5_line_80 |  | 78 | 79 | 0.01623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_6254-15_0_5_line_81 |  | 79 | 80 | 0.0010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6254-15_0_5_line_82 |  | 80 | 81 | 0.050818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_6254-15_0_5_line_83 |  | 81 | 82 | 0.015844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6254-15_0_5_line_84 |  | 81 | 83 | 0.016161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6254-15_0_5_line_85 |  | 82 | 91 | 0.058744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6254-15_0_5_line_86 |  | 85 | 86 | 0.0065935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6254-15_0_5_line_87 |  | 86 | 87 | 0.039458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6254-15_0_5_line_88 |  | 88 | 89 | 0.0094355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6254-15_0_5_line_89 |  | 89 | 90 | 0.028337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6254-15_0_5_line_90 |  | 89 | 91 | 0.013661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6254-15_0_5_trafo_27 | 0.63 MVA 20/0.4 kV | 92 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2608274.1264 | 1128463.3776 | 2608262.1604 | 1128410.8701 | 2608261.5266 | 1128408.191
1 | 2608276.0525 | 1128471.8297 | 2608274.1264 | 1128463.3776
2 | 2608261.5266 | 1128408.191 | 2608258.729 | 1128396.3652
3 | 2608276.0525 | 1128471.8297 | 2608271.6487 | 1128464.1089 | 2608251.1648 | 1128434.06
4 | 2608276.0525 | 1128471.8297 | 2608278.3847 | 1128475.9236
5 | 2608255.659 | 1128383.7759 | 2608256.2545 | 1128385.9054 | 2608258.729 | 1128396.3652
6 | 2608181.9073 | 1128386.7432 | 2608195.1513 | 1128382.5658 | 2608212.7709 | 1128387.7809 | 2608228.3156 | 1128400.5415 | 2608251.1648 | 1128434.06
7 | 2608301.0226 | 1128515.6628 | 2608278.3847 | 1128475.9236
8 | 2608255.659 | 1128383.7759 | 2608251.5269 | 1128368.9992
9 | 2608181.9073 | 1128386.7432 | 2608179.0432 | 1128387.6466 | 2608179.0432 | 1128387.6466
10 | 2608301.0226 | 1128515.6628 | 2608272.8471 | 1128518.1926
11 | 2608301.0226 | 1128515.6628 | 2608305.6599 | 1128531.7236
12 | 2608245.7974 | 1128348.0166 | 2608249.1704 | 1128360.5724 | 2608251.5269 | 1128368.9992
13 | 2608176.7676 | 1128389.8002 | 2608179.0432 | 1128387.6466
14 | 2608252.6696 | 1128519.9475 | 2608270.1652 | 1128518.4334 | 2608272.8471 | 1128518.1926
15 | 2608312.4297 | 1128555.9992 | 2608311.9335 | 1128553.4517 | 2608305.6599 | 1128531.7236
16 | 2608397.8831 | 1128488.5518 | 2608397.8944 | 1128492.0573
17 | 2608397.8831 | 1128488.5518 | 2608397.8704 | 1128484.6575
18 | 2608397.8944 | 1128492.0573 | 2608397.9686 | 1128514.9561
19 | 2608397.8704 | 1128484.6575 | 2608397.8439 | 1128476.4764 | 2608404.2734 | 1128457.3255
20 | 2608397.9686 | 1128514.9561 | 2608397.9807 | 1128518.6904
21 | 2608408.0995 | 1128445.9292 | 2608404.2734 | 1128457.3255
22 | 2608398.079 | 1128549.041 | 2608397.9807 | 1128518.6904
23 | 2608408.0995 | 1128445.9292 | 2608412.124 | 1128433.942 | 2608413.6032 | 1128425.1411
24 | 2608398.079 | 1128549.041 | 2608398.1082 | 1128558.0739
25 | 2608413.8305 | 1128423.7885 | 2608413.6032 | 1128425.1411
26 | 2608335.6132 | 1128510.6971 | 2608335.2894 | 1128506.0509
27 | 2608335.6132 | 1128510.6971 | 2608336.8355 | 1128528.2359
28 | 2608334.2036 | 1128490.4708 | 2608335.2894 | 1128506.0509
29 | 2608336.9109 | 1128529.3182 | 2608336.8355 | 1128528.2359
30 | 2608332.3999 | 1128464.59 | 2608334.2036 | 1128490.4708
31 | 2608336.9109 | 1128529.3182 | 2608338.5659 | 1128553.0657 | 2608337.5312 | 1128555.165
32 | 2608332.3999 | 1128464.59 | 2608331.8793 | 1128457.1208 | 2608329.9322 | 1128426.6653
33 | 2608319.423 | 1128591.9029 | 2608337.5312 | 1128555.165
34 | 2608328.6636 | 1128406.8215 | 2608329.9322 | 1128426.6653
35 | 2608319.423 | 1128591.9029 | 2608312.4297 | 1128555.9992
36 | 2608237.8165 | 1128317.3155 | 2608233.4002 | 1128299.2743
37 | 2608245.7974 | 1128348.0166 | 2608240.5545 | 1128328.5006 | 2608237.8165 | 1128317.3155
38 | 2608486.4111 | 1128573.2462 | 2608484.4153 | 1128579.213 | 2608481.9352 | 1128588.2146
39 | 2608486.4111 | 1128573.2462 | 2608497.1082 | 1128580.2205
40 | 2608486.4111 | 1128573.2462 | 2608481.4135 | 1128571.1916
41 | 2608459.1224 | 1128569.2508 | 2608476.7254 | 1128569.2642 | 2608481.4135 | 1128571.1916
42 | 2608459.1224 | 1128569.2508 | 2608458.8186 | 1128555.0606
43 | 2608459.1224 | 1128569.2508 | 2608459.2163 | 1128573.742 | 2608453.5997 | 1128583.2621
44 | 2608458.8186 | 1128555.0606 | 2608458.5232 | 1128541.2606
45 | 2608445.5685 | 1128596.8748 | 2608453.5997 | 1128583.2621
46 | 2608413.8305 | 1128423.7885 | 2608414.7568 | 1128418.2775
47 | 2608457.7649 | 1128505.8379 | 2608458.5232 | 1128541.2606
48 | 2608457.4946 | 1128493.2115 | 2608457.7649 | 1128505.8379
49 | 2608176.7676 | 1128389.8002 | 2608184.6725 | 1128410.4692
50 | 2608184.6725 | 1128410.4692 | 2608190.3239 | 1128425.2463
51 | 2608201.6318 | 1128455.5888 | 2608194.7777 | 1128436.8918 | 2608190.3239 | 1128425.2463
52 | 2608201.6318 | 1128455.5888 | 2608205.8064 | 1128466.9767
53 | 2608528.6417 | 1128528.9768 | 2608521.0255 | 1128525.1482
54 | 2608521.0255 | 1128525.1482 | 2608497.0439 | 1128513.0927
55 | 2608482.6473 | 1128505.8556 | 2608497.0439 | 1128513.0927
56 | 2608470.0493 | 1128499.5226 | 2608482.6473 | 1128505.8556
57 | 2608457.4946 | 1128493.2115 | 2608470.0493 | 1128499.5226
58 | 2608207.5271 | 1128471.6703 | 2608205.8064 | 1128466.9767
59 | 2608417.1596 | 1128403.9812 | 2608414.7568 | 1128418.2775
60 | 2608417.1596 | 1128403.9812 | 2608420.7787 | 1128382.4491
61 | 2608420.7787 | 1128382.4491 | 2608422.1715 | 1128374.1619
62 | 2608425.7565 | 1128352.8324 | 2608422.1715 | 1128374.1619
63 | 2608324.7772 | 1128260.162 | 2608323.8512 | 1128282.8582 | 2608323.0231 | 1128303.074
64 | 2608325.5968 | 1128240.0731 | 2608324.7772 | 1128260.162
65 | 2608322.5202 | 1128315.35 | 2608323.0231 | 1128303.074
66 | 2608325.5968 | 1128240.0731 | 2608330.6447 | 1128190.3361
67 | 2608322.5202 | 1128315.35 | 2608324.316 | 1128340.1922
68 | 2608322.5202 | 1128315.35 | 2608361.5147 | 1128330.1975
69 | 2608331.9693 | 1128177.2845 | 2608330.6447 | 1128190.3361
70 | 2608324.316 | 1128340.1922 | 2608325.0759 | 1128350.7041 | 2608328.3235 | 1128401.503
71 | 2608361.5147 | 1128330.1975 | 2608380.9867 | 1128337.6116
72 | 2608331.9693 | 1128177.2845 | 2608305.1489 | 1128173.0681
73 | 2608328.3235 | 1128401.503 | 2608328.6636 | 1128406.8215
74 | 2608385.9086 | 1128339.4856 | 2608380.9867 | 1128337.6116
75 | 2608305.1489 | 1128173.0681 | 2608256.8537 | 1128171.2016
76 | 2608305.1489 | 1128173.0681 | 2608294.8885 | 1128177.5229 | 2608283.0082 | 1128183.5431 | 2608273.1402 | 1128194.057 | 2608266.2438 | 1128206.2314 | 2608262.7556 | 1128216.6048
77 | 2608457.4946 | 1128493.2115 | 2608461.1585 | 1128479.1883
78 | 2608461.1585 | 1128479.1883 | 2608465.7199 | 1128461.7298 | 2608470.5743 | 1128443.166
79 | 2608410.355 | 1128347.713 | 2608388.0088 | 1128340.2853 | 2608385.9086 | 1128339.4856
80 | 2608425.7565 | 1128352.8324 | 2608410.355 | 1128347.713
81 | 2608425.7565 | 1128352.8324 | 2608426.8018 | 1128353.0122
82 | 2608476.8834 | 1128361.6298 | 2608426.8018 | 1128353.0122
83 | 2608492.5418 | 1128364.3307 | 2608476.8834 | 1128361.6298
84 | 2608476.8834 | 1128361.6298 | 2608480.6235 | 1128347.9505 | 2608481.041 | 1128346.0153
85 | 2608492.5418 | 1128364.3307 | 2608476.6558 | 1128420.8854
86 | 2608262.7556 | 1128216.6048 | 2608261.9507 | 1128218.9984 | 2608261.7649 | 1128223.0623
87 | 2608261.7649 | 1128223.0623 | 2608261.2202 | 1128234.9719 | 2608264.0413 | 1128256.7419 | 2608265.1062 | 1128262.2235
88 | 2608472.9615 | 1128434.0374 | 2608470.5743 | 1128443.166
89 | 2608472.9615 | 1128434.0374 | 2608499.6382 | 1128443.5954
90 | 2608472.9615 | 1128434.0374 | 2608476.6558 | 1128420.8854

## bus_geodata
| x | y | coords
0 | 2608274.1264 | 1128463.3776
1 | 2608261.5266 | 1128408.191
2 | 2608276.0525 | 1128471.8297
3 | 2608258.729 | 1128396.3652
4 | 2608251.1648 | 1128434.06
5 | 2608278.3847 | 1128475.9236
6 | 2608255.659 | 1128383.7759
7 | 2608181.9073 | 1128386.7432
8 | 2608301.0226 | 1128515.6628
9 | 2608251.5269 | 1128368.9992
10 | 2608179.0432 | 1128387.6466
11 | 2608272.8471 | 1128518.1926
12 | 2608305.6599 | 1128531.7236
13 | 2608397.8831 | 1128488.5518
14 | 2608397.8944 | 1128492.0573
15 | 2608397.8704 | 1128484.6575
16 | 2608397.9686 | 1128514.9561
17 | 2608404.2734 | 1128457.3255
18 | 2608397.9807 | 1128518.6904
19 | 2608408.0995 | 1128445.9292
20 | 2608398.079 | 1128549.041
21 | 2608413.6032 | 1128425.1411
22 | 2608335.6132 | 1128510.6971
23 | 2608335.2894 | 1128506.0509
24 | 2608336.8355 | 1128528.2359
25 | 2608334.2036 | 1128490.4708
26 | 2608336.9109 | 1128529.3182
27 | 2608332.3999 | 1128464.59
28 | 2608337.5312 | 1128555.165
29 | 2608329.9322 | 1128426.6653
30 | 2608319.423 | 1128591.9029
31 | 2608237.8165 | 1128317.3155
32 | 2608233.4002 | 1128299.2743
33 | 2608245.7974 | 1128348.0166
34 | 2608481.9352 | 1128588.2146
35 | 2608486.4111 | 1128573.2462
36 | 2608497.1082 | 1128580.2205
37 | 2608481.4135 | 1128571.1916
38 | 2608459.1224 | 1128569.2508
39 | 2608458.8186 | 1128555.0606
40 | 2608453.5997 | 1128583.2621
41 | 2608445.5685 | 1128596.8748
42 | 2608413.8305 | 1128423.7885
43 | 2608312.4297 | 1128555.9992
44 | 2608252.6696 | 1128519.9475
45 | 2608458.5232 | 1128541.2606
46 | 2608457.7649 | 1128505.8379
47 | 2608176.7676 | 1128389.8002
48 | 2608184.6725 | 1128410.4692
49 | 2608190.3239 | 1128425.2463
50 | 2608201.6318 | 1128455.5887
51 | 2608528.6417 | 1128528.9768
52 | 2608521.0255 | 1128525.1482
53 | 2608497.0439 | 1128513.0927
54 | 2608482.6473 | 1128505.8556
55 | 2608470.0493 | 1128499.5226
56 | 2608205.8064 | 1128466.9767
57 | 2608207.5271 | 1128471.6703
58 | 2608414.7568 | 1128418.2775
59 | 2608417.1596 | 1128403.9812
60 | 2608420.7787 | 1128382.4491
61 | 2608422.1715 | 1128374.1619
62 | 2608324.7772 | 1128260.162
63 | 2608323.0231 | 1128303.074
64 | 2608325.5968 | 1128240.0731
65 | 2608322.5202 | 1128315.35
66 | 2608330.6447 | 1128190.3361
67 | 2608324.316 | 1128340.1922
68 | 2608361.5147 | 1128330.1975
69 | 2608331.9693 | 1128177.2845
70 | 2608328.3235 | 1128401.503
71 | 2608380.9867 | 1128337.6116
72 | 2608305.1489 | 1128173.0681
73 | 2608457.4946 | 1128493.2115
74 | 2608461.1585 | 1128479.1883
75 | 2608328.6636 | 1128406.8215
76 | 2608385.9086 | 1128339.4856
77 | 2608398.1082 | 1128558.0739
78 | 2608410.355 | 1128347.713
79 | 2608425.7565 | 1128352.8324
80 | 2608426.8018 | 1128353.0122
81 | 2608476.8834 | 1128361.6298
82 | 2608492.5418 | 1128364.3307
83 | 2608481.041 | 1128346.0153
84 | 2608256.8537 | 1128171.2016
85 | 2608262.7556 | 1128216.6048
86 | 2608261.7649 | 1128223.0623
87 | 2608265.1062 | 1128262.2235
88 | 2608470.5743 | 1128443.166
89 | 2608472.9615 | 1128434.0374
90 | 2608499.6382 | 1128443.5954
91 | 2608476.6558 | 1128420.8854
92 | 2608425.7565 | 1128352.8324

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1