## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6254-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6254-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6254-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6254-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6254-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6254-18_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_6254-18_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6254-18_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_6254-18_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6254-18_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_6254-18_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_6254-18_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6254-18_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6254-18_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6254-18_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6254-18_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6254-18_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6254-18_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6254-18_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6254-18_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6254-18_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6254-18_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6254-18_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6254-18_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6254-18_0_4_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_6254-18_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6254-18_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_6254-18_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_6254-18_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_6254-18_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_6254-18_0_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_6254-18_0_4_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_6254-18_0_4_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_6254-18_0_4_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_6254-18_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_6254-18_0_4_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_6254-18_0_4_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_6254-18_0_4_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_6254-18_0_4_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_6254-18_0_4_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_6254-18_0_4_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_6254-18_0_4_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_6254-18_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_6254-18_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6254-18_0_4_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_6254-18_0_4_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_6254-18_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_6254-18_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_6254-18_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_6254-18_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_6254-18_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_6254-18_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_6254-18_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_6254-18_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_6254-18_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6254-18_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_6254-18_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6254-18_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_MV_273_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6254-18_0_4_load_0 | 0 | 0.006254 | 0.0015674 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6254-18_0_4_load_1 | 1 | 0.0045121 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6254-18_0_4_load_2 | 2 | 0.002781 | 0.00069699 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6254-18_0_4_load_4 | 4 | 0.0044833 | 0.0011236 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6254-18_0_4_load_29 | 5 | 0.0054221 | 0.0013589 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6254-18_0_4_load_5 | 6 | 0.013664 | 0.0034245 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6254-18_0_4_load_28 | 7 | 0.0065093 | 0.0016314 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6254-18_0_4_load_6 | 8 | 0.0092138 | 0.0023092 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6254-18_0_4_load_22 | 9 | 0.0075249 | 0.0018859 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6254-18_0_4_load_21 | 10 | 0.0040917 | 0.0010255 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6254-18_0_4_load_7 | 11 | 0.0034721 | 0.00087019 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6254-18_0_4_load_8 | 12 | 0.0095648 | 0.0023972 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6254-18_0_4_load_12 | 16 | 0.008816 | 0.0022095 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6254-18_0_4_load_15 | 17 | 0.0039582 | 0.00099201 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6254-18_0_4_load_13 | 18 | 0.019239 | 0.0048218 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6254-18_0_4_load_20 | 19 | 0.0034469 | 0.00086388 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6254-18_0_4_load_16 | 21 | 0.0054247 | 0.0013596 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6254-18_0_4_load_17 | 22 | 0.010135 | 0.00254 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6254-18_0_4_load_18 | 23 | 0.0092092 | 0.002308 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6254-18_0_4_load_56 | 24 | 0.012122 | 0.003038 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6254-18_0_4_load_41 | 26 | 0.0053685 | 0.0013455 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6254-18_0_4_load_40 | 27 | 0.0090331 | 0.0022639 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6254-18_0_4_load_46 | 28 | 0.012585 | 0.0031541 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6254-18_0_4_load_33 | 29 | 0.012241 | 0.003068 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6254-18_0_4_load_42 | 30 | 0.0094444 | 0.002367 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6254-18_0_4_load_43 | 31 | 0.0058101 | 0.0014561 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6254-18_0_4_load_44 | 32 | 0.0096976 | 0.0024304 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6254-18_0_4_load_45 | 33 | 0.0073696 | 0.001847 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6254-18_0_4_load_48 | 34 | 0.0057096 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6254-18_0_4_load_60 | 35 | 0.0084088 | 0.0021074 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6254-18_0_4_load_57 | 37 | 0.0095538 | 0.0023944 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6254-18_0_4_load_58 | 38 | 0.008793 | 0.0022037 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6254-18_0_4_load_49 | 39 | 0.0088085 | 0.0022076 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6254-18_0_4_load_50 | 40 | 0.005893 | 0.0014769 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6254-18_0_4_load_59 | 41 | 0.01171 | 0.0029349 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6254-18_0_4_load_47 | 42 | 0.0076937 | 0.0019282 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6254-18_0_4_load_51 | 43 | 0.0053051 | 0.0013296 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6254-18_0_4_load_23 | 44 | 0.010492 | 0.0026295 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6254-18_0_4_load_24 | 45 | 0.0025733 | 0.00064493 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6254-18_0_4_load_26 | 47 | 0.0051063 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6254-18_0_4_load_27 | 48 | 0.0045704 | 0.0011454 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6254-18_0_4_load_30 | 49 | 0.0074243 | 0.0018607 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6254-18_0_4_load_34 | 50 | 0.0050884 | 0.0012753 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6254-18_0_4_load_31 | 51 | 0.0069584 | 0.0017439 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6254-18_0_4_load_35 | 52 | 0.0070756 | 0.0017733 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6254-18_0_4_load_36 | 53 | 0.008132 | 0.0020381 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6254-18_0_4_load_37 | 54 | 0.0067053 | 0.0016805 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6254-18_0_4_load_39 | 55 | 0.0045895 | 0.0011502 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6254-18_0_4_load_52 | 56 | 0.0079737 | 0.0019984 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6254-18_0_4_load_53 | 57 | 0.0063444 | 0.00159 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6254-18_0_4_line_0 |  | 0 | 1 | 0.0091988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6254-18_0_4_line_1 |  | 0 | 2 | 0.0042665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6254-18_0_4_line_2 |  | 1 | 3 | 0.0068078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6254-18_0_4_line_3 |  | 2 | 4 | 0.014342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6254-18_0_4_line_4 |  | 3 | 5 | 0.010754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6254-18_0_4_line_5 |  | 4 | 6 | 0.0054054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6254-18_0_4_line_6 |  | 5 | 7 | 0.003309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6254-18_0_4_line_7 |  | 6 | 8 | 0.0072447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6254-18_0_4_line_8 |  | 7 | 47 | 0.010949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6254-18_0_4_line_9 |  | 8 | 9 | 0.016818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6254-18_0_4_line_10 |  | 9 | 10 | 0.019718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6254-18_0_4_line_11 |  | 10 | 19 | 0.011535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6254-18_0_4_line_12 |  | 11 | 12 | 0.021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6254-18_0_4_line_13 |  | 11 | 13 | 0.024197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6254-18_0_4_line_14 |  | 12 | 14 | 0.029958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6254-18_0_4_line_15 |  | 13 | 15 | 0.061527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6254-18_0_4_line_16 |  | 14 | 16 | 0.024049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6254-18_0_4_line_17 |  | 15 | 17 | 0.0068795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6254-18_0_4_line_18 |  | 15 | 18 | 0.032313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6254-18_0_4_line_19 |  | 16 | 19 | 0.017255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6254-18_0_4_line_20 |  | 18 | 20 | 0.040566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6254-18_0_4_line_21 |  | 20 | 21 | 0.0049866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6254-18_0_4_line_22 |  | 20 | 22 | 0.041355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6254-18_0_4_line_23 |  | 21 | 23 | 0.032202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6254-18_0_4_line_24 |  | 22 | 24 | 0.045993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6254-18_0_4_line_25 |  | 23 | 25 | 0.032683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6254-18_0_4_line_26 |  | 24 | 26 | 0.067609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6254-18_0_4_line_27 |  | 25 | 37 | 0.061663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6254-18_0_4_line_28 |  | 25 | 38 | 0.018073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6254-18_0_4_line_29 |  | 26 | 30 | 0.043334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6254-18_0_4_line_30 |  | 26 | 55 | 0.0098739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6254-18_0_4_line_31 |  | 27 | 28 | 0.026451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6254-18_0_4_line_32 |  | 27 | 29 | 0.050381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6254-18_0_4_line_33 |  | 28 | 42 | 0.029503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6254-18_0_4_line_34 |  | 28 | 39 | 0.080133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6254-18_0_4_line_35 |  | 29 | 51 | 0.074516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6254-18_0_4_line_36 |  | 30 | 31 | 0.0036557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6254-18_0_4_line_37 |  | 31 | 32 | 0.0083723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6254-18_0_4_line_38 |  | 32 | 33 | 0.0056079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6254-18_0_4_line_39 |  | 33 | 34 | 0.046186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6254-18_0_4_line_40 |  | 34 | 39 | 0.0016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6254-18_0_4_line_41 |  | 35 | 36 | 0.081651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6254-18_0_4_line_42 |  | 36 | 42 | 0.093736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6254-18_0_4_line_43 |  | 38 | 41 | 0.043177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6254-18_0_4_line_44 |  | 39 | 40 | 0.019453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6254-18_0_4_line_45 |  | 40 | 43 | 0.015493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6254-18_0_4_line_46 |  | 43 | 56 | 0.024341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6254-18_0_4_line_47 |  | 44 | 45 | 0.027488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6254-18_0_4_line_48 |  | 44 | 46 | 0.0069328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6254-18_0_4_line_49 |  | 46 | 47 | 0.006687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6254-18_0_4_line_50 |  | 46 | 48 | 0.023759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6254-18_0_4_line_51 |  | 49 | 50 | 0.059134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6254-18_0_4_line_52 |  | 50 | 52 | 0.024093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6254-18_0_4_line_53 |  | 50 | 53 | 0.0081889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6254-18_0_4_line_54 |  | 52 | 54 | 0.023065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6254-18_0_4_line_55 |  | 54 | 55 | 0.00036423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6254-18_0_4_line_56 |  | 56 | 57 | 0.035194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6254-18_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 58 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2606850.815 | 1128279.6684 | 2606848.2155 | 1128278.7101 | 2606842.8259 | 1128275.8138 | 2606842.5592 | 1128275.6562
1 | 2606850.815 | 1128279.6684 | 2606854.8182 | 1128281.1442
2 | 2606836.6975 | 1128272.194 | 2606842.5592 | 1128275.6562
3 | 2606868.7628 | 1128284.3794 | 2606857.4104 | 1128282.0998 | 2606854.8182 | 1128281.1442
4 | 2606836.6975 | 1128272.194 | 2606834.0506 | 1128269.2452 | 2606829.8982 | 1128263.8713
5 | 2606868.7628 | 1128284.3794 | 2606874.0624 | 1128285.4436
6 | 2606829.8982 | 1128263.8713 | 2606829.2964 | 1128263.0924 | 2606827.7818 | 1128261.3287
7 | 2606874.0624 | 1128285.4436 | 2606879.624 | 1128286.5603 | 2606881.0717 | 1128287.1732
8 | 2606821.0627 | 1128252.6986 | 2606824.2798 | 1128257.2506 | 2606827.7818 | 1128261.3287
9 | 2606896.5589 | 1128293.7298 | 2606881.0717 | 1128287.1732
10 | 2606913.5354 | 1128303.6529 | 2606901.1081 | 1128295.6557 | 2606896.5589 | 1128293.7298
11 | 2606923.2352 | 1128309.8949 | 2606913.5354 | 1128303.6529
12 | 2606988.795 | 1128367.7261 | 2606987.9513 | 1128366.9892 | 2606982.3868 | 1128362.2361 | 2606972.6861 | 1128354.2047
13 | 2607009.872 | 1128377.9308 | 2607004.5181 | 1128377.6356 | 2606999.2429 | 1128375.8731 | 2606994.2084 | 1128372.4546 | 2606988.795 | 1128367.7261
14 | 2606946.5019 | 1128341.7296 | 2606953.5276 | 1128342.0822 | 2606958.564 | 1128343.7666 | 2606963.7377 | 1128346.7962 | 2606972.6861 | 1128354.2047
15 | 2607009.872 | 1128377.9308 | 2607015.0348 | 1128376.9251 | 2607018.1487 | 1128375.6281 | 2607020.7003 | 1128374.2414 | 2607023.3759 | 1128372.188 | 2607024.934 | 1128370.5667 | 2607037.5788 | 1128354.9848 | 2607043.8057 | 1128346.5323 | 2607048.3121 | 1128340.2567 | 2607049.4556 | 1128337.3121 | 2607050.2679 | 1128334.4339
16 | 2606946.5019 | 1128341.7296 | 2606945.6926 | 1128335.2477 | 2606941.9901 | 1128325.7723 | 2606936.461 | 1128320.9393
17 | 2607050.2679 | 1128334.4339 | 2607053.6175 | 1128335.8829 | 2607056.3041 | 1128337.6758
18 | 2607050.2679 | 1128334.4339 | 2607050.4954 | 1128330.8657 | 2607050.3837 | 1128327.5529 | 2607049.6634 | 1128324.2282 | 2607048.4268 | 1128320.9919 | 2607046.6196 | 1128318.1106 | 2607043.8268 | 1128314.9169 | 2607035.682 | 1128307.6533
19 | 2606923.2352 | 1128309.8949 | 2606925.4736 | 1128311.3354 | 2606936.461 | 1128320.9393
20 | 2607005.9166 | 1128280.123 | 2607012.7112 | 1128287.1676 | 2607035.682 | 1128307.6533
21 | 2607005.9166 | 1128280.123 | 2607002.4523 | 1128276.5362
22 | 2607005.9166 | 1128280.123 | 2607016.649 | 1128279.6129 | 2607033.713 | 1128280.0883 | 2607047.1864 | 1128281.4269
23 | 2606981.176 | 1128252.3962 | 2606992.9968 | 1128266.7461 | 2607002.4523 | 1128276.5362
24 | 2607084.2568 | 1128302.3131 | 2607073.3037 | 1128287.2709 | 2607067.6764 | 1128283.4625 | 2607047.1864 | 1128281.4269
25 | 2606960.3456 | 1128227.2118 | 2606965.7466 | 1128233.6655 | 2606981.176 | 1128252.3962
26 | 2607084.2568 | 1128302.3131 | 2607127.9337 | 1128250.7064
27 | 2606960.3456 | 1128227.2118 | 2606952.0753 | 1128230.5373 | 2606943.7759 | 1128225.5254 | 2606929.2238 | 1128217.8607 | 2606919.2049 | 1128214.1031 | 2606915.1294 | 1128214.0985 | 2606911.5187 | 1128225.4888
28 | 2606960.3456 | 1128227.2118 | 2606958.3068 | 1128224.7749 | 2606949.3973 | 1128214.3486 | 2606948.5514 | 1128213.5241
29 | 2607127.9337 | 1128250.7064 | 2607110.9105 | 1128238.1907 | 2607098.3405 | 1128222.2127 | 2607097.1928 | 1128220.7291
30 | 2607136.0214 | 1128256.3707 | 2607128.0991 | 1128250.828 | 2607127.9337 | 1128250.7064
31 | 2607108.9044 | 1128124.0277 | 2607099.7077 | 1128119.8866 | 2607087.731 | 1128108.7342
32 | 2607108.9044 | 1128124.0277 | 2607135.0287 | 1128135.7911 | 2607154.0305 | 1128146.3185 | 2607154.0355 | 1128146.3241
33 | 2607087.731 | 1128108.7342 | 2607066.1393 | 1128088.6283
34 | 2607048.0042 | 1128178.3265 | 2607087.731 | 1128108.7342
35 | 2607201.0864 | 1128203.997 | 2607196.6751 | 1128197.2379 | 2607194.5987 | 1128194.0672 | 2607167.6644 | 1128161.6864 | 2607154.0355 | 1128146.3241
36 | 2607094.9559 | 1128217.8376 | 2607097.1928 | 1128220.7291
37 | 2607094.9559 | 1128217.8376 | 2607089.833 | 1128211.2157
38 | 2607086.4016 | 1128206.7802 | 2607086.4016 | 1128206.7802 | 2607089.833 | 1128211.2157
39 | 2607086.4016 | 1128206.7802 | 2607072.2009 | 1128195.1025 | 2607049.3546 | 1128179.2628
40 | 2607048.0042 | 1128178.3265 | 2607049.3546 | 1128179.2628
41 | 2607097.5894 | 1128000.3259 | 2607104.6834 | 1128008.4826 | 2607114.0104 | 1128011.0947 | 2607128.527 | 1128009.8444 | 2607173.4403 | 1127997.4765
42 | 2607066.1393 | 1128088.6283 | 2607097.5894 | 1128000.3259
43 | 2606948.5514 | 1128213.5241 | 2606944.1566 | 1128209.2401 | 2606938.0992 | 1128204.1419 | 2606928.3235 | 1128196.516 | 2606921.7642 | 1128192.3954 | 2606913.9417 | 1128188.0177 | 2606913.9298 | 1128188.0117
44 | 2607048.0042 | 1128178.3265 | 2607036.482 | 1128170.338 | 2607031.9249 | 1128167.3804
45 | 2607031.9249 | 1128167.3804 | 2607019.3914 | 1128159.2463 | 2607018.8958 | 1128159.0054
46 | 2607018.8958 | 1128159.0054 | 2607000.7036 | 1128150.1648 | 2606997.1259 | 1128148.1324
47 | 2606814.6822 | 1128240.7797 | 2606812.8705 | 1128236.1387 | 2606810.8791 | 1128225.6314 | 2606808.1446 | 1128214.1411
48 | 2606817.2032 | 1128247.2378 | 2606814.6822 | 1128240.7797
49 | 2606817.2032 | 1128247.2378 | 2606821.0627 | 1128252.6986
50 | 2606817.2032 | 1128247.2378 | 2606808.1202 | 1128240.2243 | 2606797.9553 | 1128233.3292
51 | 2607157.0598 | 1128294.1609 | 2607216.1941 | 1128294.2592
52 | 2607157.0598 | 1128294.1609 | 2607158.4918 | 1128283.7129 | 2607157.8287 | 1128277.5869 | 2607154.0265 | 1128271.2548
53 | 2607157.0598 | 1128294.1609 | 2607156.7201 | 1128296.6393 | 2607154.8822 | 1128302.0215
54 | 2607154.0265 | 1128271.2548 | 2607153.9611 | 1128271.1459 | 2607144.8265 | 1128262.531 | 2607136.3198 | 1128256.5795
55 | 2607136.3198 | 1128256.5795 | 2607136.0214 | 1128256.3707
56 | 2606997.1259 | 1128148.1324 | 2606987.076 | 1128142.4232 | 2606981.4986 | 1128135.2133 | 2606975.3817 | 1128122.0438

## bus_geodata
| x | y | coords
0 | 2606850.815 | 1128279.6684
1 | 2606842.5592 | 1128275.6562
2 | 2606854.8182 | 1128281.1442
3 | 2606836.6975 | 1128272.194
4 | 2606868.7628 | 1128284.3794
5 | 2606829.8982 | 1128263.8713
6 | 2606874.0624 | 1128285.4436
7 | 2606827.7818 | 1128261.3287
8 | 2606881.0717 | 1128287.1732
9 | 2606896.5589 | 1128293.7298
10 | 2606913.5354 | 1128303.6529
11 | 2606988.795 | 1128367.7261
12 | 2606972.6861 | 1128354.2047
13 | 2607009.872 | 1128377.9308
14 | 2606946.5019 | 1128341.7296
15 | 2607050.2679 | 1128334.4339
16 | 2606936.461 | 1128320.9393
17 | 2607056.3041 | 1128337.6758
18 | 2607035.682 | 1128307.6533
19 | 2606923.2352 | 1128309.8949
20 | 2607005.9166 | 1128280.123
21 | 2607002.4523 | 1128276.5362
22 | 2607047.1864 | 1128281.4269
23 | 2606981.176 | 1128252.3962
24 | 2607084.2568 | 1128302.3131
25 | 2606960.3456 | 1128227.2118
26 | 2607127.9337 | 1128250.7064
27 | 2607108.9044 | 1128124.0277
28 | 2607087.731 | 1128108.7342
29 | 2607154.0355 | 1128146.3241
30 | 2607097.1928 | 1128220.7291
31 | 2607094.9559 | 1128217.8376
32 | 2607089.833 | 1128211.2157
33 | 2607086.4016 | 1128206.7802
34 | 2607049.3546 | 1128179.2628
35 | 2607173.4403 | 1127997.4765
36 | 2607097.5894 | 1128000.3259
37 | 2606911.5187 | 1128225.4888
38 | 2606948.5514 | 1128213.5241
39 | 2607048.0042 | 1128178.3265
40 | 2607031.9249 | 1128167.3804
41 | 2606913.9298 | 1128188.0117
42 | 2607066.1393 | 1128088.6283
43 | 2607018.8958 | 1128159.0054
44 | 2606814.6822 | 1128240.7797
45 | 2606808.1446 | 1128214.1411
46 | 2606817.2032 | 1128247.2378
47 | 2606821.0627 | 1128252.6986
48 | 2606797.9553 | 1128233.3292
49 | 2607216.1941 | 1128294.2592
50 | 2607157.0598 | 1128294.1609
51 | 2607201.0864 | 1128203.997
52 | 2607154.0265 | 1128271.2548
53 | 2607154.8822 | 1128302.0215
54 | 2607136.3198 | 1128256.5795
55 | 2607136.0214 | 1128256.3707
56 | 2606997.1259 | 1128148.1324
57 | 2606975.3817 | 1128122.0438
58 | 2606981.176 | 1128252.3962

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1