## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6254-19_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6254-19_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6254-19_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6254-19_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6254-19_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6254-19_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6254-19_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6254-19_0_5_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_6254-19_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6254-19_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6254-19_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6254-19_0_5_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6254-19_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6254-19_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6254-19_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6254-19_0_5_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_6254-19_0_5_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_6254-19_0_5_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6254-19_0_5_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_6254-19_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6254-19_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6254-19_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6254-19_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6254-19_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6254-19_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6254-19_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6254-19_0_5_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_6254-19_0_5_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_6254-19_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6254-19_0_5_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_6254-19_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6254-19_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6254-19_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6254-19_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_6254-19_0_5_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_6254-19_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_6254-19_0_5_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_6254-19_0_5_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_6254-19_0_5_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_6254-19_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6254-19_0_5_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6254-19_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6254-19_0_5_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_6254-19_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6254-19_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6254-19_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6254-19_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6254-19_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_6254-19_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6254-19_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6254-19_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_6254-19_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_MV_273_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6254-19_0_5_load_0 | 0 | 0.0065643 | 0.0016452 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6254-19_0_5_load_1 | 1 | 0.0041583 | 0.0010422 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6254-19_0_5_load_2 | 2 | 0.0040652 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6254-19_0_5_load_4 | 4 | 0.013933 | 0.0034919 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6254-19_0_5_load_5 | 5 | 0.01673 | 0.0041929 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6254-19_0_5_load_9 | 10 | 0.0030766 | 0.00077108 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6254-19_0_5_load_14 | 11 | 0.017727 | 0.0044427 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6254-19_0_5_load_10 | 12 | 0.008583 | 0.0021511 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6254-19_0_5_load_11 | 13 | 0.0057572 | 0.0014429 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6254-19_0_5_load_12 | 14 | 0.0037182 | 0.00093187 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6254-19_0_5_load_27 | 15 | 0.014998 | 0.0037589 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6254-19_0_5_load_47 | 16 | 0.0018789 | 0.00047089 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6254-19_0_5_load_26 | 17 | 0.0073574 | 0.0018439 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6254-19_0_5_load_45 | 18 | 0.0055895 | 0.0014009 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6254-19_0_5_load_15 | 19 | 0.0073572 | 0.0018439 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6254-19_0_5_load_16 | 20 | 0.0065519 | 0.001642 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6254-19_0_5_load_17 | 21 | 0.0066607 | 0.0016693 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6254-19_0_5_load_18 | 22 | 0.010643 | 0.0026675 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6254-19_0_5_load_19 | 23 | 0.0057364 | 0.0014377 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6254-19_0_5_load_20 | 24 | 0.008731 | 0.0021882 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6254-19_0_5_load_28 | 26 | 0.0070461 | 0.0017659 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6254-19_0_5_load_29 | 27 | 0.0036733 | 0.00092063 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6254-19_0_5_load_30 | 28 | 0.0056611 | 0.0014188 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6254-19_0_5_load_31 | 29 | 0.015108 | 0.0037865 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6254-19_0_5_load_22 | 30 | 0.012265 | 0.003074 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6254-19_0_5_load_23 | 31 | 0.0078987 | 0.0019796 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6254-19_0_5_load_24 | 32 | 0.011412 | 0.0028602 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6254-19_0_5_load_25 | 33 | 0.014254 | 0.0035724 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6254-19_0_5_load_49 | 34 | 0.0066376 | 0.0016635 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6254-19_0_5_load_50 | 36 | 0.0068048 | 0.0017054 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6254-19_0_5_load_52 | 37 | 0.012422 | 0.0031132 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6254-19_0_5_load_39 | 38 | 0.01192 | 0.0029875 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6254-19_0_5_load_35 | 39 | 0.0028295 | 0.00070915 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6254-19_0_5_load_33 | 40 | 0.0049424 | 0.0012387 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6254-19_0_5_load_34 | 41 | 0.013321 | 0.0033385 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6254-19_0_5_load_53 | 42 | 0.0168 | 0.0042104 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6254-19_0_5_load_36 | 43 | 0.0088151 | 0.0022093 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6254-19_0_5_load_38 | 44 | 0.0079059 | 0.0019814 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6254-19_0_5_load_40 | 45 | 0.0059594 | 0.0014936 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6254-19_0_5_load_42 | 46 | 0.051851 | 0.012995 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6254-19_0_5_load_41 | 47 | 0.0044724 | 0.0011209 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6254-19_0_5_load_44 | 49 | 0.0039455 | 0.00098884 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6254-19_0_5_load_48 | 51 | 0.0050011 | 0.0012534 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6254-19_0_5_line_0 |  | 0 | 1 | 0.01956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6254-19_0_5_line_1 |  | 0 | 2 | 0.028093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6254-19_0_5_line_2 |  | 1 | 3 | 0.047896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6254-19_0_5_line_3 |  | 2 | 4 | 0.022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6254-19_0_5_line_4 |  | 3 | 5 | 0.11072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6254-19_0_5_line_5 |  | 4 | 6 | 0.085859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6254-19_0_5_line_6 |  | 5 | 7 | 0.028162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6254-19_0_5_line_7 |  | 6 | 8 | 0.042354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6254-19_0_5_line_8 |  | 6 | 9 | 0.030608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6254-19_0_5_line_9 |  | 6 | 10 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6254-19_0_5_line_10 |  | 7 | 11 | 0.0378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6254-19_0_5_line_11 |  | 8 | 12 | 0.067166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6254-19_0_5_line_12 |  | 8 | 13 | 0.090649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6254-19_0_5_line_13 |  | 9 | 14 | 0.076692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6254-19_0_5_line_14 |  | 12 | 15 | 0.012235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6254-19_0_5_line_15 |  | 14 | 16 | 0.0052002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6254-19_0_5_line_16 |  | 15 | 17 | 0.017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6254-19_0_5_line_17 |  | 16 | 18 | 0.0052088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6254-19_0_5_line_18 |  | 17 | 33 | 0.012433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6254-19_0_5_line_19 |  | 18 | 48 | 0.012559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6254-19_0_5_line_20 |  | 19 | 20 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6254-19_0_5_line_21 |  | 20 | 21 | 0.0083355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6254-19_0_5_line_22 |  | 21 | 22 | 0.0065763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6254-19_0_5_line_23 |  | 22 | 23 | 0.011786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6254-19_0_5_line_24 |  | 23 | 24 | 0.04286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6254-19_0_5_line_25 |  | 24 | 25 | 0.051333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6254-19_0_5_line_26 |  | 25 | 26 | 0.033018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6254-19_0_5_line_27 |  | 25 | 27 | 0.0075971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6254-19_0_5_line_28 |  | 26 | 28 | 0.080937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6254-19_0_5_line_29 |  | 27 | 29 | 0.048909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6254-19_0_5_line_30 |  | 28 | 34 | 0.077401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6254-19_0_5_line_31 |  | 29 | 35 | 0.0080799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6254-19_0_5_line_32 |  | 30 | 31 | 0.020988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6254-19_0_5_line_33 |  | 30 | 32 | 0.0079735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6254-19_0_5_line_34 |  | 32 | 33 | 0.042497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6254-19_0_5_line_35 |  | 34 | 36 | 0.0076964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6254-19_0_5_line_36 |  | 35 | 38 | 0.10344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6254-19_0_5_line_37 |  | 35 | 39 | 0.031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6254-19_0_5_line_38 |  | 36 | 37 | 0.049773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6254-19_0_5_line_39 |  | 37 | 42 | 0.047294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6254-19_0_5_line_40 |  | 37 | 40 | 0.063177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6254-19_0_5_line_41 |  | 39 | 43 | 0.053963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6254-19_0_5_line_42 |  | 40 | 41 | 0.024231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6254-19_0_5_line_43 |  | 43 | 44 | 0.047094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6254-19_0_5_line_44 |  | 44 | 45 | 0.0037838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6254-19_0_5_line_45 |  | 45 | 46 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6254-19_0_5_line_46 |  | 46 | 47 | 0.037006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6254-19_0_5_line_47 |  | 47 | 48 | 0.015296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6254-19_0_5_line_48 |  | 48 | 49 | 0.0204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6254-19_0_5_line_49 |  | 49 | 50 | 0.020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6254-19_0_5_line_50 |  | 50 | 51 | 0.023509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6254-19_0_5_trafo_35 | 0.63 MVA 20/0.4 kV | 52 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2606804.4031 | 1128181.3581 | 2606806.3932 | 1128199.8694 | 2606806.4623 | 1128200.8087
1 | 2606804.4031 | 1128181.3581 | 2606804.4031 | 1128181.3581 | 2606801.6569 | 1128170.6054 | 2606793.8464 | 1128155.5109
2 | 2606817.2032 | 1128247.2378 | 2606812.8705 | 1128236.1387 | 2606810.8791 | 1128225.6314 | 2606807.1294 | 1128209.8751 | 2606806.4623 | 1128200.8087
3 | 2606783.0707 | 1128135.2669 | 2606786.6352 | 1128141.5745 | 2606793.8464 | 1128155.5109
4 | 2606817.2032 | 1128247.2378 | 2606808.1202 | 1128240.2243 | 2606761.3373 | 1128208.4902 | 2606735.4167 | 1128190.9085 | 2606726.0709 | 1128184.4001
5 | 2606766.4784 | 1128053.3536 | 2606763.8807 | 1128068.5137 | 2606765.5203 | 1128090.5929 | 2606767.8261 | 1128102.5569 | 2606776.4393 | 1128123.5322 | 2606783.0707 | 1128135.2669
6 | 2606702.9606 | 1128168.3063 | 2606726.0709 | 1128184.4001
7 | 2606766.4784 | 1128053.3536 | 2606793.176 | 1128086.2882
8 | 2606766.4784 | 1128053.3536 | 2606760.7537 | 1128046.7552 | 2606754.3509 | 1128040.1782 | 2606744.9534 | 1128031.5859
9 | 2606766.4784 | 1128053.3536 | 2606764.1186 | 1128055.4298 | 2606759.562 | 1128058.4373 | 2606756.5712 | 1128059.7569 | 2606753.4587 | 1128059.7312
10 | 2606702.9606 | 1128168.3063 | 2606697.6653 | 1128163.6315 | 2606681.9721 | 1128149.2406 | 2606674.2357 | 1128143.8242
11 | 2606793.176 | 1128086.2882 | 2606796.546 | 1128083.3905 | 2606800.0457 | 1128081.638 | 2606802.8731 | 1128081.7412 | 2606805.6378 | 1128082.7337 | 2606808.6549 | 1128085.4383 | 2606812.8239 | 1128091.5349 | 2606816.4475 | 1128096.13 | 2606820.2032 | 1128099.6915 | 2606824.3606 | 1128102.3197 | 2606828.5733 | 1128103.7362 | 2606833.0415 | 1128103.9413 | 2606838.1354 | 1128102.7797 | 2606842.6601 | 1128100.7282 | 2606848.0783 | 1128097.0541
12 | 2606793.176 | 1128086.2882 | 2606807.3843 | 1128105.6134 | 2606810.347 | 1128108.7738 | 2606817.4799 | 1128116.7857 | 2606832.7907 | 1128135.3007 | 2606840.0469 | 1128143.2794 | 2606846.6885 | 1128149.6677 | 2606852.5574 | 1128154.4626
13 | 2606744.9534 | 1128031.5859 | 2606746.4361 | 1128028.4082 | 2606747.2787 | 1128025.8634 | 2606747.1215 | 1128021.739 | 2606745.0482 | 1128015.5003 | 2606740.009 | 1127995.0404 | 2606738.7897 | 1127975.8852 | 2606740.8724 | 1127959.6129 | 2606741.7206 | 1127956.5975
14 | 2606858.1885 | 1128090.1627 | 2606852.3981 | 1128094.1248 | 2606848.0783 | 1128097.0541
15 | 2606741.7206 | 1127956.5975 | 2606743.1285 | 1127951.5915
16 | 2606875.1217 | 1128088.3919 | 2606871.6725 | 1128088.8439 | 2606858.1885 | 1128090.1627 | 2606858.1885 | 1128090.1627
17 | 2606744.5388 | 1127946.5773 | 2606743.1285 | 1127951.5915
18 | 2606875.1217 | 1128088.3919 | 2606887.4491 | 1128086.7764
19 | 2606755.9088 | 1127941.2428 | 2606744.5388 | 1127946.5773
20 | 2607049.8554 | 1128062.4585 | 2607051 | 1128067.5158 | 2607053.1154 | 1128072.1575
21 | 2607049.8554 | 1128062.4585 | 2607048.0152 | 1128054.3287
22 | 2607048.0152 | 1128054.3287 | 2607046.5634 | 1128047.9146
23 | 2607042.3887 | 1128036.9883 | 2607045.4504 | 1128042.9974 | 2607046.5634 | 1128047.9146
24 | 2607042.3887 | 1128036.9883 | 2607034.3196 | 1128021.1517 | 2607018.1395 | 1128001.981
25 | 2606981.7292 | 1127974.0462 | 2606980.4273 | 1127980.7146 | 2606987.0388 | 1127986.4916 | 2607008.9352 | 1127992.8976 | 2607016.5697 | 1128000.121 | 2607018.1395 | 1128001.981
26 | 2606981.7292 | 1127974.0462 | 2606991.9933 | 1127972.5683 | 2607005.4391 | 1127971.2831 | 2607014.5776 | 1127971.0899
27 | 2606981.7292 | 1127974.0462 | 2606975.7166 | 1127969.4025
28 | 2607089.5541 | 1127993.2394 | 2607089.1078 | 1127992.8457 | 2607080.5359 | 1127983.5201 | 2607059.7958 | 1127976.5927 | 2607036.411 | 1127971.3409 | 2607022.8979 | 1127970.9141 | 2607014.5776 | 1127971.0899
29 | 2606934.4463 | 1127943.9494 | 2606936.2454 | 1127943.913 | 2606954.4299 | 1127955.8728 | 2606961.3888 | 1127961.1166 | 2606966.4155 | 1127964.902 | 2606975.5018 | 1127969.2367 | 2606975.7166 | 1127969.4025
30 | 2607089.5541 | 1127993.2394 | 2607131.9047 | 1127928.4524
31 | 2606926.368 | 1127944.113 | 2606934.4463 | 1127943.9494
32 | 2606957.4266 | 1128091.3534 | 2606944.6211 | 1128085.3136 | 2606937.8476 | 1128084.4419
33 | 2606929.8851 | 1128084.7126 | 2606937.3878 | 1128084.3827 | 2606937.8476 | 1128084.4419
34 | 2606929.8851 | 1128084.7126 | 2606921.3697 | 1128085.0871 | 2606906.3764 | 1128085.7149 | 2606897.3388 | 1128086.0937 | 2606890.4276 | 1128086.3861 | 2606887.4491 | 1128086.7764
35 | 2607131.9047 | 1127928.4524 | 2607126.4862 | 1127922.9866
36 | 2606926.368 | 1127944.113 | 2606937.1903 | 1127953.1519 | 2606947.4638 | 1127963.6687 | 2606957.4868 | 1127977.6869 | 2606962.7398 | 1127992.4445 | 2606966.737 | 1128007.2007 | 2606973.4975 | 1128017.469 | 2606981.512 | 1128029.2284
37 | 2606926.368 | 1127944.113 | 2606918.5904 | 1127947.4613 | 2606911.224 | 1127954.99 | 2606903.8941 | 1127964.4908
38 | 2607126.4862 | 1127922.9866 | 2607119.9455 | 1127916.3888 | 2607107.6207 | 1127901.0003 | 2607095.0671 | 1127884.4577
39 | 2607095.0671 | 1127884.4577 | 2607092.6506 | 1127881.2732 | 2607079.7711 | 1127865.7062 | 2607070.3541 | 1127854.1119 | 2607068.4471 | 1127850.9193 | 2607068.3443 | 1127846.4836
40 | 2607042.1387 | 1127918.9522 | 2607095.0671 | 1127884.4577
41 | 2606903.8941 | 1127964.4908 | 2606902.3123 | 1127966.5411 | 2606899.0439 | 1127968.0381 | 2606894.7751 | 1127968.5002 | 2606891.6628 | 1127968.1854 | 2606889.384 | 1127966.7266 | 2606886.7165 | 1127961.3988 | 2606881.1868 | 1127952.7105 | 2606876.7396 | 1127947.3362 | 2606867.8645 | 1127940.1116 | 2606865.1326 | 1127938.9351
42 | 2607023.5515 | 1127903.4066 | 2607025.8626 | 1127905.3188 | 2607042.1387 | 1127918.9522
43 | 2606865.1326 | 1127938.9351 | 2606855.882 | 1127934.9512 | 2606843.8861 | 1127928.0788 | 2606833.5839 | 1127929.1456 | 2606825.003 | 1127934.2607 | 2606822.7078 | 1127935.9494
44 | 2606819.6601 | 1127938.1918 | 2606822.7078 | 1127935.9494
45 | 2606819.6601 | 1127938.1918 | 2606814.2618 | 1127942.1637 | 2606807.6085 | 1127946.0026
46 | 2606771.1143 | 1127939.9107 | 2606791.3084 | 1127943.6388 | 2606807.6085 | 1127946.0026 | 2606807.6085 | 1127946.0026
47 | 2606755.9088 | 1127941.2428 | 2606770.2871 | 1127939.758 | 2606771.1143 | 1127939.9107
48 | 2606755.9088 | 1127941.2428 | 2606752.2775 | 1127929.5442 | 2606752.0951 | 1127921.3959
49 | 2606747.7549 | 1127901.7368 | 2606751.8811 | 1127911.8352 | 2606752.0951 | 1127921.3959
50 | 2606747.7549 | 1127901.7368 | 2606737.0211 | 1127895.9555 | 2606726.0278 | 1127893.2659

## bus_geodata
| x | y | coords
0 | 2606804.4031 | 1128181.3581
1 | 2606806.4623 | 1128200.8087
2 | 2606793.8464 | 1128155.5109
3 | 2606817.2032 | 1128247.2378
4 | 2606783.0707 | 1128135.2669
5 | 2606726.0709 | 1128184.4001
6 | 2606766.4784 | 1128053.3536
7 | 2606702.9606 | 1128168.3063
8 | 2606793.176 | 1128086.2882
9 | 2606744.9534 | 1128031.5859
10 | 2606753.4587 | 1128059.7312
11 | 2606674.2357 | 1128143.8242
12 | 2606848.0783 | 1128097.0541
13 | 2606852.5574 | 1128154.4626
14 | 2606741.7206 | 1127956.5975
15 | 2606858.1885 | 1128090.1627
16 | 2606743.1285 | 1127951.5915
17 | 2606875.1217 | 1128088.3919
18 | 2606744.5388 | 1127946.5773
19 | 2607053.1154 | 1128072.1575
20 | 2607049.8554 | 1128062.4585
21 | 2607048.0152 | 1128054.3287
22 | 2607046.5634 | 1128047.9146
23 | 2607042.3887 | 1128036.9883
24 | 2607018.1395 | 1128001.981
25 | 2606981.7292 | 1127974.0461
26 | 2607014.5776 | 1127971.0899
27 | 2606975.7166 | 1127969.4025
28 | 2607089.5541 | 1127993.2394
29 | 2606934.4463 | 1127943.9494
30 | 2606937.8476 | 1128084.4419
31 | 2606957.4266 | 1128091.3534
32 | 2606929.8851 | 1128084.7126
33 | 2606887.4491 | 1128086.7764
34 | 2607131.9047 | 1127928.4524
35 | 2606926.368 | 1127944.113
36 | 2607126.4862 | 1127922.9866
37 | 2607095.0671 | 1127884.4577
38 | 2606981.512 | 1128029.2284
39 | 2606903.8941 | 1127964.4908
40 | 2607042.1387 | 1127918.9522
41 | 2607023.5515 | 1127903.4066
42 | 2607068.3443 | 1127846.4836
43 | 2606865.1326 | 1127938.9351
44 | 2606822.7078 | 1127935.9494
45 | 2606819.6601 | 1127938.1918
46 | 2606807.6085 | 1127946.0026
47 | 2606771.1143 | 1127939.9107
48 | 2606755.9088 | 1127941.2428
49 | 2606752.0951 | 1127921.3959
50 | 2606747.7549 | 1127901.7368
51 | 2606726.0278 | 1127893.2659
52 | 2606926.368 | 1127944.113

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1