## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6254-20_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6254-20_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6254-20_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6254-20_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6254-20_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6254-20_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6254-20_0_7_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6254-20_0_7_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6254-20_0_7_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6254-20_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6254-20_0_7_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6254-20_0_7_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6254-20_0_7_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_6254-20_0_7_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_6254-20_0_7_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6254-20_0_7_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6254-20_0_7_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6254-20_0_7_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6254-20_0_7_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_6254-20_0_7_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_6254-20_0_7_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_6254-20_0_7_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_6254-20_0_7_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_6254-20_0_7_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_6254-20_0_7_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_6254-20_0_7_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_6254-20_0_7_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_6254-20_0_7_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_6254-20_0_7_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_6254-20_0_7_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6254-20_0_7_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_6254-20_0_7_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_6254-20_0_7_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_6254-20_0_7_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_6254-20_0_7_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_6254-20_0_7_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_6254-20_0_7_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_6254-20_0_7_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_6254-20_0_7_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6254-20_0_7_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_6254-20_0_7_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6254-20_0_7_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_6254-20_0_7_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6254-20_0_7_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_6254-20_0_7_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_6254-20_0_7_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_6254-20_0_7_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_6254-20_0_7_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_6254-20_0_7_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6254-20_0_7_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_6254-20_0_7_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6254-20_0_7_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_6254-20_0_7_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_6254-20_0_7_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6254-20_0_7_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_6254-20_0_7_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_6254-20_0_7_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_6254-20_0_7_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_6254-20_0_7_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_6254-20_0_7_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_6254-20_0_7_node_62 | 0.4 | n |  | TRUE
61 | bus_MV_273_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6254-20_0_7_load_0 | 0 | 0.011231 | 0.0028149 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6254-20_0_7_load_1 | 1 | 0.029565 | 0.0074096 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6254-20_0_7_load_3 | 3 | 0.023515 | 0.0058933 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6254-20_0_7_load_4 | 4 | 0.016101 | 0.0040352 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6254-20_0_7_load_5 | 5 | 0.0071938 | 0.0018029 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6254-20_0_7_load_10 | 6 | 0.02672 | 0.0066967 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6254-20_0_7_load_7 | 9 | 0.02579 | 0.0064636 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6254-20_0_7_load_8 | 10 | 0.010435 | 0.0026153 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6254-20_0_7_load_9 | 11 | 0.0097693 | 0.0024484 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6254-20_0_7_load_20 | 12 | 0.01006 | 0.0025214 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6254-20_0_7_load_19 | 13 | 0.011276 | 0.0028261 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6254-20_0_7_load_13 | 15 | 0.036482 | 0.0091432 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6254-20_0_7_load_16 | 17 | 0.023534 | 0.0058981 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6254-20_0_7_load_17 | 18 | 0.014212 | 0.0035619 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6254-20_0_7_load_18 | 19 | 0.019876 | 0.0049814 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6254-20_0_7_load_23 | 21 | 0.0093743 | 0.0023494 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6254-20_0_7_load_21 | 22 | 0.0044188 | 0.0011074 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6254-20_0_7_load_24 | 23 | 0.009108 | 0.0022827 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6254-20_0_7_load_25 | 24 | 0.0084282 | 0.0021123 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6254-20_0_7_load_26 | 25 | 0.0058934 | 0.001477 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6254-20_0_7_load_30 | 26 | 0.0096237 | 0.0024119 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6254-20_0_7_load_29 | 27 | 0.015613 | 0.0039131 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6254-20_0_7_load_27 | 28 | 0.010137 | 0.0025405 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6254-20_0_7_load_28 | 29 | 0.0063771 | 0.0015983 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6254-20_0_7_load_38 | 30 | 0.009075 | 0.0022744 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6254-20_0_7_load_37 | 31 | 0.0046445 | 0.001164 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6254-20_0_7_load_39 | 32 | 0.0093778 | 0.0023503 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6254-20_0_7_load_36 | 33 | 0.0097419 | 0.0024416 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6254-20_0_7_load_41 | 34 | 0.0059958 | 0.0015027 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6254-20_0_7_load_42 | 35 | 0.0037985 | 0.00095199 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6254-20_0_7_load_40 | 36 | 0.0049373 | 0.0012374 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6254-20_0_7_load_32 | 38 | 0.011152 | 0.0027948 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6254-20_0_7_load_33 | 39 | 0.010495 | 0.0026302 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6254-20_0_7_load_34 | 40 | 0.0087299 | 0.0021879 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6254-20_0_7_load_58 | 41 | 0.0062798 | 0.0015739 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6254-20_0_7_load_35 | 42 | 0.014418 | 0.0036134 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6254-20_0_7_load_59 | 43 | 0.0084045 | 0.0021064 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6254-20_0_7_load_43 | 44 | 0.0032402 | 0.00081207 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6254-20_0_7_load_44 | 45 | 0.007749 | 0.0019421 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6254-20_0_7_load_45 | 46 | 0.0033059 | 0.00082855 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6254-20_0_7_load_46 | 47 | 0.0070379 | 0.0017639 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6254-20_0_7_load_47 | 48 | 0.014833 | 0.0037176 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6254-20_0_7_load_49 | 49 | 0.010883 | 0.0027276 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6254-20_0_7_load_50 | 50 | 0.013255 | 0.0033219 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6254-20_0_7_load_51 | 51 | 0.0098811 | 0.0024764 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6254-20_0_7_load_52 | 52 | 0.0084774 | 0.0021246 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6254-20_0_7_load_53 | 53 | 0.011005 | 0.002758 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6254-20_0_7_load_54 | 54 | 0.0081598 | 0.002045 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6254-20_0_7_load_55 | 55 | 0.0081091 | 0.0020323 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6254-20_0_7_load_56 | 56 | 0.0087086 | 0.0021826 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6254-20_0_7_load_57 | 57 | 0.0081016 | 0.0020305 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6254-20_0_7_load_60 | 58 | 0.0093764 | 0.00235 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6254-20_0_7_load_61 | 59 | 0.007899 | 0.0019797 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6254-20_0_7_load_62 | 60 | 0.0080552 | 0.0020188 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6254-20_0_7_line_0 |  | 0 | 1 | 0.046306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6254-20_0_7_line_1 |  | 1 | 2 | 0.043382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6254-20_0_7_line_2 |  | 2 | 3 | 0.01742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6254-20_0_7_line_3 |  | 2 | 4 | 0.017269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6254-20_0_7_line_4 |  | 3 | 5 | 0.0035328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6254-20_0_7_line_5 |  | 4 | 6 | 0.028331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6254-20_0_7_line_6 |  | 5 | 7 | 0.099398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6254-20_0_7_line_7 |  | 6 | 8 | 0.015469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6254-20_0_7_line_8 |  | 7 | 9 | 0.051883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6254-20_0_7_line_9 |  | 8 | 14 | 0.01616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6254-20_0_7_line_10 |  | 9 | 10 | 0.040477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6254-20_0_7_line_11 |  | 10 | 11 | 0.017436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6254-20_0_7_line_12 |  | 11 | 12 | 0.0088252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6254-20_0_7_line_13 |  | 12 | 13 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6254-20_0_7_line_14 |  | 13 | 19 | 0.030194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6254-20_0_7_line_15 |  | 14 | 15 | 0.023651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6254-20_0_7_line_16 |  | 16 | 17 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6254-20_0_7_line_17 |  | 16 | 18 | 0.0057772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6254-20_0_7_line_18 |  | 17 | 19 | 0.03768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6254-20_0_7_line_19 |  | 18 | 20 | 0.053961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6254-20_0_7_line_20 |  | 20 | 21 | 0.017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6254-20_0_7_line_21 |  | 20 | 22 | 0.061987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6254-20_0_7_line_22 |  | 21 | 26 | 0.052242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6254-20_0_7_line_23 |  | 22 | 23 | 0.069893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6254-20_0_7_line_24 |  | 23 | 24 | 0.030534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6254-20_0_7_line_25 |  | 24 | 25 | 0.0017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6254-20_0_7_line_26 |  | 26 | 27 | 0.0096146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6254-20_0_7_line_27 |  | 27 | 37 | 0.028654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6254-20_0_7_line_28 |  | 28 | 29 | 0.066618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6254-20_0_7_line_29 |  | 28 | 30 | 0.082001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6254-20_0_7_line_30 |  | 29 | 31 | 0.053593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6254-20_0_7_line_31 |  | 30 | 32 | 0.020684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6254-20_0_7_line_32 |  | 30 | 33 | 0.0071642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6254-20_0_7_line_33 |  | 32 | 36 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6254-20_0_7_line_34 |  | 33 | 42 | 0.021934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6254-20_0_7_line_35 |  | 34 | 35 | 0.017351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6254-20_0_7_line_36 |  | 34 | 36 | 0.011556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6254-20_0_7_line_37 |  | 35 | 44 | 0.020746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6254-20_0_7_line_38 |  | 37 | 38 | 0.06758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6254-20_0_7_line_39 |  | 37 | 39 | 0.023328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6254-20_0_7_line_40 |  | 38 | 40 | 0.0054334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6254-20_0_7_line_41 |  | 39 | 41 | 0.10891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6254-20_0_7_line_42 |  | 40 | 42 | 0.016726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6254-20_0_7_line_43 |  | 41 | 43 | 0.022648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6254-20_0_7_line_44 |  | 43 | 60 | 0.014805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6254-20_0_7_line_45 |  | 44 | 45 | 0.0081146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6254-20_0_7_line_46 |  | 45 | 46 | 0.01666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6254-20_0_7_line_47 |  | 47 | 48 | 0.048073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6254-20_0_7_line_48 |  | 48 | 49 | 0.058714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6254-20_0_7_line_49 |  | 49 | 50 | 0.018496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6254-20_0_7_line_50 |  | 50 | 51 | 0.015768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6254-20_0_7_line_51 |  | 51 | 52 | 0.061426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6254-20_0_7_line_52 |  | 52 | 53 | 0.023607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6254-20_0_7_line_53 |  | 53 | 54 | 0.028963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6254-20_0_7_line_54 |  | 54 | 55 | 0.016798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6254-20_0_7_line_55 |  | 55 | 56 | 0.01913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6254-20_0_7_line_56 |  | 56 | 57 | 0.03541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6254-20_0_7_line_57 |  | 57 | 58 | 0.0040481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6254-20_0_7_line_58 |  | 58 | 59 | 0.015993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6254-20_0_7_line_59 |  | 59 | 60 | 0.090255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6254-20_0_7_trafo_22 | 0.63 MVA 20/0.4 kV | 61 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2606552.2278 | 1128232.2208 | 2606573.1903 | 1128233.0079 | 2606574.9741 | 1128207.7419 | 2606574.9741 | 1128207.7419
1 | 2606592.4709 | 1128178.5688 | 2606590.0291 | 1128206.7577 | 2606574.9741 | 1128207.7419
2 | 2606592.4709 | 1128178.5688 | 2606609.495 | 1128182.2637
3 | 2606592.4709 | 1128178.5688 | 2606575.5951 | 1128174.9042
4 | 2606612.9474 | 1128183.0131 | 2606609.495 | 1128182.2637
5 | 2606575.5951 | 1128174.9042 | 2606547.9091 | 1128168.8921
6 | 2606702.9606 | 1128168.3063 | 2606684.1986 | 1128184.4714 | 2606673.9211 | 1128191.5858 | 2606659.3893 | 1128193.0929 | 2606612.9474 | 1128183.0131
7 | 2606532.7925 | 1128165.6095 | 2606547.9091 | 1128168.8921
8 | 2606702.9606 | 1128168.3063 | 2606697.6653 | 1128163.6315 | 2606681.9721 | 1128149.2406 | 2606665.767 | 1128137.8952 | 2606662.8706 | 1128135.5205
9 | 2606516.9563 | 1128162.1687 | 2606532.7925 | 1128165.6095
10 | 2606631.0129 | 1128110.5801 | 2606642.8903 | 1128119.1389 | 2606662.8706 | 1128135.5205
11 | 2606616.8667 | 1128100.3865 | 2606631.0129 | 1128110.5801
12 | 2606616.8667 | 1128100.3865 | 2606611.8663 | 1128096.7832 | 2606609.5441 | 1128095.4821
13 | 2606590.8693 | 1128085.0185 | 2606609.5441 | 1128095.4821
14 | 2606590.8693 | 1128085.0185 | 2606586.2033 | 1128082.4041 | 2606565.4095 | 1128068.8058
15 | 2606516.9563 | 1128162.1687 | 2606516.8249 | 1128155.4097 | 2606515.0726 | 1128151.4059 | 2606507.5562 | 1128141.393
16 | 2606516.6583 | 1128037.1741 | 2606523.7493 | 1128041.5616 | 2606533.8742 | 1128048.1829
17 | 2606516.6583 | 1128037.1741 | 2606511.7474 | 1128034.1312
18 | 2606533.8742 | 1128048.1829 | 2606565.4095 | 1128068.8058
19 | 2606464.3451 | 1128008.3934 | 2606483.0335 | 1128018.029 | 2606502.9458 | 1128028.6776 | 2606511.7474 | 1128034.1312
20 | 2606464.3451 | 1128008.3934 | 2606458.208 | 1128005.2298 | 2606448.2064 | 1128001.449
21 | 2606464.3451 | 1128008.3934 | 2606461.5513 | 1128012.8815 | 2606451.1162 | 1128008.7463 | 2606438.5292 | 1128006.7543 | 2606431.5088 | 1128008.3588 | 2606423.9513 | 1128015.1652 | 2606418.5394 | 1128025.7425 | 2606417.3241 | 1128029.0024
22 | 2606448.2064 | 1128001.449 | 2606399.3393 | 1127982.9763
23 | 2606417.3241 | 1128029.0024 | 2606363.3559 | 1128073.4154
24 | 2606363.3559 | 1128073.4154 | 2606337.1184 | 1128057.7985
25 | 2606337.1184 | 1128057.7985 | 2606335.6234 | 1128056.9086
26 | 2606390.3459 | 1127979.5765 | 2606399.3393 | 1127982.9763
27 | 2606363.7973 | 1127968.8019 | 2606384.367 | 1127977.3164 | 2606390.3459 | 1127979.5765
28 | 2606221.4311 | 1127993.3807 | 2606221.1008 | 1127993.2447 | 2606174.4903 | 1127976.6005 | 2606158.7009 | 1127970.9582
29 | 2606255.9075 | 1127918.9799 | 2606221.4311 | 1127993.3807
30 | 2606119.4869 | 1127937.5218 | 2606124.0782 | 1127947.5356 | 2606133.9905 | 1127958.6732 | 2606151.6856 | 1127968.4513 | 2606158.7009 | 1127970.9582
31 | 2606237.5807 | 1127909.4188 | 2606249.3396 | 1127915.947 | 2606255.9075 | 1127918.9799
32 | 2606262.4117 | 1127921.9835 | 2606255.9075 | 1127918.9799
33 | 2606237.5807 | 1127909.4188 | 2606224.1794 | 1127901.979
34 | 2606262.4117 | 1127921.9835 | 2606282.3253 | 1127931.1793
35 | 2606214.706 | 1127895.505 | 2606202.0469 | 1127883.639
36 | 2606214.706 | 1127895.505 | 2606217.8843 | 1127898.4842 | 2606224.1794 | 1127901.979
37 | 2606188.777 | 1127867.7938 | 2606196.8939 | 1127878.8088 | 2606202.0469 | 1127883.639
38 | 2606363.7973 | 1127968.8019 | 2606302.4433 | 1127940.4695
39 | 2606363.7973 | 1127968.8019 | 2606365.0604 | 1127961.8221 | 2606362.8556 | 1127955.6612 | 2606357.9446 | 1127951.3651 | 2606354.8245 | 1127950.8263
40 | 2606302.4433 | 1127940.4695 | 2606297.5105 | 1127938.1916
41 | 2606354.8245 | 1127950.8263 | 2606344.4102 | 1127949.0277 | 2606335.8016 | 1127944.1942 | 2606329.5448 | 1127937.4733 | 2606302.3633 | 1127900.0826 | 2606294.8826 | 1127884.7118 | 2606292.3674 | 1127868.9475
42 | 2606297.5105 | 1127938.1916 | 2606282.3253 | 1127931.1793
43 | 2606292.3674 | 1127868.9475 | 2606291.1928 | 1127861.5856 | 2606291.5027 | 1127852.4148 | 2606292.8185 | 1127846.5436
44 | 2606292.8185 | 1127846.5436 | 2606293.2288 | 1127844.7128 | 2606297.7779 | 1127841.427 | 2606303.9067 | 1127845.4242 | 2606303.9067 | 1127845.4242
45 | 2606188.777 | 1127867.7938 | 2606183.9632 | 1127861.2612
46 | 2606175.1721 | 1127847.1584 | 2606179.49 | 1127855.1908 | 2606183.9632 | 1127861.2612
47 | 2606675.8183 | 1128032.6317 | 2606657.5671 | 1128027.199 | 2606638.9772 | 1128019.3416 | 2606631.1996 | 1128015.1217
48 | 2606631.1996 | 1128015.1217 | 2606591.0607 | 1127993.3437 | 2606579.6063 | 1127987.0949
49 | 2606563.3692 | 1127978.237 | 2606579.6063 | 1127987.0949
50 | 2606549.527 | 1127970.6855 | 2606563.3692 | 1127978.237
51 | 2606549.527 | 1127970.6855 | 2606535.3823 | 1127962.9691 | 2606497.3602 | 1127941.6848 | 2606495.7938 | 1127940.9294
52 | 2606495.7938 | 1127940.9294 | 2606482.8292 | 1127934.6771 | 2606473.6338 | 1127934.1012
53 | 2606473.6338 | 1127934.1012 | 2606457.1902 | 1127933.0714 | 2606444.9037 | 1127930.842
54 | 2606444.9037 | 1127930.842 | 2606434.8206 | 1127929.0125 | 2606429.0231 | 1127925.9646
55 | 2606429.0231 | 1127925.9646 | 2606427.8287 | 1127925.3366 | 2606419.2547 | 1127916.968 | 2606415.1513 | 1127912.8699
56 | 2606415.1513 | 1127912.8699 | 2606403.1536 | 1127900.8877 | 2606396.1543 | 1127896.9118 | 2606391.1286 | 1127891.7818 | 2606387.9484 | 1127891.2604
57 | 2606383.9536 | 1127890.6055 | 2606387.9484 | 1127891.2604
58 | 2606383.9536 | 1127890.6055 | 2606371.8165 | 1127888.6157 | 2606368.1222 | 1127888.6118
59 | 2606303.9067 | 1127845.4242 | 2606306.0673 | 1127857.121 | 2606312.2525 | 1127873.6021 | 2606320.98 | 1127882.7934 | 2606338.3324 | 1127888.5808 | 2606352.2315 | 1127888.5953 | 2606368.1222 | 1127888.6118

## bus_geodata
| x | y | coords
0 | 2606552.2278 | 1128232.2208
1 | 2606574.9741 | 1128207.7419
2 | 2606592.4709 | 1128178.5688
3 | 2606609.495 | 1128182.2637
4 | 2606575.5951 | 1128174.9042
5 | 2606612.9474 | 1128183.0131
6 | 2606547.9091 | 1128168.8921
7 | 2606702.9606 | 1128168.3063
8 | 2606532.7926 | 1128165.6095
9 | 2606662.8706 | 1128135.5205
10 | 2606631.0129 | 1128110.5801
11 | 2606616.8667 | 1128100.3865
12 | 2606609.5441 | 1128095.4821
13 | 2606590.8693 | 1128085.0185
14 | 2606516.9563 | 1128162.1687
15 | 2606507.5562 | 1128141.393
16 | 2606516.6583 | 1128037.1741
17 | 2606533.8742 | 1128048.1829
18 | 2606511.7474 | 1128034.1312
19 | 2606565.4095 | 1128068.8058
20 | 2606464.3451 | 1128008.3934
21 | 2606448.2065 | 1128001.449
22 | 2606417.3241 | 1128029.0024
23 | 2606363.3559 | 1128073.4154
24 | 2606337.1184 | 1128057.7985
25 | 2606335.6234 | 1128056.9086
26 | 2606399.3393 | 1127982.9763
27 | 2606390.3459 | 1127979.5765
28 | 2606221.4311 | 1127993.3807
29 | 2606158.7009 | 1127970.9582
30 | 2606255.9075 | 1127918.9799
31 | 2606119.4869 | 1127937.5218
32 | 2606237.5807 | 1127909.4188
33 | 2606262.4117 | 1127921.9835
34 | 2606214.706 | 1127895.505
35 | 2606202.0469 | 1127883.639
36 | 2606224.1794 | 1127901.979
37 | 2606363.7973 | 1127968.8019
38 | 2606302.4433 | 1127940.4695
39 | 2606354.8245 | 1127950.8263
40 | 2606297.5105 | 1127938.1916
41 | 2606292.3674 | 1127868.9475
42 | 2606282.3253 | 1127931.1793
43 | 2606292.8185 | 1127846.5436
44 | 2606188.777 | 1127867.7938
45 | 2606183.9632 | 1127861.2612
46 | 2606175.1721 | 1127847.1584
47 | 2606675.8183 | 1128032.6317
48 | 2606631.1996 | 1128015.1217
49 | 2606579.6063 | 1127987.0949
50 | 2606563.3692 | 1127978.237
51 | 2606549.527 | 1127970.6855
52 | 2606495.7938 | 1127940.9294
53 | 2606473.6338 | 1127934.1012
54 | 2606444.9037 | 1127930.842
55 | 2606429.0232 | 1127925.9646
56 | 2606415.1513 | 1127912.8699
57 | 2606387.9484 | 1127891.2604
58 | 2606383.9536 | 1127890.6055
59 | 2606368.1222 | 1127888.6118
60 | 2606303.9067 | 1127845.4242
61 | 2606516.6583 | 1128037.1741

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1