## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6254-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6254-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6254-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6254-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6254-3_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_6254-3_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6254-3_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6254-3_0_6_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_6254-3_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6254-3_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6254-3_0_6_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_6254-3_0_6_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_6254-3_0_6_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_6254-3_0_6_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_6254-3_0_6_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_6254-3_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6254-3_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6254-3_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6254-3_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6254-3_0_6_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_6254-3_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6254-3_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6254-3_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6254-3_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6254-3_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6254-3_0_6_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_6254-3_0_6_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6254-3_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6254-3_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6254-3_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6254-3_0_6_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_6254-3_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6254-3_0_6_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_6254-3_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6254-3_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_6254-3_0_6_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_6254-3_0_6_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_6254-3_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6254-3_0_6_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_6254-3_0_6_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_6254-3_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6254-3_0_6_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_6254-3_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_6254-3_0_6_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_6254-3_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6254-3_0_6_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_6254-3_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6254-3_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6254-3_0_6_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_6254-3_0_6_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_6254-3_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_6254-3_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_6254-3_0_6_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_6254-3_0_6_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_6254-3_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6254-3_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_6254-3_0_6_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6254-3_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6254-3_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6254-3_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_6254-3_0_6_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6254-3_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6254-3_0_6_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_6254-3_0_6_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_6254-3_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_6254-3_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_MV_273_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6254-3_0_6_load_0 | 0 | 0.041991 | 0.010524 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6254-3_0_6_load_1 | 1 | 0.01175 | 0.0029447 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6254-3_0_6_load_2 | 2 | 0.011763 | 0.002948 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6254-3_0_6_load_52 | 7 | 0.008722 | 0.0021859 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6254-3_0_6_load_10 | 9 | 0.02774 | 0.0069524 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6254-3_0_6_load_68 | 10 | 0.010198 | 0.0025557 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6254-3_0_6_load_65 | 11 | 0.014437 | 0.0036183 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6254-3_0_6_load_51 | 12 | 0.011994 | 0.0030059 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6254-3_0_6_load_69 | 13 | 0.010987 | 0.0027536 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6254-3_0_6_load_53 | 14 | 0.021156 | 0.0053022 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6254-3_0_6_load_9 | 15 | 0.031558 | 0.0079092 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6254-3_0_6_load_13 | 16 | 0.016623 | 0.004166 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6254-3_0_6_load_11 | 17 | 0.0029941 | 0.00075038 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6254-3_0_6_load_12 | 18 | 0.012176 | 0.0030516 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6254-3_0_6_load_14 | 20 | 0.0020411 | 0.00051154 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6254-3_0_6_load_15 | 21 | 0.0038048 | 0.00095356 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6254-3_0_6_load_17 | 23 | 0.0026049 | 0.00065285 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6254-3_0_6_load_18 | 24 | 0.0024403 | 0.00061159 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6254-3_0_6_load_44 | 25 | 0.0054274 | 0.0013602 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6254-3_0_6_load_25 | 26 | 0.002642 | 0.00066215 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6254-3_0_6_load_26 | 28 | 0.002639 | 0.00066138 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6254-3_0_6_load_47 | 30 | 0.0044392 | 0.0011126 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6254-3_0_6_load_27 | 33 | 0.012919 | 0.0032378 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6254-3_0_6_load_45 | 35 | 0.0023264 | 0.00058305 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6254-3_0_6_load_36 | 36 | 0.0044199 | 0.0011077 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6254-3_0_6_load_63 | 38 | 0.015224 | 0.0038155 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6254-3_0_6_load_62 | 41 | 0.0048029 | 0.0012037 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6254-3_0_6_load_41 | 42 | 0.0040377 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6254-3_0_6_load_46 | 43 | 0.0047071 | 0.0011797 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6254-3_0_6_load_66 | 45 | 0.017963 | 0.004502 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6254-3_0_6_load_35 | 47 | 0.010194 | 0.0025548 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6254-3_0_6_load_64 | 48 | 0.021744 | 0.0054496 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6254-3_0_6_load_61 | 49 | 0.0046022 | 0.0011534 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6254-3_0_6_load_40 | 50 | 0.0069655 | 0.0017457 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6254-3_0_6_load_29 | 51 | 0.008275 | 0.0020739 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6254-3_0_6_load_30 | 52 | 0.0044949 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6254-3_0_6_load_37 | 54 | 0.011227 | 0.0028138 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6254-3_0_6_load_38 | 55 | 0.013349 | 0.0033455 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6254-3_0_6_load_55 | 56 | 0.0090126 | 0.0022588 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6254-3_0_6_load_54 | 57 | 0.025697 | 0.0064404 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6254-3_0_6_load_56 | 58 | 0.015146 | 0.0037958 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6254-3_0_6_load_67 | 59 | 0.016769 | 0.0042027 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6254-3_0_6_load_48 | 60 | 0.016526 | 0.0041418 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6254-3_0_6_load_50 | 61 | 0.015775 | 0.0039535 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6254-3_0_6_load_59 | 62 | 0.029281 | 0.0073385 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6254-3_0_6_load_57 | 63 | 0.014192 | 0.0035568 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6254-3_0_6_load_58 | 64 | 0.01372 | 0.0034385 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6254-3_0_6_load_60 | 65 | 0.0052722 | 0.0013213 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6254-3_0_6_line_0 |  | 0 | 1 | 0.036687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6254-3_0_6_line_1 |  | 1 | 2 | 0.0051612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6254-3_0_6_line_2 |  | 2 | 3 | 0.10326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6254-3_0_6_line_3 |  | 3 | 4 | 0.01005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6254-3_0_6_line_4 |  | 4 | 10 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6254-3_0_6_line_5 |  | 4 | 11 | 0.022657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6254-3_0_6_line_6 |  | 5 | 6 | 0.20712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6254-3_0_6_line_7 |  | 5 | 7 | 0.11624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6254-3_0_6_line_8 |  | 6 | 12 | 0.042359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6254-3_0_6_line_9 |  | 6 | 13 | 0.03915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6254-3_0_6_line_10 |  | 6 | 8 | 0.14738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6254-3_0_6_line_11 |  | 7 | 14 | 0.029679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6254-3_0_6_line_12 |  | 8 | 9 | 0.14186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6254-3_0_6_line_13 |  | 9 | 15 | 0.029362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6254-3_0_6_line_14 |  | 10 | 13 | 0.003215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6254-3_0_6_line_15 |  | 11 | 16 | 0.01994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6254-3_0_6_line_16 |  | 12 | 19 | 0.0062086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6254-3_0_6_line_17 |  | 14 | 57 | 0.019674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6254-3_0_6_line_18 |  | 16 | 18 | 0.085413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6254-3_0_6_line_19 |  | 17 | 18 | 0.061614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6254-3_0_6_line_20 |  | 19 | 61 | 0.044033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6254-3_0_6_line_21 |  | 19 | 60 | 0.043741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6254-3_0_6_line_22 |  | 20 | 21 | 0.014114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6254-3_0_6_line_23 |  | 20 | 22 | 0.0053421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6254-3_0_6_line_24 |  | 21 | 23 | 0.0099432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6254-3_0_6_line_25 |  | 22 | 24 | 0.0039362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6254-3_0_6_line_26 |  | 23 | 25 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6254-3_0_6_line_27 |  | 24 | 26 | 0.0025612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6254-3_0_6_line_28 |  | 25 | 35 | 0.0073954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6254-3_0_6_line_29 |  | 26 | 27 | 0.0067203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6254-3_0_6_line_30 |  | 27 | 28 | 0.022716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6254-3_0_6_line_31 |  | 27 | 29 | 0.003987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6254-3_0_6_line_32 |  | 28 | 42 | 0.019583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6254-3_0_6_line_33 |  | 29 | 30 | 0.014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6254-3_0_6_line_34 |  | 30 | 43 | 0.040108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6254-3_0_6_line_35 |  | 31 | 32 | 0.008521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6254-3_0_6_line_36 |  | 31 | 33 | 0.058376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6254-3_0_6_line_37 |  | 32 | 37 | 0.007966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6254-3_0_6_line_38 |  | 33 | 46 | 0.0314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6254-3_0_6_line_39 |  | 34 | 35 | 0.0081999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6254-3_0_6_line_40 |  | 34 | 36 | 0.010313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6254-3_0_6_line_41 |  | 36 | 47 | 0.00043296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6254-3_0_6_line_42 |  | 37 | 38 | 0.05131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6254-3_0_6_line_43 |  | 38 | 48 | 0.033468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6254-3_0_6_line_44 |  | 39 | 40 | 0.057879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6254-3_0_6_line_45 |  | 39 | 41 | 0.021914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6254-3_0_6_line_46 |  | 40 | 44 | 0.059576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6254-3_0_6_line_47 |  | 41 | 49 | 0.023185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6254-3_0_6_line_48 |  | 42 | 50 | 0.031705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6254-3_0_6_line_49 |  | 44 | 45 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6254-3_0_6_line_50 |  | 45 | 59 | 0.0035846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6254-3_0_6_line_51 |  | 46 | 51 | 0.015152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_6254-3_0_6_line_52 |  | 46 | 52 | 0.044841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6254-3_0_6_line_53 |  | 46 | 53 | 0.005398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6254-3_0_6_line_54 |  | 47 | 54 | 0.022735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6254-3_0_6_line_55 |  | 49 | 65 | 0.024292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6254-3_0_6_line_56 |  | 51 | 54 | 0.0027726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6254-3_0_6_line_57 |  | 52 | 55 | 0.025598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6254-3_0_6_line_58 |  | 53 | 56 | 0.015688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6254-3_0_6_line_59 |  | 53 | 57 | 0.016389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6254-3_0_6_line_60 |  | 56 | 58 | 0.003384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6254-3_0_6_line_61 |  | 61 | 62 | 5.4014e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6254-3_0_6_line_62 |  | 62 | 63 | 0.007699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6254-3_0_6_line_63 |  | 63 | 64 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6254-3_0_6_line_64 |  | 64 | 65 | 0.022722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6254-3_0_6_trafo_50 | 0.63 MVA 20/0.4 kV | 66 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34
0 | 2607853.1223 | 1127805.6763 | 2607853.4022 | 1127809.6145 | 2607853.8871 | 1127816.0182 | 2607856.5356 | 1127841.4007 | 2607856.6144 | 1127842.1938
1 | 2607857.1248 | 1127847.3297 | 2607856.6144 | 1127842.1938
2 | 2607833.2879 | 1127945.4548 | 2607833.8207 | 1127944.5884 | 2607836.8863 | 1127939.1897 | 2607838.2629 | 1127935.1451 | 2607840.7067 | 1127928.0559 | 2607843.7108 | 1127922.5237 | 2607847.9583 | 1127914.8254 | 2607850.9639 | 1127908.1705 | 2607853.4074 | 1127901.2703 | 2607855.5972 | 1127894.0029 | 2607857.1017 | 1127886.3567 | 2607858.2378 | 1127877.6539 | 2607858.6888 | 1127868.5167 | 2607858.2587 | 1127861.4793 | 2607857.5244 | 1127851.3512 | 2607857.1248 | 1127847.3297
3 | 2607824.7504 | 1127940.1524 | 2607829.1386 | 1127942.8371 | 2607833.2879 | 1127945.4548
4 | 2607824.7504 | 1127940.1524 | 2607819.4164 | 1127950.2443
5 | 2607824.7504 | 1127940.1524 | 2607830.0328 | 1127930.4433 | 2607834.7599 | 1127921.1893 | 2607835.3106 | 1127920.1088
6 | 2607692.7299 | 1128138.4033 | 2607694.321 | 1128135.2038 | 2607699.9567 | 1128138.2124 | 2607704.9234 | 1128140.2196 | 2607708.6515 | 1128140.8469 | 2607711.6178 | 1128140.7506 | 2607714.1999 | 1128139.7978 | 2607716.4974 | 1128138.5223 | 2607718.8879 | 1128136.8023 | 2607719.1194 | 1128136.5024 | 2607721.6198 | 1128133.1929 | 2607723.6267 | 1128130.1384 | 2607728.0823 | 1128122.1401 | 2607737.9059 | 1128103.3767 | 2607752.5254 | 1128075.7152 | 2607758.8424 | 1128063.9952 | 2607761.1978 | 1128059.6183 | 2607761.531 | 1128058.1403 | 2607761.3415 | 1128055.7166 | 2607761.8228 | 1128052.8603 | 2607763.3138 | 1128049.6606 | 2607774.0482 | 1128029.8535 | 2607775.6221 | 1128028.0991 | 2607777.3497 | 1128026.6673 | 2607779.5948 | 1128024.2356 | 2607781.5634 | 1128021.0922 | 2607789.6643 | 1128006.2953 | 2607793.3867 | 1127999.33 | 2607794.5298 | 1127997.1081 | 2607795.7358 | 1127993.897 | 2607795.9622 | 1127991.6073 | 2607795.6343 | 1127988.9389 | 2607794.8203 | 1127986.8702 | 2607793.1272 | 1127985.4006 | 2607795.1501 | 1127981.9904
7 | 2607692.7299 | 1128138.4033 | 2607679.4569 | 1128131.0608 | 2607667.6893 | 1128121.3635 | 2607658.6156 | 1128107.5454 | 2607651.4058 | 1128087.9712 | 2607638.7949 | 1128041.2109
8 | 2607795.1501 | 1127981.9904 | 2607765.8396 | 1127965.9675 | 2607758.9993 | 1127960.1882
9 | 2607795.1501 | 1127981.9904 | 2607796.7948 | 1127979.1467 | 2607798.32 | 1127979.3599 | 2607800.2924 | 1127979.3068 | 2607802.204 | 1127978.6089 | 2607804.3323 | 1127977.1887 | 2607805.9214 | 1127975.6122 | 2607809.6437 | 1127968.8137 | 2607816.1545 | 1127956.416 | 2607817.9141 | 1127953.0867
10 | 2607923.3896 | 1128054.1687 | 2607876.4213 | 1128032.1971 | 2607804.2494 | 1127987.7938 | 2607795.1501 | 1127981.9904
11 | 2607638.7949 | 1128041.2109 | 2607637.6251 | 1128036.8735 | 2607631.0375 | 1128018.7342 | 2607628.4691 | 1128013.4363
12 | 2607923.3896 | 1128054.1687 | 2607927.7929 | 1128045.0811 | 2607928.8813 | 1128037.5455 | 2607924.7725 | 1128015.6628 | 2607919.9619 | 1127982.4848 | 2607915.3397 | 1127940.525 | 2607918.3123 | 1127935.6376 | 2607919.5725 | 1127932.3265 | 2607919.1293 | 1127929.4579 | 2607916.1645 | 1127928.3757 | 2607913.5544 | 1127927.0273 | 2607909.7808 | 1127925.7662 | 2607908.2523 | 1127922.1736
13 | 2607905.3997 | 1127893.0357 | 2607908.5308 | 1127915.3595 | 2607908.2523 | 1127922.1736
14 | 2607819.4164 | 1127950.2443 | 2607817.9141 | 1127953.0867
15 | 2607843.3753 | 1127901.9021 | 2607840.8856 | 1127908.7022 | 2607838.6837 | 1127913.4906 | 2607835.3106 | 1127920.1088
16 | 2607754.2568 | 1127956.1813 | 2607758.9993 | 1127960.1882
17 | 2607619.2701 | 1127996.1204 | 2607621.3472 | 1127998.7456 | 2607628.4691 | 1128013.4363
18 | 2607845.0902 | 1127817.5455 | 2607845.2312 | 1127818.764 | 2607846.644 | 1127834.4957 | 2607847.816 | 1127845.8138 | 2607849.1113 | 1127857.0098 | 2607849.4802 | 1127863.7247 | 2607849.6581 | 1127869.2054 | 2607849.4648 | 1127875.7305 | 2607848.77 | 1127882.7553 | 2607847.8855 | 1127887.5454 | 2607846.3209 | 1127894.0021 | 2607843.3753 | 1127901.9021 | 2607843.3753 | 1127901.9021
19 | 2607845.0902 | 1127817.5455 | 2607844.0577 | 1127808.6242 | 2607843.5755 | 1127800.1639 | 2607843.7091 | 1127792.149 | 2607844.3431 | 1127784.435 | 2607845.099 | 1127777.7883 | 2607846.8592 | 1127769.0863 | 2607848.0446 | 1127763.9853 | 2607849.0992 | 1127756.4604
20 | 2607754.2568 | 1127956.1813 | 2607743.128 | 1127946.7848 | 2607725.6758 | 1127923.0413
21 | 2607754.2568 | 1127956.1813 | 2607743.9497 | 1127979.2128 | 2607737.847 | 1127985.8861 | 2607729.5494 | 1127990.4397
22 | 2607535.2243 | 1128034.3962 | 2607530.485 | 1128039.108 | 2607525.306 | 1128044.4372
23 | 2607521.5829 | 1128048.2682 | 2607525.306 | 1128044.4372
24 | 2607535.2243 | 1128034.3962 | 2607539.5643 | 1128030.0815 | 2607541.7946 | 1128026.976
25 | 2607521.5829 | 1128048.2682 | 2607519.3212 | 1128051.4898
26 | 2607541.7946 | 1128026.976 | 2607545.2754 | 1128022.1292 | 2607547.8148 | 1128017.7332
27 | 2607519.3212 | 1128051.4898 | 2607517.8497 | 1128053.586
28 | 2607551.9425 | 1128011.6352 | 2607550.1396 | 1128013.7088 | 2607547.8148 | 1128017.7332
29 | 2607513.9884 | 1128059.0863 | 2607517.8497 | 1128053.586
30 | 2607513.9884 | 1128059.0863 | 2607524.5449 | 1128064.1463 | 2607534.4459 | 1128068.9617
31 | 2607511.6962 | 1128062.3518 | 2607513.9884 | 1128059.0863
32 | 2607552.0684 | 1128077.5014 | 2607545.6267 | 1128074.3995 | 2607534.4459 | 1128068.9617
33 | 2607511.6962 | 1128062.3518 | 2607519.9118 | 1128066.3416 | 2607525.0273 | 1128068.8365
34 | 2607561.1771 | 1128086.2099 | 2607550.0332 | 1128080.9526 | 2607539.4461 | 1128075.8037 | 2607529.8522 | 1128071.1896 | 2607525.0273 | 1128068.8365
35 | 2607568.6619 | 1127907.4689 | 2607565.486 | 1127908.7434 | 2607562.7719 | 1127910.4408 | 2607561.4527 | 1127911.8287
36 | 2607561.4527 | 1127911.8287 | 2607563.321 | 1127914.9993 | 2607563.7838 | 1127914.5441 | 2607565.202 | 1127914.0901 | 2607566.7504 | 1127914.2921 | 2607568.0518 | 1127914.7939 | 2607568.9676 | 1127915.6733 | 2607570.1355 | 1127918.2649 | 2607575.2664 | 1127930.9441 | 2607577.063 | 1127935.9154 | 2607581.9408 | 1127947.6383 | 2607582.8164 | 1127949.8182 | 2607584.7372 | 1127954.1116 | 2607586.9508 | 1127958.372 | 2607587.9319 | 1127960.0845
37 | 2607568.6619 | 1127907.4689 | 2607566.0255 | 1127902.4298 | 2607564.8722 | 1127900.4608
38 | 2607604.7978 | 1127986.5413 | 2607602.2367 | 1127982.9586 | 2607601.5682 | 1127981.5348 | 2607597.2236 | 1127974.815 | 2607594.0091 | 1127970.0198 | 2607592.2944 | 1127967.2607 | 2607589.4109 | 1127962.666 | 2607587.9319 | 1127960.0845
39 | 2607557.3226 | 1128005.447 | 2607551.9425 | 1128011.6352
40 | 2607557.3226 | 1128005.447 | 2607566.4774 | 1128000.699
41 | 2607566.4774 | 1128000.699 | 2607566.8618 | 1128000.4996
42 | 2607564.8722 | 1127900.4608 | 2607584.5539 | 1127890.9139 | 2607597.6916 | 1127883.6156 | 2607606.4817 | 1127878.0683 | 2607610.0157 | 1127876.169
43 | 2607640.5893 | 1127866.3607 | 2607624.2627 | 1127866.7516 | 2607616.8206 | 1127872.5118 | 2607610.0157 | 1127876.169
44 | 2607681.6257 | 1127816.1322 | 2607692.6297 | 1127814.7454 | 2607696.8372 | 1127814.2171 | 2607702.555 | 1127813.4907 | 2607734.943 | 1127809.3185 | 2607737.6511 | 1127812.4346
45 | 2607681.6257 | 1127816.1322 | 2607688.9241 | 1127832.8051 | 2607690.2243 | 1127836.2839
46 | 2607754.7448 | 1127869.3618 | 2607738.6359 | 1127813.5586 | 2607737.6511 | 1127812.4346
47 | 2607690.2243 | 1127836.2839 | 2607698.3415 | 1127858.0014
48 | 2607580.6158 | 1128091.2956 | 2607572.545 | 1128087.3614 | 2607552.0684 | 1128077.5014
49 | 2607754.7448 | 1127869.3618 | 2607771.0433 | 1127866.7702 | 2607772.8609 | 1127866.1407
50 | 2607772.8609 | 1127866.1407 | 2607774.6892 | 1127865.5075 | 2607775.6617 | 1127864.1748
51 | 2607604.7978 | 1127986.5413 | 2607603.6873 | 1127987.3959 | 2607600.5647 | 1127989.2818 | 2607597.0727 | 1127990.7448 | 2607591.0061 | 1127992.5046
52 | 2607604.7978 | 1127986.5413 | 2607607.1202 | 1127990.0236 | 2607609.3309 | 1127990.4488 | 2607611.1098 | 1127991.0958 | 2607613.387 | 1127993.8 | 2607616.801 | 1127999.1957 | 2607621.1371 | 1128006.5158 | 2607624.411 | 1128013.1343 | 2607627.8204 | 1128022.154 | 2607628.2007 | 1128023.1397
53 | 2607609.101 | 1127983.2673 | 2607604.7978 | 1127986.5413
54 | 2607588.3432 | 1127993.2771 | 2607586.9608 | 1127993.6781 | 2607579.038 | 1127995.8248 | 2607570.922 | 1127998.3938 | 2607566.8618 | 1128000.4996
55 | 2607706.5641 | 1127880.8582 | 2607701.9933 | 1127867.772 | 2607698.3415 | 1127858.0014
56 | 2607591.0061 | 1127992.5046 | 2607588.3432 | 1127993.2771
57 | 2607628.2007 | 1128023.1397 | 2607630.2318 | 1128028.4045 | 2607632.7177 | 1128036.6561 | 2607635.4183 | 1128045.7417 | 2607635.8638 | 1128047.5457
58 | 2607609.101 | 1127983.2673 | 2607604.4313 | 1127977.7476 | 2607599.2626 | 1127971.0523
59 | 2607609.101 | 1127983.2673 | 2607619.2701 | 1127996.1204
60 | 2607599.2626 | 1127971.0523 | 2607597.1947 | 1127968.3737
61 | 2607725.6438 | 1127922.9978 | 2607725.6758 | 1127923.0413
62 | 2607721.6557 | 1127916.4538 | 2607723.1231 | 1127919.5684 | 2607725.6438 | 1127922.9978
63 | 2607721.6557 | 1127916.4538 | 2607714.8411 | 1127901.9888
64 | 2607714.8411 | 1127901.9888 | 2607711.3743 | 1127894.6303 | 2607706.5641 | 1127880.8582

## bus_geodata
| x | y | coords
0 | 2607853.1223 | 1127805.6763
1 | 2607856.6144 | 1127842.1938
2 | 2607857.1248 | 1127847.3297
3 | 2607833.2879 | 1127945.4548
4 | 2607824.7504 | 1127940.1524
5 | 2607692.7299 | 1128138.4033
6 | 2607795.1501 | 1127981.9905
7 | 2607638.7949 | 1128041.2109
8 | 2607923.3896 | 1128054.1687
9 | 2607908.2523 | 1127922.1736
10 | 2607819.4164 | 1127950.2443
11 | 2607835.3106 | 1127920.1088
12 | 2607758.9993 | 1127960.1882
13 | 2607817.9141 | 1127953.0867
14 | 2607628.4691 | 1128013.4363
15 | 2607905.3997 | 1127893.0357
16 | 2607843.3753 | 1127901.9021
17 | 2607849.0992 | 1127756.4604
18 | 2607845.0902 | 1127817.5455
19 | 2607754.2568 | 1127956.1813
20 | 2607525.306 | 1128044.4372
21 | 2607535.2243 | 1128034.3962
22 | 2607521.5829 | 1128048.2682
23 | 2607541.7946 | 1128026.976
24 | 2607519.3212 | 1128051.4898
25 | 2607547.8148 | 1128017.7332
26 | 2607517.8497 | 1128053.586
27 | 2607513.9884 | 1128059.0863
28 | 2607534.4459 | 1128068.9617
29 | 2607511.6962 | 1128062.3518
30 | 2607525.0273 | 1128068.8365
31 | 2607561.4527 | 1127911.8287
32 | 2607568.6619 | 1127907.4689
33 | 2607587.9319 | 1127960.0845
34 | 2607557.3226 | 1128005.447
35 | 2607551.9425 | 1128011.6352
36 | 2607566.4774 | 1128000.699
37 | 2607564.8722 | 1127900.4608
38 | 2607610.0157 | 1127876.169
39 | 2607681.6257 | 1127816.1322
40 | 2607737.6511 | 1127812.4346
41 | 2607690.2243 | 1127836.2839
42 | 2607552.0684 | 1128077.5014
43 | 2607561.1771 | 1128086.2099
44 | 2607754.7448 | 1127869.3618
45 | 2607772.8609 | 1127866.1407
46 | 2607604.7978 | 1127986.5413
47 | 2607566.8618 | 1128000.4996
48 | 2607640.5893 | 1127866.3607
49 | 2607698.3415 | 1127858.0014
50 | 2607580.6158 | 1128091.2956
51 | 2607591.0061 | 1127992.5046
52 | 2607628.2007 | 1128023.1397
53 | 2607609.101 | 1127983.2673
54 | 2607588.3432 | 1127993.2771
55 | 2607635.8638 | 1128047.5457
56 | 2607599.2626 | 1127971.0523
57 | 2607619.2701 | 1127996.1204
58 | 2607597.1947 | 1127968.3737
59 | 2607775.6617 | 1127864.1748
60 | 2607729.5494 | 1127990.4397
61 | 2607725.6758 | 1127923.0413
62 | 2607725.6438 | 1127922.9978
63 | 2607721.6557 | 1127916.4538
64 | 2607714.8411 | 1127901.9888
65 | 2607706.5641 | 1127880.8582
66 | 2607754.2568 | 1127956.1813

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1