## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6254-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6254-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6254-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6254-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6254-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6254-6_0_4_node_85 | 0.4 | n |  | TRUE
6 | bus_LV_6254-6_0_4_node_93 | 0.4 | n |  | TRUE
7 | bus_LV_6254-6_0_4_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_6254-6_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6254-6_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6254-6_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6254-6_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6254-6_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6254-6_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6254-6_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_6254-6_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6254-6_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_6254-6_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_6254-6_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6254-6_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6254-6_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6254-6_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6254-6_0_4_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_6254-6_0_4_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_6254-6_0_4_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_6254-6_0_4_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_6254-6_0_4_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_6254-6_0_4_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_6254-6_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6254-6_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6254-6_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6254-6_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6254-6_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6254-6_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6254-6_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_6254-6_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_6254-6_0_4_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_6254-6_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_6254-6_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_6254-6_0_4_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_6254-6_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_6254-6_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6254-6_0_4_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_6254-6_0_4_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_6254-6_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_6254-6_0_4_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_6254-6_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6254-6_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_6254-6_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_6254-6_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6254-6_0_4_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_6254-6_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6254-6_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_6254-6_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_6254-6_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_6254-6_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_6254-6_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_6254-6_0_4_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_6254-6_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_6254-6_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6254-6_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6254-6_0_4_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_6254-6_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_6254-6_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_6254-6_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_6254-6_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_6254-6_0_4_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_6254-6_0_4_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_6254-6_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_6254-6_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_6254-6_0_4_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_6254-6_0_4_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_6254-6_0_4_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_6254-6_0_4_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_6254-6_0_4_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_6254-6_0_4_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_6254-6_0_4_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_6254-6_0_4_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_6254-6_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_6254-6_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_6254-6_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_6254-6_0_4_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_6254-6_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_6254-6_0_4_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_6254-6_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_6254-6_0_4_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_6254-6_0_4_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_6254-6_0_4_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_6254-6_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_6254-6_0_4_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_6254-6_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_6254-6_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_MV_273_0_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6254-6_0_4_load_0 | 0 | 0.0099828 | 0.0025019 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6254-6_0_4_load_1 | 1 | 0.0066156 | 0.001658 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6254-6_0_4_load_3 | 3 | 0.0048999 | 0.001228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6254-6_0_4_load_85 | 5 | 0.0075136 | 0.0018831 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6254-6_0_4_load_93 | 6 | 0.0045271 | 0.0011346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6254-6_0_4_load_86 | 7 | 0.0053006 | 0.0013285 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6254-6_0_4_load_5 | 8 | 0.0051434 | 0.0012891 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6254-6_0_4_load_9 | 12 | 0.0086623 | 0.002171 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6254-6_0_4_load_11 | 13 | 0.0074349 | 0.0018634 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6254-6_0_4_load_16 | 14 | 0.0041345 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6254-6_0_4_load_10 | 15 | 0.0070185 | 0.001759 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6254-6_0_4_load_28 | 16 | 0.0032445 | 0.00081315 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6254-6_0_4_load_13 | 19 | 0.009451 | 0.0023687 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6254-6_0_4_load_14 | 20 | 0.030253 | 0.0075821 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6254-6_0_4_load_15 | 21 | 0.0067785 | 0.0016989 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6254-6_0_4_load_65 | 23 | 0.004501 | 0.0011281 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6254-6_0_4_load_72 | 24 | 0.0078201 | 0.0019599 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6254-6_0_4_load_74 | 25 | 0.024877 | 0.0062349 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6254-6_0_4_load_66 | 26 | 0.014488 | 0.003631 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6254-6_0_4_load_17 | 29 | 0.03669 | 0.0091955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6254-6_0_4_load_18 | 30 | 0.0065156 | 0.001633 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6254-6_0_4_load_20 | 32 | 0.0059912 | 0.0015015 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6254-6_0_4_load_21 | 33 | 0.012395 | 0.0031064 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6254-6_0_4_load_22 | 34 | 0.0068666 | 0.0017209 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6254-6_0_4_load_23 | 35 | 0.011018 | 0.0027613 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6254-6_0_4_load_75 | 36 | 0.019476 | 0.0048812 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6254-6_0_4_load_24 | 37 | 0.0064163 | 0.0016081 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6254-6_0_4_load_76 | 39 | 0.0077353 | 0.0019387 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6254-6_0_4_load_25 | 40 | 0.011754 | 0.0029457 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6254-6_0_4_load_27 | 41 | 0.0070025 | 0.001755 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6254-6_0_4_load_91 | 42 | 0.003822 | 0.00095789 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6254-6_0_4_load_36 | 44 | 0.004119 | 0.0010323 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6254-6_0_4_load_33 | 46 | 0.0057747 | 0.0014473 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6254-6_0_4_load_34 | 47 | 0.004411 | 0.0011055 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6254-6_0_4_load_39 | 48 | 0.0035778 | 0.00089667 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6254-6_0_4_load_40 | 49 | 0.003609 | 0.00090449 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6254-6_0_4_load_84 | 50 | 0.0017128 | 0.00042927 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6254-6_0_4_load_37 | 53 | 0.0054142 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6254-6_0_4_load_38 | 54 | 0.0064735 | 0.0016224 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6254-6_0_4_load_68 | 57 | 0.0039879 | 0.00099946 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6254-6_0_4_load_57 | 59 | 0.0020024 | 0.00050186 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6254-6_0_4_load_61 | 60 | 0.018367 | 0.0046032 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6254-6_0_4_load_62 | 61 | 0.0033834 | 0.00084795 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6254-6_0_4_load_49 | 64 | 0.0023544 | 0.00059006 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6254-6_0_4_load_45 | 65 | 0.0034736 | 0.00087058 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6254-6_0_4_load_81 | 66 | 0.0050888 | 0.0012754 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6254-6_0_4_load_44 | 67 | 0.0024223 | 0.00060708 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6254-6_0_4_load_50 | 69 | 0.0028757 | 0.00072071 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6254-6_0_4_load_82 | 70 | 0.0027141 | 0.00068023 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6254-6_0_4_load_47 | 72 | 0.0090259 | 0.0022621 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6254-6_0_4_load_51 | 75 | 0.0056959 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6254-6_0_4_load_52 | 76 | 0.0020809 | 0.00052153 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6254-6_0_4_load_53 | 77 | 0.0022774 | 0.00057076 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6254-6_0_4_load_79 | 78 | 0.011187 | 0.0028036 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6254-6_0_4_load_78 | 79 | 0.0045455 | 0.0011392 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6254-6_0_4_load_95 | 81 | 0.0055726 | 0.0013966 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6254-6_0_4_load_92 | 83 | 0.010344 | 0.0025925 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6254-6_0_4_load_80 | 84 | 0.0056459 | 0.001415 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6254-6_0_4_load_63 | 85 | 0.01069 | 0.0026793 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6254-6_0_4_load_69 | 87 | 0.0089884 | 0.0022527 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6254-6_0_4_load_77 | 88 | 0.011477 | 0.0028764 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6254-6_0_4_load_87 | 89 | 0.008107 | 0.0020318 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6254-6_0_4_load_88 | 90 | 0.0018209 | 0.00045635 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6254-6_0_4_load_90 | 91 | 0.0048907 | 0.0012257 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6254-6_0_4_line_0 |  | 0 | 1 | 0.031584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6254-6_0_4_line_1 |  | 0 | 2 | 0.018388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6254-6_0_4_line_2 |  | 2 | 3 | 0.0051919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6254-6_0_4_line_3 |  | 2 | 4 | 0.078018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6254-6_0_4_line_4 |  | 3 | 5 | 0.036134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6254-6_0_4_line_5 |  | 4 | 6 | 0.037303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6254-6_0_4_line_6 |  | 5 | 7 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6254-6_0_4_line_7 |  | 7 | 41 | 0.013587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6254-6_0_4_line_8 |  | 8 | 9 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6254-6_0_4_line_9 |  | 9 | 10 | 0.031474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6254-6_0_4_line_10 |  | 10 | 14 | 0.029204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6254-6_0_4_line_11 |  | 10 | 15 | 0.006812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6254-6_0_4_line_12 |  | 11 | 12 | 0.010423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6254-6_0_4_line_13 |  | 11 | 13 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6254-6_0_4_line_14 |  | 13 | 16 | 0.015504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6254-6_0_4_line_15 |  | 14 | 17 | 0.021227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6254-6_0_4_line_16 |  | 16 | 22 | 0.011315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6254-6_0_4_line_17 |  | 17 | 28 | 0.01844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6254-6_0_4_line_18 |  | 18 | 19 | 0.016255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6254-6_0_4_line_19 |  | 18 | 20 | 0.020633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6254-6_0_4_line_20 |  | 18 | 21 | 0.046499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6254-6_0_4_line_21 |  | 19 | 23 | 0.02061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6254-6_0_4_line_22 |  | 20 | 24 | 0.021386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6254-6_0_4_line_23 |  | 21 | 25 | 0.045793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6254-6_0_4_line_24 |  | 22 | 44 | 0.01023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6254-6_0_4_line_25 |  | 23 | 26 | 0.0076229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6254-6_0_4_line_26 |  | 24 | 27 | 0.016751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6254-6_0_4_line_27 |  | 26 | 45 | 0.0085088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6254-6_0_4_line_28 |  | 27 | 38 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6254-6_0_4_line_29 |  | 28 | 48 | 0.0093665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6254-6_0_4_line_30 |  | 29 | 30 | 0.036564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6254-6_0_4_line_31 |  | 29 | 31 | 0.022114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6254-6_0_4_line_32 |  | 30 | 32 | 0.045411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6254-6_0_4_line_33 |  | 31 | 33 | 0.01727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6254-6_0_4_line_34 |  | 31 | 34 | 0.025002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6254-6_0_4_line_35 |  | 32 | 35 | 0.028201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6254-6_0_4_line_36 |  | 34 | 36 | 0.0055048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6254-6_0_4_line_37 |  | 35 | 37 | 0.025432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6254-6_0_4_line_38 |  | 36 | 39 | 0.044765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6254-6_0_4_line_39 |  | 37 | 40 | 0.01823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6254-6_0_4_line_40 |  | 38 | 42 | 0.0365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6254-6_0_4_line_41 |  | 38 | 40 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6254-6_0_4_line_42 |  | 40 | 41 | 0.035276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6254-6_0_4_line_43 |  | 42 | 43 | 0.01008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6254-6_0_4_line_44 |  | 43 | 89 | 0.014178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6254-6_0_4_line_45 |  | 43 | 82 | 0.007966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6254-6_0_4_line_46 |  | 44 | 45 | 0.014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6254-6_0_4_line_47 |  | 45 | 57 | 0.0091353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6254-6_0_4_line_48 |  | 46 | 47 | 0.0089675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6254-6_0_4_line_49 |  | 47 | 52 | 0.0080697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6254-6_0_4_line_50 |  | 48 | 49 | 0.020167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6254-6_0_4_line_51 |  | 49 | 62 | 0.01897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6254-6_0_4_line_52 |  | 50 | 51 | 0.013004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6254-6_0_4_line_53 |  | 51 | 66 | 0.014268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6254-6_0_4_line_54 |  | 51 | 62 | 0.003899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6254-6_0_4_line_55 |  | 52 | 53 | 0.01005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6254-6_0_4_line_56 |  | 52 | 54 | 0.015802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6254-6_0_4_line_57 |  | 53 | 55 | 0.014576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6254-6_0_4_line_58 |  | 54 | 56 | 0.0036111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6254-6_0_4_line_59 |  | 55 | 58 | 0.011095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6254-6_0_4_line_60 |  | 55 | 59 | 0.004086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6254-6_0_4_line_61 |  | 56 | 60 | 0.01686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6254-6_0_4_line_62 |  | 56 | 61 | 0.0094282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6254-6_0_4_line_63 |  | 57 | 86 | 0.0090246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6254-6_0_4_line_64 |  | 58 | 74 | 0.003464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6254-6_0_4_line_65 |  | 59 | 77 | 0.0080982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6254-6_0_4_line_66 |  | 60 | 85 | 0.0052532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_6254-6_0_4_line_67 |  | 61 | 84 | 0.00088594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6254-6_0_4_line_68 |  | 62 | 63 | 0.012587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6254-6_0_4_line_69 |  | 63 | 64 | 0.0068954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6254-6_0_4_line_70 |  | 63 | 65 | 0.0047487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6254-6_0_4_line_71 |  | 64 | 69 | 0.0056117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6254-6_0_4_line_72 |  | 66 | 70 | 0.0031946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6254-6_0_4_line_73 |  | 67 | 68 | 0.0094032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6254-6_0_4_line_74 |  | 68 | 71 | 0.003987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6254-6_0_4_line_75 |  | 69 | 75 | 0.014421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6254-6_0_4_line_76 |  | 70 | 71 | 0.015283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6254-6_0_4_line_77 |  | 72 | 73 | 0.02222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6254-6_0_4_line_78 |  | 73 | 74 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6254-6_0_4_line_79 |  | 74 | 78 | 0.010753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6254-6_0_4_line_80 |  | 75 | 76 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6254-6_0_4_line_81 |  | 76 | 77 | 0.0038582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6254-6_0_4_line_82 |  | 78 | 79 | 0.014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6254-6_0_4_line_83 |  | 79 | 88 | 0.0073149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6254-6_0_4_line_84 |  | 80 | 81 | 0.011612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6254-6_0_4_line_85 |  | 80 | 82 | 0.012624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6254-6_0_4_line_86 |  | 82 | 83 | 0.031622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6254-6_0_4_line_87 |  | 85 | 86 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_6254-6_0_4_line_88 |  | 86 | 87 | 0.012409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6254-6_0_4_line_89 |  | 89 | 90 | 0.050283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6254-6_0_4_line_90 |  | 90 | 91 | 0.020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6254-6_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 92 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2607592.9023 | 1127791.7609 | 2607581.6647 | 1127785.5478 | 2607566.8171 | 1127779.7933 | 2607564.1383 | 1127778.913
1 | 2607608.7043 | 1127801.0891 | 2607606.0411 | 1127798.9847 | 2607596.0934 | 1127793.5252 | 2607592.9023 | 1127791.7609
2 | 2607608.7043 | 1127801.0891 | 2607606.595 | 1127805.8332
3 | 2607608.7043 | 1127801.0891 | 2607617.5475 | 1127790.2059 | 2607626.2873 | 1127775.7098 | 2607638.1861 | 1127761.262 | 2607651.3873 | 1127771.1612 | 2607655.4109 | 1127775.913 | 2607659.0422 | 1127780.2085
4 | 2607606.595 | 1127805.8332 | 2607589.4657 | 1127825.7994 | 2607582.9218 | 1127833.1311
5 | 2607659.0422 | 1127780.2085 | 2607666.0431 | 1127788.4769 | 2607677.9995 | 1127807.857 | 2607679.4836 | 1127811.2438
6 | 2607582.9218 | 1127833.1311 | 2607579.5051 | 1127836.9591 | 2607575.8353 | 1127840.2739
7 | 2607575.8353 | 1127840.2739 | 2607565.7523 | 1127849.3814 | 2607565.7523 | 1127849.3814
8 | 2607403.1613 | 1127925.608 | 2607403.2816 | 1127921.684 | 2607405.6356 | 1127918.3075 | 2607408.5956 | 1127917.1105 | 2607413.3495 | 1127916.9161 | 2607421.198 | 1127918.9823
9 | 2607421.5754 | 1127950.7204 | 2607412.5961 | 1127940.9381 | 2607404.6808 | 1127930.5011 | 2607403.1613 | 1127925.608
10 | 2607421.5754 | 1127950.7204 | 2607429.8385 | 1127960.1462 | 2607434.3988 | 1127967.1329 | 2607437.2413 | 1127973.8396 | 2607437.5613 | 1127974.8305
11 | 2607421.5754 | 1127950.7204 | 2607423.8184 | 1127949.9339 | 2607428.0465 | 1127951.273
12 | 2607455.2503 | 1127939.3337 | 2607460.6539 | 1127930.7694 | 2607460.8159 | 1127930.5216
13 | 2607455.2503 | 1127939.3337 | 2607459.0536 | 1127941.6061 | 2607468.9122 | 1127946.3329
14 | 2607468.9122 | 1127946.3329 | 2607473.8606 | 1127948.7055 | 2607483.5857 | 1127951.1025
15 | 2607441.2443 | 1127995.5218 | 2607441.4687 | 1127994.6661 | 2607441.4041 | 1127990.8197 | 2607440.901 | 1127986.3835 | 2607439.1985 | 1127979.9005 | 2607437.5613 | 1127974.8305
16 | 2607494.7892 | 1127952.4663 | 2607486.4614 | 1127951.8113 | 2607483.5857 | 1127951.1025
17 | 2607452.6615 | 1128008.7755 | 2607449.9222 | 1128005.9152 | 2607448.0218 | 1128003.7674 | 2607446.5143 | 1128001.6756 | 2607445.3079 | 1127999.0951 | 2607444.9716 | 1127996.8825 | 2607441.2443 | 1127995.5218
18 | 2607475.0025 | 1127909.699 | 2607479.2744 | 1127913.0836 | 2607487.9018 | 1127919.5888
19 | 2607475.0025 | 1127909.699 | 2607482.6017 | 1127901.3486 | 2607490.2168 | 1127895.9359
20 | 2607475.0025 | 1127909.699 | 2607470.4535 | 1127906.0916 | 2607468.3368 | 1127904.4216 | 2607447.9631 | 1127887.833 | 2607439.1095 | 1127880.1473
21 | 2607487.9018 | 1127919.5888 | 2607491.0437 | 1127921.9579 | 2607502.6716 | 1127926.8302 | 2607506.1219 | 1127928.9851
22 | 2607506.263 | 1127881.8347 | 2607501.4191 | 1127886.5312 | 2607492.7344 | 1127894.1465 | 2607490.2168 | 1127895.9359
23 | 2607439.1095 | 1127880.1473 | 2607429.5224 | 1127871.825 | 2607404.9508 | 1127854.0753 | 2607402.5395 | 1127852.6801
24 | 2607494.7892 | 1127952.4663 | 2607503.4171 | 1127947.0965 | 2607503.4779 | 1127947.0662
25 | 2607512.5874 | 1127933.0232 | 2607506.1219 | 1127928.9851
26 | 2607517.258 | 1127869.2311 | 2607509.9043 | 1127878.3043 | 2607506.263 | 1127881.8347
27 | 2607516.5691 | 1127940.5428 | 2607512.5874 | 1127933.0232
28 | 2607517.258 | 1127869.2311 | 2607529.3571 | 1127873.1369
29 | 2607452.6615 | 1128008.7755 | 2607455.5926 | 1128012.2585 | 2607458.6989 | 1128015.9366
30 | 2607455.1769 | 1127812.8401 | 2607455.3285 | 1127806.0355 | 2607457.72 | 1127790.9644 | 2607467.595 | 1127780.3491 | 2607467.595 | 1127780.3491
31 | 2607454.6845 | 1127834.9488 | 2607455.1769 | 1127812.8401
32 | 2607467.595 | 1127780.3491 | 2607486.3751 | 1127777.315 | 2607499.2819 | 1127776.2192 | 2607504.277 | 1127786.7972 | 2607504.4986 | 1127788.5187
33 | 2607454.6845 | 1127834.9488 | 2607463.656 | 1127844.8757 | 2607466.5893 | 1127847.4296
34 | 2607454.6845 | 1127834.9488 | 2607437.9314 | 1127816.3902
35 | 2607516.3141 | 1127813.0474 | 2607510.8559 | 1127806.2815 | 2607505.956 | 1127799.839 | 2607504.4986 | 1127788.5187
36 | 2607434.2428 | 1127812.304 | 2607437.9314 | 1127816.3902
37 | 2607516.3141 | 1127813.0474 | 2607517.8488 | 1127814.9499 | 2607524.4294 | 1127820.5496 | 2607525.5391 | 1127832.8458 | 2607526.1258 | 1127834.7582
38 | 2607434.2428 | 1127812.304 | 2607410.4115 | 1127785.9043 | 2607404.8651 | 1127778.5642
39 | 2607530.6001 | 1127852.3394 | 2607530.4273 | 1127848.7819 | 2607529.5141 | 1127845.8015 | 2607526.1258 | 1127834.7582
40 | 2607529.3571 | 1127873.1369 | 2607537.8057 | 1127875.8708 | 2607549.5793 | 1127881.2436 | 2607559.2828 | 1127890.9381 | 2607559.7699 | 1127891.768
41 | 2607529.3571 | 1127873.1369 | 2607531.1108 | 1127863.0341 | 2607530.6001 | 1127852.3394
42 | 2607530.6001 | 1127852.3394 | 2607565.7523 | 1127849.3814
43 | 2607564.8722 | 1127900.4608 | 2607559.7699 | 1127891.768
44 | 2607564.8722 | 1127900.4608 | 2607577.6286 | 1127894.2731
45 | 2607568.6619 | 1127907.4689 | 2607566.0255 | 1127902.4298 | 2607564.8722 | 1127900.4608
46 | 2607516.5691 | 1127940.5428 | 2607503.4779 | 1127947.0662
47 | 2607516.5691 | 1127940.5428 | 2607525.6888 | 1127940.0098
48 | 2607494.9753 | 1127970.2863 | 2607494.9753 | 1127970.2863 | 2607501.3302 | 1127976.6134
49 | 2607507.0488 | 1127982.307 | 2607501.3302 | 1127976.6134
50 | 2607458.6989 | 1128015.9366 | 2607460.6394 | 1128018.2343 | 2607465.8706 | 1128024.5882 | 2607470.4791 | 1128029.8742 | 2607471.8163 | 1128031.2465
51 | 2607485.7858 | 1128044.0555 | 2607481.6064 | 1128040.6598 | 2607475.0882 | 1128034.6044 | 2607471.8163 | 1128031.2465
52 | 2607482.9626 | 1128046.7533 | 2607475.9432 | 1128041.053 | 2607473.0556 | 1128038.3409
53 | 2607482.9626 | 1128046.7533 | 2607485.78 | 1128048.7577 | 2607491.7387 | 1128052.4224 | 2607495.1362 | 1128054.1574
54 | 2607482.9626 | 1128046.7533 | 2607485.7858 | 1128044.0555
55 | 2607507.0488 | 1127982.307 | 2607512.4584 | 1127987.6941 | 2607514.58 | 1127988.8496
56 | 2607507.0488 | 1127982.307 | 2607514.2886 | 1127978.0583 | 2607520.3848 | 1127973.8509
57 | 2607527.48 | 1127995.6276 | 2607523.6686 | 1127993.7998 | 2607514.58 | 1127988.8496
58 | 2607523.3567 | 1127971.7998 | 2607520.3848 | 1127973.8509
59 | 2607527.48 | 1127995.6276 | 2607531.6238 | 1127996.6665 | 2607535.6983 | 1127997.5387 | 2607537.9422 | 1127996.0629
60 | 2607527.48 | 1127995.6276 | 2607524.6831 | 1127998.6062
61 | 2607523.3567 | 1127971.7998 | 2607525.5838 | 1127965.166 | 2607529.1084 | 1127955.9547
62 | 2607523.3567 | 1127971.7998 | 2607529.0011 | 1127979.3517
63 | 2607534.4238 | 1127937.8636 | 2607527.1867 | 1127939.9223 | 2607525.6888 | 1127940.0098
64 | 2607541.3777 | 1127996.5785 | 2607537.9422 | 1127996.0629
65 | 2607519.1396 | 1128004.5096 | 2607524.6831 | 1127998.6062
66 | 2607529.1084 | 1127955.9547 | 2607532.4037 | 1127951.8635
67 | 2607529.5315 | 1127980.0614 | 2607529.0011 | 1127979.3517
68 | 2607497.7242 | 1128040.4795 | 2607493.3007 | 1128041.4523 | 2607486.7191 | 1128043.1673 | 2607485.7858 | 1128044.0555
69 | 2607497.7242 | 1128040.4795 | 2607499.7311 | 1128037.436 | 2607500.3469 | 1128034.2451
70 | 2607497.7242 | 1128040.4795 | 2607499.4505 | 1128040.0925 | 2607502.4056 | 1128040.474
71 | 2607500.3469 | 1128034.2451 | 2607500.6383 | 1128032.7348 | 2607503.8187 | 1128030.1893
72 | 2607495.1362 | 1128054.1574 | 2607497.9814 | 1128055.6103
73 | 2607513.9884 | 1128059.0863 | 2607505.4449 | 1128055.1585
74 | 2607511.6962 | 1128062.3518 | 2607513.9884 | 1128059.0863
75 | 2607503.8187 | 1128030.1893 | 2607505.2424 | 1128029.0498 | 2607507.9462 | 1128023.1169 | 2607511.8152 | 1128018.4295
76 | 2607511.6962 | 1128062.3518 | 2607501.0782 | 1128057.1917 | 2607497.9814 | 1128055.6103
77 | 2607557.3226 | 1128005.447 | 2607550.1396 | 1128013.7088 | 2607545.2754 | 1128022.1292 | 2607544.3723 | 1128023.3866
78 | 2607541.3777 | 1127996.5785 | 2607550.3155 | 1128002.2813 | 2607557.3226 | 1128005.447
79 | 2607541.3777 | 1127996.5785 | 2607543.8792 | 1127986.121
80 | 2607511.8152 | 1128018.4295 | 2607513.1159 | 1128016.8536 | 2607518.5145 | 1128012.3803 | 2607514.697 | 1128009.2407 | 2607516.4985 | 1128007.3222
81 | 2607519.1396 | 1128004.5096 | 2607516.4985 | 1128007.3222
82 | 2607543.8792 | 1127986.121 | 2607541.1115 | 1127981.3263 | 2607545.3726 | 1127974.695 | 2607546.2478 | 1127973.4794
83 | 2607549.7197 | 1127967.1524 | 2607549.6341 | 1127967.6969 | 2607548.915 | 1127969.7748 | 2607546.2478 | 1127973.4794
84 | 2607560.0752 | 1127898.1426 | 2607561.5437 | 1127900.59 | 2607562.3119 | 1127902.3919 | 2607562.0866 | 1127903.9146 | 2607561.3757 | 1127905.6034 | 2607559.9556 | 1127907.5581 | 2607559.3152 | 1127908.3466
85 | 2607568.6619 | 1127907.4689 | 2607565.486 | 1127908.7434 | 2607562.7719 | 1127910.4408 | 2607561.4527 | 1127911.8287 | 2607559.3152 | 1127908.3466
86 | 2607568.6619 | 1127907.4689 | 2607571.0591 | 1127912.83 | 2607573.5407 | 1127918.3914 | 2607581.0252 | 1127936.57
87 | 2607534.4238 | 1127937.8636 | 2607536.5238 | 1127946.7483 | 2607532.4037 | 1127951.8635
88 | 2607534.4238 | 1127937.8636 | 2607541.7098 | 1127946.1099 | 2607542.6319 | 1127947.1701
89 | 2607577.6286 | 1127894.2731 | 2607584.5539 | 1127890.9139 | 2607597.6916 | 1127883.6156 | 2607606.4817 | 1127878.0683 | 2607616.8206 | 1127872.5118 | 2607621.1115 | 1127869.1907
90 | 2607640.5893 | 1127866.3607 | 2607624.2627 | 1127866.7516 | 2607621.1115 | 1127869.1907

## bus_geodata
| x | y | coords
0 | 2607592.9023 | 1127791.7609
1 | 2607564.1383 | 1127778.913
2 | 2607608.7043 | 1127801.0891
3 | 2607606.595 | 1127805.8332
4 | 2607659.0422 | 1127780.2085
5 | 2607582.9218 | 1127833.1311
6 | 2607679.4836 | 1127811.2438
7 | 2607575.8353 | 1127840.2739
8 | 2607421.198 | 1127918.9823
9 | 2607403.1613 | 1127925.608
10 | 2607421.5754 | 1127950.7204
11 | 2607455.2503 | 1127939.3337
12 | 2607460.8159 | 1127930.5216
13 | 2607468.9122 | 1127946.3329
14 | 2607437.5613 | 1127974.8305
15 | 2607428.0465 | 1127951.273
16 | 2607483.5857 | 1127951.1025
17 | 2607441.2443 | 1127995.5218
18 | 2607475.0025 | 1127909.699
19 | 2607487.9018 | 1127919.5888
20 | 2607490.2168 | 1127895.9359
21 | 2607439.1095 | 1127880.1473
22 | 2607494.7892 | 1127952.4663
23 | 2607506.1219 | 1127928.9851
24 | 2607506.263 | 1127881.8347
25 | 2607402.5394 | 1127852.6801
26 | 2607512.5874 | 1127933.0232
27 | 2607517.258 | 1127869.2311
28 | 2607452.6615 | 1128008.7755
29 | 2607455.1769 | 1127812.8401
30 | 2607467.595 | 1127780.3491
31 | 2607454.6845 | 1127834.9488
32 | 2607504.4986 | 1127788.5187
33 | 2607466.5893 | 1127847.4296
34 | 2607437.9314 | 1127816.3902
35 | 2607516.3141 | 1127813.0474
36 | 2607434.2428 | 1127812.304
37 | 2607526.1258 | 1127834.7582
38 | 2607529.3571 | 1127873.1369
39 | 2607404.8651 | 1127778.5642
40 | 2607530.6001 | 1127852.3394
41 | 2607565.7523 | 1127849.3814
42 | 2607559.7699 | 1127891.768
43 | 2607564.8722 | 1127900.4608
44 | 2607503.4779 | 1127947.0662
45 | 2607516.5691 | 1127940.5428
46 | 2607494.9753 | 1127970.2863
47 | 2607501.3302 | 1127976.6134
48 | 2607458.6989 | 1128015.9366
49 | 2607471.8163 | 1128031.2465
50 | 2607473.0556 | 1128038.3409
51 | 2607482.9626 | 1128046.7533
52 | 2607507.0488 | 1127982.307
53 | 2607514.58 | 1127988.8496
54 | 2607520.3848 | 1127973.8509
55 | 2607527.48 | 1127995.6276
56 | 2607523.3567 | 1127971.7998
57 | 2607525.6888 | 1127940.0098
58 | 2607537.9422 | 1127996.0629
59 | 2607524.6831 | 1127998.6062
60 | 2607529.1084 | 1127955.9547
61 | 2607529.0011 | 1127979.3517
62 | 2607485.7858 | 1128044.0555
63 | 2607497.7242 | 1128040.4795
64 | 2607500.3469 | 1128034.2451
65 | 2607502.4056 | 1128040.474
66 | 2607495.1363 | 1128054.1574
67 | 2607505.4449 | 1128055.1585
68 | 2607513.9884 | 1128059.0863
69 | 2607503.8187 | 1128030.1893
70 | 2607497.9814 | 1128055.6103
71 | 2607511.6962 | 1128062.3518
72 | 2607544.3723 | 1128023.3866
73 | 2607557.3226 | 1128005.447
74 | 2607541.3777 | 1127996.5785
75 | 2607511.8152 | 1128018.4295
76 | 2607516.4985 | 1128007.3222
77 | 2607519.1396 | 1128004.5096
78 | 2607543.8792 | 1127986.121
79 | 2607546.2478 | 1127973.4794
80 | 2607559.3152 | 1127908.3466
81 | 2607560.0752 | 1127898.1426
82 | 2607568.6619 | 1127907.4689
83 | 2607581.0252 | 1127936.57
84 | 2607529.5315 | 1127980.0614
85 | 2607532.4037 | 1127951.8635
86 | 2607534.4238 | 1127937.8636
87 | 2607542.6319 | 1127947.1701
88 | 2607549.7197 | 1127967.1524
89 | 2607577.6286 | 1127894.2731
90 | 2607621.1115 | 1127869.1907
91 | 2607640.5893 | 1127866.3607
92 | 2607475.0025 | 1127909.699

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1