## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6254-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6254-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6254-7_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6254-7_0_6_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_6254-7_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6254-7_0_6_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_6254-7_0_6_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_6254-7_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6254-7_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6254-7_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6254-7_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6254-7_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6254-7_0_6_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_6254-7_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6254-7_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6254-7_0_6_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_6254-7_0_6_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_6254-7_0_6_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6254-7_0_6_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6254-7_0_6_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_6254-7_0_6_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6254-7_0_6_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_6254-7_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6254-7_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6254-7_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6254-7_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6254-7_0_6_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_6254-7_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6254-7_0_6_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_6254-7_0_6_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_6254-7_0_6_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_6254-7_0_6_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6254-7_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_6254-7_0_6_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_6254-7_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6254-7_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_6254-7_0_6_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6254-7_0_6_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_6254-7_0_6_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_6254-7_0_6_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_6254-7_0_6_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6254-7_0_6_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6254-7_0_6_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6254-7_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6254-7_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_6254-7_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6254-7_0_6_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6254-7_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_6254-7_0_6_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_6254-7_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_6254-7_0_6_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_6254-7_0_6_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_6254-7_0_6_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_6254-7_0_6_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_6254-7_0_6_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_6254-7_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_6254-7_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_6254-7_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6254-7_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6254-7_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_6254-7_0_6_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_6254-7_0_6_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_6254-7_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_6254-7_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6254-7_0_6_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_6254-7_0_6_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_6254-7_0_6_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_6254-7_0_6_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6254-7_0_6_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_6254-7_0_6_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_6254-7_0_6_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_6254-7_0_6_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6254-7_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6254-7_0_6_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6254-7_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6254-7_0_6_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_6254-7_0_6_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_6254-7_0_6_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_6254-7_0_6_node_81 | 0.4 | n |  | TRUE
79 | bus_MV_272_1_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6254-7_0_6_load_0 | 0 | 0.012916 | 0.0032372 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6254-7_0_6_load_3 | 2 | 0.01317 | 0.0033007 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6254-7_0_6_load_18 | 3 | 0.013024 | 0.003264 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6254-7_0_6_load_4 | 4 | 0.0097654 | 0.0024474 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6254-7_0_6_load_11 | 5 | 0.0045508 | 0.0011405 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6254-7_0_6_load_19 | 6 | 0.0075616 | 0.0018951 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6254-7_0_6_load_5 | 8 | 0.013673 | 0.0034269 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6254-7_0_6_load_6 | 9 | 0.0087286 | 0.0021876 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6254-7_0_6_load_7 | 10 | 0.0075291 | 0.001887 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6254-7_0_6_load_8 | 11 | 0.0078752 | 0.0019737 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6254-7_0_6_load_12 | 14 | 0.009295 | 0.0023296 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6254-7_0_6_load_21 | 16 | 0.0044066 | 0.0011044 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6254-7_0_6_load_26 | 17 | 0.013096 | 0.003282 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6254-7_0_6_load_16 | 18 | 0.0082077 | 0.0020571 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6254-7_0_6_load_23 | 20 | 0.0096417 | 0.0024164 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6254-7_0_6_load_24 | 21 | 0.0044189 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6254-7_0_6_load_14 | 22 | 0.0061314 | 0.0015367 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6254-7_0_6_load_13 | 23 | 0.0063118 | 0.0015819 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6254-7_0_6_load_15 | 24 | 0.0035019 | 0.00087765 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6254-7_0_6_load_17 | 25 | 0.007487 | 0.0018764 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6254-7_0_6_load_80 | 26 | 0.0069805 | 0.0017495 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6254-7_0_6_load_20 | 27 | 0.0059396 | 0.0014886 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6254-7_0_6_load_45 | 28 | 0.0020342 | 0.00050982 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6254-7_0_6_load_50 | 29 | 0.0030453 | 0.00076323 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6254-7_0_6_load_75 | 30 | 0.008267 | 0.0020719 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6254-7_0_6_load_27 | 32 | 0.0022695 | 0.00056879 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6254-7_0_6_load_28 | 33 | 0.00454 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6254-7_0_6_load_29 | 34 | 0.0031496 | 0.00078937 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6254-7_0_6_load_30 | 35 | 0.013258 | 0.0033227 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6254-7_0_6_load_31 | 36 | 0.0039584 | 0.00099207 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6254-7_0_6_load_43 | 37 | 0.0056594 | 0.0014184 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6254-7_0_6_load_39 | 38 | 0.0085616 | 0.0021457 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6254-7_0_6_load_44 | 39 | 0.0025834 | 0.00064746 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6254-7_0_6_load_32 | 40 | 0.0067701 | 0.0016967 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6254-7_0_6_load_33 | 41 | 0.004252 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6254-7_0_6_load_37 | 44 | 0.010381 | 0.0026017 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6254-7_0_6_load_35 | 45 | 0.00412 | 0.0010326 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6254-7_0_6_load_42 | 47 | 0.0081009 | 0.0020303 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6254-7_0_6_load_48 | 49 | 0.074062 | 0.018562 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6254-7_0_6_load_74 | 50 | 0.0092498 | 0.0023182 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6254-7_0_6_load_59 | 51 | 0.0072219 | 0.00181 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6254-7_0_6_load_72 | 52 | 0.0063322 | 0.001587 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6254-7_0_6_load_76 | 54 | 0.0090669 | 0.0022724 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6254-7_0_6_load_46 | 55 | 0.0013269 | 0.00033255 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6254-7_0_6_load_54 | 57 | 0.0036561 | 0.0009163 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6254-7_0_6_load_52 | 58 | 0.0020409 | 0.00051149 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6254-7_0_6_load_51 | 59 | 0.0041308 | 0.0010353 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6254-7_0_6_load_55 | 60 | 0.0059297 | 0.0014861 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6254-7_0_6_load_56 | 61 | 0.0062511 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6254-7_0_6_load_57 | 62 | 0.0059012 | 0.001479 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6254-7_0_6_load_58 | 63 | 0.012682 | 0.0031785 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6254-7_0_6_load_60 | 64 | 0.011846 | 0.0029689 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6254-7_0_6_load_61 | 65 | 0.01413 | 0.0035413 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6254-7_0_6_load_64 | 68 | 0.0093884 | 0.002353 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6254-7_0_6_load_66 | 69 | 0.011411 | 0.0028598 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6254-7_0_6_load_65 | 70 | 0.0080164 | 0.0020091 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6254-7_0_6_load_71 | 73 | 0.01583 | 0.0039675 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6254-7_0_6_load_70 | 74 | 0.0056071 | 0.0014053 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6254-7_0_6_load_78 | 76 | 0.0032849 | 0.00082326 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6254-7_0_6_load_79 | 77 | 0.0079067 | 0.0019816 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6254-7_0_6_load_81 | 78 | 0.0045972 | 0.0011522 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6254-7_0_6_line_0 |  | 0 | 1 | 0.038421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6254-7_0_6_line_1 |  | 1 | 2 | 0.039649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6254-7_0_6_line_2 |  | 2 | 3 | 0.0085362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6254-7_0_6_line_3 |  | 3 | 6 | 0.014862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6254-7_0_6_line_4 |  | 4 | 5 | 0.0021588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6254-7_0_6_line_5 |  | 5 | 7 | 0.03371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6254-7_0_6_line_6 |  | 6 | 27 | 0.01153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6254-7_0_6_line_7 |  | 7 | 13 | 0.002613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6254-7_0_6_line_8 |  | 7 | 14 | 0.028392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6254-7_0_6_line_9 |  | 7 | 10 | 0.026046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6254-7_0_6_line_10 |  | 8 | 9 | 0.044652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6254-7_0_6_line_11 |  | 8 | 10 | 0.031729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6254-7_0_6_line_12 |  | 9 | 11 | 0.010483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6254-7_0_6_line_13 |  | 11 | 12 | 0.048246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6254-7_0_6_line_14 |  | 12 | 15 | 0.005056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6254-7_0_6_line_15 |  | 12 | 16 | 0.029832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6254-7_0_6_line_16 |  | 13 | 17 | 0.045142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6254-7_0_6_line_17 |  | 14 | 18 | 0.0045832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6254-7_0_6_line_18 |  | 15 | 28 | 0.013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6254-7_0_6_line_19 |  | 15 | 21 | 0.039932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6254-7_0_6_line_20 |  | 16 | 27 | 0.047397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6254-7_0_6_line_21 |  | 17 | 19 | 0.02599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6254-7_0_6_line_22 |  | 18 | 22 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6254-7_0_6_line_23 |  | 19 | 30 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6254-7_0_6_line_24 |  | 19 | 31 | 0.023563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6254-7_0_6_line_25 |  | 20 | 21 | 0.046439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6254-7_0_6_line_26 |  | 22 | 23 | 0.0055447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6254-7_0_6_line_27 |  | 23 | 24 | 0.019632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6254-7_0_6_line_28 |  | 24 | 25 | 0.024379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6254-7_0_6_line_29 |  | 25 | 26 | 0.0043574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6254-7_0_6_line_30 |  | 28 | 29 | 0.013768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6254-7_0_6_line_31 |  | 30 | 54 | 0.023027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6254-7_0_6_line_32 |  | 31 | 38 | 0.018644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6254-7_0_6_line_33 |  | 31 | 35 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6254-7_0_6_line_34 |  | 32 | 33 | 0.018367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6254-7_0_6_line_35 |  | 32 | 34 | 0.022252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6254-7_0_6_line_36 |  | 33 | 35 | 0.019502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6254-7_0_6_line_37 |  | 34 | 36 | 0.010114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6254-7_0_6_line_38 |  | 36 | 37 | 0.034199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6254-7_0_6_line_39 |  | 37 | 39 | 0.0023962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6254-7_0_6_line_40 |  | 38 | 43 | 0.013819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6254-7_0_6_line_41 |  | 39 | 55 | 0.036205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6254-7_0_6_line_42 |  | 40 | 41 | 0.021076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6254-7_0_6_line_43 |  | 40 | 42 | 0.021117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6254-7_0_6_line_44 |  | 42 | 43 | 0.008084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6254-7_0_6_line_45 |  | 42 | 44 | 0.034442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6254-7_0_6_line_46 |  | 43 | 47 | 0.043009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6254-7_0_6_line_47 |  | 44 | 48 | 0.069409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6254-7_0_6_line_48 |  | 45 | 46 | 0.040765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6254-7_0_6_line_49 |  | 46 | 49 | 0.021979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6254-7_0_6_line_50 |  | 47 | 50 | 0.022777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6254-7_0_6_line_51 |  | 48 | 51 | 0.045251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6254-7_0_6_line_52 |  | 48 | 52 | 0.01081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6254-7_0_6_line_53 |  | 49 | 53 | 0.025561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6254-7_0_6_line_54 |  | 51 | 63 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6254-7_0_6_line_55 |  | 52 | 72 | 0.060397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6254-7_0_6_line_56 |  | 53 | 56 | 0.025183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6254-7_0_6_line_57 |  | 53 | 55 | 0.0032622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6254-7_0_6_line_58 |  | 54 | 75 | 0.076496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6254-7_0_6_line_59 |  | 56 | 57 | 0.039902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6254-7_0_6_line_60 |  | 57 | 58 | 0.011689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6254-7_0_6_line_61 |  | 58 | 59 | 0.01436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6254-7_0_6_line_62 |  | 60 | 61 | 0.013071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6254-7_0_6_line_63 |  | 61 | 62 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6254-7_0_6_line_64 |  | 62 | 63 | 0.022162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6254-7_0_6_line_65 |  | 64 | 65 | 0.033089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6254-7_0_6_line_66 |  | 65 | 66 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6254-7_0_6_line_67 |  | 66 | 67 | 0.029284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6254-7_0_6_line_68 |  | 66 | 68 | 0.012342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6254-7_0_6_line_69 |  | 67 | 69 | 0.015612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6254-7_0_6_line_70 |  | 67 | 70 | 0.045638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6254-7_0_6_line_71 |  | 68 | 71 | 0.019632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6254-7_0_6_line_72 |  | 71 | 72 | 0.067323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6254-7_0_6_line_73 |  | 72 | 73 | 0.030659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6254-7_0_6_line_74 |  | 73 | 74 | 0.027824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6254-7_0_6_line_75 |  | 75 | 76 | 0.010377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6254-7_0_6_line_76 |  | 75 | 77 | 0.0104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6254-7_0_6_line_77 |  | 77 | 78 | 0.032775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6254-7_0_6_trafo_36 | 0.63 MVA 20/0.4 kV | 79 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2607458.1258 | 1127515.7863 | 2607454.5842 | 1127554.0441
1 | 2607458.1258 | 1127515.7863 | 2607452.332 | 1127515.4235 | 2607445.8917 | 1127514.504 | 2607436.6857 | 1127513.2366 | 2607426.9334 | 1127511.3461 | 2607419.0001 | 1127509.654
2 | 2607410.7883 | 1127507.3245 | 2607411.3276 | 1127507.4919 | 2607418.8606 | 1127509.6243 | 2607419.0001 | 1127509.654
3 | 2607410.7883 | 1127507.3245 | 2607401.3302 | 1127504.3893 | 2607396.5678 | 1127503.0082
4 | 2607427.7438 | 1127603.4631 | 2607427.3447 | 1127603.8694 | 2607426.183 | 1127604.9539
5 | 2607397.0322 | 1127617.606 | 2607410.354 | 1127617.5777 | 2607415.8204 | 1127614.6273 | 2607426.183 | 1127604.9539
6 | 2607385.5085 | 1127499.7499 | 2607386.5879 | 1127500.1138 | 2607396.5678 | 1127503.0082
7 | 2607397.0322 | 1127617.606 | 2607394.4126 | 1127617.5139
8 | 2607397.0322 | 1127617.606 | 2607401.0936 | 1127629.539 | 2607407.9613 | 1127643.754
9 | 2607397.0322 | 1127617.606 | 2607392.034 | 1127602.9483 | 2607387.6012 | 1127593.364
10 | 2607374.2819 | 1127564.5659 | 2607372.6605 | 1127561.06 | 2607364.4121 | 1127545.2424 | 2607351.2052 | 1127526.4728
11 | 2607374.2819 | 1127564.5659 | 2607387.6012 | 1127593.364
12 | 2607351.2052 | 1127526.4728 | 2607351.2052 | 1127526.4728 | 2607343.3771 | 1127519.5
13 | 2607312.3457 | 1127483.9276 | 2607312.7273 | 1127486.9629 | 2607313.9175 | 1127490.3994 | 2607317.7634 | 1127495.9511 | 2607334.0721 | 1127511.2115 | 2607343.3771 | 1127519.5
14 | 2607312.3457 | 1127483.9276 | 2607307.2917 | 1127483.5103
15 | 2607312.3457 | 1127483.9276 | 2607316.5446 | 1127484.2773 | 2607317.2857 | 1127483.0554 | 2607318.9363 | 1127481.6344 | 2607321.1175 | 1127481.1368 | 2607325.7475 | 1127481.7204 | 2607334.6524 | 1127483.5765 | 2607340.4819 | 1127485.0434
16 | 2607394.4126 | 1127617.5139 | 2607369.0876 | 1127616.5717 | 2607350.1969 | 1127622.4997
17 | 2607409.9551 | 1127647.8809 | 2607407.9613 | 1127643.754
18 | 2607307.2917 | 1127483.5103 | 2607305.1681 | 1127480.9509 | 2607302.5501 | 1127479.5249 | 2607299.8157 | 1127478.7657 | 2607296.9268 | 1127478.2731 | 2607295.9987 | 1127478.1934
19 | 2607307.2917 | 1127483.5103 | 2607308.1675 | 1127485.6346 | 2607310.1809 | 1127490.0947 | 2607313.2347 | 1127494.3449 | 2607317.1059 | 1127498.0513 | 2607330.7984 | 1127510.4294 | 2607333.5762 | 1127512.8574
20 | 2607385.5085 | 1127499.7499 | 2607373.0556 | 1127495.5508 | 2607363.8676 | 1127492.0602 | 2607354.7485 | 1127488.9922 | 2607345.1282 | 1127486.2126 | 2607340.4819 | 1127485.0434
21 | 2607325.3996 | 1127630.2813 | 2607350.1969 | 1127622.4997
22 | 2607409.9551 | 1127647.8809 | 2607409.9551 | 1127647.8809 | 2607422.7711 | 1127663.352
23 | 2607325.3996 | 1127630.2813 | 2607328.2337 | 1127637.7773 | 2607331.1143 | 1127645.0954 | 2607332.0186 | 1127647.1426
24 | 2607325.3996 | 1127630.2813 | 2607323.6102 | 1127625.4212 | 2607321.6705 | 1127617.4039 | 2607319.4864 | 1127607.5076
25 | 2607363.176 | 1127548.0002 | 2607362.0311 | 1127545.3618 | 2607359.3173 | 1127540.3116 | 2607357.0638 | 1127536.9295 | 2607354.1795 | 1127532.7573 | 2607351.4175 | 1127529.3412 | 2607348.1468 | 1127526.0245 | 2607341.7127 | 1127519.9694 | 2607333.5762 | 1127512.8574
26 | 2607426.3083 | 1127667.622 | 2607422.7711 | 1127663.352
27 | 2607426.3083 | 1127667.622 | 2607430.797 | 1127673.0407 | 2607440.4868 | 1127681.0886
28 | 2607440.4868 | 1127681.0886 | 2607449.2545 | 1127688.3707 | 2607459.2413 | 1127696.6641
29 | 2607462.5935 | 1127699.4479 | 2607459.2413 | 1127696.6641
30 | 2607282.2501 | 1127478.0963 | 2607286.3868 | 1127477.827 | 2607293.6448 | 1127477.9913 | 2607295.9987 | 1127478.1934
31 | 2607332.0186 | 1127647.1426 | 2607335.6785 | 1127655.4281 | 2607341.0831 | 1127665.3395 | 2607342.4518 | 1127667.6439
32 | 2607319.4864 | 1127607.5076 | 2607313.5437 | 1127609.3902 | 2607309.2105 | 1127611.8752 | 2607303.8328 | 1127616.9799
33 | 2607319.4864 | 1127607.5076 | 2607317.3569 | 1127597.1778 | 2607315.8293 | 1127590.978
34 | 2607302.952 | 1127555.4615 | 2607306.2341 | 1127562.3586 | 2607309.5377 | 1127570.2775 | 2607310.2425 | 1127572.3072
35 | 2607302.952 | 1127555.4615 | 2607302.3067 | 1127554.1054 | 2607298.101 | 1127546.5967 | 2607294.7013 | 1127541.7125 | 2607291.0002 | 1127537.506 | 2607290.4896 | 1127537.2097
36 | 2607310.2425 | 1127572.3072 | 2607312.8318 | 1127579.7638 | 2607315.1869 | 1127588.3709 | 2607315.8293 | 1127590.978
37 | 2607281.5235 | 1127532.5914 | 2607284.4554 | 1127533.7075 | 2607290.4896 | 1127537.2097
38 | 2607281.5235 | 1127532.5914 | 2607276.8386 | 1127530.8081 | 2607265.54 | 1127526.9038 | 2607253.5937 | 1127523.3434 | 2607248.9318 | 1127522.3503
39 | 2607246.5882 | 1127521.851 | 2607248.9318 | 1127522.3503
40 | 2607294.7685 | 1127627.2765 | 2607295.317 | 1127626.021 | 2607298.4499 | 1127622.0895 | 2607303.8328 | 1127616.9799
41 | 2607246.5882 | 1127521.851 | 2607241.5768 | 1127520.7835 | 2607220.9738 | 1127520.5256 | 2607214.1316 | 1127520.5953 | 2607210.4978 | 1127520.5735
42 | 2607268.5557 | 1127615.2932 | 2607253.4942 | 1127607.0285 | 2607250.4158 | 1127604.6403
43 | 2607286.8264 | 1127625.8552 | 2607281.7759 | 1127622.5476 | 2607268.5557 | 1127615.2932
44 | 2607294.7685 | 1127627.2765 | 2607291.3554 | 1127627.0612 | 2607286.8264 | 1127625.8552
45 | 2607286.8264 | 1127625.8552 | 2607266.2547 | 1127653.4783
46 | 2607294.7685 | 1127627.2765 | 2607294.3565 | 1127630.2886 | 2607295.8213 | 1127636.0265 | 2607311.0314 | 1127661.1903 | 2607313.5338 | 1127665.102
47 | 2607233.2498 | 1127713.9233 | 2607244.0938 | 1127685.1555 | 2607260.4488 | 1127661.2744 | 2607266.2547 | 1127653.4783
48 | 2607172.1639 | 1127551.9389 | 2607188.8268 | 1127561.0407 | 2607208.2135 | 1127570.9632
49 | 2607172.1639 | 1127551.9389 | 2607189.0846 | 1127537.9118
50 | 2607325.9135 | 1127684.2207 | 2607320.9521 | 1127676.6986 | 2607313.5338 | 1127665.102
51 | 2607233.2498 | 1127713.9233 | 2607256.4813 | 1127725.6344 | 2607272.1193 | 1127734.3906 | 2607273.3051 | 1127734.9533
52 | 2607233.2498 | 1127713.9233 | 2607228.1302 | 1127723.4441
53 | 2607207.2357 | 1127520.5538 | 2607206.1763 | 1127523.743 | 2607189.0846 | 1127537.9118
54 | 2607288.5357 | 1127744.5327 | 2607284.3322 | 1127740.1857 | 2607273.3051 | 1127734.9533
55 | 2607183.14 | 1127751.2268 | 2607187.6092 | 1127737.8144 | 2607204.986 | 1127722.5941 | 2607228.1302 | 1127723.4441
56 | 2607207.2357 | 1127520.5538 | 2607202.2291 | 1127519.0805 | 2607197.1617 | 1127516.9179 | 2607189.8931 | 1127512.7073 | 2607184.9198 | 1127509.1553
57 | 2607207.2357 | 1127520.5538 | 2607210.4978 | 1127520.5735
58 | 2607384.8523 | 1127730.8242 | 2607382.3326 | 1127724.607 | 2607379.3895 | 1127718.1781 | 2607375.7989 | 1127711.9152 | 2607371.6608 | 1127706.0406 | 2607361.7284 | 1127694.045 | 2607356.8737 | 1127688.1919 | 2607351.6426 | 1127681.4045 | 2607345.9658 | 1127673.5605 | 2607342.4518 | 1127667.6439
59 | 2607184.9198 | 1127509.1553 | 2607189.9867 | 1127505.2371 | 2607206.171 | 1127495.5959 | 2607216.7797 | 1127490.0947 | 2607219.2642 | 1127489.0164
60 | 2607219.2642 | 1127489.0164 | 2607226.6396 | 1127485.8154 | 2607230.0778 | 1127484.5933
61 | 2607243.9014 | 1127480.817 | 2607235.8665 | 1127482.5358 | 2607230.0778 | 1127484.5933
62 | 2607320.5214 | 1127777.331 | 2607311.371 | 1127767.9969
63 | 2607303.9645 | 1127760.4417 | 2607311.371 | 1127767.9969
64 | 2607303.9645 | 1127760.4417 | 2607300.6692 | 1127757.0802 | 2607288.5357 | 1127744.5327
65 | 2607142.8735 | 1127832.1217 | 2607158.4678 | 1127837.9956 | 2607162.3956 | 1127839.312 | 2607166.2014 | 1127839.561 | 2607169.138 | 1127838.5751 | 2607171.5674 | 1127836.5214 | 2607172.7767 | 1127834.6953
66 | 2607177.8624 | 1127823.2001 | 2607173.1342 | 1127834.1554 | 2607172.7767 | 1127834.6953
67 | 2607177.8624 | 1127823.2001 | 2607195.3416 | 1127831.9694 | 2607204.5138 | 1127835.4152
68 | 2607177.8624 | 1127823.2001 | 2607166.8352 | 1127817.656
69 | 2607204.5138 | 1127835.4152 | 2607208.6343 | 1127836.6874 | 2607213.6258 | 1127837.627 | 2607219.8216 | 1127838.1785
70 | 2607204.5138 | 1127835.4152 | 2607204.0114 | 1127836.8042 | 2607203.5085 | 1127838.5489 | 2607203.9458 | 1127840.1613 | 2607205.5009 | 1127841.1636 | 2607208.6202 | 1127842.1011 | 2607213.2951 | 1127843.5962 | 2607215.6671 | 1127844.5328 | 2607217.3452 | 1127845.7799 | 2607218.4064 | 1127847.5153 | 2607218.5269 | 1127849.8833 | 2607216.4007 | 1127856.0949 | 2607214.9021 | 1127859.4503 | 2607213.7138 | 1127860.9496 | 2607211.2782 | 1127861.7471 | 2607208.0342 | 1127861.999 | 2607204.399 | 1127861.7577
71 | 2607149.2949 | 1127808.8373 | 2607166.8352 | 1127817.656
72 | 2607149.2949 | 1127808.8373 | 2607165.0383 | 1127780.2307 | 2607172.6911 | 1127772.0024 | 2607177.2437 | 1127766.2382 | 2607183.14 | 1127751.2268
73 | 2607183.14 | 1127751.2268 | 2607197.6008 | 1127758.6474 | 2607210.4147 | 1127765.2292
74 | 2607234.493 | 1127779.0792 | 2607227.5153 | 1127774.2904 | 2607224.8899 | 1127772.6643 | 2607210.4147 | 1127765.2292
75 | 2607384.8523 | 1127730.8242 | 2607385.4661 | 1127732.926 | 2607385.9186 | 1127734.6607 | 2607387.5456 | 1127740.8446
76 | 2607384.8523 | 1127730.8242 | 2607383.0641 | 1127731.3556 | 2607381.022 | 1127731.6311 | 2607378.8805 | 1127731.2616 | 2607376.2785 | 1127729.5021 | 2607375.5109 | 1127728.6324
77 | 2607349.0527 | 1127714.2618 | 2607352.6755 | 1127712.9655 | 2607356.0278 | 1127712.4138 | 2607358.7229 | 1127713.7176 | 2607363.0877 | 1127716.88 | 2607367.2675 | 1127720.12 | 2607371.077 | 1127723.7486 | 2607374.1472 | 1127727.0872 | 2607375.5109 | 1127728.6324

## bus_geodata
| x | y | coords
0 | 2607454.5842 | 1127554.0441
1 | 2607458.1258 | 1127515.7863
2 | 2607419.0001 | 1127509.654
3 | 2607410.7883 | 1127507.3245
4 | 2607427.7438 | 1127603.4631
5 | 2607426.183 | 1127604.9539
6 | 2607396.5678 | 1127503.0082
7 | 2607397.0322 | 1127617.606
8 | 2607374.2819 | 1127564.5659
9 | 2607351.2052 | 1127526.4728
10 | 2607387.6012 | 1127593.364
11 | 2607343.3771 | 1127519.5
12 | 2607312.3457 | 1127483.9276
13 | 2607394.4126 | 1127617.5139
14 | 2607407.9613 | 1127643.754
15 | 2607307.2917 | 1127483.5103
16 | 2607340.4819 | 1127485.0434
17 | 2607350.1969 | 1127622.4997
18 | 2607409.9551 | 1127647.8809
19 | 2607325.3996 | 1127630.2813
20 | 2607363.176 | 1127548.0002
21 | 2607333.5762 | 1127512.8574
22 | 2607422.7711 | 1127663.352
23 | 2607426.3083 | 1127667.622
24 | 2607440.4868 | 1127681.0886
25 | 2607459.2413 | 1127696.6641
26 | 2607462.5935 | 1127699.4479
27 | 2607385.5085 | 1127499.7499
28 | 2607295.9987 | 1127478.1934
29 | 2607282.2501 | 1127478.0963
30 | 2607332.0186 | 1127647.1426
31 | 2607319.4864 | 1127607.5076
32 | 2607302.952 | 1127555.4615
33 | 2607310.2425 | 1127572.3072
34 | 2607290.4896 | 1127537.2097
35 | 2607315.8293 | 1127590.978
36 | 2607281.5235 | 1127532.5914
37 | 2607248.9318 | 1127522.3503
38 | 2607303.8328 | 1127616.9799
39 | 2607246.5882 | 1127521.851
40 | 2607268.5557 | 1127615.2932
41 | 2607250.4158 | 1127604.6403
42 | 2607286.8264 | 1127625.8552
43 | 2607294.7685 | 1127627.2765
44 | 2607266.2547 | 1127653.4783
45 | 2607208.2135 | 1127570.9632
46 | 2607172.1639 | 1127551.9389
47 | 2607313.5338 | 1127665.102
48 | 2607233.2498 | 1127713.9233
49 | 2607189.0846 | 1127537.9118
50 | 2607325.9135 | 1127684.2207
51 | 2607273.3051 | 1127734.9533
52 | 2607228.1302 | 1127723.4441
53 | 2607207.2357 | 1127520.5538
54 | 2607342.4518 | 1127667.6439
55 | 2607210.4978 | 1127520.5734
56 | 2607184.9198 | 1127509.1553
57 | 2607219.2642 | 1127489.0164
58 | 2607230.0778 | 1127484.5933
59 | 2607243.9014 | 1127480.817
60 | 2607320.5214 | 1127777.331
61 | 2607311.371 | 1127767.9969
62 | 2607303.9645 | 1127760.4417
63 | 2607288.5357 | 1127744.5327
64 | 2607142.8735 | 1127832.1217
65 | 2607172.7767 | 1127834.6953
66 | 2607177.8624 | 1127823.2001
67 | 2607204.5138 | 1127835.4152
68 | 2607166.8352 | 1127817.656
69 | 2607219.8216 | 1127838.1785
70 | 2607204.399 | 1127861.7577
71 | 2607149.2949 | 1127808.8373
72 | 2607183.14 | 1127751.2268
73 | 2607210.4148 | 1127765.2292
74 | 2607234.493 | 1127779.0792
75 | 2607384.8523 | 1127730.8242
76 | 2607387.5456 | 1127740.8446
77 | 2607375.5109 | 1127728.6324
78 | 2607349.0527 | 1127714.2618
79 | 2607286.8264 | 1127625.8552

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1