## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6254-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6254-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6254-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6254-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6254-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6254-8_0_3_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_6254-8_0_3_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_6254-8_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6254-8_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6254-8_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6254-8_0_3_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_6254-8_0_3_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_6254-8_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_6254-8_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6254-8_0_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_6254-8_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6254-8_0_3_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_6254-8_0_3_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_6254-8_0_3_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_6254-8_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6254-8_0_3_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_6254-8_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_6254-8_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_6254-8_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_6254-8_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_6254-8_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_6254-8_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_6254-8_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_6254-8_0_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_6254-8_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_6254-8_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6254-8_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_6254-8_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_6254-8_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6254-8_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_6254-8_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_6254-8_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6254-8_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6254-8_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6254-8_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6254-8_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6254-8_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_6254-8_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_6254-8_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6254-8_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6254-8_0_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_6254-8_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_6254-8_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6254-8_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6254-8_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6254-8_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6254-8_0_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_6254-8_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_6254-8_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_MV_273_0_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6254-8_0_3_load_0 | 0 | 0.0053586 | 0.001343 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6254-8_0_3_load_1 | 1 | 0.010023 | 0.002512 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6254-8_0_3_load_3 | 3 | 0.0050369 | 0.0012624 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6254-8_0_3_load_4 | 4 | 0.0067707 | 0.0016969 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6254-8_0_3_load_18 | 5 | 0.0095907 | 0.0024037 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6254-8_0_3_load_46 | 6 | 0.0071039 | 0.0017804 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6254-8_0_3_load_45 | 10 | 0.0052158 | 0.0013072 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6254-8_0_3_load_21 | 12 | 0.0061859 | 0.0015503 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6254-8_0_3_load_16 | 13 | 0.0065842 | 0.0016501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6254-8_0_3_load_10 | 15 | 0.0047148 | 0.0011816 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6254-8_0_3_load_58 | 16 | 0.0030677 | 0.00076885 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6254-8_0_3_load_56 | 17 | 0.0057505 | 0.0014412 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6254-8_0_3_load_49 | 18 | 0.0092023 | 0.0023063 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6254-8_0_3_load_20 | 19 | 0.0057888 | 0.0014508 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6254-8_0_3_load_7 | 20 | 0.004939 | 0.0012378 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6254-8_0_3_load_8 | 21 | 0.0051087 | 0.0012804 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6254-8_0_3_load_9 | 22 | 0.008057 | 0.0020193 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6254-8_0_3_load_32 | 25 | 0.0074819 | 0.0018751 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6254-8_0_3_load_44 | 27 | 0.0061921 | 0.0015519 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6254-8_0_3_load_43 | 28 | 0.0086189 | 0.0021601 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6254-8_0_3_load_26 | 29 | 0.0053934 | 0.0013517 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6254-8_0_3_load_15 | 31 | 0.0042793 | 0.0010725 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6254-8_0_3_load_17 | 32 | 0.0065594 | 0.0016439 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6254-8_0_3_load_27 | 33 | 0.0076231 | 0.0019105 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6254-8_0_3_load_22 | 34 | 0.0087112 | 0.0021832 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6254-8_0_3_load_23 | 35 | 0.0063639 | 0.0015949 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6254-8_0_3_load_24 | 36 | 0.0046676 | 0.0011698 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6254-8_0_3_load_25 | 37 | 0.0079148 | 0.0019836 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6254-8_0_3_load_30 | 38 | 0.0069186 | 0.001734 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6254-8_0_3_load_31 | 39 | 0.0059085 | 0.0014808 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6254-8_0_3_load_33 | 40 | 0.011974 | 0.0030009 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6254-8_0_3_load_35 | 41 | 0.0050158 | 0.0012571 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6254-8_0_3_load_55 | 42 | 0.0040697 | 0.00102 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6254-8_0_3_load_37 | 43 | 0.0056016 | 0.0014039 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6254-8_0_3_load_53 | 45 | 0.0056519 | 0.0014165 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6254-8_0_3_load_51 | 46 | 0.0048384 | 0.0012126 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6254-8_0_3_load_40 | 47 | 0.006833 | 0.0017125 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6254-8_0_3_load_41 | 48 | 0.0044937 | 0.0011262 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6254-8_0_3_load_42 | 49 | 0.0085627 | 0.002146 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6254-8_0_3_load_57 | 50 | 0.010327 | 0.0025882 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6254-8_0_3_load_54 | 51 | 0.0024157 | 0.00060542 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6254-8_0_3_load_50 | 52 | 0.0062717 | 0.0015718 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6254-8_0_3_load_52 | 53 | 0.0053817 | 0.0013488 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6254-8_0_3_line_0 |  | 0 | 1 | 0.0025609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6254-8_0_3_line_1 |  | 0 | 2 | 0.021711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6254-8_0_3_line_2 |  | 1 | 3 | 0.014763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6254-8_0_3_line_3 |  | 2 | 4 | 0.010088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6254-8_0_3_line_4 |  | 3 | 5 | 0.019657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6254-8_0_3_line_5 |  | 4 | 6 | 0.0018336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6254-8_0_3_line_6 |  | 5 | 13 | 0.0043198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6254-8_0_3_line_7 |  | 6 | 10 | 0.01783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6254-8_0_3_line_8 |  | 7 | 8 | 0.082151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6254-8_0_3_line_9 |  | 7 | 9 | 0.057686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6254-8_0_3_line_10 |  | 7 | 10 | 0.0017496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6254-8_0_3_line_11 |  | 8 | 11 | 0.13201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6254-8_0_3_line_12 |  | 8 | 12 | 0.081312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6254-8_0_3_line_13 |  | 9 | 14 | 0.0062009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6254-8_0_3_line_14 |  | 9 | 15 | 0.023853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6254-8_0_3_line_15 |  | 11 | 18 | 0.066072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6254-8_0_3_line_16 |  | 12 | 19 | 0.027337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6254-8_0_3_line_17 |  | 13 | 31 | 0.012948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6254-8_0_3_line_18 |  | 14 | 16 | 0.028299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6254-8_0_3_line_19 |  | 14 | 17 | 0.0086675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6254-8_0_3_line_20 |  | 15 | 22 | 0.057734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6254-8_0_3_line_21 |  | 16 | 51 | 0.026749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6254-8_0_3_line_22 |  | 17 | 50 | 0.089805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6254-8_0_3_line_23 |  | 19 | 34 | 0.0068668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6254-8_0_3_line_24 |  | 20 | 21 | 0.021186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6254-8_0_3_line_25 |  | 20 | 22 | 0.026993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6254-8_0_3_line_26 |  | 23 | 24 | 0.078336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6254-8_0_3_line_27 |  | 23 | 25 | 0.071496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6254-8_0_3_line_28 |  | 24 | 43 | 0.058653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6254-8_0_3_line_29 |  | 25 | 39 | 0.040774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6254-8_0_3_line_30 |  | 26 | 27 | 0.031594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6254-8_0_3_line_31 |  | 26 | 28 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6254-8_0_3_line_32 |  | 27 | 33 | 0.03609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6254-8_0_3_line_33 |  | 29 | 30 | 0.018354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6254-8_0_3_line_34 |  | 30 | 33 | 0.024887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6254-8_0_3_line_35 |  | 30 | 32 | 0.03147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6254-8_0_3_line_36 |  | 31 | 32 | 0.017044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6254-8_0_3_line_37 |  | 34 | 35 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6254-8_0_3_line_38 |  | 35 | 36 | 0.044281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6254-8_0_3_line_39 |  | 36 | 37 | 0.0043907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6254-8_0_3_line_40 |  | 37 | 38 | 0.0075336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6254-8_0_3_line_41 |  | 39 | 40 | 0.064847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6254-8_0_3_line_42 |  | 40 | 41 | 0.089681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6254-8_0_3_line_43 |  | 41 | 42 | 0.048748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6254-8_0_3_line_44 |  | 42 | 44 | 0.034471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6254-8_0_3_line_45 |  | 44 | 45 | 0.038264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6254-8_0_3_line_46 |  | 45 | 46 | 0.014145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6254-8_0_3_line_47 |  | 46 | 52 | 0.020849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6254-8_0_3_line_48 |  | 47 | 48 | 0.024465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6254-8_0_3_line_49 |  | 48 | 49 | 0.027241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6254-8_0_3_line_50 |  | 49 | 50 | 0.032297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6254-8_0_3_line_51 |  | 51 | 53 | 0.001941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6254-8_0_3_line_52 |  | 52 | 53 | 0.004851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6254-8_0_3_trafo_16 | 0.63 MVA 20/0.4 kV | 54 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2607382.3627 | 1127919.7054 | 2607382.32 | 1127919.691 | 2607380.0692 | 1127918.5673
1 | 2607403.1613 | 1127925.608 | 2607398.3081 | 1127925.0908 | 2607382.3627 | 1127919.7054
2 | 2607366.8608 | 1127911.9732 | 2607380.0692 | 1127918.5673
3 | 2607403.1613 | 1127925.608 | 2607404.6808 | 1127930.5011 | 2607407.6807 | 1127934.4566
4 | 2607366.8608 | 1127911.9732 | 2607364.4408 | 1127910.765 | 2607359.7354 | 1127909.0252 | 2607354.2204 | 1127907.7735 | 2607347.9411 | 1127907.8993
5 | 2607407.6807 | 1127934.4566 | 2607408.7886 | 1127935.9176
6 | 2607347.9411 | 1127907.8993 | 2607347.9411 | 1127907.8993 | 2607343.661 | 1127908.4837
7 | 2607420.3922 | 1127949.4314 | 2607412.5961 | 1127940.9381 | 2607408.7886 | 1127935.9176
8 | 2607475.0025 | 1127909.699 | 2607472.4561 | 1127912.864 | 2607468.3189 | 1127919.0398 | 2607460.6539 | 1127930.7694 | 2607455.2503 | 1127939.3337 | 2607451.5447 | 1127945.3877 | 2607445.5411 | 1127953.2064 | 2607436.0647 | 1127959.4089 | 2607428.0465 | 1127951.273 | 2607423.8184 | 1127949.9339 | 2607421.5754 | 1127950.7204
9 | 2607438.147 | 1128001.9322 | 2607440.3232 | 1127999.0335 | 2607441.2443 | 1127995.5218 | 2607441.4687 | 1127994.6661 | 2607441.4041 | 1127990.8197 | 2607440.901 | 1127986.3835 | 2607439.1985 | 1127979.9005 | 2607437.2413 | 1127973.8396 | 2607434.3988 | 1127967.1329 | 2607429.8385 | 1127960.1462 | 2607421.5754 | 1127950.7204
10 | 2607421.5754 | 1127950.7204 | 2607420.3922 | 1127949.4314
11 | 2607475.0025 | 1127909.699 | 2607482.6017 | 1127901.3486 | 2607492.7344 | 1127894.1465 | 2607501.4191 | 1127886.5312 | 2607509.9043 | 1127878.3043 | 2607517.258 | 1127869.2311 | 2607493.5988 | 1127861.5983 | 2607476.4551 | 1127856.019 | 2607463.656 | 1127844.8757 | 2607454.6845 | 1127834.9488
12 | 2607475.0025 | 1127909.699 | 2607470.4535 | 1127906.0916 | 2607468.3368 | 1127904.4216 | 2607447.9631 | 1127887.833 | 2607429.5224 | 1127871.825 | 2607411.5936 | 1127858.8738
13 | 2607436.577 | 1128006.7882 | 2607439.2629 | 1128002.9118 | 2607438.147 | 1128001.9322
14 | 2607438.147 | 1128001.9322 | 2607434.7602 | 1127999.2824 | 2607429.9568 | 1127995.8748 | 2607423.0208 | 1127991.2086 | 2607418.4043 | 1127988.5973
15 | 2607454.6845 | 1127834.9488 | 2607410.4115 | 1127785.9043
16 | 2607411.5936 | 1127858.8738 | 2607404.9508 | 1127854.0753 | 2607389.2598 | 1127844.9963 | 2607388.5156 | 1127844.3074
17 | 2607331.1693 | 1127911.6866 | 2607334.355 | 1127910.3619 | 2607341.9691 | 1127908.7147 | 2607343.661 | 1127908.4837
18 | 2607436.577 | 1128006.7882 | 2607436.2414 | 1128010.3562 | 2607438.1871 | 1128013.2711 | 2607442.7341 | 1128018.4014 | 2607444.8103 | 1128021.6722 | 2607445.205 | 1128026.5862 | 2607444.5221 | 1128032.0959
19 | 2607436.577 | 1128006.7882 | 2607432.0822 | 1128003.0254 | 2607429.8069 | 1128001.384
20 | 2607418.4043 | 1127988.5973 | 2607416.0684 | 1127987.276 | 2607409.5696 | 1127984.2555 | 2607399.4119 | 1127980.5191 | 2607389.3378 | 1127977.7389 | 2607377.2217 | 1127975.2675 | 2607364.7273 | 1127973.3959 | 2607363.1376 | 1127973.137
21 | 2607444.5221 | 1128032.0959 | 2607444.3646 | 1128033.3662 | 2607441.359 | 1128046.7357 | 2607438.4583 | 1128056.159 | 2607437.7582 | 1128057.9319
22 | 2607429.8069 | 1128001.384 | 2607423.5455 | 1127996.8675 | 2607421.7365 | 1127995.6203 | 2607415.7624 | 1127991.8778 | 2607410.465 | 1127989.1479 | 2607405.3363 | 1127987.1295 | 2607396.1104 | 1127983.7945 | 2607387.6998 | 1127981.6055 | 2607379.5661 | 1127979.7503 | 2607372.9646 | 1127978.7085 | 2607365.2618 | 1127977.3874 | 2607356.4185 | 1127976.1317 | 2607347.0288 | 1127974.4306 | 2607345.5145 | 1127974.0967
23 | 2607383.4762 | 1127839.6429 | 2607388.5156 | 1127844.3074
24 | 2607336.6689 | 1127967.936 | 2607334.7948 | 1127967.4347 | 2607328.6106 | 1127965.393 | 2607320.3399 | 1127962.1259 | 2607316.8601 | 1127960.5009
25 | 2607336.6689 | 1127967.936 | 2607341.8499 | 1127969.3219 | 2607351.7324 | 1127971.2792 | 2607363.1376 | 1127973.137
26 | 2607150.1872 | 1127934.9999 | 2607154.4296 | 1127937.3838 | 2607161.6619 | 1127939.2265 | 2607168.9925 | 1127942.7813 | 2607174.4043 | 1127946.5228 | 2607178.7824 | 1127951.4414 | 2607187.2274 | 1127963.7907 | 2607191.7562 | 1127971.5999 | 2607194.9603 | 1127978.9406 | 2607194.9528 | 1127985.2659 | 2607193.2659 | 1127991.5002
27 | 2607150.1872 | 1127934.9999 | 2607152.2078 | 1127933.2347 | 2607156.6047 | 1127928.7377 | 2607167.1665 | 1127929.695 | 2607195.5284 | 1127934.942 | 2607203.1233 | 1127936.3628 | 2607210.4719 | 1127944.1864 | 2607212.8699 | 1127948.1299
28 | 2607193.2659 | 1127991.5002 | 2607198.034 | 1127998.8205 | 2607200.268 | 1128005.6154 | 2607204.1695 | 1128016.0362 | 2607210.0475 | 1128023.0243 | 2607223.5621 | 1128035.1351 | 2607227.4484 | 1128037.1082
29 | 2607238.3642 | 1127979.7229 | 2607224.8076 | 1127965.7361 | 2607218.1769 | 1127956.8572 | 2607212.8699 | 1127948.1299
30 | 2607223.6254 | 1127838.5171 | 2607231.9916 | 1127839.3607 | 2607242.345 | 1127840.7959 | 2607254.7925 | 1127843.4787
31 | 2607223.6254 | 1127838.5171 | 2607223.8386 | 1127840.6295 | 2607224.6535 | 1127842.1201 | 2607226.3317 | 1127843.3004 | 2607229.9514 | 1127844.5497 | 2607235.434 | 1127847.2242 | 2607236.4634 | 1127847.8275
32 | 2607254.7925 | 1127843.4787 | 2607258.6732 | 1127845.5176 | 2607262.1759 | 1127847.9341 | 2607273.9908 | 1127857.7529 | 2607279.4537 | 1127864.007 | 2607281.5322 | 1127867.1693
33 | 2607295.2199 | 1127887.6484 | 2607287.081 | 1127871.1977
34 | 2607295.2199 | 1127887.6484 | 2607288.7792 | 1127880.9263 | 2607283.9142 | 1127870.7934 | 2607281.5322 | 1127867.1693
35 | 2607295.2199 | 1127887.6484 | 2607306.8646 | 1127904.3705 | 2607311.1653 | 1127909.467 | 2607314.9183 | 1127911.8105
36 | 2607314.9183 | 1127911.8105 | 2607317.3013 | 1127913.2985 | 2607323.8572 | 1127913.851 | 2607328.3039 | 1127912.8781 | 2607331.1693 | 1127911.6866
37 | 2607383.4762 | 1127839.6429 | 2607374.7451 | 1127831.5611 | 2607372.1086 | 1127828.9787
38 | 2607340.6269 | 1127797.8403 | 2607348.0645 | 1127805.4273 | 2607372.1086 | 1127828.9787
39 | 2607337.5532 | 1127794.7049 | 2607340.6269 | 1127797.8403
40 | 2607332.2794 | 1127789.3252 | 2607337.5532 | 1127794.7049
41 | 2607238.3642 | 1127979.7229 | 2607242.714 | 1127984.2107 | 2607259.1902 | 1128000.2048 | 2607271.1634 | 1128012.7585 | 2607283.2581 | 1128020.221 | 2607286.6057 | 1128022.5453
42 | 2607358.5852 | 1128075.9283 | 2607341.7234 | 1128061.589 | 2607304.6047 | 1128035.0426 | 2607286.6057 | 1128022.5453
43 | 2607396.3842 | 1128106.4922 | 2607374.3236 | 1128090.9648 | 2607360.1026 | 1128077.2187 | 2607358.5852 | 1128075.9283
44 | 2607415.9122 | 1128134.7477 | 2607405.0323 | 1128116.9147 | 2607397.2167 | 1128107.0782 | 2607396.3842 | 1128106.4922
45 | 2607415.9122 | 1128134.7477 | 2607418.6609 | 1128117.2202 | 2607424.581 | 1128097.5699
46 | 2607424.581 | 1128097.5699 | 2607425.4604 | 1128094.6508 | 2607428.8479 | 1128084.0847
47 | 2607435.2632 | 1128064.2491 | 2607434.9652 | 1128065.0035 | 2607428.8479 | 1128084.0847
48 | 2607274.2712 | 1127932.602 | 2607277.449 | 1127936.2954 | 2607282.1968 | 1127941.2034 | 2607286.5606 | 1127945.1216 | 2607291.844 | 1127949.5584
49 | 2607291.844 | 1127949.5584 | 2607291.956 | 1127949.6525 | 2607297.1982 | 1127953.5162 | 2607303.3108 | 1127957.5033 | 2607309.5318 | 1127961.0458 | 2607314.9292 | 1127963.9425 | 2607314.9292 | 1127963.9425
50 | 2607314.9292 | 1127963.9425 | 2607323.2305 | 1127967.3208 | 2607331.3627 | 1127970.4321 | 2607338.5639 | 1127972.564 | 2607345.5145 | 1127974.0967
51 | 2607437.7582 | 1128057.9319 | 2607437.0451 | 1128059.7372
52 | 2607435.2632 | 1128064.2491 | 2607437.0451 | 1128059.7372

## bus_geodata
| x | y | coords
0 | 2607382.3627 | 1127919.7054
1 | 2607380.0692 | 1127918.5673
2 | 2607403.1613 | 1127925.608
3 | 2607366.8608 | 1127911.9732
4 | 2607407.6807 | 1127934.4566
5 | 2607347.9411 | 1127907.8993
6 | 2607408.7886 | 1127935.9176
7 | 2607421.5754 | 1127950.7204
8 | 2607475.0025 | 1127909.699
9 | 2607438.147 | 1128001.9322
10 | 2607420.3922 | 1127949.4314
11 | 2607454.6845 | 1127834.9488
12 | 2607411.5936 | 1127858.8738
13 | 2607343.661 | 1127908.4837
14 | 2607436.577 | 1128006.7882
15 | 2607418.4043 | 1127988.5973
16 | 2607444.5221 | 1128032.0959
17 | 2607429.8069 | 1128001.384
18 | 2607410.4115 | 1127785.9043
19 | 2607388.5156 | 1127844.3074
20 | 2607336.6689 | 1127967.936
21 | 2607316.8601 | 1127960.5009
22 | 2607363.1376 | 1127973.137
23 | 2607150.1872 | 1127934.9999
24 | 2607193.2659 | 1127991.5002
25 | 2607212.8699 | 1127948.1299
26 | 2607223.6254 | 1127838.5171
27 | 2607254.7925 | 1127843.4787
28 | 2607236.4634 | 1127847.8275
29 | 2607287.081 | 1127871.1977
30 | 2607295.2199 | 1127887.6484
31 | 2607331.1693 | 1127911.6866
32 | 2607314.9183 | 1127911.8105
33 | 2607281.5322 | 1127867.1693
34 | 2607383.4762 | 1127839.6429
35 | 2607372.1086 | 1127828.9787
36 | 2607340.6269 | 1127797.8403
37 | 2607337.5532 | 1127794.7049
38 | 2607332.2794 | 1127789.3252
39 | 2607238.3642 | 1127979.7229
40 | 2607286.6057 | 1128022.5453
41 | 2607358.5852 | 1128075.9283
42 | 2607396.3842 | 1128106.4922
43 | 2607227.4484 | 1128037.1082
44 | 2607415.9122 | 1128134.7477
45 | 2607424.581 | 1128097.5699
46 | 2607428.8479 | 1128084.0847
47 | 2607274.2712 | 1127932.602
48 | 2607291.844 | 1127949.5584
49 | 2607314.9292 | 1127963.9425
50 | 2607345.5145 | 1127974.0967
51 | 2607437.7582 | 1128057.9319
52 | 2607435.2632 | 1128064.2491
53 | 2607437.0451 | 1128059.7372
54 | 2607295.2199 | 1127887.6484

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1