## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6263-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6263-11_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6263-11_0_6_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_6263-11_0_6_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_6263-11_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6263-11_0_6_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_6263-11_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6263-11_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6263-11_0_6_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_6263-11_0_6_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_6263-11_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6263-11_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6263-11_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6263-11_0_6_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_6263-11_0_6_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_6263-11_0_6_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_6263-11_0_6_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_6263-11_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6263-11_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_6263-11_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6263-11_0_6_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_6263-11_0_6_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_6263-11_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6263-11_0_6_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_6263-11_0_6_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_6263-11_0_6_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_6263-11_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6263-11_0_6_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_6263-11_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6263-11_0_6_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6263-11_0_6_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6263-11_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6263-11_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_6263-11_0_6_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_6263-11_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6263-11_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6263-11_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6263-11_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6263-11_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_6263-11_0_6_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_6263-11_0_6_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_6263-11_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_6263-11_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6263-11_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_6263-11_0_6_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6263-11_0_6_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_6263-11_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6263-11_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6263-11_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6263-11_0_6_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_6263-11_0_6_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6263-11_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_6263-11_0_6_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_6263-11_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_6263-11_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_6263-11_0_6_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_6263-11_0_6_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_6263-11_0_6_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_6263-11_0_6_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_6263-11_0_6_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_6263-11_0_6_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_6263-11_0_6_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_6263-11_0_6_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_6263-11_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6263-11_0_6_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_6263-11_0_6_node_65 | 0.4 | n |  | TRUE
66 | bus_MV_96_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6263-11_0_6_load_0 | 0 | 0.028488 | 0.0071397 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6263-11_0_6_load_58 | 5 | 0.0086909 | 0.0021781 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6263-11_0_6_load_56 | 8 | 0.008065 | 0.0020213 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6263-11_0_6_load_47 | 9 | 0.0055527 | 0.0013916 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6263-11_0_6_load_11 | 11 | 0.012402 | 0.0031082 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6263-11_0_6_load_44 | 14 | 0.0080333 | 0.0020133 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6263-11_0_6_load_39 | 15 | 0.011484 | 0.0028782 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6263-11_0_6_load_71 | 16 | 0.013707 | 0.0034354 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6263-11_0_6_load_14 | 17 | 0.019888 | 0.0049844 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6263-11_0_6_load_18 | 18 | 0.013882 | 0.0034792 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6263-11_0_6_load_17 | 19 | 0.033301 | 0.0083461 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6263-11_0_6_load_59 | 20 | 0.0057072 | 0.0014304 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6263-11_0_6_load_45 | 21 | 0.014856 | 0.0037234 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6263-11_0_6_load_12 | 22 | 0.034706 | 0.0086982 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6263-11_0_6_load_73 | 23 | 0.0052341 | 0.0013118 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6263-11_0_6_load_38 | 24 | 0.0081947 | 0.0020538 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6263-11_0_6_load_72 | 25 | 0.013302 | 0.0033337 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6263-11_0_6_load_15 | 26 | 0.0092648 | 0.002322 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6263-11_0_6_load_13 | 27 | 0.025407 | 0.0063677 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6263-11_0_6_load_16 | 28 | 0.013326 | 0.0033399 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6263-11_0_6_load_28 | 29 | 0.015399 | 0.0038593 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6263-11_0_6_load_29 | 30 | 0.0095513 | 0.0023938 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6263-11_0_6_load_27 | 32 | 0.0091245 | 0.0022868 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6263-11_0_6_load_37 | 33 | 0.013729 | 0.0034408 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6263-11_0_6_load_20 | 34 | 0.016849 | 0.0042227 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6263-11_0_6_load_22 | 36 | 0.0061707 | 0.0015465 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6263-11_0_6_load_25 | 37 | 0.0098507 | 0.0024688 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6263-11_0_6_load_26 | 38 | 0.01618 | 0.0040551 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6263-11_0_6_load_42 | 40 | 0.011541 | 0.0028923 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6263-11_0_6_load_40 | 41 | 0.0053842 | 0.0013494 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6263-11_0_6_load_36 | 42 | 0.011332 | 0.00284 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6263-11_0_6_load_30 | 43 | 0.0095101 | 0.0023835 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6263-11_0_6_load_31 | 44 | 0.0077113 | 0.0019326 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6263-11_0_6_load_32 | 45 | 0.010937 | 0.002741 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6263-11_0_6_load_33 | 46 | 0.0079631 | 0.0019957 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6263-11_0_6_load_35 | 47 | 0.0085813 | 0.0021507 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6263-11_0_6_load_34 | 48 | 0.0089398 | 0.0022405 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6263-11_0_6_load_46 | 49 | 0.0072595 | 0.0018194 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6263-11_0_6_load_48 | 50 | 0.017292 | 0.0043338 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6263-11_0_6_load_49 | 51 | 0.0051915 | 0.0013011 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6263-11_0_6_load_50 | 52 | 0.0062742 | 0.0015725 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6263-11_0_6_load_51 | 53 | 0.0046106 | 0.0011555 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6263-11_0_6_load_52 | 54 | 0.0024585 | 0.00061615 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6263-11_0_6_load_67 | 57 | 0.0050965 | 0.0012773 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6263-11_0_6_load_69 | 58 | 0.010241 | 0.0025665 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6263-11_0_6_load_66 | 59 | 0.0027356 | 0.0006856 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6263-11_0_6_load_60 | 60 | 0.018624 | 0.0046675 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6263-11_0_6_load_62 | 62 | 0.0057034 | 0.0014294 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6263-11_0_6_load_63 | 63 | 0.024218 | 0.0060696 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6263-11_0_6_load_64 | 64 | 0.01874 | 0.0046966 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6263-11_0_6_load_65 | 65 | 0.0086852 | 0.0021767 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6263-11_0_6_line_0 |  | 0 | 1 | 0.040937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6263-11_0_6_line_1 |  | 1 | 2 | 0.009509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6263-11_0_6_line_2 |  | 1 | 3 | 0.028525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6263-11_0_6_line_3 |  | 2 | 16 | 0.024397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6263-11_0_6_line_4 |  | 2 | 4 | 0.0068713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6263-11_0_6_line_5 |  | 3 | 10 | 0.012355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6263-11_0_6_line_6 |  | 3 | 11 | 0.012401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6263-11_0_6_line_7 |  | 4 | 5 | 0.014062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6263-11_0_6_line_8 |  | 5 | 20 | 0.0054613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6263-11_0_6_line_9 |  | 6 | 7 | 0.004387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6263-11_0_6_line_10 |  | 6 | 8 | 0.0088864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6263-11_0_6_line_11 |  | 7 | 9 | 0.004186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6263-11_0_6_line_12 |  | 9 | 13 | 0.0286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6263-11_0_6_line_13 |  | 9 | 21 | 0.0019035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6263-11_0_6_line_14 |  | 10 | 17 | 0.0074147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6263-11_0_6_line_15 |  | 10 | 12 | 0.028584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6263-11_0_6_line_16 |  | 11 | 22 | 0.03399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6263-11_0_6_line_17 |  | 12 | 13 | 0.004084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6263-11_0_6_line_18 |  | 12 | 14 | 0.00275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6263-11_0_6_line_19 |  | 12 | 15 | 0.013752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6263-11_0_6_line_20 |  | 13 | 23 | 0.004934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6263-11_0_6_line_21 |  | 15 | 24 | 0.0020829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6263-11_0_6_line_22 |  | 16 | 25 | 0.0075019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6263-11_0_6_line_23 |  | 17 | 26 | 0.0064323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6263-11_0_6_line_24 |  | 18 | 19 | 0.021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6263-11_0_6_line_25 |  | 19 | 27 | 0.01873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6263-11_0_6_line_26 |  | 20 | 60 | 0.0079291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6263-11_0_6_line_27 |  | 21 | 49 | 0.0076474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6263-11_0_6_line_28 |  | 22 | 27 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6263-11_0_6_line_29 |  | 24 | 41 | 0.012521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6263-11_0_6_line_30 |  | 26 | 28 | 0.0054887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6263-11_0_6_line_31 |  | 28 | 29 | 0.0048494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6263-11_0_6_line_32 |  | 29 | 30 | 0.015561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6263-11_0_6_line_33 |  | 30 | 43 | 0.0012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6263-11_0_6_line_34 |  | 31 | 32 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6263-11_0_6_line_35 |  | 31 | 33 | 0.012853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6263-11_0_6_line_36 |  | 32 | 38 | 0.013028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6263-11_0_6_line_37 |  | 33 | 42 | 0.0021033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6263-11_0_6_line_38 |  | 34 | 35 | 0.016048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6263-11_0_6_line_39 |  | 35 | 36 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6263-11_0_6_line_40 |  | 36 | 37 | 0.0010876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6263-11_0_6_line_41 |  | 37 | 38 | 0.011155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6263-11_0_6_line_42 |  | 39 | 40 | 0.0041018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6263-11_0_6_line_43 |  | 39 | 41 | 0.0046759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6263-11_0_6_line_44 |  | 42 | 48 | 0.012897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6263-11_0_6_line_45 |  | 43 | 44 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6263-11_0_6_line_46 |  | 44 | 45 | 0.0023657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6263-11_0_6_line_47 |  | 45 | 46 | 0.0074585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6263-11_0_6_line_48 |  | 46 | 47 | 0.0061289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6263-11_0_6_line_49 |  | 47 | 48 | 0.0089745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6263-11_0_6_line_50 |  | 49 | 50 | 0.011504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6263-11_0_6_line_51 |  | 50 | 51 | 0.019963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6263-11_0_6_line_52 |  | 51 | 52 | 0.010905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6263-11_0_6_line_53 |  | 52 | 53 | 0.043808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6263-11_0_6_line_54 |  | 53 | 54 | 0.019766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6263-11_0_6_line_55 |  | 55 | 56 | 0.07457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6263-11_0_6_line_56 |  | 55 | 57 | 0.008063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6263-11_0_6_line_57 |  | 56 | 58 | 0.019613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6263-11_0_6_line_58 |  | 57 | 59 | 0.013293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6263-11_0_6_line_59 |  | 59 | 65 | 0.0137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6263-11_0_6_line_60 |  | 60 | 61 | 0.011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6263-11_0_6_line_61 |  | 61 | 62 | 0.027021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6263-11_0_6_line_62 |  | 61 | 63 | 0.018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6263-11_0_6_line_63 |  | 62 | 64 | 0.009237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6263-11_0_6_line_64 |  | 64 | 65 | 0.02086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6263-11_0_6_trafo_14 | 0.63 MVA 20/0.4 kV | 66 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2595927.7259 | 1123195.5197 | 2595925.5126 | 1123194.921 | 2595923.4991 | 1123193.5105 | 2595921.9867 | 1123191.7552 | 2595919.3696 | 1123187.1547 | 2595916.1973 | 1123182.3879 | 2595913.7818 | 1123179.4326 | 2595910.5099 | 1123175.5218 | 2595905.9347 | 1123171.4229 | 2595900.2952 | 1123167.1136 | 2595899.6825 | 1123166.7868
1 | 2595927.7259 | 1123195.5197 | 2595929.8386 | 1123195.5183 | 2595931.8971 | 1123195.2167 | 2595937.1938 | 1123194.5016
2 | 2595911.3161 | 1123204.2019 | 2595919.3296 | 1123207.4535 | 2595919.3439 | 1123205.7972 | 2595918.9627 | 1123200.9951 | 2595928.5071 | 1123199.1098 | 2595927.7259 | 1123195.5197
3 | 2595937.1938 | 1123194.5016 | 2595936.9462 | 1123193.2345 | 2595937.0913 | 1123191.1668 | 2595938.6534 | 1123186.619 | 2595944.1434 | 1123175.3876 | 2595945.5051 | 1123171.9229
4 | 2595941.7442 | 1123196.2549 | 2595937.7045 | 1123197.1804 | 2595937.1938 | 1123194.5016
5 | 2595908.5788 | 1123215.3426 | 2595908.3804 | 1123207.1387 | 2595911.3161 | 1123204.2019
6 | 2595911.3161 | 1123204.2019 | 2595912.3021 | 1123202.7783 | 2595912.8408 | 1123201.3661 | 2595913.1172 | 1123199.5651 | 2595913.0623 | 1123198.2534 | 2595912.4591 | 1123195.7525 | 2595911.6329 | 1123193.9522 | 2595910.9519 | 1123192.6497
7 | 2595941.7442 | 1123196.2549 | 2595955.6853 | 1123194.4155
8 | 2595955.6853 | 1123194.4155 | 2595961.0997 | 1123193.701
9 | 2595938.3933 | 1123234.7093 | 2595939.948 | 1123230.6063
10 | 2595939.948 | 1123230.6063 | 2595941.8841 | 1123231.7944 | 2595945.162 | 1123233.1039 | 2595948.0826 | 1123234.0976
11 | 2595938.3933 | 1123234.7093 | 2595936.9078 | 1123238.6234
12 | 2595909.7827 | 1123239.2868 | 2595911.0233 | 1123238.0964 | 2595912.7419 | 1123236.9502 | 2595914.9465 | 1123235.9927 | 2595917.6677 | 1123235.1793 | 2595920.3973 | 1123235.1775 | 2595923.5587 | 1123235.3643 | 2595927.0983 | 1123236.0288 | 2595936.2369 | 1123238.4126 | 2595936.9078 | 1123238.6234
13 | 2595936.9078 | 1123238.6234 | 2595938.7197 | 1123239.207
14 | 2595908.5788 | 1123215.3426 | 2595904.3843 | 1123215.3343 | 2595901.5153 | 1123216.7967
15 | 2595905.9727 | 1123237.7886 | 2595908.876 | 1123232.7064 | 2595911.6808 | 1123229.9253 | 2595914.0234 | 1123227.945 | 2595912.9274 | 1123226.4116 | 2595912.3094 | 1123224.6557 | 2595912.2002 | 1123222.777 | 2595912.6153 | 1123220.9536 | 2595913.524 | 1123219.3189 | 2595908.5788 | 1123215.3426
16 | 2595910.9519 | 1123192.6497 | 2595910.4362 | 1123191.6631 | 2595907.642 | 1123187.474 | 2595904.7946 | 1123184.1522 | 2595901.6773 | 1123180.9416 | 2595898.946 | 1123178.3867 | 2595896.5928 | 1123176.3651 | 2595893.0289 | 1123173.9775 | 2595886.3184 | 1123170.6917 | 2595885.9587 | 1123170.5473
17 | 2595905.9727 | 1123237.7886 | 2595909.7827 | 1123239.2868
18 | 2595905.9727 | 1123237.7886 | 2595903.4121 | 1123236.7677
19 | 2595905.9727 | 1123237.7886 | 2595901.0852 | 1123250.6424
20 | 2595907.1023 | 1123243.3906 | 2595907.7259 | 1123242.0562 | 2595908.7272 | 1123240.4325 | 2595909.7827 | 1123239.2868
21 | 2595900.279 | 1123252.5623 | 2595900.8314 | 1123251.3099 | 2595901.0852 | 1123250.6424
22 | 2595943.6354 | 1123165.5053 | 2595945.132 | 1123166.4937 | 2595946.0586 | 1123168.4829 | 2595945.8521 | 1123171.0398 | 2595945.5051 | 1123171.9229
23 | 2595896.1873 | 1123220.3183 | 2595898.4878 | 1123218.3399 | 2595901.5153 | 1123216.7967
24 | 2595854.0403 | 1123166.6251 | 2595844.5939 | 1123167.1745 | 2595838.7263 | 1123167.4454 | 2595832.9357 | 1123167.4828
25 | 2595854.0403 | 1123166.6251 | 2595864.1318 | 1123166.0381 | 2595869.3056 | 1123166.1012 | 2595872.7315 | 1123166.4816
26 | 2595968.9607 | 1123192.6638 | 2595961.0997 | 1123193.701
27 | 2595938.7197 | 1123239.207 | 2595945.9988 | 1123241.5515
28 | 2595885.9587 | 1123170.5473 | 2595880.1559 | 1123168.217 | 2595875.5748 | 1123166.7972 | 2595872.7315 | 1123166.4816
29 | 2595900.279 | 1123252.5623 | 2595895.8043 | 1123262.7078 | 2595895.1415 | 1123263.978
30 | 2595892.1246 | 1123223.9853 | 2595892.4078 | 1123223.5688 | 2595896.1873 | 1123220.3183
31 | 2595892.1246 | 1123223.9853 | 2595889.3983 | 1123227.9958
32 | 2595889.3983 | 1123227.9958 | 2595881.7396 | 1123239.2617 | 2595880.278 | 1123240.5349
33 | 2595879.3508 | 1123241.3425 | 2595880.278 | 1123240.5349
34 | 2595822.8299 | 1123270.229 | 2595819.1943 | 1123264.6066 | 2595811.7175 | 1123257.2193
35 | 2595822.8299 | 1123270.229 | 2595825.1348 | 1123269.4603 | 2595834.9291 | 1123265.8938
36 | 2595811.7175 | 1123257.2193 | 2595807.119 | 1123252.6759 | 2595802.4213 | 1123248.0914
37 | 2595836.9054 | 1123265.1741 | 2595834.9291 | 1123265.8938
38 | 2595780.2228 | 1123228.1274 | 2595784.5615 | 1123224.8561 | 2595785.9959 | 1123214.3388
39 | 2595780.2228 | 1123228.1274 | 2595793.496 | 1123239.7176
40 | 2595793.496 | 1123239.7176 | 2595794.3153 | 1123240.433
41 | 2595794.3153 | 1123240.433 | 2595796.7721 | 1123242.5783 | 2595802.4213 | 1123248.0914
42 | 2595892.9783 | 1123268.1235 | 2595889.792 | 1123270.7066
43 | 2595892.9783 | 1123268.1235 | 2595895.1415 | 1123263.978
44 | 2595849.0236 | 1123260.7612 | 2595836.9054 | 1123265.1741
45 | 2595879.3508 | 1123241.3425 | 2595870.7791 | 1123248.8096
46 | 2595870.7791 | 1123248.8096 | 2595868.9953 | 1123250.3635
47 | 2595868.9953 | 1123250.3635 | 2595868.4701 | 1123250.821 | 2595862.5088 | 1123254.0126
48 | 2595857.1055 | 1123256.9055 | 2595862.5088 | 1123254.0126
49 | 2595849.0236 | 1123260.7612 | 2595851.7754 | 1123259.7592 | 2595857.1055 | 1123256.9055
50 | 2595945.9988 | 1123241.5515 | 2595953.9903 | 1123244.1255 | 2595956.9352 | 1123245.1211
51 | 2595956.9352 | 1123245.1211 | 2595974.8289 | 1123251.1704 | 2595975.8486 | 1123251.508
52 | 2595975.8486 | 1123251.508 | 2595986.2006 | 1123254.9355
53 | 2595986.2006 | 1123254.9355 | 2595994.6647 | 1123257.7379 | 2596009.2333 | 1123262.8417 | 2596022.383 | 1123267.8687 | 2596027.3301 | 1123269.9775
54 | 2596027.3301 | 1123269.9775 | 2596028.8925 | 1123270.6435 | 2596033.983 | 1123273.0635 | 2596038.1482 | 1123275.3952 | 2596044.3885 | 1123279.2373 | 2596044.6579 | 1123279.427
55 | 2596043.2099 | 1123257.7054 | 2596050.4054 | 1123260.0684 | 2596057.4226 | 1123261.1754 | 2596067.7069 | 1123258.9342 | 2596069.9534 | 1123251.329 | 2596080.8205 | 1123244.2406 | 2596087.0141 | 1123235.7434 | 2596089.8441 | 1123224.2915 | 2596089.4236 | 1123218.1555
56 | 2596043.2099 | 1123257.7054 | 2596037.6176 | 1123251.8969
57 | 2596089.4236 | 1123218.1555 | 2596083.8849 | 1123214.2016 | 2596072.4159 | 1123208.5013
58 | 2596029.083 | 1123241.7173 | 2596035.5944 | 1123249.7955 | 2596037.6176 | 1123251.8969
59 | 2596020.4835 | 1123231.052 | 2596021.3104 | 1123232.0742 | 2596029.083 | 1123241.7173
60 | 2595980.3397 | 1123190.9039 | 2595973.8404 | 1123192.0199 | 2595968.9607 | 1123192.6638
61 | 2595980.3397 | 1123190.9039 | 2595995.0278 | 1123201.5881 | 2596000.998 | 1123208.1313
62 | 2595980.3397 | 1123190.9039 | 2595998.3137 | 1123187.8213
63 | 2596007.224 | 1123214.9548 | 2596000.998 | 1123208.1313
64 | 2596007.224 | 1123214.9548 | 2596009.3106 | 1123217.2417 | 2596020.4835 | 1123231.052

## bus_geodata
| x | y | coords
0 | 2595899.6825 | 1123166.7868
1 | 2595927.7259 | 1123195.5197
2 | 2595937.1938 | 1123194.5016
3 | 2595911.3161 | 1123204.2019
4 | 2595941.7442 | 1123196.2549
5 | 2595955.6853 | 1123194.4155
6 | 2595939.948 | 1123230.6063
7 | 2595938.3933 | 1123234.7093
8 | 2595948.0826 | 1123234.0976
9 | 2595936.9078 | 1123238.6234
10 | 2595908.5788 | 1123215.3426
11 | 2595910.9519 | 1123192.6497
12 | 2595905.9727 | 1123237.7886
13 | 2595909.7827 | 1123239.2868
14 | 2595903.4121 | 1123236.7677
15 | 2595901.0852 | 1123250.6424
16 | 2595945.5051 | 1123171.9229
17 | 2595901.5153 | 1123216.7967
18 | 2595832.9357 | 1123167.4828
19 | 2595854.0403 | 1123166.6251
20 | 2595961.0997 | 1123193.701
21 | 2595938.7197 | 1123239.207
22 | 2595885.9587 | 1123170.5473
23 | 2595907.1023 | 1123243.3906
24 | 2595900.279 | 1123252.5623
25 | 2595943.6354 | 1123165.5053
26 | 2595896.1873 | 1123220.3183
27 | 2595872.7315 | 1123166.4816
28 | 2595892.1246 | 1123223.9853
29 | 2595889.3983 | 1123227.9958
30 | 2595880.278 | 1123240.5349
31 | 2595822.8299 | 1123270.229
32 | 2595811.7175 | 1123257.2193
33 | 2595834.9291 | 1123265.8938
34 | 2595785.9959 | 1123214.3388
35 | 2595780.2228 | 1123228.1274
36 | 2595793.496 | 1123239.7176
37 | 2595794.3153 | 1123240.433
38 | 2595802.4213 | 1123248.0914
39 | 2595892.9783 | 1123268.1235
40 | 2595889.792 | 1123270.7066
41 | 2595895.1415 | 1123263.978
42 | 2595836.9054 | 1123265.1741
43 | 2595879.3508 | 1123241.3425
44 | 2595870.7791 | 1123248.8096
45 | 2595868.9953 | 1123250.3635
46 | 2595862.5088 | 1123254.0126
47 | 2595857.1055 | 1123256.9055
48 | 2595849.0236 | 1123260.7612
49 | 2595945.9988 | 1123241.5515
50 | 2595956.9352 | 1123245.1211
51 | 2595975.8486 | 1123251.508
52 | 2595986.2006 | 1123254.9355
53 | 2596027.3301 | 1123269.9775
54 | 2596044.6579 | 1123279.427
55 | 2596043.2099 | 1123257.7054
56 | 2596089.4236 | 1123218.1555
57 | 2596037.6176 | 1123251.8969
58 | 2596072.4159 | 1123208.5013
59 | 2596029.083 | 1123241.7173
60 | 2595968.9607 | 1123192.6638
61 | 2595980.3397 | 1123190.9039
62 | 2596000.998 | 1123208.1313
63 | 2595998.3137 | 1123187.8213
64 | 2596007.224 | 1123214.9548
65 | 2596020.4835 | 1123231.052
66 | 2595908.5788 | 1123215.3426

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1