## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6263-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6263-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6263-19_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6263-19_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6263-19_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_6263-19_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6263-19_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6263-19_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6263-19_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_6263-19_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6263-19_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_6263-19_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_6263-19_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_6263-19_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_6263-19_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6263-19_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_6263-19_0_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_6263-19_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_6263-19_0_4_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_6263-19_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_6263-19_0_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_6263-19_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6263-19_0_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_6263-19_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_6263-19_0_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_6263-19_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_6263-19_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6263-19_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6263-19_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6263-19_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6263-19_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6263-19_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6263-19_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6263-19_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6263-19_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6263-19_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6263-19_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6263-19_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_6263-19_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6263-19_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_6263-19_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6263-19_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_6263-19_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6263-19_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6263-19_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6263-19_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_6263-19_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_6263-19_0_4_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_6263-19_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_MV_96_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6263-19_0_4_load_0 | 0 | 0.011654 | 0.0029207 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6263-19_0_4_load_1 | 1 | 0.012051 | 0.0030202 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6263-19_0_4_load_3 | 2 | 0.0067472 | 0.001691 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6263-19_0_4_load_5 | 3 | 0.0069731 | 0.0017476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6263-19_0_4_load_10 | 4 | 0.0056179 | 0.001408 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6263-19_0_4_load_6 | 5 | 0.019878 | 0.0049818 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6263-19_0_4_load_7 | 6 | 0.0069346 | 0.001738 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6263-19_0_4_load_8 | 7 | 0.011366 | 0.0028485 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6263-19_0_4_load_9 | 8 | 0.0072366 | 0.0018137 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6263-19_0_4_load_4 | 9 | 0.008281 | 0.0020754 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6263-19_0_4_load_12 | 11 | 0.0087257 | 0.0021869 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6263-19_0_4_load_18 | 13 | 0.015488 | 0.0038816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6263-19_0_4_load_46 | 16 | 0.0050532 | 0.0012664 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6263-19_0_4_load_44 | 17 | 0.008435 | 0.002114 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6263-19_0_4_load_42 | 18 | 0.0084804 | 0.0021254 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6263-19_0_4_load_47 | 19 | 0.0053326 | 0.0013365 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6263-19_0_4_load_16 | 21 | 0.008768 | 0.0021975 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6263-19_0_4_load_45 | 22 | 0.030274 | 0.0075873 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6263-19_0_4_load_41 | 23 | 0.0093766 | 0.00235 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6263-19_0_4_load_48 | 24 | 0.0049118 | 0.001231 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6263-19_0_4_load_25 | 25 | 0.0060041 | 0.0015048 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6263-19_0_4_load_17 | 26 | 0.0066082 | 0.0016562 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6263-19_0_4_load_20 | 28 | 0.0099848 | 0.0025024 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6263-19_0_4_load_21 | 29 | 0.0088224 | 0.0022111 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6263-19_0_4_load_22 | 30 | 0.0066079 | 0.0016561 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6263-19_0_4_load_23 | 31 | 0.0039401 | 0.00098748 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6263-19_0_4_load_24 | 32 | 0.010072 | 0.0025242 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6263-19_0_4_load_30 | 34 | 0.0045338 | 0.0011363 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6263-19_0_4_load_28 | 35 | 0.0027465 | 0.00068834 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6263-19_0_4_load_32 | 36 | 0.0082778 | 0.0020746 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6263-19_0_4_load_29 | 37 | 0.0058396 | 0.0014635 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6263-19_0_4_load_31 | 38 | 0.0075534 | 0.0018931 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6263-19_0_4_load_33 | 39 | 0.0067154 | 0.001683 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6263-19_0_4_load_34 | 40 | 0.010335 | 0.0025902 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6263-19_0_4_load_36 | 42 | 0.0052839 | 0.0013243 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6263-19_0_4_load_37 | 43 | 0.0057278 | 0.0014355 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6263-19_0_4_load_38 | 44 | 0.012132 | 0.0030406 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6263-19_0_4_load_49 | 45 | 0.0067847 | 0.0017004 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6263-19_0_4_load_50 | 47 | 0.016527 | 0.0041419 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6263-19_0_4_load_40 | 48 | 0.0066212 | 0.0016594 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6263-19_0_4_line_0 |  | 0 | 1 | 0.052774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6263-19_0_4_line_1 |  | 1 | 2 | 0.023249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6263-19_0_4_line_2 |  | 1 | 3 | 0.06195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6263-19_0_4_line_3 |  | 2 | 4 | 0.02686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6263-19_0_4_line_4 |  | 3 | 5 | 0.09809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6263-19_0_4_line_5 |  | 3 | 6 | 0.0020226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6263-19_0_4_line_6 |  | 4 | 10 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6263-19_0_4_line_7 |  | 5 | 9 | 0.051392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6263-19_0_4_line_8 |  | 6 | 7 | 0.026151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6263-19_0_4_line_9 |  | 7 | 8 | 0.014648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6263-19_0_4_line_10 |  | 10 | 11 | 0.0013684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6263-19_0_4_line_11 |  | 10 | 12 | 0.1529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6263-19_0_4_line_12 |  | 11 | 13 | 0.019338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6263-19_0_4_line_13 |  | 12 | 19 | 0.0045583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6263-19_0_4_line_14 |  | 12 | 20 | 0.21556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6263-19_0_4_line_15 |  | 12 | 16 | 0.048031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6263-19_0_4_line_16 |  | 13 | 21 | 0.012852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6263-19_0_4_line_17 |  | 14 | 15 | 0.033538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6263-19_0_4_line_18 |  | 14 | 16 | 0.042882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6263-19_0_4_line_19 |  | 15 | 17 | 0.016255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6263-19_0_4_line_20 |  | 15 | 18 | 0.050331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6263-19_0_4_line_21 |  | 17 | 22 | 0.0013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6263-19_0_4_line_22 |  | 18 | 23 | 0.049536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6263-19_0_4_line_23 |  | 19 | 24 | 0.023825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6263-19_0_4_line_24 |  | 20 | 25 | 0.019042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6263-19_0_4_line_25 |  | 21 | 26 | 0.036108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6263-19_0_4_line_26 |  | 25 | 31 | 0.04757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6263-19_0_4_line_27 |  | 26 | 27 | 0.030688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6263-19_0_4_line_28 |  | 27 | 28 | 0.019391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6263-19_0_4_line_29 |  | 28 | 29 | 0.014068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6263-19_0_4_line_30 |  | 29 | 30 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6263-19_0_4_line_31 |  | 31 | 32 | 0.0062471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6263-19_0_4_line_32 |  | 32 | 33 | 0.01963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6263-19_0_4_line_33 |  | 33 | 34 | 0.0077931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6263-19_0_4_line_34 |  | 33 | 35 | 0.039708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6263-19_0_4_line_35 |  | 34 | 36 | 0.032158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6263-19_0_4_line_36 |  | 35 | 37 | 0.011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6263-19_0_4_line_37 |  | 36 | 38 | 0.018929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6263-19_0_4_line_38 |  | 38 | 39 | 0.0036263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6263-19_0_4_line_39 |  | 39 | 40 | 0.015346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6263-19_0_4_line_40 |  | 40 | 41 | 0.011753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6263-19_0_4_line_41 |  | 41 | 42 | 0.0019515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6263-19_0_4_line_42 |  | 41 | 43 | 0.073883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6263-19_0_4_line_43 |  | 42 | 44 | 0.007149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6263-19_0_4_line_44 |  | 43 | 45 | 0.023082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6263-19_0_4_line_45 |  | 44 | 46 | 0.065356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6263-19_0_4_line_46 |  | 45 | 47 | 0.07987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6263-19_0_4_line_47 |  | 46 | 48 | 0.17644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6263-19_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 49 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2595607.0715 | 1122533.9026 | 2595611.3982 | 1122545.1938 | 2595617.0085 | 1122550.7924 | 2595637.2839 | 1122553.6678 | 2595648.9101 | 1122557.614
1 | 2595648.9101 | 1122557.614 | 2595654.2454 | 1122559.4249 | 2595671.5307 | 1122562.8161
2 | 2595648.9101 | 1122557.614 | 2595624.2331 | 1122614.4364
3 | 2595671.5307 | 1122562.8161 | 2595685.6892 | 1122565.5939 | 2595698.0563 | 1122564.3287
4 | 2595624.2331 | 1122614.4364 | 2595609.1134 | 1122604.8024 | 2595597.3155 | 1122594.9174 | 2595585.6174 | 1122584.6099 | 2595559.3401 | 1122567.9324 | 2595543.5861 | 1122559.1113
5 | 2595624.2331 | 1122614.4364 | 2595625.9389 | 1122615.5233
6 | 2595710.0939 | 1122563.0973 | 2595698.0563 | 1122564.3287
7 | 2595528.3586 | 1122510.0274 | 2595543.5861 | 1122559.1113
8 | 2595642.8491 | 1122634.5699 | 2595638.4932 | 1122625.3909 | 2595628.9793 | 1122617.4606 | 2595625.9389 | 1122615.5233
9 | 2595643.0524 | 1122649.1426 | 2595643.6812 | 1122644.1518 | 2595642.8491 | 1122634.5699 | 2595642.8491 | 1122634.5699
10 | 2595710.0939 | 1122563.0973 | 2595710.9101 | 1122564.1955
11 | 2595692.1428 | 1122426.0878 | 2595688.8977 | 1122428.1133 | 2595693.7929 | 1122436.5361 | 2595691.9815 | 1122437.6824 | 2595691.2811 | 1122439.5394 | 2595691.4835 | 1122442.1405 | 2595694.3671 | 1122452.0433 | 2595695.3968 | 1122457.7453 | 2595696.2042 | 1122465.2151 | 2595695.4531 | 1122471.4964 | 2595694.8537 | 1122474.4983 | 2595689.7663 | 1122488.0642 | 2595687.3038 | 1122505.7969 | 2595682.7666 | 1122523.1197 | 2595684.8398 | 1122532.1893 | 2595694.7719 | 1122542.4983 | 2595710.0939 | 1122563.0973
12 | 2595710.9101 | 1122564.1955 | 2595722.4451 | 1122579.716
13 | 2595692.1428 | 1122426.0878 | 2595693.3684 | 1122425.4199 | 2595695.0417 | 1122425.2408 | 2595696.4532 | 1122425.6845
14 | 2595597.9557 | 1122240.8551 | 2595596.5778 | 1122254.674 | 2595601.2068 | 1122267.7992 | 2595606.7814 | 1122308.1148 | 2595613.0315 | 1122323.5399 | 2595626.688 | 1122343.3395 | 2595640.5328 | 1122357.1139 | 2595650.9706 | 1122373.0362 | 2595668.4272 | 1122390.81 | 2595670.0183 | 1122394.1882 | 2595674.0468 | 1122398.3874 | 2595674.0088 | 1122399.1433 | 2595674.7969 | 1122401.2771 | 2595676.4256 | 1122403.4881 | 2595680.5088 | 1122408.6988 | 2595683.8823 | 1122413.4765 | 2595688.4447 | 1122420.2654 | 2595691.6178 | 1122425.2322 | 2595692.1428 | 1122426.0878
15 | 2595692.1428 | 1122426.0878 | 2595694.8682 | 1122430.5658 | 2595697.6478 | 1122435.3883 | 2595699.9875 | 1122439.6109 | 2595702.3274 | 1122444.2226 | 2595704.9074 | 1122450.2348 | 2595706.9392 | 1122455.2469 | 2595708.2838 | 1122459.1589 | 2595709.5979 | 1122463.4934 | 2595711.4649 | 1122469.8311
16 | 2595730.1117 | 1122590.0314 | 2595722.4451 | 1122579.716
17 | 2595729.0403 | 1122508.8794 | 2595730.5537 | 1122511.5463 | 2595734.0433 | 1122517.2799 | 2595738.8451 | 1122524.6245 | 2595743.4844 | 1122531.1688 | 2595747.4902 | 1122536.224 | 2595747.8221 | 1122536.6462
18 | 2595729.0403 | 1122508.8794 | 2595728.6079 | 1122508.1127 | 2595720.7157 | 1122492.6775 | 2595716.1509 | 1122482.5313 | 2595713.8872 | 1122476.6523 | 2595711.7392 | 1122470.7621 | 2595711.4649 | 1122469.8311
19 | 2595747.8221 | 1122536.6462 | 2595749.1326 | 1122535.9893 | 2595751.2993 | 1122535.7766 | 2595763.6401 | 1122538.3792
20 | 2595747.8221 | 1122536.6462 | 2595751.2182 | 1122540.9236 | 2595755.7021 | 1122545.934 | 2595759.8618 | 1122550.4777 | 2595764.847 | 1122555.6322 | 2595768.7824 | 1122559.3201 | 2595773.1885 | 1122563.3078 | 2595777.2318 | 1122566.8955 | 2595782.8256 | 1122571.2715 | 2595783.5988 | 1122571.8591
21 | 2595764.9583 | 1122538.6571 | 2595763.6401 | 1122538.3792
22 | 2595824.9224 | 1122599.1319 | 2595822.982 | 1122597.9117 | 2595810.0211 | 1122589.7057 | 2595798.3641 | 1122582.3214 | 2595790.001 | 1122576.7246 | 2595783.5988 | 1122571.8591
23 | 2595712.3131 | 1122443.226 | 2595709.0496 | 1122441.0384 | 2595705.5306 | 1122437.5281 | 2595702.2655 | 1122433.2284 | 2595699.2707 | 1122429.5399 | 2595696.4532 | 1122425.6845
24 | 2595597.9557 | 1122240.8551 | 2595616.6934 | 1122244.2438
25 | 2595730.1117 | 1122590.0314 | 2595732.4553 | 1122593.1848 | 2595738.256 | 1122606.3759 | 2595739.5378 | 1122624.098
26 | 2595660.6226 | 1122260.5067 | 2595640.0136 | 1122248.4612 | 2595616.6934 | 1122244.2438
27 | 2595742.3527 | 1122652.3066 | 2595740.7697 | 1122649.2618 | 2595737.0425 | 1122645.5515 | 2595740.3433 | 1122635.233 | 2595739.5378 | 1122624.098
28 | 2595742.3527 | 1122652.3066 | 2595761.2288 | 1122656.7475
29 | 2595761.2288 | 1122656.7475 | 2595774.9227 | 1122659.9693
30 | 2595793.1707 | 1122664.2625 | 2595774.9227 | 1122659.9693
31 | 2595660.6226 | 1122260.5067 | 2595666.0161 | 1122263.6591
32 | 2595682.9633 | 1122273.5644 | 2595666.0161 | 1122263.6591
33 | 2595682.9633 | 1122273.5644 | 2595689.2401 | 1122278.1832
34 | 2595682.9633 | 1122273.5644 | 2595673.6185 | 1122286.6553 | 2595672.38 | 1122290.9917 | 2595672.5838 | 1122295.5271 | 2595677.9644 | 1122309.0717
35 | 2595689.2401 | 1122278.1832 | 2595715.1412 | 1122297.2428
36 | 2595679.226 | 1122320.0564 | 2595679.4297 | 1122313.8644 | 2595678.3937 | 1122310.1522 | 2595677.9644 | 1122309.0717
37 | 2595730.3871 | 1122308.4616 | 2595715.1412 | 1122297.2428
38 | 2595730.3871 | 1122308.4616 | 2595733.3079 | 1122310.6109
39 | 2595733.3079 | 1122310.6109 | 2595739.2115 | 1122314.9551 | 2595744.9658 | 1122320.5357
40 | 2595753.4032 | 1122328.7184 | 2595744.9658 | 1122320.5357
41 | 2595753.4032 | 1122328.7184 | 2595754.7819 | 1122330.0994
42 | 2595753.4032 | 1122328.7184 | 2595751.4259 | 1122335.2563 | 2595752.6806 | 1122353.6088 | 2595753.3033 | 1122361.6456 | 2595756.4079 | 1122368.0354 | 2595767.5898 | 1122378.955 | 2595779.9381 | 1122391.8632
43 | 2595754.7819 | 1122330.0994 | 2595759.8329 | 1122335.1587
44 | 2595796.6629 | 1122407.6175 | 2595792.2235 | 1122404.7057 | 2595779.9381 | 1122391.8632
45 | 2595812.1586 | 1122372.8094 | 2595795.8055 | 1122366.529 | 2595779.7801 | 1122354.6567 | 2595765.1256 | 1122340.4602 | 2595759.8329 | 1122335.1587
46 | 2595859.6857 | 1122450.8475 | 2595825.9624 | 1122438.7096 | 2595821.2024 | 1122435.8227 | 2595814.9857 | 1122423.2542 | 2595809.814 | 1122416.2433 | 2595796.6629 | 1122407.6175
47 | 2595812.1586 | 1122372.8094 | 2595832.2717 | 1122374.585 | 2595861.0903 | 1122385.9815 | 2595870.9659 | 1122392.9003 | 2595885.4524 | 1122410.0097 | 2595903.6654 | 1122429.7957 | 2595909.2515 | 1122434.0939 | 2595935.1171 | 1122447.0937 | 2595959.5587 | 1122460.5277

## bus_geodata
| x | y | coords
0 | 2595607.0715 | 1122533.9026
1 | 2595648.9101 | 1122557.614
2 | 2595671.5307 | 1122562.8161
3 | 2595624.2331 | 1122614.4364
4 | 2595698.0563 | 1122564.3287
5 | 2595543.5861 | 1122559.1113
6 | 2595625.9389 | 1122615.5233
7 | 2595642.8491 | 1122634.5699
8 | 2595643.0524 | 1122649.1426
9 | 2595528.3586 | 1122510.0274
10 | 2595710.0939 | 1122563.0973
11 | 2595710.9101 | 1122564.1955
12 | 2595692.1428 | 1122426.0878
13 | 2595722.4451 | 1122579.716
14 | 2595729.0403 | 1122508.8794
15 | 2595747.8221 | 1122536.6462
16 | 2595711.4649 | 1122469.8311
17 | 2595763.6401 | 1122538.3792
18 | 2595783.5988 | 1122571.8591
19 | 2595696.4532 | 1122425.6845
20 | 2595597.9557 | 1122240.8551
21 | 2595730.1117 | 1122590.0314
22 | 2595764.9583 | 1122538.6571
23 | 2595824.9224 | 1122599.1319
24 | 2595712.3131 | 1122443.226
25 | 2595616.6934 | 1122244.2438
26 | 2595739.5378 | 1122624.098
27 | 2595742.3527 | 1122652.3066
28 | 2595761.2288 | 1122656.7475
29 | 2595774.9227 | 1122659.9693
30 | 2595793.1707 | 1122664.2625
31 | 2595660.6226 | 1122260.5067
32 | 2595666.0161 | 1122263.6591
33 | 2595682.9633 | 1122273.5644
34 | 2595689.2401 | 1122278.1832
35 | 2595677.9644 | 1122309.0717
36 | 2595715.1412 | 1122297.2428
37 | 2595679.226 | 1122320.0564
38 | 2595730.3871 | 1122308.4616
39 | 2595733.3079 | 1122310.6109
40 | 2595744.9658 | 1122320.5357
41 | 2595753.4032 | 1122328.7184
42 | 2595754.7819 | 1122330.0994
43 | 2595779.9381 | 1122391.8632
44 | 2595759.8329 | 1122335.1587
45 | 2595796.6629 | 1122407.6175
46 | 2595812.1586 | 1122372.8094
47 | 2595859.6857 | 1122450.8475
48 | 2595959.5587 | 1122460.5277
49 | 2595724.685 | 1122511.1836

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1