## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6263-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6263-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6263-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6263-8_0_6_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_6263-8_0_6_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_6263-8_0_6_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_6263-8_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6263-8_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6263-8_0_6_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_6263-8_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6263-8_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6263-8_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6263-8_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6263-8_0_6_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_6263-8_0_6_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_6263-8_0_6_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_6263-8_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6263-8_0_6_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_6263-8_0_6_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_6263-8_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6263-8_0_6_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_6263-8_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6263-8_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_6263-8_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6263-8_0_6_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_6263-8_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_6263-8_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_6263-8_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6263-8_0_6_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_6263-8_0_6_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_6263-8_0_6_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_6263-8_0_6_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_6263-8_0_6_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_6263-8_0_6_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6263-8_0_6_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_6263-8_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_6263-8_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6263-8_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6263-8_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_6263-8_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_6263-8_0_6_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_6263-8_0_6_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_6263-8_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6263-8_0_6_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_6263-8_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6263-8_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_6263-8_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6263-8_0_6_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_6263-8_0_6_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6263-8_0_6_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6263-8_0_6_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6263-8_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6263-8_0_6_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_6263-8_0_6_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_6263-8_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_6263-8_0_6_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_6263-8_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_6263-8_0_6_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_6263-8_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6263-8_0_6_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6263-8_0_6_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6263-8_0_6_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6263-8_0_6_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_6263-8_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6263-8_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_MV_96_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6263-8_0_6_load_0 | 0 | 0.0095737 | 0.0023994 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6263-8_0_6_load_2 | 2 | 0.030655 | 0.0076828 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6263-8_0_6_load_21 | 5 | 0.003975 | 0.00099623 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6263-8_0_6_load_10 | 6 | 0.0057215 | 0.0014339 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6263-8_0_6_load_3 | 8 | 0.006398 | 0.0016035 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6263-8_0_6_load_4 | 9 | 0.0064643 | 0.0016201 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6263-8_0_6_load_5 | 10 | 0.012847 | 0.0032198 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6263-8_0_6_load_6 | 11 | 0.0075892 | 0.001902 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6263-8_0_6_load_7 | 12 | 0.0054013 | 0.0013537 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6263-8_0_6_load_25 | 13 | 0.0055293 | 0.0013858 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6263-8_0_6_load_26 | 14 | 0.0050399 | 0.0012631 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6263-8_0_6_load_27 | 15 | 0.0043866 | 0.0010994 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6263-8_0_6_load_8 | 16 | 0.00725 | 0.001817 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6263-8_0_6_load_18 | 17 | 0.017929 | 0.0044935 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6263-8_0_6_load_23 | 18 | 0.025459 | 0.0063806 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6263-8_0_6_load_19 | 20 | 0.0078192 | 0.0019597 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6263-8_0_6_load_17 | 21 | 0.023357 | 0.0058538 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6263-8_0_6_load_20 | 22 | 0.0077613 | 0.0019452 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6263-8_0_6_load_16 | 23 | 0.0057924 | 0.0014517 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6263-8_0_6_load_12 | 24 | 0.0053963 | 0.0013524 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6263-8_0_6_load_13 | 25 | 0.029615 | 0.0074221 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6263-8_0_6_load_14 | 26 | 0.010011 | 0.0025091 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6263-8_0_6_load_15 | 27 | 0.017711 | 0.0044387 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6263-8_0_6_load_36 | 28 | 0.006903 | 0.0017301 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6263-8_0_6_load_56 | 29 | 0.004004 | 0.0010035 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6263-8_0_6_load_35 | 30 | 0.01224 | 0.0030675 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6263-8_0_6_load_34 | 31 | 0.0092088 | 0.0023079 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6263-8_0_6_load_32 | 32 | 0.0064607 | 0.0016192 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6263-8_0_6_load_33 | 33 | 0.0034505 | 0.00086478 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6263-8_0_6_load_31 | 34 | 0.0071761 | 0.0017985 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6263-8_0_6_load_30 | 35 | 0.0067887 | 0.0017014 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6263-8_0_6_load_29 | 36 | 0.0059169 | 0.0014829 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6263-8_0_6_load_28 | 37 | 0.011724 | 0.0029384 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6263-8_0_6_load_37 | 39 | 0.0070212 | 0.0017597 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6263-8_0_6_load_50 | 40 | 0.0066693 | 0.0016715 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6263-8_0_6_load_48 | 41 | 0.0045716 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6263-8_0_6_load_38 | 42 | 0.010484 | 0.0026275 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6263-8_0_6_load_57 | 43 | 0.0045512 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6263-8_0_6_load_39 | 44 | 0.006931 | 0.0017371 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6263-8_0_6_load_41 | 45 | 0.0097737 | 0.0024495 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6263-8_0_6_load_42 | 46 | 0.0055948 | 0.0014022 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6263-8_0_6_load_49 | 47 | 0.011595 | 0.002906 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6263-8_0_6_load_43 | 48 | 0.010705 | 0.0026829 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6263-8_0_6_load_44 | 49 | 0.0050152 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6263-8_0_6_load_45 | 50 | 0.010422 | 0.0026121 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6263-8_0_6_load_46 | 51 | 0.010382 | 0.002602 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6263-8_0_6_load_64 | 52 | 0.005156 | 0.0012922 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6263-8_0_6_load_47 | 54 | 0.010302 | 0.0025818 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6263-8_0_6_load_63 | 55 | 0.022905 | 0.0057405 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6263-8_0_6_load_51 | 56 | 0.010449 | 0.0026188 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6263-8_0_6_load_61 | 57 | 0.0074066 | 0.0018563 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6263-8_0_6_load_52 | 58 | 0.0078451 | 0.0019662 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6263-8_0_6_load_53 | 59 | 0.0065614 | 0.0016444 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6263-8_0_6_load_54 | 60 | 0.0046976 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6263-8_0_6_load_55 | 61 | 0.0041554 | 0.0010414 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6263-8_0_6_load_66 | 62 | 0.014366 | 0.0036006 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6263-8_0_6_load_58 | 63 | 0.0050775 | 0.0012725 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6263-8_0_6_load_59 | 64 | 0.0054897 | 0.0013758 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6263-8_0_6_line_0 |  | 0 | 1 | 0.038122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6263-8_0_6_line_1 |  | 1 | 2 | 0.05294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6263-8_0_6_line_2 |  | 2 | 6 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6263-8_0_6_line_3 |  | 3 | 4 | 0.10819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6263-8_0_6_line_4 |  | 3 | 5 | 0.070515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6263-8_0_6_line_5 |  | 4 | 38 | 0.12875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6263-8_0_6_line_6 |  | 4 | 15 | 0.034573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6263-8_0_6_line_7 |  | 4 | 39 | 0.014221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6263-8_0_6_line_8 |  | 5 | 18 | 0.055882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6263-8_0_6_line_9 |  | 6 | 7 | 0.048124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6263-8_0_6_line_10 |  | 7 | 19 | 0.00872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6263-8_0_6_line_11 |  | 7 | 16 | 0.020211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6263-8_0_6_line_12 |  | 8 | 9 | 0.0019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6263-8_0_6_line_13 |  | 8 | 10 | 0.017338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6263-8_0_6_line_14 |  | 9 | 11 | 0.028276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6263-8_0_6_line_15 |  | 10 | 12 | 0.014496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6263-8_0_6_line_16 |  | 11 | 16 | 0.0022869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6263-8_0_6_line_17 |  | 12 | 17 | 0.011502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6263-8_0_6_line_18 |  | 13 | 14 | 0.016736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6263-8_0_6_line_19 |  | 13 | 15 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6263-8_0_6_line_20 |  | 14 | 37 | 0.0030788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6263-8_0_6_line_21 |  | 14 | 17 | 0.14223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6263-8_0_6_line_22 |  | 19 | 20 | 0.052306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6263-8_0_6_line_23 |  | 19 | 21 | 0.030112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6263-8_0_6_line_24 |  | 20 | 22 | 0.0011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6263-8_0_6_line_25 |  | 21 | 23 | 0.013911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6263-8_0_6_line_26 |  | 23 | 27 | 0.014845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6263-8_0_6_line_27 |  | 24 | 25 | 0.0096511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6263-8_0_6_line_28 |  | 24 | 26 | 0.018146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6263-8_0_6_line_29 |  | 26 | 27 | 0.028552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6263-8_0_6_line_30 |  | 28 | 29 | 0.0026384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6263-8_0_6_line_31 |  | 28 | 30 | 0.073425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6263-8_0_6_line_32 |  | 29 | 43 | 0.0077394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6263-8_0_6_line_33 |  | 30 | 31 | 0.0084776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6263-8_0_6_line_34 |  | 31 | 33 | 0.0014632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6263-8_0_6_line_35 |  | 32 | 33 | 0.0070513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6263-8_0_6_line_36 |  | 32 | 34 | 0.01185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6263-8_0_6_line_37 |  | 34 | 35 | 0.0060764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6263-8_0_6_line_38 |  | 35 | 36 | 0.015857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6263-8_0_6_line_39 |  | 36 | 37 | 0.0030527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6263-8_0_6_line_40 |  | 38 | 40 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6263-8_0_6_line_41 |  | 38 | 41 | 0.033904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6263-8_0_6_line_42 |  | 39 | 42 | 0.0043582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6263-8_0_6_line_43 |  | 41 | 47 | 0.025598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6263-8_0_6_line_44 |  | 42 | 44 | 0.022692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6263-8_0_6_line_45 |  | 43 | 63 | 0.017135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6263-8_0_6_line_46 |  | 44 | 45 | 0.022246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6263-8_0_6_line_47 |  | 45 | 46 | 0.0089361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6263-8_0_6_line_48 |  | 46 | 48 | 4.0412e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6263-8_0_6_line_49 |  | 48 | 49 | 0.012791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6263-8_0_6_line_50 |  | 49 | 50 | 0.0018209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6263-8_0_6_line_51 |  | 50 | 51 | 0.02724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6263-8_0_6_line_52 |  | 51 | 54 | 0.026349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6263-8_0_6_line_53 |  | 51 | 55 | 0.058879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6263-8_0_6_line_54 |  | 52 | 53 | 0.12491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6263-8_0_6_line_55 |  | 53 | 57 | 0.085321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6263-8_0_6_line_56 |  | 54 | 56 | 0.00018937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6263-8_0_6_line_57 |  | 55 | 57 | 0.011194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6263-8_0_6_line_58 |  | 56 | 58 | 0.0077958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6263-8_0_6_line_59 |  | 58 | 59 | 0.030694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6263-8_0_6_line_60 |  | 59 | 60 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6263-8_0_6_line_61 |  | 60 | 61 | 0.0027305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6263-8_0_6_line_62 |  | 61 | 62 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6263-8_0_6_line_63 |  | 63 | 64 | 0.005205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6263-8_0_6_trafo_25 | 0.63 MVA 20/0.4 kV | 65 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2595856.0304 | 1122970.5928 | 2595865.2805 | 1122944.1846 | 2595868.6289 | 1122934.6132
1 | 2595856.0304 | 1122970.5928 | 2595866.2102 | 1122972.6756 | 2595886.0736 | 1122984.2119 | 2595905.0991 | 1122988.323 | 2595905.2131 | 1122988.3294
2 | 2595917.3776 | 1122989.0135 | 2595905.2131 | 1122988.3294
3 | 2595900.9626 | 1122759.7142 | 2595901.1605 | 1122755.9234 | 2595905.6948 | 1122756.1537 | 2595911.4013 | 1122756.6389 | 2595919.977 | 1122757.9114 | 2595928.4064 | 1122759.6175 | 2595935.6792 | 1122761.4579 | 2595942.3583 | 1122763.2876 | 2595948.7595 | 1122764.6283 | 2595955.1832 | 1122765.2576 | 2595959.9636 | 1122764.4206 | 2595964.1266 | 1122762.9837 | 2595967.3175 | 1122760.736 | 2595970.4612 | 1122757.2433 | 2595972.3788 | 1122753.6069 | 2595973.3712 | 1122750.1378 | 2595985.4784 | 1122751.119 | 2595991.3938 | 1122752.5268 | 2595996.6387 | 1122754.5576
4 | 2595900.9626 | 1122759.7142 | 2595905.3813 | 1122760.0891 | 2595909.5611 | 1122760.6087 | 2595915.1445 | 1122761.3608 | 2595919.9952 | 1122762.0467 | 2595926.5198 | 1122763.4652 | 2595932.5895 | 1122765.0173 | 2595939.1838 | 1122766.9471 | 2595947.583 | 1122769.4648 | 2595951.3236 | 1122770.6073 | 2595954.8636 | 1122771.3941 | 2595957.7091 | 1122771.57 | 2595960.724 | 1122771.3568 | 2595964.0932 | 1122770.5541 | 2595967.1461 | 1122769.4848 | 2595969.4971 | 1122768.2715
5 | 2595907.1851 | 1122680.8492 | 2595903.5157 | 1122682.5414 | 2595906.7431 | 1122688.5088 | 2595909.53 | 1122692.9757 | 2595913.5277 | 1122697.8531 | 2595918.4973 | 1122703.0189 | 2595924.2376 | 1122707.7506 | 2595930.8107 | 1122712.2706 | 2595937.2291 | 1122716.3126 | 2595950.8679 | 1122724.2849 | 2595962.4237 | 1122730.7914 | 2595966.2273 | 1122733.8125 | 2595969.7153 | 1122737.523 | 2595972.4025 | 1122743.0573 | 2595973.1914 | 1122746.4584 | 2595973.3712 | 1122750.1378 | 2595985.4784 | 1122751.119 | 2595991.3938 | 1122752.5268 | 2595996.6387 | 1122754.5576
6 | 2595996.6387 | 1122754.5576 | 2596004.2907 | 1122758.3654 | 2596018.2306 | 1122767.1381 | 2596023.3529 | 1122770.3029 | 2596026.568 | 1122771.7693
7 | 2595996.6387 | 1122754.5576 | 2595997.5856 | 1122752.1891 | 2596001.8435 | 1122741.3228
8 | 2596015.9805 | 1122769.5519 | 2596010.5341 | 1122765.9316 | 2596007.3018 | 1122764.0328 | 2596004.4244 | 1122762.2339 | 2596002.0637 | 1122760.6792 | 2596000.5055 | 1122759.7798 | 2595997.798 | 1122758.4698 | 2595994.227 | 1122757.2939 | 2595990.1932 | 1122756.0738 | 2595986.6996 | 1122755.3314 | 2595984.0237 | 1122755.1553 | 2595981.7722 | 1122755.4014 | 2595979.9299 | 1122756.4031 | 2595978.5429 | 1122757.8937 | 2595977.4339 | 1122759.8621 | 2595976.0166 | 1122762.1864 | 2595974.0441 | 1122764.4666 | 2595971.8556 | 1122766.5802 | 2595969.4971 | 1122768.2715
9 | 2595964.6155 | 1122994.5187 | 2595959.7017 | 1122991.5872 | 2595927.9471 | 1122989.6079 | 2595917.3776 | 1122989.0135
10 | 2595972.1211 | 1122998.9935 | 2595964.6155 | 1122994.5187
11 | 2595964.6155 | 1122994.5187 | 2595973.2484 | 1122976.2441
12 | 2595984.1764 | 1122945.6035 | 2595983.9986 | 1122946.1708 | 2595983.544 | 1122947.4835
13 | 2595984.1764 | 1122945.6035 | 2595989.3616 | 1122929.0588
14 | 2595974.2253 | 1122974.1764 | 2595974.502 | 1122973.5906 | 2595983.544 | 1122947.4835
15 | 2595996.4673 | 1122917.1103 | 2595995.3526 | 1122917.0934 | 2595989.3616 | 1122929.0588 | 2595989.3616 | 1122929.0588
16 | 2595974.2253 | 1122974.1764 | 2595973.2484 | 1122976.2441
17 | 2596007.9678 | 1122917.285 | 2595996.4673 | 1122917.1103
18 | 2596045.1958 | 1122779.166 | 2596048.7832 | 1122780.5354 | 2596060.7953 | 1122785.2272
19 | 2596045.1958 | 1122779.166 | 2596030.4107 | 1122773.522 | 2596026.568 | 1122771.7693
20 | 2596060.7953 | 1122785.2272 | 2596063.6631 | 1122786.3474
21 | 2596060.7953 | 1122785.2272 | 2596007.9678 | 1122917.285
22 | 2595972.1211 | 1122998.9935 | 2595958.0836 | 1123038.5891 | 2595954.1592 | 1123048.1072
23 | 2595972.1211 | 1122998.9935 | 2596002.196 | 1123000.494
24 | 2595953.7222 | 1123049.1671 | 2595954.1592 | 1123048.1072
25 | 2596016.0897 | 1123001.1872 | 2596002.196 | 1123000.494
26 | 2596030.8685 | 1123002.5918 | 2596016.0897 | 1123001.1872 | 2596016.0897 | 1123001.1872
27 | 2596086.2995 | 1122997.5046 | 2596077.0936 | 1123000.4021
28 | 2596059.3318 | 1123003.3537 | 2596069.4496 | 1123002.808 | 2596077.0936 | 1123000.4021
29 | 2596030.8685 | 1123002.5918 | 2596046.2871 | 1123004.0573 | 2596059.3318 | 1123003.3537
30 | 2596181.9684 | 1122832.0568 | 2596184.4548 | 1122832.9392
31 | 2596114.421 | 1122804.2471 | 2596133.0463 | 1122810.3167 | 2596152.9097 | 1122821.8427 | 2596165.3189 | 1122825.1363 | 2596181.046 | 1122831.7294 | 2596181.9684 | 1122832.0568
32 | 2596184.4548 | 1122832.9392 | 2596191.7485 | 1122835.5276
33 | 2596106.3606 | 1122801.6205 | 2596114.421 | 1122804.2471
34 | 2596104.9694 | 1122801.1671 | 2596106.3606 | 1122801.6205
35 | 2596098.286 | 1122798.9213 | 2596100.1593 | 1122799.5996 | 2596104.9694 | 1122801.1671
36 | 2596098.286 | 1122798.9213 | 2596087.1439 | 1122794.8866
37 | 2596081.4305 | 1122792.8178 | 2596087.1439 | 1122794.8866
38 | 2596066.5213 | 1122787.419 | 2596081.4305 | 1122792.8178
39 | 2596066.5213 | 1122787.419 | 2596064.9498 | 1122786.85 | 2596063.6631 | 1122786.3474
40 | 2595907.1851 | 1122680.8492 | 2595906.3324 | 1122674.3355 | 2595905.776 | 1122672.6573 | 2595899.3594 | 1122660.189 | 2595898.4795 | 1122659.0779
41 | 2595907.1851 | 1122680.8492 | 2595907.7721 | 1122682.1717 | 2595910.5359 | 1122686.772 | 2595911.2847 | 1122688.0277 | 2595913.2301 | 1122691.2057 | 2595915.175 | 1122693.6944 | 2595918.123 | 1122696.9495 | 2595920.654 | 1122699.5157 | 2595923.6324 | 1122702.1928 | 2595927.1659 | 1122704.8139 | 2595929.04 | 1122706.2212
42 | 2596001.8435 | 1122741.3228 | 2596003.4335 | 1122737.265
43 | 2595929.04 | 1122706.2212 | 2595930.7303 | 1122707.4905 | 2595935.2281 | 1122710.7112 | 2595939.9339 | 1122713.6316 | 2595949.6921 | 1122718.8386 | 2595950.8955 | 1122719.4573
44 | 2596011.3868 | 1122716.0152 | 2596007.5852 | 1122726.67 | 2596003.4335 | 1122737.265
45 | 2596191.7485 | 1122835.5276 | 2596204.2152 | 1122839.9519 | 2596207.774 | 1122841.5622
46 | 2596011.3868 | 1122716.0152 | 2596014.897 | 1122706.1773 | 2596018.1387 | 1122694.8306
47 | 2596020.3258 | 1122686.1686 | 2596018.9821 | 1122691.8787 | 2596018.1387 | 1122694.8306
48 | 2596020.3258 | 1122686.1686 | 2596020.335 | 1122686.1292
49 | 2596020.335 | 1122686.1292 | 2596023.265 | 1122673.678
50 | 2596023.265 | 1122673.678 | 2596023.265 | 1122673.678 | 2596025.0557 | 1122674.0085
51 | 2596025.0557 | 1122674.0085 | 2596051.8437 | 1122678.9528
52 | 2596077.9933 | 1122681.1231 | 2596063.6537 | 1122681.1325 | 2596051.8437 | 1122678.9528
53 | 2596051.8437 | 1122678.9528 | 2596050.5117 | 1122620.0892
54 | 2596098.5598 | 1122536.3832 | 2596083.2674 | 1122523.6871 | 2596072.2288 | 1122518.2473 | 2596053.064 | 1122515.4586 | 2596035.4781 | 1122509.7009 | 2596021.4051 | 1122498.7716 | 2596007.4635 | 1122488.3648 | 2595989.6892 | 1122480.0059
55 | 2596098.5598 | 1122536.3832 | 2596056.0845 | 1122610.3806
56 | 2596077.9933 | 1122681.1231 | 2596078.1827 | 1122681.1229
57 | 2596050.5117 | 1122620.0892 | 2596056.0845 | 1122610.3806
58 | 2596078.1827 | 1122681.1229 | 2596085.9785 | 1122681.1178
59 | 2596085.9785 | 1122681.1178 | 2596094.2672 | 1122681.1123 | 2596116.2234 | 1122685.5769
60 | 2596127.9932 | 1122687.9702 | 2596116.2234 | 1122685.5769
61 | 2596130.669 | 1122688.5143 | 2596127.9932 | 1122687.9702
62 | 2596130.669 | 1122688.5143 | 2596147.5058 | 1122669.6608
63 | 2596212.5161 | 1122843.708 | 2596207.774 | 1122841.5622

## bus_geodata
| x | y | coords
0 | 2595868.6289 | 1122934.6132
1 | 2595856.0304 | 1122970.5928
2 | 2595905.2131 | 1122988.3294
3 | 2595900.9626 | 1122759.7142
4 | 2595996.6387 | 1122754.5576
5 | 2595969.4971 | 1122768.2715
6 | 2595917.3776 | 1122989.0135
7 | 2595964.6155 | 1122994.5187
8 | 2595984.1764 | 1122945.6035
9 | 2595983.544 | 1122947.4835
10 | 2595989.3616 | 1122929.0588
11 | 2595974.2253 | 1122974.1764
12 | 2595996.4673 | 1122917.1103
13 | 2596045.1958 | 1122779.166
14 | 2596060.7953 | 1122785.2272
15 | 2596026.568 | 1122771.7693
16 | 2595973.2484 | 1122976.2441
17 | 2596007.9678 | 1122917.285
18 | 2596015.9805 | 1122769.5519
19 | 2595972.1211 | 1122998.9935
20 | 2595954.1592 | 1123048.1072
21 | 2596002.196 | 1123000.494
22 | 2595953.7222 | 1123049.1671
23 | 2596016.0897 | 1123001.1872
24 | 2596077.0936 | 1123000.4021
25 | 2596086.2995 | 1122997.5046
26 | 2596059.3318 | 1123003.3537
27 | 2596030.8685 | 1123002.5918
28 | 2596181.9684 | 1122832.0568
29 | 2596184.4548 | 1122832.9392
30 | 2596114.4209 | 1122804.2471
31 | 2596106.3606 | 1122801.6205
32 | 2596098.286 | 1122798.9213
33 | 2596104.9694 | 1122801.1671
34 | 2596087.1439 | 1122794.8866
35 | 2596081.4305 | 1122792.8178
36 | 2596066.5213 | 1122787.419
37 | 2596063.6631 | 1122786.3474
38 | 2595907.1851 | 1122680.8492
39 | 2596001.8435 | 1122741.3228
40 | 2595898.4795 | 1122659.0779
41 | 2595929.04 | 1122706.2212
42 | 2596003.4335 | 1122737.265
43 | 2596191.7485 | 1122835.5276
44 | 2596011.3868 | 1122716.0152
45 | 2596018.1387 | 1122694.8306
46 | 2596020.3258 | 1122686.1686
47 | 2595950.8955 | 1122719.4573
48 | 2596020.335 | 1122686.1292
49 | 2596023.265 | 1122673.678
50 | 2596025.0557 | 1122674.0085
51 | 2596051.8437 | 1122678.9528
52 | 2595989.6892 | 1122480.0059
53 | 2596098.5598 | 1122536.3832
54 | 2596077.9933 | 1122681.1231
55 | 2596050.5117 | 1122620.0892
56 | 2596078.1827 | 1122681.1229
57 | 2596056.0845 | 1122610.3806
58 | 2596085.9785 | 1122681.1178
59 | 2596116.2234 | 1122685.5769
60 | 2596127.9932 | 1122687.9702
61 | 2596130.669 | 1122688.5143
62 | 2596147.5058 | 1122669.6608
63 | 2596207.774 | 1122841.5622
64 | 2596212.5161 | 1122843.708
65 | 2595996.6387 | 1122754.5576

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1