## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-18_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-18_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-18_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6265-18_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6265-18_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6265-18_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6265-18_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6265-18_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6265-18_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_6265-18_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6265-18_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6265-18_0_6_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6265-18_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6265-18_0_6_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_6265-18_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6265-18_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6265-18_0_6_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_6265-18_0_6_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6265-18_0_6_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_6265-18_0_6_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_6265-18_0_6_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_6265-18_0_6_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_6265-18_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6265-18_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6265-18_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6265-18_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6265-18_0_6_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_6265-18_0_6_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_6265-18_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6265-18_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6265-18_0_6_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_6265-18_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6265-18_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_6265-18_0_6_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_6265-18_0_6_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_6265-18_0_6_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_6265-18_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_6265-18_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6265-18_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6265-18_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_6265-18_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_6265-18_0_6_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_6265-18_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6265-18_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6265-18_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6265-18_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6265-18_0_6_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_6265-18_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_6265-18_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_6265-18_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6265-18_0_6_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_6265-18_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_6265-18_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6265-18_0_6_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_6265-18_0_6_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6265-18_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_6265-18_0_6_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_6265-18_0_6_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6265-18_0_6_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_6265-18_0_6_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6265-18_0_6_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6265-18_0_6_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_6265-18_0_6_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_6265-18_0_6_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_6265-18_0_6_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6265-18_0_6_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_6265-18_0_6_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_6265-18_0_6_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_6265-18_0_6_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6265-18_0_6_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_6265-18_0_6_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_6265-18_0_6_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_6265-18_0_6_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_6265-18_0_6_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_6265-18_0_6_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_6265-18_0_6_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_6265-18_0_6_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_6265-18_0_6_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_6265-18_0_6_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_6265-18_0_6_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_6265-18_0_6_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_6265-18_0_6_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_6265-18_0_6_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_6265-18_0_6_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_6265-18_0_6_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_6265-18_0_6_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_6265-18_0_6_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_6265-18_0_6_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_6265-18_0_6_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_6265-18_0_6_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_6265-18_0_6_node_91 | 0.4 | n |  | TRUE
91 | bus_MV_267_1_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-18_0_6_load_0 | 0 | 0.0061911 | 0.0015516 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-18_0_6_load_1 | 1 | 0.0089702 | 0.0022482 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-18_0_6_load_2 | 2 | 0.013685 | 0.0034299 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-18_0_6_load_3 | 3 | 0.0063424 | 0.0015895 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-18_0_6_load_4 | 4 | 0.006098 | 0.0015283 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-18_0_6_load_5 | 5 | 0.0060672 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-18_0_6_load_10 | 6 | 0.010019 | 0.0025109 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-18_0_6_load_6 | 9 | 0.0057368 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-18_0_6_load_7 | 10 | 0.0031376 | 0.00078636 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-18_0_6_load_11 | 12 | 0.0084508 | 0.002118 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-18_0_6_load_12 | 14 | 0.007717 | 0.0019341 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-18_0_6_load_13 | 15 | 0.012197 | 0.003057 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-18_0_6_load_25 | 16 | 0.0026954 | 0.00067553 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-18_0_6_load_26 | 17 | 0.0072575 | 0.0018189 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-18_0_6_load_51 | 19 | 0.0094959 | 0.0023799 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-18_0_6_load_65 | 20 | 0.0099472 | 0.002493 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-18_0_6_load_15 | 22 | 0.009876 | 0.0024752 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-18_0_6_load_18 | 24 | 0.010743 | 0.0026924 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-18_0_6_load_29 | 27 | 0.011246 | 0.0028185 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-18_0_6_load_23 | 29 | 0.0046346 | 0.0011615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-18_0_6_load_47 | 30 | 0.0065294 | 0.0016364 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-18_0_6_load_22 | 31 | 0.028664 | 0.0071839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-18_0_6_load_27 | 32 | 0.0084161 | 0.0021093 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-18_0_6_load_46 | 33 | 0.0055839 | 0.0013995 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-18_0_6_load_32 | 35 | 0.011371 | 0.0028499 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-18_0_6_load_33 | 36 | 0.0034259 | 0.0008586 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-18_0_6_load_28 | 37 | 0.017982 | 0.0045068 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-18_0_6_load_30 | 38 | 0.0062706 | 0.0015716 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-18_0_6_load_34 | 39 | 0.0037889 | 0.0009496 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-18_0_6_load_63 | 41 | 0.0045333 | 0.0011361 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-18_0_6_load_36 | 42 | 0.0070405 | 0.0017645 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-18_0_6_load_37 | 43 | 0.0070511 | 0.0017672 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-18_0_6_load_38 | 44 | 0.0067055 | 0.0016806 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-18_0_6_load_39 | 45 | 0.0088314 | 0.0022134 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-18_0_6_load_41 | 47 | 0.016263 | 0.0040759 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-18_0_6_load_42 | 48 | 0.015701 | 0.003935 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-18_0_6_load_50 | 51 | 0.036656 | 0.0091869 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-18_0_6_load_44 | 52 | 0.01166 | 0.0029224 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-18_0_6_load_52 | 53 | 0.0046052 | 0.0011542 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-18_0_6_load_43 | 54 | 0.0072496 | 0.0018169 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-18_0_6_load_48 | 55 | 0.0062634 | 0.0015698 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-18_0_6_load_59 | 56 | 0.0074672 | 0.0018715 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-18_0_6_load_56 | 57 | 0.0097455 | 0.0024425 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-18_0_6_load_60 | 58 | 0.011589 | 0.0029044 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-18_0_6_load_57 | 59 | 0.0067735 | 0.0016976 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-18_0_6_load_58 | 60 | 0.0051594 | 0.0012931 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-18_0_6_load_72 | 62 | 0.0049235 | 0.0012339 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6265-18_0_6_load_73 | 63 | 0.0049646 | 0.0012442 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6265-18_0_6_load_62 | 64 | 0.012407 | 0.0031094 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6265-18_0_6_load_66 | 65 | 0.0071788 | 0.0017992 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6265-18_0_6_load_70 | 67 | 0.0034225 | 0.00085775 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6265-18_0_6_load_67 | 68 | 0.0081592 | 0.0020449 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6265-18_0_6_load_78 | 69 | 0.0065796 | 0.001649 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6265-18_0_6_load_69 | 71 | 0.0065043 | 0.0016301 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6265-18_0_6_load_74 | 72 | 0.0018893 | 0.00047351 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6265-18_0_6_load_75 | 73 | 0.0048965 | 0.0012272 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6265-18_0_6_load_84 | 74 | 0.00111 | 0.0002782 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6265-18_0_6_load_86 | 75 | 0.0071651 | 0.0017957 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6265-18_0_6_load_85 | 76 | 0.0037123 | 0.00093039 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6265-18_0_6_load_76 | 77 | 0.0054569 | 0.0013676 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6265-18_0_6_load_79 | 78 | 0.0047431 | 0.0011887 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6265-18_0_6_load_80 | 79 | 0.004174 | 0.0010461 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6265-18_0_6_load_82 | 81 | 0.0045157 | 0.0011317 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6265-18_0_6_load_94 | 83 | 0.0044812 | 0.0011231 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6265-18_0_6_load_93 | 85 | 0.0042747 | 0.0010713 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6265-18_0_6_load_87 | 87 | 0.0060402 | 0.0015138 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6265-18_0_6_load_88 | 88 | 0.0027873 | 0.00069857 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6265-18_0_6_load_91 | 90 | 0.0034027 | 0.00085281 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-18_0_6_line_0 |  | 0 | 1 | 0.0012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6265-18_0_6_line_1 |  | 0 | 2 | 0.0044376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6265-18_0_6_line_2 |  | 1 | 3 | 0.0065963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6265-18_0_6_line_3 |  | 2 | 4 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6265-18_0_6_line_4 |  | 3 | 5 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6265-18_0_6_line_5 |  | 4 | 6 | 0.00018685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6265-18_0_6_line_6 |  | 5 | 7 | 0.00094505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6265-18_0_6_line_7 |  | 7 | 8 | 0.028206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-18_0_6_line_8 |  | 7 | 9 | 0.008777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6265-18_0_6_line_9 |  | 8 | 11 | 0.045583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6265-18_0_6_line_10 |  | 8 | 12 | 0.019624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6265-18_0_6_line_11 |  | 9 | 10 | 0.010587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6265-18_0_6_line_12 |  | 11 | 13 | 0.059579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6265-18_0_6_line_13 |  | 12 | 14 | 0.016789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6265-18_0_6_line_14 |  | 13 | 18 | 0.043507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6265-18_0_6_line_15 |  | 13 | 19 | 0.070536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6265-18_0_6_line_16 |  | 14 | 15 | 0.0092966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6265-18_0_6_line_17 |  | 15 | 16 | 0.019235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6265-18_0_6_line_18 |  | 16 | 17 | 0.013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6265-18_0_6_line_19 |  | 17 | 34 | 0.014413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6265-18_0_6_line_20 |  | 18 | 56 | 0.020353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6265-18_0_6_line_21 |  | 18 | 57 | 0.007646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6265-18_0_6_line_22 |  | 19 | 53 | 0.091327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6265-18_0_6_line_23 |  | 20 | 21 | 0.014608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6265-18_0_6_line_24 |  | 21 | 65 | 0.0090263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6265-18_0_6_line_25 |  | 21 | 58 | 0.018563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6265-18_0_6_line_26 |  | 22 | 23 | 0.0074563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6265-18_0_6_line_27 |  | 23 | 24 | 0.001862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6265-18_0_6_line_28 |  | 23 | 25 | 0.003159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6265-18_0_6_line_29 |  | 25 | 26 | 0.003814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6265-18_0_6_line_30 |  | 25 | 27 | 0.034061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6265-18_0_6_line_31 |  | 26 | 31 | 0.029472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6265-18_0_6_line_32 |  | 27 | 32 | 0.0061959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6265-18_0_6_line_33 |  | 28 | 29 | 0.0076741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6265-18_0_6_line_34 |  | 28 | 30 | 0.030704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6265-18_0_6_line_35 |  | 29 | 31 | 0.0168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6265-18_0_6_line_36 |  | 30 | 33 | 0.019301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6265-18_0_6_line_37 |  | 32 | 37 | 0.0070381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6265-18_0_6_line_38 |  | 33 | 55 | 0.0028915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6265-18_0_6_line_39 |  | 34 | 35 | 0.024765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6265-18_0_6_line_40 |  | 34 | 36 | 0.0098902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6265-18_0_6_line_41 |  | 35 | 39 | 0.021749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6265-18_0_6_line_42 |  | 36 | 38 | 0.0070823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6265-18_0_6_line_43 |  | 37 | 38 | 0.010832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6265-18_0_6_line_44 |  | 39 | 40 | 0.091132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6265-18_0_6_line_45 |  | 40 | 41 | 0.057644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6265-18_0_6_line_46 |  | 42 | 43 | 0.052118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6265-18_0_6_line_47 |  | 43 | 44 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6265-18_0_6_line_48 |  | 44 | 45 | 0.0066697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6265-18_0_6_line_49 |  | 45 | 46 | 0.036635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6265-18_0_6_line_50 |  | 46 | 47 | 0.030801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6265-18_0_6_line_51 |  | 46 | 48 | 0.019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6265-18_0_6_line_52 |  | 47 | 49 | 0.01384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6265-18_0_6_line_53 |  | 48 | 50 | 0.06568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6265-18_0_6_line_54 |  | 49 | 51 | 0.029169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6265-18_0_6_line_55 |  | 49 | 52 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6265-18_0_6_line_56 |  | 50 | 53 | 0.018373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6265-18_0_6_line_57 |  | 52 | 54 | 0.0084134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6265-18_0_6_line_58 |  | 56 | 58 | 0.031672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6265-18_0_6_line_59 |  | 57 | 59 | 0.036955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6265-18_0_6_line_60 |  | 58 | 64 | 0.038978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6265-18_0_6_line_61 |  | 59 | 60 | 0.0054774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6265-18_0_6_line_62 |  | 60 | 61 | 0.057029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6265-18_0_6_line_63 |  | 61 | 62 | 0.029965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6265-18_0_6_line_64 |  | 61 | 63 | 0.017301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6265-18_0_6_line_65 |  | 62 | 74 | 0.023944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6265-18_0_6_line_66 |  | 63 | 75 | 0.048837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6265-18_0_6_line_67 |  | 64 | 66 | 0.014973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6265-18_0_6_line_68 |  | 66 | 67 | 0.016998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6265-18_0_6_line_69 |  | 66 | 68 | 0.016331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6265-18_0_6_line_70 |  | 67 | 72 | 0.0016161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6265-18_0_6_line_71 |  | 68 | 71 | 0.0003206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6265-18_0_6_line_72 |  | 69 | 70 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6265-18_0_6_line_73 |  | 70 | 78 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6265-18_0_6_line_74 |  | 70 | 77 | 0.042618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6265-18_0_6_line_75 |  | 72 | 73 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6265-18_0_6_line_76 |  | 73 | 77 | 0.025798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6265-18_0_6_line_77 |  | 74 | 76 | 0.0050153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6265-18_0_6_line_78 |  | 76 | 87 | 0.0090213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6265-18_0_6_line_79 |  | 78 | 79 | 0.020797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6265-18_0_6_line_80 |  | 79 | 80 | 0.064842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6265-18_0_6_line_81 |  | 80 | 81 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6265-18_0_6_line_82 |  | 80 | 82 | 0.008524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6265-18_0_6_line_83 |  | 82 | 83 | 0.049604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6265-18_0_6_line_84 |  | 82 | 84 | 0.012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6265-18_0_6_line_85 |  | 84 | 85 | 0.014618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6265-18_0_6_line_86 |  | 84 | 86 | 0.048989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6265-18_0_6_line_87 |  | 86 | 90 | 0.039959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6265-18_0_6_line_88 |  | 86 | 89 | 0.010902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6265-18_0_6_line_89 |  | 88 | 89 | 0.015521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-18_0_6_trafo_53 | 0.63 MVA 20/0.4 kV | 91 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2592909.6334 | 1122072.2135 | 2592908.5605 | 1122071.5029
1 | 2592909.6334 | 1122072.2135 | 2592913.333 | 1122074.664
2 | 2592908.5605 | 1122071.5029 | 2592903.0612 | 1122067.8603
3 | 2592924.5487 | 1122082.093 | 2592913.333 | 1122074.664
4 | 2592903.0612 | 1122067.8603 | 2592894.2384 | 1122062.0163
5 | 2592924.5487 | 1122082.093 | 2592924.7045 | 1122082.1962
6 | 2592893.4505 | 1122061.4945 | 2592894.2384 | 1122062.0163
7 | 2592869.4178 | 1122046.7491 | 2592874.9354 | 1122049.7552 | 2592893.4505 | 1122061.4945
8 | 2592893.4505 | 1122061.4945 | 2592888.7627 | 1122068.9148 | 2592888.7627 | 1122068.9148
9 | 2592869.4178 | 1122046.7491 | 2592840.5433 | 1122033.3326 | 2592838.483 | 1122032.3457 | 2592831.8858 | 1122029.5522 | 2592827.8199 | 1122028.1675
10 | 2592869.4178 | 1122046.7491 | 2592871.9045 | 1122043.2 | 2592880.637 | 1122030.6481
11 | 2592888.7627 | 1122068.9148 | 2592881.6539 | 1122076.7604
12 | 2592827.8199 | 1122028.1675 | 2592824.6335 | 1122027.0819 | 2592808.0697 | 1122022.0771 | 2592799.9781 | 1122020.7528 | 2592790.5753 | 1122019.2523 | 2592779.7617 | 1122018.187 | 2592769.273 | 1122017.9885
13 | 2592890.2249 | 1122016.8665 | 2592880.637 | 1122030.6481
14 | 2592732.4273 | 1121994.6883 | 2592769.273 | 1122017.9885
15 | 2592769.273 | 1122017.9885 | 2592729.7797 | 1122018.1364 | 2592708.6857 | 1122016.9058 | 2592698.9377 | 1122015.1072
16 | 2592890.2249 | 1122016.8665 | 2592895.5341 | 1122009.2351
17 | 2592895.5341 | 1122009.2351 | 2592906.5189 | 1121993.4457
18 | 2592917.4025 | 1121985.5968 | 2592914.6479 | 1121987.3108 | 2592910.0936 | 1121990.351 | 2592906.5189 | 1121993.4457 | 2592906.5189 | 1121993.4457
19 | 2592930.9597 | 1121981.3331 | 2592926.6105 | 1121981.7273 | 2592922.8405 | 1121982.7656 | 2592918.5319 | 1121984.8939 | 2592917.4025 | 1121985.5968
20 | 2592732.4273 | 1121994.6883 | 2592738.347 | 1121975.2154
21 | 2592732.4273 | 1121994.6883 | 2592726.253 | 1121990.8384 | 2592725.9418 | 1121990.6388
22 | 2592698.9377 | 1122015.1072 | 2592685.8219 | 1122012.6872 | 2592631.5521 | 1122000.2254 | 2592609.649 | 1121995.9975
23 | 2592765.4277 | 1121943.8791 | 2592779.5081 | 1121947.7682
24 | 2592765.4277 | 1121943.8791 | 2592767.1145 | 1121935.0119
25 | 2592746.9736 | 1121944.7796 | 2592753.1802 | 1121943.3937 | 2592765.4277 | 1121943.8791
26 | 2592983.9353 | 1122034.897 | 2592989.2936 | 1122040.0821
27 | 2592983.9353 | 1122034.897 | 2592982.5765 | 1122033.6202
28 | 2592985.9376 | 1122032.449 | 2592983.9353 | 1122034.897
29 | 2592985.9376 | 1122032.449 | 2592988.3634 | 1122029.5003
30 | 2592985.9376 | 1122032.449 | 2592961.2843 | 1122008.9464
31 | 2592988.3634 | 1122029.5003 | 2592989.5902 | 1122030.0102 | 2592991.1789 | 1122030.0083 | 2592992.9833 | 1122029.7505 | 2592994.7402 | 1122028.5812 | 2592996.4582 | 1122027.034 | 2592997.8359 | 1122024.6535 | 2593000.967 | 1122018.091 | 2593004.3516 | 1122010.6168 | 2593005.0876 | 1122008.6683
32 | 2592956.7997 | 1122004.6712 | 2592961.2843 | 1122008.9464
33 | 2593012.1343 | 1121985.2731 | 2593011.5059 | 1121988.6643 | 2593010.4214 | 1121992.7479
34 | 2593012.1343 | 1121985.2731 | 2593012.6171 | 1121982.6268 | 2593013.4628 | 1121973.7214 | 2593013.8942 | 1121966.7508 | 2593014.0634 | 1121954.6672
35 | 2593005.0876 | 1122008.6683 | 2593007.1117 | 1122003.31 | 2593009.7015 | 1121995.4587 | 2593010.4214 | 1121992.7479
36 | 2593013.9768 | 1121935.3704 | 2593014.1168 | 1121939.4261 | 2593014.1861 | 1121945.907 | 2593014.0634 | 1121954.6672
37 | 2592956.7997 | 1122004.6712 | 2592951.7056 | 1121999.8148
38 | 2593013.9768 | 1121935.3704 | 2593013.877 | 1121932.4806
39 | 2592930.9597 | 1121981.3331 | 2592914.3723 | 1121962.9437
40 | 2592930.9597 | 1121981.3331 | 2592938.6147 | 1121987.5954
41 | 2592914.3723 | 1121962.9437 | 2592914.3723 | 1121962.9437 | 2592904.7691 | 1121955.1179 | 2592897.1667 | 1121949.6559
42 | 2592943.8657 | 1121992.3409 | 2592940.5397 | 1121989.1701 | 2592938.6147 | 1121987.5954
43 | 2592951.7056 | 1121999.8148 | 2592943.8657 | 1121992.3409
44 | 2592879.3661 | 1121871.5294 | 2592875.3666 | 1121900.1481 | 2592872.1499 | 1121912.5136 | 2592870.7927 | 1121919.1184 | 2592870.6965 | 1121922.5424 | 2592871.1322 | 1121925.6879 | 2592871.8675 | 1121927.8881 | 2592872.8805 | 1121930.1547 | 2592874.3021 | 1121932.3763 | 2592876.5797 | 1121934.4413 | 2592885.6419 | 1121941.2783 | 2592892.5194 | 1121946.317 | 2592897.1667 | 1121949.6559
45 | 2592879.3661 | 1121871.5294 | 2592886.3623 | 1121872.566 | 2592904.9431 | 1121874.1781 | 2592927.687 | 1121874.5847 | 2592925.0754 | 1121883.5255
46 | 2592682.8246 | 1122126.6042 | 2592677.9185 | 1122121.0943 | 2592706.0015 | 1122086.2652
47 | 2592706.0015 | 1122086.2652 | 2592706.0015 | 1122086.2652 | 2592690.7768 | 1122073.5988
48 | 2592685.6495 | 1122069.3331 | 2592690.7768 | 1122073.5988
49 | 2592657.6362 | 1122045.7267 | 2592666.0281 | 1122053.0089 | 2592685.6495 | 1122069.3331
50 | 2592657.6362 | 1122045.7267 | 2592636.406 | 1122068.0421
51 | 2592657.6362 | 1122045.7267 | 2592643.1209 | 1122033.1272
52 | 2592626.8664 | 1122078.0692 | 2592636.406 | 1122068.0421
53 | 2592591.6093 | 1121992.5153 | 2592616.4947 | 1122010.0154 | 2592643.1209 | 1122033.1272
54 | 2592626.8664 | 1122078.0692 | 2592601.4853 | 1122063.694
55 | 2592626.8664 | 1122078.0692 | 2592621.3595 | 1122083.8566 | 2592626.2894 | 1122091.9371
56 | 2592591.6093 | 1121992.5153 | 2592609.649 | 1121995.9975
57 | 2592630.6712 | 1122099.1193 | 2592626.2894 | 1122091.9371
58 | 2592746.9736 | 1121944.7796 | 2592746.3385 | 1121948.9269 | 2592738.347 | 1121975.2154
59 | 2592725.9418 | 1121990.6388 | 2592694.8337 | 1121970.6899
60 | 2592746.9736 | 1121944.7796 | 2592748.527 | 1121934.7062 | 2592746.4048 | 1121920.8797 | 2592742.2553 | 1121907.9006 | 2592742.2776 | 1121906.7304
61 | 2592690.223 | 1121967.7331 | 2592694.8337 | 1121970.6899
62 | 2592642.2173 | 1121936.948 | 2592690.223 | 1121967.7331
63 | 2592642.2173 | 1121936.948 | 2592619.9037 | 1121922.6351 | 2592616.8378 | 1121921.0403
64 | 2592642.2173 | 1121936.948 | 2592635.4032 | 1121927.2183 | 2592630.9905 | 1121924.0674
65 | 2592616.8378 | 1121921.0403 | 2592595.5958 | 1121909.9905
66 | 2592627.5997 | 1121890.6211 | 2592615.8721 | 1121899.1286 | 2592612.6668 | 1121907.8146 | 2592614.5619 | 1121912.3367 | 2592630.9905 | 1121924.0674
67 | 2592744.5577 | 1121892.2458 | 2592742.4728 | 1121896.4726 | 2592742.2776 | 1121906.7304
68 | 2592744.5577 | 1121892.2458 | 2592752.0758 | 1121877.0013
69 | 2592744.5577 | 1121892.2458 | 2592760.6341 | 1121895.1155
70 | 2592752.7906 | 1121875.5518 | 2592752.0758 | 1121877.0013
71 | 2592760.9497 | 1121895.1718 | 2592760.6341 | 1121895.1155
72 | 2592783.4891 | 1121796.2962 | 2592786.9211 | 1121796.3143 | 2592790.4618 | 1121796.877 | 2592795.9006 | 1121798.2267 | 2592801.525 | 1121799.943
73 | 2592783.4891 | 1121796.2962 | 2592767.1739 | 1121794.1495
74 | 2592783.4891 | 1121796.2962 | 2592769.4656 | 1121836.5405
75 | 2592752.7906 | 1121875.5518 | 2592760.1799 | 1121860.5686
76 | 2592760.1799 | 1121860.5686 | 2592763.2911 | 1121854.2601 | 2592769.4656 | 1121836.5405
77 | 2592591.1465 | 1121907.6761 | 2592595.5958 | 1121909.9905
78 | 2592591.1465 | 1121907.6761 | 2592583.1433 | 1121903.5129
79 | 2592767.1739 | 1121794.1495 | 2592746.5546 | 1121791.4365
80 | 2592682.9299 | 1121779.1543 | 2592729.3243 | 1121789.1694 | 2592746.5546 | 1121791.4365
81 | 2592682.9299 | 1121779.1543 | 2592676.2512 | 1121785.699 | 2592673.3783 | 1121796.9715
82 | 2592674.7594 | 1121776.6964 | 2592679.9675 | 1121778.5131 | 2592682.9299 | 1121779.1543
83 | 2592674.7594 | 1121776.6964 | 2592653.5514 | 1121821.5554
84 | 2592674.7594 | 1121776.6964 | 2592662.5378 | 1121772.4315
85 | 2592662.5378 | 1121772.4315 | 2592657.1481 | 1121786.0225
86 | 2592617.7812 | 1121752.3322 | 2592653.5644 | 1121769.2965 | 2592662.5378 | 1121772.4315
87 | 2592617.7812 | 1121752.3322 | 2592597.764 | 1121786.9405
88 | 2592617.7812 | 1121752.3322 | 2592607.9112 | 1121747.6421
89 | 2592607.9112 | 1121747.6421 | 2592600.7884 | 1121761.432

## bus_geodata
| x | y | coords
0 | 2592909.6334 | 1122072.2135
1 | 2592908.5605 | 1122071.5029
2 | 2592913.333 | 1122074.664
3 | 2592903.0612 | 1122067.8603
4 | 2592924.5487 | 1122082.093
5 | 2592894.2384 | 1122062.0163
6 | 2592924.7045 | 1122082.1962
7 | 2592893.4505 | 1122061.4945
8 | 2592869.4177 | 1122046.7491
9 | 2592888.7627 | 1122068.9148
10 | 2592881.6539 | 1122076.7604
11 | 2592827.8199 | 1122028.1675
12 | 2592880.637 | 1122030.6481
13 | 2592769.273 | 1122017.9885
14 | 2592890.2249 | 1122016.8665
15 | 2592895.5341 | 1122009.235
16 | 2592906.5189 | 1121993.4457
17 | 2592917.4025 | 1121985.5968
18 | 2592732.4273 | 1121994.6883
19 | 2592698.9377 | 1122015.1072
20 | 2592779.5081 | 1121947.7682
21 | 2592765.4277 | 1121943.8791
22 | 2592989.2936 | 1122040.0821
23 | 2592983.9353 | 1122034.897
24 | 2592982.5765 | 1122033.6202
25 | 2592985.9376 | 1122032.449
26 | 2592988.3634 | 1122029.5003
27 | 2592961.2843 | 1122008.9464
28 | 2593012.1343 | 1121985.2731
29 | 2593010.4214 | 1121992.7479
30 | 2593014.0634 | 1121954.6672
31 | 2593005.0876 | 1122008.6683
32 | 2592956.7997 | 1122004.6712
33 | 2593013.9768 | 1121935.3704
34 | 2592930.9597 | 1121981.3331
35 | 2592914.3723 | 1121962.9437
36 | 2592938.6147 | 1121987.5954
37 | 2592951.7056 | 1121999.8148
38 | 2592943.8657 | 1121992.3409
39 | 2592897.1667 | 1121949.6559
40 | 2592879.3661 | 1121871.5294
41 | 2592925.0754 | 1121883.5255
42 | 2592682.8246 | 1122126.6042
43 | 2592706.0015 | 1122086.2652
44 | 2592690.7768 | 1122073.5988
45 | 2592685.6495 | 1122069.3331
46 | 2592657.6362 | 1122045.7267
47 | 2592636.406 | 1122068.0421
48 | 2592643.1209 | 1122033.1272
49 | 2592626.8664 | 1122078.0692
50 | 2592591.6093 | 1121992.5153
51 | 2592601.4853 | 1122063.694
52 | 2592626.2894 | 1122091.9371
53 | 2592609.649 | 1121995.9975
54 | 2592630.6712 | 1122099.1193
55 | 2593013.877 | 1121932.4806
56 | 2592738.347 | 1121975.2154
57 | 2592725.9418 | 1121990.6388
58 | 2592746.9736 | 1121944.7796
59 | 2592694.8337 | 1121970.6899
60 | 2592690.223 | 1121967.7331
61 | 2592642.2173 | 1121936.948
62 | 2592616.8378 | 1121921.0403
63 | 2592630.9905 | 1121924.0674
64 | 2592742.2776 | 1121906.7304
65 | 2592767.1145 | 1121935.0119
66 | 2592744.5577 | 1121892.2458
67 | 2592752.0758 | 1121877.0013
68 | 2592760.6341 | 1121895.1155
69 | 2592801.525 | 1121799.943
70 | 2592783.4891 | 1121796.2962
71 | 2592760.9497 | 1121895.1718
72 | 2592752.7906 | 1121875.5518
73 | 2592760.1799 | 1121860.5686
74 | 2592595.5958 | 1121909.9905
75 | 2592627.5997 | 1121890.6211
76 | 2592591.1465 | 1121907.6761
77 | 2592769.4656 | 1121836.5405
78 | 2592767.1739 | 1121794.1495
79 | 2592746.5546 | 1121791.4365
80 | 2592682.9299 | 1121779.1543
81 | 2592673.3783 | 1121796.9715
82 | 2592674.7594 | 1121776.6964
83 | 2592653.5514 | 1121821.5554
84 | 2592662.5378 | 1121772.4315
85 | 2592657.1481 | 1121786.0225
86 | 2592617.7812 | 1121752.3322
87 | 2592583.1433 | 1121903.5129
88 | 2592600.7884 | 1121761.432
89 | 2592607.9112 | 1121747.6421
90 | 2592597.764 | 1121786.9405
91 | 2592732.4273 | 1121994.6883

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1