## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-20_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-20_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-20_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6265-20_0_6_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_6265-20_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6265-20_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6265-20_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_6265-20_0_6_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_6265-20_0_6_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_6265-20_0_6_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_6265-20_0_6_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_6265-20_0_6_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_6265-20_0_6_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_6265-20_0_6_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_6265-20_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_6265-20_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6265-20_0_6_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_6265-20_0_6_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_6265-20_0_6_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6265-20_0_6_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_6265-20_0_6_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_6265-20_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6265-20_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6265-20_0_6_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_6265-20_0_6_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_6265-20_0_6_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_6265-20_0_6_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_6265-20_0_6_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_6265-20_0_6_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_6265-20_0_6_node_8 | 0.4 | n |  | TRUE
30 | bus_LV_6265-20_0_6_node_9 | 0.4 | n |  | TRUE
31 | bus_LV_6265-20_0_6_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_6265-20_0_6_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_6265-20_0_6_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_6265-20_0_6_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_6265-20_0_6_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_6265-20_0_6_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_6265-20_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6265-20_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6265-20_0_6_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_6265-20_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6265-20_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6265-20_0_6_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_6265-20_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6265-20_0_6_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_6265-20_0_6_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_6265-20_0_6_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_6265-20_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6265-20_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_6265-20_0_6_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_6265-20_0_6_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_6265-20_0_6_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_6265-20_0_6_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_6265-20_0_6_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_6265-20_0_6_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_6265-20_0_6_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_6265-20_0_6_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_6265-20_0_6_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_6265-20_0_6_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_6265-20_0_6_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_6265-20_0_6_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_6265-20_0_6_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_6265-20_0_6_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_6265-20_0_6_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_6265-20_0_6_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_6265-20_0_6_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_6265-20_0_6_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_6265-20_0_6_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_6265-20_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_6265-20_0_6_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_6265-20_0_6_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_6265-20_0_6_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_6265-20_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_6265-20_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_6265-20_0_6_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_6265-20_0_6_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_6265-20_0_6_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_6265-20_0_6_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_6265-20_0_6_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_6265-20_0_6_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_6265-20_0_6_node_62 | 0.4 | n |  | TRUE
81 | bus_MV_267_1_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-20_0_6_load_0 | 0 | 0.013065 | 0.0032743 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-20_0_6_load_1 | 1 | 0.01056 | 0.0026466 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-20_0_6_load_4 | 2 | 0.0057379 | 0.001438 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-20_0_6_load_12 | 3 | 0.020029 | 0.0050197 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-20_0_6_load_3 | 5 | 0.008432 | 0.0021133 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-20_0_6_load_11 | 6 | 0.006101 | 0.0015291 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-20_0_6_load_73 | 8 | 0.0089868 | 0.0022523 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-20_0_6_load_74 | 9 | 0.010783 | 0.0027025 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-20_0_6_load_71 | 10 | 0.0054843 | 0.0013745 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-20_0_6_load_75 | 11 | 0.0071857 | 0.0018009 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-20_0_6_load_77 | 13 | 0.011424 | 0.0028631 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-20_0_6_load_6 | 14 | 0.0096145 | 0.0024096 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-20_0_6_load_78 | 16 | 0.016406 | 0.0041117 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-20_0_6_load_18 | 17 | 0.0040637 | 0.0010185 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-20_0_6_load_67 | 19 | 0.012406 | 0.0031092 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-20_0_6_load_70 | 20 | 0.004464 | 0.0011188 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-20_0_6_load_17 | 21 | 0.014352 | 0.0035969 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-20_0_6_load_13 | 22 | 0.011299 | 0.0028317 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-20_0_6_load_50 | 23 | 0.0060175 | 0.0015081 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-20_0_6_load_46 | 24 | 0.0050939 | 0.0012767 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-20_0_6_load_47 | 25 | 0.0050732 | 0.0012715 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-20_0_6_load_48 | 26 | 0.0034973 | 0.00087652 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-20_0_6_load_49 | 27 | 0.0034828 | 0.00087287 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-20_0_6_load_41 | 28 | 0.022904 | 0.0057403 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-20_0_6_load_9 | 30 | 0.0087624 | 0.0021961 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-20_0_6_load_82 | 32 | 0.0068076 | 0.0017061 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-20_0_6_load_14 | 33 | 0.0055377 | 0.0013879 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-20_0_6_load_19 | 35 | 0.0065497 | 0.0016415 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-20_0_6_load_20 | 36 | 0.022308 | 0.0055909 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-20_0_6_load_21 | 37 | 0.0064341 | 0.0016125 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-20_0_6_load_40 | 39 | 0.023935 | 0.0059988 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-20_0_6_load_26 | 40 | 0.0050811 | 0.0012734 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-20_0_6_load_22 | 41 | 0.013961 | 0.0034991 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-20_0_6_load_83 | 44 | 0.0058146 | 0.0014573 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-20_0_6_load_65 | 46 | 0.010748 | 0.0026938 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-20_0_6_load_33 | 47 | 0.014152 | 0.0035468 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-20_0_6_load_31 | 48 | 0.019276 | 0.0048309 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-20_0_6_load_63 | 49 | 0.01608 | 0.00403 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-20_0_6_load_27 | 50 | 0.0053288 | 0.0013355 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-20_0_6_load_29 | 52 | 0.0061077 | 0.0015307 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-20_0_6_load_79 | 53 | 0.0026823 | 0.00067226 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-20_0_6_load_34 | 55 | 0.0068506 | 0.0017169 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-20_0_6_load_30 | 56 | 0.0060948 | 0.0015275 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-20_0_6_load_35 | 57 | 0.020366 | 0.0051042 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-20_0_6_load_36 | 58 | 0.004259 | 0.0010674 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-20_0_6_load_37 | 59 | 0.0043213 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-20_0_6_load_66 | 60 | 0.010506 | 0.002633 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6265-20_0_6_load_38 | 61 | 0.0067586 | 0.0016939 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6265-20_0_6_load_42 | 62 | 0.0041402 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6265-20_0_6_load_64 | 63 | 0.0045022 | 0.0011284 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6265-20_0_6_load_39 | 64 | 0.0061856 | 0.0015503 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6265-20_0_6_load_43 | 65 | 0.0048376 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6265-20_0_6_load_44 | 66 | 0.0079013 | 0.0019803 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6265-20_0_6_load_53 | 68 | 0.0079764 | 0.0019991 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6265-20_0_6_load_51 | 70 | 0.0043784 | 0.0010973 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6265-20_0_6_load_52 | 71 | 0.0018006 | 0.00045127 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6265-20_0_6_load_61 | 72 | 0.013408 | 0.0033604 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6265-20_0_6_load_59 | 73 | 0.002979 | 0.00074661 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6265-20_0_6_load_54 | 74 | 0.0045923 | 0.0011509 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6265-20_0_6_load_55 | 75 | 0.0067376 | 0.0016886 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6265-20_0_6_load_56 | 76 | 0.0074485 | 0.0018668 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6265-20_0_6_load_57 | 77 | 0.0058252 | 0.0014599 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6265-20_0_6_load_58 | 78 | 0.0060212 | 0.001509 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6265-20_0_6_load_81 | 79 | 0.003104 | 0.00077795 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6265-20_0_6_load_62 | 80 | 0.014022 | 0.0035143 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-20_0_6_line_0 |  | 0 | 1 | 0.05901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6265-20_0_6_line_1 |  | 0 | 2 | 0.066368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6265-20_0_6_line_2 |  | 1 | 3 | 0.075766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6265-20_0_6_line_3 |  | 2 | 4 | 0.013335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6265-20_0_6_line_4 |  | 2 | 5 | 0.050745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6265-20_0_6_line_5 |  | 3 | 6 | 0.052332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6265-20_0_6_line_6 |  | 4 | 14 | 0.074952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6265-20_0_6_line_7 |  | 4 | 15 | 0.073493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-20_0_6_line_8 |  | 6 | 30 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6265-20_0_6_line_9 |  | 7 | 8 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6265-20_0_6_line_10 |  | 7 | 9 | 0.017334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6265-20_0_6_line_11 |  | 7 | 10 | 0.033736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6265-20_0_6_line_12 |  | 8 | 11 | 0.0011072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6265-20_0_6_line_13 |  | 10 | 20 | 0.0091854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6265-20_0_6_line_14 |  | 11 | 12 | 0.015505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6265-20_0_6_line_15 |  | 12 | 16 | 0.009756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6265-20_0_6_line_16 |  | 12 | 13 | 0.014115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6265-20_0_6_line_17 |  | 14 | 17 | 0.0014068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6265-20_0_6_line_18 |  | 15 | 18 | 0.041513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6265-20_0_6_line_19 |  | 15 | 19 | 0.011566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6265-20_0_6_line_20 |  | 18 | 21 | 0.011669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6265-20_0_6_line_21 |  | 18 | 22 | 0.029562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6265-20_0_6_line_22 |  | 19 | 23 | 0.053139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6265-20_0_6_line_23 |  | 20 | 71 | 0.010806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6265-20_0_6_line_24 |  | 23 | 70 | 0.040057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6265-20_0_6_line_25 |  | 23 | 27 | 0.00028936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6265-20_0_6_line_26 |  | 24 | 25 | 0.0079716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6265-20_0_6_line_27 |  | 24 | 26 | 0.0059196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6265-20_0_6_line_28 |  | 25 | 27 | 0.012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6265-20_0_6_line_29 |  | 26 | 28 | 0.02806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6265-20_0_6_line_30 |  | 28 | 39 | 0.030004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6265-20_0_6_line_31 |  | 29 | 30 | 0.064743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6265-20_0_6_line_32 |  | 29 | 31 | 0.019169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6265-20_0_6_line_33 |  | 31 | 32 | 0.035836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6265-20_0_6_line_34 |  | 33 | 34 | 0.018406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6265-20_0_6_line_35 |  | 34 | 35 | 0.016399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6265-20_0_6_line_36 |  | 34 | 36 | 0.0058928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6265-20_0_6_line_37 |  | 35 | 37 | 0.0090103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6265-20_0_6_line_38 |  | 36 | 38 | 0.021733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6265-20_0_6_line_39 |  | 38 | 40 | 0.031181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6265-20_0_6_line_40 |  | 38 | 41 | 0.011951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6265-20_0_6_line_41 |  | 39 | 64 | 0.0039962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6265-20_0_6_line_42 |  | 40 | 46 | 0.0063118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6265-20_0_6_line_43 |  | 41 | 42 | 0.016934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6265-20_0_6_line_44 |  | 42 | 43 | 0.044712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6265-20_0_6_line_45 |  | 43 | 44 | 0.019893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6265-20_0_6_line_46 |  | 43 | 45 | 0.002495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6265-20_0_6_line_47 |  | 45 | 47 | 0.066933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6265-20_0_6_line_48 |  | 45 | 48 | 0.037236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6265-20_0_6_line_49 |  | 46 | 49 | 0.023099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_6265-20_0_6_line_50 |  | 47 | 55 | 0.06662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6265-20_0_6_line_51 |  | 48 | 56 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6265-20_0_6_line_52 |  | 49 | 80 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6265-20_0_6_line_53 |  | 50 | 51 | 0.032893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6265-20_0_6_line_54 |  | 51 | 52 | 0.065251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6265-20_0_6_line_55 |  | 52 | 56 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6265-20_0_6_line_56 |  | 53 | 54 | 0.2558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6265-20_0_6_line_57 |  | 53 | 55 | 0.42015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6265-20_0_6_line_58 |  | 54 | 79 | 0.041267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6265-20_0_6_line_59 |  | 57 | 58 | 0.0071285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6265-20_0_6_line_60 |  | 58 | 59 | 0.016509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6265-20_0_6_line_61 |  | 59 | 61 | 0.018942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6265-20_0_6_line_62 |  | 60 | 61 | 0.042669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6265-20_0_6_line_63 |  | 60 | 62 | 0.11622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6265-20_0_6_line_64 |  | 60 | 63 | 0.035803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6265-20_0_6_line_65 |  | 61 | 64 | 0.028788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6265-20_0_6_line_66 |  | 62 | 65 | 0.022412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6265-20_0_6_line_67 |  | 63 | 80 | 0.0061151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6265-20_0_6_line_68 |  | 65 | 66 | 0.044287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6265-20_0_6_line_69 |  | 66 | 67 | 0.015892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6265-20_0_6_line_70 |  | 67 | 68 | 0.015397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6265-20_0_6_line_71 |  | 68 | 69 | 0.017663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6265-20_0_6_line_72 |  | 69 | 72 | 0.021144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6265-20_0_6_line_73 |  | 69 | 73 | 0.030744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6265-20_0_6_line_74 |  | 70 | 71 | 0.021756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6265-20_0_6_line_75 |  | 73 | 78 | 0.0085075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6265-20_0_6_line_76 |  | 74 | 75 | 0.029854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6265-20_0_6_line_77 |  | 74 | 76 | 0.023562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6265-20_0_6_line_78 |  | 75 | 77 | 0.029871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6265-20_0_6_line_79 |  | 77 | 78 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-20_0_6_trafo_41 | 0.63 MVA 20/0.4 kV | 81 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2592676.4345 | 1122203.5285 | 2592657.8209 | 1122190.0082 | 2592623.4897 | 1122179.1608
1 | 2592639.6746 | 1122258.7863 | 2592676.4345 | 1122203.5285
2 | 2592547.7564 | 1122176.9488 | 2592623.4897 | 1122179.1608
3 | 2592626.4163 | 1122257.3575 | 2592639.6746 | 1122258.7863 | 2592639.6746 | 1122258.7863
4 | 2592639.6746 | 1122258.7863 | 2592656.9611 | 1122262.4335 | 2592675.2605 | 1122268.2251 | 2592688.0354 | 1122273.6627
5 | 2592547.7564 | 1122176.9488 | 2592526.6444 | 1122167.0703 | 2592498.9461 | 1122158.4018
6 | 2592626.4163 | 1122257.3575 | 2592608.3602 | 1122248.8311 | 2592585.6713 | 1122241.9002 | 2592555.8678 | 1122232.4695
7 | 2592557.0112 | 1122264.2467 | 2592564.234 | 1122255.5445 | 2592570.3944 | 1122254.4808 | 2592579.7568 | 1122254.6804 | 2592599.5302 | 1122255.0784 | 2592618.8886 | 1122256.5441 | 2592626.4163 | 1122257.3575
8 | 2592488.0392 | 1122154.9883 | 2592498.9461 | 1122158.4018
9 | 2592648.2842 | 1122343.1503 | 2592645.159 | 1122347.812 | 2592639.3667 | 1122356.9814
10 | 2592648.2842 | 1122343.1503 | 2592665.1662 | 1122347.0818
11 | 2592648.2842 | 1122343.1503 | 2592645.0058 | 1122342.3873 | 2592615.753 | 1122334.2249
12 | 2592638.7754 | 1122357.9175 | 2592639.3667 | 1122356.9814
13 | 2592615.753 | 1122334.2249 | 2592606.9056 | 1122331.7563
14 | 2592631.0988 | 1122371.3074 | 2592631.8977 | 1122368.8052 | 2592638.7754 | 1122357.9175
15 | 2592621.841 | 1122368.2173 | 2592629.4327 | 1122371.0093 | 2592631.0988 | 1122371.3074
16 | 2592631.0988 | 1122371.3074 | 2592630.6225 | 1122372.7976 | 2592632.5037 | 1122378.7315 | 2592631.3216 | 1122383.2352 | 2592630.4737 | 1122384.6726
17 | 2592554.5265 | 1122232.0451 | 2592555.8678 | 1122232.4695
18 | 2592557.0112 | 1122264.2467 | 2592539.6536 | 1122253.0961 | 2592521.9256 | 1122241.9016
19 | 2592557.0112 | 1122264.2467 | 2592566.3574 | 1122271.0606
20 | 2592521.9256 | 1122241.9016 | 2592511.0602 | 1122242.2598 | 2592510.2926 | 1122242.0445
21 | 2592521.9256 | 1122241.9016 | 2592513.8681 | 1122236.7759 | 2592495.6691 | 1122228.4528
22 | 2592566.3574 | 1122271.0606 | 2592536.2955 | 1122314.8787
23 | 2592596.4638 | 1122328.9858 | 2592598.8356 | 1122329.5045 | 2592606.9056 | 1122331.7563
24 | 2592536.2955 | 1122314.8787 | 2592556.9884 | 1122320.3519 | 2592575.2103 | 1122324.3373
25 | 2592536.0157 | 1122314.8047 | 2592536.2955 | 1122314.8787
26 | 2592516.0372 | 1122309.5205 | 2592523.7438 | 1122311.5588
27 | 2592516.0372 | 1122309.5205 | 2592510.3144 | 1122308.0068
28 | 2592536.0157 | 1122314.8047 | 2592523.7438 | 1122311.5588
29 | 2592483.0987 | 1122301.1769 | 2592507.2084 | 1122307.1853 | 2592510.3144 | 1122308.0068
30 | 2592453.3656 | 1122297.8558 | 2592455.2657 | 1122297.6125 | 2592479.6458 | 1122300.3165 | 2592483.0987 | 1122301.1769
31 | 2592458.9132 | 1122113.7957 | 2592453.3755 | 1122131.7004 | 2592454.6291 | 1122141.1923 | 2592464.979 | 1122147.7714 | 2592488.0392 | 1122154.9883
32 | 2592440.5209 | 1122108.2162 | 2592458.9132 | 1122113.7957
33 | 2592440.5209 | 1122108.2162 | 2592433.1232 | 1122143.276
34 | 2592420.5091 | 1122200.2309 | 2592437.022 | 1122208.3618
35 | 2592420.5091 | 1122200.2309 | 2592427.2742 | 1122185.292
36 | 2592420.5091 | 1122200.2309 | 2592415.3336 | 1122197.4133
37 | 2592430.9911 | 1122177.0841 | 2592427.2742 | 1122185.292
38 | 2592396.2463 | 1122187.0219 | 2592415.3336 | 1122197.4133
39 | 2592396.2463 | 1122187.0219 | 2592380.4711 | 1122213.9174
40 | 2592396.2463 | 1122187.0219 | 2592386.5528 | 1122180.032
41 | 2592449.4018 | 1122298.3634 | 2592453.3656 | 1122297.8558
42 | 2592377.2777 | 1122219.3618 | 2592380.4711 | 1122213.9174
43 | 2592372.8963 | 1122170.021 | 2592376.6711 | 1122172.9065 | 2592386.5528 | 1122180.032
44 | 2592348.3676 | 1122202.3792 | 2592354.968 | 1122195.5897 | 2592361.3387 | 1122184.0759 | 2592370.0015 | 1122167.8014 | 2592372.8963 | 1122170.021
45 | 2592348.3676 | 1122202.3792 | 2592340.1777 | 1122196.4534 | 2592344.3694 | 1122187.5882
46 | 2592346.627 | 1122204.1712 | 2592348.3676 | 1122202.3792
47 | 2592346.627 | 1122204.1712 | 2592337.8034 | 1122215.2879 | 2592325.1193 | 1122222.73 | 2592337.2626 | 1122226.5719 | 2592345.5528 | 1122232.6087 | 2592349.1469 | 1122238.9294 | 2592347.0175 | 1122246.4033
48 | 2592346.627 | 1122204.1712 | 2592334.5967 | 1122210.3118 | 2592322.322 | 1122212.284 | 2592311.0382 | 1122211.7369
49 | 2592385.0872 | 1122240.1937 | 2592378.9526 | 1122232.5661 | 2592377.2777 | 1122219.3618 | 2592377.2777 | 1122219.3618
50 | 2592347.0175 | 1122246.4033 | 2592299.4677 | 1122293.064
51 | 2592299.2387 | 1122211.1648 | 2592311.0382 | 1122211.7369
52 | 2592396.3855 | 1122240.2849 | 2592385.5798 | 1122240.8062 | 2592385.0872 | 1122240.1937
53 | 2592216.0207 | 1122199.3482 | 2592223.3726 | 1122207.1869 | 2592232.5194 | 1122213.5782 | 2592235.8652 | 1122224.0437
54 | 2592216.0207 | 1122199.3482 | 2592241.7304 | 1122204.0616 | 2592280.5018 | 1122209.2149
55 | 2592280.5018 | 1122209.2149 | 2592292.8378 | 1122210.8545 | 2592299.2387 | 1122211.1648
56 | 2592271.3623 | 1122810.0418 | 2592073.8473 | 1122647.4942
57 | 2592299.4677 | 1122293.064 | 2592073.8473 | 1122647.4942
58 | 2592271.3623 | 1122810.0418 | 2592272.4625 | 1122814.0868 | 2592277.438 | 1122821.4952 | 2592287.3791 | 1122834.6777 | 2592295.0457 | 1122842.0937 | 2592295.7834 | 1122842.7291
59 | 2592387.7654 | 1122315.914 | 2592380.7934 | 1122317.3994
60 | 2592387.7654 | 1122315.914 | 2592390.9492 | 1122315.2357 | 2592403.5342 | 1122311.0789
61 | 2592403.5342 | 1122311.0789 | 2592418.9233 | 1122305.9958 | 2592421.5354 | 1122305.1855
62 | 2592421.213 | 1122262.5179 | 2592421.5354 | 1122305.1855
63 | 2592421.213 | 1122262.5179 | 2592474.6653 | 1122365.7118
64 | 2592402.1362 | 1122238.3138 | 2592407.1055 | 1122236.3767 | 2592412.0764 | 1122239.9499 | 2592421.213 | 1122262.5179
65 | 2592421.5354 | 1122305.1855 | 2592439.3975 | 1122299.6446 | 2592449.4018 | 1122298.3634
66 | 2592474.6653 | 1122365.7118 | 2592479.3957 | 1122365.1596 | 2592485.573 | 1122365.4298 | 2592496.4246 | 1122369.1326
67 | 2592396.3855 | 1122240.2849 | 2592397.1776 | 1122240.2467 | 2592402.1362 | 1122238.3138
68 | 2592496.4246 | 1122369.1326 | 2592499.0433 | 1122370.0262 | 2592536.6349 | 1122387.6545
69 | 2592546.4131 | 1122398.8256 | 2592546.3967 | 1122398.0142 | 2592544.9491 | 1122393.6027 | 2592541.8601 | 1122390.1048 | 2592536.6349 | 1122387.6545
70 | 2592546.4131 | 1122398.8256 | 2592546.5047 | 1122404.2504 | 2592544.6576 | 1122414.0489
71 | 2592542.197 | 1122431.5247 | 2592543.2181 | 1122421.6852 | 2592544.6576 | 1122414.0489
72 | 2592542.197 | 1122431.5247 | 2592550.8889 | 1122432.3031 | 2592563.2322 | 1122433.6529
73 | 2592542.197 | 1122431.5247 | 2592529.4253 | 1122430.3845 | 2592511.6586 | 1122428.0359
74 | 2592575.2103 | 1122324.3373 | 2592596.4638 | 1122328.9858
75 | 2592503.2245 | 1122426.921 | 2592511.6586 | 1122428.0359
76 | 2592426.3869 | 1122401.5558 | 2592437.9981 | 1122406.7209 | 2592453.7241 | 1122413.5523
77 | 2592407.8211 | 1122387.2273 | 2592423.3456 | 1122400.2029 | 2592426.3869 | 1122401.5558
78 | 2592453.7241 | 1122413.5523 | 2592471.3226 | 1122421.1971 | 2592481.6888 | 1122423.7814
79 | 2592481.6888 | 1122423.7814 | 2592484.1895 | 1122424.4048 | 2592503.2245 | 1122426.921

## bus_geodata
| x | y | coords
0 | 2592676.4345 | 1122203.5285
1 | 2592623.4897 | 1122179.1608
2 | 2592639.6746 | 1122258.7863
3 | 2592547.7564 | 1122176.9488
4 | 2592626.4163 | 1122257.3575
5 | 2592688.0354 | 1122273.6627
6 | 2592498.9461 | 1122158.4018
7 | 2592648.2842 | 1122343.1503
8 | 2592639.3667 | 1122356.9814
9 | 2592665.1662 | 1122347.0818
10 | 2592615.753 | 1122334.2249
11 | 2592638.7754 | 1122357.9175
12 | 2592631.0988 | 1122371.3074
13 | 2592630.4737 | 1122384.6726
14 | 2592555.8678 | 1122232.4695
15 | 2592557.0112 | 1122264.2467
16 | 2592621.841 | 1122368.2173
17 | 2592554.5265 | 1122232.0451
18 | 2592521.9256 | 1122241.9016
19 | 2592566.3574 | 1122271.0606
20 | 2592606.9056 | 1122331.7563
21 | 2592510.2926 | 1122242.0445
22 | 2592495.6691 | 1122228.4528
23 | 2592536.2955 | 1122314.8787
24 | 2592516.0372 | 1122309.5205
25 | 2592523.7438 | 1122311.5588
26 | 2592510.3144 | 1122308.0068
27 | 2592536.0157 | 1122314.8047
28 | 2592483.0987 | 1122301.1769
29 | 2592458.9132 | 1122113.7957
30 | 2592488.0392 | 1122154.9883
31 | 2592440.5209 | 1122108.2162
32 | 2592433.1232 | 1122143.276
33 | 2592437.022 | 1122208.3618
34 | 2592420.5091 | 1122200.2309
35 | 2592427.2742 | 1122185.292
36 | 2592415.3336 | 1122197.4133
37 | 2592430.9911 | 1122177.0841
38 | 2592396.2463 | 1122187.0219
39 | 2592453.3656 | 1122297.8558
40 | 2592380.4711 | 1122213.9174
41 | 2592386.5528 | 1122180.032
42 | 2592372.8963 | 1122170.021
43 | 2592348.3676 | 1122202.3792
44 | 2592344.3694 | 1122187.5882
45 | 2592346.627 | 1122204.1712
46 | 2592377.2777 | 1122219.3618
47 | 2592347.0175 | 1122246.4033
48 | 2592311.0382 | 1122211.7369
49 | 2592385.0872 | 1122240.1937
50 | 2592235.8652 | 1122224.0437
51 | 2592216.0207 | 1122199.3482
52 | 2592280.5018 | 1122209.2149
53 | 2592073.8473 | 1122647.4942
54 | 2592271.3623 | 1122810.0418
55 | 2592299.4677 | 1122293.064
56 | 2592299.2387 | 1122211.1648
57 | 2592380.7934 | 1122317.3994
58 | 2592387.7654 | 1122315.914
59 | 2592403.5342 | 1122311.0789
60 | 2592421.213 | 1122262.5179
61 | 2592421.5354 | 1122305.1855
62 | 2592474.6653 | 1122365.7118
63 | 2592402.1362 | 1122238.3138
64 | 2592449.4018 | 1122298.3634
65 | 2592496.4246 | 1122369.1326
66 | 2592536.6349 | 1122387.6545
67 | 2592546.4131 | 1122398.8256
68 | 2592544.6576 | 1122414.0489
69 | 2592542.197 | 1122431.5247
70 | 2592575.2103 | 1122324.3373
71 | 2592596.4638 | 1122328.9858
72 | 2592563.2322 | 1122433.6529
73 | 2592511.6586 | 1122428.0359
74 | 2592426.3869 | 1122401.5558
75 | 2592453.7241 | 1122413.5523
76 | 2592407.8211 | 1122387.2273
77 | 2592481.6888 | 1122423.7814
78 | 2592503.2245 | 1122426.921
79 | 2592295.7834 | 1122842.7291
80 | 2592396.3855 | 1122240.2849
81 | 2592648.2842 | 1122343.1503

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1