## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-22_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-22_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6265-22_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_6265-22_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_6265-22_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6265-22_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6265-22_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_6265-22_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_6265-22_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6265-22_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_6265-22_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6265-22_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_6265-22_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6265-22_0_3_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_6265-22_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6265-22_0_3_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_6265-22_0_3_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_6265-22_0_3_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_6265-22_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_6265-22_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6265-22_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6265-22_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_6265-22_0_3_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_6265-22_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_6265-22_0_3_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_6265-22_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_6265-22_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6265-22_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6265-22_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6265-22_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6265-22_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6265-22_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6265-22_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6265-22_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_6265-22_0_3_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_6265-22_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_6265-22_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_6265-22_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6265-22_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_6265-22_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6265-22_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6265-22_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6265-22_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6265-22_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_6265-22_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_6265-22_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_6265-22_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6265-22_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_6265-22_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6265-22_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_6265-22_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_6265-22_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6265-22_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6265-22_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_6265-22_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_6265-22_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_6265-22_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_6265-22_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_6265-22_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_6265-22_0_3_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_6265-22_0_3_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6265-22_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_6265-22_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_6265-22_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_6265-22_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_6265-22_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_6265-22_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_6265-22_0_3_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6265-22_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_6265-22_0_3_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_6265-22_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_6265-22_0_3_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_6265-22_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_6265-22_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6265-22_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6265-22_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_6265-22_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_6265-22_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_MV_267_1_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-22_0_3_load_0 | 0 | 0.0081614 | 0.0020455 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-22_0_3_load_1 | 1 | 0.014381 | 0.0036043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-22_0_3_load_6 | 3 | 0.0083378 | 0.0020896 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-22_0_3_load_7 | 4 | 0.0063409 | 0.0015892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-22_0_3_load_21 | 7 | 0.0064624 | 0.0016196 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-22_0_3_load_22 | 8 | 0.0080687 | 0.0020222 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-22_0_3_load_12 | 10 | 0.018683 | 0.0046824 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-22_0_3_load_33 | 12 | 0.0019495 | 0.0004886 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-22_0_3_load_52 | 14 | 0.00307 | 0.00076941 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-22_0_3_load_51 | 16 | 0.0057002 | 0.0014286 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-22_0_3_load_78 | 17 | 0.0091015 | 0.002281 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-22_0_3_load_53 | 18 | 0.0023061 | 0.00057797 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-22_0_3_load_23 | 20 | 0.013187 | 0.003305 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-22_0_3_load_13 | 21 | 0.0093453 | 0.0023421 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-22_0_3_load_32 | 22 | 0.003787 | 0.0009491 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-22_0_3_load_79 | 23 | 0.0060466 | 0.0015154 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-22_0_3_load_54 | 24 | 0.0057068 | 0.0014303 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-22_0_3_load_37 | 25 | 0.0017664 | 0.00044269 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-22_0_3_load_14 | 26 | 0.0098807 | 0.0024763 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-22_0_3_load_15 | 27 | 0.011031 | 0.0027645 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-22_0_3_load_16 | 28 | 0.0069325 | 0.0017374 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-22_0_3_load_20 | 32 | 0.0063363 | 0.001588 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-22_0_3_load_24 | 33 | 0.0052344 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-22_0_3_load_25 | 34 | 0.0020829 | 0.00052203 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-22_0_3_load_55 | 35 | 0.0080463 | 0.0020166 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-22_0_3_load_26 | 37 | 0.009503 | 0.0023817 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-22_0_3_load_27 | 38 | 0.0071558 | 0.0017934 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-22_0_3_load_29 | 40 | 0.0026529 | 0.00066487 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-22_0_3_load_35 | 42 | 0.002289 | 0.00057368 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-22_0_3_load_34 | 43 | 0.0055098 | 0.0013809 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-22_0_3_load_36 | 44 | 0.0017232 | 0.00043187 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-22_0_3_load_40 | 47 | 0.0026502 | 0.00066419 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-22_0_3_load_42 | 48 | 0.0025456 | 0.00063799 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-22_0_3_load_41 | 49 | 0.0018602 | 0.00046621 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-22_0_3_load_43 | 50 | 0.0025538 | 0.00064005 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-22_0_3_load_44 | 51 | 0.00070877 | 0.00017764 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-22_0_3_load_45 | 52 | 0.0015433 | 0.00038679 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-22_0_3_load_46 | 53 | 0.0012829 | 0.00032152 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-22_0_3_load_48 | 55 | 0.0025135 | 0.00062994 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-22_0_3_load_50 | 57 | 0.00063679 | 0.00015959 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-22_0_3_load_64 | 58 | 0.015148 | 0.0037963 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-22_0_3_load_76 | 60 | 0.00094752 | 0.00023747 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-22_0_3_load_61 | 62 | 0.031695 | 0.0079436 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-22_0_3_load_74 | 63 | 0.0020836 | 0.00052221 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-22_0_3_load_57 | 64 | 0.017624 | 0.0044169 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-22_0_3_load_58 | 65 | 0.0040861 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-22_0_3_load_59 | 66 | 0.01501 | 0.0037618 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6265-22_0_3_load_60 | 67 | 0.0081318 | 0.002038 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6265-22_0_3_load_67 | 68 | 0.0062436 | 0.0015648 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6265-22_0_3_load_68 | 69 | 0.003446 | 0.00086364 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6265-22_0_3_load_65 | 70 | 0.012327 | 0.0030895 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6265-22_0_3_load_66 | 71 | 0.0042459 | 0.0010641 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6265-22_0_3_load_77 | 72 | 0.016563 | 0.0041511 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6265-22_0_3_load_70 | 74 | 0.0029003 | 0.00072687 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6265-22_0_3_load_71 | 75 | 0.0075643 | 0.0018958 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6265-22_0_3_load_72 | 76 | 0.0029042 | 0.00072787 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6265-22_0_3_load_73 | 77 | 0.0018545 | 0.00046478 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6265-22_0_3_load_75 | 78 | 0.032795 | 0.0082192 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-22_0_3_line_0 |  | 0 | 1 | 0.012112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6265-22_0_3_line_1 |  | 1 | 2 | 0.068288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6265-22_0_3_line_2 |  | 2 | 3 | 0.013663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6265-22_0_3_line_3 |  | 2 | 4 | 0.015669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6265-22_0_3_line_4 |  | 3 | 10 | 0.020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6265-22_0_3_line_5 |  | 4 | 5 | 0.013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6265-22_0_3_line_6 |  | 5 | 6 | 0.08883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6265-22_0_3_line_7 |  | 5 | 7 | 0.030307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-22_0_3_line_8 |  | 6 | 8 | 0.045757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6265-22_0_3_line_9 |  | 6 | 9 | 0.040181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6265-22_0_3_line_10 |  | 7 | 20 | 0.03996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6265-22_0_3_line_11 |  | 9 | 14 | 0.0062433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6265-22_0_3_line_12 |  | 9 | 17 | 0.028366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6265-22_0_3_line_13 |  | 9 | 11 | 0.0090848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6265-22_0_3_line_14 |  | 10 | 21 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6265-22_0_3_line_15 |  | 11 | 12 | 0.045069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6265-22_0_3_line_16 |  | 12 | 22 | 0.031156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6265-22_0_3_line_17 |  | 13 | 14 | 0.014257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6265-22_0_3_line_18 |  | 13 | 15 | 0.028726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6265-22_0_3_line_19 |  | 13 | 16 | 0.015381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6265-22_0_3_line_20 |  | 15 | 18 | 0.018177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6265-22_0_3_line_21 |  | 15 | 19 | 0.007323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6265-22_0_3_line_22 |  | 17 | 23 | 0.0014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6265-22_0_3_line_23 |  | 18 | 24 | 0.0055306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6265-22_0_3_line_24 |  | 19 | 25 | 0.014796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6265-22_0_3_line_25 |  | 22 | 41 | 0.121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6265-22_0_3_line_26 |  | 24 | 55 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6265-22_0_3_line_27 |  | 25 | 42 | 0.0099387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6265-22_0_3_line_28 |  | 26 | 27 | 0.01688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6265-22_0_3_line_29 |  | 26 | 28 | 0.0093144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6265-22_0_3_line_30 |  | 27 | 29 | 0.031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6265-22_0_3_line_31 |  | 29 | 30 | 0.035262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6265-22_0_3_line_32 |  | 30 | 31 | 0.069281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6265-22_0_3_line_33 |  | 30 | 32 | 0.014933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6265-22_0_3_line_34 |  | 31 | 33 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6265-22_0_3_line_35 |  | 31 | 34 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6265-22_0_3_line_36 |  | 34 | 35 | 0.0094023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6265-22_0_3_line_37 |  | 35 | 36 | 0.0016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6265-22_0_3_line_38 |  | 36 | 64 | 0.015452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6265-22_0_3_line_39 |  | 36 | 65 | 0.059209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6265-22_0_3_line_40 |  | 37 | 38 | 0.024399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6265-22_0_3_line_41 |  | 37 | 39 | 0.085346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6265-22_0_3_line_42 |  | 38 | 40 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6265-22_0_3_line_43 |  | 39 | 41 | 0.025242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6265-22_0_3_line_44 |  | 42 | 43 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6265-22_0_3_line_45 |  | 43 | 44 | 0.0063798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6265-22_0_3_line_46 |  | 44 | 45 | 0.026697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6265-22_0_3_line_47 |  | 45 | 46 | 0.016836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6265-22_0_3_line_48 |  | 45 | 47 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6265-22_0_3_line_49 |  | 46 | 48 | 0.015028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6265-22_0_3_line_50 |  | 47 | 49 | 0.0024093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6265-22_0_3_line_51 |  | 50 | 51 | 0.0032475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6265-22_0_3_line_52 |  | 50 | 52 | 0.0084585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6265-22_0_3_line_53 |  | 51 | 53 | 0.0046648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6265-22_0_3_line_54 |  | 52 | 54 | 0.0062053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6265-22_0_3_line_55 |  | 53 | 55 | 0.0032811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6265-22_0_3_line_56 |  | 54 | 56 | 0.041271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6265-22_0_3_line_57 |  | 54 | 57 | 0.0061989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6265-22_0_3_line_58 |  | 56 | 58 | 0.035253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6265-22_0_3_line_59 |  | 56 | 59 | 0.01454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6265-22_0_3_line_60 |  | 57 | 60 | 0.0093955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6265-22_0_3_line_61 |  | 59 | 61 | 0.025273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6265-22_0_3_line_62 |  | 59 | 62 | 0.032284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_6265-22_0_3_line_63 |  | 60 | 63 | 0.0064726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6265-22_0_3_line_64 |  | 61 | 70 | 0.014574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6265-22_0_3_line_65 |  | 61 | 71 | 0.0066601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6265-22_0_3_line_66 |  | 62 | 66 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6265-22_0_3_line_67 |  | 63 | 77 | 0.021608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6265-22_0_3_line_68 |  | 64 | 66 | 0.021616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6265-22_0_3_line_69 |  | 65 | 67 | 0.0024854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6265-22_0_3_line_70 |  | 67 | 68 | 0.017446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6265-22_0_3_line_71 |  | 68 | 69 | 0.015963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6265-22_0_3_line_72 |  | 69 | 73 | 0.0054828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6265-22_0_3_line_73 |  | 71 | 72 | 0.034243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6265-22_0_3_line_74 |  | 73 | 74 | 0.017819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6265-22_0_3_line_75 |  | 74 | 75 | 0.0024711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6265-22_0_3_line_76 |  | 75 | 76 | 0.0070553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6265-22_0_3_line_77 |  | 77 | 78 | 0.021362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-22_0_3_trafo_65 | 0.63 MVA 20/0.4 kV | 79 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2593012.4101 | 1121895.4652 | 2593012.1375 | 1121888.8926 | 2593011.9058 | 1121883.3641
1 | 2592991.9725 | 1121818.5707 | 2592992.5383 | 1121820.96 | 2592993.5842 | 1121825.0497 | 2592995.2792 | 1121830.1613 | 2592996.6566 | 1121834.0839 | 2592998.6288 | 1121838.8283 | 2593000.8166 | 1121843.2946 | 2593003.9936 | 1121849.4939 | 2593005.8032 | 1121853.6939 | 2593007.2885 | 1121857.6163 | 2593008.5508 | 1121862.0837 | 2593009.5351 | 1121866.1623 | 2593010.5821 | 1121871.2302 | 2593011.2432 | 1121875.9762 | 2593011.8519 | 1121882.0785 | 2593011.9058 | 1121883.3641
2 | 2592991.9725 | 1121818.5707 | 2592986.7712 | 1121822.4231 | 2592981.7719 | 1121827.5906
3 | 2592991.9725 | 1121818.5707 | 2592991.3835 | 1121816.1146 | 2592990.6136 | 1121810.6684 | 2592990.1701 | 1121807.345 | 2592989.9822 | 1121803.0594
4 | 2592967.768 | 1121842.0661 | 2592967.768 | 1121842.0661 | 2592981.7719 | 1121827.5906
5 | 2592989.9722 | 1121789.8812 | 2592989.8816 | 1121791.4821 | 2592989.7254 | 1121796.4402 | 2592989.8927 | 1121801.0201 | 2592989.9822 | 1121803.0594
6 | 2592989.9722 | 1121789.8812 | 2592990.1462 | 1121786.9684 | 2592990.6344 | 1121782.3879 | 2592991.7755 | 1121775.5165 | 2592992.8656 | 1121771.1575 | 2592994.6635 | 1121765.3304 | 2592997.7166 | 1121757.912 | 2593006.5226 | 1121736.7581 | 2593008.3143 | 1121732.1871 | 2593010.3898 | 1121726.3151 | 2593010.4105 | 1121724.2474 | 2593010.1068 | 1121721.7799 | 2593009.7576 | 1121719.9127 | 2593009.2857 | 1121718.6682 | 2593009.0459 | 1121718.0682 | 2593008.0336 | 1121716.3797 | 2593001.6317 | 1121709.3615 | 2593000.4193 | 1121708.04
7 | 2592989.9722 | 1121789.8812 | 2592960.7023 | 1121782.0228
8 | 2592975.6139 | 1121745.6986 | 2592982.5114 | 1121728.1041 | 2593000.4193 | 1121708.04
9 | 2592972.4047 | 1121679.2365 | 2592973.5861 | 1121680.4357 | 2592983.8636 | 1121690.8399 | 2593000.4193 | 1121708.04
10 | 2592960.7023 | 1121782.0228 | 2592960.7023 | 1121782.0228 | 2592957.4097 | 1121769.3871 | 2592954.8884 | 1121763.3983 | 2592950.2886 | 1121760.6802 | 2592944.1717 | 1121759.9203 | 2592937.202 | 1121765.4518
11 | 2592972.4047 | 1121679.2365 | 2592968.1316 | 1121674.6847
12 | 2592972.4047 | 1121679.2365 | 2592966.2516 | 1121687.1254 | 2592959.1827 | 1121683.4319 | 2592952.2835 | 1121691.1949
13 | 2592972.4047 | 1121679.2365 | 2592973.5861 | 1121680.4357 | 2592976.1668 | 1121677.887 | 2592978.8553 | 1121675.2381
14 | 2592948.3088 | 1121841.2108 | 2592967.768 | 1121842.0661
15 | 2592978.8553 | 1121675.2381 | 2592976.8399 | 1121673.1061 | 2592969.4576 | 1121665.3332 | 2592959.9595 | 1121655.4173 | 2592957.0093 | 1121652.0302 | 2592954.1514 | 1121648.3873 | 2592952.5361 | 1121645.4878 | 2592950.8583 | 1121641.9214 | 2592950.3445 | 1121640.7248
16 | 2592953.9174 | 1121610.7447 | 2592949.5234 | 1121621.7575 | 2592948.9337 | 1121625.3155 | 2592948.386 | 1121631.7749 | 2592948.8295 | 1121635.0426 | 2592949.5513 | 1121638.877 | 2592950.3445 | 1121640.7248
17 | 2592958.3735 | 1121664.2902 | 2592968.1316 | 1121674.6847
18 | 2592945.6369 | 1121641.9387 | 2592948.1728 | 1121647.2383 | 2592951.4635 | 1121651.6143 | 2592960.8542 | 1121661.9639 | 2592958.3735 | 1121664.2902
19 | 2592958.3735 | 1121664.2902 | 2592950.2842 | 1121671.8701 | 2592946.0036 | 1121672.2306
20 | 2592945.6369 | 1121641.9387 | 2592942.3608 | 1121643.3988 | 2592937.3572 | 1121645.0277 | 2592932.9077 | 1121645.511 | 2592928.1015 | 1121646.1834
21 | 2592945.6369 | 1121641.9387 | 2592944.5607 | 1121638.4716 | 2592943.9086 | 1121634.8372
22 | 2592952.2835 | 1121691.1949 | 2592951.3194 | 1121692.2798
23 | 2592922.6801 | 1121647.2647 | 2592926.9777 | 1121646.3406 | 2592928.1015 | 1121646.1834
24 | 2592943.9086 | 1121634.8372 | 2592937.3227 | 1121635.3564 | 2592934.1054 | 1121634.4041 | 2592929.6945 | 1121632.4262
25 | 2592986.6417 | 1121494.7185 | 2592985.577 | 1121501.0228 | 2592983.7907 | 1121510.1738 | 2592981.8146 | 1121521.9486 | 2592979.8295 | 1121532.6339 | 2592976.9528 | 1121545.8326 | 2592975.126 | 1121553.3495 | 2592974.0738 | 1121557.1749 | 2592971.1078 | 1121566.5607 | 2592968.5863 | 1121573.6227 | 2592966.0721 | 1121580.2956 | 2592964.2805 | 1121584.8777 | 2592959.5283 | 1121596.9892 | 2592957.2979 | 1121602.2722 | 2592953.9174 | 1121610.7447
26 | 2592905.5634 | 1121653.8757 | 2592907.9353 | 1121652.744 | 2592915.4437 | 1121649.6892 | 2592920.7398 | 1121647.682 | 2592922.6801 | 1121647.2647
27 | 2592920.6258 | 1121628.3596 | 2592929.6945 | 1121632.4262
28 | 2592927.687 | 1121874.5847 | 2592910.81 | 1121874.283
29 | 2592925.0754 | 1121883.5255 | 2592927.687 | 1121874.5847
30 | 2592879.3661 | 1121871.5294 | 2592886.3623 | 1121872.566 | 2592904.9431 | 1121874.1781 | 2592910.81 | 1121874.283
31 | 2592879.3661 | 1121871.5294 | 2592879.6032 | 1121869.8505 | 2592878.8861 | 1121863.5149 | 2592876.5587 | 1121858.4486 | 2592871.4602 | 1121851.4067 | 2592864.759 | 1121845.5785 | 2592861.6478 | 1121842.9587
32 | 2592810.2389 | 1121799.0432 | 2592811.3319 | 1121803.6775 | 2592812.4384 | 1121806.7665 | 2592815.7353 | 1121809.8419 | 2592838.6111 | 1121823.5768 | 2592850.4369 | 1121832.3669 | 2592861.6478 | 1121842.9587
33 | 2592861.6478 | 1121842.9587 | 2592856.3612 | 1121856.9242
34 | 2592810.2389 | 1121799.0432 | 2592806.1218 | 1121800.1598 | 2592801.525 | 1121799.943 | 2592795.9006 | 1121798.2267
35 | 2592810.2389 | 1121799.0432 | 2592815.4727 | 1121796.6357 | 2592819.6971 | 1121794.2823
36 | 2592827.9238 | 1121789.7299 | 2592821.3918 | 1121793.3381 | 2592819.6971 | 1121794.2823
37 | 2592829.338 | 1121788.9487 | 2592827.9238 | 1121789.7299
38 | 2592829.338 | 1121788.9487 | 2592840.1054 | 1121783.2775 | 2592843.01 | 1121781.7478
39 | 2592829.338 | 1121788.9487 | 2592827.1894 | 1121785.1939 | 2592824.6043 | 1121783.9186 | 2592818.7482 | 1121781.9468 | 2592800.2219 | 1121774.5099 | 2592780.7157 | 1121766.8518 | 2592776.5 | 1121764.3505
40 | 2592953.6056 | 1121591.3133 | 2592953.0062 | 1121592.8059 | 2592947.6686 | 1121605.4962 | 2592944.5232 | 1121613.137 | 2592944.2277 | 1121613.8374
41 | 2592975.56 | 1121509.1052 | 2592974.8488 | 1121514.3308 | 2592973.859 | 1121518.6896 | 2592971.9284 | 1121529.7973 | 2592970.1418 | 1121538.6816 | 2592968.2865 | 1121548.1884 | 2592966.6428 | 1121553.9709 | 2592964.6679 | 1121560.1874 | 2592962.7699 | 1121566.1481 | 2592959.9571 | 1121574.7 | 2592956.2976 | 1121584.6092 | 2592953.6056 | 1121591.3133
42 | 2592938.5703 | 1121628.4792 | 2592940.2476 | 1121623.8584 | 2592941.5621 | 1121620.155 | 2592944.2277 | 1121613.8374
43 | 2592975.56 | 1121509.1052 | 2592979.7102 | 1121509.7562 | 2592981.8664 | 1121493.7347 | 2592986.6417 | 1121494.7185
44 | 2592909.0615 | 1121622.7414 | 2592914.9681 | 1121625.8225 | 2592920.6258 | 1121628.3596
45 | 2592909.0615 | 1121622.7414 | 2592903.4051 | 1121619.7907
46 | 2592879.9923 | 1121606.9659 | 2592897.2568 | 1121616.5834 | 2592903.4051 | 1121619.7907
47 | 2592864.9975 | 1121599.2355 | 2592871.2175 | 1121602.2518 | 2592879.9923 | 1121606.9659
48 | 2592879.9923 | 1121606.9659 | 2592878.6391 | 1121610.4915 | 2592877.0585 | 1121620.1995
49 | 2592864.9975 | 1121599.2355 | 2592854.9459 | 1121610.4308
50 | 2592876.6713 | 1121622.5775 | 2592877.0585 | 1121620.1995
51 | 2592896.3932 | 1121660.1667 | 2592898.3938 | 1121658.3025 | 2592898.8098 | 1121658.0025
52 | 2592896.3932 | 1121660.1667 | 2592894.4878 | 1121661.9422 | 2592891.9327 | 1121666.5142 | 2592891.6601 | 1121667.0673
53 | 2592898.8098 | 1121658.0025 | 2592902.5164 | 1121655.3295 | 2592902.6021 | 1121655.2886
54 | 2592889.5031 | 1121672.8646 | 2592890.617 | 1121669.1837 | 2592891.6601 | 1121667.0673
55 | 2592902.6021 | 1121655.2886 | 2592905.5634 | 1121653.8757
56 | 2592889.5031 | 1121672.8646 | 2592881.7462 | 1121713.3937
57 | 2592889.5031 | 1121672.8646 | 2592885.5685 | 1121671.8688 | 2592883.5867 | 1121671.0607
58 | 2592911.1168 | 1121714.6594 | 2592907.8706 | 1121721.8335 | 2592881.7462 | 1121713.3937
59 | 2592879.0638 | 1121727.6816 | 2592881.7462 | 1121713.3937
60 | 2592883.5867 | 1121671.0607 | 2592876.6254 | 1121668.2221 | 2592874.8639 | 1121667.5716
61 | 2592879.0638 | 1121727.6816 | 2592902.3134 | 1121737.7478
62 | 2592879.0638 | 1121727.6816 | 2592876.7112 | 1121740.335 | 2592873.9361 | 1121747.9754 | 2592870.0507 | 1121755.8728 | 2592868.6332 | 1121757.912
63 | 2592868.7695 | 1121665.3996 | 2592869.6039 | 1121665.6292 | 2592874.8639 | 1121667.5716
64 | 2592902.3134 | 1121737.7478 | 2592900.0142 | 1121743.5534 | 2592900.5411 | 1121745.576 | 2592906.259 | 1121748.1149
65 | 2592902.3134 | 1121737.7478 | 2592908.5757 | 1121740.015
66 | 2592868.6332 | 1121757.912 | 2592864.9 | 1121763.2825 | 2592861.2199 | 1121768.6785 | 2592860.537 | 1121769.4281
67 | 2592847.6887 | 1121660.8728 | 2592852.585 | 1121661.3696 | 2592859.1423 | 1121662.7513 | 2592868.7695 | 1121665.3996
68 | 2592843.01 | 1121781.7478 | 2592849.3929 | 1121778.3862 | 2592856.8912 | 1121773.4304 | 2592860.537 | 1121769.4281
69 | 2592774.3625 | 1121763.0823 | 2592776.5 | 1121764.3505
70 | 2592759.3587 | 1121754.18 | 2592774.3625 | 1121763.0823
71 | 2592759.3587 | 1121754.18 | 2592747.49 | 1121747.1379 | 2592745.4905 | 1121746.3133
72 | 2592740.4219 | 1121744.2228 | 2592745.4905 | 1121746.3133
73 | 2592933.252 | 1121725.5977 | 2592925.5458 | 1121739.9659 | 2592922.2933 | 1121741.7261 | 2592918.2299 | 1121742.6203 | 2592915.1369 | 1121742.3905 | 2592908.5757 | 1121740.015
74 | 2592740.4219 | 1121744.2228 | 2592738.8569 | 1121732.0298 | 2592738.6995 | 1121726.5064
75 | 2592738.6291 | 1121724.0362 | 2592738.6995 | 1121726.5064
76 | 2592741.369 | 1121717.5864 | 2592738.6152 | 1121723.5482 | 2592738.6291 | 1121724.0362
77 | 2592837.1111 | 1121672.1156 | 2592836.8305 | 1121663.2449 | 2592837.2065 | 1121661.6659 | 2592838.5782 | 1121660.6749 | 2592840.5444 | 1121660.2946 | 2592844.3547 | 1121660.5346 | 2592847.6887 | 1121660.8728

## bus_geodata
| x | y | coords
0 | 2593012.4101 | 1121895.4652
1 | 2593011.9058 | 1121883.3641
2 | 2592991.9725 | 1121818.5707
3 | 2592981.7719 | 1121827.5906
4 | 2592989.9822 | 1121803.0594
5 | 2592989.9722 | 1121789.8812
6 | 2593000.4193 | 1121708.04
7 | 2592960.7023 | 1121782.0228
8 | 2592975.6139 | 1121745.6986
9 | 2592972.4047 | 1121679.2365
10 | 2592967.768 | 1121842.0661
11 | 2592978.8553 | 1121675.2381
12 | 2592950.3445 | 1121640.7248
13 | 2592958.3735 | 1121664.2902
14 | 2592968.1316 | 1121674.6847
15 | 2592945.6369 | 1121641.9387
16 | 2592946.0036 | 1121672.2306
17 | 2592952.2835 | 1121691.1949
18 | 2592928.1015 | 1121646.1834
19 | 2592943.9086 | 1121634.8372
20 | 2592937.202 | 1121765.4518
21 | 2592948.3088 | 1121841.2108
22 | 2592953.9174 | 1121610.7447
23 | 2592951.3194 | 1121692.2798
24 | 2592922.6801 | 1121647.2647
25 | 2592929.6945 | 1121632.4262
26 | 2592927.687 | 1121874.5847
27 | 2592910.81 | 1121874.283
28 | 2592925.0754 | 1121883.5255
29 | 2592879.3661 | 1121871.5294
30 | 2592861.6478 | 1121842.9587
31 | 2592810.2389 | 1121799.0432
32 | 2592856.3612 | 1121856.9242
33 | 2592795.9006 | 1121798.2267
34 | 2592819.6971 | 1121794.2823
35 | 2592827.9238 | 1121789.7299
36 | 2592829.338 | 1121788.9487
37 | 2592953.6056 | 1121591.3133
38 | 2592944.2277 | 1121613.8374
39 | 2592975.56 | 1121509.1052
40 | 2592938.5703 | 1121628.4792
41 | 2592986.6417 | 1121494.7185
42 | 2592920.6258 | 1121628.3596
43 | 2592909.0615 | 1121622.7414
44 | 2592903.4051 | 1121619.7907
45 | 2592879.9923 | 1121606.9659
46 | 2592864.9975 | 1121599.2355
47 | 2592877.0585 | 1121620.1995
48 | 2592854.9459 | 1121610.4308
49 | 2592876.6713 | 1121622.5775
50 | 2592896.3932 | 1121660.1667
51 | 2592898.8098 | 1121658.0025
52 | 2592891.6601 | 1121667.0673
53 | 2592902.6021 | 1121655.2886
54 | 2592889.5031 | 1121672.8646
55 | 2592905.5634 | 1121653.8757
56 | 2592881.7462 | 1121713.3937
57 | 2592883.5867 | 1121671.0607
58 | 2592911.1168 | 1121714.6594
59 | 2592879.0638 | 1121727.6816
60 | 2592874.8639 | 1121667.5716
61 | 2592902.3134 | 1121737.7478
62 | 2592868.6332 | 1121757.912
63 | 2592868.7695 | 1121665.3996
64 | 2592843.01 | 1121781.7478
65 | 2592776.5 | 1121764.3505
66 | 2592860.537 | 1121769.4281
67 | 2592774.3625 | 1121763.0823
68 | 2592759.3587 | 1121754.18
69 | 2592745.4905 | 1121746.3133
70 | 2592906.259 | 1121748.1149
71 | 2592908.5757 | 1121740.015
72 | 2592933.252 | 1121725.5977
73 | 2592740.4219 | 1121744.2228
74 | 2592738.6995 | 1121726.5064
75 | 2592738.6291 | 1121724.0362
76 | 2592741.369 | 1121717.5864
77 | 2592847.6887 | 1121660.8728
78 | 2592837.1111 | 1121672.1156
79 | 2592902.3134 | 1121737.7478

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1