## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-25_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-25_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-25_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6265-25_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6265-25_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6265-25_0_8_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_6265-25_0_8_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_6265-25_0_8_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_6265-25_0_8_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6265-25_0_8_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6265-25_0_8_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_6265-25_0_8_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6265-25_0_8_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_6265-25_0_8_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_6265-25_0_8_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_6265-25_0_8_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_6265-25_0_8_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_6265-25_0_8_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6265-25_0_8_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_6265-25_0_8_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6265-25_0_8_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6265-25_0_8_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6265-25_0_8_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6265-25_0_8_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6265-25_0_8_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_6265-25_0_8_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_6265-25_0_8_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_6265-25_0_8_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6265-25_0_8_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_6265-25_0_8_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_6265-25_0_8_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6265-25_0_8_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6265-25_0_8_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_6265-25_0_8_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_6265-25_0_8_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6265-25_0_8_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6265-25_0_8_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_6265-25_0_8_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6265-25_0_8_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_6265-25_0_8_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_6265-25_0_8_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_6265-25_0_8_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_6265-25_0_8_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6265-25_0_8_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_6265-25_0_8_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_6265-25_0_8_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_6265-25_0_8_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6265-25_0_8_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6265-25_0_8_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_6265-25_0_8_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_6265-25_0_8_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_6265-25_0_8_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6265-25_0_8_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6265-25_0_8_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_6265-25_0_8_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_6265-25_0_8_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6265-25_0_8_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_6265-25_0_8_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6265-25_0_8_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6265-25_0_8_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6265-25_0_8_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6265-25_0_8_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6265-25_0_8_node_63 | 0.4 | n |  | TRUE
63 | bus_MV_267_1_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-25_0_8_load_0 | 0 | 0.019401 | 0.0048623 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-25_0_8_load_1 | 1 | 0.010762 | 0.0026972 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-25_0_8_load_2 | 2 | 0.011917 | 0.0029867 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-25_0_8_load_4 | 4 | 0.0082455 | 0.0020665 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-25_0_8_load_49 | 5 | 0.020227 | 0.0050695 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-25_0_8_load_62 | 6 | 0.039652 | 0.0099378 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-25_0_8_load_48 | 7 | 0.0028324 | 0.00070986 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-25_0_8_load_5 | 8 | 0.0066659 | 0.0016706 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-25_0_8_load_55 | 10 | 0.01098 | 0.0027518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-25_0_8_load_64 | 12 | 0.0051871 | 0.0013 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-25_0_8_load_46 | 14 | 0.0067679 | 0.0016962 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-25_0_8_load_47 | 15 | 0.0064641 | 0.00162 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-25_0_8_load_45 | 16 | 0.0098623 | 0.0024717 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-25_0_8_load_8 | 17 | 0.0042352 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-25_0_8_load_9 | 18 | 0.0096453 | 0.0024173 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-25_0_8_load_10 | 19 | 0.0046371 | 0.0011622 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-25_0_8_load_11 | 20 | 0.0032663 | 0.0008186 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-25_0_8_load_13 | 22 | 0.0077046 | 0.001931 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-25_0_8_load_29 | 24 | 0.0092129 | 0.002309 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-25_0_8_load_30 | 25 | 0.010926 | 0.0027384 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-25_0_8_load_28 | 26 | 0.0099509 | 0.0024939 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-25_0_8_load_15 | 27 | 0.0071121 | 0.0017825 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-25_0_8_load_32 | 28 | 0.0012591 | 0.00031556 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-25_0_8_load_26 | 29 | 0.0035367 | 0.00088637 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-25_0_8_load_27 | 30 | 0.0049329 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-25_0_8_load_25 | 31 | 0.0045911 | 0.0011506 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-25_0_8_load_16 | 32 | 0.011373 | 0.0028504 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-25_0_8_load_31 | 33 | 0.0035895 | 0.00089961 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-25_0_8_load_33 | 34 | 0.0042444 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-25_0_8_load_24 | 35 | 0.0037132 | 0.0009306 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-25_0_8_load_17 | 36 | 0.0094745 | 0.0023745 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-25_0_8_load_34 | 37 | 0.0024904 | 0.00062416 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-25_0_8_load_18 | 38 | 0.0024772 | 0.00062085 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-25_0_8_load_21 | 40 | 0.0054214 | 0.0013587 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-25_0_8_load_20 | 41 | 0.0091829 | 0.0023014 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-25_0_8_load_36 | 42 | 0.0081324 | 0.0020382 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-25_0_8_load_50 | 43 | 0.0068006 | 0.0017044 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-25_0_8_load_35 | 44 | 0.0055064 | 0.00138 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-25_0_8_load_37 | 45 | 0.0053073 | 0.0013301 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-25_0_8_load_38 | 46 | 0.0088259 | 0.002212 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-25_0_8_load_39 | 47 | 0.0082808 | 0.0020754 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-25_0_8_load_51 | 48 | 0.00501 | 0.0012556 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-25_0_8_load_22 | 49 | 0.0049517 | 0.001241 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-25_0_8_load_23 | 50 | 0.0036345 | 0.00091089 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-25_0_8_load_40 | 51 | 0.0051304 | 0.0012858 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-25_0_8_load_41 | 52 | 0.0088726 | 0.0022237 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-25_0_8_load_52 | 53 | 0.0088046 | 0.0022066 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6265-25_0_8_load_42 | 54 | 0.012439 | 0.0031175 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6265-25_0_8_load_43 | 55 | 0.0032108 | 0.0008047 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6265-25_0_8_load_44 | 56 | 0.010448 | 0.0026186 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6265-25_0_8_load_54 | 57 | 0.0059907 | 0.0015014 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6265-25_0_8_load_56 | 58 | 0.0066907 | 0.0016769 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6265-25_0_8_load_58 | 60 | 0.013619 | 0.0034133 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6265-25_0_8_load_59 | 61 | 0.022104 | 0.0055398 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6265-25_0_8_load_63 | 62 | 0.027817 | 0.0069717 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-25_0_8_line_0 |  | 0 | 1 | 0.06386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6265-25_0_8_line_1 |  | 0 | 2 | 0.046339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6265-25_0_8_line_2 |  | 1 | 3 | 0.012086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6265-25_0_8_line_3 |  | 2 | 4 | 0.041805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6265-25_0_8_line_4 |  | 3 | 8 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6265-25_0_8_line_5 |  | 3 | 9 | 0.006591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6265-25_0_8_line_6 |  | 4 | 10 | 0.025532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6265-25_0_8_line_7 |  | 5 | 6 | 0.065389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-25_0_8_line_8 |  | 5 | 7 | 0.0021517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6265-25_0_8_line_9 |  | 6 | 62 | 0.039964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6265-25_0_8_line_10 |  | 6 | 61 | 0.088632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6265-25_0_8_line_11 |  | 7 | 15 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6265-25_0_8_line_12 |  | 8 | 11 | 0.041579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6265-25_0_8_line_13 |  | 9 | 12 | 0.02085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6265-25_0_8_line_14 |  | 10 | 13 | 0.0052348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6265-25_0_8_line_15 |  | 11 | 17 | 0.051526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6265-25_0_8_line_16 |  | 11 | 18 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6265-25_0_8_line_17 |  | 13 | 57 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6265-25_0_8_line_18 |  | 13 | 48 | 0.033023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6265-25_0_8_line_19 |  | 14 | 15 | 0.0079019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6265-25_0_8_line_20 |  | 14 | 16 | 0.029929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6265-25_0_8_line_21 |  | 16 | 56 | 0.0099863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6265-25_0_8_line_22 |  | 19 | 20 | 0.010008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6265-25_0_8_line_23 |  | 19 | 21 | 0.021809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6265-25_0_8_line_24 |  | 20 | 22 | 0.049204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6265-25_0_8_line_25 |  | 21 | 23 | 0.007248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6265-25_0_8_line_26 |  | 22 | 27 | 0.029512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6265-25_0_8_line_27 |  | 23 | 28 | 0.0089755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6265-25_0_8_line_28 |  | 24 | 25 | 0.029399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6265-25_0_8_line_29 |  | 24 | 26 | 0.0084255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6265-25_0_8_line_30 |  | 25 | 33 | 0.040119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6265-25_0_8_line_31 |  | 26 | 30 | 0.0021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6265-25_0_8_line_32 |  | 27 | 32 | 0.0060908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6265-25_0_8_line_33 |  | 28 | 34 | 0.010715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6265-25_0_8_line_34 |  | 29 | 30 | 0.012722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6265-25_0_8_line_35 |  | 29 | 31 | 0.012045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6265-25_0_8_line_36 |  | 30 | 34 | 0.061151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6265-25_0_8_line_37 |  | 31 | 35 | 0.011648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6265-25_0_8_line_38 |  | 32 | 36 | 0.021874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6265-25_0_8_line_39 |  | 33 | 37 | 0.007043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6265-25_0_8_line_40 |  | 35 | 50 | 0.010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6265-25_0_8_line_41 |  | 36 | 38 | 0.014565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6265-25_0_8_line_42 |  | 37 | 42 | 0.00094025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6265-25_0_8_line_43 |  | 38 | 39 | 0.0081735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6265-25_0_8_line_44 |  | 39 | 40 | 0.013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6265-25_0_8_line_45 |  | 39 | 41 | 0.062793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6265-25_0_8_line_46 |  | 40 | 43 | 0.042727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6265-25_0_8_line_47 |  | 42 | 44 | 0.0059121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6265-25_0_8_line_48 |  | 43 | 48 | 0.023955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6265-25_0_8_line_49 |  | 44 | 45 | 0.0027869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6265-25_0_8_line_50 |  | 45 | 46 | 0.021902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6265-25_0_8_line_51 |  | 46 | 47 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6265-25_0_8_line_52 |  | 47 | 51 | 0.020953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6265-25_0_8_line_53 |  | 48 | 53 | 0.027684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6265-25_0_8_line_54 |  | 49 | 50 | 0.011626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6265-25_0_8_line_55 |  | 51 | 52 | 0.0078325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6265-25_0_8_line_56 |  | 52 | 54 | 0.030642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6265-25_0_8_line_57 |  | 54 | 55 | 0.0045413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6265-25_0_8_line_58 |  | 55 | 56 | 0.032282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6265-25_0_8_line_59 |  | 58 | 59 | 0.019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6265-25_0_8_line_60 |  | 59 | 60 | 0.030838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6265-25_0_8_line_61 |  | 59 | 61 | 0.11532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-25_0_8_trafo_44 | 0.63 MVA 20/0.4 kV | 63 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2593627.8725 | 1122644.6115 | 2593569.6486 | 1122618.3795
1 | 2593627.8725 | 1122644.6115 | 2593636.4805 | 1122648.4897 | 2593670.4784 | 1122662.8279
2 | 2593558.6514 | 1122613.367 | 2593565.7107 | 1122616.6054 | 2593569.6486 | 1122618.3795
3 | 2593708.0646 | 1122681.0554 | 2593684.2808 | 1122668.6489 | 2593670.4784 | 1122662.8279
4 | 2593558.6514 | 1122613.367 | 2593562.7795 | 1122622.9116 | 2593572.1612 | 1122628.4801
5 | 2593552.649 | 1122610.6054 | 2593558.6514 | 1122613.367
6 | 2593708.0646 | 1122681.0554 | 2593709.5258 | 1122681.8176 | 2593728.9201 | 1122695.757
7 | 2593598.5627 | 1122814.0705 | 2593561.3398 | 1122867.8312
8 | 2593600.4155 | 1122815.1646 | 2593598.5627 | 1122814.0705
9 | 2593561.3398 | 1122867.8312 | 2593554.0205 | 1122859.8813 | 2593536.1532 | 1122836.8392
10 | 2593561.3398 | 1122867.8312 | 2593501.2188 | 1122932.955
11 | 2593616.5457 | 1122824.69 | 2593600.4155 | 1122815.1646
12 | 2593601.1755 | 1122653.0518 | 2593602.6745 | 1122648.6703 | 2593600.3574 | 1122645.2156 | 2593572.1612 | 1122628.4801
13 | 2593552.649 | 1122610.6054 | 2593545.6842 | 1122623.5081 | 2593540.0191 | 1122626.0488
14 | 2593733.1709 | 1122698.8122 | 2593728.9201 | 1122695.757
15 | 2593601.1755 | 1122653.0518 | 2593582.6864 | 1122648.236 | 2593564.3167 | 1122654.0141 | 2593553.5833 | 1122661.8517
16 | 2593601.1755 | 1122653.0518 | 2593600.7222 | 1122661.801 | 2593596.1119 | 1122669.9878
17 | 2593733.1709 | 1122698.8122 | 2593722.9352 | 1122719.3989
18 | 2593733.1709 | 1122698.8122 | 2593740.1625 | 1122703.8407 | 2593751.3587 | 1122725.5618
19 | 2593616.5457 | 1122824.69 | 2593623.3498 | 1122828.708
20 | 2593648.5115 | 1122844.9081 | 2593626.4417 | 1122830.5338 | 2593623.3498 | 1122828.708
21 | 2593648.5115 | 1122844.9081 | 2593656.8794 | 1122850.3582
22 | 2593907.2523 | 1122877.8954 | 2593899.6704 | 1122871.3622
23 | 2593923.6184 | 1122892.2991 | 2593921.326 | 1122890.0225 | 2593907.2523 | 1122877.8954
24 | 2593899.6704 | 1122871.3622 | 2593895.0393 | 1122867.3716 | 2593862.0306 | 1122839.6728
25 | 2593923.6184 | 1122892.2991 | 2593928.7746 | 1122897.4074
26 | 2593862.0306 | 1122839.6728 | 2593859.2217 | 1122837.3158 | 2593842.1035 | 1122817.9525
27 | 2593928.7746 | 1122897.4074 | 2593919.799 | 1122897.4166 | 2593919.799 | 1122897.4166
28 | 2593860.3029 | 1122930.6269 | 2593844.7292 | 1122916.2693 | 2593837.994 | 1122911.5632
29 | 2593866.4976 | 1122936.3379 | 2593860.3029 | 1122930.6269
30 | 2593837.994 | 1122911.5632 | 2593831.48 | 1122907.0117 | 2593817.0008 | 1122901.4573 | 2593800.5425 | 1122898.8429
31 | 2593866.4976 | 1122936.3379 | 2593868.0807 | 1122937.7974
32 | 2593838.0694 | 1122813.3892 | 2593842.1035 | 1122817.9525
33 | 2593919.799 | 1122897.4166 | 2593909.9407 | 1122893.2189
34 | 2593878.1669 | 1122945.5252 | 2593870.1916 | 1122939.7435 | 2593868.0807 | 1122937.7974
35 | 2593887.9189 | 1122952.5951 | 2593878.1669 | 1122945.5252
36 | 2593868.0807 | 1122937.7974 | 2593909.9407 | 1122893.2189
37 | 2593887.9189 | 1122952.5951 | 2593894.6147 | 1122957.4493 | 2593897.6604 | 1122958.9101
38 | 2593822.7313 | 1122797.8734 | 2593828.99 | 1122803.1191 | 2593838.0694 | 1122813.3892
39 | 2593793.5868 | 1122897.738 | 2593800.5425 | 1122898.8429
40 | 2593907.3071 | 1122963.5369 | 2593897.6604 | 1122958.9101
41 | 2593822.7313 | 1122797.8734 | 2593811.5684 | 1122788.5175
42 | 2593793.5868 | 1122897.738 | 2593792.6581 | 1122897.5905
43 | 2593805.3042 | 1122783.2672 | 2593811.5684 | 1122788.5175
44 | 2593805.3042 | 1122783.2672 | 2593795.0885 | 1122774.7053
45 | 2593805.3042 | 1122783.2672 | 2593799.1222 | 1122785.4636 | 2593789.2868 | 1122781.8609 | 2593773.8921 | 1122778.6754 | 2593767.4776 | 1122779.7492 | 2593764.2797 | 1122781.887 | 2593765.7794 | 1122785.4983 | 2593779.9042 | 1122792.5252
46 | 2593795.0885 | 1122774.7053 | 2593794.8388 | 1122774.496 | 2593776.0008 | 1122759.8751 | 2593763.3712 | 1122746.2816 | 2593763.3712 | 1122746.2816
47 | 2593786.8192 | 1122896.663 | 2593792.6581 | 1122897.5905
48 | 2593751.3587 | 1122725.5618 | 2593752.8036 | 1122728.3617 | 2593763.3712 | 1122746.2816
49 | 2593786.8192 | 1122896.663 | 2593784.0668 | 1122896.2258
50 | 2593784.0668 | 1122896.2258 | 2593766.7325 | 1122893.4723 | 2593762.4548 | 1122892.6787
51 | 2593762.4548 | 1122892.6787 | 2593743.6857 | 1122889.1967
52 | 2593723.1698 | 1122885.0322 | 2593725.8565 | 1122885.8891 | 2593743.6857 | 1122889.1967
53 | 2593751.3587 | 1122725.5618 | 2593762.9366 | 1122728.8291 | 2593775.6594 | 1122737.9489
54 | 2593917.7895 | 1122968.5645 | 2593907.3071 | 1122963.5369
55 | 2593723.1698 | 1122885.0322 | 2593715.7077 | 1122882.6521
56 | 2593715.7077 | 1122882.6521 | 2593701.8519 | 1122878.2328 | 2593693.0785 | 1122872.517 | 2593688.2428 | 1122869.6391
57 | 2593684.3403 | 1122867.3166 | 2593688.2428 | 1122869.6391
58 | 2593684.3403 | 1122867.3166 | 2593667.8323 | 1122857.4919 | 2593656.8794 | 1122850.3582
59 | 2593468.8064 | 1123043.6302 | 2593483.3032 | 1123056.1465
60 | 2593468.8064 | 1123043.6302 | 2593468.0367 | 1123051.9573 | 2593462.1601 | 1123058.0556 | 2593449.9545 | 1123051.1847
61 | 2593501.2188 | 1122932.955 | 2593468.8064 | 1123043.6302

## bus_geodata
| x | y | coords
0 | 2593627.8725 | 1122644.6115
1 | 2593569.6486 | 1122618.3795
2 | 2593670.4784 | 1122662.8279
3 | 2593558.6514 | 1122613.367
4 | 2593708.0646 | 1122681.0554
5 | 2593598.5627 | 1122814.0705
6 | 2593561.3398 | 1122867.8312
7 | 2593600.4155 | 1122815.1646
8 | 2593572.1612 | 1122628.4801
9 | 2593552.649 | 1122610.6054
10 | 2593728.9201 | 1122695.757
11 | 2593601.1755 | 1122653.0518
12 | 2593540.0191 | 1122626.0488
13 | 2593733.1709 | 1122698.8122
14 | 2593623.3498 | 1122828.708
15 | 2593616.5457 | 1122824.69
16 | 2593648.5115 | 1122844.9081
17 | 2593553.5833 | 1122661.8517
18 | 2593596.1119 | 1122669.9878
19 | 2593907.2523 | 1122877.8954
20 | 2593899.6704 | 1122871.3622
21 | 2593923.6184 | 1122892.2991
22 | 2593862.0306 | 1122839.6728
23 | 2593928.7746 | 1122897.4074
24 | 2593860.3029 | 1122930.6269
25 | 2593837.994 | 1122911.5632
26 | 2593866.4976 | 1122936.3379
27 | 2593842.1035 | 1122817.9525
28 | 2593919.799 | 1122897.4166
29 | 2593878.1669 | 1122945.5252
30 | 2593868.0807 | 1122937.7974
31 | 2593887.9189 | 1122952.5951
32 | 2593838.0694 | 1122813.3892
33 | 2593800.5425 | 1122898.8429
34 | 2593909.9407 | 1122893.2189
35 | 2593897.6604 | 1122958.9101
36 | 2593822.7313 | 1122797.8734
37 | 2593793.5868 | 1122897.738
38 | 2593811.5684 | 1122788.5175
39 | 2593805.3042 | 1122783.2672
40 | 2593795.0885 | 1122774.7053
41 | 2593779.9042 | 1122792.5252
42 | 2593792.6581 | 1122897.5905
43 | 2593763.3712 | 1122746.2816
44 | 2593786.8192 | 1122896.663
45 | 2593784.0668 | 1122896.2258
46 | 2593762.4548 | 1122892.6787
47 | 2593743.6857 | 1122889.1967
48 | 2593751.3587 | 1122725.5618
49 | 2593917.7895 | 1122968.5645
50 | 2593907.3071 | 1122963.5369
51 | 2593723.1698 | 1122885.0322
52 | 2593715.7077 | 1122882.6521
53 | 2593775.6594 | 1122737.9489
54 | 2593688.2428 | 1122869.6391
55 | 2593684.3403 | 1122867.3166
56 | 2593656.8794 | 1122850.3582
57 | 2593722.9352 | 1122719.3989
58 | 2593483.3032 | 1123056.1465
59 | 2593468.8064 | 1123043.6302
60 | 2593449.9545 | 1123051.1847
61 | 2593501.2188 | 1122932.955
62 | 2593536.1532 | 1122836.8392
63 | 2593656.8794 | 1122850.3582

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1