## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6265-30_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6265-30_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6265-30_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6265-30_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6265-30_0_4_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_6265-30_0_4_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_6265-30_0_4_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_6265-30_0_4_node_94 | 0.4 | n |  | TRUE
11 | bus_LV_6265-30_0_4_node_93 | 0.4 | n |  | TRUE
12 | bus_LV_6265-30_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_6265-30_0_4_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_6265-30_0_4_node_140 | 0.4 | n |  | TRUE
15 | bus_LV_6265-30_0_4_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_6265-30_0_4_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_6265-30_0_4_node_98 | 0.4 | n |  | TRUE
18 | bus_LV_6265-30_0_4_node_95 | 0.4 | n |  | TRUE
19 | bus_LV_6265-30_0_4_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_6265-30_0_4_node_115 | 0.4 | n |  | TRUE
21 | bus_LV_6265-30_0_4_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_6265-30_0_4_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_6265-30_0_4_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_6265-30_0_4_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_6265-30_0_4_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_6265-30_0_4_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_6265-30_0_4_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_6265-30_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_6265-30_0_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_6265-30_0_4_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_6265-30_0_4_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_6265-30_0_4_node_131 | 0.4 | n |  | TRUE
33 | bus_LV_6265-30_0_4_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_6265-30_0_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_6265-30_0_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_6265-30_0_4_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_6265-30_0_4_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_6265-30_0_4_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_6265-30_0_4_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_6265-30_0_4_node_139 | 0.4 | n |  | TRUE
41 | bus_LV_6265-30_0_4_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_6265-30_0_4_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_6265-30_0_4_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_6265-30_0_4_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_6265-30_0_4_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_6265-30_0_4_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_6265-30_0_4_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_6265-30_0_4_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_6265-30_0_4_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_6265-30_0_4_node_104 | 0.4 | n |  | TRUE
51 | bus_LV_6265-30_0_4_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_6265-30_0_4_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_6265-30_0_4_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_6265-30_0_4_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_6265-30_0_4_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_6265-30_0_4_node_127 | 0.4 | n |  | TRUE
57 | bus_LV_6265-30_0_4_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_6265-30_0_4_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_6265-30_0_4_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_6265-30_0_4_node_90 | 0.4 | n |  | TRUE
61 | bus_LV_6265-30_0_4_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_6265-30_0_4_node_124 | 0.4 | n |  | TRUE
63 | bus_LV_6265-30_0_4_node_122 | 0.4 | n |  | TRUE
64 | bus_LV_6265-30_0_4_node_125 | 0.4 | n |  | TRUE
65 | bus_LV_6265-30_0_4_node_121 | 0.4 | n |  | TRUE
66 | bus_LV_6265-30_0_4_node_100 | 0.4 | n |  | TRUE
67 | bus_LV_6265-30_0_4_node_101 | 0.4 | n |  | TRUE
68 | bus_LV_6265-30_0_4_node_102 | 0.4 | n |  | TRUE
69 | bus_LV_6265-30_0_4_node_103 | 0.4 | n |  | TRUE
70 | bus_LV_6265-30_0_4_node_105 | 0.4 | n |  | TRUE
71 | bus_LV_6265-30_0_4_node_114 | 0.4 | n |  | TRUE
72 | bus_LV_6265-30_0_4_node_111 | 0.4 | n |  | TRUE
73 | bus_LV_6265-30_0_4_node_116 | 0.4 | n |  | TRUE
74 | bus_LV_6265-30_0_4_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_6265-30_0_4_node_110 | 0.4 | n |  | TRUE
76 | bus_LV_6265-30_0_4_node_107 | 0.4 | n |  | TRUE
77 | bus_LV_6265-30_0_4_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_6265-30_0_4_node_109 | 0.4 | n |  | TRUE
79 | bus_LV_6265-30_0_4_node_113 | 0.4 | n |  | TRUE
80 | bus_LV_6265-30_0_4_node_117 | 0.4 | n |  | TRUE
81 | bus_LV_6265-30_0_4_node_120 | 0.4 | n |  | TRUE
82 | bus_LV_6265-30_0_4_node_118 | 0.4 | n |  | TRUE
83 | bus_LV_6265-30_0_4_node_119 | 0.4 | n |  | TRUE
84 | bus_LV_6265-30_0_4_node_126 | 0.4 | n |  | TRUE
85 | bus_LV_6265-30_0_4_node_129 | 0.4 | n |  | TRUE
86 | bus_LV_6265-30_0_4_node_128 | 0.4 | n |  | TRUE
87 | bus_LV_6265-30_0_4_node_130 | 0.4 | n |  | TRUE
88 | bus_LV_6265-30_0_4_node_132 | 0.4 | n |  | TRUE
89 | bus_LV_6265-30_0_4_node_133 | 0.4 | n |  | TRUE
90 | bus_LV_6265-30_0_4_node_134 | 0.4 | n |  | TRUE
91 | bus_LV_6265-30_0_4_node_135 | 0.4 | n |  | TRUE
92 | bus_MV_267_1_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-30_0_4_load_0 | 0 | 0.005952 | 0.0014917 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-30_0_4_load_4 | 4 | 0.011868 | 0.0029745 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-30_0_4_load_5 | 5 | 0.0050757 | 0.0012721 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-30_0_4_load_54 | 7 | 0.0040175 | 0.0010069 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-30_0_4_load_74 | 9 | 0.0054489 | 0.0013656 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-30_0_4_load_93 | 11 | 0.0082698 | 0.0020726 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-30_0_4_load_75 | 13 | 0.0068544 | 0.0017179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-30_0_4_load_140 | 14 | 0.0080081 | 0.002007 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-30_0_4_load_96 | 16 | 0.0092075 | 0.0023076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-30_0_4_load_98 | 17 | 0.0069061 | 0.0017308 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-30_0_4_load_95 | 18 | 0.0062011 | 0.0015541 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-30_0_4_load_99 | 19 | 0.014366 | 0.0036006 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-30_0_4_load_56 | 22 | 0.0079208 | 0.0019851 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-30_0_4_load_57 | 23 | 0.005495 | 0.0013772 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-30_0_4_load_58 | 24 | 0.0059394 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-30_0_4_load_66 | 25 | 0.0057293 | 0.0014359 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-30_0_4_load_59 | 27 | 0.0057424 | 0.0014392 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-30_0_4_load_60 | 28 | 0.0085786 | 0.00215 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-30_0_4_load_69 | 30 | 0.012529 | 0.0031402 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-30_0_4_load_70 | 31 | 0.0049412 | 0.0012384 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-30_0_4_load_131 | 32 | 0.0059508 | 0.0014914 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-30_0_4_load_62 | 34 | 0.0075457 | 0.0018911 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-30_0_4_load_68 | 38 | 0.0047196 | 0.0011828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-30_0_4_load_71 | 39 | 0.0022147 | 0.00055505 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-30_0_4_load_139 | 40 | 0.00426 | 0.0010677 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-30_0_4_load_72 | 41 | 0.0028562 | 0.00071582 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-30_0_4_load_73 | 43 | 0.0033955 | 0.000851 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-30_0_4_load_80 | 44 | 0.0028761 | 0.00072082 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-30_0_4_load_77 | 46 | 0.0031785 | 0.0007966 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-30_0_4_load_78 | 47 | 0.0066725 | 0.0016723 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-30_0_4_load_81 | 48 | 0.0054337 | 0.0013618 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-30_0_4_load_106 | 49 | 0.0064657 | 0.0016205 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-30_0_4_load_104 | 50 | 0.0032872 | 0.00082384 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-30_0_4_load_82 | 51 | 0.0059986 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-30_0_4_load_83 | 52 | 0.0087006 | 0.0021806 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-30_0_4_load_86 | 54 | 0.0071626 | 0.0017951 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-30_0_4_load_127 | 56 | 0.0066716 | 0.0016721 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-30_0_4_load_89 | 58 | 0.0041126 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-30_0_4_load_88 | 59 | 0.005465 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-30_0_4_load_90 | 60 | 0.0081965 | 0.0020542 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-30_0_4_load_92 | 61 | 0.0054573 | 0.0013677 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-30_0_4_load_124 | 62 | 0.0061858 | 0.0015503 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-30_0_4_load_122 | 63 | 0.0042163 | 0.0010567 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-30_0_4_load_125 | 64 | 0.0039556 | 0.00099136 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-30_0_4_load_100 | 66 | 0.0094847 | 0.0023771 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-30_0_4_load_101 | 67 | 0.0062329 | 0.0015621 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-30_0_4_load_103 | 69 | 0.0050064 | 0.0012547 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6265-30_0_4_load_105 | 70 | 0.0074993 | 0.0018795 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6265-30_0_4_load_114 | 71 | 0.0050627 | 0.0012688 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6265-30_0_4_load_116 | 73 | 0.004762 | 0.0011935 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6265-30_0_4_load_112 | 74 | 0.0065986 | 0.0016538 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6265-30_0_4_load_110 | 75 | 0.0052197 | 0.0013082 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6265-30_0_4_load_107 | 76 | 0.0068841 | 0.0017253 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6265-30_0_4_load_108 | 77 | 0.0068758 | 0.0017232 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6265-30_0_4_load_109 | 78 | 0.010517 | 0.0026357 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6265-30_0_4_load_113 | 79 | 0.0048706 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6265-30_0_4_load_117 | 80 | 0.0052615 | 0.0013186 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6265-30_0_4_load_120 | 81 | 0.0064045 | 0.0016051 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6265-30_0_4_load_119 | 83 | 0.0033355 | 0.00083597 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6265-30_0_4_load_129 | 85 | 0.0057171 | 0.0014328 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6265-30_0_4_load_128 | 86 | 0.0082154 | 0.002059 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6265-30_0_4_load_130 | 87 | 0.0098564 | 0.0024702 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6265-30_0_4_load_132 | 88 | 0.0077451 | 0.0019411 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6265-30_0_4_load_133 | 89 | 0.0044941 | 0.0011263 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6265-30_0_4_load_134 | 90 | 0.0044854 | 0.0011241 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6265-30_0_4_load_135 | 91 | 0.0033063 | 0.00082865 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-30_0_4_line_0 |  | 0 | 1 | 0.056161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_6265-30_0_4_line_1 |  | 0 | 2 | 0.049068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6265-30_0_4_line_2 |  | 1 | 3 | 0.020057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6265-30_0_4_line_3 |  | 1 | 4 | 0.034407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6265-30_0_4_line_4 |  | 2 | 5 | 0.018745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6265-30_0_4_line_5 |  | 2 | 6 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6265-30_0_4_line_6 |  | 3 | 7 | 0.011191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6265-30_0_4_line_7 |  | 4 | 8 | 0.0037079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-30_0_4_line_8 |  | 5 | 9 | 0.0060883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6265-30_0_4_line_9 |  | 6 | 10 | 0.049443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6265-30_0_4_line_10 |  | 6 | 11 | 0.033267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6265-30_0_4_line_11 |  | 7 | 12 | 0.025772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6265-30_0_4_line_12 |  | 8 | 13 | 0.016195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6265-30_0_4_line_13 |  | 10 | 14 | 0.01732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6265-30_0_4_line_14 |  | 10 | 15 | 0.045536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6265-30_0_4_line_15 |  | 12 | 21 | 0.029666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6265-30_0_4_line_16 |  | 13 | 46 | 0.028094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6265-30_0_4_line_17 |  | 15 | 19 | 0.021943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6265-30_0_4_line_18 |  | 15 | 18 | 0.048363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6265-30_0_4_line_19 |  | 16 | 17 | 0.04798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6265-30_0_4_line_20 |  | 16 | 18 | 0.040537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6265-30_0_4_line_21 |  | 17 | 20 | 0.039751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6265-30_0_4_line_22 |  | 20 | 65 | 0.002402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6265-30_0_4_line_23 |  | 21 | 22 | 0.044414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6265-30_0_4_line_24 |  | 22 | 23 | 0.013195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6265-30_0_4_line_25 |  | 23 | 24 | 0.013489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6265-30_0_4_line_26 |  | 24 | 25 | 0.017017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6265-30_0_4_line_27 |  | 25 | 26 | 0.0070237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6265-30_0_4_line_28 |  | 26 | 36 | 0.05924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6265-30_0_4_line_29 |  | 26 | 34 | 0.015891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6265-30_0_4_line_30 |  | 27 | 28 | 0.042162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6265-30_0_4_line_31 |  | 28 | 29 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6265-30_0_4_line_32 |  | 29 | 30 | 0.018419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6265-30_0_4_line_33 |  | 29 | 31 | 0.033479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6265-30_0_4_line_34 |  | 30 | 32 | 0.031893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6265-30_0_4_line_35 |  | 31 | 33 | 0.029756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6265-30_0_4_line_36 |  | 33 | 42 | 0.0505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6265-30_0_4_line_37 |  | 33 | 37 | 0.004657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6265-30_0_4_line_38 |  | 34 | 35 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6265-30_0_4_line_39 |  | 35 | 37 | 0.032692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6265-30_0_4_line_40 |  | 35 | 38 | 0.069304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6265-30_0_4_line_41 |  | 36 | 39 | 0.036244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6265-30_0_4_line_42 |  | 37 | 40 | 0.03397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6265-30_0_4_line_43 |  | 39 | 41 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6265-30_0_4_line_44 |  | 41 | 43 | 0.011715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6265-30_0_4_line_45 |  | 42 | 54 | 0.049205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6265-30_0_4_line_46 |  | 42 | 51 | 0.041801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6265-30_0_4_line_47 |  | 43 | 44 | 0.0017745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6265-30_0_4_line_48 |  | 44 | 45 | 0.01696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6265-30_0_4_line_49 |  | 45 | 48 | 0.0064165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6265-30_0_4_line_50 |  | 45 | 47 | 0.036966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6265-30_0_4_line_51 |  | 48 | 49 | 0.030085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6265-30_0_4_line_52 |  | 49 | 50 | 0.03853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6265-30_0_4_line_53 |  | 50 | 68 | 0.027439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6265-30_0_4_line_54 |  | 51 | 52 | 0.045591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6265-30_0_4_line_55 |  | 52 | 53 | 0.04496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6265-30_0_4_line_56 |  | 53 | 55 | 0.070089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6265-30_0_4_line_57 |  | 54 | 56 | 0.034538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6265-30_0_4_line_58 |  | 55 | 57 | 0.055456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6265-30_0_4_line_59 |  | 55 | 58 | 0.017542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6265-30_0_4_line_60 |  | 57 | 63 | 0.035442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6265-30_0_4_line_61 |  | 58 | 59 | 0.021204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6265-30_0_4_line_62 |  | 59 | 60 | 0.029629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6265-30_0_4_line_63 |  | 60 | 61 | 0.028643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6265-30_0_4_line_64 |  | 61 | 62 | 0.004539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6265-30_0_4_line_65 |  | 62 | 64 | 0.013368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6265-30_0_4_line_66 |  | 64 | 84 | 0.01299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6265-30_0_4_line_67 |  | 65 | 81 | 0.014819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6265-30_0_4_line_68 |  | 66 | 67 | 0.028086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6265-30_0_4_line_69 |  | 66 | 68 | 0.023083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6265-30_0_4_line_70 |  | 67 | 69 | 0.027778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6265-30_0_4_line_71 |  | 68 | 70 | 0.052929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6265-30_0_4_line_72 |  | 69 | 71 | 0.007687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6265-30_0_4_line_73 |  | 70 | 72 | 0.020601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6265-30_0_4_line_74 |  | 71 | 73 | 0.01136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6265-30_0_4_line_75 |  | 72 | 74 | 0.018272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6265-30_0_4_line_76 |  | 72 | 75 | 0.0051998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6265-30_0_4_line_77 |  | 73 | 80 | 0.010476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6265-30_0_4_line_78 |  | 74 | 79 | 0.012413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6265-30_0_4_line_79 |  | 75 | 77 | 0.037376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6265-30_0_4_line_80 |  | 76 | 77 | 0.028755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6265-30_0_4_line_81 |  | 76 | 78 | 0.007824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6265-30_0_4_line_82 |  | 80 | 82 | 0.0076352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6265-30_0_4_line_83 |  | 82 | 83 | 0.019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6265-30_0_4_line_84 |  | 84 | 85 | 0.014839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6265-30_0_4_line_85 |  | 84 | 86 | 0.0054341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6265-30_0_4_line_86 |  | 85 | 87 | 0.017689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6265-30_0_4_line_87 |  | 87 | 88 | 0.3186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6265-30_0_4_line_88 |  | 88 | 89 | 0.15607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6265-30_0_4_line_89 |  | 89 | 90 | 0.098731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6265-30_0_4_line_90 |  | 90 | 91 | 0.019784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-30_0_4_trafo_82 | 0.63 MVA 20/0.4 kV | 92 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2591864.0456 | 1121916.2103 | 2591832.2664 | 1121895.6434 | 2591815.7053 | 1121887.84
1 | 2591767.002 | 1121881.8704 | 2591815.7053 | 1121887.84
2 | 2591880.9193 | 1121927.1261 | 2591864.0456 | 1121916.2103
3 | 2591864.0456 | 1121916.2103 | 2591845.7795 | 1121913.556 | 2591840.9721 | 1121917.2533 | 2591836.4581 | 1121926.0468
4 | 2591767.002 | 1121881.8704 | 2591765.5469 | 1121900.5593
5 | 2591750.6107 | 1121879.8586 | 2591767.002 | 1121881.8704
6 | 2591880.9193 | 1121927.1261 | 2591890.3255 | 1121933.1883
7 | 2591834.7648 | 1121929.3454 | 2591836.4581 | 1121926.0468
8 | 2591759.5171 | 1121901.4013 | 2591765.5469 | 1121900.5593
9 | 2591701.612 | 1121872.3114 | 2591737.4977 | 1121878.2536 | 2591750.6107 | 1121879.8586
10 | 2591750.6107 | 1121879.8586 | 2591735.7865 | 1121890.1063 | 2591733.9718 | 1121894.0218 | 2591731.9343 | 1121904.7601
11 | 2591911.9879 | 1121947.1495 | 2591890.3255 | 1121933.1883
12 | 2591834.7648 | 1121929.3454 | 2591819.0131 | 1121925.5812
13 | 2591701.612 | 1121872.3114 | 2591696.6452 | 1121888.9042
14 | 2591657.1674 | 1121862.0792 | 2591684.3249 | 1121869.4562 | 2591701.612 | 1121872.3114
15 | 2591911.9879 | 1121947.1495 | 2591932.3039 | 1121960.2396 | 2591927.356 | 1121962.6363
16 | 2591791.74 | 1121924.7908 | 2591803.2657 | 1121921.818 | 2591819.0131 | 1121925.5812
17 | 2591657.1674 | 1121862.0792 | 2591651.8833 | 1121883.3747
18 | 2591657.1674 | 1121862.0792 | 2591634.4539 | 1121855.9189 | 2591613.6182 | 1121842.416
19 | 2591579.6005 | 1121820.3702 | 2591562.0003 | 1121808.9641 | 2591538.2452 | 1121796.1165
20 | 2591613.6182 | 1121842.416 | 2591579.6005 | 1121820.3702
21 | 2591502.6264 | 1121778.7331 | 2591511.3222 | 1121781.5555 | 2591538.2452 | 1121796.1165
22 | 2591500.3347 | 1121777.9915 | 2591502.6264 | 1121778.7331
23 | 2591927.356 | 1121962.6363 | 2591909.6259 | 1121962.7936 | 2591887.4766 | 1121968.4486 | 2591883.7579 | 1121969.3356
24 | 2591883.7579 | 1121969.3356 | 2591870.9233 | 1121972.3969
25 | 2591870.9233 | 1121972.3969 | 2591859.8221 | 1121975.0448 | 2591857.7505 | 1121975.1855
26 | 2591857.7505 | 1121975.1855 | 2591840.7728 | 1121976.3385
27 | 2591833.7652 | 1121976.8145 | 2591840.7728 | 1121976.3385
28 | 2591833.7652 | 1121976.8145 | 2591823.8119 | 1121967.7458 | 2591803.0381 | 1121958.4029 | 2591780.5727 | 1121952.8754
29 | 2591833.7652 | 1121976.8145 | 2591826.3493 | 1121979.1146 | 2591818.5896 | 1121981.5276
30 | 2591877.797 | 1122046.8213 | 2591859.2693 | 1122039.277 | 2591857.5511 | 1122040.5022 | 2591838.9317 | 1122033.0715
31 | 2591825.8759 | 1122027.8613 | 2591838.9317 | 1122033.0715
32 | 2591825.8759 | 1122027.8613 | 2591836.6889 | 1122042.7719
33 | 2591825.8759 | 1122027.8613 | 2591794.7817 | 1122015.4511
34 | 2591863.6554 | 1122058.1093 | 2591841.0973 | 1122048.8508 | 2591836.6889 | 1122042.7719
35 | 2591768.7932 | 1122001.2152 | 2591784.7944 | 1122011.465 | 2591794.7817 | 1122015.4511
36 | 2591768.7932 | 1122001.2152 | 2591759.8043 | 1122003.6954 | 2591730.5309 | 1122004.9364 | 2591718.5602 | 1122003.8301
37 | 2591768.7932 | 1122001.2152 | 2591773.2954 | 1121999.9751
38 | 2591803.4401 | 1121987.3499 | 2591810.4074 | 1121984.0721 | 2591818.5896 | 1121981.5276
39 | 2591803.4401 | 1121987.3499 | 2591781.2821 | 1121997.7742 | 2591773.2954 | 1121999.9751
40 | 2591736.2662 | 1121969.5445 | 2591803.4401 | 1121987.3499
41 | 2591780.5727 | 1121952.8754 | 2591749.3587 | 1121945.2034 | 2591745.3605 | 1121944.291
42 | 2591740.092 | 1121992.3615 | 2591773.2954 | 1121999.9751
43 | 2591729.6095 | 1121940.6964 | 2591745.3605 | 1121944.291
44 | 2591729.6095 | 1121940.6964 | 2591718.1884 | 1121938.0899
45 | 2591718.5602 | 1122003.8301 | 2591763.084 | 1122024.7764
46 | 2591718.5602 | 1122003.8301 | 2591694.6728 | 1122001.6398 | 2591676.9467 | 1122003.3976
47 | 2591718.1884 | 1121938.0899 | 2591716.4584 | 1121937.6951
48 | 2591699.9235 | 1121933.9217 | 2591716.4584 | 1121937.6951
49 | 2591699.9235 | 1121933.9217 | 2591693.6678 | 1121932.4944
50 | 2591699.9235 | 1121933.9217 | 2591694.0365 | 1121937.576 | 2591680.035 | 1121940.3857 | 2591675.8662 | 1121955.5802
51 | 2591664.3361 | 1121925.8022 | 2591693.6678 | 1121932.4944
52 | 2591626.5395 | 1121918.3203 | 2591664.3282 | 1121925.8004 | 2591664.3361 | 1121925.8022
53 | 2591600.2647 | 1121910.5156 | 2591621.2205 | 1121917.2674 | 2591626.5395 | 1121918.3203
54 | 2591676.9467 | 1122003.3976 | 2591659.0864 | 1122005.1687 | 2591633.5662 | 1122004.5373 | 2591631.4872 | 1122004.1484
55 | 2591587.9409 | 1121993.1956 | 2591613.6869 | 1122000.8188 | 2591631.4872 | 1122004.1484
56 | 2591587.9409 | 1121993.1956 | 2591588.9869 | 1122002.1874 | 2591647.2394 | 1122020.9374
57 | 2591763.084 | 1122024.7764 | 2591794.336 | 1122039.479
58 | 2591647.2394 | 1122020.9374 | 2591638.3908 | 1122024.407 | 2591609.1556 | 1122019.79 | 2591593.1898 | 1122023.9811
59 | 2591647.2394 | 1122020.9374 | 2591663.9372 | 1122026.3139
60 | 2591593.1898 | 1122023.9811 | 2591591.7229 | 1122028.3853 | 2591596.3949 | 1122032.792 | 2591618.9375 | 1122042.0704
61 | 2591683.443 | 1122034.4881 | 2591672.2994 | 1122029.0065 | 2591663.9372 | 1122026.3139
62 | 2591683.443 | 1122034.4881 | 2591710.0297 | 1122047.5662
63 | 2591710.0297 | 1122047.5662 | 2591723.9282 | 1122054.403 | 2591735.7549 | 1122060.161
64 | 2591735.7549 | 1122060.161 | 2591739.8359 | 1122062.1479
65 | 2591739.8359 | 1122062.1479 | 2591751.8552 | 1122067.9996
66 | 2591763.6635 | 1122073.3576 | 2591761.5418 | 1122072.7157 | 2591751.8552 | 1122067.9996
67 | 2591500.3347 | 1121777.9915 | 2591498.9075 | 1121783.0961 | 2591493.9359 | 1121790.5623 | 2591493.4385 | 1121790.7944
68 | 2591578.6058 | 1121902.5803 | 2591552.5891 | 1121892
69 | 2591600.2647 | 1121910.5156 | 2591589.8716 | 1121907.1619 | 2591578.6058 | 1121902.5803
70 | 2591552.5891 | 1121892 | 2591526.8573 | 1121881.5355
71 | 2591600.2647 | 1121910.5156 | 2591576.5145 | 1121912.9279 | 2591570.0999 | 1121919.8403 | 2591564.1824 | 1121929.2087 | 2591555.7476 | 1121927.8393
72 | 2591519.7367 | 1121878.6397 | 2591526.8573 | 1121881.5355
73 | 2591536.0933 | 1121928.3145 | 2591541.1022 | 1121925.4616 | 2591555.7476 | 1121927.8393
74 | 2591519.7367 | 1121878.6397 | 2591516.1852 | 1121877.1954 | 2591508.9916 | 1121874.9821
75 | 2591536.0933 | 1121928.3145 | 2591518.7054 | 1121922.7013
76 | 2591536.0933 | 1121928.3145 | 2591541.0419 | 1121929.9113
77 | 2591498.9787 | 1121871.9014 | 2591508.9916 | 1121874.9821
78 | 2591518.7054 | 1121922.7013 | 2591506.8927 | 1121918.8879
79 | 2591576.8052 | 1121940.7701 | 2591545.5605 | 1121931.3693 | 2591541.0419 | 1121929.9113
80 | 2591585.153 | 1121963.018 | 2591587.9403 | 1121954.3099 | 2591584.1377 | 1121942.9763 | 2591576.8052 | 1121940.7701
81 | 2591578.4028 | 1121966.9739 | 2591585.153 | 1121963.018
82 | 2591491.6497 | 1121869.771 | 2591493.455 | 1121870.202 | 2591498.9787 | 1121871.9014
83 | 2591491.6497 | 1121869.771 | 2591487.0026 | 1121888.42
84 | 2591763.6635 | 1122073.3576 | 2591772.3631 | 1122084.9402 | 2591772.6565 | 1122085.1363
85 | 2591763.6635 | 1122073.3576 | 2591768.8672 | 1122074.9232
86 | 2591772.6565 | 1122085.1363 | 2591787.3613 | 1122094.969
87 | 2591787.3613 | 1122094.969 | 2591618.4379 | 1122365.1015
88 | 2591572.6356 | 1122514.3039 | 2591618.4379 | 1122365.1015
89 | 2591655.5054 | 1122567.9726 | 2591572.6356 | 1122514.3039
90 | 2591655.5054 | 1122567.9726 | 2591673.5614 | 1122576.0588

## bus_geodata
| x | y | coords
0 | 2591815.7053 | 1121887.84
1 | 2591864.0456 | 1121916.2103
2 | 2591767.002 | 1121881.8704
3 | 2591880.9193 | 1121927.1261
4 | 2591836.4581 | 1121926.0468
5 | 2591765.5469 | 1121900.5593
6 | 2591750.6107 | 1121879.8586
7 | 2591890.3255 | 1121933.1883
8 | 2591834.7648 | 1121929.3454
9 | 2591759.5171 | 1121901.4013
10 | 2591701.612 | 1121872.3114
11 | 2591731.9343 | 1121904.7601
12 | 2591911.9879 | 1121947.1495
13 | 2591819.0131 | 1121925.5812
14 | 2591696.6452 | 1121888.9042
15 | 2591657.1674 | 1121862.0792
16 | 2591579.6005 | 1121820.3702
17 | 2591538.2452 | 1121796.1165
18 | 2591613.6182 | 1121842.416
19 | 2591651.8833 | 1121883.3747
20 | 2591502.6264 | 1121778.7331
21 | 2591927.356 | 1121962.6363
22 | 2591883.7579 | 1121969.3356
23 | 2591870.9233 | 1121972.3969
24 | 2591857.7505 | 1121975.1855
25 | 2591840.7728 | 1121976.3385
26 | 2591833.7652 | 1121976.8145
27 | 2591877.797 | 1122046.8213
28 | 2591838.9317 | 1122033.0715
29 | 2591825.8759 | 1122027.8613
30 | 2591836.6889 | 1122042.7719
31 | 2591794.7817 | 1122015.4511
32 | 2591863.6554 | 1122058.1093
33 | 2591768.7932 | 1122001.2152
34 | 2591818.5896 | 1121981.5276
35 | 2591803.4401 | 1121987.3499
36 | 2591780.5727 | 1121952.8754
37 | 2591773.2954 | 1121999.9751
38 | 2591736.2662 | 1121969.5445
39 | 2591745.3605 | 1121944.291
40 | 2591740.092 | 1121992.3615
41 | 2591729.6095 | 1121940.6964
42 | 2591718.5602 | 1122003.8301
43 | 2591718.1884 | 1121938.0899
44 | 2591716.4584 | 1121937.6951
45 | 2591699.9235 | 1121933.9217
46 | 2591791.74 | 1121924.7908
47 | 2591675.8662 | 1121955.5802
48 | 2591693.6678 | 1121932.4944
49 | 2591664.3361 | 1121925.8022
50 | 2591626.5395 | 1121918.3203
51 | 2591676.9467 | 1122003.3976
52 | 2591631.4872 | 1122004.1484
53 | 2591587.9409 | 1121993.1956
54 | 2591763.084 | 1122024.7764
55 | 2591647.2394 | 1122020.9374
56 | 2591794.336 | 1122039.479
57 | 2591593.1898 | 1122023.9811
58 | 2591663.9372 | 1122026.3139
59 | 2591683.443 | 1122034.4881
60 | 2591710.0297 | 1122047.5662
61 | 2591735.7549 | 1122060.161
62 | 2591739.8359 | 1122062.1479
63 | 2591618.9375 | 1122042.0704
64 | 2591751.8552 | 1122067.9996
65 | 2591500.3347 | 1121777.9915
66 | 2591578.6058 | 1121902.5803
67 | 2591552.5891 | 1121892
68 | 2591600.2647 | 1121910.5156
69 | 2591526.8573 | 1121881.5355
70 | 2591555.7476 | 1121927.8393
71 | 2591519.7367 | 1121878.6397
72 | 2591536.0933 | 1121928.3145
73 | 2591508.9916 | 1121874.9821
74 | 2591518.7054 | 1121922.7013
75 | 2591541.0419 | 1121929.9113
76 | 2591585.153 | 1121963.018
77 | 2591576.8052 | 1121940.7701
78 | 2591578.4028 | 1121966.9739
79 | 2591506.8927 | 1121918.8879
80 | 2591498.9787 | 1121871.9014
81 | 2591493.4385 | 1121790.7944
82 | 2591491.6497 | 1121869.771
83 | 2591487.0026 | 1121888.42
84 | 2591763.6635 | 1122073.3576
85 | 2591772.6565 | 1122085.1363
86 | 2591768.8672 | 1122074.9232
87 | 2591787.3613 | 1122094.969
88 | 2591618.4379 | 1122365.1015
89 | 2591572.6356 | 1122514.3039
90 | 2591655.5054 | 1122567.9726
91 | 2591673.5614 | 1122576.0588
92 | 2591718.5602 | 1122003.8301

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1