## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-35_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-35_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-35_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6265-35_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6265-35_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6265-35_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6265-35_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6265-35_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_6265-35_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6265-35_0_4_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_6265-35_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6265-35_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_6265-35_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_6265-35_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6265-35_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6265-35_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6265-35_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6265-35_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6265-35_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6265-35_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6265-35_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_6265-35_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_6265-35_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6265-35_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6265-35_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6265-35_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6265-35_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6265-35_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6265-35_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6265-35_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6265-35_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6265-35_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_6265-35_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_6265-35_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_6265-35_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6265-35_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_6265-35_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_6265-35_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_6265-35_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_6265-35_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_6265-35_0_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_6265-35_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6265-35_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_6265-35_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_6265-35_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_6265-35_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_6265-35_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_6265-35_0_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_6265-35_0_4_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_6265-35_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_6265-35_0_4_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_6265-35_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6265-35_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_6265-35_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_6265-35_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6265-35_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_6265-35_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6265-35_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_6265-35_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6265-35_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6265-35_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6265-35_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_6265-35_0_4_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_6265-35_0_4_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_6265-35_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6265-35_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_6265-35_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6265-35_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_6265-35_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_6265-35_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_6265-35_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_6265-35_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_6265-35_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_6265-35_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6265-35_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_6265-35_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_6265-35_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_6265-35_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6265-35_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_6265-35_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_6265-35_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_6265-35_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_6265-35_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_6265-35_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_6265-35_0_4_node_84 | 0.4 | n |  | TRUE
85 | bus_MV_266_1_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-35_0_4_load_0 | 0 | 0.01399 | 0.0035061 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-35_0_4_load_2 | 2 | 0.0067988 | 0.001704 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-35_0_4_load_3 | 3 | 0.010676 | 0.0026756 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-35_0_4_load_4 | 4 | 0.0035945 | 0.00090088 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-35_0_4_load_5 | 5 | 0.0039661 | 0.00099401 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-35_0_4_load_6 | 6 | 0.007521 | 0.0018849 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-35_0_4_load_47 | 7 | 0.01095 | 0.0027444 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-35_0_4_load_14 | 10 | 0.0034425 | 0.00086277 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-35_0_4_load_13 | 11 | 0.0074952 | 0.0018785 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-35_0_4_load_15 | 12 | 0.0040362 | 0.0010116 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-35_0_4_load_8 | 14 | 0.0038852 | 0.00097372 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-35_0_4_load_9 | 15 | 0.0066859 | 0.0016756 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-35_0_4_load_10 | 16 | 0.0034579 | 0.00086662 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-35_0_4_load_12 | 17 | 0.0031288 | 0.00078414 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-35_0_4_load_16 | 18 | 0.0025651 | 0.00064289 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-35_0_4_load_17 | 19 | 0.0080796 | 0.0020249 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-35_0_4_load_25 | 20 | 0.003839 | 0.00096216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-35_0_4_load_26 | 21 | 0.0032361 | 0.00081105 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-35_0_4_load_18 | 22 | 0.0032134 | 0.00080536 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-35_0_4_load_19 | 23 | 0.0030493 | 0.00076423 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-35_0_4_load_20 | 24 | 0.0074996 | 0.0018796 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-35_0_4_load_21 | 25 | 0.0084947 | 0.002129 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-35_0_4_load_22 | 26 | 0.0057326 | 0.0014367 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-35_0_4_load_23 | 27 | 0.00646 | 0.001619 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-35_0_4_load_29 | 30 | 0.0094259 | 0.0023623 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-35_0_4_load_30 | 31 | 0.0087411 | 0.0021907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-35_0_4_load_31 | 32 | 0.0064981 | 0.0016286 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-35_0_4_load_32 | 33 | 0.0032998 | 0.000827 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-35_0_4_load_27 | 34 | 0.0028903 | 0.00072437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-35_0_4_load_39 | 35 | 0.011081 | 0.0027773 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-35_0_4_load_38 | 36 | 0.011364 | 0.002848 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-35_0_4_load_36 | 37 | 0.0091711 | 0.0022985 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-35_0_4_load_33 | 38 | 0.0050578 | 0.0012676 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-35_0_4_load_53 | 40 | 0.0062574 | 0.0015683 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-35_0_4_load_34 | 41 | 0.0061805 | 0.001549 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-35_0_4_load_41 | 42 | 0.0055757 | 0.0013974 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-35_0_4_load_42 | 43 | 0.0039732 | 0.00099578 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-35_0_4_load_35 | 44 | 0.0047536 | 0.0011914 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-35_0_4_load_37 | 45 | 0.0070835 | 0.0017753 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-35_0_4_load_54 | 46 | 0.003033 | 0.00076014 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-35_0_4_load_55 | 48 | 0.0045163 | 0.0011319 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-35_0_4_load_58 | 49 | 0.0056228 | 0.0014092 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-35_0_4_load_59 | 50 | 0.014659 | 0.003674 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-35_0_4_load_56 | 51 | 0.0049781 | 0.0012476 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-35_0_4_load_43 | 52 | 0.0095475 | 0.0023928 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-35_0_4_load_44 | 53 | 0.010592 | 0.0026546 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-35_0_4_load_45 | 54 | 0.0057754 | 0.0014475 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6265-35_0_4_load_46 | 55 | 0.0033316 | 0.00083497 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6265-35_0_4_load_51 | 57 | 0.01261 | 0.0031604 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6265-35_0_4_load_49 | 59 | 0.0043977 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6265-35_0_4_load_61 | 60 | 0.0040236 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6265-35_0_4_load_60 | 61 | 0.008937 | 0.0022398 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6265-35_0_4_load_62 | 64 | 0.01073 | 0.0026892 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6265-35_0_4_load_63 | 65 | 0.0089508 | 0.0022433 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6265-35_0_4_load_64 | 66 | 0.0067776 | 0.0016986 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6265-35_0_4_load_65 | 67 | 0.011792 | 0.0029554 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6265-35_0_4_load_66 | 68 | 0.010056 | 0.0025202 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6265-35_0_4_load_67 | 69 | 0.016877 | 0.0042298 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6265-35_0_4_load_68 | 70 | 0.0082324 | 0.0020632 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6265-35_0_4_load_71 | 73 | 0.0045324 | 0.0011359 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6265-35_0_4_load_72 | 74 | 0.0038514 | 0.00096526 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6265-35_0_4_load_73 | 75 | 0.0090577 | 0.0022701 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6265-35_0_4_load_74 | 76 | 0.0081419 | 0.0020406 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6265-35_0_4_load_75 | 77 | 0.0063507 | 0.0015916 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6265-35_0_4_load_78 | 80 | 0.0087645 | 0.0021966 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6265-35_0_4_load_79 | 81 | 0.0036961 | 0.00092632 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6265-35_0_4_load_83 | 82 | 0.0045769 | 0.0011471 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6265-35_0_4_load_82 | 83 | 0.0045749 | 0.0011466 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6265-35_0_4_load_84 | 84 | 0.0044755 | 0.0011217 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-35_0_4_line_0 |  | 0 | 1 | 0.02251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6265-35_0_4_line_1 |  | 1 | 2 | 0.0087259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6265-35_0_4_line_2 |  | 1 | 3 | 0.0042113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6265-35_0_4_line_3 |  | 2 | 4 | 0.0010067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6265-35_0_4_line_4 |  | 3 | 5 | 0.0047212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6265-35_0_4_line_5 |  | 4 | 6 | 0.010909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6265-35_0_4_line_6 |  | 5 | 7 | 0.0039572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6265-35_0_4_line_7 |  | 6 | 8 | 0.013024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-35_0_4_line_8 |  | 7 | 9 | 0.057578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6265-35_0_4_line_9 |  | 8 | 10 | 0.014852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6265-35_0_4_line_10 |  | 8 | 11 | 0.0092356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6265-35_0_4_line_11 |  | 9 | 59 | 0.035792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6265-35_0_4_line_12 |  | 10 | 12 | 0.0086015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6265-35_0_4_line_13 |  | 11 | 13 | 0.0053572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6265-35_0_4_line_14 |  | 12 | 20 | 0.0037542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6265-35_0_4_line_15 |  | 13 | 17 | 0.0047267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6265-35_0_4_line_16 |  | 13 | 16 | 0.0063626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6265-35_0_4_line_17 |  | 14 | 15 | 0.0023583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6265-35_0_4_line_18 |  | 14 | 16 | 0.021242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6265-35_0_4_line_19 |  | 17 | 18 | 3.0235e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6265-35_0_4_line_20 |  | 18 | 19 | 0.0089682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6265-35_0_4_line_21 |  | 19 | 22 | 0.0067226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6265-35_0_4_line_22 |  | 20 | 21 | 0.012057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6265-35_0_4_line_23 |  | 21 | 34 | 0.0033189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6265-35_0_4_line_24 |  | 22 | 23 | 0.062903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6265-35_0_4_line_25 |  | 24 | 25 | 0.0053946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6265-35_0_4_line_26 |  | 25 | 26 | 0.0064898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6265-35_0_4_line_27 |  | 26 | 27 | 0.01113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6265-35_0_4_line_28 |  | 27 | 28 | 0.012674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6265-35_0_4_line_29 |  | 28 | 29 | 0.022198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6265-35_0_4_line_30 |  | 28 | 30 | 0.0078719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6265-35_0_4_line_31 |  | 29 | 31 | 0.0010742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6265-35_0_4_line_32 |  | 29 | 32 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6265-35_0_4_line_33 |  | 30 | 33 | 0.042846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6265-35_0_4_line_34 |  | 31 | 37 | 0.028743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6265-35_0_4_line_35 |  | 32 | 38 | 0.0091865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6265-35_0_4_line_36 |  | 33 | 39 | 0.022877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6265-35_0_4_line_37 |  | 34 | 35 | 0.0010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6265-35_0_4_line_38 |  | 35 | 36 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6265-35_0_4_line_39 |  | 36 | 45 | 0.0057266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6265-35_0_4_line_40 |  | 37 | 40 | 0.0094548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6265-35_0_4_line_41 |  | 38 | 41 | 0.0012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6265-35_0_4_line_42 |  | 39 | 42 | 0.0055888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6265-35_0_4_line_43 |  | 39 | 43 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6265-35_0_4_line_44 |  | 40 | 46 | 0.0044799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6265-35_0_4_line_45 |  | 41 | 44 | 0.0026277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6265-35_0_4_line_46 |  | 42 | 47 | 0.01109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6265-35_0_4_line_47 |  | 43 | 48 | 0.045266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6265-35_0_4_line_48 |  | 44 | 45 | 0.0057809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6265-35_0_4_line_49 |  | 46 | 57 | 0.02358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6265-35_0_4_line_50 |  | 47 | 49 | 0.029265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6265-35_0_4_line_51 |  | 47 | 50 | 0.047643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6265-35_0_4_line_52 |  | 48 | 51 | 0.0059848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6265-35_0_4_line_53 |  | 49 | 61 | 0.022312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6265-35_0_4_line_54 |  | 52 | 53 | 0.043964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6265-35_0_4_line_55 |  | 53 | 54 | 0.031656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6265-35_0_4_line_56 |  | 54 | 55 | 0.06974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6265-35_0_4_line_57 |  | 55 | 56 | 0.054118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6265-35_0_4_line_58 |  | 56 | 57 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6265-35_0_4_line_59 |  | 56 | 58 | 0.013805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6265-35_0_4_line_60 |  | 58 | 60 | 0.0109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6265-35_0_4_line_61 |  | 61 | 62 | 0.016898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6265-35_0_4_line_62 |  | 62 | 63 | 0.086215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6265-35_0_4_line_63 |  | 63 | 80 | 0.045291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6265-35_0_4_line_64 |  | 64 | 65 | 0.016486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6265-35_0_4_line_65 |  | 64 | 66 | 0.0078771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6265-35_0_4_line_66 |  | 65 | 67 | 0.016274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6265-35_0_4_line_67 |  | 67 | 68 | 0.0058747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6265-35_0_4_line_68 |  | 68 | 69 | 0.027663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6265-35_0_4_line_69 |  | 69 | 70 | 0.004099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6265-35_0_4_line_70 |  | 70 | 71 | 0.012586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6265-35_0_4_line_71 |  | 71 | 72 | 0.089614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6265-35_0_4_line_72 |  | 71 | 73 | 0.051015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6265-35_0_4_line_73 |  | 72 | 74 | 0.010616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6265-35_0_4_line_74 |  | 73 | 75 | 0.046914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6265-35_0_4_line_75 |  | 74 | 76 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6265-35_0_4_line_76 |  | 75 | 77 | 0.016734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6265-35_0_4_line_77 |  | 77 | 78 | 0.045306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_6265-35_0_4_line_78 |  | 78 | 79 | 0.024689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6265-35_0_4_line_79 |  | 78 | 80 | 0.023406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6265-35_0_4_line_80 |  | 79 | 81 | 0.03851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6265-35_0_4_line_81 |  | 81 | 82 | 0.0001859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6265-35_0_4_line_82 |  | 82 | 83 | 0.015865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6265-35_0_4_line_83 |  | 83 | 84 | 0.0085563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-35_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 85 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2590740.4084 | 1121876.8311 | 2590733.7925 | 1121877.5861 | 2590727.8333 | 1121879.1405 | 2590723.4411 | 1121881.5818 | 2590720.9986 | 1121885.5597
1 | 2590740.4084 | 1121876.8311 | 2590747.0337 | 1121877.0765 | 2590749.0587 | 1121877.6178
2 | 2590740.4084 | 1121876.8311 | 2590737.604 | 1121873.6894
3 | 2590749.0587 | 1121877.6178 | 2590750.0313 | 1121877.8778
4 | 2590733.0126 | 1121872.5903 | 2590737.604 | 1121873.6894
5 | 2590750.0313 | 1121877.8778 | 2590754.3942 | 1121879.0439 | 2590760.3348 | 1121881.4066
6 | 2590729.1641 | 1121871.6691 | 2590733.0126 | 1121872.5903
7 | 2590772.4365 | 1121886.2197 | 2590760.3348 | 1121881.4066
8 | 2590674.843 | 1121854.7217 | 2590677.755 | 1121857.5964 | 2590683.0886 | 1121860.4673 | 2590691.7611 | 1121862.9551 | 2590701.7056 | 1121865.0963 | 2590729.1641 | 1121871.6691
9 | 2590772.4365 | 1121886.2197 | 2590785.467 | 1121884.132 | 2590786.6069 | 1121882.9319
10 | 2590772.4365 | 1121886.2197 | 2590767.999 | 1121894.3194
11 | 2590674.843 | 1121854.7217 | 2590680.171 | 1121848.9773 | 2590683.667 | 1121845.5258 | 2590701.8691 | 1121831.3017
12 | 2590792.5307 | 1121876.6954 | 2590786.6069 | 1121882.9319
13 | 2590769.0328 | 1121899.5759 | 2590767.999 | 1121894.3194
14 | 2590792.5307 | 1121876.6954 | 2590795.1162 | 1121873.9735
15 | 2590769.0328 | 1121899.5759 | 2590773.5081 | 1121901.0966
16 | 2590769.0328 | 1121899.5759 | 2590768.7264 | 1121900.9215 | 2590766.3158 | 1121905.2821
17 | 2590748.9816 | 1121916.3485 | 2590746.707 | 1121916.9712
18 | 2590748.9816 | 1121916.3485 | 2590752.5761 | 1121915.3645 | 2590759.0183 | 1121911.964 | 2590764.3964 | 1121908.7542 | 2590766.3158 | 1121905.2821
19 | 2590773.5368 | 1121901.1063 | 2590773.5081 | 1121901.0966
20 | 2590773.5368 | 1121901.1063 | 2590775.9697 | 1121901.9331 | 2590780.9372 | 1121902.4479 | 2590781.7767 | 1121903.5739
21 | 2590784.3856 | 1121909.2596 | 2590784.7703 | 1121907.589 | 2590781.7767 | 1121903.5739
22 | 2590795.1162 | 1121873.9735 | 2590803.4197 | 1121865.2317
23 | 2590803.4197 | 1121865.2317 | 2590805.7054 | 1121862.8253
24 | 2590806.9105 | 1121948.877 | 2590810.2778 | 1121949.9261 | 2590814.6179 | 1121948.6856 | 2590814.8204 | 1121944.9723 | 2590812.1254 | 1121942.7087 | 2590802.4951 | 1121934.0636 | 2590798.2448 | 1121928.5008 | 2590792.6489 | 1121920.4721 | 2590785.6127 | 1121918.7265 | 2590782.9164 | 1121915.6402 | 2590784.3856 | 1121909.2596
25 | 2590824.9188 | 1121892.7557 | 2590828.0343 | 1121888.3516
26 | 2590828.0343 | 1121888.3516 | 2590831.7822 | 1121883.0535
27 | 2590839.0151 | 1121874.5938 | 2590831.7851 | 1121883.0494 | 2590831.7822 | 1121883.0535
28 | 2590847.2514 | 1121864.9614 | 2590839.0151 | 1121874.5938
29 | 2590848.9082 | 1121843.8263 | 2590845.5624 | 1121849.7788 | 2590845.8552 | 1121859.7165 | 2590847.2514 | 1121864.9614
30 | 2590847.2514 | 1121864.9614 | 2590855.0789 | 1121865.7962
31 | 2590848.9082 | 1121843.8263 | 2590849.9818 | 1121843.862
32 | 2590848.9082 | 1121843.8263 | 2590835.5287 | 1121844.8233
33 | 2590855.0789 | 1121865.7962 | 2590859.9942 | 1121866.3204 | 2590869.6763 | 1121873.487 | 2590881.8965 | 1121881.1944 | 2590892.2351 | 1121886.0194
34 | 2590849.9818 | 1121843.862 | 2590878.7091 | 1121844.8176
35 | 2590835.5287 | 1121844.8233 | 2590826.3677 | 1121845.506 | 2590826.3677 | 1121845.506
36 | 2590911.1133 | 1121898.3029 | 2590904.903 | 1121891.9314 | 2590892.2351 | 1121886.0194
37 | 2590806.4414 | 1121862.0505 | 2590805.7054 | 1121862.8253
38 | 2590806.4414 | 1121862.0505 | 2590808.8052 | 1121859.5619 | 2590814.3743 | 1121855.1047
39 | 2590818.8453 | 1121851.5265 | 2590814.3743 | 1121855.1047
40 | 2590878.7091 | 1121844.8176 | 2590888.1586 | 1121845.1319
41 | 2590826.3677 | 1121845.506 | 2590825.4102 | 1121846.2723
42 | 2590911.1133 | 1121898.3029 | 2590913.2298 | 1121900.4785 | 2590915.2645 | 1121902.0214
43 | 2590911.1133 | 1121898.3029 | 2590907.024 | 1121902.1776 | 2590903.3012 | 1121903.6284 | 2590898.4123 | 1121903.7283
44 | 2590892.636 | 1121845.2809 | 2590888.1586 | 1121845.1319
45 | 2590823.3586 | 1121847.9142 | 2590825.4102 | 1121846.2723
46 | 2590924.1011 | 1121908.7217 | 2590915.2645 | 1121902.0214
47 | 2590854.2685 | 1121904.6684 | 2590861.3976 | 1121901.6467 | 2590866.9875 | 1121900.6488 | 2590872.2472 | 1121900.6186 | 2590885.6562 | 1121903.9887 | 2590898.4123 | 1121903.7283
48 | 2590818.8453 | 1121851.5265 | 2590823.3586 | 1121847.9142
49 | 2590892.636 | 1121845.2809 | 2590895.246 | 1121845.3677 | 2590916.0611 | 1121847.8971
50 | 2590924.1011 | 1121908.7217 | 2590947.4243 | 1121926.3983
51 | 2590924.1011 | 1121908.7217 | 2590920.8589 | 1121911.8281 | 2590918.1766 | 1121912.866 | 2590913.419 | 1121913.3846 | 2590905.4501 | 1121911.9626 | 2590902.1417 | 1121912.0677 | 2590899.56 | 1121913.3055 | 2590898.53 | 1121915.5749 | 2590898.0205 | 1121920.3224 | 2590898.0246 | 1121923.0015 | 2590898.5433 | 1121924.3347 | 2590900.6111 | 1121924.9541 | 2590908.247 | 1121924.0577
52 | 2590854.2685 | 1121904.6684 | 2590853.4746 | 1121905.0048 | 2590849.1562 | 1121907.7603
53 | 2590965.2062 | 1121939.8752 | 2590947.4243 | 1121926.3983
54 | 2590755.9441 | 1121809.1358 | 2590758.4056 | 1121809.6149 | 2590763.9574 | 1121808.8837 | 2590768.9046 | 1121806.2304 | 2590775.2977 | 1121800.9291 | 2590782.1677 | 1121794.7822 | 2590789.2786 | 1121789.8355 | 2590792.9849 | 1121788.1869
55 | 2590792.9849 | 1121788.1869 | 2590795.7988 | 1121786.9352 | 2590801.5888 | 1121785.6035 | 2590809.6788 | 1121785.4688 | 2590817.1617 | 1121786.6579 | 2590823.6516 | 1121789.1932
56 | 2590823.6516 | 1121789.1932 | 2590824.5314 | 1121789.5369 | 2590833.5923 | 1121793.8585 | 2590845.1924 | 1121799.3769 | 2590854.4913 | 1121802.9756 | 2590865.2447 | 1121809.5735 | 2590879.9915 | 1121820.2341 | 2590884.3989 | 1121822.8541
57 | 2590931.4275 | 1121847.3583 | 2590929.4317 | 1121843.4261 | 2590920.2721 | 1121840.0049 | 2590901.8525 | 1121833.2295 | 2590884.3989 | 1121822.8541
58 | 2590931.4275 | 1121847.3583 | 2590922.9846 | 1121848.7384 | 2590916.0611 | 1121847.8971
59 | 2590931.4275 | 1121847.3583 | 2590939.6916 | 1121845.1114 | 2590943.9519 | 1121842.0035
60 | 2590943.9519 | 1121842.0035 | 2590952.9985 | 1121842.0788 | 2590954.7875 | 1121841.5954
61 | 2590978.6732 | 1121950.0819 | 2590965.2062 | 1121939.8752
62 | 2590978.6732 | 1121950.0819 | 2590993.4981 | 1121961.7097 | 2590998.4189 | 1121967.1828 | 2591014.2942 | 1121985.1122 | 2591022.4252 | 1122002.1528 | 2591024.0703 | 1122019.2588
63 | 2591024.0703 | 1122019.2588 | 2591019.6822 | 1122019.2653 | 2590978.7798 | 1122019.3268
64 | 2590724.8549 | 1121972.8323 | 2590740.5632 | 1121977.8363
65 | 2590724.8549 | 1121972.8323 | 2590717.3493 | 1121970.4414
66 | 2590755.9661 | 1121983.0583 | 2590752.6475 | 1121981.6858 | 2590740.5632 | 1121977.8363
67 | 2590755.9661 | 1121983.0583 | 2590761.3948 | 1121985.3035
68 | 2590786.9573 | 1121995.8758 | 2590761.3948 | 1121985.3035
69 | 2590786.9573 | 1121995.8758 | 2590790.7452 | 1121997.4424
70 | 2590802.3759 | 1122002.2528 | 2590790.7452 | 1121997.4424
71 | 2590867.9899 | 1121976.5289 | 2590869.8044 | 1121982.9737 | 2590871.2175 | 1121989.2635 | 2590868.5572 | 1121994.5813 | 2590860.2922 | 1122001.1749 | 2590840.9894 | 1122001.5489 | 2590816.4774 | 1121999.6299 | 2590808.609 | 1121998.3079 | 2590804.4451 | 1121998.7368 | 2590802.3759 | 1122002.2528
72 | 2590802.3759 | 1122002.2528 | 2590813.8279 | 1122006.982 | 2590850.8483 | 1122017.9986
73 | 2590867.9899 | 1121976.5289 | 2590869.7589 | 1121973.358 | 2590875.0456 | 1121968.792
74 | 2590850.8483 | 1122017.9986 | 2590851.1792 | 1122018.097 | 2590865.5019 | 1122019.0201 | 2590897.0999 | 1122012.7391
75 | 2590892.3856 | 1121957.6492 | 2590879.5713 | 1121964.8833 | 2590875.0456 | 1121968.792
76 | 2590913.7532 | 1122012.2852 | 2590901.0053 | 1122011.9627 | 2590897.0999 | 1122012.7391
77 | 2590957.6053 | 1122022.8603 | 2590940.9004 | 1122017.3939 | 2590920.078 | 1122012.4452 | 2590913.7532 | 1122012.2852
78 | 2590957.6053 | 1122022.8603 | 2590981.131 | 1122030.562
79 | 2590957.6053 | 1122022.8603 | 2590959.5509 | 1122019.1667 | 2590965.6206 | 1122019.3465 | 2590978.7798 | 1122019.3268
80 | 2590981.131 | 1122030.562 | 2590979.3769 | 1122033.3549 | 2590976.3178 | 1122035.0603 | 2590959.9544 | 1122031.0163 | 2590952.2871 | 1122030.0051 | 2590950.8386 | 1122030.9411 | 2590950.3337 | 1122033.6543 | 2590950.6546 | 1122036.2707
81 | 2590950.6773 | 1122036.4552 | 2590950.6546 | 1122036.2707
82 | 2590965.7227 | 1122040.7802 | 2590953.8346 | 1122038.4959 | 2590950.6773 | 1122036.4552 | 2590950.6773 | 1122036.4552
83 | 2590965.7227 | 1122040.7802 | 2590974.1253 | 1122042.3947

## bus_geodata
| x | y | coords
0 | 2590720.9986 | 1121885.5597
1 | 2590740.4084 | 1121876.8311
2 | 2590749.0587 | 1121877.6178
3 | 2590737.604 | 1121873.6894
4 | 2590750.0313 | 1121877.8778
5 | 2590733.0126 | 1121872.5903
6 | 2590760.3348 | 1121881.4066
7 | 2590729.1641 | 1121871.6691
8 | 2590772.4365 | 1121886.2197
9 | 2590674.843 | 1121854.7217
10 | 2590786.6069 | 1121882.9319
11 | 2590767.999 | 1121894.3194
12 | 2590792.5307 | 1121876.6954
13 | 2590769.0328 | 1121899.5759
14 | 2590748.9816 | 1121916.3485
15 | 2590746.707 | 1121916.9712
16 | 2590766.3158 | 1121905.2821
17 | 2590773.5081 | 1121901.0966
18 | 2590773.5368 | 1121901.1063
19 | 2590781.7767 | 1121903.5739
20 | 2590795.1162 | 1121873.9735
21 | 2590803.4197 | 1121865.2317
22 | 2590784.3856 | 1121909.2596
23 | 2590806.9105 | 1121948.877
24 | 2590824.9188 | 1121892.7557
25 | 2590828.0343 | 1121888.3516
26 | 2590831.7822 | 1121883.0535
27 | 2590839.0151 | 1121874.5938
28 | 2590847.2514 | 1121864.9614
29 | 2590848.9082 | 1121843.8263
30 | 2590855.0789 | 1121865.7962
31 | 2590849.9818 | 1121843.862
32 | 2590835.5287 | 1121844.8233
33 | 2590892.2351 | 1121886.0194
34 | 2590805.7054 | 1121862.8253
35 | 2590806.4414 | 1121862.0505
36 | 2590814.3743 | 1121855.1047
37 | 2590878.7091 | 1121844.8176
38 | 2590826.3677 | 1121845.506
39 | 2590911.1133 | 1121898.3029
40 | 2590888.1586 | 1121845.1319
41 | 2590825.4102 | 1121846.2723
42 | 2590915.2645 | 1121902.0214
43 | 2590898.4123 | 1121903.7283
44 | 2590823.3586 | 1121847.9142
45 | 2590818.8453 | 1121851.5265
46 | 2590892.636 | 1121845.2809
47 | 2590924.1011 | 1121908.7217
48 | 2590854.2685 | 1121904.6684
49 | 2590947.4243 | 1121926.3983
50 | 2590908.247 | 1121924.0577
51 | 2590849.1562 | 1121907.7603
52 | 2590755.9441 | 1121809.1358
53 | 2590792.9849 | 1121788.1869
54 | 2590823.6516 | 1121789.1932
55 | 2590884.3989 | 1121822.8541
56 | 2590931.4275 | 1121847.3583
57 | 2590916.0611 | 1121847.8971
58 | 2590943.9519 | 1121842.0035
59 | 2590701.8691 | 1121831.3017
60 | 2590954.7875 | 1121841.5954
61 | 2590965.2062 | 1121939.8752
62 | 2590978.6732 | 1121950.0819
63 | 2591024.0703 | 1122019.2588
64 | 2590724.8549 | 1121972.8323
65 | 2590740.5632 | 1121977.8363
66 | 2590717.3493 | 1121970.4414
67 | 2590755.9661 | 1121983.0583
68 | 2590761.3948 | 1121985.3035
69 | 2590786.9573 | 1121995.8758
70 | 2590790.7452 | 1121997.4424
71 | 2590802.3759 | 1122002.2528
72 | 2590867.9899 | 1121976.5289
73 | 2590850.8483 | 1122017.9986
74 | 2590875.0456 | 1121968.792
75 | 2590897.0999 | 1122012.7391
76 | 2590892.3856 | 1121957.6492
77 | 2590913.7532 | 1122012.2852
78 | 2590957.6053 | 1122022.8603
79 | 2590981.131 | 1122030.562
80 | 2590978.7798 | 1122019.3268
81 | 2590950.6546 | 1122036.2707
82 | 2590950.6773 | 1122036.4552
83 | 2590965.7227 | 1122040.7802
84 | 2590974.1253 | 1122042.3947
85 | 2590820.9965 | 1121903.776

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1