## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-36_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-36_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-36_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6265-36_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6265-36_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6265-36_0_3_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_6265-36_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_6265-36_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6265-36_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_6265-36_0_3_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_6265-36_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_6265-36_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_6265-36_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6265-36_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6265-36_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6265-36_0_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_6265-36_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6265-36_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6265-36_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6265-36_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6265-36_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6265-36_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6265-36_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6265-36_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6265-36_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6265-36_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6265-36_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6265-36_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6265-36_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6265-36_0_3_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_6265-36_0_3_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_6265-36_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_6265-36_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6265-36_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_6265-36_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_6265-36_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_6265-36_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_6265-36_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6265-36_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6265-36_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_6265-36_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_6265-36_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6265-36_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6265-36_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_6265-36_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_6265-36_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6265-36_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_6265-36_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6265-36_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6265-36_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_6265-36_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_6265-36_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6265-36_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_6265-36_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_6265-36_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6265-36_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_6265-36_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6265-36_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_6265-36_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_6265-36_0_3_node_56 | 0.4 | n |  | TRUE
60 | bus_MV_267_1_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-36_0_3_load_0 | 0 | 0.0082157 | 0.002059 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-36_0_3_load_1 | 1 | 0.0096348 | 0.0024147 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-36_0_3_load_2 | 2 | 0.0053054 | 0.0013297 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-36_0_3_load_4 | 4 | 0.0049607 | 0.0012433 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-36_0_3_load_62 | 5 | 0.0064488 | 0.0016162 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-36_0_3_load_61 | 9 | 0.0050426 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-36_0_3_load_27 | 10 | 0.0058957 | 0.0014776 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-36_0_3_load_24 | 11 | 0.0061041 | 0.0015298 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-36_0_3_load_6 | 12 | 0.0045978 | 0.0011523 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-36_0_3_load_7 | 13 | 0.0062354 | 0.0015627 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-36_0_3_load_8 | 14 | 0.0054329 | 0.0013616 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-36_0_3_load_18 | 15 | 0.0053548 | 0.0013421 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-36_0_3_load_9 | 17 | 0.0055169 | 0.0013827 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-36_0_3_load_10 | 18 | 0.0022583 | 0.00056599 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-36_0_3_load_11 | 19 | 0.0061649 | 0.0015451 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-36_0_3_load_13 | 21 | 0.008751 | 0.0021932 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-36_0_3_load_15 | 23 | 0.0037808 | 0.00094755 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-36_0_3_load_16 | 24 | 0.0063769 | 0.0015982 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-36_0_3_load_21 | 25 | 0.010705 | 0.002683 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-36_0_3_load_22 | 26 | 0.0061229 | 0.0015345 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-36_0_3_load_23 | 27 | 0.0037457 | 0.00093877 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-36_0_3_load_25 | 28 | 0.0037465 | 0.00093897 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-36_0_3_load_58 | 29 | 0.0018702 | 0.00046873 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-36_0_3_load_57 | 30 | 0.0068125 | 0.0017074 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-36_0_3_load_28 | 31 | 0.0016241 | 0.00040704 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-36_0_3_load_32 | 34 | 0.0029097 | 0.00072923 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-36_0_3_load_38 | 35 | 0.012106 | 0.003034 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-36_0_3_load_35 | 36 | 0.0028012 | 0.00070206 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-36_0_3_load_30 | 37 | 0.0049408 | 0.0012383 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-36_0_3_load_31 | 38 | 0.0035381 | 0.00088673 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-36_0_3_load_33 | 39 | 0.0049433 | 0.0012389 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-36_0_3_load_54 | 40 | 0.0022002 | 0.00055141 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-36_0_3_load_36 | 41 | 0.0087407 | 0.0021906 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-36_0_3_load_37 | 42 | 0.0025689 | 0.00064383 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-36_0_3_load_39 | 46 | 0.0027905 | 0.00069938 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-36_0_3_load_40 | 47 | 0.0022945 | 0.00057505 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-36_0_3_load_41 | 48 | 0.0045065 | 0.0011294 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-36_0_3_load_43 | 49 | 0.0016373 | 0.00041035 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-36_0_3_load_60 | 50 | 0.0029356 | 0.00073573 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-36_0_3_load_46 | 51 | 0.0033605 | 0.00084222 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-36_0_3_load_47 | 52 | 0.0010292 | 0.00025794 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-36_0_3_load_51 | 54 | 0.0047075 | 0.0011798 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-36_0_3_load_49 | 55 | 0.0046562 | 0.001167 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-36_0_3_load_52 | 56 | 0.0041916 | 0.0010505 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-36_0_3_load_50 | 57 | 0.003895 | 0.00097618 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-36_0_3_load_55 | 58 | 0.0036571 | 0.00091655 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-36_0_3_load_56 | 59 | 0.007992 | 0.002003 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-36_0_3_line_0 |  | 0 | 1 | 0.019856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6265-36_0_3_line_1 |  | 0 | 2 | 0.022602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6265-36_0_3_line_2 |  | 1 | 3 | 0.035112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6265-36_0_3_line_3 |  | 2 | 4 | 0.02048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6265-36_0_3_line_4 |  | 2 | 5 | 0.053888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6265-36_0_3_line_5 |  | 3 | 6 | 0.018809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6265-36_0_3_line_6 |  | 4 | 7 | 0.024926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6265-36_0_3_line_7 |  | 5 | 8 | 0.015586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-36_0_3_line_8 |  | 6 | 10 | 0.032128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6265-36_0_3_line_9 |  | 6 | 11 | 0.02192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6265-36_0_3_line_10 |  | 7 | 12 | 0.0036197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6265-36_0_3_line_11 |  | 7 | 13 | 0.040896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6265-36_0_3_line_12 |  | 8 | 9 | 0.01989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6265-36_0_3_line_13 |  | 10 | 31 | 0.023682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6265-36_0_3_line_14 |  | 11 | 26 | 0.02191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6265-36_0_3_line_15 |  | 12 | 14 | 0.0181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6265-36_0_3_line_16 |  | 14 | 17 | 0.057153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6265-36_0_3_line_17 |  | 15 | 16 | 0.048677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6265-36_0_3_line_18 |  | 16 | 22 | 0.053684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6265-36_0_3_line_19 |  | 16 | 20 | 0.006593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6265-36_0_3_line_20 |  | 17 | 18 | 0.028692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6265-36_0_3_line_21 |  | 18 | 23 | 0.058925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6265-36_0_3_line_22 |  | 19 | 20 | 0.04177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6265-36_0_3_line_23 |  | 20 | 21 | 0.017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6265-36_0_3_line_24 |  | 22 | 24 | 0.02956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6265-36_0_3_line_25 |  | 23 | 24 | 0.0019889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6265-36_0_3_line_26 |  | 25 | 26 | 0.043226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6265-36_0_3_line_27 |  | 25 | 27 | 0.054905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6265-36_0_3_line_28 |  | 27 | 28 | 0.012782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6265-36_0_3_line_29 |  | 28 | 29 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6265-36_0_3_line_30 |  | 29 | 30 | 0.0031157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6265-36_0_3_line_31 |  | 30 | 58 | 0.004299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6265-36_0_3_line_32 |  | 31 | 32 | 0.011563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6265-36_0_3_line_33 |  | 32 | 33 | 0.093451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6265-36_0_3_line_34 |  | 32 | 34 | 0.035037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6265-36_0_3_line_35 |  | 33 | 35 | 0.064166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6265-36_0_3_line_36 |  | 33 | 36 | 0.039969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6265-36_0_3_line_37 |  | 34 | 37 | 0.030212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6265-36_0_3_line_38 |  | 36 | 41 | 0.015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6265-36_0_3_line_39 |  | 37 | 38 | 0.048435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6265-36_0_3_line_40 |  | 38 | 39 | 0.064566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6265-36_0_3_line_41 |  | 39 | 40 | 0.011016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6265-36_0_3_line_42 |  | 41 | 42 | 0.013973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6265-36_0_3_line_43 |  | 42 | 43 | 0.047326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6265-36_0_3_line_44 |  | 43 | 44 | 0.007716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6265-36_0_3_line_45 |  | 43 | 45 | 0.017129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6265-36_0_3_line_46 |  | 44 | 51 | 0.016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6265-36_0_3_line_47 |  | 45 | 49 | 0.018751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6265-36_0_3_line_48 |  | 45 | 48 | 0.025833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6265-36_0_3_line_49 |  | 46 | 47 | 0.0087179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6265-36_0_3_line_50 |  | 47 | 48 | 0.0023571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6265-36_0_3_line_51 |  | 49 | 50 | 0.19056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6265-36_0_3_line_52 |  | 51 | 52 | 0.0016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6265-36_0_3_line_53 |  | 52 | 53 | 0.0035567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6265-36_0_3_line_54 |  | 53 | 54 | 0.026731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6265-36_0_3_line_55 |  | 53 | 55 | 0.020673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6265-36_0_3_line_56 |  | 54 | 56 | 0.009377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6265-36_0_3_line_57 |  | 55 | 57 | 0.021738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6265-36_0_3_line_58 |  | 58 | 59 | 0.025786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-36_0_3_trafo_21 | 0.63 MVA 20/0.4 kV | 60 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2591003.6389 | 1121901.8916 | 2591001.3155 | 1121903.3806 | 2590995.7918 | 1121912.5044 | 2590992.7619 | 1121918.1766
1 | 2591003.6389 | 1121901.8916 | 2591022.6684 | 1121889.6962
2 | 2590978.6732 | 1121950.0819 | 2590981.1585 | 1121946.2096 | 2590985.0173 | 1121932.6749 | 2590992.7619 | 1121918.1766
3 | 2591039.9117 | 1121878.6455 | 2591022.6684 | 1121889.6962
4 | 2591022.6684 | 1121889.6962 | 2590990.1942 | 1121846.6917
5 | 2590978.6732 | 1121950.0819 | 2590993.4981 | 1121961.7097
6 | 2591061.9335 | 1121867.0833 | 2591047.5293 | 1121873.7636 | 2591039.9117 | 1121878.6455
7 | 2590990.1942 | 1121846.6917 | 2590987.2982 | 1121838.9701 | 2590983.0705 | 1121832.9624
8 | 2590993.4981 | 1121961.7097 | 2590998.4189 | 1121967.1828 | 2591014.2942 | 1121985.1122 | 2591014.6477 | 1121985.853
9 | 2590993.4981 | 1121961.7097 | 2591011.8892 | 1121949.782
10 | 2591061.9335 | 1121867.0833 | 2591065.2168 | 1121865.5594
11 | 2591061.9335 | 1121867.0833 | 2591067.0532 | 1121871.4 | 2591070.8797 | 1121872.217 | 2591074.912 | 1121871.3883 | 2591081.0087 | 1121868.9114 | 2591084.1167 | 1121868.9068 | 2591087.2178 | 1121869.4135 | 2591088.7697 | 1121870.5451 | 2591089.3915 | 1121873.8458 | 2591088.7778 | 1121876.0144 | 2591087.5372 | 1121876.7389 | 2591083.2339 | 1121877.4981
12 | 2591000.4239 | 1121823.1537 | 2590983.0705 | 1121832.9624
13 | 2591014.6477 | 1121985.853 | 2591022.4252 | 1122002.1528 | 2591022.9634 | 1122007.7488
14 | 2591011.8892 | 1121949.782 | 2591017.344 | 1121946.2442 | 2591030.9414 | 1121938.9976
15 | 2591065.2168 | 1121865.5594 | 2591074.3802 | 1121861.3064 | 2591082.0631 | 1121859.0859
16 | 2591082.0631 | 1121859.0859 | 2591135.8517 | 1121843.5399 | 2591136.9192 | 1121843.0799
17 | 2591072.4311 | 1121779.7583 | 2591040.9391 | 1121788.554 | 2591026.2654 | 1121794.8823
18 | 2591118.3262 | 1121752.8437 | 2591103.7566 | 1121762.7256 | 2591085.2592 | 1121776.1819 | 2591072.4311 | 1121779.7583
19 | 2591072.4311 | 1121779.7583 | 2591076.5417 | 1121784.9214
20 | 2591163.0543 | 1121831.2674 | 2591155.7831 | 1121834.9508 | 2591136.9192 | 1121843.0799
21 | 2591163.0543 | 1121831.2674 | 2591131.5279 | 1121781.4852
22 | 2591076.5417 | 1121784.9214 | 2591078.0407 | 1121786.8089 | 2591099.2962 | 1121781.686 | 2591100.4854 | 1121782.7514 | 2591101.2104 | 1121787.9529 | 2591092.6546 | 1121794.2893
23 | 2591067.9578 | 1121800.4417 | 2591076.5417 | 1121784.9214
24 | 2591118.3262 | 1121752.8437 | 2591121.0045 | 1121759.4985 | 2591130.6693 | 1121779.6912
25 | 2591130.6693 | 1121779.6912 | 2591131.5279 | 1121781.4852
26 | 2591069.0878 | 1121918.6678 | 2591030.9414 | 1121938.9976
27 | 2591069.0878 | 1121918.6678 | 2591096.9555 | 1121903.8159 | 2591118.3253 | 1121894.4623
28 | 2591118.3253 | 1121894.4623 | 2591130.0343 | 1121889.3373
29 | 2591148.3531 | 1121881.3191 | 2591130.0343 | 1121889.3373
30 | 2591148.3531 | 1121881.3191 | 2591151.2074 | 1121880.0698
31 | 2591155.1457 | 1121878.346 | 2591151.2074 | 1121880.0698
32 | 2591024.0703 | 1122019.2588 | 2591022.9634 | 1122007.7488
33 | 2590981.131 | 1122030.562 | 2590957.6053 | 1122022.8603 | 2590959.5509 | 1122019.1667 | 2590965.6206 | 1122019.3465 | 2591019.6822 | 1122019.2653 | 2591024.0703 | 1122019.2588
34 | 2591024.0703 | 1122019.2588 | 2591030.2554 | 1122019.2495 | 2591036.1256 | 1122014.9497 | 2591048.6355 | 1122000.0905 | 2591050.0722 | 1121998.4898
35 | 2590975.3034 | 1122042.6211 | 2590953.8346 | 1122038.4959 | 2590950.6773 | 1122036.4552 | 2590950.3337 | 1122033.6543 | 2590950.8386 | 1122030.9411 | 2590952.2871 | 1122030.0051 | 2590959.9544 | 1122031.0163 | 2590976.3178 | 1122035.0603 | 2590979.3769 | 1122033.3549 | 2590981.131 | 1122030.562
36 | 2590981.131 | 1122030.562 | 2591019.1205 | 1122042.9842
37 | 2591073.581 | 1121980.0773 | 2591058.8063 | 1121988.7586 | 2591050.0722 | 1121998.4898
38 | 2591019.1205 | 1122042.9842 | 2591034.1732 | 1122047.9062
39 | 2591073.581 | 1121980.0773 | 2591083.4636 | 1121974.2704 | 2591116.6379 | 1121957.9477
40 | 2591116.6379 | 1121957.9477 | 2591174.5712 | 1121929.4429
41 | 2591174.5712 | 1121929.4429 | 2591184.4553 | 1121924.5796
42 | 2591047.8253 | 1122050.8178 | 2591036.1912 | 1122048.5661 | 2591034.1732 | 1122047.9062
43 | 2591094.1457 | 1122047.5237 | 2591086.4617 | 1122050.8257 | 2591070.5553 | 1122053.2394 | 2591051.2958 | 1122051.4894 | 2591047.8253 | 1122050.8178
44 | 2591101.2517 | 1122044.4673 | 2591094.1457 | 1122047.5237
45 | 2591104.4304 | 1122061.004 | 2591101.5269 | 1122058.4292 | 2591099.2486 | 1122056.2649 | 2591094.1457 | 1122047.5237
46 | 2591101.2517 | 1122044.4673 | 2591114.2941 | 1122034.1691
47 | 2591104.4304 | 1122061.004 | 2591113.3324 | 1122067.7941 | 2591118.5335 | 1122073.2735
48 | 2591104.4304 | 1122061.004 | 2591105.1622 | 1122065.6385 | 2591102.9972 | 1122072.2449 | 2591101.8675 | 1122074.9257 | 2591098.3525 | 1122076.0648 | 2591090.8036 | 1122076.7986
49 | 2591080.457 | 1122078.7705 | 2591082.7291 | 1122076.8106 | 2591088.4464 | 1122076.8021
50 | 2591090.8036 | 1122076.7986 | 2591088.4464 | 1122076.8021
51 | 2591118.5335 | 1122073.2735 | 2591156.2942 | 1122260.0581
52 | 2591114.2941 | 1122034.1691 | 2591115.5841 | 1122033.1505
53 | 2591118.3755 | 1122030.9464 | 2591115.5841 | 1122033.1505
54 | 2591118.3755 | 1122030.9464 | 2591143.8621 | 1122039.0085
55 | 2591118.3755 | 1122030.9464 | 2591121.2873 | 1122028.6521 | 2591133.9924 | 1122017.4078
56 | 2591152.8025 | 1122041.8366 | 2591143.8621 | 1122039.0085
57 | 2591133.9924 | 1122017.4078 | 2591146.7655 | 1122006.1034 | 2591150.8412 | 1122003.8017
58 | 2591155.1457 | 1121878.346 | 2591178.7675 | 1121868.0067

## bus_geodata
| x | y | coords
0 | 2591003.6389 | 1121901.8916
1 | 2590992.7619 | 1121918.1766
2 | 2591022.6684 | 1121889.6962
3 | 2590978.6732 | 1121950.0819
4 | 2591039.9117 | 1121878.6455
5 | 2590990.1942 | 1121846.6917
6 | 2590993.4981 | 1121961.7097
7 | 2591061.9335 | 1121867.0833
8 | 2590983.0705 | 1121832.9624
9 | 2591000.4239 | 1121823.1537
10 | 2591014.6477 | 1121985.853
11 | 2591011.8892 | 1121949.782
12 | 2591065.2168 | 1121865.5594
13 | 2591083.2339 | 1121877.4981
14 | 2591082.0631 | 1121859.0859
15 | 2591026.2654 | 1121794.8823
16 | 2591072.4311 | 1121779.7583
17 | 2591136.9192 | 1121843.0799
18 | 2591163.0543 | 1121831.2674
19 | 2591092.6546 | 1121794.2893
20 | 2591076.5417 | 1121784.9214
21 | 2591067.9578 | 1121800.4417
22 | 2591118.3262 | 1121752.8437
23 | 2591131.5279 | 1121781.4852
24 | 2591130.6693 | 1121779.6912
25 | 2591069.0878 | 1121918.6678
26 | 2591030.9414 | 1121938.9976
27 | 2591118.3253 | 1121894.4623
28 | 2591130.0343 | 1121889.3373
29 | 2591148.3531 | 1121881.3191
30 | 2591151.2074 | 1121880.0698
31 | 2591022.9634 | 1122007.7488
32 | 2591024.0703 | 1122019.2588
33 | 2590981.131 | 1122030.562
34 | 2591050.0722 | 1121998.4898
35 | 2590975.3034 | 1122042.6211
36 | 2591019.1205 | 1122042.9842
37 | 2591073.581 | 1121980.0773
38 | 2591116.6379 | 1121957.9477
39 | 2591174.5712 | 1121929.4429
40 | 2591184.4553 | 1121924.5796
41 | 2591034.1732 | 1122047.9062
42 | 2591047.8253 | 1122050.8178
43 | 2591094.1457 | 1122047.5237
44 | 2591101.2517 | 1122044.4673
45 | 2591104.4304 | 1122061.004
46 | 2591080.457 | 1122078.7705
47 | 2591088.4464 | 1122076.8021
48 | 2591090.8036 | 1122076.7986
49 | 2591118.5335 | 1122073.2735
50 | 2591156.2943 | 1122260.0581
51 | 2591114.2941 | 1122034.1691
52 | 2591115.5841 | 1122033.1505
53 | 2591118.3755 | 1122030.9464
54 | 2591143.8621 | 1122039.0085
55 | 2591133.9924 | 1122017.4078
56 | 2591152.8025 | 1122041.8366
57 | 2591150.8412 | 1122003.8017
58 | 2591155.1457 | 1121878.346
59 | 2591178.7675 | 1121868.0067
60 | 2590993.4981 | 1121961.7097

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1