## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6265-3_0_6_node_87 | 0.4 | n |  | TRUE
4 | bus_LV_6265-3_0_6_node_88 | 0.4 | n |  | TRUE
5 | bus_LV_6265-3_0_6_node_89 | 0.4 | n |  | TRUE
6 | bus_LV_6265-3_0_6_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_6265-3_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6265-3_0_6_node_90 | 0.4 | n |  | TRUE
9 | bus_LV_6265-3_0_6_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_6265-3_0_6_node_99 | 0.4 | n |  | TRUE
11 | bus_LV_6265-3_0_6_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_6265-3_0_6_node_93 | 0.4 | n |  | TRUE
13 | bus_LV_6265-3_0_6_node_94 | 0.4 | n |  | TRUE
14 | bus_LV_6265-3_0_6_node_104 | 0.4 | n |  | TRUE
15 | bus_LV_6265-3_0_6_node_102 | 0.4 | n |  | TRUE
16 | bus_LV_6265-3_0_6_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_6265-3_0_6_node_97 | 0.4 | n |  | TRUE
18 | bus_LV_6265-3_0_6_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_6265-3_0_6_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_6265-3_0_6_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_6265-3_0_6_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_6265-3_0_6_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_6265-3_0_6_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_6265-3_0_6_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_6265-3_0_6_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_6265-3_0_6_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_6265-3_0_6_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_6265-3_0_6_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_6265-3_0_6_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_6265-3_0_6_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_6265-3_0_6_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_6265-3_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6265-3_0_6_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_6265-3_0_6_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_6265-3_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6265-3_0_6_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_6265-3_0_6_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_6265-3_0_6_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_6265-3_0_6_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_6265-3_0_6_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_6265-3_0_6_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_6265-3_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_6265-3_0_6_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_6265-3_0_6_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_6265-3_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6265-3_0_6_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_6265-3_0_6_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_6265-3_0_6_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_6265-3_0_6_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_6265-3_0_6_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_6265-3_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6265-3_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_6265-3_0_6_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_6265-3_0_6_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_6265-3_0_6_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_6265-3_0_6_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_6265-3_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_6265-3_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_6265-3_0_6_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_6265-3_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6265-3_0_6_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_6265-3_0_6_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_6265-3_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_6265-3_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6265-3_0_6_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_6265-3_0_6_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6265-3_0_6_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_6265-3_0_6_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_6265-3_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_6265-3_0_6_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_6265-3_0_6_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_6265-3_0_6_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_6265-3_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_6265-3_0_6_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_6265-3_0_6_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_6265-3_0_6_node_115 | 0.4 | n |  | TRUE
77 | bus_LV_6265-3_0_6_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6265-3_0_6_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_6265-3_0_6_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_6265-3_0_6_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_6265-3_0_6_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_6265-3_0_6_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_6265-3_0_6_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_6265-3_0_6_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_6265-3_0_6_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_6265-3_0_6_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_6265-3_0_6_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_6265-3_0_6_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_6265-3_0_6_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_6265-3_0_6_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_6265-3_0_6_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_6265-3_0_6_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_6265-3_0_6_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_6265-3_0_6_node_116 | 0.4 | n |  | TRUE
95 | bus_LV_6265-3_0_6_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_6265-3_0_6_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_6265-3_0_6_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_6265-3_0_6_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_6265-3_0_6_node_110 | 0.4 | n |  | TRUE
100 | bus_LV_6265-3_0_6_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_6265-3_0_6_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_6265-3_0_6_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_6265-3_0_6_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_6265-3_0_6_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_6265-3_0_6_node_108 | 0.4 | n |  | TRUE
106 | bus_LV_6265-3_0_6_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_6265-3_0_6_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_6265-3_0_6_node_112 | 0.4 | n |  | TRUE
109 | bus_LV_6265-3_0_6_node_113 | 0.4 | n |  | TRUE
110 | bus_LV_6265-3_0_6_node_114 | 0.4 | n |  | TRUE
111 | bus_MV_267_1_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-3_0_6_load_0 | 0 | 0.0071654 | 0.0017958 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-3_0_6_load_1 | 1 | 0.0057004 | 0.0014286 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-3_0_6_load_2 | 2 | 0.0045698 | 0.0011453 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-3_0_6_load_87 | 3 | 0.0056685 | 0.0014207 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-3_0_6_load_88 | 4 | 0.0099621 | 0.0024967 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-3_0_6_load_89 | 5 | 0.002358 | 0.00059096 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-3_0_6_load_84 | 6 | 0.0079101 | 0.0019825 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-3_0_6_load_90 | 8 | 0.004366 | 0.0010942 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-3_0_6_load_99 | 10 | 0.0019299 | 0.00048368 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-3_0_6_load_92 | 11 | 0.0052088 | 0.0013055 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-3_0_6_load_93 | 12 | 0.0054433 | 0.0013642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-3_0_6_load_94 | 13 | 0.010228 | 0.0025635 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-3_0_6_load_104 | 14 | 0.0023929 | 0.00059971 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-3_0_6_load_102 | 15 | 0.0022022 | 0.00055191 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-3_0_6_load_96 | 16 | 0.0039919 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-3_0_6_load_98 | 19 | 0.0036134 | 0.0009056 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-3_0_6_load_5 | 20 | 0.00317 | 0.00079448 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-3_0_6_load_6 | 21 | 0.0011681 | 0.00029275 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-3_0_6_load_8 | 22 | 0.0044005 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-3_0_6_load_83 | 23 | 0.0016206 | 0.00040617 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-3_0_6_load_82 | 24 | 0.0019347 | 0.00048488 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-3_0_6_load_9 | 25 | 0.014081 | 0.0035291 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-3_0_6_load_10 | 26 | 0.0040721 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-3_0_6_load_12 | 28 | 0.0033358 | 0.00083602 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-3_0_6_load_13 | 29 | 0.0046022 | 0.0011534 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-3_0_6_load_14 | 30 | 0.0014764 | 0.00037002 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-3_0_6_load_33 | 31 | 0.005504 | 0.0013794 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-3_0_6_load_21 | 32 | 0.0034802 | 0.00087223 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-3_0_6_load_32 | 33 | 0.005823 | 0.0014594 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-3_0_6_load_85 | 34 | 0.0049087 | 0.0012302 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-3_0_6_load_22 | 35 | 0.0017867 | 0.00044779 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-3_0_6_load_15 | 36 | 0.0034033 | 0.00085296 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-3_0_6_load_16 | 37 | 0.0024745 | 0.00062018 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-3_0_6_load_18 | 39 | 0.0011253 | 0.00028203 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-3_0_6_load_19 | 40 | 0.0020441 | 0.0005123 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-3_0_6_load_20 | 41 | 0.0011827 | 0.00029642 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-3_0_6_load_27 | 42 | 0.00373 | 0.00093483 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-3_0_6_load_24 | 43 | 0.0061439 | 0.0015398 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-3_0_6_load_40 | 44 | 0.0019849 | 0.00049746 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-3_0_6_load_25 | 46 | 0.0012319 | 0.00030873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-3_0_6_load_23 | 48 | 0.0021512 | 0.00053913 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-3_0_6_load_28 | 49 | 0.014167 | 0.0035506 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-3_0_6_load_29 | 50 | 0.0096503 | 0.0024186 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-3_0_6_load_30 | 51 | 0.010587 | 0.0026534 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-3_0_6_load_34 | 52 | 0.0029943 | 0.00075043 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-3_0_6_load_35 | 53 | 0.0056215 | 0.0014089 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-3_0_6_load_86 | 54 | 0.0085435 | 0.0021412 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6265-3_0_6_load_36 | 56 | 0.0021642 | 0.00054241 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6265-3_0_6_load_37 | 57 | 0.0028238 | 0.00070772 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6265-3_0_6_load_39 | 58 | 0.0019669 | 0.00049296 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6265-3_0_6_load_41 | 59 | 0.001147 | 0.00028746 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6265-3_0_6_load_51 | 60 | 0.0096403 | 0.0024161 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6265-3_0_6_load_49 | 61 | 0.0063065 | 0.0015806 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6265-3_0_6_load_42 | 62 | 0.0067622 | 0.0016948 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6265-3_0_6_load_50 | 63 | 0.0018885 | 0.0004733 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6265-3_0_6_load_52 | 64 | 0.0019363 | 0.00048527 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6265-3_0_6_load_54 | 66 | 0.0028262 | 0.00070832 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6265-3_0_6_load_47 | 67 | 0.0017606 | 0.00044124 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6265-3_0_6_load_45 | 68 | 0.0064562 | 0.0016181 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6265-3_0_6_load_58 | 69 | 0.012438 | 0.0031172 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6265-3_0_6_load_43 | 70 | 0.011854 | 0.0029709 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6265-3_0_6_load_44 | 71 | 0.012232 | 0.0030657 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6265-3_0_6_load_46 | 72 | 0.013459 | 0.0033731 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6265-3_0_6_load_57 | 74 | 0.0082543 | 0.0020687 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6265-3_0_6_load_115 | 76 | 0.009725 | 0.0024373 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6265-3_0_6_load_61 | 79 | 0.012729 | 0.0031902 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6265-3_0_6_load_62 | 80 | 0.01163 | 0.0029148 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6265-3_0_6_load_64 | 81 | 0.029019 | 0.0072729 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6265-3_0_6_load_65 | 82 | 0.013268 | 0.0033254 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6265-3_0_6_load_66 | 83 | 0.010879 | 0.0027266 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6265-3_0_6_load_67 | 84 | 0.01503 | 0.0037669 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6265-3_0_6_load_72 | 85 | 0.0039374 | 0.0009868 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6265-3_0_6_load_69 | 86 | 0.0021248 | 0.00053253 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6265-3_0_6_load_70 | 87 | 0.0016174 | 0.00040536 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6265-3_0_6_load_71 | 88 | 0.0068839 | 0.0017253 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6265-3_0_6_load_73 | 89 | 0.0025666 | 0.00064324 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6265-3_0_6_load_74 | 90 | 0.0022534 | 0.00056475 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6265-3_0_6_load_76 | 92 | 0.0038017 | 0.00095281 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6265-3_0_6_load_116 | 94 | 0.010303 | 0.0025821 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6265-3_0_6_load_78 | 95 | 0.0042392 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6265-3_0_6_load_79 | 96 | 0.002672 | 0.00066967 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6265-3_0_6_load_81 | 97 | 0.0041128 | 0.0010308 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6265-3_0_6_load_95 | 98 | 0.022563 | 0.0056548 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6265-3_0_6_load_110 | 99 | 0.0069016 | 0.0017297 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6265-3_0_6_load_107 | 100 | 0.0022104 | 0.00055398 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6265-3_0_6_load_103 | 102 | 0.0053228 | 0.001334 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6265-3_0_6_load_100 | 103 | 0.020577 | 0.0051571 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6265-3_0_6_load_105 | 104 | 0.0068766 | 0.0017234 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6265-3_0_6_load_108 | 105 | 0.004846 | 0.0012145 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6265-3_0_6_load_109 | 106 | 0.012092 | 0.0030306 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6265-3_0_6_load_111 | 107 | 0.0072551 | 0.0018183 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6265-3_0_6_load_113 | 109 | 0.0050427 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6265-3_0_6_load_114 | 110 | 0.0032044 | 0.00080311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-3_0_6_line_0 |  | 0 | 1 | 0.00043698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6265-3_0_6_line_1 |  | 0 | 2 | 0.013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6265-3_0_6_line_2 |  | 1 | 3 | 0.076279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6265-3_0_6_line_3 |  | 3 | 4 | 0.018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6265-3_0_6_line_4 |  | 4 | 5 | 0.028056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6265-3_0_6_line_5 |  | 4 | 6 | 0.059251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6265-3_0_6_line_6 |  | 5 | 11 | 0.0087283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6265-3_0_6_line_7 |  | 6 | 34 | 0.062838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-3_0_6_line_8 |  | 6 | 29 | 0.07622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6265-3_0_6_line_9 |  | 7 | 8 | 0.021176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6265-3_0_6_line_10 |  | 7 | 9 | 0.059678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6265-3_0_6_line_11 |  | 7 | 10 | 0.062576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6265-3_0_6_line_12 |  | 9 | 14 | 0.089334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6265-3_0_6_line_13 |  | 9 | 15 | 0.0091332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6265-3_0_6_line_14 |  | 10 | 19 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_6265-3_0_6_line_15 |  | 11 | 12 | 0.017166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6265-3_0_6_line_16 |  | 12 | 13 | 0.034352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6265-3_0_6_line_17 |  | 13 | 98 | 0.031528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6265-3_0_6_line_18 |  | 14 | 92 | 0.013746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6265-3_0_6_line_19 |  | 15 | 102 | 0.026728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_6265-3_0_6_line_20 |  | 16 | 17 | 0.0094135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6265-3_0_6_line_21 |  | 16 | 18 | 0.22431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6265-3_0_6_line_22 |  | 17 | 19 | 0.012319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6265-3_0_6_line_23 |  | 18 | 97 | 0.018599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6265-3_0_6_line_24 |  | 18 | 96 | 0.065584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6265-3_0_6_line_25 |  | 20 | 21 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6265-3_0_6_line_26 |  | 21 | 22 | 0.0033299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6265-3_0_6_line_27 |  | 22 | 23 | 0.023976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6265-3_0_6_line_28 |  | 23 | 24 | 0.005269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6265-3_0_6_line_29 |  | 24 | 97 | 0.0010378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6265-3_0_6_line_30 |  | 25 | 26 | 0.010014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6265-3_0_6_line_31 |  | 25 | 27 | 0.036273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6265-3_0_6_line_32 |  | 26 | 28 | 0.036155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6265-3_0_6_line_33 |  | 27 | 29 | 0.053665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6265-3_0_6_line_34 |  | 28 | 30 | 0.0077884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_6265-3_0_6_line_35 |  | 29 | 31 | 0.018297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6265-3_0_6_line_36 |  | 30 | 32 | 0.003952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6265-3_0_6_line_37 |  | 31 | 33 | 0.039156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6265-3_0_6_line_38 |  | 32 | 35 | 0.011101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6265-3_0_6_line_39 |  | 33 | 52 | 0.006658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6265-3_0_6_line_40 |  | 35 | 48 | 0.022138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_6265-3_0_6_line_41 |  | 36 | 37 | 0.018766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6265-3_0_6_line_42 |  | 36 | 38 | 0.016581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6265-3_0_6_line_43 |  | 37 | 39 | 0.0017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6265-3_0_6_line_44 |  | 38 | 40 | 0.0049429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6265-3_0_6_line_45 |  | 38 | 41 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6265-3_0_6_line_46 |  | 39 | 42 | 0.012736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6265-3_0_6_line_47 |  | 40 | 43 | 0.00031809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6265-3_0_6_line_48 |  | 41 | 44 | 0.0085268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6265-3_0_6_line_49 |  | 42 | 45 | 0.0077801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6265-3_0_6_line_50 |  | 43 | 46 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6265-3_0_6_line_51 |  | 44 | 47 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6265-3_0_6_line_52 |  | 45 | 48 | 0.013032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6265-3_0_6_line_53 |  | 46 | 49 | 0.0097561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6265-3_0_6_line_54 |  | 47 | 59 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6265-3_0_6_line_55 |  | 47 | 56 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_6265-3_0_6_line_56 |  | 49 | 50 | 0.029397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6265-3_0_6_line_57 |  | 50 | 51 | 0.020333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6265-3_0_6_line_58 |  | 52 | 53 | 0.0057997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6265-3_0_6_line_59 |  | 54 | 55 | 0.081945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6265-3_0_6_line_60 |  | 55 | 99 | 0.022936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6265-3_0_6_line_61 |  | 55 | 100 | 0.044423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6265-3_0_6_line_62 |  | 55 | 101 | 0.017983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6265-3_0_6_line_63 |  | 56 | 57 | 0.023417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_6265-3_0_6_line_64 |  | 57 | 58 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6265-3_0_6_line_65 |  | 58 | 62 | 0.012775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6265-3_0_6_line_66 |  | 59 | 67 | 0.0030095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6265-3_0_6_line_67 |  | 60 | 61 | 0.0047716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6265-3_0_6_line_68 |  | 61 | 63 | 0.0076602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6265-3_0_6_line_69 |  | 62 | 68 | 0.034686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6265-3_0_6_line_70 |  | 62 | 69 | 0.036612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6265-3_0_6_line_71 |  | 63 | 64 | 0.0062495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6265-3_0_6_line_72 |  | 64 | 65 | 0.007986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6265-3_0_6_line_73 |  | 65 | 66 | 0.028739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6265-3_0_6_line_74 |  | 66 | 74 | 0.0076222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6265-3_0_6_line_75 |  | 68 | 70 | 0.0060615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_6265-3_0_6_line_76 |  | 69 | 74 | 0.024883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6265-3_0_6_line_77 |  | 70 | 71 | 0.017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_6265-3_0_6_line_78 |  | 71 | 72 | 0.022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_6265-3_0_6_line_79 |  | 72 | 73 | 0.015522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_6265-3_0_6_line_80 |  | 73 | 78 | 0.036059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_6265-3_0_6_line_81 |  | 73 | 75 | 0.032893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_6265-3_0_6_line_82 |  | 75 | 76 | 0.003621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6265-3_0_6_line_83 |  | 75 | 77 | 0.003745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_6265-3_0_6_line_84 |  | 77 | 85 | 0.014397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6265-3_0_6_line_85 |  | 77 | 83 | 0.011526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6265-3_0_6_line_86 |  | 78 | 79 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6265-3_0_6_line_87 |  | 79 | 80 | 0.027609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6265-3_0_6_line_88 |  | 81 | 82 | 0.038898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_6265-3_0_6_line_89 |  | 81 | 83 | 0.0029982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_6265-3_0_6_line_90 |  | 82 | 84 | 0.01243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6265-3_0_6_line_91 |  | 85 | 88 | 0.0098509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6265-3_0_6_line_92 |  | 86 | 87 | 0.013807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6265-3_0_6_line_93 |  | 87 | 88 | 0.0058114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6265-3_0_6_line_94 |  | 89 | 90 | 0.011375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6265-3_0_6_line_95 |  | 89 | 91 | 0.010616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6265-3_0_6_line_96 |  | 90 | 92 | 0.0053708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6265-3_0_6_line_97 |  | 91 | 93 | 0.030454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6265-3_0_6_line_98 |  | 93 | 94 | 0.032561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6265-3_0_6_line_99 |  | 95 | 96 | 0.01759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6265-3_0_6_line_100 |  | 98 | 103 | 0.043284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_6265-3_0_6_line_101 |  | 100 | 105 | 0.028516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6265-3_0_6_line_102 |  | 101 | 104 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_6265-3_0_6_line_103 |  | 101 | 103 | 0.0093115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_6265-3_0_6_line_104 |  | 102 | 104 | 0.073323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_6265-3_0_6_line_105 |  | 105 | 106 | 0.0026048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6265-3_0_6_line_106 |  | 106 | 107 | 0.04028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6265-3_0_6_line_107 |  | 107 | 108 | 0.0031721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6265-3_0_6_line_108 |  | 108 | 109 | 0.031003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6265-3_0_6_line_109 |  | 108 | 110 | 0.030301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-3_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 111 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2592987.7914 | 1122588.3279 | 2592987.4422 | 1122588.0651
1 | 2592987.7914 | 1122588.3279 | 2592998.5905 | 1122596.4571
2 | 2592987.4422 | 1122588.0651 | 2593031.5123 | 1122525.8052
3 | 2593037.9688 | 1122508.0097 | 2593031.5123 | 1122525.8052
4 | 2593037.9688 | 1122508.0097 | 2593047.7541 | 1122520.8157 | 2593055.9895 | 1122529.4596
5 | 2593037.9688 | 1122508.0097 | 2593068.945 | 1122457.5003
6 | 2593055.9895 | 1122529.4596 | 2593059.6983 | 1122533.3524 | 2593062.6795 | 1122534.884
7 | 2593068.945 | 1122457.5003 | 2593091.8591 | 1122470.1954 | 2593118.9525 | 1122486.1498 | 2593123.6951 | 1122488.2824
8 | 2593119.2091 | 1122400.2024 | 2593068.945 | 1122457.5003
9 | 2593062.2252 | 1122644.3593 | 2593072.4951 | 1122642.9912 | 2593083.31 | 1122643.0301
10 | 2593112.0396 | 1122677.4179 | 2593066.1382 | 1122647.3006 | 2593062.2252 | 1122644.3593
11 | 2593062.2252 | 1122644.3593 | 2593042.1238 | 1122703.6191
12 | 2593112.0396 | 1122677.4179 | 2593143.5559 | 1122698.0918 | 2593183.7064 | 1122723.614 | 2593187.1902 | 1122725.7118
13 | 2593112.0396 | 1122677.4179 | 2593121.1278 | 1122676.5132
14 | 2593028.4657 | 1122701.8752 | 2593034.5646 | 1122703.7093 | 2593042.1238 | 1122703.6191
15 | 2593062.6795 | 1122534.884 | 2593077.9486 | 1122542.7286
16 | 2593077.9486 | 1122542.7286 | 2593078.9343 | 1122543.2349 | 2593109.4418 | 1122556.4426
17 | 2593109.4418 | 1122556.4426 | 2593138.3744 | 1122568.9685
18 | 2593187.1902 | 1122725.7118 | 2593198.966 | 1122732.8028
19 | 2593135.3497 | 1122656.4698 | 2593128.3682 | 1122674.1976 | 2593123.4509 | 1122676.282 | 2593121.1278 | 1122676.5132
20 | 2593016.6683 | 1122698.3275 | 2593023.5601 | 1122704.7397
21 | 2593023.5601 | 1122704.7397 | 2592959.6654 | 1122919.7581
22 | 2593016.6683 | 1122698.3275 | 2593028.4657 | 1122701.8752
23 | 2592959.6654 | 1122919.7581 | 2592974.899 | 1122930.4291
24 | 2592959.6654 | 1122919.7581 | 2592948.4804 | 1122922.7949 | 2592937.5424 | 1122919.4951 | 2592929.4613 | 1122912.8681 | 2592914.7267 | 1122907.2049 | 2592898.4095 | 1122906.5017 | 2592898.4095 | 1122906.5017
25 | 2593018.0563 | 1122961.0579 | 2593002.3176 | 1122949.8712
26 | 2592999.6035 | 1122947.9421 | 2593002.3176 | 1122949.8712
27 | 2592980.0614 | 1122934.052 | 2592999.6035 | 1122947.9421
28 | 2592980.0614 | 1122934.052 | 2592979.4216 | 1122933.5972 | 2592975.749 | 1122931.0245
29 | 2592974.899 | 1122930.4291 | 2592975.749 | 1122931.0245
30 | 2593102.0589 | 1122376.3015 | 2593104.0538 | 1122372.3113 | 2593109.5791 | 1122372.8635
31 | 2593070.8839 | 1122377.0186 | 2593080.0315 | 1122378.4865 | 2593098.5373 | 1122383.3453 | 2593102.0589 | 1122376.3015
32 | 2593109.5791 | 1122372.8635 | 2593110.432 | 1122372.9487 | 2593119.1595 | 1122377.8077 | 2593125.3356 | 1122383.7368 | 2593129.7996 | 1122382.8869 | 2593126.2407 | 1122371.2142
33 | 2593070.8839 | 1122377.0186 | 2593077.9066 | 1122381.457 | 2593117.9122 | 1122399.642 | 2593119.2091 | 1122400.2024
34 | 2593123.9692 | 1122363.7644 | 2593126.2407 | 1122371.2142
35 | 2593136.0052 | 1122407.4589 | 2593119.2091 | 1122400.2024
36 | 2593122.8166 | 1122359.9841 | 2593123.9692 | 1122363.7644
37 | 2593173.1754 | 1122419.4527 | 2593148.7584 | 1122412.9687 | 2593136.0052 | 1122407.4589
38 | 2593122.8166 | 1122359.9841 | 2593122.7555 | 1122359.7836 | 2593118.8912 | 1122349.6006
39 | 2593173.1754 | 1122419.4527 | 2593179.6103 | 1122421.1614
40 | 2593110.2091 | 1122329.2393 | 2593117.8515 | 1122346.8607 | 2593118.8912 | 1122349.6006
41 | 2593126.9398 | 1122320.1481 | 2593144.7409 | 1122326.0887
42 | 2593160.1485 | 1122332.194 | 2593148.4521 | 1122327.3272 | 2593144.7409 | 1122326.0887
43 | 2593126.9398 | 1122320.1481 | 2593125.317 | 1122319.6065
44 | 2593160.1485 | 1122332.194 | 2593164.3544 | 1122334.7907
45 | 2593160.1485 | 1122332.194 | 2593153.2213 | 1122319.7178
46 | 2593112.7761 | 1122317.762 | 2593122.4923 | 1122318.6638 | 2593125.317 | 1122319.6065
47 | 2593164.6251 | 1122334.9578 | 2593164.3544 | 1122334.7907
48 | 2593147.7102 | 1122313.2136 | 2593153.1783 | 1122319.6403 | 2593153.2213 | 1122319.7178
49 | 2593105.0238 | 1122317.2833 | 2593106.7588 | 1122317.2035 | 2593112.7761 | 1122317.762
50 | 2593164.6251 | 1122334.9578 | 2593178.9594 | 1122343.8079
51 | 2593137.2653 | 1122302.9726 | 2593144.3905 | 1122309.3119 | 2593147.7102 | 1122313.2136
52 | 2593105.0238 | 1122317.2833 | 2593110.2091 | 1122329.2393
53 | 2593178.9594 | 1122343.8079 | 2593187.2608 | 1122348.9333
54 | 2593137.2653 | 1122302.9726 | 2593130.1247 | 1122296.611 | 2593127.585 | 1122294.8931
55 | 2593137.2653 | 1122302.9726 | 2593147.889 | 1122303.0232
56 | 2593208.9516 | 1122368.7447 | 2593188.2388 | 1122349.5371 | 2593187.2608 | 1122348.9333
57 | 2593208.9516 | 1122368.7447 | 2593216.5549 | 1122375.7956 | 2593224.0817 | 1122382.324
58 | 2593185.2157 | 1122422.65 | 2593179.6103 | 1122421.1614
59 | 2593203.6566 | 1122595.9067 | 2593232.9888 | 1122519.3916
60 | 2593203.6566 | 1122595.9067 | 2593210.8837 | 1122617.6758
61 | 2593203.6566 | 1122595.9067 | 2593229.4476 | 1122606.4826 | 2593245.115 | 1122611.8085
62 | 2593186.9769 | 1122589.0667 | 2593203.6566 | 1122595.9067
63 | 2593147.889 | 1122303.0232 | 2593163.6087 | 1122303.098 | 2593171.1426 | 1122304.6747
64 | 2593171.1426 | 1122304.6747 | 2593177.6088 | 1122306.0279 | 2593181.8821 | 1122304.0268
65 | 2593194.3081 | 1122302.3293 | 2593185.2239 | 1122302.462 | 2593181.8821 | 1122304.0268
66 | 2593125.0921 | 1122293.2069 | 2593127.585 | 1122294.8931
67 | 2593162.6914 | 1122256.2095 | 2593163.4243 | 1122251.4945
68 | 2593163.4243 | 1122251.4945 | 2593164.6007 | 1122243.9252
69 | 2593194.3081 | 1122302.3293 | 2593228.03 | 1122294.2093
70 | 2593194.3081 | 1122302.3293 | 2593194.8834 | 1122265.7219
71 | 2593164.6007 | 1122243.9252 | 2593165.5606 | 1122237.7499
72 | 2593166.7871 | 1122229.8586 | 2593165.5606 | 1122237.7499
73 | 2593166.7871 | 1122229.8586 | 2593193.6359 | 1122240.1079
74 | 2593193.6359 | 1122240.1079 | 2593200.7569 | 1122242.8262
75 | 2593228.03 | 1122294.2093 | 2593230.4042 | 1122288.6322
76 | 2593194.8834 | 1122265.7219 | 2593202.5998 | 1122249.4385 | 2593200.7569 | 1122242.8262
77 | 2593230.4042 | 1122288.6322 | 2593237.2999 | 1122272.4339
78 | 2593245.9548 | 1122252.1032 | 2593237.2999 | 1122272.4339
79 | 2593252.0346 | 1122237.8213 | 2593245.9548 | 1122252.1032
80 | 2593252.0346 | 1122237.8213 | 2593283.6495 | 1122255.3277
81 | 2593252.0346 | 1122237.8213 | 2593234.0394 | 1122227.8145 | 2593228.3067 | 1122225.2976 | 2593222.4822 | 1122223.4255
82 | 2593221.3756 | 1122226.8728 | 2593222.4822 | 1122223.4255
83 | 2593223.6503 | 1122219.8668 | 2593222.4822 | 1122223.4255
84 | 2593223.6503 | 1122219.8668 | 2593217.9266 | 1122218.4615 | 2593211.9415 | 1122217.8458 | 2593209.4624 | 1122217.6521
85 | 2593223.6503 | 1122219.8668 | 2593229.2435 | 1122221.7503 | 2593234.436 | 1122223.9122
86 | 2593283.6495 | 1122255.3277 | 2593278.2277 | 1122270.5127
87 | 2593269.7918 | 1122296.7968 | 2593275.9543 | 1122276.8802 | 2593278.2277 | 1122270.5127
88 | 2593237.1223 | 1122225.2437 | 2593239.1351 | 1122226.2413 | 2593245.0461 | 1122229.4918 | 2593256.2736 | 1122235.6155 | 2593271.207 | 1122243.9806
89 | 2593237.1223 | 1122225.2437 | 2593234.436 | 1122223.9122
90 | 2593282.0931 | 1122249.9784 | 2593278.4359 | 1122248.0299 | 2593271.207 | 1122243.9806
91 | 2593199.6251 | 1122217.2706 | 2593205.0697 | 1122217.3089 | 2593209.4624 | 1122217.6521
92 | 2593180.1384 | 1122219.4675 | 2593186.7247 | 1122218.5859 | 2593192.6696 | 1122217.7788 | 2593193.8291 | 1122217.694
93 | 2593199.6251 | 1122217.2706 | 2593199.6251 | 1122217.2706 | 2593193.8291 | 1122217.694
94 | 2593213.3288 | 1122741.4133 | 2593203.5714 | 1122735.5661
95 | 2593222.4351 | 1122746.8703 | 2593213.3288 | 1122741.4133
96 | 2593198.966 | 1122732.8028 | 2593200.1425 | 1122733.5113 | 2593203.5714 | 1122735.5661
97 | 2593246.8763 | 1122730.379 | 2593244.1079 | 1122730.3488 | 2593232.5321 | 1122735.9202 | 2593222.4351 | 1122746.8703
98 | 2593246.8763 | 1122730.379 | 2593254.8501 | 1122724.0114 | 2593270.188 | 1122717.502 | 2593273.7455 | 1122712.9736
99 | 2592881.7106 | 1122900.9754 | 2592898.4095 | 1122906.5017
100 | 2593138.3744 | 1122568.9685 | 2593145.9024 | 1122572.2276 | 2593178.3614 | 1122585.5347
101 | 2593245.115 | 1122611.8085 | 2593254.6424 | 1122615.0472 | 2593273.0558 | 1122613.8409
102 | 2593186.9769 | 1122589.0667 | 2593187.9054 | 1122605.3403
103 | 2593186.9769 | 1122589.0667 | 2593178.3614 | 1122585.5347
104 | 2593135.3497 | 1122656.4698 | 2593187.9054 | 1122605.3403
105 | 2593275.655 | 1122613.6707 | 2593273.0558 | 1122613.8409
106 | 2593275.655 | 1122613.6707 | 2593295.733 | 1122612.3553 | 2593310.3173 | 1122614.3177 | 2593315.0804 | 1122616.9533
107 | 2593317.8559 | 1122618.4891 | 2593315.0804 | 1122616.9533
108 | 2593317.8559 | 1122618.4891 | 2593321.184 | 1122629.4241 | 2593333.1153 | 1122644.9628
109 | 2593317.8559 | 1122618.4891 | 2593328.2186 | 1122624.2137 | 2593345.1309 | 1122631.6194

## bus_geodata
| x | y | coords
0 | 2592987.7913 | 1122588.3279
1 | 2592987.4422 | 1122588.0651
2 | 2592998.5905 | 1122596.4571
3 | 2593031.5123 | 1122525.8052
4 | 2593037.9688 | 1122508.0097
5 | 2593055.9895 | 1122529.4596
6 | 2593068.945 | 1122457.5003
7 | 2593062.2252 | 1122644.3593
8 | 2593083.31 | 1122643.0301
9 | 2593112.0396 | 1122677.4179
10 | 2593042.1238 | 1122703.6191
11 | 2593062.6795 | 1122534.884
12 | 2593077.9486 | 1122542.7286
13 | 2593109.4418 | 1122556.4426
14 | 2593187.1902 | 1122725.7118
15 | 2593121.1278 | 1122676.5132
16 | 2593023.5601 | 1122704.7397
17 | 2593016.6683 | 1122698.3275
18 | 2592959.6654 | 1122919.7581
19 | 2593028.4657 | 1122701.8752
20 | 2593018.0563 | 1122961.0579
21 | 2593002.3176 | 1122949.8712
22 | 2592999.6035 | 1122947.9421
23 | 2592980.0614 | 1122934.052
24 | 2592975.749 | 1122931.0245
25 | 2593102.0589 | 1122376.3015
26 | 2593109.5791 | 1122372.8635
27 | 2593070.8839 | 1122377.0186
28 | 2593126.2407 | 1122371.2142
29 | 2593119.2091 | 1122400.2024
30 | 2593123.9692 | 1122363.7644
31 | 2593136.0052 | 1122407.4589
32 | 2593122.8166 | 1122359.9841
33 | 2593173.1754 | 1122419.4527
34 | 2593123.6951 | 1122488.2824
35 | 2593118.8912 | 1122349.6006
36 | 2593144.7409 | 1122326.0887
37 | 2593126.9398 | 1122320.1481
38 | 2593160.1485 | 1122332.194
39 | 2593125.317 | 1122319.6065
40 | 2593164.3544 | 1122334.7907
41 | 2593153.2213 | 1122319.7178
42 | 2593112.7761 | 1122317.762
43 | 2593164.6251 | 1122334.9578
44 | 2593147.7102 | 1122313.2136
45 | 2593105.0238 | 1122317.2833
46 | 2593178.9594 | 1122343.8079
47 | 2593137.2653 | 1122302.9726
48 | 2593110.2091 | 1122329.2393
49 | 2593187.2608 | 1122348.9333
50 | 2593208.9516 | 1122368.7447
51 | 2593224.0817 | 1122382.324
52 | 2593179.6103 | 1122421.1614
53 | 2593185.2157 | 1122422.65
54 | 2593232.9888 | 1122519.3916
55 | 2593203.6566 | 1122595.9067
56 | 2593147.889 | 1122303.0232
57 | 2593171.1426 | 1122304.6747
58 | 2593181.8821 | 1122304.0268
59 | 2593127.585 | 1122294.8931
60 | 2593162.6914 | 1122256.2095
61 | 2593163.4243 | 1122251.4945
62 | 2593194.3081 | 1122302.3293
63 | 2593164.6007 | 1122243.9252
64 | 2593165.5606 | 1122237.7499
65 | 2593166.7871 | 1122229.8586
66 | 2593193.6359 | 1122240.1079
67 | 2593125.0921 | 1122293.2069
68 | 2593228.03 | 1122294.2093
69 | 2593194.8834 | 1122265.7219
70 | 2593230.4042 | 1122288.6322
71 | 2593237.2999 | 1122272.4339
72 | 2593245.9548 | 1122252.1032
73 | 2593252.0346 | 1122237.8213
74 | 2593200.7569 | 1122242.8262
75 | 2593222.4822 | 1122223.4255
76 | 2593221.3756 | 1122226.8728
77 | 2593223.6503 | 1122219.8668
78 | 2593283.6495 | 1122255.3277
79 | 2593278.2277 | 1122270.5127
80 | 2593269.7918 | 1122296.7968
81 | 2593237.1223 | 1122225.2437
82 | 2593271.207 | 1122243.9806
83 | 2593234.436 | 1122223.9122
84 | 2593282.0931 | 1122249.9784
85 | 2593209.4624 | 1122217.6521
86 | 2593180.1384 | 1122219.4675
87 | 2593193.8291 | 1122217.694
88 | 2593199.6251 | 1122217.2706
89 | 2593213.3288 | 1122741.4133
90 | 2593203.5714 | 1122735.5661
91 | 2593222.4351 | 1122746.8703
92 | 2593198.966 | 1122732.8028
93 | 2593246.8763 | 1122730.379
94 | 2593273.7455 | 1122712.9736
95 | 2592881.7106 | 1122900.9754
96 | 2592898.4095 | 1122906.5017
97 | 2592974.899 | 1122930.4291
98 | 2593138.3744 | 1122568.9685
99 | 2593210.8837 | 1122617.6758
100 | 2593245.115 | 1122611.8085
101 | 2593186.9769 | 1122589.0667
102 | 2593135.3497 | 1122656.4698
103 | 2593178.3614 | 1122585.5347
104 | 2593187.9054 | 1122605.3403
105 | 2593273.0558 | 1122613.8409
106 | 2593275.655 | 1122613.6707
107 | 2593315.0804 | 1122616.9533
108 | 2593317.8559 | 1122618.4891
109 | 2593333.1153 | 1122644.9628
110 | 2593345.1309 | 1122631.6194
111 | 2593187.6904 | 1122423.3071

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1