## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6265-5_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6265-5_0_5_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_6265-5_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6265-5_0_5_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_6265-5_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6265-5_0_5_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_6265-5_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6265-5_0_5_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_6265-5_0_5_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6265-5_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_6265-5_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6265-5_0_5_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_6265-5_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6265-5_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_6265-5_0_5_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_6265-5_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6265-5_0_5_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_6265-5_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_6265-5_0_5_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_6265-5_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6265-5_0_5_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_6265-5_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_6265-5_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_6265-5_0_5_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_6265-5_0_5_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_6265-5_0_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6265-5_0_5_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_6265-5_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_6265-5_0_5_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_6265-5_0_5_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_6265-5_0_5_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_6265-5_0_5_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_6265-5_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6265-5_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_6265-5_0_5_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_6265-5_0_5_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_6265-5_0_5_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_6265-5_0_5_node_16 | 0.4 | n |  | TRUE
41 | bus_LV_6265-5_0_5_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_6265-5_0_5_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_6265-5_0_5_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_6265-5_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_6265-5_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6265-5_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6265-5_0_5_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_6265-5_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_6265-5_0_5_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_6265-5_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_6265-5_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_6265-5_0_5_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_6265-5_0_5_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_6265-5_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6265-5_0_5_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_6265-5_0_5_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_6265-5_0_5_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_6265-5_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6265-5_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6265-5_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6265-5_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_6265-5_0_5_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_6265-5_0_5_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6265-5_0_5_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_6265-5_0_5_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_6265-5_0_5_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_6265-5_0_5_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_6265-5_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_6265-5_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6265-5_0_5_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6265-5_0_5_node_67 | 0.4 | n |  | TRUE
72 | bus_MV_267_1_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-5_0_5_load_0 | 0 | 0.01242 | 0.0031127 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-5_0_5_load_32 | 6 | 0.02137 | 0.0053559 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-5_0_5_load_30 | 8 | 0.0061056 | 0.0015302 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-5_0_5_load_42 | 10 | 0.010644 | 0.0026675 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-5_0_5_load_17 | 11 | 0.0045738 | 0.0011463 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-5_0_5_load_14 | 12 | 0.033879 | 0.0084909 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-5_0_5_load_21 | 14 | 0.002377 | 0.00059573 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-5_0_5_load_33 | 17 | 0.0077333 | 0.0019382 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-5_0_5_load_22 | 19 | 0.01139 | 0.0028546 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-5_0_5_load_34 | 20 | 0.002674 | 0.00067018 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-5_0_5_load_72 | 23 | 0.0031095 | 0.00077932 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-5_0_5_load_71 | 27 | 0.0025631 | 0.00064236 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-5_0_5_load_31 | 28 | 0.014702 | 0.0036848 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-5_0_5_load_43 | 29 | 0.0048344 | 0.0012116 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-5_0_5_load_15 | 30 | 0.005919 | 0.0014834 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-5_0_5_load_48 | 32 | 0.0087271 | 0.0021872 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-5_0_5_load_45 | 33 | 0.049814 | 0.012485 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-5_0_5_load_68 | 34 | 0.0022965 | 0.00057557 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-5_0_5_load_23 | 36 | 0.001045 | 0.00026191 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-5_0_5_load_73 | 37 | 0.0059356 | 0.0014876 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-5_0_5_load_16 | 40 | 0.0084291 | 0.0021125 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-5_0_5_load_18 | 41 | 0.034206 | 0.0085728 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-5_0_5_load_19 | 42 | 0.025753 | 0.0064542 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-5_0_5_load_20 | 43 | 0.032121 | 0.0080502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-5_0_5_load_24 | 44 | 0.0029348 | 0.00073554 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-5_0_5_load_26 | 45 | 0.0023775 | 0.00059587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-5_0_5_load_28 | 46 | 0.0019002 | 0.00047623 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-5_0_5_load_58 | 47 | 0.061634 | 0.015447 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-5_0_5_load_29 | 48 | 0.0046674 | 0.0011698 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-5_0_5_load_59 | 49 | 0.0027237 | 0.00068262 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-5_0_5_load_38 | 50 | 0.0067208 | 0.0016844 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-5_0_5_load_36 | 51 | 0.0094387 | 0.0023656 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-5_0_5_load_56 | 52 | 0.017198 | 0.0043101 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-5_0_5_load_50 | 53 | 0.0060121 | 0.0015068 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-5_0_5_load_37 | 54 | 0.0049009 | 0.0012283 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-5_0_5_load_39 | 55 | 0.0024022 | 0.00060205 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-5_0_5_load_40 | 56 | 0.0069882 | 0.0017514 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-5_0_5_load_41 | 57 | 0.015682 | 0.0039303 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-5_0_5_load_44 | 58 | 0.042021 | 0.010531 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-5_0_5_load_49 | 59 | 0.012864 | 0.003224 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-5_0_5_load_53 | 61 | 0.0058084 | 0.0014557 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-5_0_5_load_54 | 62 | 0.0071182 | 0.001784 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-5_0_5_load_55 | 63 | 0.008146 | 0.0020416 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-5_0_5_load_60 | 64 | 0.008413 | 0.0021085 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-5_0_5_load_62 | 65 | 0.0069897 | 0.0017518 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-5_0_5_load_63 | 66 | 0.0091155 | 0.0022846 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-5_0_5_load_69 | 67 | 0.029965 | 0.0075101 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6265-5_0_5_load_64 | 68 | 0.0063969 | 0.0016032 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6265-5_0_5_load_65 | 69 | 0.0022478 | 0.00056336 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6265-5_0_5_load_67 | 71 | 0.0036866 | 0.00092396 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-5_0_5_line_0 |  | 0 | 1 | 0.066037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6265-5_0_5_line_1 |  | 0 | 2 | 0.068157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6265-5_0_5_line_2 |  | 1 | 3 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6265-5_0_5_line_3 |  | 2 | 4 | 0.011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6265-5_0_5_line_4 |  | 3 | 11 | 0.047002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6265-5_0_5_line_5 |  | 3 | 12 | 0.017417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6265-5_0_5_line_6 |  | 4 | 27 | 0.014201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6265-5_0_5_line_7 |  | 5 | 6 | 0.020416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-5_0_5_line_8 |  | 5 | 7 | 0.030992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6265-5_0_5_line_9 |  | 5 | 8 | 0.027779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6265-5_0_5_line_10 |  | 6 | 16 | 0.0067434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6265-5_0_5_line_11 |  | 7 | 9 | 0.13975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6265-5_0_5_line_12 |  | 7 | 10 | 0.027892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6265-5_0_5_line_13 |  | 8 | 28 | 0.024915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6265-5_0_5_line_14 |  | 9 | 21 | 0.069613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6265-5_0_5_line_15 |  | 10 | 29 | 0.046615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6265-5_0_5_line_16 |  | 11 | 18 | 0.016657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6265-5_0_5_line_17 |  | 12 | 30 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6265-5_0_5_line_18 |  | 13 | 14 | 0.025962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6265-5_0_5_line_19 |  | 13 | 15 | 0.0082883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6265-5_0_5_line_20 |  | 15 | 20 | 0.027338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6265-5_0_5_line_21 |  | 15 | 17 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6265-5_0_5_line_22 |  | 16 | 17 | 0.034188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6265-5_0_5_line_23 |  | 16 | 18 | 0.0077961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6265-5_0_5_line_24 |  | 18 | 19 | 0.0046046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6265-5_0_5_line_25 |  | 20 | 24 | 0.0096582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6265-5_0_5_line_26 |  | 21 | 34 | 0.044677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6265-5_0_5_line_27 |  | 22 | 23 | 0.019541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6265-5_0_5_line_28 |  | 22 | 24 | 0.039269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6265-5_0_5_line_29 |  | 22 | 25 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6265-5_0_5_line_30 |  | 24 | 26 | 0.18054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6265-5_0_5_line_31 |  | 25 | 35 | 0.00966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6265-5_0_5_line_32 |  | 25 | 36 | 0.0085308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6265-5_0_5_line_33 |  | 26 | 37 | 0.081436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6265-5_0_5_line_34 |  | 26 | 38 | 0.19058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6265-5_0_5_line_35 |  | 27 | 39 | 0.085281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6265-5_0_5_line_36 |  | 29 | 58 | 0.013755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6265-5_0_5_line_37 |  | 30 | 40 | 0.02908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6265-5_0_5_line_38 |  | 31 | 32 | 0.018635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6265-5_0_5_line_39 |  | 31 | 33 | 0.032627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6265-5_0_5_line_40 |  | 32 | 34 | 0.022168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6265-5_0_5_line_41 |  | 35 | 47 | 0.060565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6265-5_0_5_line_42 |  | 36 | 44 | 0.063747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6265-5_0_5_line_43 |  | 38 | 52 | 0.020047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6265-5_0_5_line_44 |  | 38 | 53 | 0.024199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6265-5_0_5_line_45 |  | 39 | 67 | 0.056731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6265-5_0_5_line_46 |  | 40 | 41 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6265-5_0_5_line_47 |  | 41 | 42 | 0.025056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6265-5_0_5_line_48 |  | 42 | 43 | 0.022799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6265-5_0_5_line_49 |  | 44 | 45 | 0.028451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6265-5_0_5_line_50 |  | 45 | 46 | 0.017202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6265-5_0_5_line_51 |  | 46 | 48 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6265-5_0_5_line_52 |  | 47 | 49 | 0.031803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6265-5_0_5_line_53 |  | 48 | 50 | 0.015177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6265-5_0_5_line_54 |  | 49 | 64 | 0.015392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6265-5_0_5_line_55 |  | 50 | 51 | 0.0060739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6265-5_0_5_line_56 |  | 51 | 54 | 0.0069608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6265-5_0_5_line_57 |  | 53 | 59 | 0.00079381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6265-5_0_5_line_58 |  | 54 | 55 | 0.022284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6265-5_0_5_line_59 |  | 55 | 56 | 0.032771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6265-5_0_5_line_60 |  | 56 | 57 | 0.01296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6265-5_0_5_line_61 |  | 59 | 60 | 0.014354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6265-5_0_5_line_62 |  | 60 | 61 | 0.013401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6265-5_0_5_line_63 |  | 60 | 62 | 0.029525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6265-5_0_5_line_64 |  | 60 | 63 | 0.025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6265-5_0_5_line_65 |  | 64 | 65 | 0.0085785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6265-5_0_5_line_66 |  | 65 | 66 | 0.032344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6265-5_0_5_line_67 |  | 66 | 68 | 0.031891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6265-5_0_5_line_68 |  | 68 | 69 | 0.0083812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6265-5_0_5_line_69 |  | 69 | 70 | 0.033359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6265-5_0_5_line_70 |  | 70 | 71 | 0.048259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-5_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 72 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2593376.921 | 1122065.1752 | 2593395.7075 | 1122065.21 | 2593424.35 | 1122065.2229 | 2593431.4449 | 1122065.1262 | 2593441.5486 | 1122065.9822 | 2593442.8897 | 1122066.2735
1 | 2593481.9335 | 1122027.9194 | 2593476.2962 | 1122049.3249 | 2593470.5886 | 1122062.8489 | 2593468.9956 | 1122065.9299 | 2593465.5442 | 1122069.1797 | 2593461.9128 | 1122070.0508 | 2593454.6853 | 1122068.8359 | 2593442.8897 | 1122066.2735
2 | 2593370.4357 | 1122058.5903 | 2593370.4429 | 1122065.1601 | 2593376.921 | 1122065.1752
3 | 2593484.4738 | 1122016.5444 | 2593483.5463 | 1122021.7813 | 2593481.9335 | 1122027.9194
4 | 2593370.4357 | 1122058.5903 | 2593364.2736 | 1122058.4748 | 2593358.7975 | 1122057.9139 | 2593348.7308 | 1122055.6907 | 2593336.3259 | 1122052.1583 | 2593329.9769 | 1122050.3645 | 2593324.8442 | 1122048.3079
5 | 2593370.4357 | 1122058.5903 | 2593370.3811 | 1122041.173
6 | 2593484.4738 | 1122016.5444 | 2593486.9428 | 1122002.56
7 | 2593327.405 | 1122060.728 | 2593319.5953 | 1122056.1345 | 2593316.6932 | 1122054.0033 | 2593314.5091 | 1122052.594 | 2593310.4576 | 1122050.1973 | 2593310.0608 | 1122049.9876
8 | 2593346.2261 | 1122084.9745 | 2593343.3988 | 1122080.7311 | 2593339.5129 | 1122074.6324 | 2593336.5543 | 1122070.2225 | 2593333.9824 | 1122066.7903 | 2593331.7348 | 1122063.7469 | 2593330.0982 | 1122062.2702 | 2593327.405 | 1122060.728
9 | 2593327.405 | 1122060.728 | 2593326.3586 | 1122062.9525 | 2593312.7308 | 1122084.2934
10 | 2593304.0991 | 1122046.8361 | 2593310.0608 | 1122049.9876
11 | 2593346.2261 | 1122084.9745 | 2593351.9804 | 1122092.9275 | 2593359.7814 | 1122103.6797 | 2593360.3286 | 1122103.3011 | 2593362.3783 | 1122101.8648 | 2593363.5757 | 1122103.6977 | 2593374.9082 | 1122120.9158 | 2593377.9673 | 1122125.5591 | 2593379.6817 | 1122127.7027 | 2593387.7751 | 1122137.8543 | 2593389.2421 | 1122139.4423 | 2593396.1139 | 1122146.8939 | 2593404.5967 | 1122153.6101 | 2593417.8714 | 1122162.9111 | 2593436.1206 | 1122172.5291 | 2593444.4697 | 1122176.9221
12 | 2593346.2261 | 1122084.9745 | 2593325.0579 | 1122103.1366
13 | 2593299.3214 | 1122105.2923 | 2593312.7308 | 1122084.2934
14 | 2593444.4697 | 1122176.9221 | 2593469.1532 | 1122189.1122 | 2593494.6469 | 1122201.6906 | 2593506.8306 | 1122207.8581
15 | 2593325.0579 | 1122103.1366 | 2593312.0023 | 1122114.3381 | 2593311.0785 | 1122115.8176 | 2593310.7959 | 1122118.2302 | 2593311.917 | 1122120.8302 | 2593318.1643 | 1122128.2491 | 2593319.1008 | 1122131.3051 | 2593322.1802 | 1122140.3061 | 2593322.1802 | 1122140.3061
16 | 2593309.692 | 1122041.405 | 2593320.6258 | 1122046.6176 | 2593324.8442 | 1122048.3079
17 | 2593370.3811 | 1122041.173 | 2593370.3521 | 1122031.9106 | 2593370.5184 | 1122018.9255
18 | 2593270.5533 | 1122020.7832 | 2593266.7021 | 1122018.253 | 2593263.3592 | 1122015.0441 | 2593260.9037 | 1122012.3789 | 2593259.6835 | 1122010.8128 | 2593259.1114 | 1122009.6129 | 2593259.1406 | 1122008.1121 | 2593259.4556 | 1122007.1113 | 2593259.9252 | 1122006.2992 | 2593264.8468 | 1122002.3779
19 | 2593263.7489 | 1122025.5154 | 2593267.1318 | 1122023.1327 | 2593270.5533 | 1122020.7832
20 | 2593263.7489 | 1122025.5154 | 2593258.7872 | 1122023.0532 | 2593256.1483 | 1122021.8 | 2593251.5424 | 1122020.2266 | 2593249.7759 | 1122019.8173 | 2593246.2892 | 1122019.0653 | 2593242.7331 | 1122018.3356 | 2593239.5785 | 1122018.0502 | 2593237.7563 | 1122017.8585
21 | 2593263.7489 | 1122025.5154 | 2593264.4048 | 1122025.8482 | 2593273.8759 | 1122030.856
22 | 2593304.0991 | 1122046.8361 | 2593273.8759 | 1122030.856
23 | 2593304.0991 | 1122046.8361 | 2593306.8801 | 1122044.1095 | 2593309.692 | 1122041.405
24 | 2593309.692 | 1122041.405 | 2593305.5791 | 1122039.3345
25 | 2593230.4341 | 1122013.0358 | 2593234.0949 | 1122017.7784 | 2593236.7556 | 1122017.7532 | 2593237.7563 | 1122017.8585
26 | 2593506.8306 | 1122207.8581 | 2593524.263 | 1122166.7223
27 | 2593246.3187 | 1121990.5291 | 2593248.9093 | 1121989.9481 | 2593251.3854 | 1121990.4456 | 2593253.1909 | 1121991.1994 | 2593254.6958 | 1121992.1538 | 2593255.9158 | 1121993.4086 | 2593259.3534 | 1121998.5405 | 2593261.1604 | 1122000.5839
28 | 2593230.4341 | 1122013.0358 | 2593233.6805 | 1122012.6986 | 2593238.2 | 1122012.9714 | 2593243.5918 | 1122013.8991 | 2593250.1417 | 1122015.9594 | 2593251.8647 | 1122011.9222 | 2593254.6435 | 1122007.3057 | 2593261.1604 | 1122000.5839
29 | 2593269.4801 | 1121992.315 | 2593261.1604 | 1122000.5839
30 | 2593077.5008 | 1122070.6833 | 2593100.5469 | 1122079.6278 | 2593104.7828 | 1122081.3793 | 2593107.3361 | 1122081.9655 | 2593110.5215 | 1122082.2954 | 2593113.1589 | 1122082.1589 | 2593115.3796 | 1122081.8229 | 2593118.394 | 1122080.9857 | 2593122.6569 | 1122079.4022 | 2593123.9174 | 1122082.4022 | 2593129.8374 | 1122079.9165 | 2593139.2184 | 1122076.0483 | 2593147.4798 | 1122070.8807 | 2593162.8812 | 1122057.9012 | 2593179.3744 | 1122041.9079 | 2593185.5527 | 1122035.909 | 2593191.6313 | 1122030.455 | 2593198.735 | 1122024.4773 | 2593206.4107 | 1122019.6552 | 2593212.5543 | 1122017.0914 | 2593222.3531 | 1122014.1566 | 2593230.4341 | 1122013.0358
31 | 2593275.1011 | 1121984.4493 | 2593269.4801 | 1121992.315
32 | 2593269.4801 | 1121992.315 | 2593270.405 | 1121984.9214 | 2593270.661 | 1121983.8725
33 | 2593077.5008 | 1122070.6833 | 2593082.5505 | 1122055.9147 | 2593089.3183 | 1122053.0166 | 2593114.3756 | 1122000.1508
34 | 2593021.9183 | 1121943.2411 | 2593018.0699 | 1121943.2011 | 2593018.0662 | 1121946.6695 | 2593017.8186 | 1121965.8014 | 2593017.1773 | 1121978.0192 | 2593016.0682 | 1121985.8576 | 2593015.7317 | 1121988.2814 | 2593014.0364 | 1121996.0761 | 2593011.3928 | 1122004.1054 | 2593009.1093 | 1122010.0443 | 2593003.8256 | 1122022.501 | 2593001.8105 | 1122027.1056 | 2593000.6352 | 1122031.0756 | 2593000.4306 | 1122034.1773 | 2593000.6024 | 1122036.0336 | 2593001.7168 | 1122039.3005 | 2593003.3549 | 1122042.0666 | 2593004.7376 | 1122043.9882 | 2593007.8336 | 1122046.9082 | 2593011.2446 | 1122048.883 | 2593023.5825 | 1122054.3379 | 2593033.42 | 1122058.3062 | 2593051.6675 | 1122065.6886 | 2593052.2461 | 1122065.9103 | 2593053.7146 | 1122062.0511 | 2593054.7408 | 1122062.4835 | 2593077.5008 | 1122070.6833
35 | 2593510.4754 | 1121920.9361 | 2593510.9644 | 1121923.8481 | 2593497.5657 | 1121963.96 | 2593487.0415 | 1122002.0012 | 2593486.9428 | 1122002.56
36 | 2593331.3149 | 1122150.5898 | 2593322.1802 | 1122140.3061
37 | 2593370.5184 | 1122018.9255 | 2593370.6289 | 1122010.2998 | 2593376.9838 | 1122003.4561 | 2593377.0614 | 1121992.3423
38 | 2593518.6196 | 1122141.6796 | 2593527.7878 | 1122140.5025 | 2593533.8225 | 1122144.1644 | 2593532.9125 | 1122146.3119
39 | 2593518.6196 | 1122141.6796 | 2593488.5001 | 1122129.137
40 | 2593532.9125 | 1122146.3119 | 2593524.263 | 1122166.7223
41 | 2593275.1011 | 1121984.4493 | 2593284.0838 | 1121968.9538 | 2593286.4079 | 1121964.5379 | 2593287.8688 | 1121960.6677 | 2593289.2352 | 1121954.9301 | 2593290.0238 | 1121949.8378 | 2593290.1562 | 1121944.0793 | 2593289.3252 | 1121938.8888 | 2593287.7306 | 1121933.6436 | 2593285.3645 | 1121928.1547
42 | 2593249.0431 | 1121963.888 | 2593251.2157 | 1121963.0323 | 2593265.0625 | 1121952.5005 | 2593269.4031 | 1121951.2505 | 2593273.746 | 1121952.0794 | 2593276.8565 | 1121954.3437 | 2593278.5115 | 1121958.4661 | 2593277.0789 | 1121966.9162 | 2593272.3318 | 1121977.0265 | 2593270.661 | 1121983.8725
43 | 2593021.9183 | 1121943.2411 | 2593021.6721 | 1121937.1273 | 2593021.309 | 1121923.2038
44 | 2593021.9183 | 1121943.2411 | 2593044.6617 | 1121951.5078
45 | 2593510.4754 | 1121920.9361 | 2593500.3905 | 1121923.3816 | 2593493.2577 | 1121924.2564 | 2593484.4895 | 1121924.8107 | 2593463.6734 | 1121923.9441 | 2593454.1376 | 1121923.4711
46 | 2593377.0471 | 1121977.0431 | 2593377.1497 | 1121979.1884 | 2593377.097 | 1121987.248 | 2593377.0614 | 1121992.3423
47 | 2593377.0471 | 1121977.0431 | 2593402.1006 | 1121977.4296
48 | 2593422.7437 | 1121972.1236 | 2593416.719 | 1121977.6551 | 2593402.1006 | 1121977.4296
49 | 2593249.0431 | 1121963.888 | 2593244.3935 | 1121965.7191 | 2593238.8015 | 1121965.1029 | 2593222.9341 | 1121956.9742
50 | 2593222.9341 | 1121956.9742 | 2593207.624 | 1121949.131
51 | 2593198.0173 | 1121944.2095 | 2593207.624 | 1121949.131
52 | 2593285.3645 | 1121928.1547 | 2593285.3645 | 1121928.1547 | 2593275.9072 | 1121912.5021 | 2593271.789 | 1121905.8034 | 2593269.0177 | 1121900.8777
53 | 2593184.2905 | 1121937.7547 | 2593191.4059 | 1121940.8225 | 2593198.0173 | 1121944.2095
54 | 2593269.0177 | 1121900.8777 | 2593268.8139 | 1121900.5153 | 2593265.0798 | 1121892.4711 | 2593262.7242 | 1121886.836
55 | 2593178.7129 | 1121935.3499 | 2593184.2905 | 1121937.7547
56 | 2593178.7129 | 1121935.3499 | 2593172.3209 | 1121932.594
57 | 2593044.6617 | 1121951.5078 | 2593045.4077 | 1121951.7789
58 | 2593151.8577 | 1121923.7713 | 2593172.3209 | 1121932.594
59 | 2593151.8577 | 1121923.7713 | 2593121.7644 | 1121910.7965
60 | 2593109.8632 | 1121905.6653 | 2593121.7644 | 1121910.7965
61 | 2593058.8983 | 1121956.6825 | 2593045.4077 | 1121951.7789
62 | 2593058.8983 | 1121956.6825 | 2593062.4078 | 1121943.7498
63 | 2593058.8983 | 1121956.6825 | 2593065.7342 | 1121959.1758 | 2593071.1794 | 1121966.2062 | 2593083.8555 | 1121970.6048
64 | 2593072.6065 | 1121973.1635 | 2593061.9515 | 1121969.2629 | 2593059.875 | 1121967.6089 | 2593059.463 | 1121964.8302 | 2593060.1355 | 1121959.449 | 2593059.5243 | 1121957.849 | 2593058.8983 | 1121956.6825
65 | 2593262.7242 | 1121886.836 | 2593262.2186 | 1121885.6265 | 2593259.7509 | 1121878.7907
66 | 2593259.7509 | 1121878.7907 | 2593252.8962 | 1121859.8022 | 2593249.3248 | 1121852.4471 | 2593247.0975 | 1121849.1485
67 | 2593226.4772 | 1121824.8571 | 2593227.191 | 1121825.5478 | 2593231.9245 | 1121830.7561 | 2593240.5814 | 1121840.7957 | 2593245.4545 | 1121846.7153 | 2593247.0975 | 1121849.1485
68 | 2593226.4772 | 1121824.8571 | 2593220.9835 | 1121819.5408 | 2593220.3977 | 1121819.0947
69 | 2593193.4892 | 1121799.3955 | 2593197.3875 | 1121802.5148 | 2593204.45 | 1121807.5092 | 2593213.0252 | 1121813.4802 | 2593220.3977 | 1121819.0947
70 | 2593186.414 | 1121844.181 | 2593186.8188 | 1121833.9422 | 2593183.0669 | 1121830.6226 | 2593191.2188 | 1121803.5112 | 2593193.4892 | 1121799.3955

## bus_geodata
| x | y | coords
0 | 2593442.8897 | 1122066.2735
1 | 2593376.921 | 1122065.1752
2 | 2593481.9335 | 1122027.9194
3 | 2593370.4357 | 1122058.5903
4 | 2593484.4738 | 1122016.5444
5 | 2593327.405 | 1122060.728
6 | 2593310.0608 | 1122049.9876
7 | 2593346.2261 | 1122084.9745
8 | 2593312.7308 | 1122084.2934
9 | 2593444.4697 | 1122176.9221
10 | 2593325.0579 | 1122103.1366
11 | 2593324.8442 | 1122048.3079
12 | 2593370.3811 | 1122041.173
13 | 2593270.5533 | 1122020.7832
14 | 2593264.8468 | 1122002.3779
15 | 2593263.7489 | 1122025.5154
16 | 2593304.0991 | 1122046.8361
17 | 2593273.8759 | 1122030.856
18 | 2593309.692 | 1122041.405
19 | 2593305.5791 | 1122039.3345
20 | 2593237.7563 | 1122017.8585
21 | 2593506.8306 | 1122207.8581
22 | 2593261.1604 | 1122000.5839
23 | 2593246.3187 | 1121990.5291
24 | 2593230.4341 | 1122013.0358
25 | 2593269.4801 | 1121992.315
26 | 2593077.5008 | 1122070.6833
27 | 2593486.9428 | 1122002.56
28 | 2593299.3214 | 1122105.2923
29 | 2593322.1802 | 1122140.3061
30 | 2593370.5184 | 1122018.9255
31 | 2593518.6196 | 1122141.6796
32 | 2593532.9125 | 1122146.3119
33 | 2593488.5001 | 1122129.137
34 | 2593524.263 | 1122166.7223
35 | 2593275.1011 | 1121984.4493
36 | 2593270.661 | 1121983.8725
37 | 2593114.3756 | 1122000.1508
38 | 2593021.9183 | 1121943.2411
39 | 2593510.4754 | 1121920.9361
40 | 2593377.0614 | 1121992.3423
41 | 2593377.0471 | 1121977.0431
42 | 2593402.1006 | 1121977.4296
43 | 2593422.7437 | 1121972.1236
44 | 2593249.0431 | 1121963.888
45 | 2593222.9341 | 1121956.9742
46 | 2593207.624 | 1121949.131
47 | 2593285.3645 | 1121928.1547
48 | 2593198.0173 | 1121944.2095
49 | 2593269.0177 | 1121900.8777
50 | 2593184.2905 | 1121937.7547
51 | 2593178.7129 | 1121935.3499
52 | 2593021.309 | 1121923.2038
53 | 2593044.6617 | 1121951.5078
54 | 2593172.3209 | 1121932.594
55 | 2593151.8577 | 1121923.7713
56 | 2593121.7644 | 1121910.7965
57 | 2593109.8632 | 1121905.6653
58 | 2593331.3149 | 1122150.5898
59 | 2593045.4077 | 1121951.7789
60 | 2593058.8983 | 1121956.6825
61 | 2593062.4078 | 1121943.7498
62 | 2593083.8555 | 1121970.6048
63 | 2593072.6065 | 1121973.1635
64 | 2593262.7242 | 1121886.836
65 | 2593259.7509 | 1121878.7907
66 | 2593247.0975 | 1121849.1485
67 | 2593454.1376 | 1121923.4711
68 | 2593226.4772 | 1121824.8571
69 | 2593220.3977 | 1121819.0947
70 | 2593193.4892 | 1121799.3955
71 | 2593186.414 | 1121844.181
72 | 2593309.692 | 1122041.405

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1