## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6265-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6265-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6265-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6265-7_0_4_node_56 | 0.4 | n |  | TRUE
4 | bus_LV_6265-7_0_4_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_6265-7_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_6265-7_0_4_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_6265-7_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6265-7_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_6265-7_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6265-7_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6265-7_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6265-7_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6265-7_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_6265-7_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_6265-7_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6265-7_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6265-7_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_6265-7_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_6265-7_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_6265-7_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6265-7_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6265-7_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6265-7_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_6265-7_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_6265-7_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6265-7_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6265-7_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6265-7_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6265-7_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6265-7_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6265-7_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6265-7_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_6265-7_0_4_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_6265-7_0_4_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_6265-7_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6265-7_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_6265-7_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6265-7_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_6265-7_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6265-7_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6265-7_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6265-7_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_6265-7_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6265-7_0_4_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_6265-7_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6265-7_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_6265-7_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_6265-7_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_6265-7_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_6265-7_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6265-7_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6265-7_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6265-7_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_6265-7_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_6265-7_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_6265-7_0_4_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_6265-7_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_6265-7_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_6265-7_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_6265-7_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_6265-7_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_6265-7_0_4_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6265-7_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6265-7_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_6265-7_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_6265-7_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_6265-7_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_6265-7_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_MV_276_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6265-7_0_4_load_0 | 0 | 0.0064072 | 0.0016058 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6265-7_0_4_load_1 | 1 | 0.0061034 | 0.0015297 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6265-7_0_4_load_2 | 2 | 0.012621 | 0.0031632 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6265-7_0_4_load_56 | 3 | 0.0057011 | 0.0014288 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6265-7_0_4_load_55 | 4 | 0.0020715 | 0.00051917 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6265-7_0_4_load_11 | 5 | 0.0037154 | 0.00093118 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6265-7_0_4_load_28 | 6 | 0.0068067 | 0.0017059 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6265-7_0_4_load_9 | 7 | 0.0086082 | 0.0021574 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6265-7_0_4_load_3 | 8 | 0.0072924 | 0.0018276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6265-7_0_4_load_4 | 9 | 0.014986 | 0.0037558 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6265-7_0_4_load_6 | 11 | 0.0032584 | 0.00081662 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6265-7_0_4_load_7 | 12 | 0.020782 | 0.0052084 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6265-7_0_4_load_29 | 13 | 0.0074151 | 0.0018584 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6265-7_0_4_load_24 | 15 | 0.0032534 | 0.00081537 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6265-7_0_4_load_10 | 16 | 0.0022335 | 0.00055978 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6265-7_0_4_load_27 | 17 | 0.012253 | 0.003071 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6265-7_0_4_load_25 | 18 | 0.0051096 | 0.0012806 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6265-7_0_4_load_8 | 19 | 0.0080208 | 0.0020102 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6265-7_0_4_load_15 | 20 | 0.0043631 | 0.0010935 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6265-7_0_4_load_17 | 21 | 0.0085564 | 0.0021444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6265-7_0_4_load_13 | 22 | 0.0060699 | 0.0015213 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6265-7_0_4_load_34 | 23 | 0.0060017 | 0.0015042 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6265-7_0_4_load_12 | 24 | 0.010741 | 0.0026919 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6265-7_0_4_load_16 | 26 | 0.0051543 | 0.0012918 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6265-7_0_4_load_19 | 29 | 0.0063951 | 0.0016028 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6265-7_0_4_load_20 | 30 | 0.008121 | 0.0020353 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6265-7_0_4_load_35 | 31 | 0.0049713 | 0.0012459 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6265-7_0_4_load_39 | 33 | 0.0024974 | 0.00062591 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6265-7_0_4_load_66 | 34 | 0.01516 | 0.0037995 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6265-7_0_4_load_36 | 35 | 0.0037228 | 0.00093303 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6265-7_0_4_load_37 | 36 | 0.0018053 | 0.00045246 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6265-7_0_4_load_21 | 37 | 0.0073913 | 0.0018524 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6265-7_0_4_load_22 | 38 | 0.0033009 | 0.00082727 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6265-7_0_4_load_26 | 40 | 0.0065744 | 0.0016477 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6265-7_0_4_load_32 | 41 | 0.0073873 | 0.0018514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6265-7_0_4_load_33 | 42 | 0.007741 | 0.0019401 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6265-7_0_4_load_41 | 43 | 0.0053843 | 0.0013494 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6265-7_0_4_load_65 | 44 | 0.015348 | 0.0038465 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6265-7_0_4_load_40 | 45 | 0.0045305 | 0.0011355 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6265-7_0_4_load_54 | 46 | 0.0077946 | 0.0019535 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6265-7_0_4_load_52 | 47 | 0.0087913 | 0.0022033 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6265-7_0_4_load_51 | 48 | 0.010912 | 0.0027347 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6265-7_0_4_load_53 | 49 | 0.010544 | 0.0026427 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6265-7_0_4_load_44 | 52 | 0.0053646 | 0.0013445 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6265-7_0_4_load_48 | 53 | 0.0082495 | 0.0020675 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6265-7_0_4_load_49 | 54 | 0.0078179 | 0.0019594 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6265-7_0_4_load_50 | 55 | 0.0052606 | 0.0013184 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6265-7_0_4_load_68 | 56 | 0.012746 | 0.0031944 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6265-7_0_4_load_58 | 57 | 0.0092105 | 0.0023084 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6265-7_0_4_load_57 | 58 | 0.0074409 | 0.0018649 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6265-7_0_4_load_46 | 60 | 0.0062171 | 0.0015582 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6265-7_0_4_load_47 | 61 | 0.0038551 | 0.00096618 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6265-7_0_4_load_59 | 64 | 0.0032841 | 0.00082306 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6265-7_0_4_load_67 | 65 | 0.0039434 | 0.0009883 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6265-7_0_4_load_64 | 67 | 0.0043571 | 0.001092 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6265-7_0_4_load_62 | 68 | 0.0038791 | 0.00097219 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6265-7_0_4_line_0 |  | 0 | 1 | 0.014788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6265-7_0_4_line_1 |  | 1 | 2 | 0.035994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6265-7_0_4_line_2 |  | 2 | 5 | 0.03338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6265-7_0_4_line_3 |  | 3 | 4 | 0.0020809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6265-7_0_4_line_4 |  | 4 | 23 | 0.0021711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6265-7_0_4_line_5 |  | 5 | 6 | 0.058398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6265-7_0_4_line_6 |  | 5 | 7 | 0.027549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6265-7_0_4_line_7 |  | 6 | 23 | 0.002976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6265-7_0_4_line_8 |  | 6 | 17 | 0.053941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6265-7_0_4_line_9 |  | 7 | 19 | 0.025766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6265-7_0_4_line_10 |  | 8 | 9 | 0.033503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6265-7_0_4_line_11 |  | 8 | 10 | 0.0082128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6265-7_0_4_line_12 |  | 9 | 11 | 0.010795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6265-7_0_4_line_13 |  | 10 | 12 | 0.03473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6265-7_0_4_line_14 |  | 11 | 16 | 0.0080876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6265-7_0_4_line_15 |  | 13 | 14 | 0.043233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6265-7_0_4_line_16 |  | 13 | 15 | 0.0034639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6265-7_0_4_line_17 |  | 14 | 28 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6265-7_0_4_line_18 |  | 14 | 26 | 0.01895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6265-7_0_4_line_19 |  | 15 | 38 | 0.014537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6265-7_0_4_line_20 |  | 16 | 19 | 0.0044749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6265-7_0_4_line_21 |  | 17 | 18 | 0.034466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6265-7_0_4_line_22 |  | 18 | 39 | 0.0055336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6265-7_0_4_line_23 |  | 20 | 21 | 0.034616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6265-7_0_4_line_24 |  | 20 | 22 | 0.014553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6265-7_0_4_line_25 |  | 21 | 27 | 0.010681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6265-7_0_4_line_26 |  | 22 | 24 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6265-7_0_4_line_27 |  | 24 | 25 | 0.021854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6265-7_0_4_line_28 |  | 25 | 26 | 0.025632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6265-7_0_4_line_29 |  | 27 | 29 | 0.0072062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6265-7_0_4_line_30 |  | 27 | 30 | 0.030288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6265-7_0_4_line_31 |  | 28 | 43 | 0.033753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6265-7_0_4_line_32 |  | 29 | 31 | 0.009556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6265-7_0_4_line_33 |  | 30 | 32 | 0.045052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6265-7_0_4_line_34 |  | 31 | 34 | 0.053009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6265-7_0_4_line_35 |  | 32 | 33 | 0.057497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6265-7_0_4_line_36 |  | 32 | 35 | 0.042441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6265-7_0_4_line_37 |  | 35 | 36 | 0.0024896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6265-7_0_4_line_38 |  | 37 | 38 | 0.0016407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6265-7_0_4_line_39 |  | 37 | 39 | 0.013379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6265-7_0_4_line_40 |  | 39 | 40 | 0.024725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6265-7_0_4_line_41 |  | 40 | 41 | 0.013464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6265-7_0_4_line_42 |  | 41 | 42 | 0.035101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6265-7_0_4_line_43 |  | 42 | 46 | 0.010487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6265-7_0_4_line_44 |  | 43 | 44 | 0.064629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6265-7_0_4_line_45 |  | 43 | 45 | 0.012658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6265-7_0_4_line_46 |  | 44 | 54 | 0.063982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6265-7_0_4_line_47 |  | 45 | 50 | 0.029929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6265-7_0_4_line_48 |  | 46 | 49 | 0.0044434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6265-7_0_4_line_49 |  | 47 | 48 | 0.035369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6265-7_0_4_line_50 |  | 48 | 54 | 0.00033366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6265-7_0_4_line_51 |  | 50 | 51 | 0.01417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6265-7_0_4_line_52 |  | 50 | 52 | 0.0023002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6265-7_0_4_line_53 |  | 51 | 57 | 0.003675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6265-7_0_4_line_54 |  | 51 | 58 | 0.0037673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6265-7_0_4_line_55 |  | 52 | 59 | 0.038728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6265-7_0_4_line_56 |  | 53 | 54 | 0.049184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6265-7_0_4_line_57 |  | 53 | 55 | 0.035874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6265-7_0_4_line_58 |  | 54 | 56 | 0.01886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6265-7_0_4_line_59 |  | 59 | 60 | 0.020062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6265-7_0_4_line_60 |  | 59 | 61 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6265-7_0_4_line_61 |  | 61 | 62 | 0.0081514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6265-7_0_4_line_62 |  | 62 | 63 | 0.022131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6265-7_0_4_line_63 |  | 62 | 64 | 0.013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6265-7_0_4_line_64 |  | 63 | 65 | 0.019986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6265-7_0_4_line_65 |  | 63 | 66 | 0.002944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6265-7_0_4_line_66 |  | 66 | 67 | 0.013733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6265-7_0_4_line_67 |  | 66 | 68 | 0.01743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6265-7_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 69 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2592942.4601 | 1120772.4947 | 2592927.7675 | 1120774.1684
1 | 2592891.8391 | 1120772.0013 | 2592927.7675 | 1120774.1684
2 | 2592858.5199 | 1120769.9916 | 2592891.8391 | 1120772.0013
3 | 2592866.3491 | 1120830.5022 | 2592864.3597 | 1120829.8918
4 | 2592864.3597 | 1120829.8918 | 2592862.2841 | 1120829.255
5 | 2592859.4389 | 1120828.382 | 2592858.5199 | 1120769.9916
6 | 2592832.3827 | 1120763.1959 | 2592844.4463 | 1120769.1427 | 2592858.5199 | 1120769.9916
7 | 2592862.2841 | 1120829.255 | 2592859.4389 | 1120828.382
8 | 2592808.5948 | 1120820.3258 | 2592827.5538 | 1120827.4581 | 2592840.2918 | 1120829.8441 | 2592849.2418 | 1120825.2533 | 2592859.4389 | 1120828.382
9 | 2592811.2853 | 1120748.7871 | 2592821.7701 | 1120757.9644 | 2592832.3827 | 1120763.1959
10 | 2592760.8373 | 1120740.9147 | 2592767.6249 | 1120736.3856 | 2592776.7317 | 1120733.84 | 2592787.0372 | 1120733.8276 | 2592792.4001 | 1120735.3747
11 | 2592754.0057 | 1120745.4732 | 2592760.8373 | 1120740.9147
12 | 2592801.8324 | 1120740.5131 | 2592801.8324 | 1120740.5131 | 2592794.2134 | 1120735.8978 | 2592792.4001 | 1120735.3747
13 | 2592769.4032 | 1120714.3282 | 2592754.0057 | 1120745.4732
14 | 2592807.9181 | 1120745.8398 | 2592801.8324 | 1120740.5131
15 | 2592698.6798 | 1120793.3416 | 2592739.2043 | 1120808.4042
16 | 2592739.2043 | 1120808.4042 | 2592742.4512 | 1120809.611
17 | 2592698.6798 | 1120793.3416 | 2592685.2823 | 1120800.5503
18 | 2592698.6798 | 1120793.3416 | 2592692.0249 | 1120782.3554 | 2592688.2499 | 1120777.5569
19 | 2592742.4512 | 1120809.611 | 2592756.0774 | 1120814.6758
20 | 2592807.9181 | 1120745.8398 | 2592811.2853 | 1120748.7871
21 | 2592774.9936 | 1120820.5655 | 2592799.7183 | 1120816.9864 | 2592808.5948 | 1120820.3258
22 | 2592769.5171 | 1120821.3582 | 2592774.9936 | 1120820.5655
23 | 2592670.1359 | 1120680.951 | 2592681.0386 | 1120692.2803 | 2592688.3104 | 1120703.0322 | 2592690.1487 | 1120708.6519
24 | 2592690.2016 | 1120723.0842 | 2592690.8112 | 1120710.6773 | 2592690.1487 | 1120708.6519
25 | 2592662.0095 | 1120674.0724 | 2592667.3292 | 1120678.0345 | 2592670.1359 | 1120680.951
26 | 2592690.2016 | 1120723.0842 | 2592690.2016 | 1120723.0842 | 2592683.7919 | 1120736.1206 | 2592682.7107 | 1120738.1416
27 | 2592672.4017 | 1120757.4116 | 2592682.7107 | 1120738.1416
28 | 2592672.4017 | 1120757.4116 | 2592688.2499 | 1120777.5569
29 | 2592662.0095 | 1120674.0724 | 2592663.5874 | 1120671.2135 | 2592663.7908 | 1120667.278
30 | 2592637.8351 | 1120655.7375 | 2592652.3739 | 1120666.8807 | 2592662.0095 | 1120674.0724
31 | 2592685.2823 | 1120800.5503 | 2592657.6317 | 1120815.4247 | 2592655.4113 | 1120816.2117
32 | 2592657.9658 | 1120660.0483 | 2592661.9113 | 1120663.145 | 2592663.7908 | 1120667.278
33 | 2592637.8351 | 1120655.7375 | 2592594.6149 | 1120668.4526
34 | 2592657.9658 | 1120660.0483 | 2592691.6946 | 1120619.1537
35 | 2592594.6149 | 1120668.4526 | 2592595.1695 | 1120680.2577 | 2592593.9425 | 1120698.5681 | 2592600.2628 | 1120707.0534 | 2592614.2639 | 1120716.2413
36 | 2592594.6149 | 1120668.4526 | 2592594.603 | 1120658.7812 | 2592597.8188 | 1120645.6263 | 2592599.1598 | 1120638.3878 | 2592598.0652 | 1120626.5722
37 | 2592598.0652 | 1120626.5722 | 2592598.0652 | 1120626.5722 | 2592596.969 | 1120624.337
38 | 2592757.6153 | 1120815.2474 | 2592756.0774 | 1120814.6758
39 | 2592769.5171 | 1120821.3582 | 2592757.6153 | 1120815.2474 | 2592757.6153 | 1120815.2474
40 | 2592769.5171 | 1120821.3582 | 2592773.2116 | 1120845.8052
41 | 2592773.2116 | 1120845.8052 | 2592774.3613 | 1120853.4125 | 2592777.4295 | 1120858.3001
42 | 2592806.3466 | 1120876.4475 | 2592797.1183 | 1120867.9256 | 2592790.5159 | 1120861.8305 | 2592777.4295 | 1120858.3001 | 2592777.4295 | 1120858.3001
43 | 2592806.3466 | 1120876.4475 | 2592814.0513 | 1120883.5624
44 | 2592655.4113 | 1120816.2117 | 2592695.2754 | 1120867.0818
45 | 2592643.3728 | 1120819.9526 | 2592645.3878 | 1120819.7641 | 2592655.4113 | 1120816.2117
46 | 2592679.5061 | 1120929.0905 | 2592695.2754 | 1120867.0818
47 | 2592614.0345 | 1120815.5117 | 2592628.9573 | 1120819.3285 | 2592637.3203 | 1120820.5188 | 2592643.3728 | 1120819.9526
48 | 2592817.3157 | 1120886.577 | 2592814.0513 | 1120883.5624
49 | 2592679.8006 | 1120929.2474 | 2592686.516 | 1120932.8247 | 2592695.6247 | 1120938.4496 | 2592703.3381 | 1120944.6989 | 2592708.5888 | 1120949.5187
50 | 2592679.5061 | 1120929.0905 | 2592679.8006 | 1120929.2474
51 | 2592614.0345 | 1120815.5117 | 2592615.9919 | 1120801.4802
52 | 2592614.0345 | 1120815.5117 | 2592611.8056 | 1120814.9437
53 | 2592619.4073 | 1120800.0975 | 2592615.9919 | 1120801.4802
54 | 2592615.9919 | 1120801.4802 | 2592616.5121 | 1120797.749
55 | 2592574.197 | 1120805.745 | 2592575.9334 | 1120806.3654 | 2592610.4311 | 1120814.5935 | 2592611.8056 | 1120814.9437
56 | 2592634.0949 | 1120910.5948 | 2592652.0316 | 1120915.9808 | 2592670.7548 | 1120924.4287 | 2592679.5061 | 1120929.0905
57 | 2592634.0949 | 1120910.5948 | 2592630.7577 | 1120909.5927 | 2592598.9936 | 1120903.2607
58 | 2592679.5061 | 1120929.0905 | 2592668.6273 | 1120944.4967
59 | 2592574.197 | 1120805.745 | 2592578.3514 | 1120786.1181
60 | 2592574.197 | 1120805.745 | 2592556.3508 | 1120799.3539
61 | 2592548.6767 | 1120796.6056 | 2592556.3508 | 1120799.3539
62 | 2592527.7866 | 1120789.1279 | 2592548.6767 | 1120796.6056
63 | 2592548.6767 | 1120796.6056 | 2592552.643 | 1120791.6204 | 2592559.6648 | 1120793.7755
64 | 2592527.7866 | 1120789.1279 | 2592522.874 | 1120808.4991
65 | 2592527.7866 | 1120789.1279 | 2592525.0084 | 1120788.1309
66 | 2592536.4652 | 1120783.6033 | 2592527.965 | 1120783.7807 | 2592525.0084 | 1120788.1309
67 | 2592525.0084 | 1120788.1309 | 2592508.5996 | 1120782.252

## bus_geodata
| x | y | coords
0 | 2592942.4601 | 1120772.4947
1 | 2592927.7675 | 1120774.1684
2 | 2592891.8391 | 1120772.0013
3 | 2592866.3491 | 1120830.5022
4 | 2592864.3597 | 1120829.8918
5 | 2592858.5199 | 1120769.9916
6 | 2592859.4389 | 1120828.382
7 | 2592832.3827 | 1120763.1959
8 | 2592760.8373 | 1120740.9147
9 | 2592792.4001 | 1120735.3747
10 | 2592754.0057 | 1120745.4732
11 | 2592801.8324 | 1120740.5131
12 | 2592769.4032 | 1120714.3282
13 | 2592739.2043 | 1120808.4042
14 | 2592698.6798 | 1120793.3416
15 | 2592742.4512 | 1120809.611
16 | 2592807.9181 | 1120745.8398
17 | 2592808.5948 | 1120820.3258
18 | 2592774.9936 | 1120820.5655
19 | 2592811.2853 | 1120748.7871
20 | 2592690.1487 | 1120708.6519
21 | 2592670.1359 | 1120680.951
22 | 2592690.2016 | 1120723.0842
23 | 2592862.2841 | 1120829.255
24 | 2592682.7107 | 1120738.1416
25 | 2592672.4017 | 1120757.4116
26 | 2592688.2499 | 1120777.5569
27 | 2592662.0095 | 1120674.0724
28 | 2592685.2823 | 1120800.5503
29 | 2592663.7908 | 1120667.278
30 | 2592637.8351 | 1120655.7375
31 | 2592657.9658 | 1120660.0483
32 | 2592594.6149 | 1120668.4526
33 | 2592614.2639 | 1120716.2413
34 | 2592691.6946 | 1120619.1537
35 | 2592598.0652 | 1120626.5722
36 | 2592596.969 | 1120624.337
37 | 2592757.6153 | 1120815.2474
38 | 2592756.0774 | 1120814.6758
39 | 2592769.5171 | 1120821.3582
40 | 2592773.2116 | 1120845.8052
41 | 2592777.4295 | 1120858.3001
42 | 2592806.3466 | 1120876.4475
43 | 2592655.4113 | 1120816.2117
44 | 2592695.2754 | 1120867.0818
45 | 2592643.3728 | 1120819.9526
46 | 2592814.0513 | 1120883.5624
47 | 2592708.5888 | 1120949.5187
48 | 2592679.8006 | 1120929.2474
49 | 2592817.3157 | 1120886.577
50 | 2592614.0345 | 1120815.5117
51 | 2592615.9919 | 1120801.4802
52 | 2592611.8056 | 1120814.9437
53 | 2592634.0949 | 1120910.5948
54 | 2592679.5061 | 1120929.0905
55 | 2592598.9936 | 1120903.2607
56 | 2592668.6273 | 1120944.4967
57 | 2592619.4073 | 1120800.0975
58 | 2592616.5121 | 1120797.749
59 | 2592574.197 | 1120805.745
60 | 2592578.3514 | 1120786.1181
61 | 2592556.3508 | 1120799.3539
62 | 2592548.6767 | 1120796.6056
63 | 2592527.7866 | 1120789.1279
64 | 2592559.6648 | 1120793.7755
65 | 2592522.874 | 1120808.4991
66 | 2592525.0084 | 1120788.1309
67 | 2592536.4652 | 1120783.6033
68 | 2592508.5996 | 1120782.252
69 | 2592769.5171 | 1120821.3582

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1