## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6266-110_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6266-110_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6266-110_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6266-110_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6266-110_0_8_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6266-110_0_8_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6266-110_0_8_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6266-110_0_8_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_6266-110_0_8_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_6266-110_0_8_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6266-110_0_8_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6266-110_0_8_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6266-110_0_8_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6266-110_0_8_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6266-110_0_8_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6266-110_0_8_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6266-110_0_8_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_6266-110_0_8_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_6266-110_0_8_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_6266-110_0_8_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_6266-110_0_8_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_6266-110_0_8_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_6266-110_0_8_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_6266-110_0_8_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_6266-110_0_8_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_6266-110_0_8_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_6266-110_0_8_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_6266-110_0_8_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_6266-110_0_8_node_84 | 0.4 | n |  | TRUE
29 | bus_LV_6266-110_0_8_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_6266-110_0_8_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6266-110_0_8_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_6266-110_0_8_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_6266-110_0_8_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_6266-110_0_8_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_6266-110_0_8_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_6266-110_0_8_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6266-110_0_8_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_6266-110_0_8_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_6266-110_0_8_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6266-110_0_8_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6266-110_0_8_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_6266-110_0_8_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_6266-110_0_8_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_6266-110_0_8_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_6266-110_0_8_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_6266-110_0_8_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_6266-110_0_8_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_6266-110_0_8_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_6266-110_0_8_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_6266-110_0_8_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_6266-110_0_8_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_6266-110_0_8_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_6266-110_0_8_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_6266-110_0_8_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6266-110_0_8_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_6266-110_0_8_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_6266-110_0_8_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6266-110_0_8_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_6266-110_0_8_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_6266-110_0_8_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_6266-110_0_8_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_6266-110_0_8_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_6266-110_0_8_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_6266-110_0_8_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_6266-110_0_8_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_6266-110_0_8_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_6266-110_0_8_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_6266-110_0_8_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_6266-110_0_8_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_6266-110_0_8_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_6266-110_0_8_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_6266-110_0_8_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_6266-110_0_8_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6266-110_0_8_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_6266-110_0_8_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_6266-110_0_8_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_6266-110_0_8_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_6266-110_0_8_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_6266-110_0_8_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6266-110_0_8_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_6266-110_0_8_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_6266-110_0_8_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_6266-110_0_8_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_6266-110_0_8_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_6266-110_0_8_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_6266-110_0_8_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_6266-110_0_8_node_75 | 0.4 | n |  | TRUE
88 | bus_MV_276_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6266-110_0_8_load_0 | 0 | 0.0019945 | 0.00049987 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6266-110_0_8_load_1 | 1 | 0.0013625 | 0.00034146 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6266-110_0_8_load_2 | 2 | 0.0019606 | 0.00049136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6266-110_0_8_load_3 | 3 | 0.0059828 | 0.0014994 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6266-110_0_8_load_4 | 6 | 0.0013982 | 0.00035043 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6266-110_0_8_load_50 | 7 | 0.0012843 | 0.00032188 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6266-110_0_8_load_51 | 8 | 0.00186 | 0.00046615 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6266-110_0_8_load_7 | 9 | 0.0041408 | 0.0010378 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6266-110_0_8_load_12 | 14 | 0.004141 | 0.0010378 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6266-110_0_8_load_13 | 15 | 0.0014277 | 0.00035782 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6266-110_0_8_load_60 | 17 | 0.0019708 | 0.00049393 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6266-110_0_8_load_90 | 18 | 0.0080328 | 0.0020132 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6266-110_0_8_load_23 | 19 | 0.004139 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6266-110_0_8_load_39 | 20 | 0.0052192 | 0.001308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6266-110_0_8_load_24 | 21 | 0.0038457 | 0.00096382 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6266-110_0_8_load_59 | 22 | 0.0056208 | 0.0014087 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6266-110_0_8_load_42 | 23 | 0.0017602 | 0.00044115 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6266-110_0_8_load_85 | 24 | 0.0087427 | 0.0021911 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6266-110_0_8_load_86 | 25 | 0.0048151 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6266-110_0_8_load_87 | 27 | 0.0021664 | 0.00054295 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6266-110_0_8_load_43 | 29 | 0.0049974 | 0.0012525 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6266-110_0_8_load_22 | 30 | 0.0042566 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6266-110_0_8_load_14 | 31 | 0.0062822 | 0.0015745 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6266-110_0_8_load_16 | 33 | 0.0054464 | 0.001365 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6266-110_0_8_load_38 | 35 | 0.0038956 | 0.00097634 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6266-110_0_8_load_36 | 37 | 0.0042321 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6266-110_0_8_load_20 | 38 | 0.0051506 | 0.0012909 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6266-110_0_8_load_35 | 39 | 0.0015775 | 0.00039536 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6266-110_0_8_load_30 | 40 | 0.005736 | 0.0014376 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6266-110_0_8_load_37 | 41 | 0.003933 | 0.00098569 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6266-110_0_8_load_18 | 42 | 0.001378 | 0.00034536 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6266-110_0_8_load_21 | 44 | 0.0067288 | 0.0016864 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6266-110_0_8_load_78 | 45 | 0.015729 | 0.003942 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6266-110_0_8_load_80 | 47 | 0.0024555 | 0.00061539 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6266-110_0_8_load_25 | 48 | 0.0023937 | 0.00059992 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6266-110_0_8_load_27 | 49 | 0.0037511 | 0.00094011 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6266-110_0_8_load_91 | 51 | 0.0033554 | 0.00084095 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6266-110_0_8_load_92 | 53 | 0.003441 | 0.00086239 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6266-110_0_8_load_88 | 55 | 0.0033399 | 0.00083706 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6266-110_0_8_load_89 | 56 | 0.0067867 | 0.0017009 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6266-110_0_8_load_34 | 57 | 0.0015797 | 0.00039591 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6266-110_0_8_load_40 | 58 | 0.010181 | 0.0025516 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6266-110_0_8_load_62 | 61 | 0.0026763 | 0.00067075 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6266-110_0_8_load_82 | 62 | 0.0025913 | 0.00064944 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6266-110_0_8_load_83 | 63 | 0.0025291 | 0.00063386 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6266-110_0_8_load_44 | 64 | 0.018125 | 0.0045426 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6266-110_0_8_load_45 | 65 | 0.020587 | 0.0051597 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6266-110_0_8_load_47 | 67 | 0.013573 | 0.0034018 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6266-110_0_8_load_49 | 69 | 0.012737 | 0.0031923 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6266-110_0_8_load_74 | 70 | 0.016315 | 0.0040889 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6266-110_0_8_load_73 | 71 | 0.033525 | 0.0084022 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6266-110_0_8_load_65 | 73 | 0.012567 | 0.0031495 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6266-110_0_8_load_53 | 75 | 0.0094111 | 0.0023587 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6266-110_0_8_load_54 | 76 | 0.069724 | 0.017474 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6266-110_0_8_load_69 | 79 | 0.017817 | 0.0044655 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6266-110_0_8_load_77 | 80 | 0.012728 | 0.00319 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6266-110_0_8_load_61 | 81 | 0.0061673 | 0.0015457 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6266-110_0_8_load_70 | 82 | 0.0053789 | 0.0013481 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6266-110_0_8_load_71 | 83 | 0.01039 | 0.002604 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6266-110_0_8_load_68 | 84 | 0.048525 | 0.012162 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6266-110_0_8_load_76 | 85 | 0.010964 | 0.0027478 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6266-110_0_8_load_72 | 86 | 0.011793 | 0.0029557 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6266-110_0_8_load_75 | 87 | 0.0049144 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6266-110_0_8_line_0 |  | 0 | 1 | 0.019117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6266-110_0_8_line_1 |  | 0 | 2 | 0.031607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6266-110_0_8_line_2 |  | 1 | 3 | 0.046224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6266-110_0_8_line_3 |  | 3 | 4 | 0.027763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6266-110_0_8_line_4 |  | 4 | 5 | 0.051145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6266-110_0_8_line_5 |  | 4 | 6 | 0.013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6266-110_0_8_line_6 |  | 5 | 7 | 0.060269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6266-110_0_8_line_7 |  | 7 | 8 | 0.0018671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6266-110_0_8_line_8 |  | 8 | 42 | 0.058338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6266-110_0_8_line_9 |  | 9 | 10 | 0.015783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6266-110_0_8_line_10 |  | 9 | 11 | 0.011642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6266-110_0_8_line_11 |  | 10 | 12 | 0.008024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6266-110_0_8_line_12 |  | 10 | 13 | 0.006762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6266-110_0_8_line_13 |  | 11 | 14 | 0.010535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6266-110_0_8_line_14 |  | 11 | 15 | 0.015621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6266-110_0_8_line_15 |  | 12 | 16 | 0.039659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6266-110_0_8_line_16 |  | 12 | 17 | 0.043108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6266-110_0_8_line_17 |  | 13 | 18 | 0.020422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6266-110_0_8_line_18 |  | 14 | 19 | 0.024219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6266-110_0_8_line_19 |  | 15 | 20 | 0.025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6266-110_0_8_line_20 |  | 16 | 21 | 0.015158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6266-110_0_8_line_21 |  | 17 | 22 | 0.0096087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6266-110_0_8_line_22 |  | 18 | 23 | 0.15119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6266-110_0_8_line_23 |  | 19 | 30 | 0.022085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6266-110_0_8_line_24 |  | 21 | 48 | 0.015561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6266-110_0_8_line_25 |  | 22 | 81 | 0.0039296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6266-110_0_8_line_26 |  | 23 | 29 | 0.0073551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6266-110_0_8_line_27 |  | 24 | 25 | 0.0054327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6266-110_0_8_line_28 |  | 24 | 26 | 0.089087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6266-110_0_8_line_29 |  | 25 | 27 | 0.032702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6266-110_0_8_line_30 |  | 26 | 46 | 0.005747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6266-110_0_8_line_31 |  | 27 | 28 | 0.095919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6266-110_0_8_line_32 |  | 27 | 29 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6266-110_0_8_line_33 |  | 28 | 62 | 0.018824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6266-110_0_8_line_34 |  | 30 | 43 | 0.049941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6266-110_0_8_line_35 |  | 31 | 32 | 0.013491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6266-110_0_8_line_36 |  | 31 | 33 | 0.0091886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6266-110_0_8_line_37 |  | 32 | 34 | 0.005124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6266-110_0_8_line_38 |  | 34 | 35 | 0.027665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6266-110_0_8_line_39 |  | 34 | 36 | 0.026382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6266-110_0_8_line_40 |  | 34 | 37 | 0.0097834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6266-110_0_8_line_41 |  | 35 | 38 | 0.037263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6266-110_0_8_line_42 |  | 36 | 39 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6266-110_0_8_line_43 |  | 36 | 40 | 0.0048103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6266-110_0_8_line_44 |  | 37 | 41 | 0.0016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6266-110_0_8_line_45 |  | 38 | 43 | 0.02183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6266-110_0_8_line_46 |  | 40 | 54 | 0.017013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6266-110_0_8_line_47 |  | 42 | 43 | 0.052439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6266-110_0_8_line_48 |  | 43 | 44 | 0.023648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6266-110_0_8_line_49 |  | 45 | 46 | 0.018322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6266-110_0_8_line_50 |  | 45 | 47 | 0.034712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6266-110_0_8_line_51 |  | 46 | 70 | 0.15334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6266-110_0_8_line_52 |  | 48 | 49 | 0.0094403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6266-110_0_8_line_53 |  | 50 | 51 | 0.009425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6266-110_0_8_line_54 |  | 50 | 52 | 0.012774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6266-110_0_8_line_55 |  | 52 | 53 | 0.008588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6266-110_0_8_line_56 |  | 52 | 54 | 0.050364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6266-110_0_8_line_57 |  | 54 | 57 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6266-110_0_8_line_58 |  | 55 | 56 | 0.023962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6266-110_0_8_line_59 |  | 56 | 60 | 0.017944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6266-110_0_8_line_60 |  | 58 | 59 | 0.13479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6266-110_0_8_line_61 |  | 59 | 60 | 0.058871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6266-110_0_8_line_62 |  | 59 | 61 | 0.053744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6266-110_0_8_line_63 |  | 61 | 81 | 0.018989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6266-110_0_8_line_64 |  | 62 | 63 | 0.019818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6266-110_0_8_line_65 |  | 64 | 65 | 0.045858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6266-110_0_8_line_66 |  | 64 | 66 | 0.076176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6266-110_0_8_line_67 |  | 65 | 67 | 0.02889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6266-110_0_8_line_68 |  | 66 | 68 | 0.004915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6266-110_0_8_line_69 |  | 67 | 69 | 0.0098704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6266-110_0_8_line_70 |  | 68 | 70 | 0.0055064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6266-110_0_8_line_71 |  | 68 | 71 | 0.089888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6266-110_0_8_line_72 |  | 69 | 72 | 0.021081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_6266-110_0_8_line_73 |  | 72 | 73 | 0.003902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6266-110_0_8_line_74 |  | 72 | 74 | 0.006845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6266-110_0_8_line_75 |  | 74 | 77 | 0.01983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_6266-110_0_8_line_76 |  | 75 | 76 | 0.070054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6266-110_0_8_line_77 |  | 75 | 77 | 0.051764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6266-110_0_8_line_78 |  | 77 | 78 | 0.025545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_6266-110_0_8_line_79 |  | 78 | 79 | 0.044282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6266-110_0_8_line_80 |  | 79 | 80 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6266-110_0_8_line_81 |  | 80 | 85 | 0.014716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6266-110_0_8_line_82 |  | 82 | 83 | 0.043285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6266-110_0_8_line_83 |  | 82 | 84 | 0.038029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6266-110_0_8_line_84 |  | 83 | 86 | 0.015088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6266-110_0_8_line_85 |  | 85 | 87 | 0.0078758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6266-110_0_8_line_86 |  | 86 | 87 | 0.0070198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6266-110_0_8_trafo_46 | 0.63 MVA 20/0.4 kV | 88 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2593070.4804 | 1120792.0536 | 2593053.8121 | 1120782.6926
1 | 2593098.0388 | 1120807.5306 | 2593070.4804 | 1120792.0536
2 | 2593014.5754 | 1120769.6427 | 2593016.7733 | 1120765.7154 | 2593022.2646 | 1120764.9753 | 2593053.8121 | 1120782.6926
3 | 2593001.0164 | 1120793.8698 | 2593014.5754 | 1120769.6427
4 | 2592956.3488 | 1120769.4658 | 2592963.355 | 1120771.314 | 2593001.0164 | 1120793.8698
5 | 2593001.0164 | 1120793.8698 | 2593010.0162 | 1120798.8173 | 2593013.3633 | 1120800.3453
6 | 2592956.3488 | 1120769.4658 | 2592958.1484 | 1120764.8503 | 2592975.2367 | 1120720.9643 | 2592981.1009 | 1120715.2051
7 | 2592982.433 | 1120713.8969 | 2592981.1009 | 1120715.2051
8 | 2592982.433 | 1120713.8969 | 2592974.278 | 1120656.1317
9 | 2592806.3892 | 1120597.5487 | 2592820.634 | 1120604.3449
10 | 2592831.1417 | 1120609.3582 | 2592820.634 | 1120604.3449
11 | 2592802.9729 | 1120604.812 | 2592806.3892 | 1120597.5487
12 | 2592806.3892 | 1120597.5487 | 2592809.2745 | 1120591.4312
13 | 2592831.1417 | 1120609.3582 | 2592840.6496 | 1120613.8951
14 | 2592831.1417 | 1120609.3582 | 2592834.6059 | 1120616.3019 | 2592831.6035 | 1120623.5669
15 | 2592802.9729 | 1120604.812 | 2592786.609 | 1120640.9493
16 | 2592802.9729 | 1120604.812 | 2592791.8011 | 1120590.2405 | 2592769.0873 | 1120580.4178
17 | 2592809.2745 | 1120591.4312 | 2592803.9471 | 1120587.3689 | 2592795.313 | 1120585.5339 | 2592790.8209 | 1120583.5877
18 | 2592862.5073 | 1120624.325 | 2592840.6496 | 1120613.8951
19 | 2592841.2359 | 1120642.6006 | 2592831.5671 | 1120636.0596 | 2592828.8628 | 1120632.2944 | 2592831.1908 | 1120624.5656 | 2592831.6035 | 1120623.5669
20 | 2592786.609 | 1120640.9493 | 2592800.4612 | 1120647.105
21 | 2592760.268 | 1120576.6038 | 2592769.0873 | 1120580.4178
22 | 2592790.8209 | 1120583.5877 | 2592846.9224 | 1120443.1961
23 | 2592862.5073 | 1120624.325 | 2592882.4394 | 1120633.836
24 | 2592800.4612 | 1120647.105 | 2592814.6811 | 1120653.4241
25 | 2592760.268 | 1120576.6038 | 2592756.6612 | 1120575.044
26 | 2592846.9224 | 1120443.1961 | 2592853.8192 | 1120445.7515
27 | 2592901.9341 | 1120462.7596 | 2592896.7309 | 1120461.1974
28 | 2592987.9282 | 1120485.9566 | 2592983.6839 | 1120484.5831 | 2592972.9113 | 1120481.3386 | 2592961.3826 | 1120478.0506 | 2592948.8126 | 1120474.7637 | 2592924.4599 | 1120468.7006 | 2592905.0995 | 1120463.7099 | 2592901.9341 | 1120462.7596
29 | 2592865.922 | 1120450.2494 | 2592877.8118 | 1120454.6823 | 2592893.7403 | 1120460.2995 | 2592896.7309 | 1120461.1974
30 | 2592990.4601 | 1120480.7956 | 2592987.9282 | 1120485.9566
31 | 2592865.922 | 1120450.2494 | 2592894.3448 | 1120358.6379
32 | 2592865.922 | 1120450.2494 | 2592860.0384 | 1120448.0558 | 2592853.8192 | 1120445.7515
33 | 2592894.3448 | 1120358.6379 | 2592877.9417 | 1120349.4025
34 | 2592882.4394 | 1120633.836 | 2592931.9135 | 1120627.0249
35 | 2592875.4363 | 1120681.9186 | 2592876.4244 | 1120682.5845 | 2592887.4866 | 1120687.9607
36 | 2592895.7509 | 1120691.9772 | 2592887.4866 | 1120687.9607
37 | 2592871.1749 | 1120679.0556 | 2592875.4363 | 1120681.9186
38 | 2592882.7234 | 1120653.9074 | 2592871.1749 | 1120679.0556
39 | 2592860.1573 | 1120703.0361 | 2592871.1749 | 1120679.0556
40 | 2592871.1749 | 1120679.0556 | 2592862.2734 | 1120674.9963
41 | 2592882.7234 | 1120653.9074 | 2592918.7743 | 1120644.4823
42 | 2592860.1573 | 1120703.0361 | 2592870.9396 | 1120707.8912
43 | 2592860.1573 | 1120703.0361 | 2592858.1495 | 1120707.4073
44 | 2592860.8173 | 1120674.3323 | 2592862.2734 | 1120674.9963
45 | 2592931.9135 | 1120627.0249 | 2592918.7743 | 1120644.4823
46 | 2592851.0479 | 1120722.8677 | 2592858.1495 | 1120707.4073
47 | 2592931.9135 | 1120627.0249 | 2592963.1473 | 1120653.6344 | 2592974.278 | 1120656.1317
48 | 2592931.9135 | 1120627.0249 | 2592928.3958 | 1120639.9464 | 2592923.8073 | 1120649.1194
49 | 2592990.4601 | 1120480.7956 | 2592973.3509 | 1120474.2407
50 | 2592940.9367 | 1120461.8222 | 2592973.3509 | 1120474.2407
51 | 2593131.6031 | 1120540.7169 | 2592990.4601 | 1120480.7956
52 | 2592823.3079 | 1120657.2577 | 2592814.6811 | 1120653.4241
53 | 2592803.6739 | 1120681.0262 | 2592810.3769 | 1120674.3816
54 | 2592803.6739 | 1120681.0262 | 2592810.0379 | 1120687.5329 | 2592812.8332 | 1120689.9418
55 | 2592812.8332 | 1120689.9418 | 2592816.5573 | 1120682.2002
56 | 2592851.0479 | 1120722.8677 | 2592812.8332 | 1120689.9418
57 | 2592851.0479 | 1120722.8677 | 2592858.7512 | 1120729.5076
58 | 2592662.1821 | 1120576.9557 | 2592653.7676 | 1120564.1954 | 2592648.9587 | 1120556.9724
59 | 2592639.0145 | 1120542.036 | 2592648.9587 | 1120556.9724
60 | 2592695.5667 | 1120536.7308 | 2592667.1688 | 1120404.9698
61 | 2592695.5667 | 1120536.7308 | 2592685.9417 | 1120532.0847 | 2592674.5824 | 1120534.8222 | 2592663.17 | 1120538.349 | 2592651.9487 | 1120540.3526 | 2592648.0456 | 1120540.5241 | 2592643.3475 | 1120540.2409 | 2592641.2964 | 1120540.9215 | 2592639.0145 | 1120542.036
62 | 2592695.5667 | 1120536.7308 | 2592699.6524 | 1120540.8501 | 2592729.7411 | 1120563.4023 | 2592739.232 | 1120567.5067
63 | 2592739.232 | 1120567.5067 | 2592756.6612 | 1120575.044
64 | 2592860.6729 | 1120339.6798 | 2592877.9417 | 1120349.4025
65 | 2593203.486 | 1120561.0917 | 2593249.0131 | 1120566.5949
66 | 2593128.0814 | 1120550.5258 | 2593149.0756 | 1120554.5148 | 2593203.486 | 1120561.0917
67 | 2593249.0131 | 1120566.5949 | 2593253.3051 | 1120567.1137 | 2593276.9523 | 1120573.7733
68 | 2593128.0814 | 1120550.5258 | 2593129.7423 | 1120545.8994
69 | 2593276.9523 | 1120573.7733 | 2593286.4531 | 1120576.4489
70 | 2593129.7423 | 1120545.8994 | 2593131.6031 | 1120540.7169
71 | 2593129.7423 | 1120545.8994 | 2593137.5666 | 1120547.947 | 2593149.1094 | 1120550.346 | 2593157.8969 | 1120551.5588 | 2593171.699 | 1120553.1105 | 2593189.3894 | 1120555.2247 | 2593204.3026 | 1120557.0753 | 2593218.529 | 1120558.7489 | 2593218.6105 | 1120558.7592
72 | 2593306.2181 | 1120583.7402 | 2593290.0659 | 1120577.4663 | 2593286.4531 | 1120576.4489
73 | 2593306.2181 | 1120583.7402 | 2593304.8028 | 1120587.3769
74 | 2593306.2181 | 1120583.7402 | 2593307.3643 | 1120580.9376 | 2593308.9109 | 1120577.4452
75 | 2593308.9109 | 1120577.4452 | 2593309.9605 | 1120577.8998 | 2593316.8059 | 1120580.7047 | 2593318.2178 | 1120580.9254 | 2593323.1609 | 1120579.5526 | 2593327.7029 | 1120578.2358
76 | 2593287.4997 | 1120545.9187 | 2593284.998 | 1120543.2997 | 2593275.1436 | 1120533.1392 | 2593265.8609 | 1120523.7672 | 2593255.6433 | 1120513.1402 | 2593238.7347 | 1120495.6262
77 | 2593327.7029 | 1120578.2358 | 2593326.0812 | 1120576.6701 | 2593323.9195 | 1120575.0384 | 2593319.5423 | 1120571.9418 | 2593315.057 | 1120568.7897 | 2593309.7996 | 1120565.0826 | 2593306.4648 | 1120562.9631 | 2593301.3927 | 1120559.2892 | 2593296.93 | 1120555.6591 | 2593293.7173 | 1120552.4278 | 2593287.4997 | 1120545.9187
78 | 2593306.5004 | 1120567.1762 | 2593320.6741 | 1120576.9541 | 2593323.1609 | 1120579.5526 | 2593327.7029 | 1120578.2358
79 | 2593306.5004 | 1120567.1762 | 2593302.6386 | 1120569.7485 | 2593300.164 | 1120571.1408 | 2593295.6905 | 1120571.6461 | 2593264.6111 | 1120562.8502
80 | 2593248.1207 | 1120551.0434 | 2593258.3664 | 1120561.0828 | 2593264.6111 | 1120562.8502
81 | 2593237.6095 | 1120540.7439 | 2593248.1207 | 1120551.0434
82 | 2593183.2725 | 1120492.4326 | 2593183.8104 | 1120492.6671 | 2593192.3695 | 1120496.4147 | 2593216.1937 | 1120519.7592
83 | 2593183.2725 | 1120492.4326 | 2593195.8745 | 1120456.5526
84 | 2593216.1937 | 1120519.7592 | 2593226.9702 | 1120530.3188
85 | 2593237.6095 | 1120540.7439 | 2593231.9842 | 1120535.2318
86 | 2593226.9702 | 1120530.3188 | 2593231.9842 | 1120535.2318

## bus_geodata
| x | y | coords
0 | 2593070.4804 | 1120792.0536
1 | 2593053.8121 | 1120782.6926
2 | 2593098.0388 | 1120807.5306
3 | 2593014.5754 | 1120769.6427
4 | 2593001.0164 | 1120793.8698
5 | 2592956.3488 | 1120769.4658
6 | 2593013.3633 | 1120800.3453
7 | 2592981.1009 | 1120715.2051
8 | 2592982.433 | 1120713.8969
9 | 2592820.634 | 1120604.3449
10 | 2592806.3892 | 1120597.5487
11 | 2592831.1417 | 1120609.3582
12 | 2592802.9729 | 1120604.812
13 | 2592809.2745 | 1120591.4312
14 | 2592840.6496 | 1120613.8951
15 | 2592831.6035 | 1120623.5669
16 | 2592786.609 | 1120640.9493
17 | 2592769.0873 | 1120580.4178
18 | 2592790.8209 | 1120583.5877
19 | 2592862.5073 | 1120624.325
20 | 2592841.2359 | 1120642.6006
21 | 2592800.4612 | 1120647.105
22 | 2592760.268 | 1120576.6038
23 | 2592846.9224 | 1120443.1961
24 | 2592901.9341 | 1120462.7596
25 | 2592896.7309 | 1120461.1974
26 | 2592987.9282 | 1120485.9566
27 | 2592865.922 | 1120450.2494
28 | 2592894.3448 | 1120358.6379
29 | 2592853.8192 | 1120445.7515
30 | 2592882.4394 | 1120633.836
31 | 2592887.4866 | 1120687.9607
32 | 2592875.4363 | 1120681.9186
33 | 2592895.7509 | 1120691.9772
34 | 2592871.1749 | 1120679.0556
35 | 2592882.7234 | 1120653.9074
36 | 2592860.1573 | 1120703.0361
37 | 2592862.2734 | 1120674.9963
38 | 2592918.7743 | 1120644.4823
39 | 2592870.9396 | 1120707.8912
40 | 2592858.1495 | 1120707.4073
41 | 2592860.8173 | 1120674.3323
42 | 2592974.278 | 1120656.1317
43 | 2592931.9135 | 1120627.0249
44 | 2592923.8073 | 1120649.1194
45 | 2592973.3509 | 1120474.2407
46 | 2592990.4601 | 1120480.7956
47 | 2592940.9367 | 1120461.8222
48 | 2592814.6811 | 1120653.4241
49 | 2592823.3079 | 1120657.2577
50 | 2592803.6739 | 1120681.0262
51 | 2592810.3769 | 1120674.3816
52 | 2592812.8332 | 1120689.9418
53 | 2592816.5573 | 1120682.2002
54 | 2592851.0479 | 1120722.8677
55 | 2592662.1821 | 1120576.9557
56 | 2592648.9587 | 1120556.9724
57 | 2592858.7512 | 1120729.5076
58 | 2592667.1688 | 1120404.9698
59 | 2592695.5667 | 1120536.7308
60 | 2592639.0145 | 1120542.036
61 | 2592739.232 | 1120567.5067
62 | 2592877.9417 | 1120349.4025
63 | 2592860.6729 | 1120339.6798
64 | 2593203.486 | 1120561.0917
65 | 2593249.0131 | 1120566.5949
66 | 2593128.0814 | 1120550.5258
67 | 2593276.9523 | 1120573.7733
68 | 2593129.7423 | 1120545.8994
69 | 2593286.4531 | 1120576.4489
70 | 2593131.6031 | 1120540.7169
71 | 2593218.6105 | 1120558.7592
72 | 2593306.2181 | 1120583.7402
73 | 2593304.8028 | 1120587.3769
74 | 2593308.9109 | 1120577.4452
75 | 2593287.4997 | 1120545.9187
76 | 2593238.7347 | 1120495.6262
77 | 2593327.7029 | 1120578.2358
78 | 2593306.5004 | 1120567.1762
79 | 2593264.6111 | 1120562.8502
80 | 2593248.1207 | 1120551.0434
81 | 2592756.6612 | 1120575.044
82 | 2593183.2725 | 1120492.4326
83 | 2593216.1937 | 1120519.7592
84 | 2593195.8745 | 1120456.5526
85 | 2593237.6095 | 1120540.7439
86 | 2593226.9702 | 1120530.3188
87 | 2593231.9842 | 1120535.2318
88 | 2593129.7423 | 1120545.8994

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1