## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6266-140_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6266-140_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6266-140_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6266-140_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6266-140_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6266-140_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6266-140_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_6266-140_0_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_6266-140_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_6266-140_0_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_6266-140_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6266-140_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6266-140_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6266-140_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6266-140_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6266-140_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6266-140_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6266-140_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6266-140_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6266-140_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_6266-140_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6266-140_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6266-140_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_6266-140_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_6266-140_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6266-140_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6266-140_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_6266-140_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6266-140_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6266-140_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6266-140_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_6266-140_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_6266-140_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6266-140_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_6266-140_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_6266-140_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_6266-140_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6266-140_0_4_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_6266-140_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_6266-140_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6266-140_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6266-140_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6266-140_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6266-140_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6266-140_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_6266-140_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_6266-140_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_MV_278_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6266-140_0_4_load_0 | 0 | 0.0044082 | 0.0011048 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6266-140_0_4_load_5 | 4 | 0.0085229 | 0.002136 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6266-140_0_4_load_39 | 7 | 0.0035138 | 0.00088064 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6266-140_0_4_load_38 | 9 | 0.0046251 | 0.0011592 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6266-140_0_4_load_6 | 10 | 0.0076562 | 0.0019188 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6266-140_0_4_load_7 | 11 | 0.0092006 | 0.0023059 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6266-140_0_4_load_14 | 17 | 0.0212 | 0.0053133 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6266-140_0_4_load_16 | 18 | 0.0041529 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6266-140_0_4_load_30 | 19 | 0.0032282 | 0.00080906 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6266-140_0_4_load_17 | 20 | 0.074371 | 0.018639 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6266-140_0_4_load_47 | 23 | 0.012001 | 0.0030076 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6266-140_0_4_load_18 | 24 | 0.010238 | 0.0025658 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6266-140_0_4_load_24 | 25 | 0.0021082 | 0.00052837 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6266-140_0_4_load_27 | 26 | 0.0021974 | 0.00055072 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6266-140_0_4_load_31 | 30 | 0.020588 | 0.0051599 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6266-140_0_4_load_28 | 31 | 0.0058537 | 0.0014671 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6266-140_0_4_load_21 | 32 | 0.0030134 | 0.00075524 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6266-140_0_4_load_23 | 34 | 0.021494 | 0.005387 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6266-140_0_4_load_42 | 36 | 0.0024694 | 0.00061888 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6266-140_0_4_load_46 | 37 | 0.0017433 | 0.0004369 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6266-140_0_4_load_45 | 38 | 0.0010185 | 0.00025527 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6266-140_0_4_load_29 | 39 | 0.0049185 | 0.0012327 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6266-140_0_4_load_35 | 42 | 0.0032364 | 0.00081113 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6266-140_0_4_load_37 | 44 | 0.0015781 | 0.0003955 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6266-140_0_4_load_43 | 45 | 0.0041759 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6266-140_0_4_load_44 | 46 | 0.0015339 | 0.00038444 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6266-140_0_4_line_0 |  | 0 | 1 | 0.050037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6266-140_0_4_line_1 |  | 0 | 2 | 0.058798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6266-140_0_4_line_2 |  | 1 | 3 | 0.13317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6266-140_0_4_line_3 |  | 2 | 4 | 0.058901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6266-140_0_4_line_4 |  | 2 | 5 | 0.054109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6266-140_0_4_line_5 |  | 3 | 7 | 0.038423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6266-140_0_4_line_6 |  | 5 | 6 | 0.0922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6266-140_0_4_line_7 |  | 6 | 8 | 0.082841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6266-140_0_4_line_8 |  | 7 | 9 | 0.081908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6266-140_0_4_line_9 |  | 8 | 26 | 0.016181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6266-140_0_4_line_10 |  | 9 | 43 | 0.052495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6266-140_0_4_line_11 |  | 10 | 11 | 0.048523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6266-140_0_4_line_12 |  | 10 | 12 | 0.050867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6266-140_0_4_line_13 |  | 11 | 13 | 0.015872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6266-140_0_4_line_14 |  | 12 | 14 | 0.031028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6266-140_0_4_line_15 |  | 12 | 15 | 0.02362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6266-140_0_4_line_16 |  | 13 | 16 | 0.055667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6266-140_0_4_line_17 |  | 14 | 17 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6266-140_0_4_line_18 |  | 15 | 18 | 0.031665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6266-140_0_4_line_19 |  | 16 | 19 | 0.0038841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6266-140_0_4_line_20 |  | 16 | 20 | 0.063474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6266-140_0_4_line_21 |  | 18 | 24 | 0.007278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6266-140_0_4_line_22 |  | 20 | 25 | 0.033891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6266-140_0_4_line_23 |  | 21 | 22 | 0.12774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6266-140_0_4_line_24 |  | 21 | 23 | 0.024901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6266-140_0_4_line_25 |  | 22 | 30 | 0.066636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6266-140_0_4_line_26 |  | 23 | 28 | 0.016594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6266-140_0_4_line_27 |  | 24 | 29 | 0.049914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6266-140_0_4_line_28 |  | 25 | 31 | 0.0699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6266-140_0_4_line_29 |  | 26 | 40 | 0.099875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6266-140_0_4_line_30 |  | 27 | 28 | 0.064767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6266-140_0_4_line_31 |  | 27 | 29 | 0.052927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6266-140_0_4_line_32 |  | 29 | 32 | 0.010055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6266-140_0_4_line_33 |  | 29 | 33 | 0.13387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6266-140_0_4_line_34 |  | 30 | 41 | 0.1357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6266-140_0_4_line_35 |  | 31 | 39 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6266-140_0_4_line_36 |  | 32 | 34 | 0.050374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6266-140_0_4_line_37 |  | 33 | 35 | 0.089056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6266-140_0_4_line_38 |  | 33 | 36 | 0.05315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6266-140_0_4_line_39 |  | 35 | 37 | 0.074801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6266-140_0_4_line_40 |  | 36 | 38 | 0.016144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6266-140_0_4_line_41 |  | 40 | 41 | 0.078501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6266-140_0_4_line_42 |  | 42 | 43 | 0.045896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6266-140_0_4_line_43 |  | 43 | 44 | 0.098518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6266-140_0_4_line_44 |  | 43 | 45 | 0.19609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6266-140_0_4_line_45 |  | 45 | 46 | 0.068738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6266-140_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 47 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2594821.1324 | 1118838.048 | 2594824.9785 | 1118842.0466 | 2594830.3687 | 1118847.0777 | 2594840.5468 | 1118856.6847 | 2594851.2496 | 1118866.2135 | 2594857.6458 | 1118872.2419
1 | 2594909.3798 | 1118899.1131 | 2594903.5836 | 1118897.3727 | 2594895.3557 | 1118894.3894 | 2594887.1661 | 1118891.0059 | 2594880.0644 | 1118887.6548 | 2594874.5448 | 1118884.558 | 2594869.4262 | 1118881.3386 | 2594863.4813 | 1118877.2306 | 2594858.0607 | 1118872.633 | 2594857.6458 | 1118872.2419
2 | 2594748.8099 | 1118733.7267 | 2594761.4201 | 1118744.621 | 2594775.1918 | 1118751.3789 | 2594777.7562 | 1118754.3114 | 2594781.9966 | 1118759.1434 | 2594785.9822 | 1118772.5243 | 2594787.6665 | 1118783.9061 | 2594789.1569 | 1118794.0098 | 2594793.1476 | 1118804.5114 | 2594797.0114 | 1118811.0335 | 2594801.592 | 1118816.6989 | 2594806.8519 | 1118822.664 | 2594817.2931 | 1118833.0933 | 2594820.2743 | 1118836.1923 | 2594821.1324 | 1118838.048
3 | 2594874.2545 | 1118861.069 | 2594873.6015 | 1118864.4156 | 2594872.9574 | 1118869.0518 | 2594873.424 | 1118873.3312 | 2594874.9168 | 1118877.4987 | 2594877.0653 | 1118881.4877 | 2594881.0731 | 1118885.1972 | 2594886.1064 | 1118887.9831 | 2594894.4889 | 1118891.322 | 2594905.2022 | 1118895.3037 | 2594907.9039 | 1118896.602 | 2594909.3021 | 1118898.5462 | 2594909.3798 | 1118899.1131
4 | 2594866.5348 | 1118892.7578 | 2594867.5287 | 1118891.0561 | 2594869.9249 | 1118886.952 | 2594879.7675 | 1118892.3796 | 2594888.9148 | 1118896.6849 | 2594902.1675 | 1118901.7316 | 2594909.1059 | 1118903.7045 | 2594909.5817 | 1118900.6804 | 2594909.3798 | 1118899.1131
5 | 2594748.8099 | 1118733.7267 | 2594761.7045 | 1118734.5714 | 2594767.6742 | 1118731.4312 | 2594774.1385 | 1118729.269 | 2594783.5902 | 1118728.4381 | 2594786.0412 | 1118728.4863
6 | 2594869.2913 | 1118984.656 | 2594869.1669 | 1118956.609 | 2594867.1913 | 1118929.2973 | 2594865.2129 | 1118898.8174 | 2594866.5348 | 1118892.7578
7 | 2594859.1616 | 1119066.7494 | 2594867.704 | 1119014.0273 | 2594869.2913 | 1118984.656
8 | 2594786.0412 | 1118728.4863 | 2594759.4629 | 1118651.0102
9 | 2594859.1616 | 1119066.7494 | 2594856.091 | 1119082.6361
10 | 2594759.4629 | 1118651.0102 | 2594811.0996 | 1118640.76
11 | 2594685.182 | 1118930.9686 | 2594709.1962 | 1118961.8401 | 2594715.0247 | 1118969.2296
12 | 2594652.1826 | 1118892.5014 | 2594661.4876 | 1118900.5081 | 2594685.182 | 1118930.9686
13 | 2594724.8541 | 1118981.6915 | 2594715.0247 | 1118969.2296
14 | 2594630.9221 | 1118915.1538 | 2594652.1826 | 1118892.5014
15 | 2594633.9822 | 1118877.3881 | 2594648.1517 | 1118889.0366 | 2594652.1826 | 1118892.5014
16 | 2594769.5779 | 1118948.9806 | 2594759.4583 | 1118953.2805 | 2594724.8541 | 1118981.6915
17 | 2594630.9221 | 1118915.1538 | 2594617.3958 | 1118907.9185
18 | 2594633.9822 | 1118877.3881 | 2594628.6381 | 1118872.2793 | 2594622.7911 | 1118865.6368 | 2594617.979 | 1118860.1162 | 2594613.0176 | 1118853.7147
19 | 2594769.5779 | 1118948.9806 | 2594770.1213 | 1118952.8265
20 | 2594769.5779 | 1118948.9806 | 2594769.011 | 1118944.9458 | 2594756.2936 | 1118925.6808 | 2594733.205 | 1118897.6502
21 | 2594613.0176 | 1118853.7147 | 2594608.5592 | 1118847.9621
22 | 2594733.205 | 1118897.6502 | 2594760.8759 | 1118878.0825
23 | 2594569.6385 | 1118954.4618 | 2594565.1404 | 1118963.2479 | 2594598.5739 | 1118980.5705 | 2594597.916 | 1118986.8409 | 2594600.3504 | 1118991.0518 | 2594613.2494 | 1118997.3877 | 2594587.2904 | 1119045.5014
24 | 2594569.6385 | 1118954.4618 | 2594580.6144 | 1118933.0413 | 2594579.8825 | 1118932.6441
25 | 2594587.2904 | 1119045.5014 | 2594646.1056 | 1119076.824
26 | 2594565.2982 | 1118924.7289 | 2594579.8825 | 1118932.6441
27 | 2594565.5445 | 1118830.7938 | 2594573.105 | 1118829.364 | 2594580.9599 | 1118829.1456 | 2594589.5655 | 1118831.4723 | 2594594.9 | 1118834.4022 | 2594599.3321 | 1118837.7443 | 2594604.1433 | 1118842.2644 | 2594608.5592 | 1118847.9621
28 | 2594760.8759 | 1118878.0825 | 2594722.526 | 1118819.6415
29 | 2594834.1674 | 1119179.5706 | 2594838.9056 | 1119171.5515 | 2594856.091 | 1119082.6361
30 | 2594545.7422 | 1118878.5241 | 2594536.4415 | 1118909.0809 | 2594550.2523 | 1118916.572 | 2594565.2982 | 1118924.7289
31 | 2594545.7422 | 1118878.5241 | 2594560.5241 | 1118833.8332 | 2594565.5445 | 1118830.7938
32 | 2594565.5445 | 1118830.7938 | 2594567.9766 | 1118832.4035 | 2594570.4926 | 1118833.0793 | 2594574.1509 | 1118833.9319 | 2594574.8845 | 1118834.1872
33 | 2594565.5445 | 1118830.7938 | 2594603.0522 | 1118702.2857
34 | 2594765.8802 | 1119140.611 | 2594646.1056 | 1119076.824
35 | 2594707.8828 | 1118820.7055 | 2594722.526 | 1118819.6415
36 | 2594600.4632 | 1118868.4472 | 2594599.8991 | 1118867.5473 | 2594598.7699 | 1118864.5357 | 2594598.3741 | 1118862.0682 | 2594598.5652 | 1118860.0115 | 2594598.818 | 1118858.077 | 2594597.7443 | 1118856.7884 | 2594595.3196 | 1118854.734 | 2594594.7243 | 1118853.4451 | 2594595.6255 | 1118851.7323 | 2594597.7835 | 1118848.9623 | 2594593.2573 | 1118843.8306 | 2594589.5427 | 1118840.3656 | 2594585.0189 | 1118838.0241 | 2594580.8429 | 1118836.2603 | 2594574.8845 | 1118834.1872
37 | 2594603.0522 | 1118702.2857 | 2594589.7045 | 1118695.3833 | 2594575.7927 | 1118687.6921 | 2594542.7293 | 1118671.9367 | 2594534.5266 | 1118663.2289 | 2594527.6219 | 1118656.3763
38 | 2594603.0522 | 1118702.2857 | 2594591.5698 | 1118701.6736 | 2594571.1816 | 1118699.7133 | 2594550.4361 | 1118695.4973
39 | 2594527.6219 | 1118656.3763 | 2594519.8676 | 1118648.6796 | 2594503.2738 | 1118636.2999 | 2594488.1771 | 1118624.2523 | 2594478.3855 | 1118616.4909 | 2594467.9334 | 1118612.0317
40 | 2594534.5323 | 1118694.7888 | 2594541.9931 | 1118693.7814 | 2594550.4361 | 1118695.4973
41 | 2594765.8802 | 1119140.611 | 2594808.0973 | 1119163.2075 | 2594820.3948 | 1119170.5337 | 2594834.1674 | 1119179.5706
42 | 2594811.0996 | 1118640.76 | 2594765.2036 | 1118640.8001
43 | 2594811.0996 | 1118640.76 | 2594826.6893 | 1118643.7257 | 2594826.6985 | 1118654.3532 | 2594838.7773 | 1118666.3819 | 2594859.5653 | 1118675.6018 | 2594877.818 | 1118679.7771 | 2594885.9544 | 1118674.7343 | 2594888.842 | 1118672.0579
44 | 2594811.0996 | 1118640.76 | 2594849.9863 | 1118448.5655
45 | 2594849.9863 | 1118448.5655 | 2594849.9863 | 1118448.5655 | 2594854.9646 | 1118440.9241 | 2594861.2643 | 1118435.3048 | 2594861.9446 | 1118427.8339 | 2594850.0067 | 1118427.4996 | 2594842.8562 | 1118430.7407 | 2594831.2585 | 1118431.251 | 2594819.3261 | 1118428.3821

## bus_geodata
| x | y | coords
0 | 2594857.6458 | 1118872.2419
1 | 2594821.1324 | 1118838.048
2 | 2594909.3798 | 1118899.1131
3 | 2594748.8099 | 1118733.7267
4 | 2594874.2545 | 1118861.069
5 | 2594866.5348 | 1118892.7578
6 | 2594869.2913 | 1118984.656
7 | 2594786.0412 | 1118728.4863
8 | 2594859.1616 | 1119066.7494
9 | 2594759.4629 | 1118651.0102
10 | 2594685.182 | 1118930.9686
11 | 2594715.0247 | 1118969.2296
12 | 2594652.1826 | 1118892.5014
13 | 2594724.8541 | 1118981.6915
14 | 2594630.9221 | 1118915.1538
15 | 2594633.9822 | 1118877.3881
16 | 2594769.5779 | 1118948.9806
17 | 2594617.3958 | 1118907.9185
18 | 2594613.0176 | 1118853.7147
19 | 2594770.1213 | 1118952.8265
20 | 2594733.205 | 1118897.6502
21 | 2594569.6385 | 1118954.4618
22 | 2594587.2904 | 1119045.5014
23 | 2594579.8825 | 1118932.6441
24 | 2594608.5592 | 1118847.9621
25 | 2594760.8759 | 1118878.0825
26 | 2594856.091 | 1119082.6361
27 | 2594545.7422 | 1118878.5241
28 | 2594565.2982 | 1118924.7289
29 | 2594565.5445 | 1118830.7938
30 | 2594646.1056 | 1119076.824
31 | 2594722.526 | 1118819.6415
32 | 2594574.8845 | 1118834.1872
33 | 2594603.0522 | 1118702.2857
34 | 2594600.4632 | 1118868.4472
35 | 2594527.6219 | 1118656.3763
36 | 2594550.4361 | 1118695.4973
37 | 2594467.9334 | 1118612.0317
38 | 2594534.5323 | 1118694.7888
39 | 2594707.8828 | 1118820.7055
40 | 2594834.1674 | 1119179.5706
41 | 2594765.8802 | 1119140.611
42 | 2594765.2036 | 1118640.8001
43 | 2594811.0996 | 1118640.76
44 | 2594888.842 | 1118672.0579
45 | 2594849.9863 | 1118448.5655
46 | 2594819.3261 | 1118428.3821
47 | 2594633.9822 | 1118877.3881

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1