## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6266-141_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6266-141_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6266-141_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6266-141_0_3_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_6266-141_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6266-141_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_6266-141_0_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_6266-141_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6266-141_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6266-141_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6266-141_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6266-141_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6266-141_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6266-141_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6266-141_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6266-141_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6266-141_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6266-141_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6266-141_0_3_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_6266-141_0_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_6266-141_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6266-141_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6266-141_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6266-141_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6266-141_0_3_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_6266-141_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6266-141_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6266-141_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_6266-141_0_3_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_6266-141_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6266-141_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6266-141_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_6266-141_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6266-141_0_3_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_6266-141_0_3_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_6266-141_0_3_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_6266-141_0_3_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_6266-141_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6266-141_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6266-141_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_6266-141_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6266-141_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6266-141_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6266-141_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6266-141_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_6266-141_0_3_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_6266-141_0_3_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_6266-141_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6266-141_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6266-141_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_6266-141_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6266-141_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_6266-141_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_6266-141_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_6266-141_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_6266-141_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_6266-141_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6266-141_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6266-141_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_6266-141_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_6266-141_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_6266-141_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6266-141_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_6266-141_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_6266-141_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_MV_278_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6266-141_0_3_load_0 | 0 | 0.006414 | 0.0016075 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6266-141_0_3_load_31 | 3 | 0.0030033 | 0.0007527 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6266-141_0_3_load_14 | 5 | 0.0021499 | 0.00053883 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6266-141_0_3_load_29 | 6 | 0.0035177 | 0.00088161 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6266-141_0_3_load_10 | 7 | 0.0031454 | 0.00078832 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6266-141_0_3_load_4 | 8 | 0.0030221 | 0.0007574 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6266-141_0_3_load_12 | 9 | 0.00096706 | 0.00024237 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6266-141_0_3_load_9 | 10 | 0.0026887 | 0.00067384 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6266-141_0_3_load_5 | 11 | 0.0037894 | 0.0009497 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6266-141_0_3_load_8 | 15 | 0.0052206 | 0.0013084 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6266-141_0_3_load_15 | 16 | 0.0031004 | 0.00077704 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6266-141_0_3_load_11 | 17 | 0.0022069 | 0.00055311 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6266-141_0_3_load_45 | 18 | 0.0024719 | 0.00061951 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6266-141_0_3_load_44 | 19 | 0.0014871 | 0.00037271 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6266-141_0_3_load_16 | 20 | 0.00085597 | 0.00021453 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6266-141_0_3_load_17 | 21 | 0.0031675 | 0.00079385 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6266-141_0_3_load_18 | 22 | 0.0026214 | 0.00065699 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6266-141_0_3_load_62 | 24 | 0.0021002 | 0.00052636 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6266-141_0_3_load_20 | 25 | 0.0013066 | 0.00032746 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6266-141_0_3_load_21 | 26 | 0.0041997 | 0.0010525 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6266-141_0_3_load_61 | 28 | 0.0036217 | 0.00090769 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6266-141_0_3_load_23 | 29 | 0.0051555 | 0.0012921 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6266-141_0_3_load_25 | 30 | 0.0041929 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6266-141_0_3_load_24 | 32 | 0.0059487 | 0.0014909 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6266-141_0_3_load_63 | 33 | 0.0047766 | 0.0011971 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6266-141_0_3_load_64 | 34 | 0.0067461 | 0.0016907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6266-141_0_3_load_50 | 35 | 0.0024719 | 0.00061951 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6266-141_0_3_load_51 | 36 | 0.0043571 | 0.001092 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6266-141_0_3_load_27 | 37 | 0.0027809 | 0.00069696 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6266-141_0_3_load_28 | 38 | 0.0051687 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6266-141_0_3_load_30 | 39 | 0.0019129 | 0.00047942 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6266-141_0_3_load_32 | 40 | 0.0016697 | 0.00041846 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6266-141_0_3_load_36 | 44 | 0.0038665 | 0.00096904 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6266-141_0_3_load_58 | 45 | 0.0019857 | 0.00049766 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6266-141_0_3_load_59 | 46 | 0.0024744 | 0.00062013 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6266-141_0_3_load_39 | 47 | 0.0018011 | 0.0004514 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6266-141_0_3_load_41 | 48 | 0.005531 | 0.0013862 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6266-141_0_3_load_49 | 49 | 0.0026951 | 0.00067545 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6266-141_0_3_load_60 | 51 | 0.0046677 | 0.0011698 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6266-141_0_3_load_37 | 52 | 0.0019159 | 0.00048016 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6266-141_0_3_load_42 | 53 | 0.0090979 | 0.0022802 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6266-141_0_3_load_38 | 54 | 0.0055014 | 0.0013788 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6266-141_0_3_load_40 | 55 | 0.0024382 | 0.00061107 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6266-141_0_3_load_43 | 56 | 0.015593 | 0.0039079 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6266-141_0_3_load_46 | 57 | 0.0095264 | 0.0023875 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6266-141_0_3_load_66 | 58 | 0.0055728 | 0.0013967 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6266-141_0_3_load_47 | 59 | 0.0031398 | 0.00078691 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6266-141_0_3_load_56 | 60 | 0.002134 | 0.00053482 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6266-141_0_3_load_57 | 61 | 0.0016101 | 0.00040353 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6266-141_0_3_load_53 | 62 | 0.0021432 | 0.00053713 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6266-141_0_3_load_52 | 63 | 0.0064941 | 0.0016276 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6266-141_0_3_load_54 | 64 | 0.0035317 | 0.00088513 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6266-141_0_3_line_0 |  | 0 | 1 | 0.026267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6266-141_0_3_line_1 |  | 0 | 2 | 0.024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6266-141_0_3_line_2 |  | 0 | 3 | 0.10384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6266-141_0_3_line_3 |  | 1 | 4 | 0.046497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6266-141_0_3_line_4 |  | 2 | 5 | 0.083373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6266-141_0_3_line_5 |  | 3 | 6 | 0.085964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6266-141_0_3_line_6 |  | 4 | 7 | 0.13918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6266-141_0_3_line_7 |  | 5 | 8 | 0.091587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6266-141_0_3_line_8 |  | 5 | 9 | 0.021447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6266-141_0_3_line_9 |  | 6 | 37 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6266-141_0_3_line_10 |  | 7 | 10 | 0.011697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6266-141_0_3_line_11 |  | 9 | 17 | 0.018917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6266-141_0_3_line_12 |  | 11 | 12 | 0.022815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6266-141_0_3_line_13 |  | 12 | 13 | 0.053473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6266-141_0_3_line_14 |  | 13 | 14 | 0.006204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6266-141_0_3_line_15 |  | 13 | 15 | 0.079406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6266-141_0_3_line_16 |  | 14 | 16 | 0.01227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6266-141_0_3_line_17 |  | 14 | 17 | 0.066313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6266-141_0_3_line_18 |  | 16 | 20 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6266-141_0_3_line_19 |  | 18 | 19 | 0.031616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6266-141_0_3_line_20 |  | 19 | 55 | 0.0045674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6266-141_0_3_line_21 |  | 20 | 21 | 0.065149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6266-141_0_3_line_22 |  | 22 | 23 | 0.028579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6266-141_0_3_line_23 |  | 22 | 24 | 0.027234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6266-141_0_3_line_24 |  | 23 | 25 | 0.011316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6266-141_0_3_line_25 |  | 23 | 26 | 0.039257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6266-141_0_3_line_26 |  | 23 | 27 | 0.032876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6266-141_0_3_line_27 |  | 24 | 28 | 0.0011497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6266-141_0_3_line_28 |  | 25 | 29 | 0.033587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6266-141_0_3_line_29 |  | 26 | 30 | 0.021735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6266-141_0_3_line_30 |  | 27 | 31 | 0.024009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6266-141_0_3_line_31 |  | 29 | 32 | 0.020747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6266-141_0_3_line_32 |  | 31 | 33 | 0.029323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6266-141_0_3_line_33 |  | 31 | 34 | 0.050119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6266-141_0_3_line_34 |  | 32 | 35 | 0.033822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6266-141_0_3_line_35 |  | 35 | 36 | 0.036497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6266-141_0_3_line_36 |  | 36 | 44 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6266-141_0_3_line_37 |  | 37 | 38 | 0.016197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6266-141_0_3_line_38 |  | 38 | 39 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6266-141_0_3_line_39 |  | 39 | 40 | 0.0081804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6266-141_0_3_line_40 |  | 40 | 41 | 0.094932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6266-141_0_3_line_41 |  | 41 | 42 | 0.014823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6266-141_0_3_line_42 |  | 41 | 43 | 0.10485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6266-141_0_3_line_43 |  | 41 | 44 | 0.081175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6266-141_0_3_line_44 |  | 42 | 45 | 0.063681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6266-141_0_3_line_45 |  | 42 | 46 | 0.018242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6266-141_0_3_line_46 |  | 43 | 47 | 0.093436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6266-141_0_3_line_47 |  | 43 | 48 | 0.035895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6266-141_0_3_line_48 |  | 45 | 49 | 0.049327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6266-141_0_3_line_49 |  | 45 | 50 | 0.019873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6266-141_0_3_line_50 |  | 46 | 51 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6266-141_0_3_line_51 |  | 47 | 52 | 0.014988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6266-141_0_3_line_52 |  | 48 | 53 | 0.07957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6266-141_0_3_line_53 |  | 50 | 61 | 0.031804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6266-141_0_3_line_54 |  | 50 | 62 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6266-141_0_3_line_55 |  | 52 | 54 | 0.0019845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6266-141_0_3_line_56 |  | 53 | 56 | 0.039986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6266-141_0_3_line_57 |  | 54 | 55 | 0.0097555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6266-141_0_3_line_58 |  | 56 | 57 | 0.02129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6266-141_0_3_line_59 |  | 57 | 58 | 0.24205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6266-141_0_3_line_60 |  | 59 | 60 | 0.04903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6266-141_0_3_line_61 |  | 60 | 61 | 0.025918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6266-141_0_3_line_62 |  | 62 | 63 | 0.030311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6266-141_0_3_line_63 |  | 63 | 64 | 0.0048282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6266-141_0_3_trafo_32 | 0.63 MVA 20/0.4 kV | 65 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2594238.4125 | 1118600.0872 | 2594226.5098 | 1118595.9744 | 2594216.4527 | 1118593.2939 | 2594213.2283 | 1118592.7748
1 | 2594188.8486 | 1118590.8306 | 2594195.9939 | 1118590.6903 | 2594206.2268 | 1118591.6475 | 2594213.2283 | 1118592.7748
2 | 2594128.7573 | 1118532.3829 | 2594213.2283 | 1118592.7748
3 | 2594238.4125 | 1118600.0872 | 2594238.2094 | 1118605.5234 | 2594241.2298 | 1118608.9221 | 2594246.6263 | 1118611.6961 | 2594261.9295 | 1118621.3194 | 2594268.4649 | 1118628.9391 | 2594266.3594 | 1118630.0861
4 | 2594105.8462 | 1118582.9743 | 2594188.8486 | 1118590.8306
5 | 2594128.7573 | 1118532.3829 | 2594136.3487 | 1118530.7079 | 2594142.4567 | 1118527.2002 | 2594146.1565 | 1118522.9501 | 2594148.3713 | 1118515.1886 | 2594146.3269 | 1118507.8092 | 2594139.2816 | 1118499.8788 | 2594127.9764 | 1118491.5859 | 2594116.8571 | 1118484.0264 | 2594113.1477 | 1118478.4829 | 2594111.8568 | 1118473.6128
6 | 2594266.3594 | 1118630.0861 | 2594384.8917 | 1118557.1378
7 | 2594105.8462 | 1118582.9743 | 2594174.8432 | 1118643.2041
8 | 2594105.8462 | 1118582.9743 | 2594101.7061 | 1118582.3118 | 2594084.6689 | 1118579.5861
9 | 2594107.0198 | 1118461.8808 | 2594107.0198 | 1118461.8808 | 2594111.2888 | 1118471.4702 | 2594111.8568 | 1118473.6128
10 | 2594384.8917 | 1118557.1378 | 2594392.8374 | 1118565.7223
11 | 2594065.9899 | 1118576.5977 | 2594084.6689 | 1118579.5861
12 | 2594038.105 | 1118587.9109 | 2594034.3261 | 1118590.0602 | 2594031.2783 | 1118590.2411 | 2594026.9403 | 1118588.8781 | 2594018.0314 | 1118582.6554
13 | 2594038.105 | 1118587.9109 | 2594032.1798 | 1118581.1691 | 2594027.9226 | 1118575.7484 | 2594024.2667 | 1118569.7491 | 2594020.9566 | 1118562.3488 | 2594016.7875 | 1118552.3926 | 2594012.4939 | 1118541.5026
14 | 2594012.4939 | 1118541.5026 | 2594018.5887 | 1118540.2515
15 | 2594012.4939 | 1118541.5026 | 2593938.6689 | 1118570.7469
16 | 2594018.5887 | 1118540.2515 | 2594016.7653 | 1118537.9188 | 2594013.9277 | 1118532.3189 | 2594012.5848 | 1118529.6008
17 | 2594018.5887 | 1118540.2515 | 2594020.4588 | 1118542.9732 | 2594024.2899 | 1118554.3971 | 2594029.1455 | 1118564.0192 | 2594032.5684 | 1118568.5514 | 2594036.0889 | 1118570.3043 | 2594040.3265 | 1118571.5451 | 2594065.7958 | 1118576.5667 | 2594065.9899 | 1118576.5977
18 | 2594012.5848 | 1118529.6008 | 2594010.2936 | 1118524.9634 | 2594007.9748 | 1118521.1194 | 2594004.8607 | 1118516.8315 | 2594004.6376 | 1118516.577
19 | 2594266.2413 | 1118459.0287 | 2594237.784 | 1118452.3709 | 2594235.4398 | 1118451.9058
20 | 2594230.9598 | 1118451.017 | 2594235.4398 | 1118451.9058
21 | 2593949.7949 | 1118488.455 | 2593952.0588 | 1118488.682 | 2593960.3472 | 1118489.3851 | 2593969.7931 | 1118490.1982 | 2593975.8286 | 1118491.3815 | 2593980.4912 | 1118493.111 | 2593985.1471 | 1118495.9522 | 2593988.9772 | 1118498.6385 | 2593991.4182 | 1118501.1929 | 2593993.8288 | 1118504.1364 | 2593996.7877 | 1118507.624 | 2594004.6376 | 1118516.577
22 | 2593860.1423 | 1118446.7328 | 2593858.0633 | 1118443.6112 | 2593853.3978 | 1118439.0693 | 2593845.9455 | 1118433.5076 | 2593838.2107 | 1118428.8702
23 | 2593838.2107 | 1118428.8702 | 2593851.9664 | 1118405.3654
24 | 2593860.1423 | 1118446.7328 | 2593863.4442 | 1118446.0291 | 2593871.3522 | 1118445.3158
25 | 2593860.1423 | 1118446.7328 | 2593862.522 | 1118449.6874 | 2593867.6937 | 1118451.2273 | 2593876.9102 | 1118454.0081 | 2593886.0189 | 1118456.9891 | 2593896.7357 | 1118458.7259
26 | 2593860.1423 | 1118446.7328 | 2593856.1689 | 1118447.4039 | 2593853.3976 | 1118446.384 | 2593850.4395 | 1118443.8525 | 2593844.8241 | 1118438.5779 | 2593839.6417 | 1118434.1922 | 2593834.1748 | 1118430.7628 | 2593833.0634 | 1118430.6417
27 | 2593851.9664 | 1118405.3654 | 2593850.9997 | 1118404.7431
28 | 2593871.3522 | 1118445.3158 | 2593884.8868 | 1118444.0951 | 2593904.6371 | 1118440.9606
29 | 2593896.7357 | 1118458.7259 | 2593897.4028 | 1118458.834 | 2593914.4829 | 1118462.0181 | 2593918.1623 | 1118462.2273
30 | 2593833.0634 | 1118430.6417 | 2593831.6974 | 1118430.4874 | 2593828.7446 | 1118433.0362 | 2593841.9229 | 1118446.3514
31 | 2593904.6371 | 1118440.9606 | 2593925.1279 | 1118437.7086
32 | 2593841.9229 | 1118446.3514 | 2593854.5521 | 1118458.5555 | 2593861.5963 | 1118465.0403 | 2593863.3484 | 1118466.3478
33 | 2593841.9229 | 1118446.3514 | 2593797.8162 | 1118470.153
34 | 2593925.1279 | 1118437.7086 | 2593930.0758 | 1118436.9233 | 2593958.4775 | 1118432.0802
35 | 2593958.4775 | 1118432.0802 | 2593965.0956 | 1118430.9516 | 2593985.4828 | 1118430.7643 | 2593989.1316 | 1118429.6045 | 2593993.4209 | 1118426.0563
36 | 2593993.4209 | 1118426.0563 | 2594009.3402 | 1118412.8872
37 | 2594107.0198 | 1118461.8808 | 2594108.407 | 1118452.2747 | 2594109.3267 | 1118445.8485 | 2594109.3267 | 1118445.8485
38 | 2594101.8955 | 1118432.6943 | 2594105.3431 | 1118436.2143 | 2594109.3267 | 1118445.8485
39 | 2594101.8955 | 1118432.6943 | 2594096.1716 | 1118426.85
40 | 2594044.7602 | 1118351.3772 | 2594055.8994 | 1118355.3792 | 2594062.6281 | 1118362.8095 | 2594072.5854 | 1118381.1531 | 2594076.943 | 1118394.3552 | 2594082.135 | 1118408.5904 | 2594089.593 | 1118420.1331 | 2594096.1716 | 1118426.85
41 | 2594044.7602 | 1118351.3772 | 2594039.4023 | 1118348.9591 | 2594030.7494 | 1118346.5444
42 | 2594044.7602 | 1118351.3772 | 2594061.7929 | 1118353.3168 | 2594070.4967 | 1118360.3227 | 2594089.9715 | 1118381.5471 | 2594104.0639 | 1118398.8639 | 2594123.4029 | 1118415.5864
43 | 2594044.7602 | 1118351.3772 | 2594042.5562 | 1118362.2069 | 2594042.1245 | 1118370.3336 | 2594041.1505 | 1118384.1191 | 2594039.1867 | 1118395.8157 | 2594036.2612 | 1118402.6553 | 2594031.8882 | 1118405.1053 | 2594009.3402 | 1118412.8872 | 2594009.3402 | 1118412.8872
44 | 2594030.7494 | 1118346.5444 | 2594020.9773 | 1118343.8195 | 2593995.0937 | 1118334.5631 | 2593970.5497 | 1118325.8433
45 | 2594030.7494 | 1118346.5444 | 2594023.9325 | 1118351.1979 | 2594022.9436 | 1118357.8021 | 2594020.9758 | 1118360.4638
46 | 2594123.4029 | 1118415.5864 | 2594126.2296 | 1118418.0293 | 2594152.1134 | 1118435.9572 | 2594180.4875 | 1118451.815 | 2594192.4449 | 1118456.2278 | 2594205.2547 | 1118454.2375
47 | 2594123.4029 | 1118415.5864 | 2594153.7147 | 1118424.1943 | 2594155.1895 | 1118420.0646
48 | 2593970.5497 | 1118325.8433 | 2594007.0899 | 1118292.7083
49 | 2593951.9873 | 1118318.7543 | 2593963.8296 | 1118323.4558 | 2593970.5497 | 1118325.8433
50 | 2594009.359 | 1118370.0439 | 2594017.318 | 1118365.4115 | 2594020.9758 | 1118360.4638
51 | 2594219.5203 | 1118449.7818 | 2594208.2847 | 1118453.7668 | 2594205.2547 | 1118454.2375
52 | 2594155.1895 | 1118420.0646 | 2594156.4389 | 1118416.5657 | 2594133.753 | 1118401.8918 | 2594118.4496 | 1118385.0319 | 2594108.3276 | 1118371.702 | 2594108.9334 | 1118367.8217 | 2594114.3352 | 1118367.8831
53 | 2593951.9873 | 1118318.7543 | 2593924.9059 | 1118308.0209 | 2593922.3967 | 1118307.0995
54 | 2593951.9873 | 1118318.7543 | 2593947.1549 | 1118330.6314
55 | 2594219.5203 | 1118449.7818 | 2594221.3907 | 1118449.1185
56 | 2594150.7961 | 1118381.7986 | 2594143.3483 | 1118381.8059 | 2594126.3584 | 1118376.3087 | 2594114.3352 | 1118367.8831 | 2594114.3352 | 1118367.8831
57 | 2594221.3907 | 1118449.1185 | 2594221.3907 | 1118449.1185 | 2594230.9598 | 1118451.017
58 | 2594150.7961 | 1118381.7986 | 2594160.2787 | 1118381.7893 | 2594166.8662 | 1118379.1149 | 2594170.4355 | 1118376.0604
59 | 2594170.4355 | 1118376.0604 | 2594248.1542 | 1118146.8223
60 | 2593898.0676 | 1118298.1658 | 2593926.2862 | 1118258.0708
61 | 2593898.0676 | 1118298.1658 | 2593922.3967 | 1118307.0995
62 | 2593933.7523 | 1118357.6652 | 2593940.0329 | 1118348.1364 | 2593947.1549 | 1118330.6314
63 | 2593931.0952 | 1118361.6965 | 2593933.7523 | 1118357.6652

## bus_geodata
| x | y | coords
0 | 2594213.2283 | 1118592.7748
1 | 2594238.4125 | 1118600.0872
2 | 2594188.8486 | 1118590.8306
3 | 2594128.7573 | 1118532.3829
4 | 2594266.3594 | 1118630.0861
5 | 2594105.8462 | 1118582.9743
6 | 2594111.8568 | 1118473.6128
7 | 2594384.8917 | 1118557.1378
8 | 2594174.8432 | 1118643.2041
9 | 2594084.6689 | 1118579.5861
10 | 2594392.8374 | 1118565.7223
11 | 2594018.0314 | 1118582.6554
12 | 2594038.105 | 1118587.9109
13 | 2594012.4939 | 1118541.5026
14 | 2594018.5887 | 1118540.2515
15 | 2593938.6689 | 1118570.7469
16 | 2594012.5848 | 1118529.6008
17 | 2594065.9899 | 1118576.5977
18 | 2594266.2413 | 1118459.0287
19 | 2594235.4398 | 1118451.9058
20 | 2594004.6376 | 1118516.577
21 | 2593949.7949 | 1118488.455
22 | 2593838.2107 | 1118428.8702
23 | 2593860.1423 | 1118446.7328
24 | 2593851.9664 | 1118405.3654
25 | 2593871.3522 | 1118445.3158
26 | 2593896.7357 | 1118458.7259
27 | 2593833.0634 | 1118430.6417
28 | 2593850.9997 | 1118404.7431
29 | 2593904.6371 | 1118440.9606
30 | 2593918.1623 | 1118462.2273
31 | 2593841.9229 | 1118446.3514
32 | 2593925.1279 | 1118437.7086
33 | 2593863.3484 | 1118466.3478
34 | 2593797.8162 | 1118470.153
35 | 2593958.4775 | 1118432.0802
36 | 2593993.4209 | 1118426.0563
37 | 2594107.0198 | 1118461.8808
38 | 2594109.3267 | 1118445.8485
39 | 2594101.8955 | 1118432.6943
40 | 2594096.1716 | 1118426.85
41 | 2594044.7602 | 1118351.3772
42 | 2594030.7494 | 1118346.5444
43 | 2594123.4029 | 1118415.5864
44 | 2594009.3402 | 1118412.8872
45 | 2593970.5497 | 1118325.8433
46 | 2594020.9758 | 1118360.4638
47 | 2594205.2547 | 1118454.2375
48 | 2594155.1895 | 1118420.0646
49 | 2594007.0899 | 1118292.7083
50 | 2593951.9873 | 1118318.7543
51 | 2594009.359 | 1118370.0439
52 | 2594219.5203 | 1118449.7818
53 | 2594114.3352 | 1118367.8831
54 | 2594221.3907 | 1118449.1185
55 | 2594230.9598 | 1118451.017
56 | 2594150.7961 | 1118381.7986
57 | 2594170.4354 | 1118376.0604
58 | 2594248.1542 | 1118146.8223
59 | 2593926.2862 | 1118258.0708
60 | 2593898.0676 | 1118298.1658
61 | 2593922.3967 | 1118307.0995
62 | 2593947.1549 | 1118330.6314
63 | 2593933.7523 | 1118357.6652
64 | 2593931.0952 | 1118361.6965
65 | 2594044.7602 | 1118351.3772

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1