## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6266-153_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6266-153_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6266-153_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6266-153_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6266-153_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6266-153_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6266-153_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_6266-153_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_6266-153_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_6266-153_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6266-153_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6266-153_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6266-153_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6266-153_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6266-153_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6266-153_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6266-153_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_6266-153_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6266-153_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6266-153_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_6266-153_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6266-153_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_6266-153_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_6266-153_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_6266-153_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6266-153_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6266-153_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6266-153_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6266-153_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6266-153_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_6266-153_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_6266-153_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_6266-153_0_4_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_6266-153_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_6266-153_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6266-153_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_6266-153_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6266-153_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6266-153_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_6266-153_0_4_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_6266-153_0_4_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_6266-153_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_6266-153_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_6266-153_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_6266-153_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_6266-153_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_6266-153_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6266-153_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_6266-153_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_6266-153_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_6266-153_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_6266-153_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_6266-153_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_6266-153_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_6266-153_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6266-153_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_6266-153_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6266-153_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_MV_276_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6266-153_0_4_load_0 | 0 | 0.0075465 | 0.0018913 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6266-153_0_4_load_1 | 1 | 0.01032 | 0.0025865 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6266-153_0_4_load_3 | 3 | 0.019056 | 0.0047759 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6266-153_0_4_load_5 | 5 | 0.011555 | 0.002896 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6266-153_0_4_load_24 | 6 | 0.01713 | 0.0042932 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6266-153_0_4_load_17 | 8 | 0.014693 | 0.0036823 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6266-153_0_4_load_14 | 9 | 0.013334 | 0.0033417 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6266-153_0_4_load_6 | 10 | 0.02973 | 0.0074511 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6266-153_0_4_load_12 | 15 | 0.035239 | 0.0088318 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6266-153_0_4_load_34 | 16 | 0.018038 | 0.0045206 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6266-153_0_4_load_10 | 17 | 0.0043019 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6266-153_0_4_load_35 | 19 | 0.02788 | 0.0069874 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6266-153_0_4_load_15 | 20 | 0.01935 | 0.0048496 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6266-153_0_4_load_26 | 22 | 0.0077996 | 0.0019548 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6266-153_0_4_load_27 | 23 | 0.020881 | 0.0052332 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6266-153_0_4_load_18 | 24 | 0.024193 | 0.0060633 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6266-153_0_4_load_23 | 27 | 0.0050117 | 0.001256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6266-153_0_4_load_32 | 30 | 0.019351 | 0.0048498 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6266-153_0_4_load_36 | 31 | 0.014367 | 0.0036007 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6266-153_0_4_load_57 | 32 | 0.016399 | 0.0041099 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6266-153_0_4_load_37 | 33 | 0.012707 | 0.0031848 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6266-153_0_4_load_30 | 34 | 0.0092024 | 0.0023063 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6266-153_0_4_load_28 | 37 | 0.0075825 | 0.0019004 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6266-153_0_4_load_55 | 38 | 0.017543 | 0.0043966 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6266-153_0_4_load_58 | 40 | 0.0080223 | 0.0020106 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6266-153_0_4_load_39 | 42 | 0.014847 | 0.003721 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6266-153_0_4_load_41 | 44 | 0.013481 | 0.0033787 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6266-153_0_4_load_43 | 45 | 0.013811 | 0.0034614 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6266-153_0_4_load_42 | 46 | 0.013993 | 0.0035071 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6266-153_0_4_load_44 | 47 | 0.014594 | 0.0036576 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6266-153_0_4_load_45 | 48 | 0.0072753 | 0.0018234 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6266-153_0_4_load_46 | 49 | 0.0060667 | 0.0015205 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6266-153_0_4_load_47 | 50 | 0.0025866 | 0.00064825 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6266-153_0_4_load_48 | 51 | 0.001998 | 0.00050075 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6266-153_0_4_load_54 | 53 | 0.0061615 | 0.0015442 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6266-153_0_4_load_49 | 55 | 0.0086983 | 0.00218 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6266-153_0_4_load_53 | 56 | 0.011256 | 0.002821 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6266-153_0_4_load_50 | 57 | 0.0051226 | 0.0012838 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6266-153_0_4_line_0 |  | 0 | 1 | 0.008605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6266-153_0_4_line_1 |  | 0 | 2 | 0.036251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6266-153_0_4_line_2 |  | 1 | 3 | 0.00080931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6266-153_0_4_line_3 |  | 2 | 4 | 0.099492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6266-153_0_4_line_4 |  | 3 | 5 | 0.037476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6266-153_0_4_line_5 |  | 4 | 6 | 0.050082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6266-153_0_4_line_6 |  | 5 | 7 | 0.0037581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6266-153_0_4_line_7 |  | 7 | 8 | 0.019437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6266-153_0_4_line_8 |  | 7 | 9 | 0.0077231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6266-153_0_4_line_9 |  | 9 | 18 | 0.036111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6266-153_0_4_line_10 |  | 10 | 11 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6266-153_0_4_line_11 |  | 11 | 12 | 0.011062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6266-153_0_4_line_12 |  | 11 | 13 | 0.0034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6266-153_0_4_line_13 |  | 12 | 14 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6266-153_0_4_line_14 |  | 12 | 15 | 0.028157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6266-153_0_4_line_15 |  | 13 | 16 | 0.044529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6266-153_0_4_line_16 |  | 14 | 17 | 0.020888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6266-153_0_4_line_17 |  | 15 | 18 | 0.069866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6266-153_0_4_line_18 |  | 16 | 19 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6266-153_0_4_line_19 |  | 18 | 20 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6266-153_0_4_line_20 |  | 19 | 31 | 0.016683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6266-153_0_4_line_21 |  | 20 | 21 | 0.054904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6266-153_0_4_line_22 |  | 21 | 22 | 0.016652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6266-153_0_4_line_23 |  | 21 | 23 | 0.070779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6266-153_0_4_line_24 |  | 22 | 34 | 0.0071633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6266-153_0_4_line_25 |  | 23 | 35 | 0.026062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6266-153_0_4_line_26 |  | 24 | 25 | 0.041467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6266-153_0_4_line_27 |  | 25 | 26 | 0.004821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6266-153_0_4_line_28 |  | 25 | 27 | 0.010723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6266-153_0_4_line_29 |  | 26 | 29 | 0.031004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6266-153_0_4_line_30 |  | 26 | 31 | 0.014582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6266-153_0_4_line_31 |  | 27 | 32 | 0.013651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6266-153_0_4_line_32 |  | 28 | 29 | 0.004967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6266-153_0_4_line_33 |  | 28 | 30 | 0.01542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6266-153_0_4_line_34 |  | 29 | 33 | 0.023869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6266-153_0_4_line_35 |  | 33 | 41 | 0.022671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6266-153_0_4_line_36 |  | 34 | 36 | 0.037027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6266-153_0_4_line_37 |  | 35 | 37 | 0.021351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6266-153_0_4_line_38 |  | 36 | 38 | 0.01457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6266-153_0_4_line_39 |  | 36 | 39 | 0.018435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6266-153_0_4_line_40 |  | 39 | 40 | 0.046031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6266-153_0_4_line_41 |  | 41 | 42 | 0.015216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6266-153_0_4_line_42 |  | 41 | 43 | 0.013161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6266-153_0_4_line_43 |  | 42 | 44 | 0.0068225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6266-153_0_4_line_44 |  | 43 | 45 | 0.0538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6266-153_0_4_line_45 |  | 44 | 46 | 0.0086306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6266-153_0_4_line_46 |  | 45 | 47 | 0.011514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6266-153_0_4_line_47 |  | 47 | 48 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6266-153_0_4_line_48 |  | 48 | 49 | 0.0075041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6266-153_0_4_line_49 |  | 49 | 50 | 0.0086986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6266-153_0_4_line_50 |  | 50 | 51 | 0.0096683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6266-153_0_4_line_51 |  | 51 | 55 | 0.0092218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6266-153_0_4_line_52 |  | 52 | 53 | 0.037316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6266-153_0_4_line_53 |  | 52 | 54 | 0.053578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6266-153_0_4_line_54 |  | 53 | 56 | 0.0034885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6266-153_0_4_line_55 |  | 54 | 57 | 0.10023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6266-153_0_4_line_56 |  | 55 | 56 | 0.040677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6266-153_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 58 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2592761.0044 | 1119879.355 | 2592763.9292 | 1119887.4476
1 | 2592735.4619 | 1119855.0151 | 2592737.6702 | 1119856.5577 | 2592747.9072 | 1119862.5148 | 2592751.6678 | 1119865.3672 | 2592754.9892 | 1119868.6871 | 2592757.8719 | 1119872.8856 | 2592760.2843 | 1119877.3627 | 2592761.0044 | 1119879.355
2 | 2592763.9292 | 1119887.4476 | 2592764.2042 | 1119888.2087
3 | 2592735.4619 | 1119855.0151 | 2592733.9631 | 1119853.3272 | 2592731.9771 | 1119850.6283 | 2592730.4995 | 1119847.2396 | 2592730.0714 | 1119844.1608 | 2592730.2751 | 1119840.3698 | 2592731.0086 | 1119834.4438 | 2592731.8048 | 1119829.3626 | 2592732.8416 | 1119825.5594 | 2592734.3201 | 1119823.2454 | 2592736.0389 | 1119821.9204 | 2592738.6299 | 1119820.9279 | 2592741.0758 | 1119821.1695 | 2592743.6618 | 1119822.4226 | 2592744.8991 | 1119824.8222 | 2592752.7949 | 1119846.8457 | 2592756.8128 | 1119851.9433 | 2592762.1406 | 1119855.6832 | 2592771.3886 | 1119860.4077 | 2592776.4376 | 1119863.2807
4 | 2592776.942 | 1119923.4532 | 2592764.2042 | 1119888.2087
5 | 2592776.4376 | 1119863.2807 | 2592802.0856 | 1119879.38 | 2592819.7347 | 1119888.354
6 | 2592778.2194 | 1119926.9876 | 2592776.942 | 1119923.4532
7 | 2592778.2194 | 1119926.9876 | 2592789.1858 | 1119910.9221
8 | 2592778.2194 | 1119926.9876 | 2592780.8448 | 1119934.2507
9 | 2592794.9434 | 1119964.1523 | 2592797.0234 | 1119961.7153 | 2592797.2434 | 1119958.6135 | 2592793.4469 | 1119951.5146 | 2592785.5765 | 1119943.887 | 2592782.469 | 1119938.7438 | 2592780.8448 | 1119934.2507
10 | 2592710.1262 | 1119956.34 | 2592707.3452 | 1119959.6005 | 2592698.425 | 1119977.53
11 | 2592702.4481 | 1119948.3565 | 2592710.1262 | 1119956.34
12 | 2592712.5207 | 1119958.7605 | 2592710.1262 | 1119956.34
13 | 2592694.1059 | 1119939.9292 | 2592702.4481 | 1119948.3565
14 | 2592702.4481 | 1119948.3565 | 2592707.8973 | 1119944.1478 | 2592715.6497 | 1119943.438 | 2592728.0642 | 1119948.7081
15 | 2592712.5207 | 1119958.7605 | 2592724.6066 | 1119968.9174 | 2592737.8891 | 1119979.8178 | 2592746.9009 | 1119987.0574
16 | 2592694.1059 | 1119939.9292 | 2592703.1062 | 1119924.9887 | 2592705.0103 | 1119922.1162
17 | 2592794.9434 | 1119964.1523 | 2592791.8056 | 1119965.9125 | 2592787.493 | 1119965.8177 | 2592760.7907 | 1119958.0127 | 2592737.401 | 1119952.6717 | 2592728.0642 | 1119948.7081
18 | 2592746.9009 | 1119987.0574 | 2592755.9203 | 1119994.303 | 2592759.6819 | 1119997.0358
19 | 2592794.9434 | 1119964.1523 | 2592804.0643 | 1119965.9089 | 2592812.6406 | 1119969.3021
20 | 2592759.6819 | 1119997.0358 | 2592770.7841 | 1120005.1015 | 2592773.175 | 1120006.8469
21 | 2592850.7862 | 1120006.1838 | 2592843.5163 | 1119990.9961 | 2592831.5067 | 1119979.8717 | 2592818.0422 | 1119971.4393 | 2592812.6406 | 1119969.3021
22 | 2592850.7862 | 1120006.1838 | 2592851.6814 | 1120012.8971 | 2592857.1289 | 1120021.139
23 | 2592850.7862 | 1120006.1838 | 2592852.1786 | 1120002.8472 | 2592850.0236 | 1119994.2344 | 2592845.1076 | 1119986.2697 | 2592837.9695 | 1119978.1298 | 2592835.8854 | 1119970.7398 | 2592837.4053 | 1119964.3348 | 2592844.2922 | 1119949.5416 | 2592848.8445 | 1119943.5554
24 | 2592857.1289 | 1120021.139 | 2592858.869 | 1120023.7717 | 2592861.7783 | 1120026.5278
25 | 2592870.2089 | 1119958.4817 | 2592848.8445 | 1119943.5554
26 | 2592787.8026 | 1120011.5508 | 2592767.3257 | 1119996.8572 | 2592754.1572 | 1119987.3134
27 | 2592784.9529 | 1120015.445 | 2592787.8026 | 1120011.5508
28 | 2592787.8026 | 1120011.5508 | 2592794.3987 | 1120003.0969
29 | 2592810.2246 | 1120033.5013 | 2592799.1752 | 1120025.3883 | 2592784.9529 | 1120015.445
30 | 2592784.9529 | 1120015.445 | 2592773.175 | 1120006.8469
31 | 2592805.4421 | 1119995.455 | 2592796.6146 | 1120000.2569 | 2592794.3987 | 1120003.0969
32 | 2592810.2246 | 1120033.5013 | 2592813.8077 | 1120030.0508
33 | 2592813.8077 | 1120030.0508 | 2592815.2566 | 1120028.7818 | 2592817.0885 | 1120025.3112 | 2592816.8293 | 1120021.4986 | 2592812.7159 | 1120017.4834
34 | 2592810.2246 | 1120033.5013 | 2592806.3648 | 1120037.8525 | 2592794.1585 | 1120051.1527
35 | 2592778.829 | 1120067.8559 | 2592794.1585 | 1120051.1527
36 | 2592896.7165 | 1120036.4551 | 2592895.9215 | 1120036.1114 | 2592882.7105 | 1120033.0478 | 2592872.7038 | 1120032.3149 | 2592864.5765 | 1120029.1786 | 2592861.7783 | 1120026.5278
37 | 2592870.2089 | 1119958.4817 | 2592876.3207 | 1119959.9863 | 2592889.0699 | 1119967.9968
38 | 2592896.7165 | 1120036.4551 | 2592903.6445 | 1120023.6295
39 | 2592912.7267 | 1120044.9736 | 2592910.826 | 1120042.4858 | 2592896.7165 | 1120036.4551
40 | 2592866.6606 | 1120043.0829 | 2592894.3791 | 1120043.05 | 2592912.7267 | 1120044.9736
41 | 2592778.829 | 1120067.8559 | 2592766.337 | 1120059.1677
42 | 2592773.8672 | 1120079.512 | 2592774.0851 | 1120074.7427 | 2592776.3023 | 1120070.9048 | 2592778.829 | 1120067.8559
43 | 2592766.337 | 1120059.1677 | 2592760.736 | 1120055.2722
44 | 2592773.8672 | 1120079.512 | 2592763.2414 | 1120083.5824 | 2592757.3569 | 1120084.9235 | 2592753.1194 | 1120083.1277 | 2592744.0247 | 1120077.4026 | 2592726.428 | 1120065.8737
45 | 2592753.6506 | 1120050.3443 | 2592760.736 | 1120055.2722
46 | 2592726.428 | 1120065.8737 | 2592716.7973 | 1120059.564
47 | 2592716.7973 | 1120059.564 | 2592710.6944 | 1120055.5657 | 2592700.6977 | 1120047.4691
48 | 2592700.6977 | 1120047.4691 | 2592694.8664 | 1120042.7461
49 | 2592694.8664 | 1120042.7461 | 2592688.1068 | 1120037.2714
50 | 2592680.5936 | 1120031.1863 | 2592688.1068 | 1120037.2714
51 | 2592674.1289 | 1120025.2874 | 2592673.8285 | 1120025.7071 | 2592680.5936 | 1120031.1863
52 | 2592663.4239 | 1120084.3486 | 2592653.6702 | 1120076.0342 | 2592651.2299 | 1120073.9584 | 2592654.308 | 1120067.6738 | 2592646.2753 | 1120055.8461
53 | 2592619.3524 | 1120066.883 | 2592664.0999 | 1120088.2719 | 2592663.4239 | 1120084.3486
54 | 2592644.3153 | 1120052.9602 | 2592646.2753 | 1120055.8461
55 | 2592619.3524 | 1120066.883 | 2592599.1666 | 1120056.992 | 2592589.9224 | 1120049.0439 | 2592588.0656 | 1120038.5744 | 2592586.2375 | 1120007.606 | 2592575.7912 | 1120000.86 | 2592565.0226 | 1119996.9153
56 | 2592674.1289 | 1120025.2874 | 2592644.3153 | 1120052.9602

## bus_geodata
| x | y | coords
0 | 2592761.0044 | 1119879.355
1 | 2592763.9292 | 1119887.4476
2 | 2592735.4619 | 1119855.0151
3 | 2592764.2042 | 1119888.2087
4 | 2592776.4376 | 1119863.2808
5 | 2592776.942 | 1119923.4532
6 | 2592819.7347 | 1119888.354
7 | 2592778.2194 | 1119926.9876
8 | 2592789.1858 | 1119910.9221
9 | 2592780.8448 | 1119934.2507
10 | 2592698.425 | 1119977.53
11 | 2592710.1262 | 1119956.34
12 | 2592702.4481 | 1119948.3565
13 | 2592712.5207 | 1119958.7605
14 | 2592694.1059 | 1119939.9292
15 | 2592728.0642 | 1119948.7081
16 | 2592746.9009 | 1119987.0574
17 | 2592705.0103 | 1119922.1162
18 | 2592794.9434 | 1119964.1523
19 | 2592759.6819 | 1119997.0358
20 | 2592812.6406 | 1119969.3021
21 | 2592850.7862 | 1120006.1838
22 | 2592857.1289 | 1120021.139
23 | 2592848.8445 | 1119943.5554
24 | 2592754.1572 | 1119987.3134
25 | 2592787.8027 | 1120011.5508
26 | 2592784.9529 | 1120015.445
27 | 2592794.3987 | 1120003.0969
28 | 2592813.8077 | 1120030.0508
29 | 2592810.2246 | 1120033.5013
30 | 2592812.7159 | 1120017.4834
31 | 2592773.175 | 1120006.8469
32 | 2592805.4421 | 1119995.455
33 | 2592794.1585 | 1120051.1527
34 | 2592861.7783 | 1120026.5278
35 | 2592870.2089 | 1119958.4817
36 | 2592896.7165 | 1120036.4551
37 | 2592889.0699 | 1119967.9968
38 | 2592903.6445 | 1120023.6295
39 | 2592912.7267 | 1120044.9736
40 | 2592866.6606 | 1120043.0829
41 | 2592778.829 | 1120067.8559
42 | 2592766.337 | 1120059.1677
43 | 2592773.8672 | 1120079.512
44 | 2592760.736 | 1120055.2722
45 | 2592726.428 | 1120065.8737
46 | 2592753.6506 | 1120050.3443
47 | 2592716.7973 | 1120059.564
48 | 2592700.6977 | 1120047.4691
49 | 2592694.8664 | 1120042.7461
50 | 2592688.1068 | 1120037.2714
51 | 2592680.5936 | 1120031.1863
52 | 2592663.4239 | 1120084.3486
53 | 2592646.2753 | 1120055.8461
54 | 2592619.3524 | 1120066.883
55 | 2592674.1289 | 1120025.2874
56 | 2592644.3153 | 1120052.9602
57 | 2592565.0226 | 1119996.9153
58 | 2592784.9529 | 1120015.445

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1