## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6266-173_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6266-173_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6266-173_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6266-173_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6266-173_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6266-173_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6266-173_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6266-173_0_6_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_6266-173_0_6_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_6266-173_0_6_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_6266-173_0_6_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_6266-173_0_6_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_6266-173_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6266-173_0_6_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_6266-173_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6266-173_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_6266-173_0_6_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_6266-173_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6266-173_0_6_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_6266-173_0_6_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_6266-173_0_6_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_6266-173_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6266-173_0_6_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_6266-173_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6266-173_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6266-173_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6266-173_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_6266-173_0_6_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6266-173_0_6_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_6266-173_0_6_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_6266-173_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6266-173_0_6_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_6266-173_0_6_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_6266-173_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6266-173_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6266-173_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6266-173_0_6_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_6266-173_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6266-173_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_6266-173_0_6_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_6266-173_0_6_node_13 | 0.4 | n |  | TRUE
41 | bus_LV_6266-173_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_6266-173_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6266-173_0_6_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_6266-173_0_6_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_6266-173_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6266-173_0_6_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_6266-173_0_6_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_6266-173_0_6_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_6266-173_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6266-173_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_6266-173_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_6266-173_0_6_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_6266-173_0_6_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_6266-173_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_6266-173_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_6266-173_0_6_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_6266-173_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6266-173_0_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_6266-173_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6266-173_0_6_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_6266-173_0_6_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_6266-173_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_6266-173_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6266-173_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6266-173_0_6_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_6266-173_0_6_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6266-173_0_6_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6266-173_0_6_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6266-173_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_MV_266_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6266-173_0_6_load_0 | 0 | 0.015591 | 0.0039074 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6266-173_0_6_load_3 | 3 | 0.0095286 | 0.0023881 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6266-173_0_6_load_11 | 7 | 0.0074316 | 0.0018625 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6266-173_0_6_load_69 | 8 | 0.0097632 | 0.0024469 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6266-173_0_6_load_51 | 10 | 0.003505 | 0.00087844 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6266-173_0_6_load_71 | 11 | 0.0058999 | 0.0014787 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6266-173_0_6_load_70 | 13 | 0.0049141 | 0.0012316 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6266-173_0_6_load_50 | 16 | 0.0084997 | 0.0021302 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6266-173_0_6_load_62 | 18 | 0.0082654 | 0.0020715 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6266-173_0_6_load_63 | 19 | 0.007693 | 0.0019281 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6266-173_0_6_load_12 | 21 | 0.027796 | 0.0069663 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6266-173_0_6_load_24 | 22 | 0.011179 | 0.0028017 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6266-173_0_6_load_14 | 23 | 0.017413 | 0.004364 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6266-173_0_6_load_26 | 27 | 0.0066225 | 0.0016598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6266-173_0_6_load_37 | 28 | 0.004432 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6266-173_0_6_load_38 | 29 | 0.0042747 | 0.0010713 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6266-173_0_6_load_64 | 32 | 0.0077102 | 0.0019324 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6266-173_0_6_load_27 | 33 | 0.0047012 | 0.0011782 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6266-173_0_6_load_40 | 38 | 0.045996 | 0.011528 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6266-173_0_6_load_68 | 39 | 0.02239 | 0.0056115 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6266-173_0_6_load_13 | 40 | 0.019757 | 0.0049517 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6266-173_0_6_load_25 | 41 | 0.022538 | 0.0056487 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6266-173_0_6_load_36 | 42 | 0.0041664 | 0.0010442 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6266-173_0_6_load_65 | 43 | 0.0040157 | 0.0010064 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6266-173_0_6_load_66 | 46 | 0.0070151 | 0.0017581 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6266-173_0_6_load_61 | 47 | 0.019169 | 0.0048042 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6266-173_0_6_load_60 | 48 | 0.029993 | 0.007517 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6266-173_0_6_load_41 | 49 | 0.0023224 | 0.00058205 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6266-173_0_6_load_30 | 50 | 0.001945 | 0.00048747 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6266-173_0_6_load_31 | 51 | 0.0041197 | 0.0010325 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6266-173_0_6_load_32 | 52 | 0.0039386 | 0.00098712 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6266-173_0_6_load_33 | 53 | 0.0041771 | 0.0010469 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6266-173_0_6_load_34 | 54 | 0.0033958 | 0.00085108 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6266-173_0_6_load_35 | 55 | 0.0044073 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6266-173_0_6_load_67 | 56 | 0.00054142 | 0.00013569 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6266-173_0_6_load_44 | 57 | 0.0011247 | 0.00028187 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6266-173_0_6_load_45 | 58 | 0.0028363 | 0.00071084 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6266-173_0_6_load_47 | 60 | 0.00049344 | 0.00012367 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6266-173_0_6_load_52 | 62 | 0.00049343 | 0.00012366 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6266-173_0_6_load_55 | 64 | 0.00056141 | 0.0001407 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6266-173_0_6_load_53 | 65 | 0.00056145 | 0.00014071 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6266-173_0_6_load_54 | 66 | 0.0006537 | 0.00016383 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6266-173_0_6_load_56 | 67 | 0.0013174 | 0.00033018 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6266-173_0_6_load_57 | 68 | 0.00084741 | 0.00021238 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6266-173_0_6_load_59 | 69 | 0.00029077 | 7.2874e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6266-173_0_6_line_0 |  | 0 | 1 | 0.02582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6266-173_0_6_line_1 |  | 0 | 2 | 0.017593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6266-173_0_6_line_2 |  | 1 | 3 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6266-173_0_6_line_3 |  | 1 | 4 | 0.015159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6266-173_0_6_line_4 |  | 2 | 5 | 0.052223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6266-173_0_6_line_5 |  | 2 | 6 | 0.029927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6266-173_0_6_line_6 |  | 3 | 7 | 0.0043349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6266-173_0_6_line_7 |  | 4 | 8 | 0.004788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6266-173_0_6_line_8 |  | 5 | 11 | 0.005235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6266-173_0_6_line_9 |  | 6 | 9 | 0.027726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6266-173_0_6_line_10 |  | 6 | 10 | 0.016393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6266-173_0_6_line_11 |  | 7 | 21 | 0.0038487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6266-173_0_6_line_12 |  | 9 | 22 | 0.006096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6266-173_0_6_line_13 |  | 9 | 23 | 0.013477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6266-173_0_6_line_14 |  | 12 | 13 | 0.011912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6266-173_0_6_line_15 |  | 12 | 14 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6266-173_0_6_line_16 |  | 14 | 15 | 0.025999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6266-173_0_6_line_17 |  | 14 | 16 | 0.028458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6266-173_0_6_line_18 |  | 15 | 24 | 0.067708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6266-173_0_6_line_19 |  | 15 | 23 | 0.023902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6266-173_0_6_line_20 |  | 17 | 18 | 0.016091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6266-173_0_6_line_21 |  | 17 | 19 | 0.012148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6266-173_0_6_line_22 |  | 17 | 20 | 0.010878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6266-173_0_6_line_23 |  | 20 | 33 | 0.0070675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6266-173_0_6_line_24 |  | 21 | 40 | 0.023122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6266-173_0_6_line_25 |  | 24 | 25 | 0.044553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6266-173_0_6_line_26 |  | 24 | 26 | 0.014144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6266-173_0_6_line_27 |  | 24 | 27 | 0.018828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6266-173_0_6_line_28 |  | 25 | 28 | 0.018983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6266-173_0_6_line_29 |  | 25 | 29 | 0.016063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6266-173_0_6_line_30 |  | 26 | 33 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6266-173_0_6_line_31 |  | 26 | 30 | 0.004164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6266-173_0_6_line_32 |  | 27 | 41 | 0.031134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6266-173_0_6_line_33 |  | 28 | 42 | 0.0021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6266-173_0_6_line_34 |  | 29 | 34 | 0.002104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6266-173_0_6_line_35 |  | 30 | 31 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6266-173_0_6_line_36 |  | 30 | 32 | 0.008306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6266-173_0_6_line_37 |  | 31 | 43 | 0.008053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6266-173_0_6_line_38 |  | 31 | 44 | 0.022241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6266-173_0_6_line_39 |  | 34 | 35 | 0.038567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6266-173_0_6_line_40 |  | 35 | 36 | 0.023394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6266-173_0_6_line_41 |  | 35 | 37 | 0.18569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6266-173_0_6_line_42 |  | 35 | 38 | 0.02948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6266-173_0_6_line_43 |  | 36 | 47 | 0.021497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6266-173_0_6_line_44 |  | 36 | 48 | 0.062528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6266-173_0_6_line_45 |  | 37 | 39 | 0.053529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6266-173_0_6_line_46 |  | 42 | 55 | 0.0077847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6266-173_0_6_line_47 |  | 44 | 49 | 0.0073917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6266-173_0_6_line_48 |  | 44 | 45 | 0.010044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6266-173_0_6_line_49 |  | 45 | 46 | 0.005637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6266-173_0_6_line_50 |  | 48 | 56 | 0.22621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6266-173_0_6_line_51 |  | 50 | 51 | 0.0078259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6266-173_0_6_line_52 |  | 51 | 52 | 0.0073731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6266-173_0_6_line_53 |  | 52 | 53 | 0.0073283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6266-173_0_6_line_54 |  | 53 | 54 | 0.0067193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6266-173_0_6_line_55 |  | 54 | 55 | 0.0076713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6266-173_0_6_line_56 |  | 56 | 63 | 0.034576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6266-173_0_6_line_57 |  | 57 | 58 | 0.0077346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6266-173_0_6_line_58 |  | 57 | 59 | 0.047672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6266-173_0_6_line_59 |  | 58 | 60 | 0.0058737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6266-173_0_6_line_60 |  | 59 | 61 | 0.038328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6266-173_0_6_line_61 |  | 60 | 62 | 0.0070987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6266-173_0_6_line_62 |  | 61 | 63 | 0.019746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6266-173_0_6_line_63 |  | 61 | 64 | 0.032945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6266-173_0_6_line_64 |  | 62 | 65 | 0.0013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6266-173_0_6_line_65 |  | 64 | 67 | 0.024853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6266-173_0_6_line_66 |  | 65 | 66 | 0.015126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6266-173_0_6_line_67 |  | 67 | 68 | 0.0067603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6266-173_0_6_line_68 |  | 68 | 69 | 0.030773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6266-173_0_6_trafo_17 | 0.63 MVA 20/0.4 kV | 70 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2590627.1355 | 1119276.8438 | 2590635.7316 | 1119277.4195 | 2590641.2608 | 1119280.568 | 2590652.0821 | 1119281.2421
1 | 2590669.6415 | 1119282.3358 | 2590652.0821 | 1119281.2421
2 | 2590627.1355 | 1119276.8438 | 2590626.4624 | 1119288.1794
3 | 2590611.9651 | 1119275.8447 | 2590627.1355 | 1119276.8438
4 | 2590666.5473 | 1119326.8736 | 2590668.0847 | 1119303.3041 | 2590672.407 | 1119299.4177 | 2590672.9966 | 1119291.5018 | 2590673.624 | 1119283.1411 | 2590673.6824 | 1119281.04 | 2590670.8838 | 1119282.4228 | 2590669.6415 | 1119282.3358
5 | 2590669.6415 | 1119282.3358 | 2590670.8838 | 1119282.4228 | 2590673.6824 | 1119281.04 | 2590674.1723 | 1119273.5689 | 2590686.7656 | 1119274.4943 | 2590687.2278 | 1119269.0687
6 | 2590626.4624 | 1119288.1794 | 2590626.2054 | 1119292.5067
7 | 2590611.718 | 1119280.6253 | 2590611.9651 | 1119275.8447
8 | 2590671.7791 | 1119327.299 | 2590669.0782 | 1119327.0142 | 2590666.5473 | 1119326.8736
9 | 2590687.88 | 1119241.8543 | 2590689.9031 | 1119247.8319 | 2590688.3753 | 1119257.7502 | 2590687.2278 | 1119269.0687
10 | 2590687.2278 | 1119269.0687 | 2590703.5761 | 1119270.279
11 | 2590625.9773 | 1119296.3487 | 2590626.2054 | 1119292.5067
12 | 2590687.88 | 1119241.8543 | 2590681.7689 | 1119241.6637
13 | 2590687.88 | 1119241.8543 | 2590690.0682 | 1119228.5561
14 | 2590730.4545 | 1119206.7045 | 2590732.0026 | 1119194.8964
15 | 2590730.4545 | 1119206.7045 | 2590720.1903 | 1119205.1307 | 2590719.6941 | 1119208.5776
16 | 2590719.6941 | 1119208.5776 | 2590708.002 | 1119206.7504 | 2590693.949 | 1119204.9713
17 | 2590719.6941 | 1119208.5776 | 2590715.6369 | 1119236.7453
18 | 2590693.949 | 1119204.9713 | 2590626.6924 | 1119195.6157
19 | 2590693.949 | 1119204.9713 | 2590690.0682 | 1119228.5561
20 | 2590592.9527 | 1119225.7944 | 2590587.8639 | 1119228.0368 | 2590584.7992 | 1119231.9769 | 2590582.3149 | 1119236.9499
21 | 2590592.9527 | 1119225.7944 | 2590589.901 | 1119223.2201 | 2590581.8436 | 1119221.7765
22 | 2590592.9527 | 1119225.7944 | 2590599.3892 | 1119217.0133
23 | 2590599.3892 | 1119217.0133 | 2590603.566 | 1119211.3121
24 | 2590618.3572 | 1119312.6973 | 2590625.0005 | 1119312.7981 | 2590625.9773 | 1119296.3487
25 | 2590626.6924 | 1119195.6157 | 2590627.3023 | 1119190.9458 | 2590630.1376 | 1119168.5304 | 2590632.5568 | 1119151.4516
26 | 2590626.6924 | 1119195.6157 | 2590621.7378 | 1119194.9009 | 2590612.6021 | 1119194.7039
27 | 2590626.6924 | 1119195.6157 | 2590624.2647 | 1119214.2868
28 | 2590632.5568 | 1119151.4516 | 2590644.3908 | 1119155.146 | 2590650.6309 | 1119157.2516
29 | 2590632.5568 | 1119151.4516 | 2590634.4899 | 1119135.5058
30 | 2590612.6021 | 1119194.7039 | 2590612.3778 | 1119199.2843 | 2590603.566 | 1119211.3121
31 | 2590612.8116 | 1119190.546 | 2590612.6021 | 1119194.7039
32 | 2590624.2647 | 1119214.2868 | 2590623.2386 | 1119222.1786 | 2590633.9533 | 1119225.6191 | 2590645.7672 | 1119227.2265
33 | 2590652.6316 | 1119157.9267 | 2590650.6309 | 1119157.2516
34 | 2590634.7431 | 1119133.4171 | 2590634.4899 | 1119135.5058
35 | 2590612.8116 | 1119190.546 | 2590595.5939 | 1119187.9606
36 | 2590612.8116 | 1119190.546 | 2590612.382 | 1119182.2537
37 | 2590595.5939 | 1119187.9606 | 2590596.9317 | 1119180.0212
38 | 2590573.4991 | 1119184.9048 | 2590595.5939 | 1119187.9606
39 | 2590628.7241 | 1119103.3006 | 2590638.1702 | 1119104.5865 | 2590634.7431 | 1119133.4171
40 | 2590628.7241 | 1119103.3006 | 2590638.1702 | 1119104.5865 | 2590651.8919 | 1119106.5438
41 | 2590560.7312 | 1119127.0409 | 2590557.7285 | 1119126.223 | 2590555.1429 | 1119130.6626 | 2590552.7689 | 1119132.2115 | 2590551.6288 | 1119133.3472 | 2590518.2593 | 1119129.1978 | 2590517.9458 | 1119116.3586 | 2590518.8573 | 1119107.2194 | 2590539.0843 | 1119109.7109 | 2590545.9224 | 1119106.0539 | 2590549.2746 | 1119103.3584 | 2590552.9938 | 1119098.6169 | 2590554.1258 | 1119097.1811 | 2590557.0289 | 1119093.497 | 2590628.7241 | 1119103.3006
42 | 2590628.7241 | 1119103.3006 | 2590634.109 | 1119074.3165
43 | 2590651.8919 | 1119106.5438 | 2590660.3794 | 1119086.7876
44 | 2590651.8919 | 1119106.5438 | 2590655.7893 | 1119107.0936 | 2590659.7699 | 1119101.6514 | 2590670.2371 | 1119079.7577 | 2590695.3891 | 1119091.0781
45 | 2590560.7312 | 1119127.0409 | 2590565.0737 | 1119126.1003 | 2590568.0725 | 1119124.4503 | 2590570.036 | 1119121.8682 | 2590571.6815 | 1119118.2527 | 2590572.3031 | 1119116.084 | 2590574.2665 | 1119113.5019 | 2590575.0895 | 1119111.8554 | 2590576.7392 | 1119110.919 | 2590579.3311 | 1119110.5036 | 2590582.7418 | 1119110.7095 | 2590585.4343 | 1119110.494 | 2590588.9525 | 1119110.3885 | 2590591.8549 | 1119111.2065 | 2590593.5071 | 1119111.8265 | 2590595.4782 | 1119114.0912 | 2590597.7617 | 1119118.8344 | 2590599.2181 | 1119122.545
46 | 2590660.0077 | 1119160.4156 | 2590652.6316 | 1119157.9267
47 | 2590573.4991 | 1119184.9048 | 2590574.2899 | 1119177.5555
48 | 2590566.0643 | 1119186.9286 | 2590566.5226 | 1119183.9598 | 2590573.4991 | 1119184.9048
49 | 2590565.2089 | 1119192.4993 | 2590566.0643 | 1119186.9286
50 | 2590695.3891 | 1119091.0781 | 2590835.2405 | 1118913.2775
51 | 2590694.9878 | 1119172.2189 | 2590687.5727 | 1119169.7168
52 | 2590687.5727 | 1119169.7168 | 2590680.5866 | 1119167.3595
53 | 2590680.5866 | 1119167.3595 | 2590673.643 | 1119165.0165
54 | 2590673.643 | 1119165.0165 | 2590667.2763 | 1119162.8683
55 | 2590667.2763 | 1119162.8683 | 2590660.0077 | 1119160.4156
56 | 2590853.7538 | 1118884.5686 | 2590848.4824 | 1118888.7564 | 2590835.2405 | 1118913.2775
57 | 2590781.8148 | 1118881.4054 | 2590775.0151 | 1118877.7191
58 | 2590825.4736 | 1118899.1633 | 2590819.3393 | 1118899.1727 | 2590790.6774 | 1118886.2102 | 2590781.8148 | 1118881.4054
59 | 2590769.8515 | 1118874.9197 | 2590775.0151 | 1118877.7191
60 | 2590825.4736 | 1118899.1633 | 2590826.4689 | 1118899.1618 | 2590833.7961 | 1118892.0693 | 2590841.2254 | 1118881.1304 | 2590846.3136 | 1118868.1496
61 | 2590769.8515 | 1118874.9197 | 2590763.6109 | 1118871.5364
62 | 2590846.3136 | 1118868.1496 | 2590852.9804 | 1118873.2308 | 2590853.7538 | 1118884.5686
63 | 2590846.3136 | 1118868.1496 | 2590845.8394 | 1118850.664 | 2590850.408 | 1118835.9021
64 | 2590763.6109 | 1118871.5364 | 2590762.4086 | 1118870.8846
65 | 2590850.408 | 1118835.9021 | 2590857.7558 | 1118812.1598
66 | 2590762.4086 | 1118870.8846 | 2590749.1112 | 1118863.6756
67 | 2590857.7558 | 1118812.1598 | 2590859.7544 | 1118805.7017
68 | 2590859.7544 | 1118805.7017 | 2590868.3294 | 1118777.9941 | 2590868.9023 | 1118776.3206

## bus_geodata
| x | y | coords
0 | 2590652.0821 | 1119281.2421
1 | 2590627.1355 | 1119276.8438
2 | 2590669.6415 | 1119282.3358
3 | 2590626.4624 | 1119288.1794
4 | 2590611.9651 | 1119275.8447
5 | 2590666.5473 | 1119326.8736
6 | 2590687.2278 | 1119269.0687
7 | 2590626.2054 | 1119292.5067
8 | 2590611.718 | 1119280.6253
9 | 2590687.88 | 1119241.8543
10 | 2590703.5761 | 1119270.279
11 | 2590671.7791 | 1119327.299
12 | 2590730.4545 | 1119206.7045
13 | 2590732.0026 | 1119194.8964
14 | 2590719.6941 | 1119208.5776
15 | 2590693.949 | 1119204.9713
16 | 2590715.6369 | 1119236.7453
17 | 2590592.9527 | 1119225.7944
18 | 2590582.3149 | 1119236.9499
19 | 2590581.8436 | 1119221.7765
20 | 2590599.3892 | 1119217.0133
21 | 2590625.9773 | 1119296.3487
22 | 2590681.7689 | 1119241.6637
23 | 2590690.0682 | 1119228.5561
24 | 2590626.6924 | 1119195.6157
25 | 2590632.5568 | 1119151.4516
26 | 2590612.6021 | 1119194.7039
27 | 2590624.2647 | 1119214.2868
28 | 2590650.6309 | 1119157.2516
29 | 2590634.4899 | 1119135.5058
30 | 2590612.8116 | 1119190.546
31 | 2590595.5939 | 1119187.9606
32 | 2590612.382 | 1119182.2537
33 | 2590603.566 | 1119211.3121
34 | 2590634.7431 | 1119133.4171
35 | 2590628.7241 | 1119103.3006
36 | 2590651.8919 | 1119106.5438
37 | 2590560.7312 | 1119127.0409
38 | 2590634.109 | 1119074.3165
39 | 2590599.2181 | 1119122.545
40 | 2590618.3572 | 1119312.6973
41 | 2590645.7672 | 1119227.2265
42 | 2590652.6316 | 1119157.9267
43 | 2590596.9317 | 1119180.0212
44 | 2590573.499 | 1119184.9048
45 | 2590566.0643 | 1119186.9286
46 | 2590565.2089 | 1119192.4993
47 | 2590660.3794 | 1119086.7876
48 | 2590695.3891 | 1119091.0781
49 | 2590574.2899 | 1119177.5555
50 | 2590694.9878 | 1119172.2189
51 | 2590687.5727 | 1119169.7168
52 | 2590680.5866 | 1119167.3595
53 | 2590673.643 | 1119165.0165
54 | 2590667.2763 | 1119162.8683
55 | 2590660.0077 | 1119160.4156
56 | 2590835.2405 | 1118913.2775
57 | 2590781.8148 | 1118881.4054
58 | 2590775.0151 | 1118877.7191
59 | 2590825.4736 | 1118899.1633
60 | 2590769.8515 | 1118874.9197
61 | 2590846.3136 | 1118868.1496
62 | 2590763.6109 | 1118871.5364
63 | 2590853.7538 | 1118884.5686
64 | 2590850.408 | 1118835.9021
65 | 2590762.4086 | 1118870.8846
66 | 2590749.1112 | 1118863.6756
67 | 2590857.7558 | 1118812.1598
68 | 2590859.7544 | 1118805.7017
69 | 2590868.9023 | 1118776.3206
70 | 2590627.3023 | 1119190.9458

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1