## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6266-180_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6266-180_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6266-180_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_6266-180_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6266-180_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6266-180_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_6266-180_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_6266-180_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6266-180_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6266-180_0_4_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_6266-180_0_4_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_6266-180_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6266-180_0_4_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_6266-180_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_6266-180_0_4_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_6266-180_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_6266-180_0_4_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_6266-180_0_4_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_6266-180_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6266-180_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_6266-180_0_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_6266-180_0_4_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_6266-180_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_6266-180_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6266-180_0_4_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_6266-180_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_6266-180_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_6266-180_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_6266-180_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_6266-180_0_4_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_6266-180_0_4_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_6266-180_0_4_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_6266-180_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_6266-180_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_6266-180_0_4_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_6266-180_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_6266-180_0_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_6266-180_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_6266-180_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_6266-180_0_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_6266-180_0_4_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_6266-180_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_6266-180_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_6266-180_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_6266-180_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6266-180_0_4_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_6266-180_0_4_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_6266-180_0_4_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_6266-180_0_4_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_6266-180_0_4_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_6266-180_0_4_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_6266-180_0_4_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_6266-180_0_4_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_6266-180_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_6266-180_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_6266-180_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_6266-180_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_6266-180_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_6266-180_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_6266-180_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_6266-180_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_6266-180_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_6266-180_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_MV_97_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6266-180_0_4_load_0 | 0 | 0.0063141 | 0.0015825 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6266-180_0_4_load_31 | 6 | 0.003985 | 0.00099874 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6266-180_0_4_load_42 | 9 | 0.043208 | 0.010829 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6266-180_0_4_load_55 | 10 | 0.0041911 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6266-180_0_4_load_7 | 11 | 0.0061001 | 0.0015288 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6266-180_0_4_load_58 | 12 | 0.0063164 | 0.0015831 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6266-180_0_4_load_62 | 14 | 0.0064174 | 0.0016084 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6266-180_0_4_load_56 | 17 | 0.01077 | 0.0026992 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6266-180_0_4_load_30 | 19 | 0.0067279 | 0.0016862 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6266-180_0_4_load_28 | 20 | 0.0045797 | 0.0011478 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6266-180_0_4_load_53 | 24 | 0.0026741 | 0.0006702 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6266-180_0_4_load_33 | 26 | 0.010359 | 0.0025963 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6266-180_0_4_load_32 | 28 | 0.010765 | 0.0026979 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6266-180_0_4_load_59 | 30 | 0.026694 | 0.0066901 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6266-180_0_4_load_44 | 31 | 0.0096774 | 0.0024254 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6266-180_0_4_load_43 | 33 | 0.0080579 | 0.0020195 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6266-180_0_4_load_45 | 36 | 0.0066233 | 0.0016599 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6266-180_0_4_load_41 | 37 | 0.0033479 | 0.00083906 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6266-180_0_4_load_57 | 38 | 0.0044271 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6266-180_0_4_load_60 | 39 | 0.006857 | 0.0017185 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6266-180_0_4_load_61 | 40 | 0.0045432 | 0.0011386 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6266-180_0_4_load_50 | 41 | 0.0058019 | 0.0014541 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6266-180_0_4_load_54 | 43 | 0.0039954 | 0.0010013 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6266-180_0_4_load_46 | 44 | 0.0081493 | 0.0020424 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6266-180_0_4_load_20 | 45 | 0.0046832 | 0.0011737 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6266-180_0_4_load_21 | 46 | 0.0044324 | 0.0011109 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6266-180_0_4_load_23 | 48 | 0.0057684 | 0.0014457 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6266-180_0_4_load_24 | 49 | 0.0042323 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6266-180_0_4_load_27 | 52 | 0.0073961 | 0.0018536 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6266-180_0_4_load_34 | 53 | 0.007031 | 0.0017621 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6266-180_0_4_load_36 | 55 | 0.010259 | 0.0025711 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6266-180_0_4_load_38 | 57 | 0.0091927 | 0.0023039 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6266-180_0_4_load_40 | 58 | 0.007141 | 0.0017897 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6266-180_0_4_load_52 | 61 | 0.011922 | 0.0029879 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6266-180_0_4_load_51 | 62 | 0.0088842 | 0.0022266 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6266-180_0_4_line_0 |  | 0 | 1 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6266-180_0_4_line_1 |  | 1 | 2 | 0.20404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6266-180_0_4_line_2 |  | 2 | 11 | 0.18738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6266-180_0_4_line_3 |  | 3 | 4 | 0.14955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6266-180_0_4_line_4 |  | 3 | 5 | 0.026855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6266-180_0_4_line_5 |  | 3 | 6 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6266-180_0_4_line_6 |  | 4 | 10 | 0.0028403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6266-180_0_4_line_7 |  | 4 | 7 | 0.075601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6266-180_0_4_line_8 |  | 5 | 19 | 0.011052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6266-180_0_4_line_9 |  | 5 | 20 | 0.013898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6266-180_0_4_line_10 |  | 7 | 8 | 0.00367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6266-180_0_4_line_11 |  | 7 | 9 | 0.040616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6266-180_0_4_line_12 |  | 8 | 12 | 0.014271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6266-180_0_4_line_13 |  | 8 | 13 | 0.043577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6266-180_0_4_line_14 |  | 11 | 21 | 0.050205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6266-180_0_4_line_15 |  | 13 | 14 | 0.005037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6266-180_0_4_line_16 |  | 13 | 15 | 0.040283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6266-180_0_4_line_17 |  | 13 | 16 | 0.034515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6266-180_0_4_line_18 |  | 15 | 17 | 0.008513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6266-180_0_4_line_19 |  | 15 | 18 | 0.005119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6266-180_0_4_line_20 |  | 16 | 44 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6266-180_0_4_line_21 |  | 18 | 35 | 0.010667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6266-180_0_4_line_22 |  | 18 | 37 | 0.025995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6266-180_0_4_line_23 |  | 20 | 51 | 0.0090714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6266-180_0_4_line_24 |  | 21 | 22 | 0.1193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6266-180_0_4_line_25 |  | 22 | 23 | 0.05807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6266-180_0_4_line_26 |  | 22 | 24 | 0.059258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6266-180_0_4_line_27 |  | 23 | 39 | 0.051532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6266-180_0_4_line_28 |  | 23 | 40 | 0.010377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6266-180_0_4_line_29 |  | 23 | 29 | 0.034122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6266-180_0_4_line_30 |  | 25 | 26 | 0.017379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6266-180_0_4_line_31 |  | 25 | 27 | 0.050844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6266-180_0_4_line_32 |  | 25 | 28 | 0.016937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6266-180_0_4_line_33 |  | 27 | 31 | 0.009738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6266-180_0_4_line_34 |  | 27 | 32 | 0.014668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6266-180_0_4_line_35 |  | 27 | 33 | 0.020304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6266-180_0_4_line_36 |  | 27 | 29 | 0.044979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6266-180_0_4_line_37 |  | 29 | 30 | 0.036454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6266-180_0_4_line_38 |  | 32 | 38 | 0.008751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6266-180_0_4_line_39 |  | 32 | 34 | 0.016115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6266-180_0_4_line_40 |  | 34 | 35 | 0.018936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6266-180_0_4_line_41 |  | 34 | 36 | 0.0064154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6266-180_0_4_line_42 |  | 35 | 41 | 0.0083838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6266-180_0_4_line_43 |  | 37 | 42 | 0.0049102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6266-180_0_4_line_44 |  | 41 | 43 | 0.0064059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6266-180_0_4_line_45 |  | 42 | 58 | 0.022126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6266-180_0_4_line_46 |  | 42 | 57 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6266-180_0_4_line_47 |  | 44 | 59 | 0.0066825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6266-180_0_4_line_48 |  | 45 | 46 | 0.0041104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6266-180_0_4_line_49 |  | 45 | 47 | 0.014931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6266-180_0_4_line_50 |  | 47 | 48 | 0.007779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6266-180_0_4_line_51 |  | 48 | 49 | 0.0011679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6266-180_0_4_line_52 |  | 49 | 50 | 0.010748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6266-180_0_4_line_53 |  | 50 | 51 | 0.003075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6266-180_0_4_line_54 |  | 50 | 52 | 0.012885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6266-180_0_4_line_55 |  | 53 | 54 | 0.010626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6266-180_0_4_line_56 |  | 54 | 55 | 0.030731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6266-180_0_4_line_57 |  | 54 | 56 | 0.012417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6266-180_0_4_line_58 |  | 56 | 57 | 0.003258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6266-180_0_4_line_59 |  | 59 | 60 | 0.003948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6266-180_0_4_line_60 |  | 60 | 61 | 0.027692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6266-180_0_4_line_61 |  | 60 | 62 | 0.012134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6266-180_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 63 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2597709.2905 | 1120195.5847 | 2597700.4025 | 1120208.6196
1 | 2597651.987 | 1120116.0018 | 2597629.4316 | 1120101.2259 | 2597621.6676 | 1120093.2695 | 2597603.1713 | 1120120.0124 | 2597601.3827 | 1120122.6588 | 2597621.1987 | 1120135.7016 | 2597638.0671 | 1120146.8892 | 2597641.5549 | 1120149.0444 | 2597654.511 | 1120157.9658 | 2597709.2905 | 1120195.5847
2 | 2597651.987 | 1120116.0018 | 2597715.7333 | 1120159.3312 | 2597724.4195 | 1120158.6608 | 2597760.5399 | 1120182.6809 | 2597762.0837 | 1120184.9369 | 2597762.7329 | 1120188.1938 | 2597761.5001 | 1120191.9184 | 2597757.9076 | 1120198.4674 | 2597747.5075 | 1120215.6353 | 2597746.8611 | 1120219.6153 | 2597746.2688 | 1120224.0955 | 2597743.4856 | 1120228.4209 | 2597740.287 | 1120234.6411
3 | 2597523.9126 | 1120211.3343 | 2597535.8036 | 1120218.8997 | 2597561.1143 | 1120181.3486 | 2597571.9233 | 1120165.3807 | 2597590.8595 | 1120177.6234 | 2597610.8921 | 1120192.2446 | 2597614.9432 | 1120194.8775 | 2597630.4533 | 1120205.343
4 | 2597630.4533 | 1120205.343 | 2597652.4224 | 1120220.8751
5 | 2597630.4533 | 1120205.343 | 2597624.4802 | 1120215.3301
6 | 2597523.9126 | 1120211.3343 | 2597522.2867 | 1120213.6632
7 | 2597523.9126 | 1120211.3343 | 2597535.8036 | 1120218.8997 | 2597517.7017 | 1120245.7649 | 2597535.3956 | 1120257.7522 | 2597537.5048 | 1120265.1994
8 | 2597652.4224 | 1120220.8751 | 2597646.4886 | 1120230.1995
9 | 2597652.4224 | 1120220.8751 | 2597663.9314 | 1120228.6663
10 | 2597539.4192 | 1120268.3335 | 2597537.5048 | 1120265.1994
11 | 2597537.5048 | 1120265.1994 | 2597549.0073 | 1120248.0529 | 2597550.6034 | 1120246.1735 | 2597556.7728 | 1120241.2574 | 2597561.9711 | 1120233.1695
12 | 2597539.4192 | 1120268.3335 | 2597547.3727 | 1120268.5302 | 2597552.5968 | 1120272.1409
13 | 2597539.4192 | 1120268.3335 | 2597536.1736 | 1120273.2928 | 2597553.6125 | 1120284.4021 | 2597546.4513 | 1120297.3114 | 2597545.403 | 1120299.2572
14 | 2597739.5169 | 1120279.4696 | 2597734.8319 | 1120273.0683 | 2597730 | 1120266.089 | 2597729.2504 | 1120262.6987 | 2597730.7981 | 1120255.2278 | 2597736.2472 | 1120242.4972 | 2597740.287 | 1120234.6411
15 | 2597545.403 | 1120299.2572 | 2597540.974 | 1120296.8357
16 | 2597545.403 | 1120299.2572 | 2597546.4513 | 1120297.3114 | 2597553.6125 | 1120284.4021 | 2597559.8241 | 1120288.357 | 2597573.4278 | 1120296.6776
17 | 2597529.0384 | 1120329.6456 | 2597531.9136 | 1120324.2973 | 2597541.0632 | 1120307.3185 | 2597545.403 | 1120299.2572
18 | 2597573.4278 | 1120296.6776 | 2597578.1615 | 1120289.5945
19 | 2597577.8029 | 1120299.3549 | 2597573.4278 | 1120296.6776
20 | 2597529.0384 | 1120329.6456 | 2597535.9678 | 1120334.445 | 2597542.3364 | 1120338.1102
21 | 2597577.8029 | 1120299.3549 | 2597583.8448 | 1120303.1765 | 2597584.0391 | 1120306.6893
22 | 2597577.8029 | 1120299.3549 | 2597593.7954 | 1120278.8618
23 | 2597671.4434 | 1120233.7516 | 2597663.9314 | 1120228.6663
24 | 2597689.8932 | 1120383.0507 | 2597691.3886 | 1120380.3266 | 2597691.9197 | 1120377.2582 | 2597691.4325 | 1120374.1902 | 2597689.9812 | 1120371.445 | 2597687.7201 | 1120369.3004 | 2597690.1408 | 1120365.4642 | 2597725.3003 | 1120301.3636 | 2597739.5169 | 1120279.4696
25 | 2597664.6243 | 1120351.045 | 2597662.8122 | 1120352.9245 | 2597659.9065 | 1120359.162 | 2597675.1929 | 1120370.9172 | 2597677.2905 | 1120369.1378 | 2597679.8048 | 1120368.0251 | 2597682.5278 | 1120367.6683 | 2597685.2434 | 1120368.1119 | 2597687.7201 | 1120369.3004 | 2597689.9812 | 1120371.445 | 2597691.4325 | 1120374.1902 | 2597691.9197 | 1120377.2582 | 2597691.3886 | 1120380.3266 | 2597689.8932 | 1120383.0507
26 | 2597689.8932 | 1120383.0507 | 2597694.932 | 1120386.7728 | 2597699.23 | 1120389.9949 | 2597706.7847 | 1120396.395 | 2597722.2029 | 1120410.307 | 2597733.9799 | 1120422.5024
27 | 2597664.6243 | 1120351.045 | 2597667.1621 | 1120350.6883 | 2597673.2564 | 1120350.7526 | 2597690.2198 | 1120311.3377
28 | 2597664.6243 | 1120351.045 | 2597669.334 | 1120341.7942
29 | 2597640.95 | 1120352.3996 | 2597643.487 | 1120349.9307 | 2597646.1244 | 1120347.9509 | 2597648.6326 | 1120350.4845 | 2597659.9065 | 1120359.162 | 2597662.8122 | 1120352.9245 | 2597664.6243 | 1120351.045
30 | 2597638.9624 | 1120282.1772 | 2597653.4536 | 1120291.8317
31 | 2597610.8301 | 1120324.4314 | 2597612.5341 | 1120322.1852 | 2597615.7945 | 1120315.4806 | 2597638.9624 | 1120282.1772
32 | 2597638.9624 | 1120282.1772 | 2597647.9516 | 1120267.8224
33 | 2597610.8301 | 1120324.4314 | 2597605.0273 | 1120320.2206 | 2597602.9112 | 1120318.7652
34 | 2597611.2649 | 1120312.2031 | 2597609.3472 | 1120319.8854 | 2597612.5341 | 1120322.1852 | 2597610.8301 | 1120324.4314
35 | 2597610.8301 | 1120324.4314 | 2597599.0254 | 1120340.9514
36 | 2597610.8301 | 1120324.4314 | 2597611.5709 | 1120324.9759 | 2597623.1227 | 1120333.7532 | 2597634.2423 | 1120342.3307 | 2597639.1425 | 1120346.3641 | 2597643.487 | 1120349.9307 | 2597640.95 | 1120352.3996
37 | 2597640.95 | 1120352.3996 | 2597649.4466 | 1120360.5669 | 2597656.4853 | 1120369.0904 | 2597659.3186 | 1120374.6587 | 2597657.7941 | 1120381.8962
38 | 2597611.2649 | 1120312.2031 | 2597614.0095 | 1120308.1333 | 2597610.838 | 1120305.9446
39 | 2597611.2649 | 1120312.2031 | 2597599.814 | 1120304.9709 | 2597597.3612 | 1120305.8501
40 | 2597584.0391 | 1120306.6893 | 2597583.8448 | 1120303.1765 | 2597591.1136 | 1120308.0982 | 2597595.1861 | 1120306.618 | 2597597.3612 | 1120305.8501
41 | 2597597.3612 | 1120305.8501 | 2597597.2518 | 1120302.3039 | 2597598.8944 | 1120299.9535
42 | 2597584.0391 | 1120306.6893 | 2597585.4222 | 1120312.3915 | 2597584.962 | 1120314.8653
43 | 2597596.8163 | 1120274.9908 | 2597593.7954 | 1120278.8618
44 | 2597583.7904 | 1120321.1631 | 2597584.962 | 1120314.8653
45 | 2597596.8163 | 1120274.9908 | 2597578.2893 | 1120262.8146
46 | 2597596.8163 | 1120274.9908 | 2597605.3523 | 1120264.0486
47 | 2597548.1283 | 1120341.4434 | 2597542.3364 | 1120338.1102
48 | 2597702.5419 | 1120255.0686 | 2597705.905 | 1120257.432
49 | 2597690.3254 | 1120246.4837 | 2597702.5419 | 1120255.0686
50 | 2597690.3254 | 1120246.4837 | 2597683.8519 | 1120242.1702
51 | 2597682.88 | 1120241.5226 | 2597683.8519 | 1120242.1702
52 | 2597673.9358 | 1120235.5627 | 2597682.88 | 1120241.5226
53 | 2597671.4434 | 1120233.7516 | 2597673.9358 | 1120235.5627
54 | 2597673.9358 | 1120235.5627 | 2597665.3404 | 1120245.1624
55 | 2597615.0048 | 1120251.6831 | 2597621.744 | 1120243.4675
56 | 2597615.0048 | 1120251.6831 | 2597590.1727 | 1120233.4843
57 | 2597615.0048 | 1120251.6831 | 2597607.3562 | 1120261.4799
58 | 2597607.3562 | 1120261.4799 | 2597605.3523 | 1120264.0486
59 | 2597551.6236 | 1120343.2984 | 2597548.1283 | 1120341.4434
60 | 2597551.6236 | 1120343.2984 | 2597565.5532 | 1120319.3475
61 | 2597551.6236 | 1120343.2984 | 2597561.0546 | 1120350.9331

## bus_geodata
| x | y | coords
0 | 2597700.4025 | 1120208.6196
1 | 2597709.2905 | 1120195.5847
2 | 2597651.987 | 1120116.0018
3 | 2597630.4533 | 1120205.343
4 | 2597523.9126 | 1120211.3343
5 | 2597652.4224 | 1120220.8751
6 | 2597624.4802 | 1120215.3301
7 | 2597537.5048 | 1120265.1994
8 | 2597539.4192 | 1120268.3335
9 | 2597561.9711 | 1120233.1695
10 | 2597522.2867 | 1120213.6632
11 | 2597740.287 | 1120234.6411
12 | 2597552.5968 | 1120272.1409
13 | 2597545.403 | 1120299.2572
14 | 2597540.974 | 1120296.8357
15 | 2597573.4278 | 1120296.6776
16 | 2597529.0384 | 1120329.6456
17 | 2597578.1615 | 1120289.5945
18 | 2597577.8029 | 1120299.3549
19 | 2597646.4886 | 1120230.1995
20 | 2597663.9314 | 1120228.6663
21 | 2597739.5169 | 1120279.4696
22 | 2597689.8932 | 1120383.0507
23 | 2597664.6243 | 1120351.045
24 | 2597733.9799 | 1120422.5024
25 | 2597638.9624 | 1120282.1772
26 | 2597653.4536 | 1120291.8317
27 | 2597610.8301 | 1120324.4314
28 | 2597647.9516 | 1120267.8224
29 | 2597640.95 | 1120352.3996
30 | 2597657.7941 | 1120381.8962
31 | 2597602.9112 | 1120318.7652
32 | 2597611.2649 | 1120312.2031
33 | 2597599.0254 | 1120340.9514
34 | 2597597.3612 | 1120305.8501
35 | 2597584.0391 | 1120306.6893
36 | 2597598.8944 | 1120299.9535
37 | 2597593.7954 | 1120278.8618
38 | 2597610.838 | 1120305.9446
39 | 2597690.2198 | 1120311.3377
40 | 2597669.334 | 1120341.7942
41 | 2597584.962 | 1120314.8653
42 | 2597596.8163 | 1120274.9908
43 | 2597583.7904 | 1120321.1631
44 | 2597542.3364 | 1120338.1102
45 | 2597702.5419 | 1120255.0686
46 | 2597705.905 | 1120257.432
47 | 2597690.3254 | 1120246.4837
48 | 2597683.8519 | 1120242.1702
49 | 2597682.88 | 1120241.5226
50 | 2597673.9358 | 1120235.5627
51 | 2597671.4434 | 1120233.7516
52 | 2597665.3404 | 1120245.1624
53 | 2597621.744 | 1120243.4675
54 | 2597615.0048 | 1120251.6831
55 | 2597590.1727 | 1120233.4843
56 | 2597607.3562 | 1120261.4799
57 | 2597605.3523 | 1120264.0486
58 | 2597578.2893 | 1120262.8146
59 | 2597548.1283 | 1120341.4434
60 | 2597551.6236 | 1120343.2984
61 | 2597565.5532 | 1120319.3475
62 | 2597561.0546 | 1120350.9331
63 | 2597607.3562 | 1120261.4799

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1