## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6266-194_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6266-194_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6266-194_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6266-194_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6266-194_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6266-194_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6266-194_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6266-194_0_2_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_6266-194_0_2_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_6266-194_0_2_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_6266-194_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6266-194_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6266-194_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6266-194_0_2_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_6266-194_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6266-194_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6266-194_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6266-194_0_2_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_6266-194_0_2_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_6266-194_0_2_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_6266-194_0_2_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_6266-194_0_2_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_6266-194_0_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_6266-194_0_2_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_6266-194_0_2_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_6266-194_0_2_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_6266-194_0_2_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6266-194_0_2_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_6266-194_0_2_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_6266-194_0_2_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_6266-194_0_2_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_6266-194_0_2_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_6266-194_0_2_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_6266-194_0_2_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_6266-194_0_2_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_6266-194_0_2_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6266-194_0_2_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_6266-194_0_2_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_6266-194_0_2_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_6266-194_0_2_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_6266-194_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_6266-194_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6266-194_0_2_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_6266-194_0_2_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_6266-194_0_2_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_6266-194_0_2_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_6266-194_0_2_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_6266-194_0_2_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_6266-194_0_2_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_6266-194_0_2_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_6266-194_0_2_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_6266-194_0_2_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_6266-194_0_2_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6266-194_0_2_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_6266-194_0_2_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_6266-194_0_2_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6266-194_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6266-194_0_2_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_6266-194_0_2_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_6266-194_0_2_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6266-194_0_2_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6266-194_0_2_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_6266-194_0_2_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_6266-194_0_2_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_6266-194_0_2_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_6266-194_0_2_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6266-194_0_2_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_6266-194_0_2_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_6266-194_0_2_node_62 | 0.4 | n |  | TRUE
69 | bus_MV_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6266-194_0_2_load_0 | 0 | 0.00097292 | 0.00024384 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6266-194_0_2_load_4 | 4 | 0.00041421 | 0.00010381 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6266-194_0_2_load_6 | 6 | 0.00080392 | 0.00020148 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6266-194_0_2_load_33 | 7 | 0.00033403 | 8.3715e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6266-194_0_2_load_35 | 8 | 0.0003786 | 9.4886e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6266-194_0_2_load_31 | 9 | 0.00069258 | 0.00017358 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6266-194_0_2_load_7 | 10 | 0.00028101 | 7.0427e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6266-194_0_2_load_8 | 11 | 0.00066385 | 0.00016638 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6266-194_0_2_load_9 | 12 | 0.00062893 | 0.00015762 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6266-194_0_2_load_30 | 13 | 0.00042557 | 0.00010666 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6266-194_0_2_load_10 | 14 | 0.00092635 | 0.00023216 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6266-194_0_2_load_11 | 15 | 0.00049847 | 0.00012493 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6266-194_0_2_load_12 | 16 | 0.00078013 | 0.00019552 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6266-194_0_2_load_67 | 17 | 0.0018691 | 0.00046845 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6266-194_0_2_load_44 | 18 | 0.0003814 | 9.5587e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6266-194_0_2_load_66 | 19 | 0.00061096 | 0.00015312 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6266-194_0_2_load_68 | 21 | 0.0014049 | 0.00035209 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6266-194_0_2_load_32 | 22 | 0.00036771 | 9.2158e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6266-194_0_2_load_28 | 23 | 0.00077249 | 0.0001936 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6266-194_0_2_load_40 | 24 | 0.00047118 | 0.00011809 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6266-194_0_2_load_51 | 28 | 0.0014011 | 0.00035115 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6266-194_0_2_load_52 | 29 | 0.00035366 | 8.8636e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6266-194_0_2_load_13 | 30 | 0.0027918 | 0.00069968 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6266-194_0_2_load_17 | 34 | 0.0006839 | 0.0001714 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6266-194_0_2_load_37 | 36 | 0.0008316 | 0.00020842 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6266-194_0_2_load_38 | 37 | 0.00069374 | 0.00017387 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6266-194_0_2_load_18 | 38 | 0.0015833 | 0.00039682 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6266-194_0_2_load_19 | 39 | 0.00056675 | 0.00014204 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6266-194_0_2_load_20 | 40 | 0.00058018 | 0.00014541 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6266-194_0_2_load_34 | 41 | 0.00067017 | 0.00016796 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6266-194_0_2_load_21 | 42 | 0.00066132 | 0.00016574 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6266-194_0_2_load_22 | 43 | 0.00065143 | 0.00016326 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6266-194_0_2_load_23 | 44 | 0.0008893 | 0.00022288 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6266-194_0_2_load_24 | 45 | 0.00061387 | 0.00015385 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6266-194_0_2_load_25 | 46 | 0.00069168 | 0.00017335 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6266-194_0_2_load_26 | 47 | 0.00046093 | 0.00011552 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6266-194_0_2_load_29 | 48 | 0.00047705 | 0.00011956 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6266-194_0_2_load_27 | 49 | 0.00032516 | 8.1492e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6266-194_0_2_load_46 | 50 | 0.0011822 | 0.00029628 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6266-194_0_2_load_48 | 51 | 0.00050336 | 0.00012616 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6266-194_0_2_load_39 | 52 | 0.0008442 | 0.00021158 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6266-194_0_2_load_57 | 53 | 0.00094306 | 0.00023635 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6266-194_0_2_load_58 | 54 | 0.00065301 | 0.00016366 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6266-194_0_2_load_42 | 55 | 0.00041184 | 0.00010322 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6266-194_0_2_load_43 | 56 | 0.00050234 | 0.0001259 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6266-194_0_2_load_45 | 57 | 0.00078892 | 0.00019772 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6266-194_0_2_load_55 | 58 | 0.0013381 | 0.00033537 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6266-194_0_2_load_53 | 59 | 0.00052097 | 0.00013057 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6266-194_0_2_load_54 | 60 | 0.00034869 | 8.739e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6266-194_0_2_load_56 | 61 | 0.0006098 | 0.00015283 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6266-194_0_2_load_64 | 62 | 0.00071536 | 0.00017929 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6266-194_0_2_load_65 | 63 | 0.00090208 | 0.00022608 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6266-194_0_2_load_63 | 64 | 0.00086079 | 0.00021573 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6266-194_0_2_load_59 | 65 | 0.0019923 | 0.00049932 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6266-194_0_2_load_60 | 66 | 0.0009049 | 0.00022679 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6266-194_0_2_load_61 | 67 | 0.00066059 | 0.00016556 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6266-194_0_2_line_0 |  | 0 | 1 | 0.081575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6266-194_0_2_line_1 |  | 0 | 2 | 0.13938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6266-194_0_2_line_2 |  | 1 | 3 | 0.020033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6266-194_0_2_line_3 |  | 1 | 4 | 0.045923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6266-194_0_2_line_4 |  | 2 | 5 | 0.11398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6266-194_0_2_line_5 |  | 2 | 6 | 0.043367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6266-194_0_2_line_6 |  | 3 | 10 | 0.056729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6266-194_0_2_line_7 |  | 3 | 11 | 0.064856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6266-194_0_2_line_8 |  | 4 | 12 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6266-194_0_2_line_9 |  | 5 | 14 | 0.015688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6266-194_0_2_line_10 |  | 5 | 15 | 0.013964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6266-194_0_2_line_11 |  | 6 | 16 | 0.0075138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6266-194_0_2_line_12 |  | 7 | 8 | 0.001181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6266-194_0_2_line_13 |  | 7 | 9 | 0.027761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6266-194_0_2_line_14 |  | 9 | 13 | 0.16086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6266-194_0_2_line_15 |  | 10 | 20 | 0.18631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6266-194_0_2_line_16 |  | 11 | 21 | 0.02794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6266-194_0_2_line_17 |  | 12 | 24 | 0.096189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6266-194_0_2_line_18 |  | 13 | 22 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6266-194_0_2_line_19 |  | 13 | 23 | 0.057992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6266-194_0_2_line_20 |  | 16 | 25 | 0.013319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6266-194_0_2_line_21 |  | 17 | 18 | 0.1232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6266-194_0_2_line_22 |  | 17 | 19 | 0.11066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6266-194_0_2_line_23 |  | 18 | 58 | 0.065989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6266-194_0_2_line_24 |  | 18 | 55 | 0.029511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6266-194_0_2_line_25 |  | 19 | 63 | 0.032027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6266-194_0_2_line_26 |  | 20 | 26 | 0.072308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6266-194_0_2_line_27 |  | 23 | 49 | 0.068974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6266-194_0_2_line_28 |  | 24 | 27 | 0.049835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6266-194_0_2_line_29 |  | 25 | 28 | 0.006711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6266-194_0_2_line_30 |  | 25 | 29 | 0.09264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6266-194_0_2_line_31 |  | 26 | 51 | 0.092753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6266-194_0_2_line_32 |  | 27 | 55 | 0.088595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6266-194_0_2_line_33 |  | 27 | 56 | 0.089963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6266-194_0_2_line_34 |  | 29 | 59 | 0.00010242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6266-194_0_2_line_35 |  | 30 | 31 | 0.11328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6266-194_0_2_line_36 |  | 30 | 32 | 0.042735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6266-194_0_2_line_37 |  | 31 | 33 | 0.1626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6266-194_0_2_line_38 |  | 32 | 34 | 0.12159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6266-194_0_2_line_39 |  | 33 | 38 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6266-194_0_2_line_40 |  | 33 | 36 | 0.17875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6266-194_0_2_line_41 |  | 34 | 39 | 0.074068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6266-194_0_2_line_42 |  | 35 | 36 | 0.14376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6266-194_0_2_line_43 |  | 35 | 37 | 0.12031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6266-194_0_2_line_44 |  | 37 | 52 | 0.086019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6266-194_0_2_line_45 |  | 39 | 40 | 0.018048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6266-194_0_2_line_46 |  | 40 | 42 | 0.06459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6266-194_0_2_line_47 |  | 40 | 41 | 0.12604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6266-194_0_2_line_48 |  | 42 | 43 | 0.066708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6266-194_0_2_line_49 |  | 43 | 44 | 0.036727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6266-194_0_2_line_50 |  | 44 | 45 | 0.035874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6266-194_0_2_line_51 |  | 45 | 46 | 0.13179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6266-194_0_2_line_52 |  | 46 | 47 | 0.0014864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6266-194_0_2_line_53 |  | 46 | 48 | 0.095248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6266-194_0_2_line_54 |  | 47 | 49 | 0.013611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6266-194_0_2_line_55 |  | 50 | 51 | 0.086394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6266-194_0_2_line_56 |  | 52 | 53 | 0.042317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6266-194_0_2_line_57 |  | 53 | 54 | 0.084904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6266-194_0_2_line_58 |  | 54 | 65 | 0.0091031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6266-194_0_2_line_59 |  | 56 | 57 | 0.043271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6266-194_0_2_line_60 |  | 59 | 60 | 0.039533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6266-194_0_2_line_61 |  | 61 | 62 | 0.24265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6266-194_0_2_line_62 |  | 62 | 63 | 0.09524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_6266-194_0_2_line_63 |  | 62 | 64 | 0.028042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6266-194_0_2_line_64 |  | 64 | 68 | 0.13892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_6266-194_0_2_line_65 |  | 65 | 66 | 0.026617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6266-194_0_2_line_66 |  | 66 | 67 | 0.030545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6266-194_0_2_line_67 |  | 67 | 68 | 0.12411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6266-194_0_2_trafo_55 | 0.63 MVA 20/0.4 kV | 69 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2593806.221 | 1116943.6955 | 2593823.4557 | 1116957.8958 | 2593857.1594 | 1116977.4151 | 2593875.5507 | 1116985.9999
1 | 2593898.8654 | 1117033.2887 | 2593900.1953 | 1117027.9737 | 2593912.2574 | 1117026.2161 | 2593933.1239 | 1117029.6966 | 2593943.6809 | 1117027.9295 | 2593948.4528 | 1117022.1663 | 2593941.9079 | 1117014.9026 | 2593923.0408 | 1117004.1498 | 2593886.079 | 1116990.9143 | 2593875.5507 | 1116985.9999
2 | 2593806.221 | 1116943.6955 | 2593787.2881 | 1116936.9896
3 | 2593806.221 | 1116943.6955 | 2593848.9282 | 1116960.5767
4 | 2593898.8654 | 1117033.2887 | 2593872.0374 | 1117027.002 | 2593861.7384 | 1117024.389 | 2593850.4124 | 1117021.5103 | 2593805.6643 | 1117017.2989 | 2593786.2072 | 1117018.4307
5 | 2593898.8654 | 1117033.2887 | 2593897.6893 | 1117038.0034 | 2593903.4862 | 1117053.5273 | 2593913.3029 | 1117067.5575 | 2593916.1115 | 1117071.4668
6 | 2593787.2881 | 1116936.9896 | 2593768.1313 | 1116930.2062 | 2593748.2237 | 1116928.8151 | 2593732.2991 | 1116924.6874
7 | 2593787.2881 | 1116936.9896 | 2593780.7447 | 1116938.8306 | 2593776.399 | 1116938.6239 | 2593764.1787 | 1116936.8802 | 2593755.179 | 1116937.0008 | 2593750.1018 | 1116938.5513 | 2593748.3447 | 1116941.2322 | 2593746.8013 | 1116948.8709 | 2593750.4344 | 1116954.0252 | 2593757.8893 | 1116960.3094
8 | 2593848.9282 | 1116960.5767 | 2593859.3057 | 1116964.6787
9 | 2593789.6807 | 1117033.4567 | 2593786.1517 | 1117024.3781 | 2593786.2072 | 1117018.4307
10 | 2593786.2072 | 1117018.4307 | 2593772.2671 | 1117019.2431
11 | 2593916.1115 | 1117071.4668 | 2593920.4955 | 1117077.569
12 | 2593996.9871 | 1116707.6185 | 2593998.1387 | 1116707.8805
13 | 2593973.1344 | 1116693.7449 | 2593977.5924 | 1116695.0318 | 2593996.9871 | 1116707.6185 | 2593996.9871 | 1116707.6185
14 | 2593821.3773 | 1116641.9984 | 2593843.0184 | 1116654.3043 | 2593885.3778 | 1116667.434 | 2593931.2348 | 1116681.6499 | 2593973.1344 | 1116693.7449
15 | 2593555.4185 | 1116911.5111 | 2593572.9984 | 1116915.861 | 2593592.9283 | 1116916.3288 | 2593621.7892 | 1116910.1282 | 2593644.9068 | 1116903.2892 | 2593665.0088 | 1116898.6434 | 2593678.4084 | 1116898.7515 | 2593688.445 | 1116901.0198 | 2593706.3044 | 1116914.2964 | 2593725.8415 | 1116923.0135 | 2593732.2991 | 1116924.6874
16 | 2593781.092 | 1116975.8707 | 2593768.664 | 1116967.3127 | 2593757.8893 | 1116960.3094
17 | 2593951.7141 | 1116989.471 | 2593899.5449 | 1116980.5844 | 2593859.3057 | 1116964.6787
18 | 2593821.3773 | 1116641.9984 | 2593826.243 | 1116637.1465 | 2593839.5385 | 1116633.053
19 | 2593821.3773 | 1116641.9984 | 2593806.1795 | 1116612.8998 | 2593796.1831 | 1116589.8074
20 | 2593928.2668 | 1117088.3859 | 2593920.4955 | 1117077.569
21 | 2594219.6381 | 1116963.9584 | 2594102.5009 | 1117002.1359
22 | 2594219.6381 | 1116963.9584 | 2594237.6573 | 1116976.3248 | 2594267.8896 | 1116983.3103 | 2594301.6465 | 1116995.4507 | 2594320.5944 | 1117006.4369
23 | 2594068.0945 | 1116958.0149 | 2594065.6175 | 1116966.4771 | 2594078.0507 | 1116980.7051 | 2594098.1432 | 1116989.7564 | 2594105.1881 | 1116995.53 | 2594102.5009 | 1117002.1359
24 | 2594075.8513 | 1117014.8118 | 2594102.5009 | 1117002.1359
25 | 2594320.5944 | 1117006.4369 | 2594332.9235 | 1117013.5854 | 2594344.9359 | 1117016.2531 | 2594350.2024 | 1117017.7315
26 | 2593555.4185 | 1116911.5111 | 2593554.176 | 1116904.5646 | 2593548.8911 | 1116899.5567 | 2593531.542 | 1116894.5619 | 2593523.2375 | 1116888.0565 | 2593502.3515 | 1116867.2467
27 | 2593755.2719 | 1116536.0568 | 2593758.6403 | 1116540.7248 | 2593785.3423 | 1116564.7644 | 2593796.1831 | 1116589.8074
28 | 2593992.5813 | 1117016.6635 | 2593959.0339 | 1116990.7179 | 2593951.7141 | 1116989.471
29 | 2593932.1856 | 1117093.8401 | 2593928.2668 | 1117088.3859
30 | 2593928.2668 | 1117088.3859 | 2593923.2764 | 1117091.7259 | 2593918.7247 | 1117093.7871 | 2593913.9638 | 1117095.037 | 2593908.1675 | 1117095.243 | 2593902.1618 | 1117094.4265 | 2593896.3643 | 1117093.3986 | 2593892.0165 | 1117091.1352 | 2593888.1388 | 1117088.1377 | 2593883.9276 | 1117083.5064 | 2593880.5981 | 1117080.7418 | 2593877.9887 | 1117080.0997 | 2593875.651 | 1117081.0359 | 2593873.7859 | 1117083.728 | 2593871.9312 | 1117089.0881 | 2593869.8725 | 1117098.5838 | 2593869.0452 | 1117104.7765 | 2593870.1458 | 1117109.1998 | 2593872.3642 | 1117112.4102
31 | 2593502.3515 | 1116867.2467 | 2593487.503 | 1116848.009 | 2593481.2124 | 1116841.0012 | 2593482.9671 | 1116836.2414 | 2593490.0062 | 1116835.9781 | 2593508.8634 | 1116843.4724 | 2593517.4109 | 1116846.2201 | 2593528.7227 | 1116842.7061 | 2593533.9322 | 1116840.1515
32 | 2593992.5813 | 1117016.6635 | 2594003.0341 | 1117010.928 | 2594008.7272 | 1117007.7985 | 2594028.8141 | 1117011.2913 | 2594054.0775 | 1117019.937 | 2594063.811 | 1117020.5388 | 2594075.8513 | 1117014.8118
33 | 2593992.5813 | 1117016.6635 | 2594032.4537 | 1117077.4201 | 2594044.4568 | 1117089.8666
34 | 2593872.4488 | 1117112.4679 | 2593872.3642 | 1117112.4102 | 2593872.3642 | 1117112.4102
35 | 2594298.2364 | 1116616.7903 | 2594286.0687 | 1116606.0299 | 2594273.6056 | 1116601.0727 | 2594260.5485 | 1116596.6498 | 2594251.8261 | 1116588.6431 | 2594231.7583 | 1116582.2593 | 2594219.6255 | 1116583.794 | 2594206.8984 | 1116577.4254 | 2594197.7117 | 1116572.3924
36 | 2594164.761 | 1116546.4734 | 2594175.9286 | 1116560.4582 | 2594197.7117 | 1116572.3924
37 | 2594438.0181 | 1116690.4281 | 2594407.4395 | 1116669.4908 | 2594400.6156 | 1116660.7818 | 2594387.0534 | 1116652.5126 | 2594374.8127 | 1116645.8431 | 2594362.4355 | 1116633.7266 | 2594350.0643 | 1116627.9021 | 2594340.4801 | 1116622.6196 | 2594327.5286 | 1116623.5991 | 2594298.2364 | 1116616.7903
38 | 2594164.761 | 1116546.4734 | 2594158.2692 | 1116538.5647 | 2594152.8797 | 1116536.9247 | 2594127.593 | 1116537.8166 | 2594113.6075 | 1116531.4606 | 2594102.2249 | 1116526.6917 | 2594089.1132 | 1116521.9356 | 2594073.1136 | 1116523.9858 | 2594066.6171 | 1116527.027 | 2594053.5136 | 1116530.5195 | 2594051.6267 | 1116530.2222
39 | 2594438.0181 | 1116690.4281 | 2594454.9265 | 1116698.9621
40 | 2594303.5365 | 1116808.1792 | 2594438.0181 | 1116690.4281
41 | 2594051.6267 | 1116530.2222 | 2594029.048 | 1116526.6642 | 2594016.3808 | 1116518.7397 | 2594008.5564 | 1116513.834 | 2594001.1801 | 1116509.2169 | 2593982.938 | 1116507.4089
42 | 2594166.2379 | 1116802.2531 | 2594188.085 | 1116789.5367 | 2594205.496 | 1116786.9963 | 2594226.2861 | 1116790.6113 | 2594252.1286 | 1116790.8754 | 2594279.0974 | 1116798.4088 | 2594303.5365 | 1116808.1792
43 | 2594166.2379 | 1116802.2531 | 2594204.3794 | 1116829.4738 | 2594263.4476 | 1116873.1384
44 | 2594327.4082 | 1116930.2155 | 2594324.9618 | 1116928.1844 | 2594304.1696 | 1116913.6414 | 2594265.6552 | 1116874.7703 | 2594263.4476 | 1116873.1384
45 | 2593982.938 | 1116507.4089 | 2593978.3061 | 1116506.9498 | 2593966.2507 | 1116501.1147 | 2593966.2507 | 1116501.1147
46 | 2593916.3986 | 1116468.6826 | 2593925.9706 | 1116468.8952 | 2593939.2101 | 1116470.049 | 2593947.7555 | 1116478.0331 | 2593955.541 | 1116490.1979 | 2593961.1719 | 1116493.8051 | 2593966.2507 | 1116501.1147
47 | 2593899.1879 | 1116607.8351 | 2593966.2507 | 1116501.1147
48 | 2593916.3986 | 1116468.6826 | 2593916.3986 | 1116468.6826 | 2593908.8777 | 1116466.3113 | 2593890.6456 | 1116459.2931 | 2593878.1125 | 1116454.4813 | 2593861.9673 | 1116442.6809 | 2593857.7661 | 1116438.5918
49 | 2593857.7661 | 1116438.5918 | 2593849.5425 | 1116430.5877 | 2593840.0181 | 1116416.7018 | 2593833.4354 | 1116411.4626
50 | 2593833.4354 | 1116411.4626 | 2593824.0185 | 1116403.9676 | 2593816.1518 | 1116403.2754 | 2593800.2119 | 1116403.492 | 2593800.2119 | 1116403.492
51 | 2593746.4375 | 1116523.8138 | 2593800.2119 | 1116403.492
52 | 2593747.3073 | 1116525.0191 | 2593746.4375 | 1116523.8138
53 | 2593746.4375 | 1116523.8138 | 2593663.233 | 1116570.1729
54 | 2593747.3073 | 1116525.0191 | 2593755.2719 | 1116536.0568
55 | 2593533.9322 | 1116840.1515 | 2593541.5366 | 1116836.4225 | 2593556.916 | 1116832.7152 | 2593563.6539 | 1116832.2856 | 2593580.8551 | 1116835.98 | 2593587.881 | 1116837.6844 | 2593593.617 | 1116838.6788 | 2593611.5579 | 1116855.668
56 | 2594327.4082 | 1116930.2155 | 2594359.9662 | 1116957.2469
57 | 2594359.9662 | 1116957.2469 | 2594360.6573 | 1116957.8207 | 2594410.1292 | 1116995.0036 | 2594430.6256 | 1117003.3165
58 | 2594430.6256 | 1117003.3165 | 2594439.0613 | 1117006.7379
59 | 2594044.4568 | 1117089.8666 | 2594074.494 | 1117121.0132
60 | 2593907.5782 | 1117130.5276 | 2593875.6854 | 1117114.6746 | 2593872.4488 | 1117112.4679
61 | 2594431.0723 | 1117066.3129 | 2594313.4986 | 1117278.5807
62 | 2594431.0723 | 1117066.3129 | 2594430.07 | 1117065.4973 | 2594390.0831 | 1117034.7863 | 2594362.5387 | 1117021.1945 | 2594350.2024 | 1117017.7315
63 | 2594454.4458 | 1117080.9118 | 2594446.0206 | 1117078.4778 | 2594431.0723 | 1117066.3129
64 | 2594588.0764 | 1117103.1595 | 2594566.5332 | 1117101.6895 | 2594537.7557 | 1117106.2513 | 2594517.4711 | 1117105.4472 | 2594484.1248 | 1117093.7166 | 2594468.8036 | 1117085.0599 | 2594454.4458 | 1117080.9118
65 | 2594439.0613 | 1117006.7379 | 2594439.0613 | 1117006.7379 | 2594458.4566 | 1117022.1163 | 2594459.7323 | 1117023.4761
66 | 2594480.6312 | 1117045.7523 | 2594459.7323 | 1117023.4761
67 | 2594588.0764 | 1117103.1595 | 2594580.6936 | 1117098.7085 | 2594537.7151 | 1117087.2753 | 2594504.8403 | 1117067.9849 | 2594486.0077 | 1117051.483 | 2594480.6312 | 1117045.7523

## bus_geodata
| x | y | coords
0 | 2593875.5507 | 1116985.9999
1 | 2593806.221 | 1116943.6955
2 | 2593898.8654 | 1117033.2887
3 | 2593787.2881 | 1116936.9896
4 | 2593848.9282 | 1116960.5767
5 | 2593786.2072 | 1117018.4307
6 | 2593916.1115 | 1117071.4668
7 | 2593996.9871 | 1116707.6185
8 | 2593998.1387 | 1116707.8805
9 | 2593973.1344 | 1116693.7449
10 | 2593732.2992 | 1116924.6874
11 | 2593757.8893 | 1116960.3094
12 | 2593859.3057 | 1116964.6787
13 | 2593821.3773 | 1116641.9984
14 | 2593789.6807 | 1117033.4567
15 | 2593772.2671 | 1117019.2431
16 | 2593920.4955 | 1117077.569
17 | 2594219.6381 | 1116963.9584
18 | 2594102.5009 | 1117002.1359
19 | 2594320.5944 | 1117006.4369
20 | 2593555.4185 | 1116911.5111
21 | 2593781.092 | 1116975.8707
22 | 2593839.5385 | 1116633.053
23 | 2593796.1831 | 1116589.8074
24 | 2593951.7141 | 1116989.471
25 | 2593928.2668 | 1117088.3859
26 | 2593502.3515 | 1116867.2467
27 | 2593992.5813 | 1117016.6635
28 | 2593932.1856 | 1117093.8401
29 | 2593872.3642 | 1117112.4102
30 | 2594197.7117 | 1116572.3924
31 | 2594298.2364 | 1116616.7903
32 | 2594164.761 | 1116546.4734
33 | 2594438.0181 | 1116690.4281
34 | 2594051.6267 | 1116530.2222
35 | 2594166.2379 | 1116802.2531
36 | 2594303.5365 | 1116808.1792
37 | 2594263.4476 | 1116873.1384
38 | 2594454.9265 | 1116698.9621
39 | 2593982.938 | 1116507.4089
40 | 2593966.2507 | 1116501.1147
41 | 2593899.1879 | 1116607.8351
42 | 2593916.3986 | 1116468.6826
43 | 2593857.7661 | 1116438.5918
44 | 2593833.4354 | 1116411.4626
45 | 2593800.2119 | 1116403.492
46 | 2593746.4375 | 1116523.8138
47 | 2593747.3073 | 1116525.0191
48 | 2593663.233 | 1116570.1729
49 | 2593755.2719 | 1116536.0568
50 | 2593611.5579 | 1116855.668
51 | 2593533.9322 | 1116840.1515
52 | 2594327.4082 | 1116930.2155
53 | 2594359.9662 | 1116957.2469
54 | 2594430.6256 | 1117003.3165
55 | 2594075.8513 | 1117014.8118
56 | 2594044.4568 | 1117089.8666
57 | 2594074.494 | 1117121.0132
58 | 2594068.0945 | 1116958.0149
59 | 2593872.4488 | 1117112.4679
60 | 2593907.5782 | 1117130.5276
61 | 2594313.4986 | 1117278.5807
62 | 2594431.0723 | 1117066.3129
63 | 2594350.2024 | 1117017.7315
64 | 2594454.4458 | 1117080.9118
65 | 2594439.0613 | 1117006.7379
66 | 2594459.7323 | 1117023.4761
67 | 2594480.6312 | 1117045.7523
68 | 2594588.0764 | 1117103.1595
69 | 2594068.0945 | 1116958.0149

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1