## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6266-59_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6266-59_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6266-59_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6266-59_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6266-59_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_6266-59_0_6_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_6266-59_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6266-59_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6266-59_0_6_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_6266-59_0_6_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_6266-59_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6266-59_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6266-59_0_6_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_6266-59_0_6_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_6266-59_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6266-59_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_6266-59_0_6_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_6266-59_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6266-59_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6266-59_0_6_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_6266-59_0_6_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_6266-59_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6266-59_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6266-59_0_6_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_6266-59_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6266-59_0_6_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_6266-59_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6266-59_0_6_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_6266-59_0_6_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_6266-59_0_6_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_6266-59_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6266-59_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6266-59_0_6_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_6266-59_0_6_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6266-59_0_6_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_6266-59_0_6_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_6266-59_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6266-59_0_6_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_6266-59_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_6266-59_0_6_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_6266-59_0_6_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_6266-59_0_6_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_6266-59_0_6_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_6266-59_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_6266-59_0_6_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_6266-59_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_6266-59_0_6_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_6266-59_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6266-59_0_6_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_6266-59_0_6_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_6266-59_0_6_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_6266-59_0_6_node_53 | 0.4 | n |  | TRUE
52 | bus_MV_278_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6266-59_0_6_load_0 | 0 | 0.015007 | 0.003761 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6266-59_0_6_load_21 | 5 | 0.016243 | 0.0040708 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6266-59_0_6_load_46 | 9 | 0.0079183 | 0.0019845 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6266-59_0_6_load_50 | 12 | 0.052064 | 0.013049 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6266-59_0_6_load_22 | 13 | 0.00056876 | 0.00014254 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6266-59_0_6_load_47 | 16 | 0.022042 | 0.0055243 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6266-59_0_6_load_30 | 20 | 0.036129 | 0.0090547 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6266-59_0_6_load_36 | 23 | 0.0095485 | 0.0023931 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6266-59_0_6_load_32 | 25 | 0.049548 | 0.012418 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6266-59_0_6_load_48 | 28 | 0.006411 | 0.0016068 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6266-59_0_6_load_27 | 30 | 0.005631 | 0.0014113 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6266-59_0_6_load_51 | 32 | 0.001434 | 0.00035939 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6266-59_0_6_load_33 | 33 | 0.010112 | 0.0025343 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6266-59_0_6_load_45 | 35 | 0.0025703 | 0.00064417 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6266-59_0_6_load_24 | 36 | 0.00315 | 0.00078947 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6266-59_0_6_load_39 | 37 | 0.0025572 | 0.00064091 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6266-59_0_6_load_43 | 39 | 0.058685 | 0.014708 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6266-59_0_6_load_54 | 41 | 0.067969 | 0.017035 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6266-59_0_6_load_40 | 44 | 0.0027061 | 0.00067822 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6266-59_0_6_load_52 | 46 | 0.019188 | 0.0048089 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6266-59_0_6_load_37 | 47 | 0.0067514 | 0.0016921 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6266-59_0_6_load_23 | 48 | 0.053843 | 0.013494 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6266-59_0_6_load_25 | 49 | 0.0041697 | 0.001045 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6266-59_0_6_load_53 | 51 | 0.0055488 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6266-59_0_6_line_0 |  | 0 | 1 | 0.059321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6266-59_0_6_line_1 |  | 0 | 2 | 0.053301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6266-59_0_6_line_2 |  | 1 | 3 | 0.043565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6266-59_0_6_line_3 |  | 2 | 4 | 0.079524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6266-59_0_6_line_4 |  | 3 | 5 | 0.031993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6266-59_0_6_line_5 |  | 4 | 8 | 0.0996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6266-59_0_6_line_6 |  | 4 | 9 | 0.02285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6266-59_0_6_line_7 |  | 5 | 6 | 0.032964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6266-59_0_6_line_8 |  | 6 | 7 | 0.12134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6266-59_0_6_line_9 |  | 7 | 13 | 0.024182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6266-59_0_6_line_10 |  | 8 | 31 | 0.080149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6266-59_0_6_line_11 |  | 8 | 26 | 0.084234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6266-59_0_6_line_12 |  | 9 | 35 | 0.039753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6266-59_0_6_line_13 |  | 10 | 11 | 0.029741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6266-59_0_6_line_14 |  | 10 | 12 | 0.033821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6266-59_0_6_line_15 |  | 11 | 13 | 0.023307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6266-59_0_6_line_16 |  | 14 | 15 | 0.053563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6266-59_0_6_line_17 |  | 14 | 16 | 0.040609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6266-59_0_6_line_18 |  | 15 | 36 | 0.038364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6266-59_0_6_line_19 |  | 16 | 35 | 0.061076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6266-59_0_6_line_20 |  | 17 | 18 | 0.075736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6266-59_0_6_line_21 |  | 17 | 19 | 0.014244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6266-59_0_6_line_22 |  | 18 | 20 | 0.048255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6266-59_0_6_line_23 |  | 19 | 37 | 0.020031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6266-59_0_6_line_24 |  | 19 | 38 | 0.043257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6266-59_0_6_line_25 |  | 21 | 22 | 0.19069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6266-59_0_6_line_26 |  | 21 | 23 | 0.1478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6266-59_0_6_line_27 |  | 22 | 24 | 0.12143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6266-59_0_6_line_28 |  | 22 | 25 | 0.054053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6266-59_0_6_line_29 |  | 23 | 34 | 0.050727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6266-59_0_6_line_30 |  | 24 | 29 | 0.036527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6266-59_0_6_line_31 |  | 24 | 30 | 0.035185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6266-59_0_6_line_32 |  | 26 | 27 | 0.006581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6266-59_0_6_line_33 |  | 26 | 28 | 0.044238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6266-59_0_6_line_34 |  | 27 | 39 | 0.082261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6266-59_0_6_line_35 |  | 28 | 40 | 0.040365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6266-59_0_6_line_36 |  | 29 | 31 | 0.015171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6266-59_0_6_line_37 |  | 30 | 43 | 0.031563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6266-59_0_6_line_38 |  | 31 | 32 | 0.025257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6266-59_0_6_line_39 |  | 32 | 46 | 0.071408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6266-59_0_6_line_40 |  | 33 | 34 | 0.050459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6266-59_0_6_line_41 |  | 34 | 38 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6266-59_0_6_line_42 |  | 36 | 48 | 0.026008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6266-59_0_6_line_43 |  | 38 | 47 | 0.0269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6266-59_0_6_line_44 |  | 40 | 42 | 0.15276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6266-59_0_6_line_45 |  | 40 | 45 | 0.030102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6266-59_0_6_line_46 |  | 41 | 42 | 0.055813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6266-59_0_6_line_47 |  | 43 | 50 | 0.026115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6266-59_0_6_line_48 |  | 44 | 45 | 0.015287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6266-59_0_6_line_49 |  | 48 | 49 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6266-59_0_6_line_50 |  | 50 | 51 | 0.023962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6266-59_0_6_trafo_6 | 0.63 MVA 20/0.4 kV | 52 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2595040.3139 | 1119456.2424 | 2595044.1087 | 1119454.8941 | 2595046.9459 | 1119452.4572 | 2595049.111 | 1119448.9537 | 2595049.9165 | 1119443.417 | 2595049.913 | 1119439.226 | 2595048.6903 | 1119434.7804 | 2595045.7089 | 1119430.8699 | 2595040.6988 | 1119427.3612 | 2595022.1943 | 1119415.4546
1 | 2594974.9998 | 1119396.9124 | 2594982.0422 | 1119394.7499 | 2594986.2394 | 1119394.7463 | 2594993.1464 | 1119396.7637 | 2595022.1943 | 1119415.4546
2 | 2594998.4841 | 1119468.8279 | 2595040.3139 | 1119456.2424
3 | 2594931.4456 | 1119405.0866 | 2594926.8034 | 1119398.9431 | 2594934.7435 | 1119390.9435 | 2594937.5159 | 1119394.0316 | 2594940.8352 | 1119396.0186 | 2594945.6965 | 1119396.6592 | 2594949.6458 | 1119395.4887 | 2594953.1157 | 1119393.0734 | 2594955.1578 | 1119390.1147 | 2594956.5962 | 1119384.9554 | 2594960.5083 | 1119394.5902 | 2594962.6356 | 1119401.1249 | 2594965.9368 | 1119399.9993 | 2594974.9998 | 1119396.9124
4 | 2594998.4841 | 1119468.8279 | 2595007.9147 | 1119499.3989
5 | 2594931.4456 | 1119405.0866 | 2594926.8034 | 1119398.9431 | 2594934.7435 | 1119390.9435 | 2594933.467 | 1119386.8759 | 2594933.8331 | 1119381.9732 | 2594935.9949 | 1119374.5566 | 2594938.0536 | 1119363.9497 | 2594938.3725 | 1119357.8464 | 2594938.366 | 1119350.2205 | 2594937.7362 | 1119344.4404 | 2594937.1145 | 1119339.2606 | 2594934.625 | 1119333.2265 | 2594931.1292 | 1119323.3468 | 2594934.5769 | 1119322.0544 | 2594937.7923 | 1119319.7172 | 2594940.2746 | 1119317.2694
6 | 2594931.4456 | 1119405.0866 | 2594930.3892 | 1119405.81 | 2594928.2765 | 1119407.4349 | 2594926.558 | 1119409.8375 | 2594924.74 | 1119413.174 | 2594918.7318 | 1119423.7359
7 | 2595017.6314 | 1119530.8978 | 2595007.9147 | 1119499.3989
8 | 2594994.7692 | 1119620.4497 | 2594998.5187 | 1119620.4021 | 2595004.4289 | 1119620.9418 | 2595005.1388 | 1119621.0635 | 2595006.3608 | 1119615.4375 | 2595006.3445 | 1119614.3926 | 2595006.2203 | 1119613.4478 | 2595004.2923 | 1119605.2454 | 2595006.4433 | 1119603.4316 | 2595008.0775 | 1119601.7071 | 2595009.6726 | 1119599.3824 | 2595010.9586 | 1119596.4577 | 2595011.6889 | 1119593.3222 | 2595011.987 | 1119589.9759 | 2595011.8141 | 1119586.1519 | 2595010.5606 | 1119581.862 | 2595001.3166 | 1119552.7666 | 2595008.7519 | 1119550.1369 | 2595003.8863 | 1119534.978 | 2595008.5606 | 1119533.5956 | 2595017.6314 | 1119530.8978
9 | 2594994.7692 | 1119620.4497 | 2594993.8434 | 1119620.506 | 2594982.3331 | 1119621.305 | 2594970.6603 | 1119622.3152
10 | 2594940.2746 | 1119317.2694 | 2594942.5601 | 1119319.2573 | 2594944.8451 | 1119320.6783 | 2594947.5542 | 1119321.8099 | 2594950.4096 | 1119322.5189 | 2594952.7398 | 1119322.6615 | 2594955.0543 | 1119322.515 | 2594957.4457 | 1119322.0239 | 2594959.8289 | 1119320.9435 | 2594961.6872 | 1119319.5969 | 2594966.4454 | 1119326.0405 | 2594972.6129 | 1119329.4703 | 2594975.24 | 1119324.8325 | 2594982.9415 | 1119317.3334 | 2594984.7366 | 1119314.2526 | 2594992.0634 | 1119301.5069 | 2594996.1009 | 1119304.2159 | 2594997.468 | 1119306.0268
11 | 2594897.1648 | 1119250.3511 | 2594916.1689 | 1119278.1152 | 2594926.8843 | 1119303.5518 | 2594933.4276 | 1119313.34 | 2594937.7923 | 1119319.7172 | 2594940.2746 | 1119317.2694
12 | 2594899.0757 | 1119458.2896 | 2594918.7318 | 1119423.7359
13 | 2594939.4591 | 1119601.9095 | 2594939.4521 | 1119611.8032 | 2594946.3105 | 1119611.3972 | 2594946.8633 | 1119617.2885 | 2594947.4402 | 1119624.3248
14 | 2594939.4591 | 1119601.9095 | 2594973.234 | 1119600.1398
15 | 2594947.4402 | 1119624.3248 | 2594970.6603 | 1119622.3152
16 | 2594897.4116 | 1119538.8255 | 2594890.2701 | 1119551.1043 | 2594880.7331 | 1119558.9496 | 2594855.2649 | 1119549.667
17 | 2594855.2649 | 1119549.667 | 2594855.7422 | 1119548.4438 | 2594857.9344 | 1119540.727 | 2594859.8958 | 1119533.7663 | 2594863.6528 | 1119524.4697 | 2594869.8486 | 1119511.8984
18 | 2594897.4116 | 1119538.8255 | 2594902.3267 | 1119530.3838 | 2594919.3068 | 1119507.3755
19 | 2594899.0757 | 1119458.2896 | 2594892.5998 | 1119469.6735 | 2594877.1773 | 1119497.1002 | 2594870.8386 | 1119509.8897 | 2594869.8486 | 1119511.8984
20 | 2595156.3286 | 1119512.2189 | 2595175.2631 | 1119523.2867 | 2595179.7109 | 1119528.0855 | 2595178.5779 | 1119510.3221 | 2595176.8876 | 1119480.9091
21 | 2595176.8876 | 1119480.9091 | 2595176.0737 | 1119466.6917
22 | 2595156.3286 | 1119512.2189 | 2595155.7799 | 1119501.6141 | 2595153.9343 | 1119464.0233
23 | 2595176.0737 | 1119466.6917 | 2595188.2554 | 1119465.7036 | 2595189.9694 | 1119467.2474 | 2595190.1179 | 1119472.7484
24 | 2595173.5929 | 1119423.517 | 2595176.0737 | 1119466.6917
25 | 2594991.6499 | 1119176.6239 | 2595014.896 | 1119193.5794 | 2595030.9382 | 1119204.4046 | 2595036.0717 | 1119207.5241 | 2595041.8429 | 1119198.1703 | 2595048.9018 | 1119187.6592 | 2595055.0904 | 1119179.1611 | 2595059.4591 | 1119181.1584 | 2595060.8019 | 1119181.4908 | 2595140.1815 | 1119201.0908 | 2595153.5494 | 1119206.5492
26 | 2595153.5494 | 1119206.5492 | 2595159.48 | 1119212.5918 | 2595162.3268 | 1119221.8607 | 2595166.1353 | 1119294.2375 | 2595169.4303 | 1119351.2977
27 | 2594991.6499 | 1119176.6239 | 2595014.896 | 1119193.5794 | 2595030.9382 | 1119204.4046 | 2595036.0717 | 1119207.5241 | 2595029.5687 | 1119218.3237 | 2595024.4836 | 1119227.0544 | 2595010.1302 | 1119251.8674 | 2595015.3102 | 1119255.2648 | 2595022.8997 | 1119261.3503
28 | 2594991.6499 | 1119176.6239 | 2594963.2573 | 1119222.6199
29 | 2595172.3487 | 1119401.9408 | 2595170.9714 | 1119377.9857 | 2595169.4303 | 1119351.2977
30 | 2595007.1335 | 1119294.313 | 2595022.8997 | 1119261.3503
31 | 2595022.8997 | 1119261.3503 | 2595050.2263 | 1119283.5137
32 | 2594897.1648 | 1119250.3511 | 2594891.3345 | 1119253.4354
33 | 2594897.1648 | 1119250.3511 | 2594888.8524 | 1119238.219 | 2594868.6433 | 1119216.6848
34 | 2594891.3345 | 1119253.4354 | 2594869.3859 | 1119265.0266 | 2594857.2636 | 1119290.594 | 2594859.9534 | 1119296.1833 | 2594869.9043 | 1119316.8534
35 | 2594838.5974 | 1119189.8941 | 2594857.4133 | 1119204.7184 | 2594868.6433 | 1119216.6848
36 | 2594997.468 | 1119306.0268 | 2595007.1335 | 1119294.313
37 | 2595074.7677 | 1119303.3612 | 2595071.9729 | 1119301.1513 | 2595050.2263 | 1119283.5137
38 | 2594997.468 | 1119306.0268 | 2594998.6817 | 1119308.8271 | 2594998.5294 | 1119311.1617 | 2594988.8374 | 1119328.5026
39 | 2594988.8374 | 1119328.5026 | 2594967.5982 | 1119366.5037 | 2594967.7319 | 1119369.4384 | 2594988.283 | 1119383.5627
40 | 2595172.3487 | 1119401.9408 | 2595208.6093 | 1119399.6104 | 2595222.7006 | 1119398.6502
41 | 2595172.3487 | 1119401.9408 | 2595173.5929 | 1119423.517
42 | 2594942.9722 | 1119499.0347 | 2594921.9548 | 1119503.7874 | 2594919.3068 | 1119507.3755
43 | 2595173.5929 | 1119423.517 | 2595200.4581 | 1119422.1536
44 | 2594787.2737 | 1119332.3307 | 2594789.9491 | 1119330.194 | 2594794.376 | 1119319.2848 | 2594800.0841 | 1119308.7969 | 2594805.6495 | 1119285.0693 | 2594806.5649 | 1119281.9781 | 2594820.9202 | 1119233.6975 | 2594832.3628 | 1119198.3703 | 2594838.5974 | 1119189.8941
45 | 2594838.5974 | 1119189.8941 | 2594831.2166 | 1119184.5757 | 2594834.1674 | 1119179.5706 | 2594846.5741 | 1119188.342
46 | 2594787.2737 | 1119332.3307 | 2594785.743 | 1119355.3766 | 2594778.4474 | 1119385.4866 | 2594777.8183 | 1119387.1039
47 | 2595074.7677 | 1119303.3612 | 2595057.9336 | 1119323.3627
48 | 2594846.5741 | 1119188.342 | 2594853.2609 | 1119194.1502 | 2594858.1778 | 1119198.2944
49 | 2594956.168 | 1119496.4322 | 2594948.0583 | 1119497.8846 | 2594942.9722 | 1119499.0347
50 | 2595057.9336 | 1119323.3627 | 2595039.2656 | 1119308.3395

## bus_geodata
| x | y | coords
0 | 2595022.1943 | 1119415.4546
1 | 2595040.3139 | 1119456.2424
2 | 2594974.9998 | 1119396.9124
3 | 2594998.4841 | 1119468.8279
4 | 2594931.4456 | 1119405.0866
5 | 2595007.9147 | 1119499.3989
6 | 2595017.6314 | 1119530.8978
7 | 2594994.7692 | 1119620.4497
8 | 2594940.2746 | 1119317.2694
9 | 2594918.7318 | 1119423.7359
10 | 2594939.4591 | 1119601.9095
11 | 2594947.4402 | 1119624.3248
12 | 2594973.234 | 1119600.1398
13 | 2594970.6603 | 1119622.3152
14 | 2594855.2649 | 1119549.667
15 | 2594897.4116 | 1119538.8255
16 | 2594869.8486 | 1119511.8984
17 | 2595176.8876 | 1119480.9091
18 | 2595156.3286 | 1119512.2189
19 | 2595176.0737 | 1119466.6917
20 | 2595153.9343 | 1119464.0233
21 | 2595153.5494 | 1119206.5492
22 | 2594991.6499 | 1119176.6239
23 | 2595169.4303 | 1119351.2977
24 | 2595022.8997 | 1119261.3503
25 | 2594963.2573 | 1119222.6199
26 | 2594897.1648 | 1119250.3511
27 | 2594891.3345 | 1119253.4354
28 | 2594868.6433 | 1119216.6848
29 | 2595007.1335 | 1119294.313
30 | 2595050.2263 | 1119283.5137
31 | 2594997.468 | 1119306.0268
32 | 2594988.8374 | 1119328.5026
33 | 2595222.7006 | 1119398.6502
34 | 2595172.3487 | 1119401.9408
35 | 2594899.0757 | 1119458.2896
36 | 2594919.3068 | 1119507.3755
37 | 2595190.1179 | 1119472.7484
38 | 2595173.5929 | 1119423.517
39 | 2594869.9043 | 1119316.8534
40 | 2594838.5974 | 1119189.8941
41 | 2594777.8183 | 1119387.1039
42 | 2594787.2737 | 1119332.3307
43 | 2595074.7677 | 1119303.3612
44 | 2594858.1778 | 1119198.2944
45 | 2594846.5741 | 1119188.342
46 | 2594988.283 | 1119383.5627
47 | 2595200.4581 | 1119422.1536
48 | 2594942.9722 | 1119499.0347
49 | 2594956.168 | 1119496.4322
50 | 2595057.9336 | 1119323.3627
51 | 2595039.2656 | 1119308.3395
52 | 2594926.8034 | 1119398.9431

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1