## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6266-5_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6266-5_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6266-5_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6266-5_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6266-5_0_7_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6266-5_0_7_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_6266-5_0_7_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6266-5_0_7_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6266-5_0_7_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_6266-5_0_7_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_6266-5_0_7_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_6266-5_0_7_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6266-5_0_7_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_6266-5_0_7_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_6266-5_0_7_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_6266-5_0_7_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_6266-5_0_7_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6266-5_0_7_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6266-5_0_7_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6266-5_0_7_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6266-5_0_7_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_6266-5_0_7_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6266-5_0_7_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_6266-5_0_7_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_6266-5_0_7_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6266-5_0_7_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_6266-5_0_7_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6266-5_0_7_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_6266-5_0_7_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_6266-5_0_7_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6266-5_0_7_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6266-5_0_7_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_6266-5_0_7_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6266-5_0_7_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6266-5_0_7_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6266-5_0_7_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_6266-5_0_7_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_6266-5_0_7_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6266-5_0_7_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_6266-5_0_7_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6266-5_0_7_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_6266-5_0_7_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6266-5_0_7_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_6266-5_0_7_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_6266-5_0_7_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_6266-5_0_7_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_6266-5_0_7_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6266-5_0_7_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6266-5_0_7_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_6266-5_0_7_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6266-5_0_7_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6266-5_0_7_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6266-5_0_7_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_6266-5_0_7_node_52 | 0.4 | n |  | TRUE
54 | bus_MV_277_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6266-5_0_7_load_0 | 0 | 0.015492 | 0.0038827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6266-5_0_7_load_2 | 2 | 0.016108 | 0.004037 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6266-5_0_7_load_54 | 5 | 0.0098229 | 0.0024619 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6266-5_0_7_load_6 | 7 | 0.015432 | 0.0038675 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6266-5_0_7_load_38 | 8 | 0.0047294 | 0.0011853 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6266-5_0_7_load_50 | 10 | 0.0071493 | 0.0017918 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6266-5_0_7_load_7 | 11 | 0.012458 | 0.0031223 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6266-5_0_7_load_49 | 13 | 0.010589 | 0.0026538 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6266-5_0_7_load_46 | 14 | 0.013564 | 0.0033995 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6266-5_0_7_load_51 | 15 | 0.0071573 | 0.0017938 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6266-5_0_7_load_9 | 16 | 0.032293 | 0.0080934 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6266-5_0_7_load_36 | 23 | 0.012789 | 0.0032053 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6266-5_0_7_load_53 | 25 | 0.013437 | 0.0033676 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6266-5_0_7_load_34 | 27 | 0.01326 | 0.0033233 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6266-5_0_7_load_37 | 28 | 0.018628 | 0.0046686 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6266-5_0_7_load_44 | 31 | 0.044974 | 0.011272 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6266-5_0_7_load_28 | 32 | 0.0069967 | 0.0017535 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6266-5_0_7_load_27 | 34 | 0.0028287 | 0.00070894 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6266-5_0_7_load_43 | 36 | 0.054151 | 0.013571 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6266-5_0_7_load_29 | 39 | 0.0041757 | 0.0010465 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6266-5_0_7_load_55 | 40 | 0.028204 | 0.0070687 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6266-5_0_7_load_33 | 41 | 0.013229 | 0.0033156 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6266-5_0_7_load_45 | 42 | 0.030486 | 0.0076405 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6266-5_0_7_load_26 | 43 | 0.042579 | 0.010671 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6266-5_0_7_load_31 | 45 | 0.012082 | 0.003028 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6266-5_0_7_load_30 | 46 | 0.057538 | 0.01442 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6266-5_0_7_load_35 | 47 | 0.015646 | 0.0039212 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6266-5_0_7_load_39 | 48 | 0.014703 | 0.003685 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6266-5_0_7_load_41 | 50 | 0.013337 | 0.0033425 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6266-5_0_7_load_42 | 51 | 0.014392 | 0.0036071 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6266-5_0_7_load_47 | 52 | 0.019287 | 0.0048337 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6266-5_0_7_load_52 | 53 | 0.006855 | 0.001718 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6266-5_0_7_line_0 |  | 0 | 1 | 0.019048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6266-5_0_7_line_1 |  | 0 | 2 | 0.024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6266-5_0_7_line_2 |  | 1 | 3 | 0.004339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6266-5_0_7_line_3 |  | 1 | 4 | 0.054862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6266-5_0_7_line_4 |  | 3 | 5 | 0.052471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6266-5_0_7_line_5 |  | 4 | 8 | 0.016227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6266-5_0_7_line_6 |  | 4 | 9 | 0.022406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6266-5_0_7_line_7 |  | 4 | 10 | 0.0098532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6266-5_0_7_line_8 |  | 4 | 6 | 0.02761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6266-5_0_7_line_9 |  | 6 | 7 | 0.021922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6266-5_0_7_line_10 |  | 7 | 11 | 0.014616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6266-5_0_7_line_11 |  | 8 | 12 | 0.04268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6266-5_0_7_line_12 |  | 9 | 13 | 0.022248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6266-5_0_7_line_13 |  | 9 | 14 | 0.028998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6266-5_0_7_line_14 |  | 10 | 15 | 0.0010457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6266-5_0_7_line_15 |  | 12 | 28 | 0.04467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6266-5_0_7_line_16 |  | 14 | 52 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6266-5_0_7_line_17 |  | 15 | 53 | 0.003783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6266-5_0_7_line_18 |  | 16 | 17 | 0.010269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6266-5_0_7_line_19 |  | 16 | 18 | 0.013914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6266-5_0_7_line_20 |  | 17 | 19 | 0.067906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6266-5_0_7_line_21 |  | 18 | 20 | 0.048967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6266-5_0_7_line_22 |  | 19 | 23 | 0.012641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6266-5_0_7_line_23 |  | 20 | 43 | 0.012892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6266-5_0_7_line_24 |  | 21 | 22 | 0.08864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6266-5_0_7_line_25 |  | 21 | 23 | 0.064401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6266-5_0_7_line_26 |  | 22 | 35 | 0.030531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6266-5_0_7_line_27 |  | 24 | 25 | 0.061464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6266-5_0_7_line_28 |  | 24 | 26 | 0.05668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6266-5_0_7_line_29 |  | 26 | 27 | 0.043629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6266-5_0_7_line_30 |  | 26 | 28 | 0.045288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6266-5_0_7_line_31 |  | 27 | 44 | 0.051218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6266-5_0_7_line_32 |  | 29 | 30 | 0.022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6266-5_0_7_line_33 |  | 29 | 31 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6266-5_0_7_line_34 |  | 30 | 32 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6266-5_0_7_line_35 |  | 30 | 33 | 0.028802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6266-5_0_7_line_36 |  | 30 | 34 | 0.02826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6266-5_0_7_line_37 |  | 31 | 36 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6266-5_0_7_line_38 |  | 33 | 37 | 0.046596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6266-5_0_7_line_39 |  | 33 | 38 | 0.09781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6266-5_0_7_line_40 |  | 33 | 39 | 0.023567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6266-5_0_7_line_41 |  | 35 | 36 | 0.074766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6266-5_0_7_line_42 |  | 37 | 40 | 0.032222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6266-5_0_7_line_43 |  | 38 | 41 | 0.019794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6266-5_0_7_line_44 |  | 38 | 42 | 0.016007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6266-5_0_7_line_45 |  | 41 | 45 | 0.0029674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6266-5_0_7_line_46 |  | 44 | 47 | 0.019525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6266-5_0_7_line_47 |  | 44 | 46 | 0.0518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6266-5_0_7_line_48 |  | 45 | 46 | 0.0022038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6266-5_0_7_line_49 |  | 47 | 48 | 0.00052805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6266-5_0_7_line_50 |  | 48 | 49 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6266-5_0_7_line_51 |  | 49 | 50 | 0.015844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6266-5_0_7_line_52 |  | 49 | 51 | 0.008403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6266-5_0_7_trafo_32 | 0.63 MVA 20/0.4 kV | 54 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2593491.2989 | 1120478.4179 | 2593487.6152 | 1120481.7569 | 2593481.4532 | 1120490.2344 | 2593479.1947 | 1120493.032
1 | 2593462.3213 | 1120510.3985 | 2593471.0071 | 1120503.1743 | 2593479.1947 | 1120493.032
2 | 2593491.2989 | 1120478.4179 | 2593494.3107 | 1120481.5495
3 | 2593456.0874 | 1120438.9258 | 2593454.8483 | 1120441.5952 | 2593460.0209 | 1120445.3469 | 2593464.7931 | 1120449.9106 | 2593491.2989 | 1120478.4179
4 | 2593494.3107 | 1120481.5495 | 2593490.6581 | 1120485.0663 | 2593471.276 | 1120509.1881 | 2593478.0267 | 1120524.2437
5 | 2593456.0874 | 1120438.9258 | 2593459.7542 | 1120441.3564 | 2593464.5798 | 1120445.2308 | 2593468.6271 | 1120449.1573
6 | 2593436.3353 | 1120428.2534 | 2593447.1569 | 1120434.0777 | 2593453.9105 | 1120437.5942 | 2593456.0874 | 1120438.9258
7 | 2593456.0874 | 1120438.9258 | 2593457.1417 | 1120436.6569 | 2593454.0689 | 1120434.3036 | 2593454.6283 | 1120430.8679
8 | 2593433.0973 | 1120429.9689 | 2593449.6458 | 1120438.5994 | 2593454.8483 | 1120441.5952 | 2593456.0874 | 1120438.9258
9 | 2593433.0973 | 1120429.9689 | 2593427.0778 | 1120448.7958 | 2593426.3412 | 1120450.8222
10 | 2593426.3412 | 1120450.8222 | 2593422.4249 | 1120461.5961 | 2593421.2312 | 1120464.5134
11 | 2593497.6189 | 1120480.4787 | 2593488.6833 | 1120470.8837 | 2593483.5396 | 1120465.2643 | 2593476.2566 | 1120457.3128 | 2593468.7575 | 1120449.2837 | 2593468.6271 | 1120449.1573
12 | 2593436.3353 | 1120428.2534 | 2593429.188 | 1120424.5372 | 2593421.6933 | 1120420.6768 | 2593416.5672 | 1120418.0451
13 | 2593436.3353 | 1120428.2534 | 2593446.4492 | 1120414.8468 | 2593443.6076 | 1120412.2931 | 2593441.9787 | 1120404.0687
14 | 2593454.6283 | 1120430.8679 | 2593454.6283 | 1120430.8679 | 2593453.758 | 1120430.2884
15 | 2593497.6189 | 1120480.4787 | 2593498.9062 | 1120479.6213 | 2593505.9179 | 1120486.3948 | 2593509.8138 | 1120486.7018 | 2593518.7061 | 1120491.9392 | 2593526.6627 | 1120495.1433 | 2593530.7438 | 1120495.5279 | 2593536.7419 | 1120493.104
16 | 2593441.9787 | 1120404.0687 | 2593441.9787 | 1120404.0687 | 2593430.4756 | 1120395.8661 | 2593429.6041 | 1120395.1984
17 | 2593453.758 | 1120430.2884 | 2593450.6093 | 1120428.1915
18 | 2593800.2243 | 1120435.202 | 2593795.5759 | 1120444.3585
19 | 2593789.2619 | 1120456.7572 | 2593794.3351 | 1120446.8027 | 2593795.5759 | 1120444.3585
20 | 2593760.6589 | 1120398.3584 | 2593766.9251 | 1120400.6308 | 2593792.1292 | 1120409.9425 | 2593801.5985 | 1120413.9012 | 2593798.8199 | 1120419.8292 | 2593796.597 | 1120426.1569 | 2593799.1292 | 1120428.0329 | 2593800.2884 | 1120429.9882 | 2593800.9923 | 1120431.844 | 2593800.2243 | 1120435.202
21 | 2593746.3328 | 1120434.3132 | 2593751.3108 | 1120436.6425 | 2593753.2497 | 1120439.175 | 2593776.2316 | 1120448.1888 | 2593786.9152 | 1120455.2145 | 2593789.2619 | 1120456.7572
22 | 2593760.6589 | 1120398.3584 | 2593748.8474 | 1120393.8546
23 | 2593746.3328 | 1120434.3132 | 2593751.8808 | 1120422.6759
24 | 2593620.8142 | 1120345.0909 | 2593618.5068 | 1120351.5299 | 2593625.2201 | 1120353.3569 | 2593631.7382 | 1120353.0276 | 2593637.2214 | 1120351.5099 | 2593640.9996 | 1120357.1309 | 2593647.6853 | 1120362.0484 | 2593679.1334 | 1120374.1099 | 2593686.3334 | 1120376.6813 | 2593688.6724 | 1120370.9094
25 | 2593688.6724 | 1120370.9094 | 2593748.8474 | 1120393.8546
26 | 2593599.5675 | 1120350.6608 | 2593616.4451 | 1120356.8569 | 2593618.5068 | 1120351.5299 | 2593620.8142 | 1120345.0909
27 | 2593622.8431 | 1120453.7308 | 2593583.6478 | 1120424.7808 | 2593581.5862 | 1120423.0488 | 2593579.3712 | 1120422.0618 | 2593577.6046 | 1120421.9748 | 2593571.7664 | 1120423.2261
28 | 2593579.929 | 1120481.7793 | 2593584.8523 | 1120483.3748 | 2593591.2165 | 1120483.4458 | 2593596.1759 | 1120482.7735 | 2593600.2163 | 1120481.1351 | 2593603.8469 | 1120478.63 | 2593606.7057 | 1120475.7366 | 2593619.3071 | 1120458.1034 | 2593622.8431 | 1120453.7308
29 | 2593579.929 | 1120481.7793 | 2593574.5857 | 1120469.7014 | 2593563.0308 | 1120448.8925 | 2593559.2405 | 1120443.4646
30 | 2593579.929 | 1120481.7793 | 2593571.2621 | 1120485.2014 | 2593552.7573 | 1120486.2107 | 2593541.1146 | 1120491.3369 | 2593536.7419 | 1120493.104
31 | 2593523.6746 | 1120407.0923 | 2593531.2327 | 1120412.6313 | 2593543.8651 | 1120423.8676 | 2593551.2334 | 1120432.2415 | 2593557.1745 | 1120440.5058 | 2593559.2405 | 1120443.4646
32 | 2593514.3431 | 1120302.7847 | 2593517.3387 | 1120297.9235 | 2593520.7271 | 1120292.4727 | 2593529.2804 | 1120297.9661
33 | 2593514.3431 | 1120302.7847 | 2593525.3398 | 1120309.8807
34 | 2593529.2804 | 1120297.9661 | 2593541.6084 | 1120305.46
35 | 2593505.2025 | 1120282.1623 | 2593520.7271 | 1120292.4727 | 2593529.2804 | 1120297.9661
36 | 2593529.2804 | 1120297.9661 | 2593537.4399 | 1120270.9094
37 | 2593533.84 | 1120315.3657 | 2593525.3398 | 1120309.8807
38 | 2593469.8388 | 1120273.8411 | 2593473.166 | 1120268.9128 | 2593501.5133 | 1120287.6912 | 2593505.2025 | 1120282.1623
39 | 2593459.3008 | 1120365.2752 | 2593474.275 | 1120345.0378 | 2593473.8781 | 1120327.6297 | 2593492.6795 | 1120301.0073 | 2593498.0011 | 1120292.6975 | 2593501.5133 | 1120287.6912 | 2593505.2025 | 1120282.1623
40 | 2593505.2025 | 1120282.1623 | 2593507.0176 | 1120277.1578 | 2593512.7197 | 1120259.8278
41 | 2593599.5675 | 1120350.6608 | 2593581.7935 | 1120342.9983 | 2593576.4605 | 1120340.7029 | 2593556.2988 | 1120329.4079 | 2593548.1552 | 1120324.6699 | 2593536.3055 | 1120316.9567 | 2593533.84 | 1120315.3657
42 | 2593452.7198 | 1120301.1621 | 2593460.3285 | 1120289.259 | 2593469.8388 | 1120273.8411
43 | 2593459.3008 | 1120365.2752 | 2593470.8727 | 1120372.9885 | 2593475.8177 | 1120376.1824
44 | 2593459.3008 | 1120365.2752 | 2593445.9465 | 1120356.4497
45 | 2593475.8177 | 1120376.1824 | 2593478.3103 | 1120377.7923
46 | 2593523.6746 | 1120407.0923 | 2593511.1328 | 1120422.057
47 | 2593523.6746 | 1120407.0923 | 2593480.1616 | 1120378.988
48 | 2593478.3103 | 1120377.7923 | 2593480.1616 | 1120378.988
49 | 2593510.7936 | 1120422.4617 | 2593511.1328 | 1120422.057
50 | 2593502.8888 | 1120431.8936 | 2593510.7936 | 1120422.4617
51 | 2593502.8888 | 1120431.8936 | 2593503.698 | 1120438.307 | 2593496.6618 | 1120444.5288
52 | 2593502.8888 | 1120431.8936 | 2593495.8509 | 1120436.5146

## bus_geodata
| x | y | coords
0 | 2593479.1947 | 1120493.032
1 | 2593491.2989 | 1120478.4179
2 | 2593462.3213 | 1120510.3985
3 | 2593494.3107 | 1120481.5495
4 | 2593456.0874 | 1120438.9258
5 | 2593478.0267 | 1120524.2437
6 | 2593433.0973 | 1120429.9689
7 | 2593426.3412 | 1120450.8222
8 | 2593468.6271 | 1120449.1573
9 | 2593436.3353 | 1120428.2534
10 | 2593454.6283 | 1120430.8679
11 | 2593421.2312 | 1120464.5134
12 | 2593497.6189 | 1120480.4787
13 | 2593416.5672 | 1120418.0451
14 | 2593441.9787 | 1120404.0687
15 | 2593453.758 | 1120430.2884
16 | 2593795.5759 | 1120444.3585
17 | 2593800.2243 | 1120435.202
18 | 2593789.2619 | 1120456.7572
19 | 2593760.6589 | 1120398.3584
20 | 2593746.3328 | 1120434.3132
21 | 2593688.6724 | 1120370.9094
22 | 2593620.8142 | 1120345.0909
23 | 2593748.8474 | 1120393.8546
24 | 2593622.8431 | 1120453.7308
25 | 2593571.7664 | 1120423.2261
26 | 2593579.929 | 1120481.7793
27 | 2593559.2405 | 1120443.4646
28 | 2593536.7419 | 1120493.104
29 | 2593514.3431 | 1120302.7847
30 | 2593529.2804 | 1120297.9661
31 | 2593525.3398 | 1120309.8807
32 | 2593541.6084 | 1120305.46
33 | 2593505.2025 | 1120282.1623
34 | 2593537.4399 | 1120270.9094
35 | 2593599.5675 | 1120350.6608
36 | 2593533.84 | 1120315.3657
37 | 2593469.8388 | 1120273.8411
38 | 2593459.3008 | 1120365.2752
39 | 2593512.7197 | 1120259.8278
40 | 2593452.7198 | 1120301.1621
41 | 2593475.8177 | 1120376.1824
42 | 2593445.9465 | 1120356.4497
43 | 2593751.8808 | 1120422.6759
44 | 2593523.6746 | 1120407.0923
45 | 2593478.3103 | 1120377.7923
46 | 2593480.1616 | 1120378.988
47 | 2593511.1328 | 1120422.057
48 | 2593510.7936 | 1120422.4617
49 | 2593502.8888 | 1120431.8936
50 | 2593496.6618 | 1120444.5288
51 | 2593495.8509 | 1120436.5146
52 | 2593429.6041 | 1120395.1984
53 | 2593450.6093 | 1120428.1915
54 | 2593502.8888 | 1120431.8936

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1