## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6281-4_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6281-4_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6281-4_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6281-4_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6281-4_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6281-4_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6281-4_0_8_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6281-4_0_8_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6281-4_0_8_node_100 | 0.4 | n |  | TRUE
9 | bus_LV_6281-4_0_8_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6281-4_0_8_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_6281-4_0_8_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_6281-4_0_8_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_6281-4_0_8_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_6281-4_0_8_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_6281-4_0_8_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_6281-4_0_8_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6281-4_0_8_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6281-4_0_8_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6281-4_0_8_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6281-4_0_8_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6281-4_0_8_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6281-4_0_8_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_6281-4_0_8_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6281-4_0_8_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6281-4_0_8_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6281-4_0_8_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_6281-4_0_8_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_6281-4_0_8_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_6281-4_0_8_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_6281-4_0_8_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_6281-4_0_8_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6281-4_0_8_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6281-4_0_8_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6281-4_0_8_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_6281-4_0_8_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_6281-4_0_8_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6281-4_0_8_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6281-4_0_8_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_6281-4_0_8_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_6281-4_0_8_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_6281-4_0_8_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_6281-4_0_8_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_6281-4_0_8_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6281-4_0_8_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6281-4_0_8_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6281-4_0_8_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6281-4_0_8_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_6281-4_0_8_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6281-4_0_8_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_6281-4_0_8_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_6281-4_0_8_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_6281-4_0_8_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6281-4_0_8_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6281-4_0_8_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6281-4_0_8_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_6281-4_0_8_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6281-4_0_8_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_6281-4_0_8_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6281-4_0_8_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_6281-4_0_8_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6281-4_0_8_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_6281-4_0_8_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_6281-4_0_8_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_6281-4_0_8_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_6281-4_0_8_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6281-4_0_8_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_6281-4_0_8_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_6281-4_0_8_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_6281-4_0_8_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_6281-4_0_8_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6281-4_0_8_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6281-4_0_8_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_6281-4_0_8_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_6281-4_0_8_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_6281-4_0_8_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_6281-4_0_8_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_6281-4_0_8_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6281-4_0_8_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_6281-4_0_8_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_6281-4_0_8_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_6281-4_0_8_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_6281-4_0_8_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_6281-4_0_8_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_6281-4_0_8_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_6281-4_0_8_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_6281-4_0_8_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_6281-4_0_8_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_6281-4_0_8_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_6281-4_0_8_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_6281-4_0_8_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_6281-4_0_8_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_6281-4_0_8_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_6281-4_0_8_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_6281-4_0_8_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_6281-4_0_8_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_6281-4_0_8_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_6281-4_0_8_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_6281-4_0_8_node_98 | 0.4 | n |  | TRUE
99 | bus_MV_108_0_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6281-4_0_8_load_0 | 0 | 0.012623 | 0.0031637 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6281-4_0_8_load_3 | 3 | 0.010341 | 0.0025916 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6281-4_0_8_load_4 | 4 | 0.014521 | 0.0036393 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6281-4_0_8_load_100 | 8 | 0.041993 | 0.010524 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6281-4_0_8_load_73 | 10 | 0.0075352 | 0.0018885 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6281-4_0_8_load_19 | 11 | 0.0091691 | 0.002298 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6281-4_0_8_load_34 | 12 | 0.016543 | 0.0041461 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6281-4_0_8_load_72 | 13 | 0.0041724 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6281-4_0_8_load_17 | 14 | 0.0098872 | 0.002478 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6281-4_0_8_load_9 | 16 | 0.007648 | 0.0019168 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6281-4_0_8_load_10 | 17 | 0.011179 | 0.0028016 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6281-4_0_8_load_12 | 19 | 0.0053764 | 0.0013475 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6281-4_0_8_load_18 | 21 | 0.010696 | 0.0026808 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6281-4_0_8_load_42 | 22 | 0.014207 | 0.0035606 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6281-4_0_8_load_16 | 23 | 0.030915 | 0.007748 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6281-4_0_8_load_14 | 24 | 0.0058151 | 0.0014574 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6281-4_0_8_load_15 | 25 | 0.0058789 | 0.0014734 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6281-4_0_8_load_74 | 27 | 0.0043496 | 0.0010901 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6281-4_0_8_load_44 | 28 | 0.006674 | 0.0016727 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6281-4_0_8_load_38 | 29 | 0.0044569 | 0.001117 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6281-4_0_8_load_39 | 30 | 0.0025831 | 0.00064739 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6281-4_0_8_load_40 | 31 | 0.0081799 | 0.0020501 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6281-4_0_8_load_20 | 32 | 0.0022757 | 0.00057035 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6281-4_0_8_load_21 | 33 | 0.0024172 | 0.00060582 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6281-4_0_8_load_23 | 35 | 0.0022407 | 0.00056157 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6281-4_0_8_load_24 | 36 | 0.0018372 | 0.00046045 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6281-4_0_8_load_25 | 37 | 0.0011024 | 0.00027629 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6281-4_0_8_load_26 | 38 | 0.0041525 | 0.0010407 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6281-4_0_8_load_47 | 39 | 0.0017614 | 0.00044146 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6281-4_0_8_load_54 | 40 | 0.0028391 | 0.00071155 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6281-4_0_8_load_45 | 41 | 0.0020876 | 0.0005232 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6281-4_0_8_load_55 | 42 | 0.0059126 | 0.0014818 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6281-4_0_8_load_27 | 43 | 0.018029 | 0.0045186 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6281-4_0_8_load_28 | 44 | 0.012836 | 0.003217 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6281-4_0_8_load_29 | 45 | 0.0070841 | 0.0017754 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6281-4_0_8_load_32 | 48 | 0.018992 | 0.0047598 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6281-4_0_8_load_37 | 50 | 0.015747 | 0.0039467 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6281-4_0_8_load_99 | 51 | 0.0069038 | 0.0017303 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6281-4_0_8_load_41 | 52 | 0.00635 | 0.0015914 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6281-4_0_8_load_46 | 53 | 0.0022581 | 0.00056592 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6281-4_0_8_load_49 | 55 | 0.007444 | 0.0018656 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6281-4_0_8_load_50 | 56 | 0.0008321 | 0.00020854 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6281-4_0_8_load_53 | 57 | 0.0050499 | 0.0012656 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6281-4_0_8_load_51 | 58 | 0.0029313 | 0.00073466 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6281-4_0_8_load_61 | 60 | 0.0071382 | 0.001789 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6281-4_0_8_load_62 | 61 | 0.006843 | 0.001715 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6281-4_0_8_load_56 | 62 | 0.0044746 | 0.0011214 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6281-4_0_8_load_57 | 63 | 0.0060218 | 0.0015092 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6281-4_0_8_load_58 | 64 | 0.0025145 | 0.0006302 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6281-4_0_8_load_59 | 65 | 0.0026118 | 0.00065457 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6281-4_0_8_load_65 | 66 | 0.004283 | 0.0010734 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6281-4_0_8_load_93 | 67 | 0.0059372 | 0.001488 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6281-4_0_8_load_63 | 68 | 0.0029318 | 0.00073478 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6281-4_0_8_load_64 | 69 | 0.0018967 | 0.00047536 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6281-4_0_8_load_66 | 70 | 0.0051802 | 0.0012983 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6281-4_0_8_load_67 | 71 | 0.0042679 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6281-4_0_8_load_92 | 72 | 0.0033287 | 0.00083426 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6281-4_0_8_load_69 | 74 | 0.0034642 | 0.00086822 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6281-4_0_8_load_70 | 75 | 0.0039765 | 0.00099661 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6281-4_0_8_load_71 | 76 | 0.011112 | 0.002785 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6281-4_0_8_load_75 | 77 | 0.028002 | 0.007018 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6281-4_0_8_load_76 | 78 | 0.031005 | 0.0077706 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6281-4_0_8_load_77 | 79 | 0.0054445 | 0.0013645 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6281-4_0_8_load_83 | 82 | 0.0042212 | 0.0010579 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6281-4_0_8_load_80 | 83 | 0.0074211 | 0.0018599 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6281-4_0_8_load_85 | 84 | 0.0076629 | 0.0019205 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6281-4_0_8_load_81 | 85 | 0.0050948 | 0.0012769 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6281-4_0_8_load_82 | 86 | 0.0045856 | 0.0011493 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6281-4_0_8_load_84 | 87 | 0.0035851 | 0.00089851 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6281-4_0_8_load_86 | 88 | 0.0036095 | 0.00090463 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6281-4_0_8_load_88 | 90 | 0.010646 | 0.0026682 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6281-4_0_8_load_89 | 91 | 0.0043619 | 0.0010932 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6281-4_0_8_load_90 | 92 | 0.003902 | 0.00097794 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6281-4_0_8_load_91 | 93 | 0.0064442 | 0.0016151 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6281-4_0_8_load_97 | 94 | 0.0024791 | 0.00062132 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6281-4_0_8_load_95 | 95 | 0.0020887 | 0.00052347 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6281-4_0_8_load_96 | 97 | 0.0052265 | 0.0013099 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6281-4_0_8_load_98 | 98 | 0.0093929 | 0.0023541 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6281-4_0_8_line_0 |  | 0 | 1 | 0.03605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6281-4_0_8_line_1 |  | 0 | 2 | 0.031861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6281-4_0_8_line_2 |  | 1 | 3 | 0.02694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6281-4_0_8_line_3 |  | 1 | 4 | 0.031424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6281-4_0_8_line_4 |  | 2 | 5 | 0.047314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6281-4_0_8_line_5 |  | 3 | 6 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6281-4_0_8_line_6 |  | 4 | 7 | 0.026475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6281-4_0_8_line_7 |  | 5 | 8 | 0.056404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6281-4_0_8_line_8 |  | 6 | 11 | 0.021907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6281-4_0_8_line_9 |  | 6 | 12 | 0.010933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6281-4_0_8_line_10 |  | 7 | 9 | 0.070681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6281-4_0_8_line_11 |  | 9 | 10 | 0.043529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6281-4_0_8_line_12 |  | 10 | 13 | 0.016848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6281-4_0_8_line_13 |  | 11 | 14 | 0.054516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6281-4_0_8_line_14 |  | 12 | 15 | 0.0043541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6281-4_0_8_line_15 |  | 13 | 75 | 0.02045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6281-4_0_8_line_16 |  | 14 | 23 | 0.0072509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6281-4_0_8_line_17 |  | 15 | 49 | 0.007745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6281-4_0_8_line_18 |  | 16 | 17 | 0.028747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6281-4_0_8_line_19 |  | 16 | 18 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6281-4_0_8_line_20 |  | 17 | 19 | 0.0095267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6281-4_0_8_line_21 |  | 18 | 20 | 0.029378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6281-4_0_8_line_22 |  | 19 | 21 | 0.040453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6281-4_0_8_line_23 |  | 20 | 24 | 0.042158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6281-4_0_8_line_24 |  | 20 | 25 | 0.023278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6281-4_0_8_line_25 |  | 21 | 22 | 0.043498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6281-4_0_8_line_26 |  | 21 | 23 | 0.010043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6281-4_0_8_line_27 |  | 22 | 31 | 0.026036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6281-4_0_8_line_28 |  | 24 | 26 | 0.023325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6281-4_0_8_line_29 |  | 25 | 27 | 0.041635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6281-4_0_8_line_30 |  | 26 | 28 | 0.0082378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6281-4_0_8_line_31 |  | 29 | 30 | 0.014301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6281-4_0_8_line_32 |  | 29 | 31 | 0.0057959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6281-4_0_8_line_33 |  | 30 | 52 | 0.0025772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6281-4_0_8_line_34 |  | 32 | 33 | 0.0041234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6281-4_0_8_line_35 |  | 32 | 34 | 0.026665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6281-4_0_8_line_36 |  | 34 | 35 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6281-4_0_8_line_37 |  | 34 | 36 | 0.008861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6281-4_0_8_line_38 |  | 35 | 37 | 0.0039315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6281-4_0_8_line_39 |  | 36 | 38 | 0.0018209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6281-4_0_8_line_40 |  | 37 | 39 | 0.017914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6281-4_0_8_line_41 |  | 38 | 40 | 0.0060096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6281-4_0_8_line_42 |  | 39 | 41 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6281-4_0_8_line_43 |  | 40 | 42 | 0.0094251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6281-4_0_8_line_44 |  | 41 | 53 | 0.016157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6281-4_0_8_line_45 |  | 42 | 62 | 0.0091595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6281-4_0_8_line_46 |  | 43 | 44 | 0.045346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6281-4_0_8_line_47 |  | 43 | 45 | 0.0093297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6281-4_0_8_line_48 |  | 44 | 46 | 0.058466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6281-4_0_8_line_49 |  | 46 | 47 | 0.018673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6281-4_0_8_line_50 |  | 47 | 48 | 0.028327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6281-4_0_8_line_51 |  | 48 | 49 | 0.01481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6281-4_0_8_line_52 |  | 49 | 50 | 0.041596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6281-4_0_8_line_53 |  | 51 | 52 | 0.078968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6281-4_0_8_line_54 |  | 53 | 54 | 0.017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6281-4_0_8_line_55 |  | 54 | 55 | 0.029696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6281-4_0_8_line_56 |  | 54 | 56 | 0.012729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6281-4_0_8_line_57 |  | 55 | 57 | 0.041938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6281-4_0_8_line_58 |  | 56 | 58 | 0.039713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6281-4_0_8_line_59 |  | 57 | 59 | 0.036289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6281-4_0_8_line_60 |  | 59 | 60 | 0.018963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6281-4_0_8_line_61 |  | 59 | 61 | 0.013094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6281-4_0_8_line_62 |  | 60 | 68 | 0.014229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6281-4_0_8_line_63 |  | 61 | 69 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6281-4_0_8_line_64 |  | 62 | 63 | 0.02051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6281-4_0_8_line_65 |  | 63 | 64 | 0.013395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6281-4_0_8_line_66 |  | 64 | 65 | 0.012445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6281-4_0_8_line_67 |  | 65 | 66 | 0.011672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6281-4_0_8_line_68 |  | 66 | 67 | 0.0041739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6281-4_0_8_line_69 |  | 67 | 72 | 0.0080698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6281-4_0_8_line_70 |  | 69 | 70 | 0.017184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6281-4_0_8_line_71 |  | 70 | 71 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6281-4_0_8_line_72 |  | 71 | 73 | 0.010805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_6281-4_0_8_line_73 |  | 72 | 96 | 0.0023879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6281-4_0_8_line_74 |  | 73 | 74 | 0.027106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6281-4_0_8_line_75 |  | 73 | 75 | 0.021855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_6281-4_0_8_line_76 |  | 74 | 76 | 0.0044187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6281-4_0_8_line_77 |  | 77 | 78 | 0.0042032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6281-4_0_8_line_78 |  | 77 | 79 | 0.0050039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6281-4_0_8_line_79 |  | 79 | 80 | 0.037978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6281-4_0_8_line_80 |  | 80 | 81 | 0.005415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6281-4_0_8_line_81 |  | 81 | 82 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6281-4_0_8_line_82 |  | 81 | 83 | 0.017829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_6281-4_0_8_line_83 |  | 82 | 84 | 0.034895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6281-4_0_8_line_84 |  | 83 | 85 | 0.0048745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_6281-4_0_8_line_85 |  | 85 | 86 | 0.008843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_6281-4_0_8_line_86 |  | 86 | 87 | 0.0061402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_6281-4_0_8_line_87 |  | 87 | 88 | 0.0051442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6281-4_0_8_line_88 |  | 88 | 89 | 0.0089194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_6281-4_0_8_line_89 |  | 89 | 90 | 0.0087444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6281-4_0_8_line_90 |  | 89 | 91 | 0.0067974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_6281-4_0_8_line_91 |  | 90 | 92 | 0.037011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6281-4_0_8_line_92 |  | 91 | 93 | 0.00037487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_6281-4_0_8_line_93 |  | 93 | 94 | 0.0083073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_6281-4_0_8_line_94 |  | 94 | 95 | 0.0014257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_6281-4_0_8_line_95 |  | 95 | 96 | 0.0077007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_6281-4_0_8_line_96 |  | 96 | 97 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6281-4_0_8_line_97 |  | 97 | 98 | 0.019237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6281-4_0_8_trafo_6 | 0.63 MVA 20/0.4 kV | 99 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2632785.7615 | 1128446.9139 | 2632774.6827 | 1128481.2197
1 | 2632766.811 | 1128512.0884 | 2632774.0318 | 1128483.2352 | 2632774.6827 | 1128481.2197
2 | 2632785.7615 | 1128446.9139 | 2632788.9808 | 1128437.1486 | 2632795.0957 | 1128421.6533
3 | 2632785.7615 | 1128446.9139 | 2632797.5739 | 1128459.3285 | 2632803.1579 | 1128468.1187 | 2632805.4215 | 1128471.2628
4 | 2632724.4496 | 1128500.1534 | 2632766.2019 | 1128515.0199 | 2632766.811 | 1128512.0884
5 | 2632799.8854 | 1128409.516 | 2632795.0957 | 1128421.6533
6 | 2632820.8901 | 1128492.7493 | 2632805.4215 | 1128471.2628
7 | 2632724.4496 | 1128500.1534 | 2632738.5582 | 1128445.5467
8 | 2632799.8854 | 1128409.516 | 2632792.6735 | 1128408.2541 | 2632779.0215 | 1128408.2913 | 2632778.0885 | 1128408.3193
9 | 2632799.8854 | 1128409.516 | 2632804.7156 | 1128399.7075
10 | 2632820.8901 | 1128492.7493 | 2632837.7434 | 1128525.9796 | 2632840.1425 | 1128556.6413 | 2632840.3515 | 1128559.2993
11 | 2632840.3515 | 1128559.2993 | 2632848.3127 | 1128560.154 | 2632883.0665 | 1128567.5036
12 | 2632899.5503 | 1128570.9895 | 2632883.0665 | 1128567.5036
13 | 2632778.0885 | 1128408.3193 | 2632737.2738 | 1128409.5439 | 2632723.8525 | 1128412.2042
14 | 2632806.6392 | 1128395.8013 | 2632804.7156 | 1128399.7075
15 | 2632919.5576 | 1128575.2206 | 2632899.5503 | 1128570.9895
16 | 2632716.7341 | 1128413.5778 | 2632717.2369 | 1128413.5154 | 2632723.8525 | 1128412.2042
17 | 2632806.6392 | 1128395.8013 | 2632810.059 | 1128388.8497
18 | 2632657.5632 | 1128409.7123 | 2632629.3495 | 1128415.225
19 | 2632610.9376 | 1128418.8225 | 2632629.3495 | 1128415.225
20 | 2632666.9131 | 1128407.8854 | 2632657.5632 | 1128409.7123
21 | 2632605.9307 | 1128390.07 | 2632608.2179 | 1128411.6932 | 2632610.9376 | 1128418.8225
22 | 2632706.7677 | 1128414.8151 | 2632666.9131 | 1128407.8854
23 | 2632605.9307 | 1128390.07 | 2632605.8352 | 1128389.2024 | 2632608.5005 | 1128359.2462 | 2632608.8109 | 1128348.0395
24 | 2632605.9307 | 1128390.07 | 2632613.9149 | 1128389.5795 | 2632619.9059 | 1128388.6668 | 2632628.9887 | 1128387.0905
25 | 2632706.7677 | 1128414.8151 | 2632688.1434 | 1128375.5059
26 | 2632706.7677 | 1128414.8151 | 2632716.7341 | 1128413.5778
27 | 2632688.1434 | 1128375.5059 | 2632685.2868 | 1128370.9216 | 2632683.9062 | 1128365.5003 | 2632682.7486 | 1128358.7351 | 2632681.6245 | 1128350.6356
28 | 2632609.4569 | 1128324.723 | 2632608.8109 | 1128348.0395
29 | 2632670.3333 | 1128382.2799 | 2632650.9769 | 1128384.3654 | 2632635.3133 | 1128385.9929 | 2632628.9887 | 1128387.0905
30 | 2632609.4569 | 1128324.723 | 2632607.6336 | 1128316.6895
31 | 2632680.729 | 1128344.9101 | 2632679.3681 | 1128337.0282 | 2632678.7129 | 1128330.7598
32 | 2632680.729 | 1128344.9101 | 2632681.2432 | 1128347.8882 | 2632681.6245 | 1128350.6356
33 | 2632678.7129 | 1128330.7598 | 2632678.445 | 1128328.1966
34 | 2633031.6027 | 1128749.1784 | 2633035.5137 | 1128750.4845
35 | 2633012.3966 | 1128731.51 | 2633020.7597 | 1128741.9719 | 2633027.138 | 1128747.6873 | 2633031.6027 | 1128749.1784
36 | 2633012.3966 | 1128731.51 | 2633018.1451 | 1128728.4175 | 2633021.6281 | 1128726.3097
37 | 2633012.3966 | 1128731.51 | 2633004.3403 | 1128727.8205
38 | 2633021.6281 | 1128726.3097 | 2633022.5507 | 1128725.7513 | 2633024.8774 | 1128724.1
39 | 2633004.3403 | 1128727.8205 | 2633002.6848 | 1128727.0623
40 | 2633036.5911 | 1128710.6852 | 2633032.3202 | 1128715.6662 | 2633027.276 | 1128722.3976 | 2633024.8774 | 1128724.1
41 | 2632997.1004 | 1128724.8731 | 2632999.671 | 1128725.6821 | 2633002.6848 | 1128727.0623
42 | 2633043.4037 | 1128699.0011 | 2633042.6562 | 1128700.5817 | 2633037.3674 | 1128709.7797 | 2633036.5911 | 1128710.6852
43 | 2632997.1004 | 1128724.8731 | 2632991.296 | 1128723.0463 | 2632988.0425 | 1128722.2911
44 | 2633043.4037 | 1128699.0011 | 2633045.8127 | 1128693.9067 | 2633048.65 | 1128687.8303 | 2633050.3799 | 1128684.4296
45 | 2632979.207 | 1128719.9114 | 2632982.5172 | 1128721.0085 | 2632988.0425 | 1128722.2911
46 | 2632877.1773 | 1128382.8637 | 2632884.153 | 1128405.3043 | 2632885.6272 | 1128427.1006
47 | 2632886.2567 | 1128436.409 | 2632885.6272 | 1128427.1006
48 | 2632843.223 | 1128336.7589 | 2632853.6641 | 1128344.9419 | 2632869.8531 | 1128364.3505 | 2632875.8316 | 1128378.5345 | 2632877.1773 | 1128382.8637
49 | 2632832.5158 | 1128352.0752 | 2632843.223 | 1128336.7589
50 | 2632832.5158 | 1128352.0752 | 2632821.5895 | 1128368.0351 | 2632817.2354 | 1128375.895
51 | 2632810.059 | 1128388.8497 | 2632817.2354 | 1128375.895
52 | 2632810.059 | 1128388.8497 | 2632771.5634 | 1128372.8221
53 | 2632750.8429 | 1128296.6607 | 2632678.445 | 1128328.1966
54 | 2633059.3063 | 1128669.1346 | 2633054.9267 | 1128675.4917 | 2633050.3799 | 1128684.4296
55 | 2633059.3063 | 1128669.1346 | 2633036.8258 | 1128649.7317
56 | 2633059.3063 | 1128669.1346 | 2633068.9439 | 1128677.4498
57 | 2633036.8258 | 1128649.7317 | 2633016.2598 | 1128631.9811 | 2633008.4194 | 1128633.0056 | 2633003.0313 | 1128637.2584
58 | 2633097.5491 | 1128704.6011 | 2633095.1823 | 1128700.2573 | 2633088.313 | 1128694.1611 | 2633068.9439 | 1128677.4498
59 | 2632972.9225 | 1128652.3663 | 2632981.3395 | 1128654.3798 | 2633003.0313 | 1128637.2584
60 | 2632972.9225 | 1128652.3663 | 2632974.3427 | 1128661.7565 | 2632975.9769 | 1128668.6467 | 2632976.5527 | 1128670.9611
61 | 2632972.9225 | 1128652.3663 | 2632966.0309 | 1128641.2331
62 | 2632979.4478 | 1128684.8515 | 2632979.0251 | 1128680.4136 | 2632977.3867 | 1128674.3128 | 2632976.5527 | 1128670.9611
63 | 2632966.0309 | 1128641.2331 | 2632958.1553 | 1128628.5102
64 | 2632979.207 | 1128719.9114 | 2632973.6507 | 1128718.0699 | 2632967.0598 | 1128717.4337 | 2632960.4765 | 1128716.8087 | 2632959.0664 | 1128716.6281
65 | 2632959.0664 | 1128716.6281 | 2632955.5803 | 1128716.1817 | 2632950.4991 | 1128714.1641 | 2632946.2399 | 1128713.0068
66 | 2632946.2399 | 1128713.0068 | 2632945.6145 | 1128712.8369 | 2632939.4262 | 1128711.8138 | 2632933.984 | 1128710.8614
67 | 2632922.9732 | 1128707.1013 | 2632925.6631 | 1128708.3484 | 2632932.3455 | 1128710.5747 | 2632933.984 | 1128710.8614
68 | 2632922.9732 | 1128707.1013 | 2632920.8834 | 1128706.1324 | 2632919.1655 | 1128705.3927
69 | 2632911.9167 | 1128701.8599 | 2632916.2028 | 1128704.117 | 2632919.1655 | 1128705.3927
70 | 2632958.1553 | 1128628.5102 | 2632949.1109 | 1128613.8991
71 | 2632949.1109 | 1128613.8991 | 2632940.0059 | 1128599.19
72 | 2632934.3189 | 1128590.0028 | 2632940.0059 | 1128599.19
73 | 2632909.8039 | 1128700.7472 | 2632911.9167 | 1128701.8599
74 | 2632934.3189 | 1128590.0028 | 2632907.2174 | 1128590.4671
75 | 2632934.3189 | 1128590.0028 | 2632930.5005 | 1128583.8345 | 2632924.0094 | 1128576.162 | 2632919.5576 | 1128575.2206
76 | 2632902.7993 | 1128590.5428 | 2632907.2174 | 1128590.4671
77 | 2632846.5993 | 1128714.0552 | 2632842.4103 | 1128713.7101
78 | 2632842.4103 | 1128713.7101 | 2632838.3897 | 1128710.7312 | 2632838.3897 | 1128710.7312
79 | 2632837.6855 | 1128672.9751 | 2632836.9309 | 1128691.3692 | 2632836.9378 | 1128705.7208 | 2632838.3897 | 1128710.7312
80 | 2632840.0585 | 1128671.5206 | 2632837.8008 | 1128670.1855 | 2632837.6855 | 1128672.9751
81 | 2632840.0585 | 1128671.5206 | 2632841.8216 | 1128667.4615 | 2632844.5416 | 1128660.2615 | 2632849.4683 | 1128656.6753 | 2632853.1137 | 1128652.1595
82 | 2632840.0585 | 1128671.5206 | 2632853.3446 | 1128679.1632 | 2632855.8036 | 1128679.6223
83 | 2632869.62 | 1128622.9122 | 2632867.8478 | 1128625.8151 | 2632864.32 | 1128631.3877 | 2632861.841 | 1128635.3318 | 2632858.5602 | 1128637.9819 | 2632855.1541 | 1128640.9983 | 2632853.3783 | 1128645.9912 | 2632853.1137 | 1128652.1595
84 | 2632855.8036 | 1128679.6223 | 2632860.5952 | 1128680.5169
85 | 2632869.288 | 1128682.1398 | 2632860.5952 | 1128680.5169
86 | 2632869.288 | 1128682.1398 | 2632870.9453 | 1128682.4492 | 2632875.1493 | 1128683.9214
87 | 2632880.0045 | 1128685.6215 | 2632875.1493 | 1128683.9214
88 | 2632888.4228 | 1128688.5694 | 2632880.0045 | 1128685.6215
89 | 2632888.4228 | 1128688.5694 | 2632891.2411 | 1128680.2917
90 | 2632888.4228 | 1128688.5694 | 2632894.3293 | 1128691.9335
91 | 2632917.8817 | 1128674.4557 | 2632916.8632 | 1128681.8428 | 2632913.4524 | 1128687.1491 | 2632891.2411 | 1128680.2917
92 | 2632894.655 | 1128692.1191 | 2632894.3293 | 1128691.9335
93 | 2632901.8736 | 1128696.2305 | 2632894.655 | 1128692.1191
94 | 2632903.1124 | 1128696.9361 | 2632901.8736 | 1128696.2305
95 | 2632909.8039 | 1128700.7472 | 2632903.1124 | 1128696.9361
96 | 2632909.8039 | 1128700.7472 | 2632909.7276 | 1128714.7687
97 | 2632909.7276 | 1128714.7687 | 2632909.6496 | 1128729.1273 | 2632907.9781 | 1128733.7106

## bus_geodata
| x | y | coords
0 | 2632774.6827 | 1128481.2197
1 | 2632785.7615 | 1128446.9139
2 | 2632766.811 | 1128512.0884
3 | 2632795.0957 | 1128421.6533
4 | 2632805.4215 | 1128471.2628
5 | 2632724.4496 | 1128500.1534
6 | 2632799.8854 | 1128409.516
7 | 2632820.8901 | 1128492.7493
8 | 2632738.5582 | 1128445.5467
9 | 2632840.3515 | 1128559.2993
10 | 2632883.0665 | 1128567.5036
11 | 2632778.0885 | 1128408.3193
12 | 2632804.7156 | 1128399.7075
13 | 2632899.5503 | 1128570.9895
14 | 2632723.8525 | 1128412.2042
15 | 2632806.6392 | 1128395.8013
16 | 2632629.3495 | 1128415.225
17 | 2632657.5632 | 1128409.7123
18 | 2632610.9376 | 1128418.8225
19 | 2632666.9131 | 1128407.8854
20 | 2632605.9307 | 1128390.07
21 | 2632706.7677 | 1128414.8151
22 | 2632688.1434 | 1128375.5059
23 | 2632716.7341 | 1128413.5778
24 | 2632608.8109 | 1128348.0395
25 | 2632628.9887 | 1128387.0905
26 | 2632609.4569 | 1128324.723
27 | 2632670.3333 | 1128382.2799
28 | 2632607.6336 | 1128316.6895
29 | 2632680.729 | 1128344.9101
30 | 2632678.7129 | 1128330.7598
31 | 2632681.6245 | 1128350.6356
32 | 2633031.6027 | 1128749.1784
33 | 2633035.5137 | 1128750.4845
34 | 2633012.3966 | 1128731.51
35 | 2633021.6281 | 1128726.3097
36 | 2633004.3403 | 1128727.8205
37 | 2633024.8774 | 1128724.1
38 | 2633002.6848 | 1128727.0623
39 | 2633036.5911 | 1128710.6852
40 | 2632997.1004 | 1128724.8731
41 | 2633043.4036 | 1128699.0011
42 | 2632988.0425 | 1128722.2911
43 | 2632885.6272 | 1128427.1006
44 | 2632877.1773 | 1128382.8637
45 | 2632886.2567 | 1128436.409
46 | 2632843.223 | 1128336.7589
47 | 2632832.5158 | 1128352.0752
48 | 2632817.2354 | 1128375.895
49 | 2632810.059 | 1128388.8497
50 | 2632771.5634 | 1128372.8221
51 | 2632750.8429 | 1128296.6607
52 | 2632678.445 | 1128328.1966
53 | 2633050.3799 | 1128684.4296
54 | 2633059.3063 | 1128669.1346
55 | 2633036.8258 | 1128649.7317
56 | 2633068.9439 | 1128677.4498
57 | 2633003.0313 | 1128637.2584
58 | 2633097.5491 | 1128704.6011
59 | 2632972.9225 | 1128652.3663
60 | 2632976.5527 | 1128670.9611
61 | 2632966.0309 | 1128641.2331
62 | 2632979.207 | 1128719.9114
63 | 2632959.0664 | 1128716.6281
64 | 2632946.2399 | 1128713.0068
65 | 2632933.984 | 1128710.8614
66 | 2632922.9732 | 1128707.1013
67 | 2632919.1655 | 1128705.3927
68 | 2632979.4478 | 1128684.8515
69 | 2632958.1553 | 1128628.5102
70 | 2632949.1109 | 1128613.8991
71 | 2632940.0059 | 1128599.19
72 | 2632911.9167 | 1128701.8599
73 | 2632934.3189 | 1128590.0028
74 | 2632907.2174 | 1128590.4671
75 | 2632919.5576 | 1128575.2206
76 | 2632902.7993 | 1128590.5428
77 | 2632842.4103 | 1128713.7101
78 | 2632846.5993 | 1128714.0552
79 | 2632838.3897 | 1128710.7312
80 | 2632837.6855 | 1128672.9751
81 | 2632840.0585 | 1128671.5206
82 | 2632853.1137 | 1128652.1595
83 | 2632855.8036 | 1128679.6223
84 | 2632869.62 | 1128622.9122
85 | 2632860.5952 | 1128680.5169
86 | 2632869.288 | 1128682.1398
87 | 2632875.1493 | 1128683.9214
88 | 2632880.0045 | 1128685.6215
89 | 2632888.4228 | 1128688.5694
90 | 2632891.2411 | 1128680.2917
91 | 2632894.3293 | 1128691.9335
92 | 2632917.8817 | 1128674.4557
93 | 2632894.655 | 1128692.1191
94 | 2632901.8736 | 1128696.2305
95 | 2632903.1124 | 1128696.9361
96 | 2632909.8039 | 1128700.7472
97 | 2632909.7276 | 1128714.7687
98 | 2632907.9781 | 1128733.7106
99 | 2632840.1425 | 1128556.6413

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1