## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6286-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6286-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6286-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6286-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6286-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6286-3_0_6_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_6286-3_0_6_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_6286-3_0_6_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_6286-3_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6286-3_0_6_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_6286-3_0_6_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_6286-3_0_6_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_6286-3_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6286-3_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6286-3_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6286-3_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6286-3_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6286-3_0_6_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_6286-3_0_6_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_6286-3_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6286-3_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6286-3_0_6_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_6286-3_0_6_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_6286-3_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6286-3_0_6_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_6286-3_0_6_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_6286-3_0_6_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_6286-3_0_6_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_6286-3_0_6_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_6286-3_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6286-3_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6286-3_0_6_node_104 | 0.4 | n |  | TRUE
32 | bus_LV_6286-3_0_6_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_6286-3_0_6_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6286-3_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6286-3_0_6_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_6286-3_0_6_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_6286-3_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6286-3_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_6286-3_0_6_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6286-3_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_6286-3_0_6_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_6286-3_0_6_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_6286-3_0_6_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_6286-3_0_6_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_6286-3_0_6_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_6286-3_0_6_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_6286-3_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_6286-3_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6286-3_0_6_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6286-3_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_6286-3_0_6_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_6286-3_0_6_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_6286-3_0_6_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_6286-3_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6286-3_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_6286-3_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_6286-3_0_6_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_6286-3_0_6_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_6286-3_0_6_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_6286-3_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_6286-3_0_6_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_6286-3_0_6_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_6286-3_0_6_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_6286-3_0_6_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_6286-3_0_6_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_6286-3_0_6_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_6286-3_0_6_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_6286-3_0_6_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_6286-3_0_6_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_6286-3_0_6_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_6286-3_0_6_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_6286-3_0_6_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_6286-3_0_6_node_103 | 0.4 | n |  | TRUE
74 | bus_LV_6286-3_0_6_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_6286-3_0_6_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_6286-3_0_6_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_6286-3_0_6_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_6286-3_0_6_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_6286-3_0_6_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_6286-3_0_6_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_6286-3_0_6_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_6286-3_0_6_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_6286-3_0_6_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_6286-3_0_6_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_6286-3_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_6286-3_0_6_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_6286-3_0_6_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_6286-3_0_6_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_6286-3_0_6_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_6286-3_0_6_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_6286-3_0_6_node_99 | 0.4 | n |  | TRUE
92 | bus_LV_6286-3_0_6_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_6286-3_0_6_node_100 | 0.4 | n |  | TRUE
94 | bus_LV_6286-3_0_6_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_6286-3_0_6_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_6286-3_0_6_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_6286-3_0_6_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_6286-3_0_6_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_6286-3_0_6_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_6286-3_0_6_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_6286-3_0_6_node_98 | 0.4 | n |  | TRUE
102 | bus_MV_85_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6286-3_0_6_load_0 | 0 | 0.0063909 | 0.0016017 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6286-3_0_6_load_1 | 1 | 0.0075023 | 0.0018803 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6286-3_0_6_load_2 | 2 | 0.010592 | 0.0026547 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6286-3_0_6_load_3 | 3 | 0.0064194 | 0.0016088 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6286-3_0_6_load_11 | 5 | 0.0086982 | 0.00218 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6286-3_0_6_load_27 | 7 | 0.0061792 | 0.0015487 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6286-3_0_6_load_8 | 8 | 0.012165 | 0.0030487 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6286-3_0_6_load_28 | 10 | 0.0077916 | 0.0019528 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6286-3_0_6_load_25 | 11 | 0.0041836 | 0.0010485 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6286-3_0_6_load_5 | 12 | 0.0081286 | 0.0020372 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6286-3_0_6_load_6 | 13 | 0.0071653 | 0.0017958 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6286-3_0_6_load_29 | 18 | 0.0028846 | 0.00072296 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6286-3_0_6_load_13 | 20 | 0.0055761 | 0.0013975 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6286-3_0_6_load_68 | 21 | 0.0061904 | 0.0015515 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6286-3_0_6_load_33 | 22 | 0.0089513 | 0.0022434 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6286-3_0_6_load_56 | 24 | 0.0025012 | 0.00062685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6286-3_0_6_load_53 | 25 | 0.0037841 | 0.00094838 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6286-3_0_6_load_55 | 26 | 0.0029516 | 0.00073974 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6286-3_0_6_load_12 | 27 | 0.0069209 | 0.0017345 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6286-3_0_6_load_14 | 28 | 0.0067365 | 0.0016883 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6286-3_0_6_load_15 | 29 | 0.010829 | 0.0027141 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6286-3_0_6_load_18 | 30 | 0.010937 | 0.0027411 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6286-3_0_6_load_104 | 31 | 0.0048621 | 0.0012186 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6286-3_0_6_load_54 | 32 | 0.0018157 | 0.00045506 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6286-3_0_6_load_19 | 33 | 0.015686 | 0.0039314 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6286-3_0_6_load_20 | 34 | 0.0098576 | 0.0024705 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6286-3_0_6_load_61 | 35 | 0.010466 | 0.0026231 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6286-3_0_6_load_21 | 37 | 0.019901 | 0.0049878 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6286-3_0_6_load_22 | 38 | 0.010739 | 0.0026916 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6286-3_0_6_load_23 | 39 | 0.0062581 | 0.0015684 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6286-3_0_6_load_24 | 40 | 0.010942 | 0.0027424 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6286-3_0_6_load_65 | 41 | 0.018022 | 0.0045167 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6286-3_0_6_load_87 | 43 | 0.0085335 | 0.0021387 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6286-3_0_6_load_86 | 44 | 0.0090341 | 0.0022642 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6286-3_0_6_load_88 | 45 | 0.0042726 | 0.0010708 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6286-3_0_6_load_66 | 46 | 0.0033026 | 0.0008277 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6286-3_0_6_load_31 | 47 | 0.0081537 | 0.0020435 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6286-3_0_6_load_32 | 48 | 0.0042394 | 0.0010625 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6286-3_0_6_load_34 | 49 | 0.0018543 | 0.00046472 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6286-3_0_6_load_36 | 50 | 0.0036507 | 0.00091495 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6286-3_0_6_load_69 | 52 | 0.0062159 | 0.0015578 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6286-3_0_6_load_37 | 54 | 0.0043612 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6286-3_0_6_load_38 | 55 | 0.0021498 | 0.00053879 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6286-3_0_6_load_39 | 56 | 0.0055214 | 0.0013838 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6286-3_0_6_load_40 | 57 | 0.0036105 | 0.00090488 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6286-3_0_6_load_41 | 58 | 0.0029803 | 0.00074693 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6286-3_0_6_load_45 | 59 | 0.0039957 | 0.0010014 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6286-3_0_6_load_50 | 60 | 0.0031874 | 0.00079883 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6286-3_0_6_load_43 | 61 | 0.0022167 | 0.00055555 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6286-3_0_6_load_42 | 62 | 0.0064375 | 0.0016134 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6286-3_0_6_load_46 | 64 | 0.0029096 | 0.00072922 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6286-3_0_6_load_47 | 65 | 0.0043952 | 0.0011015 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6286-3_0_6_load_83 | 67 | 0.023729 | 0.0059471 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6286-3_0_6_load_82 | 68 | 0.0045312 | 0.0011356 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6286-3_0_6_load_80 | 69 | 0.0053795 | 0.0013482 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6286-3_0_6_load_84 | 70 | 0.0026883 | 0.00067376 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6286-3_0_6_load_101 | 72 | 0.0025163 | 0.00063064 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6286-3_0_6_load_103 | 73 | 0.0050874 | 0.001275 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6286-3_0_6_load_57 | 74 | 0.0074258 | 0.0018611 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6286-3_0_6_load_58 | 75 | 0.01911 | 0.0047894 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6286-3_0_6_load_60 | 76 | 0.0089677 | 0.0022475 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6286-3_0_6_load_63 | 77 | 0.010597 | 0.0026559 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6286-3_0_6_load_67 | 78 | 0.0051491 | 0.0012905 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6286-3_0_6_load_70 | 79 | 0.0034337 | 0.00086056 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6286-3_0_6_load_71 | 80 | 0.0056014 | 0.0014039 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6286-3_0_6_load_72 | 81 | 0.015699 | 0.0039346 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6286-3_0_6_load_73 | 82 | 0.0030394 | 0.00076174 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6286-3_0_6_load_75 | 84 | 0.0069194 | 0.0017342 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6286-3_0_6_load_76 | 85 | 0.0058964 | 0.0014778 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6286-3_0_6_load_77 | 86 | 0.024726 | 0.0061969 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6286-3_0_6_load_92 | 87 | 0.004238 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6286-3_0_6_load_78 | 88 | 0.004915 | 0.0012318 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6286-3_0_6_load_90 | 89 | 0.0030483 | 0.00076398 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6286-3_0_6_load_79 | 90 | 0.004336 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6286-3_0_6_load_99 | 91 | 0.019107 | 0.0047887 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6286-3_0_6_load_97 | 92 | 0.006869 | 0.0017215 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6286-3_0_6_load_100 | 93 | 0.010429 | 0.0026136 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6286-3_0_6_load_102 | 94 | 0.0052755 | 0.0013222 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6286-3_0_6_load_89 | 95 | 0.0051831 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6286-3_0_6_load_93 | 97 | 0.004105 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6286-3_0_6_load_94 | 98 | 0.0051038 | 0.0012791 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6286-3_0_6_load_95 | 99 | 0.0033649 | 0.00084332 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6286-3_0_6_load_96 | 100 | 0.006096 | 0.0015278 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6286-3_0_6_load_98 | 101 | 0.0059423 | 0.0014893 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6286-3_0_6_line_0 |  | 0 | 1 | 0.0025678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6286-3_0_6_line_1 |  | 0 | 2 | 0.0061853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6286-3_0_6_line_2 |  | 1 | 3 | 0.0003006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6286-3_0_6_line_3 |  | 2 | 4 | 0.047227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6286-3_0_6_line_4 |  | 3 | 5 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6286-3_0_6_line_5 |  | 4 | 6 | 0.023133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6286-3_0_6_line_6 |  | 4 | 7 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6286-3_0_6_line_7 |  | 5 | 8 | 0.00067862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6286-3_0_6_line_8 |  | 6 | 9 | 0.049078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6286-3_0_6_line_9 |  | 6 | 10 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6286-3_0_6_line_10 |  | 7 | 11 | 0.019578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6286-3_0_6_line_11 |  | 8 | 13 | 0.0022086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6286-3_0_6_line_12 |  | 9 | 43 | 0.03262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6286-3_0_6_line_13 |  | 9 | 44 | 0.013424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6286-3_0_6_line_14 |  | 10 | 18 | 0.039047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6286-3_0_6_line_15 |  | 11 | 39 | 0.020568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6286-3_0_6_line_16 |  | 12 | 13 | 0.024059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6286-3_0_6_line_17 |  | 12 | 14 | 0.076774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6286-3_0_6_line_18 |  | 14 | 15 | 0.087077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6286-3_0_6_line_19 |  | 15 | 19 | 0.10878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6286-3_0_6_line_20 |  | 15 | 20 | 0.10268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6286-3_0_6_line_21 |  | 16 | 17 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6286-3_0_6_line_22 |  | 16 | 18 | 0.020952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6286-3_0_6_line_23 |  | 17 | 21 | 0.015055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6286-3_0_6_line_24 |  | 17 | 22 | 0.0084767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6286-3_0_6_line_25 |  | 19 | 26 | 0.105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6286-3_0_6_line_26 |  | 20 | 27 | 0.02119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6286-3_0_6_line_27 |  | 21 | 52 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6286-3_0_6_line_28 |  | 22 | 47 | 0.054243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6286-3_0_6_line_29 |  | 23 | 24 | 0.1032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6286-3_0_6_line_30 |  | 23 | 25 | 0.037838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6286-3_0_6_line_31 |  | 24 | 31 | 0.036848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6286-3_0_6_line_32 |  | 25 | 32 | 0.045198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6286-3_0_6_line_33 |  | 26 | 32 | 0.0082374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6286-3_0_6_line_34 |  | 27 | 28 | 0.018884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6286-3_0_6_line_35 |  | 28 | 29 | 0.024854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6286-3_0_6_line_36 |  | 29 | 30 | 0.017212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6286-3_0_6_line_37 |  | 33 | 34 | 0.0062873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6286-3_0_6_line_38 |  | 34 | 35 | 0.018823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6286-3_0_6_line_39 |  | 35 | 36 | 0.10236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6286-3_0_6_line_40 |  | 36 | 74 | 0.056441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6286-3_0_6_line_41 |  | 37 | 38 | 0.0019606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6286-3_0_6_line_42 |  | 37 | 39 | 0.02633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6286-3_0_6_line_43 |  | 38 | 40 | 0.025209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6286-3_0_6_line_44 |  | 40 | 41 | 0.020992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6286-3_0_6_line_45 |  | 41 | 42 | 0.016448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6286-3_0_6_line_46 |  | 42 | 78 | 0.048967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6286-3_0_6_line_47 |  | 42 | 77 | 0.011495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6286-3_0_6_line_48 |  | 43 | 45 | 0.055096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6286-3_0_6_line_49 |  | 44 | 46 | 0.00023044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6286-3_0_6_line_50 |  | 48 | 49 | 0.016403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6286-3_0_6_line_51 |  | 49 | 50 | 0.018701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6286-3_0_6_line_52 |  | 50 | 51 | 0.038361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6286-3_0_6_line_53 |  | 51 | 53 | 0.042521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6286-3_0_6_line_54 |  | 52 | 79 | 0.011972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6286-3_0_6_line_55 |  | 53 | 60 | 0.023012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6286-3_0_6_line_56 |  | 53 | 57 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6286-3_0_6_line_57 |  | 54 | 55 | 0.010021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6286-3_0_6_line_58 |  | 54 | 56 | 0.0010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6286-3_0_6_line_59 |  | 55 | 57 | 0.0022399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6286-3_0_6_line_60 |  | 56 | 58 | 0.0065035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6286-3_0_6_line_61 |  | 58 | 59 | 0.0033182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6286-3_0_6_line_62 |  | 59 | 61 | 0.0099924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6286-3_0_6_line_63 |  | 61 | 62 | 0.0032968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6286-3_0_6_line_64 |  | 62 | 63 | 0.0045036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6286-3_0_6_line_65 |  | 63 | 64 | 0.011958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6286-3_0_6_line_66 |  | 63 | 65 | 0.0066925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6286-3_0_6_line_67 |  | 64 | 66 | 0.015556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6286-3_0_6_line_68 |  | 65 | 67 | 0.011748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6286-3_0_6_line_69 |  | 66 | 68 | 0.0097331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6286-3_0_6_line_70 |  | 66 | 69 | 0.0095166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6286-3_0_6_line_71 |  | 67 | 70 | 0.007151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6286-3_0_6_line_72 |  | 68 | 91 | 0.011072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6286-3_0_6_line_73 |  | 69 | 90 | 0.013378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_6286-3_0_6_line_74 |  | 71 | 72 | 0.02258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6286-3_0_6_line_75 |  | 71 | 73 | 0.015557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6286-3_0_6_line_76 |  | 72 | 93 | 0.0029218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6286-3_0_6_line_77 |  | 73 | 94 | 0.011613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6286-3_0_6_line_78 |  | 74 | 75 | 0.094793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6286-3_0_6_line_79 |  | 75 | 76 | 0.021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6286-3_0_6_line_80 |  | 76 | 77 | 0.014755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6286-3_0_6_line_81 |  | 79 | 80 | 0.014448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_6286-3_0_6_line_82 |  | 80 | 81 | 0.0033856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_6286-3_0_6_line_83 |  | 81 | 82 | 0.0087581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_6286-3_0_6_line_84 |  | 82 | 83 | 0.017313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_6286-3_0_6_line_85 |  | 83 | 84 | 0.01057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_6286-3_0_6_line_86 |  | 83 | 85 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6286-3_0_6_line_87 |  | 84 | 86 | 0.0064946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_6286-3_0_6_line_88 |  | 85 | 87 | 0.0035499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6286-3_0_6_line_89 |  | 86 | 88 | 0.010156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_6286-3_0_6_line_90 |  | 87 | 89 | 0.004025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6286-3_0_6_line_91 |  | 88 | 90 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_6286-3_0_6_line_92 |  | 89 | 95 | 0.012176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6286-3_0_6_line_93 |  | 91 | 92 | 0.0084828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6286-3_0_6_line_94 |  | 92 | 101 | 0.00061721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6286-3_0_6_line_95 |  | 93 | 101 | 0.004759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6286-3_0_6_line_96 |  | 95 | 96 | 0.0075887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6286-3_0_6_line_97 |  | 96 | 97 | 0.015913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6286-3_0_6_line_98 |  | 96 | 98 | 0.009609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6286-3_0_6_line_99 |  | 97 | 99 | 0.0034627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6286-3_0_6_line_100 |  | 99 | 100 | 0.0029939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6286-3_0_6_trafo_29 | 0.63 MVA 20/0.4 kV | 102 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2635567.2969 | 1127721.4531 | 2635567.2789 | 1127721.3138 | 2635566.9248 | 1127718.9124
1 | 2635567.2969 | 1127721.4531 | 2635568.0894 | 1127727.5875
2 | 2635566.9248 | 1127718.9124 | 2635566.881 | 1127718.615
3 | 2635574.1402 | 1127774.4253 | 2635568.0894 | 1127727.5875
4 | 2635566.881 | 1127718.615 | 2635564.2694 | 1127700.9049
5 | 2635574.1402 | 1127774.4253 | 2635595.4064 | 1127765.1789
6 | 2635574.1402 | 1127774.4253 | 2635561.4981 | 1127778.7339
7 | 2635564.2694 | 1127700.9049 | 2635564.1704 | 1127700.2336
8 | 2635595.9654 | 1127814.2403 | 2635595.4064 | 1127765.1789
9 | 2635595.4064 | 1127765.1789 | 2635610.3831 | 1127761.9056
10 | 2635542.8823 | 1127784.7712 | 2635546.9488 | 1127783.6925 | 2635561.4981 | 1127778.7339
11 | 2635563.8482 | 1127698.0486 | 2635564.1704 | 1127700.2336
12 | 2635595.9654 | 1127814.2403 | 2635628.5732 | 1127815.1351
13 | 2635595.9654 | 1127814.2403 | 2635591.4435 | 1127820.6391 | 2635585.8562 | 1127820.5246
14 | 2635610.3831 | 1127761.9056 | 2635636.5655 | 1127756.1831 | 2635648.8091 | 1127755.9026
15 | 2635523.0016 | 1127790.045 | 2635542.8823 | 1127784.7712
16 | 2635585.6101 | 1127687.7882 | 2635563.8482 | 1127698.0486 | 2635563.8482 | 1127698.0486
17 | 2635657.1098 | 1127660.2446 | 2635615.3841 | 1127673.7503 | 2635585.6101 | 1127687.7882
18 | 2635657.1098 | 1127660.2446 | 2635653.92 | 1127635.3688 | 2635647.5775 | 1127585.851 | 2635647.3017 | 1127573.7989
19 | 2635631.1369 | 1127466.3273 | 2635638.9038 | 1127508.2386 | 2635644.2132 | 1127559.1955 | 2635644.9028 | 1127562.4568 | 2635646.8295 | 1127571.5616 | 2635647.3017 | 1127573.7989
20 | 2635647.3017 | 1127573.7989 | 2635642.8165 | 1127575.2399 | 2635554.8348 | 1127618.3393
21 | 2635687.2145 | 1127756.8151 | 2635669.7554 | 1127755.4226
22 | 2635669.7554 | 1127755.4226 | 2635648.8091 | 1127755.9026
23 | 2635687.2145 | 1127756.8151 | 2635702.2221 | 1127758.0081
24 | 2635687.2145 | 1127756.8151 | 2635686.5338 | 1127748.3657
25 | 2635631.1369 | 1127466.3273 | 2635618.0636 | 1127467.1731 | 2635588.0397 | 1127471.7433 | 2635554.5913 | 1127486.0763 | 2635533.7807 | 1127496.3037 | 2635531.8754 | 1127496.7056
26 | 2635535.8052 | 1127627.6613 | 2635554.8348 | 1127618.3393
27 | 2635718.6517 | 1127763.5235 | 2635707.9081 | 1127758.4601 | 2635702.2221 | 1127758.0081
28 | 2635712.2965 | 1127707.2909 | 2635684.9888 | 1127729.188 | 2635686.5338 | 1127748.3657
29 | 2635518.2063 | 1127571.4836 | 2635510.3272 | 1127574.8502 | 2635500.1685 | 1127579.3262 | 2635479.8619 | 1127589.101 | 2635466.1694 | 1127597.047 | 2635455.1965 | 1127601.1071 | 2635433.2528 | 1127607.5708 | 2635422.982 | 1127610.1433
30 | 2635518.2063 | 1127571.4836 | 2635514.8305 | 1127533.7963
31 | 2635422.982 | 1127610.1433 | 2635412.3488 | 1127612.8067 | 2635396.6095 | 1127617.6616 | 2635387.6653 | 1127620.6031
32 | 2635514.8305 | 1127533.7963 | 2635511.8859 | 1127500.9221 | 2635523.8154 | 1127498.4058
33 | 2635523.8154 | 1127498.4058 | 2635531.8754 | 1127496.7056
34 | 2635535.8052 | 1127627.6613 | 2635518.8469 | 1127635.9686
35 | 2635518.8469 | 1127635.9686 | 2635496.5275 | 1127646.9022
36 | 2635496.5275 | 1127646.9022 | 2635481.0707 | 1127654.4739
37 | 2635374.5499 | 1127705.0805 | 2635380.2327 | 1127702.3905
38 | 2635357.537 | 1127713.1339 | 2635374.5499 | 1127705.0805
39 | 2635265.8409 | 1127758.514 | 2635286.5204 | 1127746.7508 | 2635357.537 | 1127713.1339
40 | 2635265.8409 | 1127758.514 | 2635281.833 | 1127798.7719 | 2635287.2726 | 1127805.3958 | 2635291.724 | 1127806.3456
41 | 2635497.2076 | 1127795.1509 | 2635495.2735 | 1127795.4722
42 | 2635497.2076 | 1127795.1509 | 2635497.2076 | 1127795.1509 | 2635512.8783 | 1127792.7305 | 2635523.0016 | 1127790.045
43 | 2635470.4056 | 1127799.6032 | 2635495.2735 | 1127795.4722
44 | 2635449.6976 | 1127803.0432 | 2635470.4056 | 1127799.6032
45 | 2635434.1273 | 1127808.277 | 2635448.2103 | 1127803.2902 | 2635449.6976 | 1127803.0432
46 | 2635434.1273 | 1127808.277 | 2635426.0373 | 1127818.7794 | 2635408.026 | 1127827.5229 | 2635392.7488 | 1127831.0912
47 | 2635434.1273 | 1127808.277 | 2635422.6334 | 1127808.1597
48 | 2635683.6488 | 1127816.6464 | 2635628.5732 | 1127815.1351
49 | 2635585.6258 | 1127820.5199 | 2635585.8562 | 1127820.5246
50 | 2635755.7868 | 1127665.2019 | 2635758.5734 | 1127662.4329 | 2635766.7305 | 1127652.9953
51 | 2635778.9593 | 1127638.8469 | 2635766.7305 | 1127652.9953
52 | 2635803.27 | 1127609.1813 | 2635787.0228 | 1127629.5177 | 2635778.9593 | 1127638.8469
53 | 2635803.27 | 1127609.1813 | 2635804.9637 | 1127630.2575 | 2635807.1341 | 1127651.5143
54 | 2635718.6517 | 1127763.5235 | 2635729.4811 | 1127768.6273
55 | 2635807.1341 | 1127651.5143 | 2635830.1455 | 1127651.6012
56 | 2635807.1341 | 1127651.5143 | 2635808.547 | 1127665.3128
57 | 2635809.8066 | 1127677.5081 | 2635809.7856 | 1127677.4097 | 2635808.7751 | 1127667.541
58 | 2635809.8066 | 1127677.5081 | 2635810.0242 | 1127678.5239
59 | 2635808.547 | 1127665.3128 | 2635808.7751 | 1127667.541
60 | 2635811.386 | 1127684.8832 | 2635810.0242 | 1127678.5239
61 | 2635811.386 | 1127684.8832 | 2635812.0808 | 1127688.1279
62 | 2635814.1731 | 1127697.8987 | 2635812.0808 | 1127688.1279
63 | 2635814.8634 | 1127701.1224 | 2635814.1731 | 1127697.8987
64 | 2635815.8064 | 1127705.5262 | 2635814.8634 | 1127701.1224
65 | 2635815.8064 | 1127705.5262 | 2635816.6741 | 1127716.4479 | 2635816.5106 | 1127717.4367
66 | 2635815.8064 | 1127705.5262 | 2635822.4532 | 1127706.3073
67 | 2635813.9731 | 1127732.7846 | 2635816.5106 | 1127717.4367
68 | 2635834.1209 | 1127707.6783 | 2635822.4532 | 1127706.3073
69 | 2635813.9731 | 1127732.7846 | 2635816.5995 | 1127742.1567
70 | 2635813.9731 | 1127732.7846 | 2635807.6674 | 1127739.9124
71 | 2635834.1209 | 1127707.6783 | 2635841.2231 | 1127708.5129
72 | 2635821.2152 | 1127751.9983 | 2635818.3043 | 1127748.2403 | 2635816.5995 | 1127742.1567
73 | 2635798.8033 | 1127749.9322 | 2635807.6674 | 1127739.9124
74 | 2635855.6665 | 1127754.6535 | 2635838.7677 | 1127761.4569 | 2635834.5093 | 1127760.5085
75 | 2635855.6665 | 1127754.6535 | 2635856.793 | 1127762.1973 | 2635856.5846 | 1127770.1237
76 | 2635834.5093 | 1127760.5085 | 2635831.6574 | 1127759.8733
77 | 2635857.9804 | 1127781.5585 | 2635856.4548 | 1127775.0573 | 2635856.5846 | 1127770.1237
78 | 2635291.724 | 1127806.3456 | 2635294.0753 | 1127806.8473 | 2635386.4594 | 1127807.7904
79 | 2635386.4594 | 1127807.7904 | 2635407.8789 | 1127808.009
80 | 2635407.8789 | 1127808.009 | 2635422.6334 | 1127808.1597
81 | 2635729.4811 | 1127768.6273 | 2635742.55 | 1127774.7866
82 | 2635742.55 | 1127774.7866 | 2635745.6125 | 1127776.2299
83 | 2635753.5348 | 1127779.9637 | 2635745.6125 | 1127776.2299
84 | 2635770.3097 | 1127782.1403 | 2635758.62 | 1127782.3603 | 2635753.5348 | 1127779.9637
85 | 2635770.3097 | 1127782.1403 | 2635777.3133 | 1127774.2237
86 | 2635770.3097 | 1127782.1403 | 2635772.6593 | 1127791.3366 | 2635772.7628 | 1127792.7775
87 | 2635777.3133 | 1127774.2237 | 2635781.6166 | 1127769.3594
88 | 2635772.7628 | 1127792.7775 | 2635773.0169 | 1127796.3183
89 | 2635788.3461 | 1127761.7526 | 2635781.6166 | 1127769.3594
90 | 2635773.305 | 1127800.333 | 2635773.0169 | 1127796.3183
91 | 2635788.3461 | 1127761.7526 | 2635798.8033 | 1127749.9322
92 | 2635775.3936 | 1127812.2445 | 2635773.7983 | 1127807.2069 | 2635773.305 | 1127800.333
93 | 2635826.4097 | 1127758.7046 | 2635826.4097 | 1127758.7046 | 2635821.2152 | 1127751.9983
94 | 2635826.4097 | 1127758.7046 | 2635827.0122 | 1127758.8388
95 | 2635827.0122 | 1127758.8388 | 2635831.6574 | 1127759.8733
96 | 2635778.1958 | 1127819.2945 | 2635775.6288 | 1127812.9873 | 2635775.3936 | 1127812.2445
97 | 2635778.1958 | 1127819.2945 | 2635773.3018 | 1127822.1226 | 2635764.0163 | 1127826.4892
98 | 2635783.3953 | 1127827.3293 | 2635778.9857 | 1127821.2224 | 2635778.1958 | 1127819.2945
99 | 2635760.8828 | 1127827.9628 | 2635764.0163 | 1127826.4892
100 | 2635758.1735 | 1127829.2368 | 2635760.8828 | 1127827.9628

## bus_geodata
| x | y | coords
0 | 2635567.2969 | 1127721.4531
1 | 2635566.9248 | 1127718.9124
2 | 2635568.0894 | 1127727.5875
3 | 2635566.881 | 1127718.615
4 | 2635574.1402 | 1127774.4253
5 | 2635564.2694 | 1127700.9049
6 | 2635595.4064 | 1127765.1789
7 | 2635561.4981 | 1127778.7339
8 | 2635564.1704 | 1127700.2336
9 | 2635595.9654 | 1127814.2403
10 | 2635610.3831 | 1127761.9056
11 | 2635542.8823 | 1127784.7712
12 | 2635585.6101 | 1127687.7882
13 | 2635563.8482 | 1127698.0486
14 | 2635657.1098 | 1127660.2446
15 | 2635647.3017 | 1127573.7989
16 | 2635669.7554 | 1127755.4226
17 | 2635687.2145 | 1127756.8151
18 | 2635648.8091 | 1127755.9026
19 | 2635631.1369 | 1127466.3273
20 | 2635554.8348 | 1127618.3393
21 | 2635702.2221 | 1127758.0081
22 | 2635686.5338 | 1127748.3657
23 | 2635518.2063 | 1127571.4836
24 | 2635422.982 | 1127610.1433
25 | 2635514.8305 | 1127533.7963
26 | 2635531.8754 | 1127496.7056
27 | 2635535.8052 | 1127627.6613
28 | 2635518.8469 | 1127635.9686
29 | 2635496.5275 | 1127646.9022
30 | 2635481.0707 | 1127654.4739
31 | 2635387.6653 | 1127620.6031
32 | 2635523.8154 | 1127498.4058
33 | 2635380.2327 | 1127702.3905
34 | 2635374.5499 | 1127705.0805
35 | 2635357.537 | 1127713.1339
36 | 2635265.8409 | 1127758.514
37 | 2635497.2076 | 1127795.1509
38 | 2635495.2735 | 1127795.4722
39 | 2635523.0016 | 1127790.045
40 | 2635470.4056 | 1127799.6032
41 | 2635449.6976 | 1127803.0432
42 | 2635434.1273 | 1127808.277
43 | 2635628.5732 | 1127815.1351
44 | 2635585.8562 | 1127820.5246
45 | 2635683.6488 | 1127816.6464
46 | 2635585.6258 | 1127820.5199
47 | 2635712.2965 | 1127707.2909
48 | 2635755.7868 | 1127665.2019
49 | 2635766.7305 | 1127652.9953
50 | 2635778.9593 | 1127638.8469
51 | 2635803.27 | 1127609.1813
52 | 2635718.6517 | 1127763.5235
53 | 2635807.1341 | 1127651.5143
54 | 2635809.8066 | 1127677.5081
55 | 2635808.7751 | 1127667.541
56 | 2635810.0242 | 1127678.5239
57 | 2635808.547 | 1127665.3128
58 | 2635811.386 | 1127684.8832
59 | 2635812.0808 | 1127688.1279
60 | 2635830.1455 | 1127651.6012
61 | 2635814.1731 | 1127697.8987
62 | 2635814.8634 | 1127701.1224
63 | 2635815.8064 | 1127705.5262
64 | 2635816.5106 | 1127717.4367
65 | 2635822.4532 | 1127706.3072
66 | 2635813.9731 | 1127732.7846
67 | 2635834.1209 | 1127707.6783
68 | 2635816.5995 | 1127742.1567
69 | 2635807.6674 | 1127739.9124
70 | 2635841.2231 | 1127708.5129
71 | 2635855.6665 | 1127754.6535
72 | 2635834.5093 | 1127760.5085
73 | 2635856.5846 | 1127770.1237
74 | 2635291.724 | 1127806.3456
75 | 2635386.4594 | 1127807.7904
76 | 2635407.8789 | 1127808.009
77 | 2635422.6334 | 1127808.1596
78 | 2635392.7488 | 1127831.0912
79 | 2635729.4811 | 1127768.6273
80 | 2635742.55 | 1127774.7866
81 | 2635745.6125 | 1127776.2299
82 | 2635753.5348 | 1127779.9637
83 | 2635770.3097 | 1127782.1403
84 | 2635777.3133 | 1127774.2237
85 | 2635772.7628 | 1127792.7775
86 | 2635781.6166 | 1127769.3594
87 | 2635773.0169 | 1127796.3183
88 | 2635788.3461 | 1127761.7526
89 | 2635773.305 | 1127800.333
90 | 2635798.8033 | 1127749.9322
91 | 2635821.2152 | 1127751.9983
92 | 2635826.4097 | 1127758.7046
93 | 2635831.6574 | 1127759.8733
94 | 2635857.9804 | 1127781.5585
95 | 2635775.3936 | 1127812.2445
96 | 2635778.1958 | 1127819.2945
97 | 2635764.0163 | 1127826.4892
98 | 2635783.3953 | 1127827.3293
99 | 2635760.8828 | 1127827.9628
100 | 2635758.1735 | 1127829.2368
101 | 2635827.0122 | 1127758.8388
102 | 2635669.7554 | 1127755.4226

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1