## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6297-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6297-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6297-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6297-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6297-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6297-13_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6297-13_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_6297-13_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_6297-13_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_6297-13_0_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_6297-13_0_4_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_6297-13_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6297-13_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6297-13_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6297-13_0_4_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_6297-13_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6297-13_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6297-13_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6297-13_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6297-13_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6297-13_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6297-13_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6297-13_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6297-13_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6297-13_0_4_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_6297-13_0_4_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_6297-13_0_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_6297-13_0_4_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_6297-13_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6297-13_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6297-13_0_4_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_6297-13_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_6297-13_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_6297-13_0_4_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_6297-13_0_4_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_6297-13_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_6297-13_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6297-13_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6297-13_0_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_6297-13_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_6297-13_0_4_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_6297-13_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_6297-13_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_6297-13_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_6297-13_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_6297-13_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6297-13_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6297-13_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6297-13_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6297-13_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_6297-13_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6297-13_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_6297-13_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6297-13_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_6297-13_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_6297-13_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_6297-13_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_MV_84_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6297-13_0_4_load_0 | 0 | 0.004318 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6297-13_0_4_load_1 | 1 | 0.0022129 | 0.00055459 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6297-13_0_4_load_3 | 3 | 0.0045521 | 0.0011409 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6297-13_0_4_load_5 | 5 | 0.0006472 | 0.0001622 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6297-13_0_4_load_19 | 7 | 0.0033114 | 0.00082991 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6297-13_0_4_load_9 | 8 | 0.004109 | 0.0010298 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6297-13_0_4_load_44 | 9 | 0.0029562 | 0.00074089 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6297-13_0_4_load_11 | 11 | 0.0007808 | 0.00019569 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6297-13_0_4_load_6 | 12 | 0.0012755 | 0.00031968 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6297-13_0_4_load_28 | 14 | 0.020373 | 0.0051059 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6297-13_0_4_load_7 | 15 | 0.030431 | 0.0076267 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6297-13_0_4_load_13 | 16 | 0.0041759 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6297-13_0_4_load_10 | 17 | 0.0068692 | 0.0017216 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6297-13_0_4_load_12 | 18 | 0.0061135 | 0.0015322 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6297-13_0_4_load_14 | 19 | 0.010454 | 0.0026199 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6297-13_0_4_load_15 | 20 | 0.015762 | 0.0039504 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6297-13_0_4_load_16 | 21 | 0.0033928 | 0.00085032 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6297-13_0_4_load_17 | 22 | 0.010706 | 0.0026832 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6297-13_0_4_load_18 | 23 | 0.00070768 | 0.00017736 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6297-13_0_4_load_38 | 24 | 0.0072462 | 0.0018161 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6297-13_0_4_load_50 | 25 | 0.03575 | 0.0089598 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6297-13_0_4_load_49 | 26 | 0.0018945 | 0.0004748 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6297-13_0_4_load_51 | 27 | 0.011745 | 0.0029435 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6297-13_0_4_load_20 | 28 | 0.023403 | 0.0058654 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6297-13_0_4_load_36 | 31 | 0.0030376 | 0.0007613 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6297-13_0_4_load_35 | 32 | 0.02428 | 0.0060851 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6297-13_0_4_load_54 | 33 | 0.0067031 | 0.0016799 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6297-13_0_4_load_58 | 34 | 0.006171 | 0.0015466 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6297-13_0_4_load_23 | 35 | 0.0020437 | 0.00051219 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6297-13_0_4_load_25 | 37 | 0.015705 | 0.003936 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6297-13_0_4_load_43 | 38 | 0.0021168 | 0.00053052 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6297-13_0_4_load_48 | 40 | 0.0036227 | 0.00090794 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6297-13_0_4_load_47 | 41 | 0.0069223 | 0.0017349 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6297-13_0_4_load_56 | 43 | 0.005399 | 0.0013531 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6297-13_0_4_load_42 | 44 | 0.0006605 | 0.00016554 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6297-13_0_4_load_29 | 45 | 0.017069 | 0.0042779 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6297-13_0_4_load_30 | 46 | 0.0047852 | 0.0011993 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6297-13_0_4_load_55 | 50 | 0.023014 | 0.0057679 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6297-13_0_4_load_45 | 51 | 0.0025064 | 0.00062816 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6297-13_0_4_load_53 | 54 | 0.0098362 | 0.0024652 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6297-13_0_4_load_39 | 55 | 0.0037185 | 0.00093194 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6297-13_0_4_line_0 |  | 0 | 1 | 0.0047511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6297-13_0_4_line_1 |  | 0 | 2 | 0.034912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6297-13_0_4_line_2 |  | 1 | 3 | 0.048159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6297-13_0_4_line_3 |  | 2 | 4 | 0.061819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6297-13_0_4_line_4 |  | 2 | 5 | 0.068581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6297-13_0_4_line_5 |  | 3 | 6 | 0.044168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6297-13_0_4_line_6 |  | 4 | 7 | 0.047441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6297-13_0_4_line_7 |  | 5 | 8 | 0.0016433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6297-13_0_4_line_8 |  | 6 | 9 | 0.032829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6297-13_0_4_line_9 |  | 6 | 10 | 0.030148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6297-13_0_4_line_10 |  | 8 | 11 | 0.057456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6297-13_0_4_line_11 |  | 9 | 52 | 0.037414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6297-13_0_4_line_12 |  | 10 | 48 | 0.023686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6297-13_0_4_line_13 |  | 10 | 45 | 0.056948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6297-13_0_4_line_14 |  | 11 | 18 | 0.058012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6297-13_0_4_line_15 |  | 12 | 13 | 0.028951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6297-13_0_4_line_16 |  | 12 | 14 | 0.055259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6297-13_0_4_line_17 |  | 13 | 17 | 0.058678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6297-13_0_4_line_18 |  | 14 | 16 | 0.046812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6297-13_0_4_line_19 |  | 15 | 16 | 0.041153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6297-13_0_4_line_20 |  | 16 | 18 | 0.026038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6297-13_0_4_line_21 |  | 19 | 20 | 0.010405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6297-13_0_4_line_22 |  | 19 | 21 | 0.015891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6297-13_0_4_line_23 |  | 20 | 22 | 0.016609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6297-13_0_4_line_24 |  | 21 | 23 | 0.008879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6297-13_0_4_line_25 |  | 22 | 24 | 0.018633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6297-13_0_4_line_26 |  | 23 | 25 | 0.042116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6297-13_0_4_line_27 |  | 24 | 26 | 0.0086628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6297-13_0_4_line_28 |  | 25 | 27 | 0.022989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6297-13_0_4_line_29 |  | 26 | 48 | 0.059037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6297-13_0_4_line_30 |  | 28 | 29 | 0.042144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6297-13_0_4_line_31 |  | 28 | 30 | 0.073921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6297-13_0_4_line_32 |  | 29 | 31 | 0.09443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6297-13_0_4_line_33 |  | 30 | 33 | 0.020501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6297-13_0_4_line_34 |  | 30 | 34 | 0.047816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6297-13_0_4_line_35 |  | 31 | 32 | 0.046021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6297-13_0_4_line_36 |  | 33 | 53 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6297-13_0_4_line_37 |  | 35 | 36 | 0.01544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6297-13_0_4_line_38 |  | 36 | 37 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6297-13_0_4_line_39 |  | 37 | 38 | 0.034374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6297-13_0_4_line_40 |  | 38 | 42 | 0.041503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6297-13_0_4_line_41 |  | 39 | 40 | 0.037743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6297-13_0_4_line_42 |  | 39 | 41 | 0.032322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6297-13_0_4_line_43 |  | 40 | 43 | 0.036609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6297-13_0_4_line_44 |  | 41 | 44 | 0.0086094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6297-13_0_4_line_45 |  | 42 | 44 | 0.026068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6297-13_0_4_line_46 |  | 42 | 55 | 0.022634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6297-13_0_4_line_47 |  | 43 | 56 | 0.024756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6297-13_0_4_line_48 |  | 45 | 46 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6297-13_0_4_line_49 |  | 46 | 47 | 0.035649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6297-13_0_4_line_50 |  | 47 | 49 | 0.051596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6297-13_0_4_line_51 |  | 47 | 50 | 0.038761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6297-13_0_4_line_52 |  | 49 | 51 | 0.045625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6297-13_0_4_line_53 |  | 52 | 55 | 0.032251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6297-13_0_4_line_54 |  | 53 | 54 | 0.060683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6297-13_0_4_line_55 |  | 54 | 56 | 0.041838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6297-13_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 57 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2634849.3981 | 1127374.4948 | 2634847.4218 | 1127370.1743
1 | 2634865.2294 | 1127404.9831 | 2634862.7785 | 1127403.7461 | 2634849.3981 | 1127374.4948
2 | 2634827.0915 | 1127326.5181 | 2634834.2416 | 1127341.4394 | 2634835.1625 | 1127343.4457 | 2634836.1215 | 1127345.5078 | 2634838.3514 | 1127350.3453 | 2634847.4218 | 1127370.1743
3 | 2634865.2294 | 1127404.9831 | 2634921.2772 | 1127378.5593
4 | 2634865.2294 | 1127404.9831 | 2634867.3146 | 1127409.5196 | 2634869.1715 | 1127413.5545 | 2634893.9039 | 1127467.2822
5 | 2634818.198 | 1127285.2967 | 2634815.1344 | 1127300.8202 | 2634820.2245 | 1127312.1107 | 2634821.2291 | 1127314.2843 | 2634827.0915 | 1127326.5181
6 | 2634921.2772 | 1127378.5593 | 2634923.492 | 1127383.319 | 2634925.3491 | 1127387.3206 | 2634941.2879 | 1127421.5736
7 | 2634893.9039 | 1127467.2822 | 2634894.591 | 1127468.775
8 | 2634818.198 | 1127285.2967 | 2634786.9803 | 1127295.4561
9 | 2634824.6088 | 1127255.8743 | 2634823.1581 | 1127260.2459 | 2634822.9846 | 1127260.9453 | 2634820.3253 | 1127274.4924 | 2634818.198 | 1127285.2967
10 | 2634894.591 | 1127468.775 | 2634926.9423 | 1127516.2571
11 | 2634753.0148 | 1127311.0686 | 2634782.987 | 1127296.7557 | 2634786.9803 | 1127295.4561
12 | 2634828.5883 | 1127232.5299 | 2634824.6088 | 1127255.8743
13 | 2634824.6088 | 1127255.8743 | 2634880.6945 | 1127265.7495
14 | 2634926.9423 | 1127516.2571 | 2634918.1379 | 1127522.0357 | 2634885.8279 | 1127541.0368 | 2634877.2366 | 1127546.1489
15 | 2634736.2699 | 1127567.6572 | 2634762.7423 | 1127555.9377
16 | 2634762.7423 | 1127555.9377 | 2634812.6945 | 1127579.5656
17 | 2634736.2699 | 1127567.6572 | 2634734.3901 | 1127563.5888 | 2634710.9386 | 1127514.7292
18 | 2634812.6945 | 1127579.5656 | 2634841.4013 | 1127567.4721 | 2634854.8606 | 1127559.4634
19 | 2634845.0652 | 1127519.4928 | 2634854.8606 | 1127559.4634
20 | 2634877.2366 | 1127546.1489 | 2634854.8606 | 1127559.4634
21 | 2634727.3454 | 1127213.9049 | 2634717.1124 | 1127212.0224
22 | 2634701.4833 | 1127209.1472 | 2634717.1124 | 1127212.0224
23 | 2634727.3454 | 1127213.9049 | 2634743.6804 | 1127216.91
24 | 2634701.4833 | 1127209.1472 | 2634692.7508 | 1127207.5408
25 | 2634762.0056 | 1127220.2811 | 2634743.6804 | 1127216.91
26 | 2634651.3295 | 1127199.9208 | 2634692.7508 | 1127207.5408
27 | 2634762.0056 | 1127220.2811 | 2634770.5255 | 1127221.8485
28 | 2634628.7202 | 1127195.7615 | 2634651.3295 | 1127199.9208
29 | 2634828.5883 | 1127232.5299 | 2634770.5255 | 1127221.8485
30 | 2634504.1289 | 1127084.6539 | 2634505.4962 | 1127080.0038 | 2634521.829 | 1127080.6305 | 2634518.2324 | 1127101.2714
31 | 2634518.4772 | 1127175.1923 | 2634518.2324 | 1127101.2714
32 | 2634504.1289 | 1127084.6539 | 2634577.8848 | 1127025.6874
33 | 2634518.4772 | 1127175.1923 | 2634538.6109 | 1127179.0554
34 | 2634518.4772 | 1127175.1923 | 2634510.1681 | 1127222.2803
35 | 2634577.8848 | 1127025.6874 | 2634607.9343 | 1127025.3608 | 2634623.6699 | 1127022.6382
36 | 2634554.9624 | 1127182.1928 | 2634538.6109 | 1127179.0554
37 | 2634690.7413 | 1127410.0725 | 2634690.0639 | 1127408.6123 | 2634689.9726 | 1127408.4117 | 2634684.2218 | 1127396.0764
38 | 2634690.7413 | 1127410.0725 | 2634708.7659 | 1127401.7383 | 2634710.4902 | 1127400.6921 | 2634711.7216 | 1127399.5986
39 | 2634720.9692 | 1127372.3594 | 2634722.1957 | 1127375.0018 | 2634722.5801 | 1127376.5047 | 2634722.1483 | 1127377.8919 | 2634721.1483 | 1127378.9311 | 2634714.4887 | 1127381.9945 | 2634712.87 | 1127383.4303 | 2634711.9204 | 1127385.0813 | 2634711.4634 | 1127386.8462 | 2634711.8359 | 1127389.0717 | 2634712.846 | 1127391.6343 | 2634713.9093 | 1127394.3307 | 2634713.9252 | 1127395.5981 | 2634713.6414 | 1127396.7081 | 2634712.7553 | 1127398.0481 | 2634711.7216 | 1127399.5986
40 | 2634703.4866 | 1127334.7187 | 2634715.7564 | 1127361.1357 | 2634717.6745 | 1127365.271 | 2634719.6916 | 1127369.6069 | 2634720.9692 | 1127372.3594
41 | 2634642.4851 | 1127362.4279 | 2634640.8725 | 1127358.7612 | 2634639.1458 | 1127354.8494 | 2634637.0083 | 1127350.0014 | 2634636.2476 | 1127348.274 | 2634635.2435 | 1127345.9893 | 2634627.2673 | 1127327.8884
42 | 2634642.4851 | 1127362.4279 | 2634671.9134 | 1127349.0604
43 | 2634612.5071 | 1127294.3869 | 2634621.4829 | 1127314.7616 | 2634627.2673 | 1127327.8884
44 | 2634671.9134 | 1127349.0604 | 2634679.752 | 1127345.4998
45 | 2634703.4866 | 1127334.7187 | 2634679.752 | 1127345.4998
46 | 2634703.4866 | 1127334.7187 | 2634723.9111 | 1127324.9658
47 | 2634602.5266 | 1127271.7316 | 2634612.5071 | 1127294.3869
48 | 2634890.8035 | 1127267.5294 | 2634880.6945 | 1127265.7495
49 | 2634925.9121 | 1127273.7111 | 2634890.8035 | 1127267.5294
50 | 2634925.9121 | 1127273.7111 | 2634932.7708 | 1127274.9179 | 2634934.6163 | 1127279.5976 | 2634935.0037 | 1127280.5559 | 2634942.4045 | 1127298.6521 | 2634943.2695 | 1127300.9805 | 2634945.0571 | 1127305.0039 | 2634945.9861 | 1127306.9214 | 2634946.6785 | 1127308.4484 | 2634950.1409 | 1127316.0166
51 | 2634925.9121 | 1127273.7111 | 2634930.4207 | 1127246.868 | 2634931.1388 | 1127242.5922 | 2634932.328 | 1127235.4844
52 | 2634950.1409 | 1127316.0166 | 2634908.6052 | 1127334.8968
53 | 2634753.0148 | 1127311.0686 | 2634723.9111 | 1127324.9658
54 | 2634554.9624 | 1127182.1928 | 2634567.0357 | 1127193.2561 | 2634573.1218 | 1127208.3429 | 2634584.9209 | 1127233.7785
55 | 2634602.5266 | 1127271.7316 | 2634584.9209 | 1127233.7785

## bus_geodata
| x | y | coords
0 | 2634849.3981 | 1127374.4948
1 | 2634847.4218 | 1127370.1743
2 | 2634865.2294 | 1127404.9831
3 | 2634827.0915 | 1127326.5181
4 | 2634921.2772 | 1127378.5593
5 | 2634893.9039 | 1127467.2822
6 | 2634818.198 | 1127285.2967
7 | 2634941.2879 | 1127421.5736
8 | 2634894.591 | 1127468.775
9 | 2634786.9803 | 1127295.4561
10 | 2634824.6088 | 1127255.8743
11 | 2634926.9423 | 1127516.2571
12 | 2634762.7423 | 1127555.9377
13 | 2634736.2699 | 1127567.6572
14 | 2634812.6945 | 1127579.5656
15 | 2634845.0652 | 1127519.4928
16 | 2634854.8606 | 1127559.4634
17 | 2634710.9386 | 1127514.7292
18 | 2634877.2366 | 1127546.1489
19 | 2634717.1124 | 1127212.0224
20 | 2634727.3454 | 1127213.9049
21 | 2634701.4833 | 1127209.1472
22 | 2634743.6804 | 1127216.91
23 | 2634692.7508 | 1127207.5408
24 | 2634762.0056 | 1127220.2811
25 | 2634651.3295 | 1127199.9208
26 | 2634770.5255 | 1127221.8485
27 | 2634628.7202 | 1127195.7615
28 | 2634518.2324 | 1127101.2714
29 | 2634504.1289 | 1127084.6539
30 | 2634518.4772 | 1127175.1923
31 | 2634577.8848 | 1127025.6874
32 | 2634623.6699 | 1127022.6382
33 | 2634538.6109 | 1127179.0554
34 | 2634510.1681 | 1127222.2803
35 | 2634684.2218 | 1127396.0764
36 | 2634690.7413 | 1127410.0725
37 | 2634711.7216 | 1127399.5986
38 | 2634720.9692 | 1127372.3594
39 | 2634642.4851 | 1127362.4279
40 | 2634627.2673 | 1127327.8884
41 | 2634671.9134 | 1127349.0604
42 | 2634703.4866 | 1127334.7187
43 | 2634612.5071 | 1127294.3869
44 | 2634679.752 | 1127345.4998
45 | 2634880.6945 | 1127265.7495
46 | 2634890.8035 | 1127267.5294
47 | 2634925.9121 | 1127273.7111
48 | 2634828.5883 | 1127232.5299
49 | 2634950.1409 | 1127316.0166
50 | 2634932.328 | 1127235.4844
51 | 2634908.6052 | 1127334.8968
52 | 2634753.0148 | 1127311.0686
53 | 2634554.9624 | 1127182.1928
54 | 2634584.9209 | 1127233.7785
55 | 2634723.9111 | 1127324.9658
56 | 2634602.5266 | 1127271.7316
57 | 2634771.8134 | 1127347.8172

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1