## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6300-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6300-15_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6300-15_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6300-15_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6300-15_0_5_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_6300-15_0_5_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_6300-15_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6300-15_0_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6300-15_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6300-15_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6300-15_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6300-15_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6300-15_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6300-15_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6300-15_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6300-15_0_5_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_6300-15_0_5_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_6300-15_0_5_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_6300-15_0_5_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_6300-15_0_5_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_6300-15_0_5_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_6300-15_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6300-15_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6300-15_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6300-15_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6300-15_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6300-15_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6300-15_0_5_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_6300-15_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6300-15_0_5_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_6300-15_0_5_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6300-15_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6300-15_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6300-15_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6300-15_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6300-15_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_6300-15_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6300-15_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6300-15_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_6300-15_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6300-15_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_6300-15_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6300-15_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_6300-15_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6300-15_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_6300-15_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_6300-15_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6300-15_0_5_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_6300-15_0_5_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_6300-15_0_5_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_6300-15_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_6300-15_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_6300-15_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_6300-15_0_5_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_6300-15_0_5_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_6300-15_0_5_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_6300-15_0_5_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_6300-15_0_5_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_6300-15_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_6300-15_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6300-15_0_5_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_6300-15_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_6300-15_0_5_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_6300-15_0_5_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_6300-15_0_5_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6300-15_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_6300-15_0_5_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6300-15_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_6300-15_0_5_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6300-15_0_5_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_6300-15_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_6300-15_0_5_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_6300-15_0_5_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_6300-15_0_5_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_6300-15_0_5_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_6300-15_0_5_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_6300-15_0_5_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_6300-15_0_5_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_6300-15_0_5_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_6300-15_0_5_node_79 | 0.4 | n |  | TRUE
80 | bus_MV_282_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6300-15_0_5_load_0 | 0 | 0.028565 | 0.0071592 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6300-15_0_5_load_2 | 2 | 0.00093226 | 0.00023365 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6300-15_0_5_load_20 | 5 | 0.0022304 | 0.000559 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6300-15_0_5_load_12 | 7 | 0.0090157 | 0.0022595 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6300-15_0_5_load_4 | 8 | 0.018718 | 0.0046911 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6300-15_0_5_load_6 | 10 | 0.011775 | 0.002951 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6300-15_0_5_load_11 | 13 | 0.0057694 | 0.0014459 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6300-15_0_5_load_61 | 15 | 0.0094918 | 0.0023789 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6300-15_0_5_load_42 | 16 | 0.0046219 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6300-15_0_5_load_43 | 17 | 0.0098282 | 0.0024632 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6300-15_0_5_load_39 | 18 | 0.0044653 | 0.0011191 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6300-15_0_5_load_60 | 19 | 0.0066959 | 0.0016781 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6300-15_0_5_load_40 | 20 | 0.0090553 | 0.0022695 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6300-15_0_5_load_15 | 22 | 0.00082433 | 0.0002066 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6300-15_0_5_load_16 | 23 | 0.0072607 | 0.0018197 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6300-15_0_5_load_17 | 24 | 0.016844 | 0.0042214 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6300-15_0_5_load_18 | 25 | 0.00076962 | 0.00019289 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6300-15_0_5_load_44 | 27 | 0.0010745 | 0.00026929 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6300-15_0_5_load_30 | 28 | 0.0016747 | 0.00041972 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6300-15_0_5_load_45 | 29 | 0.00070043 | 0.00017554 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6300-15_0_5_load_29 | 30 | 0.0022166 | 0.00055553 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6300-15_0_5_load_21 | 31 | 0.00071197 | 0.00017844 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6300-15_0_5_load_22 | 32 | 0.00046229 | 0.00011586 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6300-15_0_5_load_23 | 33 | 0.0011397 | 0.00028565 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6300-15_0_5_load_27 | 37 | 0.0019633 | 0.00049206 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6300-15_0_5_load_36 | 38 | 0.0015178 | 0.0003804 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6300-15_0_5_load_32 | 39 | 0.00070159 | 0.00017584 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6300-15_0_5_load_31 | 40 | 0.0097449 | 0.0024423 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6300-15_0_5_load_28 | 41 | 0.0010339 | 0.00025913 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6300-15_0_5_load_34 | 43 | 0.00075567 | 0.00018939 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6300-15_0_5_load_37 | 45 | 0.0012512 | 0.00031357 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6300-15_0_5_load_38 | 46 | 0.0021566 | 0.00054049 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6300-15_0_5_load_50 | 47 | 0.0013342 | 0.00033438 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6300-15_0_5_load_48 | 48 | 0.0007777 | 0.00019491 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6300-15_0_5_load_46 | 49 | 0.0012888 | 0.00032302 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6300-15_0_5_load_49 | 50 | 0.0020855 | 0.00052269 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6300-15_0_5_load_41 | 51 | 0.0068636 | 0.0017202 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6300-15_0_5_load_47 | 52 | 0.0064455 | 0.0016154 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6300-15_0_5_load_63 | 54 | 0.0049764 | 0.0012472 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6300-15_0_5_load_58 | 56 | 0.019559 | 0.004902 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6300-15_0_5_load_59 | 57 | 0.0045034 | 0.0011286 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6300-15_0_5_load_55 | 58 | 0.004814 | 0.0012065 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6300-15_0_5_load_53 | 59 | 0.0083551 | 0.002094 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6300-15_0_5_load_56 | 60 | 0.014516 | 0.003638 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6300-15_0_5_load_52 | 61 | 0.033219 | 0.0083254 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6300-15_0_5_load_70 | 62 | 0.0087935 | 0.0022039 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6300-15_0_5_load_68 | 63 | 0.010234 | 0.0025648 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6300-15_0_5_load_62 | 64 | 0.0068512 | 0.0017171 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6300-15_0_5_load_66 | 65 | 0.013949 | 0.0034958 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6300-15_0_5_load_64 | 66 | 0.0035462 | 0.00088875 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6300-15_0_5_load_67 | 68 | 0.014446 | 0.0036204 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6300-15_0_5_load_71 | 70 | 0.006597 | 0.0016534 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6300-15_0_5_load_72 | 71 | 0.0093799 | 0.0023508 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6300-15_0_5_load_74 | 73 | 0.0064646 | 0.0016202 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6300-15_0_5_load_75 | 74 | 0.001654 | 0.00041454 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6300-15_0_5_load_76 | 75 | 0.0041292 | 0.0010349 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6300-15_0_5_load_78 | 77 | 0.0018203 | 0.00045621 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6300-15_0_5_load_79 | 79 | 0.0041812 | 0.0010479 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6300-15_0_5_line_0 |  | 0 | 1 | 0.0048485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6300-15_0_5_line_1 |  | 1 | 2 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6300-15_0_5_line_2 |  | 1 | 3 | 0.035432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6300-15_0_5_line_3 |  | 3 | 4 | 0.05651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6300-15_0_5_line_4 |  | 4 | 6 | 0.003346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6300-15_0_5_line_5 |  | 4 | 7 | 0.03711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6300-15_0_5_line_6 |  | 5 | 6 | 0.019564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6300-15_0_5_line_7 |  | 6 | 14 | 0.039649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6300-15_0_5_line_8 |  | 6 | 9 | 0.057014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6300-15_0_5_line_9 |  | 7 | 21 | 0.06966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6300-15_0_5_line_10 |  | 8 | 9 | 0.017007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6300-15_0_5_line_11 |  | 8 | 10 | 0.011807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6300-15_0_5_line_12 |  | 9 | 11 | 0.08212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6300-15_0_5_line_13 |  | 11 | 12 | 0.068219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6300-15_0_5_line_14 |  | 11 | 13 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6300-15_0_5_line_15 |  | 12 | 16 | 0.0067692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6300-15_0_5_line_16 |  | 12 | 17 | 0.024578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6300-15_0_5_line_17 |  | 13 | 18 | 0.00018608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6300-15_0_5_line_18 |  | 14 | 15 | 0.11006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6300-15_0_5_line_19 |  | 16 | 19 | 0.035608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6300-15_0_5_line_20 |  | 18 | 20 | 0.0012111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6300-15_0_5_line_21 |  | 19 | 54 | 0.010385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6300-15_0_5_line_22 |  | 21 | 22 | 0.11426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6300-15_0_5_line_23 |  | 21 | 23 | 0.085362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6300-15_0_5_line_24 |  | 21 | 24 | 0.05262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6300-15_0_5_line_25 |  | 22 | 25 | 0.018719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6300-15_0_5_line_26 |  | 23 | 26 | 0.056692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6300-15_0_5_line_27 |  | 25 | 27 | 0.0023348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6300-15_0_5_line_28 |  | 26 | 28 | 0.063294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6300-15_0_5_line_29 |  | 27 | 29 | 0.0069863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6300-15_0_5_line_30 |  | 28 | 30 | 0.010524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6300-15_0_5_line_31 |  | 29 | 49 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6300-15_0_5_line_32 |  | 30 | 41 | 0.027063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6300-15_0_5_line_33 |  | 31 | 32 | 0.020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6300-15_0_5_line_34 |  | 31 | 33 | 0.02302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6300-15_0_5_line_35 |  | 32 | 34 | 0.066628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6300-15_0_5_line_36 |  | 33 | 35 | 0.022014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6300-15_0_5_line_37 |  | 34 | 36 | 0.046914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6300-15_0_5_line_38 |  | 35 | 37 | 0.030454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6300-15_0_5_line_39 |  | 36 | 38 | 0.085129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6300-15_0_5_line_40 |  | 36 | 39 | 0.069983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6300-15_0_5_line_41 |  | 39 | 40 | 0.024031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6300-15_0_5_line_42 |  | 40 | 42 | 0.024424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6300-15_0_5_line_43 |  | 42 | 43 | 0.071727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6300-15_0_5_line_44 |  | 42 | 44 | 0.063072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6300-15_0_5_line_45 |  | 43 | 45 | 0.06265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6300-15_0_5_line_46 |  | 44 | 46 | 0.024815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6300-15_0_5_line_47 |  | 45 | 47 | 0.014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6300-15_0_5_line_48 |  | 46 | 48 | 0.064162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6300-15_0_5_line_49 |  | 47 | 49 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6300-15_0_5_line_50 |  | 48 | 50 | 0.18665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6300-15_0_5_line_51 |  | 51 | 52 | 0.01037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6300-15_0_5_line_52 |  | 52 | 53 | 0.013341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6300-15_0_5_line_53 |  | 53 | 58 | 0.013912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6300-15_0_5_line_54 |  | 53 | 59 | 0.045124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6300-15_0_5_line_55 |  | 54 | 66 | 0.022995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6300-15_0_5_line_56 |  | 55 | 56 | 0.035614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6300-15_0_5_line_57 |  | 55 | 57 | 0.037562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6300-15_0_5_line_58 |  | 56 | 64 | 0.012033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6300-15_0_5_line_59 |  | 58 | 60 | 0.0011761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6300-15_0_5_line_60 |  | 59 | 61 | 0.063899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6300-15_0_5_line_61 |  | 60 | 62 | 0.028747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6300-15_0_5_line_62 |  | 62 | 63 | 0.022844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6300-15_0_5_line_63 |  | 63 | 67 | 0.05571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6300-15_0_5_line_64 |  | 64 | 65 | 0.020464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6300-15_0_5_line_65 |  | 65 | 67 | 0.018331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6300-15_0_5_line_66 |  | 66 | 67 | 0.017827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_6300-15_0_5_line_67 |  | 67 | 68 | 0.022608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6300-15_0_5_line_68 |  | 68 | 69 | 0.085053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6300-15_0_5_line_69 |  | 69 | 70 | 0.057694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6300-15_0_5_line_70 |  | 70 | 71 | 0.035879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6300-15_0_5_line_71 |  | 71 | 72 | 0.10521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6300-15_0_5_line_72 |  | 72 | 73 | 0.19875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6300-15_0_5_line_73 |  | 73 | 74 | 0.028259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6300-15_0_5_line_74 |  | 74 | 75 | 0.051246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6300-15_0_5_line_75 |  | 75 | 76 | 0.021529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6300-15_0_5_line_76 |  | 76 | 77 | 0.019108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6300-15_0_5_line_77 |  | 76 | 78 | 0.53266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6300-15_0_5_line_78 |  | 78 | 79 | 0.078308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6300-15_0_5_trafo_10 | 0.63 MVA 20/0.4 kV | 80 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2622726.7473 | 1094472.8064 | 2622729.7639 | 1094476.6022
1 | 2622730.8848 | 1094449.8434 | 2622732.247 | 1094456.4407 | 2622731.8162 | 1094459.7742 | 2622731.3214 | 1094463.641 | 2622729.7603 | 1094466.7812 | 2622728.2657 | 1094468.6766 | 2622727.1184 | 1094470.9401 | 2622726.7473 | 1094472.8064
2 | 2622695.1861 | 1094466.2076 | 2622699.3454 | 1094468.5688 | 2622700.627 | 1094469.7631 | 2622703.5488 | 1094471.5637 | 2622706.8196 | 1094473.2435 | 2622709.3027 | 1094474.2755 | 2622712.304 | 1094475.5206 | 2622717.0716 | 1094476.7835 | 2622720.9529 | 1094476.798 | 2622723.8267 | 1094474.8521 | 2622726.7473 | 1094472.8064
3 | 2622695.1861 | 1094466.2076 | 2622685.3974 | 1094479.7337 | 2622681.8953 | 1094481.8996 | 2622673.3867 | 1094482.4571 | 2622652.8451 | 1094483.4034 | 2622646.4688 | 1094485.5697
4 | 2622643.1139 | 1094485.6573 | 2622646.4688 | 1094485.5697
5 | 2622646.4688 | 1094485.5697 | 2622653.8095 | 1094486.5642 | 2622673.6558 | 1094489.2505 | 2622682.1118 | 1094493.9507
6 | 2622643.1139 | 1094485.6573 | 2622645.091 | 1094478.9723 | 2622636.9027 | 1094469.4054
7 | 2622609.2013 | 1094475.9487 | 2622627.2006 | 1094489.9115 | 2622633.3495 | 1094486.4103 | 2622643.1139 | 1094485.6573
8 | 2622624.882 | 1094528.0558 | 2622623.6424 | 1094519.7247 | 2622622.2326 | 1094509.2252 | 2622621.6245 | 1094499.8181 | 2622622.3663 | 1094496.1634 | 2622624.0276 | 1094493.1681 | 2622627.2006 | 1094489.9115 | 2622633.3495 | 1094486.4103 | 2622643.1139 | 1094485.6573
9 | 2622738.1782 | 1094534.1027 | 2622718.9996 | 1094514.4545 | 2622682.1118 | 1094493.9507
10 | 2622624.882 | 1094528.0558 | 2622637.1013 | 1094539.8848
11 | 2622642.9525 | 1094549.923 | 2622639.6493 | 1094542.3513 | 2622637.1013 | 1094539.8848
12 | 2622582.3201 | 1094582.0257 | 2622593.257 | 1094582.5665 | 2622602.0151 | 1094581.554 | 2622608.1266 | 1094577.6525 | 2622612.6726 | 1094571.8219 | 2622622.1638 | 1094559.0505 | 2622625.2966 | 1094552.0141 | 2622626.6739 | 1094537.8675 | 2622624.882 | 1094528.0558
13 | 2622582.3201 | 1094582.0257 | 2622573.8692 | 1094573.301 | 2622554.4923 | 1094565.2585 | 2622544.9511 | 1094562.2772 | 2622526.0166 | 1094545.5987
14 | 2622582.3201 | 1094582.0257 | 2622573.7663 | 1094584.3619 | 2622562.5162 | 1094594.2346
15 | 2622526.0166 | 1094545.5987 | 2622519.8128 | 1094548.307
16 | 2622526.0166 | 1094545.5987 | 2622504.0792 | 1094534.517
17 | 2622562.3763 | 1094594.3573 | 2622562.5162 | 1094594.2346
18 | 2622531.7148 | 1094454.4507 | 2622533.9895 | 1094457.3495 | 2622532.9407 | 1094460.2471 | 2622529.8247 | 1094460.658 | 2622524.4126 | 1094461.872 | 2622528.1377 | 1094466.4436 | 2622536.4313 | 1094471.6547 | 2622543.6928 | 1094475.2056 | 2622549.3156 | 1094471.4912 | 2622563.4473 | 1094471.3434 | 2622569.6738 | 1094474.0568 | 2622572.9797 | 1094478.827 | 2622577.5421 | 1094481.1229 | 2622581.4854 | 1094481.1375 | 2622586.693 | 1094478.6777 | 2622595.0111 | 1094477.2523 | 2622599.5804 | 1094477.6916 | 2622609.2013 | 1094475.9487
19 | 2622488.4988 | 1094564.8897 | 2622495.184 | 1094559.9477 | 2622499.4784 | 1094557.1844 | 2622519.8128 | 1094548.307
20 | 2622562.3763 | 1094594.3573 | 2622561.466 | 1094595.1561
21 | 2622488.4988 | 1094564.8897 | 2622480.1477 | 1094571.0633
22 | 2622738.1782 | 1094534.1027 | 2622750.9204 | 1094532.5606 | 2622756.3141 | 1094527.9784 | 2622761.966 | 1094518.5836 | 2622767.3689 | 1094503.2514 | 2622770.857 | 1094488.2345 | 2622770.2595 | 1094467.7662 | 2622768.0481 | 1094447.97 | 2622764.3748 | 1094437.2642
23 | 2622738.1782 | 1094534.1027 | 2622736.7519 | 1094536.3986 | 2622734.8806 | 1094537.5366 | 2622731.1916 | 1094537.8786 | 2622726.4111 | 1094538.0164 | 2622722.7201 | 1094538.892 | 2622720.9459 | 1094540.9976 | 2622720.882 | 1094543.5876 | 2622722.4816 | 1094546.7618 | 2622724.6036 | 1094549.0487 | 2622728.0201 | 1094551.1292 | 2622734.1591 | 1094552.3416 | 2622735.34 | 1094553.5355 | 2622735.5834 | 1094556.8047 | 2622734.635 | 1094561.8149 | 2622735.1043 | 1094575.1568 | 2622740.9034 | 1094596.9026
24 | 2622738.1782 | 1094534.1027 | 2622729.6304 | 1094532.7368 | 2622721.3216 | 1094533.7397 | 2622710.6957 | 1094541.1595 | 2622699.8144 | 1094561.0069
25 | 2622764.3748 | 1094437.2642 | 2622762.2848 | 1094431.1732 | 2622768.9852 | 1094420.8825
26 | 2622720.8602 | 1094644.984 | 2622745.0901 | 1094612.6022 | 2622740.9034 | 1094596.9026
27 | 2622770.2591 | 1094418.9259 | 2622768.9852 | 1094420.8825
28 | 2622720.8602 | 1094644.984 | 2622703.4822 | 1094668.209 | 2622702.6839 | 1094689.0834 | 2622709.2404 | 1094700.7672
29 | 2622770.2591 | 1094418.9259 | 2622774.0712 | 1094413.0712
30 | 2622714.3904 | 1094709.9448 | 2622709.2404 | 1094700.7672
31 | 2622781.1739 | 1094402.1627 | 2622774.0712 | 1094413.0712
32 | 2622714.3904 | 1094709.9448 | 2622726.164 | 1094730.9257 | 2622726.8889 | 1094733.8414
33 | 2623110.5839 | 1094420.2921 | 2623103.931 | 1094401.0404
34 | 2623118.1026 | 1094442.0491 | 2623110.5839 | 1094420.2921
35 | 2623079.8549 | 1094339.687 | 2623092.079 | 1094358.4541 | 2623100.5083 | 1094391.1361 | 2623103.931 | 1094401.0404
36 | 2623125.2911 | 1094462.8559 | 2623124.8467 | 1094461.5646 | 2623118.1026 | 1094442.0491
37 | 2623079.8549 | 1094339.687 | 2623074.7957 | 1094335.6102 | 2623068.7028 | 1094332.4077 | 2623061.4601 | 1094330.0569 | 2623036.3062 | 1094323.3249
38 | 2623125.2911 | 1094462.8559 | 2623124.2454 | 1094464.864 | 2623123.7187 | 1094466.8631 | 2623124.2265 | 1094469.8443 | 2623124.3839 | 1094475.3255 | 2623124.6748 | 1094480.3069 | 2623123.1678 | 1094483.4251 | 2623121.3734 | 1094486.7199 | 2623120.9036 | 1094492.1098
39 | 2623036.3062 | 1094323.3249 | 2623043.6535 | 1094306.2328 | 2623045.8428 | 1094302.9839 | 2623048.9435 | 1094300.5054 | 2623055.8335 | 1094295.7624 | 2623059.1396 | 1094292.2175 | 2623061.7899 | 1094287.9476 | 2623063.0968 | 1094282.4719 | 2623064.9656 | 1094269.7502 | 2623066.3091 | 1094260.7173 | 2623067.2999 | 1094258.9202 | 2623069.2993 | 1094256.7266 | 2623072.0422 | 1094254.6137 | 2623075.8069 | 1094252.7269 | 2623075.89 | 1094252.7052
40 | 2623036.3062 | 1094323.3249 | 2623030.8119 | 1094321.6144 | 2623025.7591 | 1094319.9389 | 2623005.3975 | 1094314.1035 | 2622999.0725 | 1094312.8567 | 2622991.466 | 1094312.4278 | 2622985.6233 | 1094312.7282 | 2622978.206 | 1094313.5006 | 2622970.1884 | 1094315.2602 | 2622968.1447 | 1094315.903
41 | 2622968.1447 | 1094315.903 | 2622963.2384 | 1094317.4462 | 2622946.0492 | 1094325.2738
42 | 2622923.8213 | 1094335.396 | 2622946.0492 | 1094325.2738
43 | 2622923.8213 | 1094335.396 | 2622895.165 | 1094349.3955 | 2622875.1938 | 1094359.2366 | 2622869.1503 | 1094361.4262 | 2622864.2426 | 1094362.3749 | 2622858.1079 | 1094362.0518
44 | 2622891.5667 | 1094288.4506 | 2622913.8992 | 1094299.7292 | 2622921.1435 | 1094309.9284 | 2622923.8213 | 1094335.396
45 | 2622802.046 | 1094376.8422 | 2622813.4589 | 1094364.2301 | 2622833.8866 | 1094358.637 | 2622858.1079 | 1094362.0518
46 | 2622891.5667 | 1094288.4506 | 2622867.3449 | 1094283.0569 | 2622867.3449 | 1094283.0569
47 | 2622792.2538 | 1094387.6633 | 2622802.046 | 1094376.8422
48 | 2622867.3449 | 1094283.0569 | 2622832.5464 | 1094290.408 | 2622810.4933 | 1094297.5736 | 2622805.1281 | 1094296.8966
49 | 2622792.2538 | 1094387.6633 | 2622786.4092 | 1094394.122 | 2622781.1739 | 1094402.1627
50 | 2622805.1281 | 1094296.8966 | 2622784.7062 | 1094294.3199 | 2622758.9072 | 1094285.9303 | 2622756.5097 | 1094259.908 | 2622767.514 | 1094217.7052 | 2622758.6872 | 1094205.8773 | 2622756.0599 | 1094183.2669 | 2622769.4699 | 1094154.58
51 | 2622521.4691 | 1094657.0787 | 2622523.3431 | 1094656.857 | 2622529.2112 | 1094655.9005 | 2622530.998 | 1094654.0993
52 | 2622508.4655 | 1094659.837 | 2622515.3214 | 1094657.8057 | 2622521.4691 | 1094657.0787
53 | 2622508.4655 | 1094659.837 | 2622499.798 | 1094648.9549
54 | 2622508.4655 | 1094659.837 | 2622504.066 | 1094665.8905 | 2622496.3748 | 1094686.4282 | 2622486.3745 | 1094698.5446
55 | 2622460.6671 | 1094576.7876 | 2622468.22 | 1094579.8807 | 2622480.1477 | 1094571.0633
56 | 2622438.4188 | 1094493.0375 | 2622434.8887 | 1094502.8295 | 2622440.6246 | 1094518.8811 | 2622435.5641 | 1094525.2816
57 | 2622438.4188 | 1094493.0375 | 2622425.0408 | 1094457.9383
58 | 2622435.5641 | 1094525.2816 | 2622428.1009 | 1094534.7209 | 2622428.1009 | 1094534.7209
59 | 2622499.5221 | 1094647.8116 | 2622499.798 | 1094648.9549 | 2622499.798 | 1094648.9549
60 | 2622427.8411 | 1094697.6169 | 2622435.8674 | 1094704.092 | 2622443.3449 | 1094705.776 | 2622464.9437 | 1094707.8121 | 2622475.8652 | 1094706.196 | 2622483.7605 | 1094701.7117 | 2622486.3745 | 1094698.5446
61 | 2622491.972 | 1094623.3042 | 2622496.2983 | 1094625.3299 | 2622499.9324 | 1094631.4242 | 2622497.7149 | 1094640.3206 | 2622499.5221 | 1094647.8116
62 | 2622472.1897 | 1094613.9665 | 2622472.2948 | 1094615.6364 | 2622481.8439 | 1094618.562 | 2622491.972 | 1094623.3042
63 | 2622444.1703 | 1094570.0315 | 2622448.9536 | 1094577.553 | 2622471.058 | 1094595.9884 | 2622472.1897 | 1094613.9665
64 | 2622436.5773 | 1094553.3468 | 2622428.1009 | 1094534.7209
65 | 2622444.1703 | 1094570.0315 | 2622436.5773 | 1094553.3468
66 | 2622444.1703 | 1094570.0315 | 2622460.6671 | 1094576.7876
67 | 2622444.1703 | 1094570.0315 | 2622422.7264 | 1094562.8722
68 | 2622343.8062 | 1094531.8432 | 2622349.76 | 1094535 | 2622367.5749 | 1094544.4591 | 2622422.7264 | 1094562.8722
69 | 2622343.8062 | 1094531.8432 | 2622340.0352 | 1094531.318 | 2622331.3882 | 1094523.171 | 2622323.3712 | 1094533.3691 | 2622313.2885 | 1094536.4449 | 2622310.1229 | 1094554.6649
70 | 2622278.3155 | 1094566.6658 | 2622288.1122 | 1094557.03 | 2622310.1229 | 1094554.6649
71 | 2622203.3372 | 1094545.6926 | 2622220.0351 | 1094530.101 | 2622238.5568 | 1094528.5011 | 2622243.7174 | 1094536.7463 | 2622254.4968 | 1094533.7842 | 2622255.3846 | 1094545.2377 | 2622278.3155 | 1094566.6658
72 | 2622203.3372 | 1094545.6926 | 2622169.0079 | 1094539.709 | 2622154.4096 | 1094533.9975 | 2622160.3917 | 1094525.148 | 2622141.4395 | 1094527.9472 | 2622154.324 | 1094512.8196 | 2622140.3958 | 1094512.4466 | 2622121.4088 | 1094514.1452 | 2622159.3162 | 1094471.5277 | 2622151.7039 | 1094467.7726
73 | 2622151.7039 | 1094467.7726 | 2622145.1949 | 1094464.5617 | 2622140.9644 | 1094443.9912
74 | 2622140.9644 | 1094443.9912 | 2622133.8213 | 1094409.2586 | 2622118.4087 | 1094405.8454
75 | 2622101.1243 | 1094393.0094 | 2622118.4087 | 1094405.8454 | 2622118.4087 | 1094405.8454
76 | 2622101.1243 | 1094393.0094 | 2622099.7846 | 1094412.0699
77 | 2622101.1243 | 1094393.0094 | 2621742.9588 | 1093998.7412
78 | 2621742.9588 | 1093998.7412 | 2621713.6463 | 1093953.6692 | 2621710.5548 | 1093947.177 | 2621707.47 | 1093930.1017

## bus_geodata
| x | y | coords
0 | 2622729.7639 | 1094476.6022
1 | 2622726.7473 | 1094472.8064
2 | 2622730.8848 | 1094449.8434
3 | 2622695.1861 | 1094466.2076
4 | 2622646.4688 | 1094485.5697
5 | 2622636.9027 | 1094469.4054
6 | 2622643.1139 | 1094485.6573
7 | 2622682.1118 | 1094493.9507
8 | 2622637.1013 | 1094539.8848
9 | 2622624.882 | 1094528.0558
10 | 2622642.9525 | 1094549.923
11 | 2622582.3201 | 1094582.0257
12 | 2622526.0166 | 1094545.5987
13 | 2622562.5162 | 1094594.2346
14 | 2622609.2013 | 1094475.9487
15 | 2622531.7148 | 1094454.4507
16 | 2622519.8128 | 1094548.307
17 | 2622504.0792 | 1094534.517
18 | 2622562.3763 | 1094594.3573
19 | 2622488.4988 | 1094564.8897
20 | 2622561.466 | 1094595.1561
21 | 2622738.1782 | 1094534.1027
22 | 2622764.3748 | 1094437.2642
23 | 2622740.9034 | 1094596.9026
24 | 2622699.8144 | 1094561.0069
25 | 2622768.9852 | 1094420.8825
26 | 2622720.8602 | 1094644.984
27 | 2622770.2591 | 1094418.9259
28 | 2622709.2404 | 1094700.7672
29 | 2622774.0712 | 1094413.0712
30 | 2622714.3904 | 1094709.9448
31 | 2623110.5839 | 1094420.2921
32 | 2623103.931 | 1094401.0404
33 | 2623118.1026 | 1094442.0491
34 | 2623079.8549 | 1094339.687
35 | 2623125.2912 | 1094462.8559
36 | 2623036.3062 | 1094323.3249
37 | 2623120.9036 | 1094492.1098
38 | 2623075.89 | 1094252.7052
39 | 2622968.1447 | 1094315.903
40 | 2622946.0492 | 1094325.2738
41 | 2622726.8889 | 1094733.8414
42 | 2622923.8213 | 1094335.396
43 | 2622858.1079 | 1094362.0518
44 | 2622891.5667 | 1094288.4506
45 | 2622802.046 | 1094376.8422
46 | 2622867.3449 | 1094283.0569
47 | 2622792.2538 | 1094387.6633
48 | 2622805.1281 | 1094296.8966
49 | 2622781.1739 | 1094402.1627
50 | 2622769.4699 | 1094154.58
51 | 2622530.998 | 1094654.0993
52 | 2622521.4691 | 1094657.0787
53 | 2622508.4655 | 1094659.837
54 | 2622480.1477 | 1094571.0633
55 | 2622438.4188 | 1094493.0375
56 | 2622435.5641 | 1094525.2816
57 | 2622425.0408 | 1094457.9383
58 | 2622499.798 | 1094648.9549
59 | 2622486.3745 | 1094698.5446
60 | 2622499.5221 | 1094647.8116
61 | 2622427.8411 | 1094697.6169
62 | 2622491.972 | 1094623.3042
63 | 2622472.1897 | 1094613.9665
64 | 2622428.1009 | 1094534.7209
65 | 2622436.5773 | 1094553.3468
66 | 2622460.6671 | 1094576.7876
67 | 2622444.1703 | 1094570.0315
68 | 2622422.7264 | 1094562.8722
69 | 2622343.8062 | 1094531.8432
70 | 2622310.1229 | 1094554.6649
71 | 2622278.3155 | 1094566.6658
72 | 2622203.3372 | 1094545.6926
73 | 2622151.7039 | 1094467.7726
74 | 2622140.9644 | 1094443.9912
75 | 2622118.4087 | 1094405.8454
76 | 2622101.1243 | 1094393.0094
77 | 2622099.7846 | 1094412.0699
78 | 2621742.9588 | 1093998.7412
79 | 2621707.47 | 1093930.1017
80 | 2622582.3201 | 1094582.0257

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1